## Figure 2
Exposure time
Protein (ug/ul) | 5 second exposure | 30 second exposure | 120 second exposure | 480 second exposure
0.01 | 2371 | 2494 | 2104 | 1366
0.025 | 6990 | 6529 | 5348 | 2999
0.05 | 13841 | 12306 | 9404 | 3721
0.1 | 33601 | 26323 | 12072 | split
0.2 | 70384 | 37665 | split | split
Exposure image comparison to detect signal burnout. Lane views show decreasing protein concentrations for BEAS-2B lysates probed with p53 DO-1 antibody at a 1:500 dilution. Chemiluminescence signal coefficients, reported as peak heights in the instrument software, are superimposed. Unlike the peak area values, the visual band intensities are automatically generated and adjusted by the instrument to aid viewing of the bands and are not comparable from one panel to another. Note the decrease in chemiluminescence signal as exposure time increases, with the signal beginning to disappear (split peak) at the two longest exposures, indicating substrate depletion.

## Figure 3
Sample | Primary Antibody | Protein concentration (ug/ul) | Peak Area
Control sample #1 | p53 DO1 | 0.2 | 984348
Control sample #1 | p53 DO1 | 0.1 | 486315
Control sample #1 | p53 DO1 | 0.05 | 213159
Control sample #1 | p53 DO1 | 0.025 | 106391
Control sample #1 | p53 DO1 | 0.01 | 38265
Control sample #1 | alpha tubulin | 0.4 | 194456
Control sample #1 | alpha tubulin | 0.3 | 133839
Control sample #1 | alpha tubulin | 0.2 | 71144
Control sample #1 | alpha tubulin | 0.1 | 28310
Control sample #1 | alpha tubulin | 0.05 | 14613
Control sample #1 | alpha tubulin | 0.025 | 6693
Figure 3. Lysate titration showing the lane views (A) of BEAS-2B lysate when probed with 1:500 p53 DO-1 or 1:50 ɑ-tubulin. Linear regression analysis (B) confirms the assays are linear over the entire range tested, from 0.01 to 0.20 µg/µl and 0.025 to 0.40 µg/μl, respectively. Total protein concentrations in the middle of the linear range were chosen to accommodate potential target protein variation in either direction (e.g., 0.2 µg/µl for α-tubulin).
Linear regression fits and R^2 calculations were perfomed in Excel using this data

## Figure 4
| Left figure (Dilution curve without baseline correction) |  | Baseline values |  | Right figure (Dilution with baseline correction)
Dilution of alpha tubulin antibody | Avg Peak Area Sample #1 | Avg Peak Area Sample #2 | Avg Baseline from Sample #1 | Avg Baseline from Sample #2 | Peak Area/Baseline Sample #1 | Peak Area/Baseline Sample #2
0.00125 | 5248.5 | 4531.5 | 588.7 | 579.6 | 8.9154 | 7.8183
0.0025 | 7921.5 | 9107.5 | 605.2 | 596.15 | 13.0891 | 15.2772
0.005 | 14579 | 16305 | 628.45 | 617 | 23.1983 | 26.4263
0.01 | 24548.5 | 23406 | 659.1 | 686.7 | 37.2455 | 34.0848
0.02 | 31150 | 34688 | 807.5 | 782.65 | 38.5759 | 44.3212
0.04 | 41602 | 42333 | 941 | 957.6 | 44.2104 | 44.2074
Figure 4 describes example of optimization of antibody dilution using the Wes capillary immunoassay system
Using antibodies at saturating concentrations helps ensure that any signal changes measured are due only to changes in protein amount. Two BEAS2B lysate samples (0.2µg/µl) were probed with serially diluted alpha-tubulin antibody concentrations ranging from 1:25-1:800. Chemiluminescent signal (measured as peak area) was plotted against antibody dilution. Saturation was observed near the 1:50 dilution (0.02) where the curve begins a noticeable plateau.

## Figure 5
|  | Peak Areas |  | Relaltive to alpha-tubulin | Fold of control
Target | Sample treament (ug/mL) | Target | α-Tubulin 1:50 | p53 DO-1 | p53 DO-1
p53 DO-1 | Ctl 2 | 154344 | 81961 | 1.88 | 1
| 1.2 DXN | 126240 | 58003 | 2.18 | 1.16
| 1.8 DXN | 95738 | 57086 | 1.68 | 0.89
| 2.4 DXN | 116655 | 75648 | 1.54 | 0.82
p53 Ser 20 | CTL2 | 13110 | 81961 | 0.16 | 1
| 1.2 DXN | 22320 | 58003 | 0.38 | 2.38
| 1.8 DXN | 17651 | 57086 | 0.31 | 1.94
| 2.4 DXN | 23149 | 75648 | 0.31 | 1.94
p53 Ser 15 | CTL2 | 54321 | 81961 | 0.66 | 1
| 1.2 DXN | 163555 | 58003 | 2.82 | 4.27
| 1.8 DXN | 152651 | 57086 | 2.67 | 4.05
| 2.4 DXN | 173910 | 75648 | 2.3 | 3.48
Figure 5. Effect of 4 hr doxorubicin treatment on total and serine phosphorylated p53 protein expression of BEAS-2B cells. Peak areas are normalized to α-tubulin and plotted as fold of control.
Using assay conditions optimized in the previous figures, BEAS-2B cells were treated with three different concentrations of doxorubicin (1.2, 1.8, and 2.4 µg/ml) for 4 hr (Fig.5, Table 1). ɑ-tubulin normalized peak areas are presented as fold of control. Interestingly, 3.5 to 4-fold increases in p53 phosphorylation at serine 15 and 2-fold increases in the level of p53 phosphorylated at serine 20 were observed after 4 hr exposure to doxorubicin. These results indicate activation of p53; however, no dose-response is seen for the concentrations chosen (conversely, the lowest dose tested elicited the highest response). Total p53 did not demonstrate a clear treatment response.
Graph was based on normalized, fold of control (yellow column)

## Table 1
| Peak Area |  |  |  | Peak Area Relative to α-tubulin |  |  | Fold of control
Sample | p53 DO-1 |  |  | α-Tubulin | p53 DO-1 | pp53, Ser 15 |  | p53 DO-1
|  | pp53, Ser 15 | pp53, Ser 20 |  |  |  | pp53, Ser 20 |  | pp53, Ser 15 | pp53, Ser 20
Control | 154344 | 54321 | 13110 | 81961 | 1.88 | 0.66 | 0.16 | 1 | 1 | 1
1.2 DXN | 126240 | 163555 | 22320 | 58003 | 2.18 | 2.82 | 0.38 | 1.16 | 4.27 | 2.38
1.8 DXN | 95738 | 152651 | 17651 | 57086 | 1.68 | 2.67 | 0.31 | 0.89 | 4.05 | 1.94
2.4 DXN | 116655 | 173910 | 23149 | 75648 | 1.54 | 2.3 | 0.31 | 0.82 | 3.48 | 1.94
Table 1. Effect of 4 hr doxorubicin treatment on total and serine phosphorylated p53 protein expression of BEAS-2B cells.