## Results - Loop 4 (Corrected) (hidden)
Test: | 0 |  |  | Date: 4/18/2007
Loop: | 4 | [8 empty] | Note: |  | Low pressure in loop prevented complete sampling at T1 and any sampling T1.5
TOC: | 4 | mg/l |  | Approximate Loop Volume: |  |  | 190 | gal (Jan. 2005) |  |  |  | The THM Sample for T6 was mixed up with TOC sample; may have error in sample from the different preservatives/queching agents.
Chlorine: | 4 | mg/l |  | Approximate Nanopure Water Inj.: |  |  | 16 | ml/min
Flow Rate | 10 | gpm |  | Approximate Sampling Volume: |  |  | 750 | ml/sampling event
Port: | 2 | (middle of pipe)
Time |  | Free Chlorine (mg/l) | Free Chlorine (2500T) | Total Chlorine (mg/l) | Total Chlorine (2500T) | pH | pH (2500T | Turbidity (NTU) | Turbidity (2500T) | Temp °C | Temp °C (2500T) | D.O. (mg/l) | D.O. (2500T) | TOC (mg/l) | TOC (Wall) | TOC (1/4 Pipe) | TOC (2500 T) | THM (ug/l) |  | THM (Wall) | THM (1/4 Pipe) | THM (2500 T) | CHCl3 (ug/l) |  | CHCl3 (Wall) | CHCl3 (1/4 Pipe) | CHCl3 (2500 T) | CHBrCl2 (ug/l) |  | CHBrCl2 (Wall) | CHBrCl2 (1/4 Pipe) | CHBrCl2 (2500 T) | CHBr2Cl (ug/l) | CHBr2Cl (Wall) | CHBr2Cl (1/4 Pipe) | CHBr2Cl (2500 T) | CHBr3 (ug/l) | CHBr3 (Wall) | CHBr3 (1/4 Pipe) | CHBr3 (2500 T) | HAA (ug/l) | MCAA µg/L | MCAA (Wall) | MCAA (1/4 pipe) | MCAA (Bulk) | MBAA µg/L | MBAA (Wall) | MBAA (1/4 pipe) | MBAA (Bulk) | DCAA µg/L | DCAA (Wall) | DCAA (1/4 pipe) | DCAA (Bulk) | TCAA µg/L | TCAA (Wall) | TCAA (1/4 pipe) | TCAA (Bulk) | BCAA µg/L | BCAA (Wall) | BCAA (1/4 pipe) | BCAA (Bulk) | BDCAA µg/L | BDCAA (Wall) | BDCAA (1/4 pipe) | BDCAA (Bulk) | DBAA µg/L | DBAA (Wall) | DBAA (1/4 pipe) | DBAA (Bulk) | CDBAA µg/L | CDBAA (Wall) | CDBAA (1/4 pipe) | CDBAA (Bulk) | TBAA µg/L | TBAA (Wall) | TBAA (1/4 pipe) | TBAA (Bulk)
-0.66667 | A | 2.7 |  | 2.9 |  | 8.37 |  | 85.6 |  | 14.5 |  | 12.9 |  | 3.7174 |  |  |  | 6.86 |  |  |  |  | 6.16 |  |  |  |  | 0.26 |  |  |  |  | 0 |  |  |  | 0 |  |  |  | 37.05 | 22.19 |  |  |  | 0 |  |  |  | 6.68 |  |  |  | 1.72 |  |  |  | 1.4 |  |  |  | 3.69 |  |  |  | 0 |  |  |  | 0 |  |  |  | 1.37
-0.63333 | B | [12 empty] | 3.5495 |  |  |  | 7.34 |  |  |  |  | 7.34 |  |  |  |  | <0.1 |  |  |  |  | 0 |  |  |  | 0 |  |  |  | 8.4 | 0 |  |  |  | 0 |  |  |  | 4.37 |  |  |  | 2.37 |  |  |  | 0 |  |  |  | 1.66 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
-0.6 | C | 2.4 |  | 2.5 |  | 8.35 |  | 87.1 |  | 14.26 |  | 9.29 |  | 3.5171 |  |  |  | 8.01 |  |  |  |  | 7.75 |  |  |  |  | 0.26 |  |  |  |  | 0 |  |  |  | 0 |  |  |  | 9.35 | 0 |  |  |  | 0 |  |  |  | 4.8 |  |  |  | 2.86 |  |  |  | 0 |  |  |  | 1.69 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
-0.56667 | D | [12 empty] | 3.5207 |  |  |  | 8.89 |  |  |  |  | 8.54 |  |  |  |  | 0.35 |  |  |  |  | 0 |  |  |  | 0 |  |  |  | 20.56 | 7.91 |  |  |  | 0 |  |  |  | 6.82 |  |  |  | 4.15 |  |  |  | 0 |  |  |  | 1.68 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
-0.53333 | E | 2.3 |  | 2.3 |  | 8.35 |  | 87.9 |  | 19.98 |  | 9.11 |  | 3.4552 |  |  |  | 10.85 |  |  |  |  | 10.5 |  |  |  |  | 0.35 |  |  |  |  | 0 |  |  |  | 0 |  |  |  | 20.8 | 8.17 |  |  |  | 0 |  |  |  | 6.71 |  |  |  | 4.23 |  |  |  | 0 |  |  |  | 1.69 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
-0.25 | F | 1.5 |  | 1.6 |  | 8.37 |  | 90.6 |  | 15.14 |  | 8.78 |  | 3.5945 |  |  |  | 17.04 |  |  |  |  | 16.58 |  |  |  |  | 0.46 |  |  |  |  | 0 |  |  |  | 0 |  |  |  | 33.59 | 12.51 |  |  |  | 0 |  |  |  | 10.75 |  |  |  | 8.04 |  |  |  | 0.65 |  |  |  | 1.64 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
0 | hrs | 2.1 | 0 | 2.1 | 0 | 8.56 | 0 | 0.88 | 0 | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | 0 | 31.35 | 0 | #REF! | #REF! | 0 | 2.7 | 0 | #REF! | #REF! | 0 | 6.05 | 0 | #REF! | #REF! | 0 | 13.4 | #REF! | #REF! | 0 | 9.2 | #REF! | #REF! | 0 | #REF! | 41.92 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 2 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 2.11 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0
0.5 | hrs | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #VALUE! | #VALUE! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF!
1 | hrs | 2.1028 |  | 2.2029 |  | 8.55 |  | 0.92724 |  | #REF! |  | #REF! | [30 empty] | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF! |  |  |  | #REF!
1.5 | hrs | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | #REF!
2 | hrs | 2.0054 | 0 | 2.1056 | 0 | 8.58 | 0 | 0.9345 | 0 | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | 0 | 37.5002 |  | #REF! | #REF! | 0 | 6.6678 |  | #REF! | #REF! | 0 | 7.1892 |  | #REF! | #REF! | 0 | 14.31 | #REF! | #REF! | 0 | 9.27 | #REF! | #REF! | 0 | #REF! | 44.7896 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 2.1157 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 2.1457 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0
2.5 | hrs | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #VALUE! | #VALUE! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF!
3 | hrs | 2.1085 |  | 2.1085 |  | 8.57 |  | 0.93876 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! |  | 41.406 |  | #REF! | #REF! |  | 8.0623 |  | #REF! | #REF! |  | 8.0021 |  | #REF! | #REF! |  | 15.41 | #REF! | #REF! |  | 9.83 | #REF! | #REF! |  | #REF! | 44.9201 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 2.1386 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | 2.0583 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF!
4 | hrs | 1.8097 |  | 1.9102 |  | 8.63 |  | 0.93701 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! | 0 | 47.9161 |  | #REF! | #REF! | 0 | 13.4318 |  | #REF! | #REF! | 0 | 8.9478 |  | #REF! | #REF! | 0 | 15.72 | #REF! | #REF! | 0 | 9.68 | #REF! | #REF! | 0 | #REF! | 52.2694 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 2.2721 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 2.3325 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0
5 | hrs | 1.6108 |  | 1.7114 |  | 8.67 |  | 0.93021 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! |  | 53.1449 |  |  | #REF! |  | 16.8324 |  |  | #REF! |  | 9.9263 |  |  | #REF! |  | 16.49 |  | #REF! |  | 9.72 |  | #REF! |  | #REF! | 51.5543 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | 2.4161 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF!
6 | hrs | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! | 0 | 0 |  | #REF! | #REF! | 0 | 0 |  | #REF! | #REF! | 0 | 0 |  | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | #VALUE! | #VALUE! | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0
7 | hrs | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #VALUE! | #VALUE! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF!
8 | hrs | 1.1119 |  | 1.1119 |  | 8.75 |  | 1.0199 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! |  | 69.2291 |  | #REF! | #REF! |  | 27.2206 |  | #REF! | #REF! |  | 12.9381 |  | #REF! | #REF! |  | 18.62 | #REF! | #REF! |  | 10.14 | #REF! | #REF! |  | #REF! | 56.4325 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 2.3349 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | 2.5674 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF!
9 | hrs | 0 |  | 0 |  | 0 |  | 0 |  | #REF! |  | #REF! |  | #REF! | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 |  | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #VALUE! | #VALUE! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF! |  | 0 | #REF! | #REF!
24 | hrs | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | #REF! | #REF! | #REF! | 0 | 0 |  | #REF! | #REF! | 0 | 0 |  | #REF! | #REF! | 0 | 0 |  | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | #VALUE! | #VALUE! | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0
36 | hrs | 0.54656 |  | 0.54656 |  | 8.84 |  | 1.0283 |  | 24.26 |  | 3.98 |  | #REF! | #REF! | #REF! | 0 | 74.6565 |  | #REF! | #REF! | 0 | 30.6379 |  | #REF! | #REF! | 0 | 14.5042 |  | #REF! | #REF! | 0 | 19.4941 | #REF! | #REF! | 0 | 10.0203 | #REF! | #REF! | 0 | #REF! | 39.6461 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 2.5 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | 2.7733 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 2.5304 | #REF! | #REF! | 0 | 0 | #REF! | #REF! | 0 | 7.5405 | #REF! | #REF! | 0

## Results - Loop 5 (Corrected) (hidden)
Test: | 2
Loop: | 5
TOC: | 4 | mg/l |  | Approximate Loop Volume: |  |  | 190 | gal (Jan. 2005)
Chlorine: | 4 | mg/l |  | Approximate Nanopure Water Inj.: |  |  | 16 | ml/min
Flow Rate | 10 | gpm |  | Approximate Sampling Volume: |  |  | 750 | ml/sampling event
Port: | 2 | (middle of pipe)
Time |  | Free Chlorine (mg/l) | Total Chlorine (mg/l) | pH | Turbidity (NTU) | Temp °C | D.O. | TOC (mg/l) | TOC (Wall) | TOC (1/4 Pipe) | THM (ug/l) | THM (Wall) | THM (1/4 Pipe) | CHCl3 (ug/l) | CHCl3 (Wall) | CHCl3 (1/4 Pipe) | CHBrCl2 (ug/l) | CHBrCl2 (Wall) | CHBrCl2 (1/4 Pipe) | CHBr2Cl (ug/l) | CHBr2Cl (Wall) | CHBr2Cl (1/4 Pipe) | CHBr3 (ug/l) | CHBr3 (Wall) | CHBr3 (1/4 Pipe) | HAA (ug/l) | MCAA µg/L | MCAA (Wall) | MCAA (1/4 pipe) | MBAA µg/L | MBAA (Wall) | MBAA (1/4 pipe) | DCAA µg/L | DCAA (Wall) | DCAA (1/4 pipe) | TCAA µg/L | TCAA (Wall) | TCAA (1/4 pipe) | BCAA µg/L | BCAA (Wall) | BCAA (1/4 pipe) | BDCAA µg/L | BDCAA (Wall) | BDCAA (1/4 pipe) | DBAA µg/L | DBAA (Wall) | DBAA (1/4 pipe) | CDBAA µg/L | CDBAA (Wall) | CDBAA (1/4 pipe) | TBAA µg/L | TBAA (Wall) | TBAA (1/4 pipe)
-0.71667 | A | 2.9 | 3.1 | 8.4 | 73.1 | 16.44 | 9.8 | 3.3346 |  |  | 7.57 |  |  | 7.23 |  |  | 0.34 |  |  | 0 |  |  | 0 |  |  | 8.06 | 0 |  |  | 0 |  |  | 3.35 |  |  | 1.79 |  |  | 0.99 |  |  | 1.93 |  |  | 0 |  |  | 0 |  |  | 0
-0.68333 | B | [6 empty] | 3.5607 |  |  | 9.51 |  |  | 9.12 |  |  | 0.39 |  |  | 0 |  |  | 0 |  |  | 9.89 | 0 |  |  | 0 |  |  | 5.15 |  |  | 2.96 |  |  | 0 |  |  | 1.78 |  |  | 0 |  |  | 0 |  |  | 0
-0.65 | C | 2.6 | 2.6 | 8.78 | 76.6 | 16 | 8.72 | 3.4761 |  |  | 11.02 |  |  | 10.59 |  |  | 0.43 |  |  | 0 |  |  | 0 |  |  | 11.76 | 0 |  |  | 0 |  |  | 6.12 |  |  | 3.78 |  |  | 0 |  |  | 1.86 |  |  | 0 |  |  | 0 |  |  | 0
-0.61667 | D | [6 empty] | 3.5102 |  |  | 12.26 |  |  | 11.78 |  |  | 0.48 |  |  | 0 |  |  | 0 |  |  | 18.6 | 0 |  |  | 0 |  |  | 7.89 |  |  | 4.85 |  |  | 0.64 |  |  | 3.12 |  |  | 0 |  |  | 0 |  |  | 2.1
-0.58333 | E | 2.5 | 2.5 | 8.3 | 76.9 | 15.78 | 8.62 | 3.5272 |  |  | 12.89 |  |  | 12.4 |  |  | 0.49 |  |  | 0 |  |  | 0 |  |  | 14.57 | 0 |  |  | 0 |  |  | 6.66 |  |  | 4.36 |  |  | 0 |  |  | 3.55 |  |  | 0 |  |  | 0 |  |  | 0
-0.28333 | F | 1.9 | 1.9 | 8.35 | 72 | 17.33 | 7.72 | 3.7158 |  |  | 19.26 |  |  | 18.41 |  |  | 0.85 |  |  | 0 |  |  | 0 |  |  | 38.16 | 11.63 |  |  | 0 |  |  | 12.28 |  |  | 9.33 |  |  | 0.7 |  |  | 1.97 |  |  | 0 |  |  | 0 |  |  | 2.25
0 | hrs | 2.3 | 2.3 | 8.36 | 0.3 | 16.39 | 8.48 | 0.924 | #REF! | #REF! | 32.86 | 36.98 | 0 | 4.39 | 4.97 | 0 | 8.84 | 9.48 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 1.27 | #REF! | #REF! | 1.93 | #REF! | #REF! | 0 | #REF! | #REF! | 2.72 | #REF! | #REF! | 2.71 | #REF! | #REF! | 0 | #REF! | #REF!
0.5 | hrs | 0 | 0 | 8.38 | 0 | 17.08 | 8.87 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
1 | hrs | 2.3031 | 2.4032 | 8.39 | 0.29039 | 17.84 | 8.18 | 0.87317 | #REF! | #REF! | 33.6449 | 0 | 0 | 7.0594 | 0 | 0 | 8.0508 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 1.3318 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 2.4032 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
1.5 | hrs | 0 | 0 | 8.4 | 0 | 17.6 | 8.48 | 0 | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
2 | hrs | 2.4064 | 2.5067 | 8.4 | 0.28075 | 17.08 | 8.61 | 1.5892 |  | #REF! | 35.4347 |  | 0 | 9.1745 |  | 0 | 9.8664 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 1.5742 | #REF! | #REF! | 3.8804 | #REF! | #REF! | 0 | #REF! | #REF! | 2.7975 | #REF! | #REF! | 3.1384 | #REF! | #REF! | 0 | #REF! | #REF!
2.5 | hrs | 0 | 0 | 8.43 | 0 | 17.8 | 7.97 | 0 | #REF! |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
3 | hrs | 2.3093 | 2.5101 | 8.4 | 0.35141 | 17.68 | 8.19 | 0.87953 | #REF! | #REF! | 34.3981 | 0 | 0 | 9.4379 | 0 | 0 | 9.3676 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 1.4458 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 2.3796 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
4 | hrs | 2.3124 | 2.4129 | 8.39 | 0.46247 | 18.27 | 8.15 | 0.90283 | #REF! | #REF! | 38.9484 | 0 | #VALUE! | 9.5008 | 0 | #VALUE! | 10.0337 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 1.9002 | #REF! | #REF! | 0 | #REF! | #REF! | #VALUE! | #REF! | #REF! | 2.7648 | #REF! | #REF! | 0 | #REF! | #REF! | #VALUE! | #REF! | #REF!
5 | hrs | 2.2148 | 2.3155 | 8.42 | 0.34229 | 18.53 | 8.14 | 1.7507 | #REF! | #REF! | 40.5612 | 37.6316 | 0 | 9.9868 | 8.7284 | 0 | 9.8559 | 8.1948 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 1.9631 | #REF! | #REF! | 4.5605 | #REF! | #REF! | 0 | #REF! | #REF! | 2.849 | #REF! | #REF! | 3.0403 | #REF! | #REF! | 0 | #REF! | #REF!
6 | hrs | 2.2178 | 2.2178 | 8.42 | 0.77623 | 18.75 | 8.25 | 0.98087 | #REF! | #REF! | 55.1221 | 0 | 0 | 11.6333 | 0 | 0 | 10.3732 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 4.1533 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 3.3569 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
7 | hrs | 1.5142 | 1.5747 | 8.41 | 0.55519 | 19.05 | 7.72 | 0.92869 | #REF! | #REF! | 59.012 | 40.196 | 0 | 12.0628 | 6.6926 | 0 | 10.6698 | 7.3588 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 3.0788 | #REF! | #REF! | 7.9948 | #REF! | #REF! | 0 | #REF! | #REF! | 2.6649 | #REF! | #REF! | 2.9678 | #REF! | #REF! | 0 | #REF! | #REF!
8 | hrs | 1.496 | 1.7992 | 8.45 | 0.46497 | 19.04 | 7.48 | #REF! | #REF! | #REF! | 71.6862 | 0 | 0 | 12.0892 | 0 | 0 | 10.9975 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 3.7905 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 2.7999 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
9 | hrs | 1.1741 | 1.5992 | 8.4 | 0.42511 | 19.13 | 7.87 | 0.95447 | #REF! | #REF! | 81.0442 | 0 | 0 | 12.4496 | 0 | 0 | 11.2857 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 5.4252 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 3.2794 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!
24 | hrs | 0.99192 | 1.3158 | 8.33 | 0.64779 | 19.65 | 7.14 | 0.97472 | #REF! | #REF! | 96.8542 | 0 | #VALUE! | 11.7715 | 0 | #VALUE! | 11.8423 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 6.9536 | #REF! | #REF! | 0 | #REF! | #REF! | #VALUE! | #REF! | #REF! | 3.3199 | #REF! | #REF! | 0 | #REF! | #REF! | #VALUE! | #REF! | #REF!
36 | hrs | 0.77937 | 1.0122 | 8.36 | 0.81985 | 19.19 | 7.66 | 1.0132 | #REF! | #REF! | 86.8338 | 0 | 0 | 11.9233 | 0 | 0 | 10.4456 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 6.4677 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF! | 3.4009 | #REF! | #REF! | 0 | #REF! | #REF! | 0 | #REF! | #REF!

## Results - Loop 4
Test: | 9 |  |  |  | Date: 10/17/2007-10/18/2007
Loop: | 4
TOC: | ambient ~0.5 | mg/l
Chlorine: | 2 | mg/l
Flow Rate | 0 | gpm
Port: | 2 | (middle of pipe)
Time |  | Free Chlorine (mg/l) |  | Free Chlorine (2500T) | Total Chlorine (mg/l) |  | Total Chlorine (2500T) | pH |  | pH (2500T | Turbidity (NTU) |  | Turbidity (2500T) | Temp °C |  | Temp °C (2500T) | D.O. (mg/l) |  | D.O. (2500T) | TOC (mg/l) |  | TOC (2500 T) | THM (ug/l) |  | THM (2500 T) | CHCl3 (ug/l) |  | CHCl3 (2500 T) | CHBrCl2 (ug/l) |  | CHBrCl2 (2500 T) | CHBr2Cl (ug/l) |  | CHBr2Cl (2500 T) | CHBr3 (ug/l) |  | CHBr3 (2500 T) | HAA (ug/l) | MCAA µg/L |  | MCAA (Bulk) | MBAA µg/L |  | MBAA (Bulk) | DCAA µg/L |  | DCAA (Bulk) | TCAA µg/L |  | TCAA (Bulk) | BCAA µg/L |  | BCAA (Bulk) | BDCAA µg/L |  | BDCAA (Bulk) | DBAA µg/L |  | DBAA (Bulk) | CDBAA µg/L |  | CDBAA (Bulk) | TBAA µg/L |  | TBAA (Bulk)
-0.65 | A |  |  | 2.5 | 2.6 |  | 2.6 |  |  | 8.49 |  |  | 0.42 |  |  | 23.67 |  |  |  | 0.832 |  | 0.832 | 34.89 |  | 34.89 |  |  | 2.71 |  |  | 6.86 |  |  | 15.08 |  |  | 10.24 | 50.25 |  |  | 44.66 |  |  | 0 |  |  | 1.16 |  |  | 1.98 |  |  | 2.45 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
-0.58333 | B |  |  | 1.1 | 1.4 |  | 1.4 |  |  | 8.65 |  |  | 0.47 |  |  | 23.61 |  |  |  | 0.841 |  | 0.841 | 32.22 |  | 32.22 |  |  | 2.21 |  |  | 6.39 |  |  | 14.05 |  |  | 9.57 | 45.95 |  |  | 41.01 |  |  | 0 |  |  | 1.02 |  |  | 1.96 |  |  | 1.96 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
-0.51667 | C |  |  | 2.5 | 2.5 |  | 2.5 |  |  | 8.55 |  |  | 0.55 |  |  | 23.45 |  |  | 6.46 | 0.865 |  | 0.865 | 34.69 |  | 34.69 |  |  | 2.35 |  |  | 6.8 |  |  | 15.18 |  |  | 10.36 | 47.15 |  |  | 42.04 |  |  | 0 |  |  | 1.06 |  |  | 1.97 |  |  | 2.08 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
-0.016667 | D |  |  | 2.4 | 2.4 |  | 2.4 |  |  | 8.52 |  |  | 0.29 |  |  | 23.35 |  |  | 6.52 | 0.89 |  | 0.89 | 31.04 |  | 31.04 |  |  | 2.4 |  |  | 6.03 |  |  | 13.39 |  |  | 9.22 | 42.17 |  |  | 36.85 |  |  | 0 |  |  | 1.39 |  |  | 2.12 |  |  | 1.81 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
0 | hrs | 2.1 |  |  | 2.1 |  |  | 8.56 |  |  | 0.33 |  |  | 23.69 |  |  | 6.16 |  |  | 0.88 |  |  | 31.35 |  |  | 2.7 |  |  | 6.05 |  |  | 13.4 |  |  | 9.2 |  |  | 47.32 | 41.92 |  |  | 0 |  |  | 1.29 |  |  | 2 |  |  | 2.11 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
0.5 | hrs | [37 empty] | X
1 | hrs | 2.1 |  |  | 2.2 |  |  | 8.55 |  |  | 0.37 |  |  | 23.24 |  |  | 6.43 |  |  | 0.926 |  |  | 31.17 |  |  | 2.31 |  |  | 6.23 |  |  | 13.54 |  |  | 9.09 |  |  | 47.54 | 41.51 |  |  | 0 |  |  | 1.87 |  |  | 2.07 |  |  | 2.09 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
1.5 | hrs | [36 empty] | #VALUE! | X
2 | hrs | 2 |  |  | 2.1 |  |  | 8.58 |  |  | 0.37 |  |  | 23.01 |  |  | 5.85 |  |  | 0.932 |  |  | 37.4 |  |  | 6.65 |  |  | 7.17 |  |  | 14.31 |  |  | 9.27 |  |  | 51.08 | 44.67 |  |  | 0 |  |  | 2.16 |  |  | 2.11 |  |  | 2.14 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
2.5 | hrs | [36 empty] | #VALUE! | X
3 | hrs | 2.1 |  |  | 2.1 |  |  | 8.57 |  |  | 0.4 |  |  | 22.98 |  |  | 6.09 |  |  | 0.935 |  |  | 41.24 |  |  | 8.03 |  |  | 7.97 |  |  | 15.41 |  |  | 9.83 |  |  | 51.18 | 44.74 |  |  | 0 |  |  | 2.26 |  |  | 2.13 |  |  | 2.05 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
4 | hrs | 1.8 | Dup.-1.8 |  | 1.9 | Dup.-1.9 |  | 8.63 | Dup.-8.63 |  | 0.39 | Dup.-0.40 |  | 22.97 | Dup.-22.98 |  | 5.61 | Dup.-5.62 |  | 0.932 | Dup → .9077 |  | 47.66 | Dup.- 48.57 |  | 13.36 | Dup.- 13.73 |  | 8.9 | Dup.- 9.06 |  | 15.72 | Dup.- 15.99 |  | 9.68 | Dup.- 9.79 |  | 60.07 | 51.99 | Dup.- 49.12 |  | 0 | Dup.- 0.00 |  | 3.5 | Dup.- 3.31 |  | 2.26 | Dup.- 2.23 |  | 2.32 | Dup.- 2.27 |  | 0 | Dup.- 0.00 |  | 0 | Dup.- 0.00 |  | 0 | Dup.- 0.00 |  | 0 | Dup.- 0.00
5 | hrs | 1.6 |  |  | 1.7 |  |  | 8.67 |  |  | 0.46 |  |  | 22.83 |  |  | 5.02 |  |  | 0.924 |  |  | 52.79 |  |  | 16.72 |  |  | 9.86 |  |  | 16.49 |  |  | 9.72 |  |  | 59.93 | 51.21 |  |  | 0 |  |  | 4.01 |  |  | 2.31 |  |  | 2.4 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
6 | hrs | [36 empty] | #VALUE! | X
9 | hrs | [36 empty] | #VALUE! | X
10 | hrs | 1.1 |  |  | 1.1 |  |  | 8.75 |  |  | 0.5 |  |  | 23.85 |  |  | 4.61 |  |  | 1.009 |  |  | 68.49 |  |  | 26.93 |  |  | 12.8 |  |  | 18.62 |  |  | 10.14 |  |  | 66.14 | 55.83 |  |  | 0 |  |  | 5.3 |  |  | 2.47 |  |  | 2.54 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0
12 | hrs | [36 empty] | #VALUE! | X | [8 empty] | 43.36
14 | hrs | [36 empty] | #VALUE! | X
15 | hrs | 0.54 |  |  | 0.54 |  |  | 8.84 |  |  | 0.55 |  |  | 24.26 |  |  | 3.98 |  |  | 1.016 |  |  | 73.76 |  |  | 30.27 |  |  | 14.33 |  |  | 19.26 |  |  | 9.9 |  |  | 60.17 | 39.17 |  |  | 0 |  |  | 5.99 |  |  | 2.32 |  |  | 2.74 |  |  | 0 |  |  | 2.5 |  |  | 0 |  |  | 7.45
20 | hrs | 0.26 |  |  | 0.43 |  |  | 8.88 |  |  | 0.9 |  |  | 24.38 |  |  | 3.54 | [5 empty] | 84.44 |  |  | 36.87 |  |  | 16.37 |  |  | 20.87 |  |  | 10.33 |  |  | 68.53 | 44.92 |  |  | 0 |  |  | 7.23 |  |  | 2.43 |  |  | 3.07 |  |  | 0 |  |  | 2.5 |  |  | 0 |  |  | 8.38
24 | hrs | [19 empty] | Dup → 2.6217 | [16 empty] | #VALUE! | X | [8 empty] | 43.61
25 | hrs | 0.07 |  |  | 0.24 |  |  | 8.97 |  |  | 1.2 |  |  | 24.38 |  |  | 2.91 |  |  | 1.042 |  |  | 117.68 |  |  | 52.27 |  |  | 22.89 |  |  | 28.64 |  |  | 13.89 |  |  | 63.13 | 39.56 |  |  | 0 |  |  | 7.09 |  |  | 2.4 |  |  | 3.07 |  |  | 0 |  |  | 2.5 |  |  | 0 |  |  | 8.51
28 | hrs | [36 empty] | #VALUE! | X
30 | hrs | 0.05 | Dup.-0.05 |  | 0.17 | Dup.-0.17 |  | 8.99 | Dup.-8.99 |  | 1.38 | Dup.-1.38 |  | 24.07 | Dup.-24.07 |  | 2.41 | Dup.-2.41 |  | 0.984 | Dup → 0.9671 |  | 85.34 | Dup.- 83.37 |  | 39.73 | Dup.-38.80 |  | 16.09 | Dup.- 15.73 |  | 19.9 | Dup.- 19.45 |  | 9.62 | Dup.- 9.39 |  | 62.5 | 39.5 | Dup.- 37.95 |  | 0 | Dup.- 0.00 |  | 6.96 | Dup.- 6.88 |  | 2.36 | Dup.- 2.36 |  | 2.9 | Dup.- 2.88 |  | 0 | Dup.- 0.00 |  | 2.5 | Dup.- 2.50 |  | 0 | Dup.- 0.00 |  | 8.28 | Dup.- 8.22
35 | hrs | 0.03 |  |  | 0.15 |  |  | 9 |  |  | 1.76 |  |  | 25.02 |  |  | 2.25 |  |  | 1.013 |  |  | 105.08 |  |  | 50.2 |  |  | 19.44 |  |  | 23.87 |  |  | 11.57 |  |  | 61.48 | 38.02 |  |  | 0 |  |  | 7.22 |  |  | 2.39 |  |  | 3 |  |  | 0 |  |  | 2.5 |  |  | 0 |  |  | 8.35
36 | hrs | [18 empty] | 2.4735

## Results - Loop 5
Test: | 10 |  |  |  | Date: 10/17/2007-10/18/2007
Loop: | 5
TOC: | ambient ~0.5 | mg/l
Chlorine: | 2 | mg/l
Flow Rate | 0 | gpm
Port: | 2 | (middle of pipe)
Time |  | Free Chlorine (mg/l) |  | Free Chlorine (2500T) | Total Chlorine (mg/l) |  | Total Chlorine (2500T) | pH |  | pH (2500T) | Turbidity (NTU) |  | Turbidity (2500T) | Temp °C |  | Temp °C (2500T) | D.O. (mg/l) |  | D.O. (2500T) | TOC (mg/l) |  | TOC (2500 T) | THM (ug/l) |  | THM (2500 T) | CHCl3 (ug/l) |  | CHCl3 (2500 T) | CHBrCl2 (ug/l) |  | CHBrCl2 (2500 T) | CHBr2Cl (ug/l) |  | CHBr2Cl (2500 T) | CHBr3 (ug/l) |  | CHBr3 (2500 T) | HAA (ug/l) | MCAA µg/L |  | MCAA (Bulk) | MBAA µg/L |  | MBAA (Bulk) | DCAA µg/L |  | DCAA (Bulk) | TCAA µg/L |  | TCAA (Bulk) | BCAA µg/L |  | BCAA (Bulk) | BDCAA µg/L |  | BDCAA (Bulk) | DBAA µg/L |  | DBAA (Bulk) | CDBAA µg/L |  | CDBAA (Bulk) | TBAA µg/L |  | TBAA (Bulk)
-0.68333 | A |  |  | 2.4 | 2.6 |  | 2.6 |  |  | 8.6 |  |  | 0.25 |  |  | 24.33 |  |  | 5.99 | 0.841 |  | 0.841 | 30.15 |  | 30.15 |  |  | 1.84 |  |  | 1.42 |  |  | 13.36 |  |  | 8.77 | 54.16 |  |  | 46.36 |  |  | 0 |  |  | 1.16 |  |  | 2.16 |  |  | 2.48 |  |  | 0 |  |  | 2 |  |  | 0 |  |  | 0
-0.61667 | B |  |  | 2.4 | 2.6 |  | 2.6 |  |  | 8.56 |  |  | 0.27 |  |  | 23.35 |  |  | 6.58 | 0.878 |  | 0.878 | 32.25 |  | 32.25 |  |  | 1.9 |  |  | 1.96 |  |  | 13.79 |  |  | 9.16 | 52.91 |  |  | 44.96 |  |  | 0 |  |  | 1.22 |  |  | 2.17 |  |  | 2.56 |  |  | 0 |  |  | 2 |  |  | 0 |  |  | 0
-0.55 | C |  |  | 2.2 | 2.4 |  | 2.4 |  |  | 8.59 |  |  | 0.31 |  |  | 23.5 |  |  | 6.1 | 0.855 |  | 0.855 | 29.12 |  | 29.12 |  |  | 1.8 |  |  | 2.39 |  |  | 12.88 |  |  | 8.57 | 60.33 |  |  | 50.03 |  |  | 0 |  |  | 1.23 |  |  | 2.18 |  |  | 2.69 |  |  | 0 |  |  | 2 |  |  | 2.2 |  |  | 0
-0.033333 | D |  |  | 2.4 | 2.5 |  | 2.5 |  |  | 8.55 |  |  | 0.28 |  |  | 22.78 |  |  | 6.59 | 0.898 |  | 0.898 | 30.01 |  | 30.01 |  |  | 1.98 |  |  | 4.47 |  |  | 13.25 |  |  | 8.81 | 52.45 |  |  | 42.48 |  |  | 0 |  |  | 1.17 |  |  | 2.17 |  |  | 2.55 |  |  | 0 |  |  | 2 |  |  | 2.08 |  |  | 0
0 | hrs | 2.3 |  | 2.2 | 2.3 |  | 2.2 | 8.55 |  | 8.57 | 0.3 |  | 1.48 | 23.15 |  | 23.72 | 6.16 |  | 5.82 | 0.924 |  | 1.195 | 32.86 |  | 36.98 | 4.06 |  | 6.09 | 4.39 |  | 4.97 | 13.26 |  | 14.38 | 8.84 |  | 9.48 | 58.08 | 47.8 |  | 45.37 | 0 |  | 0 | 1.27 |  | 1.93 | 2.18 |  | 2.45 | 2.72 |  | 2.71 | 0 |  | 0 | 2 |  | 2 | 2.11 |  | 2.13 | 0 |  | 0
0.5 | hrs
1 | hrs | 2.3 |  |  | 2.4 |  |  | 8.54 |  |  | 0.29 |  |  | 23.24 |  |  | 6.05 |  |  | 0.872 |  |  | 33.6 |  |  | 6.65 |  |  | 7.05 |  |  | 12.23 |  |  | 8.04 |  |  | 58.15 | 48 |  |  | 0 |  |  | 1.33 |  |  | 2.19 |  |  | 2.4 |  |  | 0 |  |  | 2 |  |  | 2.23 |  |  | 0
1.5 | hrs | [36 empty] | 0
2 | hrs | 2.4 |  | 1.8 | 2.5 |  | 2 | 8.54 |  | 8.53 | 0.28 |  | 2.54 | 23.12 |  | 23.34 | 6.42 |  | 5.73 | 1.585 |  | 0.918 | 35.34 |  | 37.4 | 3.58 |  | 6.65 | 9.15 |  | 8.59 | 14.85 |  | 14.31 | 9.84 |  | 9.27 | 62.08 | 51.37 |  | 57.15 | 0 |  | 0 | 1.57 |  | 3.87 | 2.23 |  | 3.45 | 2.79 |  | 3.13 | 0 |  | 0 | 2 |  | 2 | 2.12 |  | 2.27 | 0 |  | 0
2.5 | hrs | 0 |  |  | 0 | [32 empty] | 0
3 | hrs | 2.3 |  |  | 2.5 |  |  | 8.57 |  |  | 0.35 |  |  | 23.33 |  |  | 6.11 |  |  | 0.876 |  |  | 34.26 |  |  | 3.62 |  |  | 9.4 |  |  | 14.32 |  |  | 9.33 |  |  | 55.6 | 45.59 |  |  | 0 |  |  | 1.44 |  |  | 2.21 |  |  | 2.37 |  |  | 0 |  |  | 2 |  |  | 1.99 |  |  | 0
4 | hrs | 2.3 | Dup.- 2.3 |  | 2.4 | Dup.- 2.4 |  | 8.56 | Dup.- 8.56 |  | 0.46 | Dup.-0.46 |  | 23.31 | Dup.- 23.31 |  | 6.5 | Dup.- 6.53 |  | 0.898 | Dup → 0.8912 |  | 38.74 | Dup.- 37.05 |  | 5.29 | Dup.-4.56 |  | 9.45 |  |  | 15.45 | Dup.- 15.04 |  | 9.98 | Dup.- 9.70 |  | 61.89 | 50.87 | Dup.- 50.88 |  | 0 | Dup- 0.00 |  | 1.89 | Dup.- 1.79 |  | 2.32 | Dup.- 2.29 |  | 2.75 | Dup- 2.81 |  | 0 | Dup- 0.00 |  | 2 | Dup- 2.00 |  | 2.06 | Dup- 2.10 |  | 0 | Dup- 0.00
5 | hrs | 2.2 |  | 1.6 | 2.3 |  | 1.7 | 8.55 |  | 8.52 | 0.34 |  | 1.45 | 23.43 |  | 23.3 | 6.35 |  | 6.53 | 1.739 |  | 1.835 | 40.29 |  | 37.38 | 6.86 |  | 10.03 | 9.92 |  | 8.67 | 15.44 |  | 12.09 | 9.79 |  | 8.14 | 60.89 | 49.69 |  | 42.45 | 0 |  | 0 | 1.95 |  | 4.53 | 2.33 |  | 3.74 | 2.83 |  | 3.02 | 0 |  | 0 | 2 |  | 2 | 2.09 |  | 2.13 | 0 |  | 0
6 | hrs | 0 |  |  | 0 | [32 empty] | 0
9 | hrs | 0 |  |  | 0 | [32 empty] | 0
10 | hrs | 2.2 |  |  | 2.2 |  |  | 8.58 |  |  | 0.77 |  |  | 24.75 |  |  | 5.96 |  |  | 0.973 |  |  | 54.68 |  |  | 15.27 |  |  | 11.54 |  |  | 17.42 |  |  | 10.29 |  |  | 86.94 | 72.52 |  |  | 0 |  |  | 4.12 |  |  | 2.81 |  |  | 3.33 |  |  | 0 |  |  | 2 |  |  | 2.16 |  |  | 0
12 | hrs | 0 |  |  | 0 | [32 empty] | 0
14 | hrs | 0 |  |  | 0 | [32 empty] | 0
15 | hrs | 1.5 |  | 0.3 | 1.56 |  | 0.78 | 8.54 |  | 8.4 | 0.55 |  | 0.89 | 25.26 |  | 24.1 | 5.97 |  | 5.44 | 1.013 |  | 3.154 | 58.46 |  | 39.82 | 16.74 |  | 15.26 | 11.95 |  | 6.63 | 18.73 |  | 10.32 | 10.57 |  | 7.29 | 49.9 | 34.59 |  | 20.82 | 0 |  | 0 | 3.05 |  | 7.92 | 2.18 |  | 5.1 | 2.64 |  | 2.94 | 0 |  | 0 | 2.01 |  | 2.26 | 0 |  | 0 | 5.43 |  | 7.39
20 | hrs | 1.48 |  |  | 1.78 |  |  | 8.54 |  |  | 0.46 |  |  | 25.37 |  |  | 5.64 |  |  | 0.92 |  |  | 70.92 |  |  | 25.98 |  |  | 11.96 |  |  | 19.73 |  |  | 10.88 |  |  | 53.53 | 36.93 |  |  | 0 |  |  | 3.75 |  |  | 2.35 |  |  | 2.77 |  |  | 0 |  |  | 1.95 |  |  | 0 |  |  | 5.78
24 | hrs | 0 |  |  | 0 | [15 empty] | Dup → 2.9643 | [16 empty] | 0
25 | hrs | 1.16 |  |  | 1.58 |  |  | 8.59 |  |  | 0.42 |  |  | 25.36 |  |  | 5.63 |  |  | 0.943 |  |  | 80.07 |  |  | 31.25 |  |  | 12.3 |  |  | 21.07 |  |  | 11.15 |  |  | 63.98 | 44.99 |  |  | 0 |  |  | 5.36 |  |  | 2.73 |  |  | 3.24 |  |  | 0 |  |  | 1.1 |  |  | 0 |  |  | 6.56
28 | hrs | 0 |  |  | 0 | [32 empty] | 0
30 | hrs | 0.98 | Dup.- 0.98 |  | 1.3 | Dup.- 1.30 |  | 8.57 | Dup.- 8.57 |  | 0.64 | Dup.- 0.64 |  | 25 | Dup.-25.00 |  | 5.6 | Dup.- 5.60 |  | 0.963 | Dup → 1.0132 |  | 95.69 | Dup.- 92.6 |  | 42.63 | Dup.- 42.23 |  | 11.63 | Dup.- 11.61 |  | 22.46 | Dup.- 21.24 |  | 11.7 | Dup.- 11.11 |  | 67.21 | 46.24 | Dup.- 44.40 |  | 0 | Dup.- 0.00 |  | 6.87 | Dup.- 6.74 |  | 3.04 | Dup.- 2.97 |  | 3.28 | Dup.- 3.31 |  | 0 | Dup.- 0.00 |  | 0 | Dup.- 0.00 |  | 0 | Dup.- 0.00 |  | 7.78 | Dup.- 7.62
35 | hrs | 0.77 |  |  | 1 |  |  | 8.56 |  |  | 0.81 |  |  | 26.14 |  |  | 5.44 |  |  | 1.001 |  |  | 85.79 |  |  | 38.91 |  |  | 11.78 |  |  | 19.79 |  |  | 10.32 |  |  | 65.29 | 45.2 |  |  | 0 |  |  | 6.39 |  |  | 2.89 |  |  | 3.36 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 7.45
36 | hrs