## Introduction
This workbook contains the measurement of fumigant concentration during exposure of computers for Impact of Sporicidal Fumigation with Methyl Bromide or Methyl Iodide on Electronic Equipment.
This file contains the Spectros IR detector readings transcribed from photographs of the detector readout by Ben Gillenwaters (UF) during the MB/MI computer fumigations in January 2017. Photographs were taken automatically every 20 minutes during the course of the exposures.
Since the Spectros dector is designed to measure methyl bromide (MB), the readings in the methyl iodide (MI) tab are converted to MI using the calibration curve in the MI calibration curve tab. This calibration curve was generated by Rudolf Scheffrahn on 01/13/17.

## MB Concentration Photos
~Minutes | runtime (hours) | MB Image # | g/m3 | complete (between 200 and 250)
20 | -1.3333 | 189 | 1.3 | 0
40 | -1 | 190 | 1.5 | 0 | run start row | 6
60 | -0.66667 | 191 | 1.2 | 0 | run end row | 148
80 | -0.33333 | 192 | 145.6 | 0 | completeness | 71.3287
100 | 0 | 193 | 196.4 | 0 | average | 235.9958
120 | 0.33333 | 194 | 221.8 | 1 | min | 196.4
140 | 0.66667 | 195 | 241.4 | 1 | max | 285.1
160 | 1 | 196 | 240 | 1
180 | 1.3333 | 197 | 238.6 | 1
200 | 1.6667 | 198 | 238 | 1
220 | 2 | 199 | 236.3 | 1
240 | 2.3333 | 200 | 235 | 1
260 | 2.6667 | 201 | 234.3 | 1
280 | 3 | 202 | 233.2 | 1
300 | 3.3333 | 203 | 232.2 | 1
320 | 3.6667 | 204 | 230.8 | 1
340 | 4 | 205 | 229.9 | 1
360 | 4.3333 | 206 | 229 | 1
380 | 4.6667 | 207 | 227.9 | 1
400 | 5 | 208 | 227.4 | 1
420 | 5.3333 | 209 | 226.8 | 1
440 | 5.6667 | 210 | 221.1 | 1
460 | 6 | 211 | 221.1 | 1
480 | 6.3333 | 212 | 220.9 | 1
500 | 6.6667 | 213 | 219.7 | 1
520 | 7 | 214 | 218.7 | 1
540 | 7.3333 | 215 | 218.3 | 1
560 | 7.6667 | 216 | 218 | 1
580 | 8 | 217 | 216.6 | 1
600 | 8.3333 | 218 | 216.1 | 1
620 | 8.6667 | 219 | 215.7 | 1
640 | 9 | 220 | 214.7 | 1
660 | 9.3333 | 221 | 213.9 | 1
680 | 9.6667 | 222 | 214.1 | 1
700 | 10 | 223 | 212.9 | 1
720 | 10.3333 | 224 | 274.2 | 0
740 | 10.6667 | 225 | 283.6 | 0
760 | 11 | 226 | 285.1 | 0
780 | 11.3333 | 227 | 282.7 | 0
800 | 11.6667 | 228 | 283.1 | 0
820 | 12 | 229 | 281 | 0
840 | 12.3333 | 230 | 280.9 | 0
860 | 12.6667 | 231 | 279.2 | 0
880 | 13 | 232 | 279.3 | 0
900 | 13.3333 | 233 | 276.8 | 0
920 | 13.6667 | 234 | 276 | 0
940 | 14 | 235 | 274.6 | 0
960 | 14.3333 | 236 | 273.9 | 0
980 | 14.6667 | 237 | 272.7 | 0
1000 | 15 | 238 | 272.1 | 0
1020 | 15.3333 | 239 | 271.1 | 0
1040 | 15.6667 | 240 | 269.7 | 0
1060 | 16 | 241 | 270.4 | 0
1080 | 16.3333 | 242 | 268.3 | 0
1100 | 16.6667 | 243 | 267.9 | 0
1120 | 17 | 244 | 265.7 | 0
1140 | 17.3333 | 245 | 265.7 | 0
1160 | 17.6667 | 246 | 263.6 | 0
1180 | 18 | 247 | 263.1 | 0
1200 | 18.3333 | 248 | 262.2 | 0
1220 | 18.6667 | 249 | 261.3 | 0
1240 | 19 | 250 | 260.4 | 0
1260 | 19.3333 | 251 | 258.1 | 0
1280 | 19.6667 | 252 | 257 | 0
1300 | 20 | 253 | 257.1 | 0
1320 | 20.3333 | 254 | 256 | 0
1340 | 20.6667 | 255 | 255.4 | 0
1360 | 21 | 256 | 255.2 | 0
1380 | 21.3333 | 257 | 253.6 | 0
1400 | 21.6667 | 258 | 253.3 | 0
1420 | 22 | 259 | 252.4 | 0
1440 | 22.3333 | 260 | 252.7 | 0
1460 | 22.6667 | 261 | 250.7 | 0
1480 | 23 | 262 | 251.2 | 0
1500 | 23.3333 | 263 | 249.8 | 1
1520 | 23.6667 | 264 | 250.1 | 0
1540 | 24 | 265 | 248.3 | 1
1560 | 24.3333 | 266 | 247.4 | 1
1580 | 24.6667 | 267 | 247.5 | 1
1600 | 25 | 268 | 247.3 | 1
1620 | 25.3333 | 269 | 246.9 | 1
1640 | 25.6667 | 270 | 244.6 | 1
1660 | 26 | 271 | 243.6 | 1
1680 | 26.3333 | 272 | 243.2 | 1
1700 | 26.6667 | 273 | 242.7 | 1
1720 | 27 | 274 | 242.3 | 1
1740 | 27.3333 | 275 | 241.4 | 1
1760 | 27.6667 | 276 | 241.1 | 1
1780 | 28 | 277 | 241 | 1
1800 | 28.3333 | 278 | 240.6 | 1
1820 | 28.6667 | 279 | 239.5 | 1
1840 | 29 | 280 | 239.3 | 1
1860 | 29.3333 | 281 | 236.9 | 1
1880 | 29.6667 | 282 | 222.7 | 1
1900 | 30 | 283 | 222.3 | 1
1920 | 30.3333 | 284 | 225.8 | 1
1940 | 30.6667 | 285 | 224.7 | 1
1960 | 31 | 286 | 224.1 | 1
1980 | 31.3333 | 287 | 220.5 | 1
2000 | 31.6667 | 288 | 222.1 | 1
2020 | 32 | 289 | 218.5 | 1
2040 | 32.3333 | 290 | 214.8 | 1
2060 | 32.6667 | 291 | 215.4 | 1
2080 | 33 | 292 | 219 | 1
2120 | 33.6667 | 294 | 213.8 | 1
2140 | 34 | 295 | 216.1 | 1
2160 | 34.3333 | 296 | 220.3 | 1
2180 | 34.6667 | 297 | 221.6 | 1
2200 | 35 | 298 | 222.4 | 1
2220 | 35.3333 | 299 | 223 | 1
2240 | 35.6667 | 300 | 223.1 | 1
2260 | 36 | 301 | 224.6 | 1
2280 | 36.3333 | 302 | 218.6 | 1
2300 | 36.6667 | 303 | 219.7 | 1
2320 | 37 | 304 | 220.7 | 1
2340 | 37.3333 | 305 | 220.1 | 1
2360 | 37.6667 | 306 | 220.6 | 1
2380 | 38 | 307 | 221.8 | 1
2400 | 38.3333 | 308 | 221.8 | 1
2420 | 38.6667 | 309 | 221.8 | 1
2440 | 39 | 310 | 221.1 | 1
2460 | 39.3333 | 311 | 221.3 | 1
2480 | 39.6667 | 312 | 219.8 | 1
2500 | 40 | 313 | 219 | 1
2520 | 40.3333 | 314 | 219.4 | 1
2560 | 41 | 316 | 217.8 | 1
2580 | 41.3333 | 317 | 217.7 | 1
2600 | 41.6667 | 318 | 215.8 | 1
2620 | 42 | 319 | 215.2 | 1
2640 | 42.3333 | 320 | 216.6 | 1
2660 | 42.6667 | 321 | 216 | 1
2680 | 43 | 322 | 216 | 1
2700 | 43.3333 | 323 | 213.7 | 1
2720 | 43.6667 | 324 | 212.5 | 1
2740 | 44 | 325 | 213.1 | 1
2760 | 44.3333 | 326 | 211.1 | 1
2780 | 44.6667 | 327 | 211.4 | 1
2800 | 45 | 328 | 211.5 | 1
2820 | 45.3333 | 329 | 211.5 | 1
2840 | 45.6667 | 330 | 212.3 | 1
2860 | 46 | 331 | 208.2 | 1
2880 | 46.3333 | 332 | 209.1 | 1
2900 | 46.6667 | 333 | 209.5 | 1
2920 | 47 | 334 | 209.8 | 1
2940 | 47.3333 | 335 | 209.4 | 1
2960 | 47.6667 | 336 | 208.5 | 1
2980 | 48 | 337 | 208.6 | 1
3000 | 48.3333 | 338 | 4.9 | 0
reaching target concentration at 100 minutes, which is 40 minutes after first injection (9:00-am on 01/12/17)

## MI Concentration Photos
~ Minutes | runtime (hours) | MI Image # | g/m3 | corrected to MI (mg/L) | complete (between 200 and 250)
0 | -0.33333 | 347 | 0 | 0 | 0 | run start row | 3
20 | 0 | 348 | 16.8 | 221.8 | 1 | run end row | 140
40 | 0.33333 | 349 | 18.8 | 253.8 | 0 | completeness | 98.5507
60 | 0.66667 | 350 | 18.5 | 249 | 1 | average | 220.3043
80 | 1 | 351 | 18.6 | 250.6 | 0 | min | 204.2
100 | 1.3333 | 352 | 18.5 | 249 | 1 | max | 253.8
120 | 1.6667 | 353 | 18.3 | 245.8 | 1
140 | 2 | 354 | 18.4 | 247.4 | 1
160 | 2.3333 | 355 | 18.2 | 244.2 | 1
180 | 2.6667 | 356 | 18.2 | 244.2 | 1
200 | 3 | 357 | 18.2 | 244.2 | 1
240 | 3.6667 | 359 | 18.1 | 242.6 | 1
260 | 4 | 360 | 18 | 241 | 1
280 | 4.3333 | 361 | 18 | 241 | 1
300 | 4.6667 | 362 | 17.9 | 239.4 | 1
320 | 5 | 363 | 18 | 241 | 1
340 | 5.3333 | 364 | 18 | 241 | 1
360 | 5.6667 | 365 | 17.7 | 236.2 | 1
380 | 6 | 366 | 17.7 | 236.2 | 1
400 | 6.3333 | 367 | 17.8 | 237.8 | 1
420 | 6.6667 | 368 | 17.6 | 234.6 | 1
440 | 7 | 369 | 17.6 | 234.6 | 1
460 | 7.3333 | 370 | 17.5 | 233 | 1
480 | 7.6667 | 371 | 17.5 | 233 | 1
500 | 8 | 372 | 17.5 | 233 | 1
520 | 8.3333 | 373 | 17.7 | 236.2 | 1
540 | 8.6667 | 374 | 17.4 | 231.4 | 1
560 | 9 | 375 | 17.2 | 228.2 | 1
580 | 9.3333 | 376 | 17.4 | 231.4 | 1
600 | 9.6667 | 377 | 17.4 | 231.4 | 1
620 | 10 | 378 | 17.3 | 229.8 | 1
640 | 10.3333 | 379 | 17.2 | 228.2 | 1
680 | 11 | 381 | 17.1 | 226.6 | 1
700 | 11.3333 | 382 | 16.9 | 223.4 | 1
720 | 11.6667 | 383 | 17.1 | 226.6 | 1
740 | 12 | 384 | 16.9 | 223.4 | 1
760 | 12.3333 | 385 | 16.9 | 223.4 | 1
780 | 12.6667 | 386 | 16.4 | 215.4 | 1
800 | 13 | 387 | 16 | 209 | 1
820 | 13.3333 | 388 | 16.3 | 213.8 | 1
840 | 13.6667 | 389 | 15.9 | 207.4 | 1
860 | 14 | 390 | 16.2 | 212.2 | 1
880 | 14.3333 | 391 | 16 | 209 | 1
900 | 14.6667 | 392 | 16.2 | 212.2 | 1
920 | 15 | 393 | 16.1 | 210.6 | 1
940 | 15.3333 | 394 | 16.3 | 213.8 | 1
960 | 15.6667 | 395 | 16.1 | 210.6 | 1
980 | 16 | 396 | 16.2 | 212.2 | 1
1000 | 16.3333 | 397 | 16 | 209 | 1
1020 | 16.6667 | 398 | 16.3 | 213.8 | 1
1040 | 17 | 399 | 16 | 209 | 1
1060 | 17.3333 | 400 | 16.2 | 212.2 | 1
1080 | 17.6667 | 401 | 15.9 | 207.4 | 1
1120 | 18.3333 | 403 | 15.9 | 207.4 | 1
1140 | 18.6667 | 404 | 16 | 209 | 1
1160 | 19 | 405 | 15.8 | 205.8 | 1
1180 | 19.3333 | 406 | 15.8 | 205.8 | 1
1200 | 19.6667 | 407 | 15.8 | 205.8 | 1
1220 | 20 | 408 | 15.8 | 205.8 | 1
1240 | 20.3333 | 409 | 15.7 | 204.2 | 1
1260 | 20.6667 | 410 | 15.8 | 205.8 | 1
1280 | 21 | 411 | 17.2 | 228.2 | 1
1300 | 21.3333 | 412 | 16.9 | 223.4 | 1
1320 | 21.6667 | 413 | 16.9 | 223.4 | 1
1340 | 22 | 414 | 17 | 225 | 1
1360 | 22.3333 | 415 | 16.8 | 221.8 | 1
1380 | 22.6667 | 416 | 16.8 | 221.8 | 1
1400 | 23 | 417 | 16.7 | 220.2 | 1
1420 | 23.3333 | 418 | 16.7 | 220.2 | 1
1460 | 24 | 420 | 16.7 | 220.2 | 1
1480 | 24.3333 | 421 | 16.8 | 221.8 | 1
1500 | 24.6667 | 422 | 16.6 | 218.6 | 1
1520 | 25 | 423 | 16.5 | 217 | 1
1540 | 25.3333 | 424 | 16.7 | 220.2 | 1
1560 | 25.6667 | 425 | 16.4 | 215.4 | 1
1580 | 26 | 426 | 16.3 | 213.8 | 1
1600 | 26.3333 | 427 | 16.6 | 218.6 | 1
1620 | 26.6667 | 428 | 16.5 | 217 | 1
1640 | 27 | 429 | 16.3 | 213.8 | 1
1660 | 27.3333 | 430 | 16.3 | 213.8 | 1
1680 | 27.6667 | 431 | 16.3 | 213.8 | 1
1700 | 28 | 432 | 16.4 | 215.4 | 1
1720 | 28.3333 | 433 | 16.4 | 215.4 | 1
1740 | 28.6667 | 434 | 16.3 | 213.8 | 1
1760 | 29 | 435 | 16.3 | 213.8 | 1
1800 | 29.6667 | 437 | 16.8 | 221.8 | 1
1820 | 30 | 438 | 17 | 225 | 1
1840 | 30.3333 | 439 | 17.1 | 226.6 | 1
1880 | 31 | 441 | 16.7 | 220.2 | 1
1900 | 31.3333 | 442 | 16.7 | 220.2 | 1
1920 | 31.6667 | 443 | 16.8 | 221.8 | 1
1940 | 32 | 444 | 16.9 | 223.4 | 1
1960 | 32.3333 | 445 | 16.6 | 218.6 | 1
1980 | 32.6667 | 446 | 16.5 | 217 | 1
2000 | 33 | 447 | 16.4 | 215.4 | 1
2020 | 33.3333 | 448 | 16.6 | 218.6 | 1
2040 | 33.6667 | 449 | 16.6 | 218.6 | 1
2060 | 34 | 450 | 16.3 | 213.8 | 1
2080 | 34.3333 | 451 | 16.3 | 213.8 | 1
2100 | 34.6667 | 452 | 16.3 | 213.8 | 1
2120 | 35 | 453 | 16.5 | 217 | 1
2140 | 35.3333 | 454 | 16.2 | 212.2 | 1
2160 | 35.6667 | 455 | 16.3 | 213.8 | 1
2180 | 36 | 456 | 16.4 | 215.4 | 1
2200 | 36.3333 | 457 | 16.1 | 210.6 | 1
2220 | 36.6667 | 458 | 16.3 | 213.8 | 1
2240 | 37 | 459 | 16.5 | 217 | 1
2260 | 37.3333 | 460 | 16.3 | 213.8 | 1
2280 | 37.6667 | 461 | 16.5 | 217 | 1
2300 | 38 | 462 | 16.4 | 215.4 | 1
2320 | 38.3333 | 463 | 16.4 | 215.4 | 1
2340 | 38.6667 | 464 | 16.2 | 212.2 | 1
2360 | 39 | 465 | 16.5 | 217 | 1
2380 | 39.3333 | 466 | 16.5 | 217 | 1
2400 | 39.6667 | 467 | 16.4 | 215.4 | 1
2420 | 40 | 468 | 16.4 | 215.4 | 1
2440 | 40.3333 | 469 | 16.4 | 215.4 | 1
2460 | 40.6667 | 470 | 16.4 | 215.4 | 1
2480 | 41 | 471 | 16.4 | 215.4 | 1
2500 | 41.3333 | 472 | 16.4 | 215.4 | 1
2520 | 41.6667 | 473 | 16.3 | 213.8 | 1
2540 | 42 | 474 | 16.4 | 215.4 | 1
2560 | 42.3333 | 475 | 16.5 | 217 | 1
2580 | 42.6667 | 476 | 16.2 | 212.2 | 1
2600 | 43 | 477 | 16.2 | 212.2 | 1
2620 | 43.3333 | 478 | 16.2 | 212.2 | 1
2660 | 44 | 480 | 16.2 | 212.2 | 1
2680 | 44.3333 | 481 | 16.2 | 212.2 | 1
2700 | 44.6667 | 482 | 16.3 | 213.8 | 1
2720 | 45 | 483 | 16.2 | 212.2 | 1
2740 | 45.3333 | 484 | 16.1 | 210.6 | 1
2760 | 45.6667 | 485 | 16.2 | 212.2 | 1
2780 | 46 | 486 | 16.2 | 212.2 | 1
2800 | 46.3333 | 487 | 16.1 | 210.6 | 1
2820 | 46.6667 | 488 | 16.1 | 210.6 | 1
2840 | 47 | 489 | 16.1 | 210.6 | 1
2860 | 47.3333 | 490 | 15.9 | 207.4 | 1
2880 | 47.6667 | 491 | 16.2 | 212.2 | 1
2900 | 48 | 492 | 15.8 | 205.8 | 1
2920 | 48.3333 | 493 | 2.1 | 0 | 0
2940 | 48.6667 | 494 | 1.5 | 0 | 0
2960 | 49 | 495 | 1.4 | 0 | 0
2980 | 49.3333 | 496 | 1.1 | 0 | 0
3000 | 49.6667 | 497 | 1.1 | 0 | 0
3020 | 50 | 498 | 1.2 | 0 | 0
3040 | 50.3333 | 499 | 1.1 | 0 | 0
3060 | 50.6667 | 500 | 1 | 0 | 0
3080 | 51 | 501 | 0.7 | 0 | 0
3100 | 51.3333 | 502 | 0.9 | 0 | 0
zero minutes is 8:00-am on 01/16/17: time of first injection. Within 20 minutes MI i evaporated

## MI calibration curve
g/m3 MI | instrument response (g/m3)
193 | 15
289 | 21
385 | 27
MI conc = (spectros response-2.9375)/0.0625