SUPPORTING INFORMATION

Non-targeted screening based identification of per- and polyfluorinated contaminants in the Cape Fear River by high resolution mass spectrometry

James McCord1, Mark Strynar2*

1  Oak Ridge Institute for Science and Education, National Exposure Research Laboratory, U.S. Environmental Protection Agency, Research Triangle Park, NC

2  National Exposure Research Laboratory, U.S. Environmental Protection Agency, Research Triangle Park, North Carolina 27711, United States

79 Figures, 3 Tables, 32 Pages

TOF Analysis and Molecular Feature Screening

Initial mass spectrometry (MS) analysis was carried out with an Agilent 1100 series HPLC interfaced with an Agilent 6210 TOF system. Chromatographic separation was carried out an InfinityLab Poroshell 120 EC-C8 column (2.1 × 50 mm, 2.7 μm; Agilent) with method conditions as follows: 0.3 mL/min flow rate; column at 30 °C; mobile phases A: ammonium formate buffer (0.4 mM) in water/methanol (95:5 v/v), and mobile phase B: ammonium formate (0.4 mM) in methanol/water (95:5 v/v); gradient: 0−15 min a linear gradient from 75:25 A/B to 15:85 A/B; with a 4 min post time for equilibration. TOF data collection was accomplished in negative mode electrospray ionization with a dual-electrospray source providing purine and hexakis phosphazine as internal reference masses from the secondary spray. The instrument was operated in 4GHz high resolution mode with a mass window of 100-1700 m/z.

QTOF-MS/MS Instrument Parameters

Structural investigation of the molecular features was performed using an Agilent 1260 Infinity UPLC coupled to a 6530 QTOF. Chromatographic separation was carried out similarly to the TOF analysis, but with MS parameters altered to allow for data-dependent MS/MS acquisition. The MS was operated in 2GHz extended dynamic range mode with an MS mass range of 100-1700 m/z and an MS/MS mass range of 60-1000 m/z. Scan rates were set to vary based on precursor abundance with a target of 10,000 counts/spectrum and cap of 250 ms of ion collection. A minimum precursor threshold of 5,000 counts was set, along with an active exclusion window of twelve seconds after five spectral collections. A preferential inclusion list of the 50 most abundant species from the TOF analysis was set, along with an exclusion list of the reference mass ions and molecular features assigned to the blank. The collection of MS/MS spectra took place at fixed collision energies of 10 and 25 with a narrow (~1.3 m/z) precursor isolation window.

Extracted Ion Chromatograms and MS/MS spectra for Identified Per/Polyfluorinated Ether Compounds

Chromatographically resolved isomers of the same molecular formula are assigned letters A, B, C etc. Features in black have MS/MS spectra, features in grey were not able to be isolated for MS/MS fragmentation. Cleavage locations for major fragments are shown with red dashed lines for chemical structures that could be accurately assigned on the basis of MS/MS. Some common fragments are listed in Table S-4.

Figure 1. Extracted Ion Chromatogram for Cmp01

Figure 2. Average MS/MS Spectrum for Cmp01 @ 10/25 CID

Figure 3. Extracted Ion Chromatogram for Cmp02

Figure 4. Average MS/MS Spectrum for Cmp02a @ 10/25 CID

Figure 5. Average MS/MS Spectrum for Cmp02b @ 10/25 CID

Figure 6. Extracted Ion Chromatogram for Cmp03

Figure 7. Average MS/MS Spectrum for Cmp03 @ 10/25 CID

Figure 8. Extracted Ion Chromatogram for Cmp04

Figure 9. Average MS/MS Spectrum for Cmp04 @ 10/25 CID

Figure 10. Extracted Ion Chromatogram for Cmp05

Figure 11. Average MS/MS Spectrum for Cmp05 @ 10/25 CID

Figure 12. Extracted Ion Chromatogram for Cmp06

Figure 13. Average MS/MS Spectrum for Cmp06 @ 10/25 CID

Figure 14. Extracted Ion Chromatogram for Cmp07

Figure 15. Average MS/MS Spectrum for Cmp07 @ 10/25 CID

Figure 16. Extracted Ion Chromatogram for Cmp08

Figure 17. Average MS/MS Spectrum for Cmp08 @ 10/25 CID

Figure 18. Extracted Ion Chromatogram for Cmp09

Figure 19. Average MS/MS Spectrum for Cmp09 @ 10/25 CID

Figure 20. Extracted Ion Chromatogram for Cmp10

Figure 21. Average MS/MS Spectrum for Cmp10 @ 10/25 CID

Figure 22. Extracted Ion Chromatogram for Cmp 11

Figure 23. Extracted Ion Chromatogram for Cmp12

Figure 24. Average MS/MS Spectrum for Cmp12 @ 10/25 CID

Figure 25. Extracted Ion Chromatogram for Cmp13

Figure 26. Average MS/MS Spectrum for Cmp13 @ 10/25 CID

Figure 27. Extracted Ion Chromatogram for Cmp14

Figure 28. Average MS/MS Spectrum for Cmp14 @ 10/25 CID

Figure 29. Extracted Ion Chromatogram for Cmp15

Figure 30. Average MS/MS Spectrum for Cmp15 @ 10/25 CID

Figure 31. Extracted Ion Chromatogram for Cmp16

Figure 32. Average MS/MS Spectrum for Cmp16 @ 10/25 CID

Figure 33. Extracted Ion Chromatogram for Cmp17

Figure 34. Average MS/MS Spectrum for Cmp17 @ 10/25 CID

Figure 35. Extracted Ion Chromatogram for Cmp18

Figure 36. Average MS/MS Spectrum for Cmp18 @ 10/25 CID

Figure 37. Extracted Ion Chromatogram for Cmp19

Figure 38. Extracted Ion Chromatogram for Cmp20

Figure 39. Average MS/MS Spectrum for Cmp20 @ 10/25 CID

Figure 40. Extracted Ion Chromatogram for Cmp21

Figure 41. Average MS/MS for Cmp21a @ 10/25 CID

Figure 42. Average MS/MS for Cmp21b @ 10/25 CID

Figure 43. Extracted Ion Chromatogram for Cmp22

Figure 44. Extracted Ion Chromatogram for Cmp23

Figure 45. Average MS/MS spectrum for Cmp 23a @ CID 10/25

Figure 46. Extracted Ion Chromatogram for Cmp24

Figure 47. Average MS/MS Spectrum for Cmp24a @ 10/25 CID

Figure 48. Extracted Ion Chromatogram for Cmp25

Figure 49. Average MS/MS for Cmp 25a @ 10/25 CID

Figure 50. Average MS/MS for Cmp 25b @ 10/25 CID

Figure 51. Average MS/MS for Cmp 25c @ 10/25 CID

Figure 52. Extracted Ion Chromatogram for Cmp26

Figure 53. Average MS/MS for Cmp 26 @ 10/25 CID

Figure 54. Extracted Ion Chromatogram for Cmp27

Figure 55. Average MS/MS Spectrum for Cmp 27a @ 10/25 CID

Figure 56. Average MS/MS Spectrum for Cmp 27b @ 10/25 CID

Figure 57. Average MS/MS Spectrum for Cmp 27c @ 10/25 CID

Figure 58. Extracted Ion Chromatogram for Cmp28

Figure 59. Average MS/MS Spectrum for Cmp 28a @ 10/25 CID

Figure 60. Average MS/MS Spectrum for Cmp 28b @ 10/25 CID

Figure 61. Extracted Ion Chromatogram for Cmp 29

Figure 62. MS/MS Spectrum for Cmp 29a @ 10/25 CID

Figure 63. MS/MS Spectrum for Cmp 29b @ 10/25 CID

Figure 64. Extracted Ion Chromatogram for Cmp30

Figure 65. Average MS/MS for Cmp30a @ 10/25 CID

Figure 66. Average MS/MS Spectrum for Cmp30c @ 10/25 CID

Figure 67. Extracted Ion Chromatogram for Cmp31

Figure 68. Extracted Ion Chromatogram for Cmp32. Peak at retention time ~1 minute is not a unique chemical feature.

Figure 69. Average MS/MS Spectrum for Cmp32 @10/25 CID

Figure 70. Extracted Ion Chromatogram for Cmp33

Figure 71. Average MS/MS Spectrum for Cmp33a @ 10/25 CID

Figure 72. Average MS/MS Spectrum for Cmp33b @ 10/25 CID

Figure 73. Extracted Ion Chromatogram for Cmp34

Figure 74. Average MS/MS Spectrum for Cmp34a @ 10/25 CID

Figure 75. Average MS/MS Spectrum for Cmp34b @ 10/25 CID

Figure 76. Extracted Ion Chromatogram for Cmp35

Figure 77. Average MS/MS Spectrum for Cmp35 @ 10/25 CID

Figure 78. Extracted Ion Chromatogram for Cmp36

Figure 79. Average MS/MS Spectrum for Cmp 36a @ 10/25 CID

Figure 80. Average MS/MS Spectrum for Cmp 36b @ 10/25 CID

Figure 81. Extracted Ion Chromatogram for Cmp37

Figure 82. Average MS/MS Spectrum for Cmp37a @ 10/25 CID

Figure 83. Average MS/MS Spectrum for Cmp37b @ 10/25 CID

Figure 84. Cluster Branch 13

Figure 85. Cluster Branch 14

Figure 86. Cluster Branch 16

Figure 87. Cluster Branch 18

Figure 88. Cluster Branch 27

Figure 89. Cluster Branch 28

Figure 90. pvclust Ward.D2 clustering of time trend abundance of fluorinated chemical features detected in the Cape Fear River over a longitudinal sampling period.

Figure 91. Sampling Map

Table S-4. All structurally assigned per/polyfluorinated chemical features from surface water sampling in the Cape Fear River. Compounds with multiple chromatographically distinct isomers are labeled a,b,c etc.

| ID | Formula | CAS | [M] | Structure |
| --- | --- | --- | --- | --- |
| 1 | C3HO3F5 | 674-13-5 | 179.98458 |  |
| 2a | C4HO3F7 | 13140-29-9 | 229.98139 |  |
| 2b | C4HO3F7 | 377-73-1 | 229.98139 |  |
| 3 | C4HO4F7 | 39492-88-1 | 245.97630 |  |
| 4 | C5HO3F9 | 267239-61-2, 863090-89-5 | 279.97819 |  |
| 5 | C5HO4F9 | 151772-58-6, N/A | 295.97310 |  |
| 6 | C5HO5F9 | 39492-89-2 | 311.96800 |  |
| 7 | C6HO3F11 | 13252-13-6 | 329.97500 |  |
| 10 | C6HO6F11 | 39492-90-5 | 377.95970 |  |
| 11 | C8HO4F13 | 946163-81-1 | 407.9667 |  |
| 13 | C7HO7F13 | 39492-91-6 | 443.9515 |  |
| 14 | C4HO4SF9 | 113507-82-7 | 315.9452 |  |
| 16 | C7HO5SF13 | 29311-67-9 | 443.9337 |  |
| 18 | C2H2O5SF2 | 422-67-3 | 175.9591 |  |
| 19a | C5H2O6SF8 | 790642-73-8 | 341.9444 |  |
| 22a | C7H2O6SF12 | 852157-01-8 | 441.9380 |  |
| 22b | C7H2O6SF12 | N/A | 441.9380 |  |
| 23a | C8H2O7SF14 | 1235024-21-1 | 507.92977 |  |
| 24a | C7H3F13O8S2 | 916340-65-3 | 525.8898 |  |
| 25c | C3H2O4SF6 | 905363-45-3 | 247.9578 |  |
| 26 | C4H2O4SF8 | 905363-44-2 | 297.9546 |  |
| 27c | C5H2O4SF10 | 935443-55-3 | 347.9514 |  |
| 30a | C5H2O3F8 | 919005-00-8 | 261.9876 |  |
| 30c | C5H2O3F8 | 919005-13-3 | 261.9876 |  |
| 34a | C7H2O5SF14 | 749836-20-2 | 463.9399 |  |

Table S-5: Common MS/MS Fragments of per and poly-fluorinated ethers

| Formula | m/z | Structure |
| --- | --- | --- |
| CF3 | 68.99575 |  |
| HSO3 | 80.96519 |  |
| CF3O | 84.99067 |  |
| C2F3O | 96.99067 |  |
| C2HF4O | 116.99690 |  |
| C2F5 | 118.99257 |  |
| C2F5O | 134.98748 |  |
| C3F5O | 146.98748 |  |
| C3F7 | 168.98937 |  |