## 1. General Information
Analytical Mass Balance of DPK metabolism in liver slices, Overend, Serrano, Sheedy, Voelker
Objective: To determine if liver slices would metabolize DPK to pOHDPK, and benzhydrol (BADPK) at 11°C. To perform total mass balance determination.
Exposure Times: 0, 24 & 48 hours |  |  |  | Note: Benzhydrol=OHDPK=BADPK
DPK Concentrations: -3.7LogM (200uM), -4LogM (100uM)
| Method: | HEXANE. DPK_SLO, SIMOHDPK
| Sequence: | 0 hours: 100706A & B.Seq 24 hours 100713 A & B.Seq 48 hours: 100712A, B & C.Seq |  |  | Chemical: | DPK, BADPK, OHDPK | Target: | SIM ions 115, 182, 184, 198, 200, 278
| Retention Times (min) | DPK_SLO.met: RT for DPK = 25.79 and RT for BADPK =25.99
Experiment Status: Complete
| Instrument Used: | GC/MS located in Lab 229
| Experiment Designed By: |  | BS, JS, JV, GO
Acceptance of Data Criteria:
1. Limit of Reporting (acceptance within 40% of lowest calibration curve used)= 0.5uM (0.9uM*0.6); All non adjusted data is accepted if>0.5uM
[7 empty] | Criteria used | 2. Limit of Detection (peaks with good shape and RM S/N>8)=0.3uM; All non adjusted data is accepted if>0.3uM
| Index: | [6 empty] | 3. Lowest Limit of Quantification (LOQ at S/N>14)= 1.2uM
Sheet 1 : General Information and Chemical Structures
Sheet 2: Calibration Curves
Sheet 3: Raw Data Processing
| Sheet 4: Summary of Metabolism Mass Balance | [7 empty] | Acceptance criteria comp | LOD uM | LOR uM | LLOQ uM
| Sheet 5: Comparison of Calibration Curves with 7 points vs 3 points (Supplemental 1) | [7 empty] | cpk | 0.2 | 0.5 | 1.1
[9 empty] | dpk | 0.3 | 0.5 | 1.1
[9 empty] | cbp | 0.2 | 0.6 | 1.2
[10 empty] | at S/N>8 |  | at S/N>14
Note 1: | Experiment did not yield any significant amounts of pOHDPK based upon the use of a standard.
Note 2: Additional DPK data with enzymatic hydrolysis of media exposed to slices, showed that OHDPK does not conjugate to any measurable amount.
Conclusion: DPK only produces OHDPK as a metabolite and does not metabolize to a high yield (<8%); Mass balance accounts for all DPK added to the system in the spike
CHEMICAL STRUCTURES AND MEDIA/SLICE RECOVERY FOR DPK
Experimental Sample Legend:
Blk = Blank = control; well containing media, rt liver slice and EtOH (less than 0.01%), no DPK
Sp=MO=MC well containing media spiked with DPK ( 100 & 200uM)
Sp+S=MS=MCS = well containing media spiked with DPK ( 100 & 200uM) and rt liver slice
S = Slice = blotted, sonicated slice from well spiked with DPK ( 100 & 200uM)
BlkS = Blank Slice = blotted, sonicated slice from blank well not containing DPK
BADPK = benzhydrol=OHDPK

## 2. Calibration Curves
Analytical Mass Balance of DPK metabolism in liver slices, Overend, Serrano, Sheedy, Voelker
Objective: To determine if liver slices would metabolize DPK to pOHDPK, and benzhydrol (BADPK) at 11°C. To perform total mass balance determination.
Method: | HEXANE. DPK_SLO, SIMOHDPK
Sequence: | 0 hours: 100706A & B.Seq 24 hours 100713 A & B.Seq 48 hours: 100712A, B & C.Seq |  |  |  | Chemical: | DPK, BADPK, OHDPK |  | Target: | SIM ions 115, 182, 184, 198, 200, 278
Retention Times (min) | DPK_SLO.met: RT for DPK = 25.79 and RT for BADPK =25.99
Experimental Sample Legend:
Experiment Status: Complete | [10 empty] | Blk = Blank = control; well containing media, rt liver slice and EtOH (less than 0.01%), no DPK
Instrument Used: | GC/MS located in Lab 229 | [9 empty] | Sp=MO=MC well containing media spiked with DPK ( 100 & 200uM)
Experiment Designed By: | BS, JS, JV, GO |  |  | Note: Benzhydrol=OHDPK=BADPK | [6 empty] | Sp+S=MS=MCS = well containing media spiked with DPK ( 100 & 200uM) and rt liver slice
S = Slice = blotted, sonicated slice from well spiked with DPK ( 100 & 200uM)
BlkS = Blank Slice = blotted, sonicated slice from blank well not containing DPK
BADPK = benzhydrol=OHDPK
Note: Due to instrument unpredictability at the time, Samples at 24h were initially stored and analyzed at end of experiment with same cal curves used for 0 and 48h
STANDARDS
0h standard curve
| DPK | RT=25.77 | RT=25.75 | DPK | DPK | DPK | DPK | DPK | DPK | DPK
| Concentration | STD SET 1 | STD SET 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery %
| 0.5 | 903 | 777.29 | 840.145 | 0.60543 | 0.51247 | 0.55895 | 121.0864 | 102.4944 | 111.7904
| 1 | 1516 | 1289 | 1402.5 | 1.0587 | 0.89087 | 0.9748 | 105.8734 | 89.0872 | 97.4803
| 5 | 7746 | 6321 | 7033.5 | 5.6657 | 4.6119 | 5.1388 | 113.314 | 92.2388 | 102.7764
| 10 | ND | 13649 | 13649 |  | 10.0309 | 10.0309 |  | 100.3086 | 100.3086 | slope, m= | 1352.3
| 20 | [9 empty] | y intercept, b= | 84.274
30
| 50 | 75435 | 57983 | 66709 | 55.7204 | 42.815 | 49.2677 | 111.4408 | 85.63 | 98.5354
| 75 | 114881 | 90016 | 102448.5 | 84.89 | 66.5028 | 75.6964 | 113.1866 | 88.6704 | 100.9285
| 100 | 154302 | 115888 | 135095 | 114.0411 | 85.6346 | 99.8379 | 114.0411 | 85.6346 | 99.8379
0h | BADPK | RT=25.99 | RT=25.98 | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK
| Concentration | STD Set 1 | STD Set 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery %
0.5
1
| 5 | 1884 | 722 | 1303 | 7.5345 | 5.4878 | 6.5111 | 150.6896 | 109.7561 | 130.2228
| 10 | 3978 | 2983 | 3480.5 | 11.2227 | 9.4702 | 10.3465 | 112.2272 | 94.7019 | 103.4646
| 20 | [9 empty] | slope, m= | 567.75
| 30 | [9 empty] | y intercept, b= | -2393.7
| 50 | 32309 | 15711 | 24010 | 61.1232 | 31.8885 | 46.5059 | 122.2464 | 63.777 | 93.0117
75
| 100 | 72867 | 37755 | 55311 | 132.5596 | 70.7155 | 101.6375 | 132.5596 | 70.7155 | 101.6375
48h standard curve
| DPK | RT=25.79 | RT=25.78 | DPK | DPK | DPK | DPK | DPK | DPK | DPK
| Concentration | STD SET 1 | STD SET 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery %
| 0.5 | 821 | 573.2 | 697.1 | 0.66038 | 0.47561 | 0.56799 | 132.0762 | 95.1215 | 113.5988
| 1 | 1223 | 1260 | 1241.5 | 0.96013 | 0.98772 | 0.97393 | 96.0135 | 98.7724 | 97.393
| 5 | 6319 | 5932 | 6125.5 | 4.76 | 4.4714 | 4.6157 | 95.2 | 89.4286 | 92.3143
| 10 | 13062 | 13964 | 13513 | 9.788 | 10.4605 | 10.1243 | 97.8796 | 104.6055 | 101.2425
20
| 30 | [9 empty] | slope, m= | 1341.1
| 50 | 61973 | 62323 | 62148 | 46.2588 | 46.5198 | 46.3893 | 92.5175 | 93.0395 | 92.7785 | y intercept, b= | -64.637
| 75 | 110553 | 112121 | 111337 | 82.4828 | 83.652 | 83.0674 | 109.977 | 111.5359 | 110.7565
| 100 | 123580 | 133143 | 128361.5 | 92.1964 | 99.3271 | 95.7618 | 92.1964 | 99.3271 | 95.7618
48h | BADPK | RT=26.01 | RT=26.00 | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK
| Concentration | STD Set 1 | STD Set 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery %
0.5
1
| 5 | 1079 | 1839 | 1459 | 6.1536 | 7.5642 | 6.8589 | 123.0721 | 151.2834 | 137.1778
| 10 | 2116 | 4095 | 3105.5 | 8.0783 | 11.7513 | 9.9148 | 80.7829 | 117.5133 | 99.1481
20
30
| 50 | 12122 | 33643 | 22882.5 | 26.6495 | 66.5927 | 46.6211 | 53.2991 | 133.1855 | 93.2423 | slope, m= | 538.79
| 75 | [9 empty] | y intercept, b= | -2236.5
| 100 | 33121 | 71893 | 52507 | 65.6239 | 137.5851 | 101.6045 | 65.6239 | 137.5851 | 101.6045

## 3.Raw Data Processing
Analytical Mass Balance of DPK metabolism in liver slices, Overend, Serrano, Sheedy, Voelker
Objective: To determine if liver slices would metabolize DPK to pOHDPK, and benzhydrol (BADPK) at 11°C. To perform total mass balance determination.
Analytical Mass Balance of DPK metabolism in liver slices, 7/6/2010, Overend, Serrano, Sheedy, Voelker
Objective: To determine if liver slices would metabolize DPK to pOHDPK, and benzhydrol (BADPK) at 11°C. To perform total mass balance determination.
Exposure Times: 0, 24 & 48 hours |  |  |  |  | Note: Benzhydrol=OHDPK=BADPK
DPK Concentrations: -3.7LogM (200uM), -4LogM (100uM)
| Method: | HEXANE. DPK_SLO, SIMOHDPK
| Sequence: | 0 hours: 100706A & B.Seq 24 hours 100713 A & B.Seq 48 hours: 100712A, B & C.Seq |  |  |  | Chemical: | DPK, BADPK, OHDPK |  | Target: | SIM ions 115, 182, 184, 198, 200, 278
| Retention Times (min) | DPK_SLO.met: RT for DPK = 25.79 and RT for BADPK =25.99
Experiment Status: Complete
| Instrument Used: | GC/MS located in Lab 229
| Experiment Designed By: |  | BS, JS, JV, GO
Notes: | Experiment did not yield any significant amounts of pOHDPK based upon the use of a standard.
DATA PROCESSING
Acceptance of Data Criteria:
Legend: | [8 empty] | 1. Limit of Reporting (acceptance within 40% of lowest calibration curve used)= 0.5uM (0.9uM*0.6); All non adjusted data is accepted if>0.5uM
Control = no DPK |  |  |  | Color Codes: |  |  |  | Criteria used | 2. Limit of Detection (peaks with good shape and RM S/N>8)=0.3uM; All non adjusted data is accepted if>0.3uM
MO=MC (Media Only) = Media + DPK spike |  |  |  | Yellow corresponds to BADPK; gold is BADPK averages |  |  |  |  | 3. Lowest Limit of Quantification (LOQ at S/N>14)= 1.2uM
MS (Media + Slice) = MCS= Media + DPK spike + slice |  |  |  | Blue corresponds to DPK; dark blue is DPK averages
S = Sonicated Slice, blotted | [7 empty] | Note: Due to the fact that Preliminary Studies showed that DPK in slices does not metabolize to OHDPK or any other metabolite to any significant extent, the Experimental approach was
BADPK = benzhydrol | [7 empty] | simplified to cover analyses only at t=0, 24 and 48h for media samples and at 4,8,24 and 48 hours for slices, so the minimum amount of intraslice DPK needed to induce a biological response
DPK samples were not diluted prior to GC-MS analyses ( Dilution Factor=1 for all measuments) | [7 empty] | could be estimated.
Mass balance was only calculated at 24 and 48h with total recovery of DPK parent chemical
[6 empty] | All OHDPK=BADPK Concentration values >0.3uM are accepted | [11 empty] | All DPK Concentration values >0.3uM are accepted
|  |  |  | Method: | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK Mass Balance | [7 empty] | Method: |  | DPK | DPK | DPK | DPK | DPK Mass Balance
|  |  |  | DPK_SLO | Concentration | Concentration | Nominal Concentration | Recovery % | Recovery % | BADPK | volume in well | amount in well | amount in well nmoles | nmole STDev | %CV |  |  | DPK_SLO | Concentration | Concentration | Nominal Concetration | Recovery % | Recovery % | DPK | volume in well | amount in well | amount in well
| Name | Time (h) |  | Area BADPK | uM | R1, R2 Avg | uM |  | R1, R2 Avg | umoles/L | liters | nmoles | R1, R2, Avg |  |  | Name | Time (h) | Area DPK | DPK uM | R1, R2 Avg | uM |  | R1, R2 Avg | umoles/L | liters | nmoles | R1, R2, Avg nmole | nmole STDev | %CV | Name | Time (h)
| Control Media Only R1 | 0 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media Only R1 | 0 | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media Only R1 | 0
| Control Media Only R2 | 0 |  | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 |  |  |  | Control Media Only R2 | 0 | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 | 0 |  |  | Control Media Only R2 | 0
| Control Slice R1 | 0 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Slice R1 | 0 | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Slice R1 | 0
| Control Slice R2 | 0 |  | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 |  |  |  | Control Slice R2 | 0 | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 | 0 |  |  | Control Slice R2 | 0
| Control Media Only R1 | 24 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media Only R1 | 24 | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media Only R1 | 24
| Control Media Only R2 | 24 |  | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 |  |  |  | Control Media Only R2 | 24 | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 | 0 |  |  | Control Media Only R2 | 24
| Control Slice R1 | 24 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Slice R1 | 24 | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Slice R1 | 24
| Control Slice R2 | 24 |  | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 |  |  |  | Control Slice R2 | 24 | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 | 0 |  |  | Control Slice R2 | 24
| Control Media + Slice R1 | 24 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media + Slice R1 | 24 | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Media + Slice R1 | 24
| Control Media + Slice R2 | 24 |  | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 |  |  |  | Control Media + Slice R2 | 24 | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 | 0 |  |  | Control Media + Slice R2 | 24
| Control Media Only R1 | 48 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media Only R1 | 48 | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media Only R1 | 48
| Control Media Only R2 | 48 |  | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 |  |  |  | Control Media Only R2 | 48 | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 | 0 |  |  | Control Media Only R2 | 48
| Control Slice R1 | 48 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Slice R1 | 48 | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Slice R1 | 48
| Control Slice R2 | 48 |  | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 |  |  |  | Control Slice R2 | 48 | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 | 0 |  |  | Control Slice R2 | 48
| Control Media + Slice R1 | 48 |  | ND | 0 | 0 | 0 |  |  | 0 | 0.0017 | 0 | 0 | 0 | 0 | Control Media + Slice R1 | 48 | ND | 0 | 0 | 0 |  |  | 0 | 0.0003 | 0 | 0 | 0 | 0 | Control Media + Slice R1 | 48
| Control Media + Slice R2 | 48 |  | ND | 0 |  | 0 |  |  | 0 | 0.0017 | 0 |  |  |  | Control Media + Slice R2 | 48 | ND | 0 |  | 0 |  |  | 0 | 0.0003 | 0 | 0 |  |  | Control Media + Slice R2 | 48
| -4 Media Only R1 | 0 |  | ND | 0 | 0 | 100 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -4 Media Only R1 | 0 | 122137 | 90.2557 | 95.2128 | 100 | 90.2557 | 95.2128 | 90.2557 | 0.0017 | 153.4346 | 161.8617 | 11.9177 | 7.3629 | -4 Media Only R1 | 0
| -4 Media Only R2 | 0 |  | ND | 0 |  | 100 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -4 Media Only R2 | 0 | 135544 | 100.1699 |  | 100 | 100.1699 |  | 100.1699 | 0.0017 | 170.2888 |  |  |  | -4 Media Only R2 | 0
| -4 Media Only R1 | 24 |  | ND | 0 | 0 | 100 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -4 Media Only R1 | 24 | 139955 | 104.4066 | 102.3784 | 100 | 104.4066 | 102.3784 | 104.4066 | 0.0017 | 177.4912 | 174.0432 | 4.8761 | 2.8017 | -4 Media Only R1 | 24
| -4 Media Only R2 | 24 |  | ND | 0 |  | 100 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -4 Media Only R2 | 24 | 134515 | 100.3502 |  | 100 | 100.3502 |  | 100.3502 | 0.0017 | 170.5953 |  |  |  | -4 Media Only R2 | 24
| -4 Media + Slice R1 | 24 |  | 1435 | 6.8143 | 6.7652 | 100 | 6.8143 | 6.7652 | 6.8143 | 0.0017 | 11.5844 | 11.5008 | 0.11825 | 1.0282 | -4 Media + Slice R1 | 24 | 140815 | 105.0478 | 102.5827 | 100 | 105.0478 | 102.5827 | 105.0478 | 0.0017 | 178.5813 | 174.3906 | 5.9266 | 3.3985 | -4 Media + Slice R1 | 24
| -4 Media + Slice R2 | 24 |  | 1382 | 6.716 |  | 100 | 6.716 |  | 6.716 | 0.0017 | 11.4172 |  |  |  | -4 Media + Slice R2 | 24 | 134203 | 100.1175 |  | 100 | 100.1175 |  | 100.1175 | 0.0017 | 170.1998 |  |  |  | -4 Media + Slice R2 | 24
| -4 Slice R1 | 24 |  | 106 | 4.3477 | 4.3533 | 100 | 4.3477 | 4.3533 | 4.3477 | 0.0003 | 1.3043 | 1.306 | 0.0023623 | 0.18088 | -4 Slice R1 | 24 | 24501 | 18.3175 | 18.8022 | 100 | 18.3175 | 18.8022 | 18.3175 | 0.0003 | 5.4953 | 5.6407 | 0.20563 | 3.6455 | -4 Slice R1 | 24
| -4 Slice R2 | 24 |  | 112 | 4.3588 |  | 100 | 4.3588 |  | 4.3588 | 0.0003 | 1.3077 |  |  |  | -4 Slice R2 | 24 | 25801 | 19.2869 |  | 100 | 19.2869 |  | 19.2869 | 0.0003 | 5.7861 |  |  |  | -4 Slice R2 | 24
| -4 Media Only R1 | 0 |  | ND | 0 | 0 | 100 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -4 Media Only R1 | 0 | 122137 | 90.2557 | 95.2128 | 100 | 90.2557 | 95.2128 | 90.2557 | 0.0017 | 153.4346 | 161.8617 | 11.9177 | 7.3629 | -4 Media Only R1 | 0
| -4 Media Only R2 | 0 |  | ND | 0 |  | 100 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -4 Media Only R2 | 0 | 135544 | 100.1699 |  | 100 | 100.1699 |  | 100.1699 | 0.0017 | 170.2888 |  |  |  | -4 Media Only R2 | 0
| -4 Media Only R1 | 48 |  | ND | 0 | 0 | 100 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -4 Media Only R1 | 48 | 138955 | 103.6609 | 104.5363 | 100 | 103.6609 | 104.5363 | 103.6609 | 0.0017 | 176.2235 | 177.7117 | 2.1046 | 1.1843 | -4 Media Only R1 | 48
| -4 Media Only R2 | 48 |  | ND | 0 |  | 100 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -4 Media Only R2 | 48 | 141303 | 105.4117 |  | 100 | 105.4117 |  | 105.4117 | 0.0017 | 179.1999 |  |  |  | -4 Media Only R2 | 48
| -4 Media + Slice R1 | 48 |  | 2019 | 7.8983 | 7.8853 | 100 | 7.8983 | 7.8853 | 7.8983 | 0.0017 | 13.427 | 13.4049 | 0.031235 | 0.23301 | -4 Media + Slice R1 | 48 | 143623 | 107.1416 | 102.8705 | 100 | 107.1416 | 102.8705 | 107.1416 | 0.0017 | 182.1408 | 174.8799 | 10.2685 | 5.8717 | -4 Media + Slice R1 | 48
| -4 Media + Slice R2 | 48 |  | 2005 | 7.8723 |  | 100 | 7.8723 |  | 7.8723 | 0.0017 | 13.3829 |  |  |  | -4 Media + Slice R2 | 48 | 132167 | 98.5994 |  | 100 | 98.5994 |  | 98.5994 | 0.0017 | 167.619 |  |  |  | -4 Media + Slice R2 | 48
| -4 Slice R1 | 48 |  | 122 | 4.3774 | 4.3774 | 100 | 4.3774 | 4.3774 | 4.3774 | 0.0003 | 1.3132 | 1.3116 | 0.0022771 | 0 | -4 Slice R1 | 48 | 0 | 0.048197 | 0.048197 | 100 | 0.048197 | 0.048197 | 0.048197 | 0.0003 | 0.014459 | 0.014459 | 0 | 0 | -4 Slice R1 | 48
| -4 Slice R2 | 48 |  | ND |  |  | 100 |  |  |  | 0.0003 | 1.31 |  |  |  | -4 Slice R2 | 48 | 0 | 0.048197 |  | 100 | 0.048197 |  | 0.048197 | 0.0003 | 0.014459 |  |  |  | -4 Slice R2 | 48
| -4 Media Only R1 | 0 |  | ND | 0 | 0 | 200 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -4 Media Only R1 | 0 | 278722 | 206.0473 | 206.0473 | 200 | 103.0236 | 103.0236 | 206.0473 | 0.0017 | 350.2804 | 350.1402 | 0.19825 | 0.056619 | -3.7 Media Only R1 | 0
| -4 Media Only R2 | 0 |  | ND | 0 |  | 200 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -4 Media Only R2 | 0 | ND |  |  | 200 | 0 |  |  | 0.0017 | 350 |  |  |  | -3.7 Media Only R2 | 0
| -4 Media Only R1 | 24 |  | ND | 0 | 0 | 200 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -4 Media Only R1 | 24 | 270389 | 201.6655 | 205.3666 | 200 | 100.8328 | 102.6833 | 201.6655 | 0.0017 | 342.8314 | 349.1232 | 8.898 | 2.5487 | -3.7 Media Only R1 | 24
| -4 Media Only R2 | 24 |  | ND | 0 |  | 200 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -4 Media Only R2 | 24 | 280316 | 209.0677 |  | 200 | 104.5338 |  | 209.0677 | 0.0017 | 355.415 |  |  |  | -3.7 Media Only R2 | 24
| -4 Media + Slice R1 | 24 |  | 2723 | 9.2049 | 9.1826 | 200 | 4.6024 | 4.5913 | 9.2049 | 0.0017 | 15.6483 | 15.6104 | 0.053546 | 0.34301 | -4 Media + Slice R1 | 24 | 280111 | 208.9148 | 209.9926 | 200 | 104.4574 | 104.9963 | 208.9148 | 0.0017 | 355.1552 | 356.9875 | 2.5913 | 0.72589 | -3.7 Media + Slice R1 | 24
| -4 Media + Slice R2 | 24 |  | 2699 | 9.1603 |  | 200 | 4.5802 |  | 9.1603 | 0.0017 | 15.5726 |  |  |  | -4 Media + Slice R2 | 24 | 283002 | 211.0705 |  | 200 | 105.5352 |  | 211.0705 | 0.0017 | 358.8198 |  |  |  | -3.7 Media + Slice R2 | 24
| -4 Slice R1 | 24 |  | 172 | 4.4702 | 4.4637 | 200 | 2.2351 | 2.2319 | 4.4702 | 0.0003 | 1.3411 | 1.3391 | 0.002756 | 0.20581 | -4 Slice R1 | 24 | 44727 | 33.3992 | 32.1178 | 200 | 16.6996 | 16.0589 | 33.3992 | 0.0003 | 10.0198 | 9.6353 | 0.54366 | 5.6423 | -3.7 Slice R1 | 24
| -4 Slice R2 | 24 |  | 165 | 4.4572 |  | 200 | 2.2286 |  | 4.4572 | 0.0003 | 1.3372 |  |  |  | -4 Slice R2 | 24 | 41290 | 30.8364 |  | 200 | 15.4182 |  | 30.8364 | 0.0003 | 9.2509 |  |  |  | -3.7 Slice R2 | 24
| -3.7 Media Only R1 | 0 |  | ND | 0 | 0 | 200 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -3.7 Media Only R1 | 0 | 278722 | 206.0473 | 206.0473 | 200 | 103.0236 | 103.0236 | 206.0473 | 0.0017 | 350.2804 | 350.1402 | 0.19825 | 0.056619 | -3.7 Media Only R1 | 0
| -3.7 Media Only R2 | 0 |  | ND | 0 |  | 200 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -3.7 Media Only R2 | 0 | ND |  |  | 200 | 0 |  |  | 0.0017 | 350 |  |  |  | -3.7 Media Only R2 | 0
| -3.7 Media Only R1 | 48 |  | ND | 0 | 0 | 200 | 0 | 0 | 0 | 0.0017 | 0 | 0 | 0 | 0 | -3.7 Media Only R1 | 48 | 282322 | 210.5634 | 205.9482 | 200 | 105.2817 | 102.9741 | 210.5634 | 0.0017 | 357.9579 | 350.1119 | 11.0958 | 3.1692 | -3.7 Media Only R1 | 48
| -3.7 Media Only R2 | 48 |  | ND | 0 |  | 200 | 0 |  | 0 | 0.0017 | 0 |  |  |  | -3.7 Media Only R2 | 48 | 269943 | 201.333 |  | 200 | 100.6665 |  | 201.333 | 0.0017 | 342.266 |  |  |  | -3.7 Media Only R2 | 48
| -3.7 Media + Slice R1 | 48 |  | 5571 | 14.4908 | 14.0361 | 200 | 7.2454 | 7.018 | 14.4908 | 0.0017 | 24.6344 | 23.8613 | 1.0932 | 4.5816 | -3.7 Media + Slice R1 | 48 | 285249 | 212.746 | 210.8539 | 200 | 106.373 | 105.4269 | 212.746 | 0.0017 | 361.6682 | 358.4516 | 4.5489 | 1.269 | -3.7 Media + Slice R1 | 48
| -3.7 Media + Slice R2 | 48 |  | 5081 | 13.5814 |  | 200 | 6.7907 |  | 13.5814 | 0.0017 | 23.0883 |  |  |  | -3.7 Media + Slice R2 | 48 | 280174 | 208.9618 |  | 200 | 104.4809 |  | 208.9618 | 0.0017 | 355.235 |  |  |  | -3.7 Media + Slice R2 | 48
| -3.7 Slice R1 | 48 |  | 201 | 4.524 | 4.5073 | 200 | 2.262 | 2.2537 | 4.524 | 0.0003 | 1.3572 | 1.3522 | 0.0070869 | 0.52411 | -3.7 Slice R1 | 48 | 5147 | 3.8861 | 3.9662 | 200 | 1.943 | 1.9831 | 3.8861 | 0.0003 | 1.1658 | 1.1899 | 0.034008 | 2.8581 | -3.7 Slice R1 | 48
| -3.7 Slice R2 | 48 |  | 183 | 4.4906 |  | 200 | 2.2453 |  | 4.4906 | 0.0003 | 1.3472 |  |  |  | -3.7 Slice R2 | 48 | 5362 | 4.0464 |  | 200 | 2.0232 |  | 4.0464 | 0.0003 | 1.2139 |  |  |  | -3.7 Slice R2 | 48
[16 empty] | -4 Slice R1 | 4 | 47548 | 35.5027 | 34.4424 | 100 | 35.5027 | 34.4424 | 35.5027 | 0.0003 | 10.6508 | 10.3327 | 0.44986 | 4.3537 | -4 Slice R1 | 4
[16 empty] | -4 Slice R2 | 4 | 44704 | 33.382 |  | 100 | 33.382 |  | 33.382 | 0.0003 | 10.0146 |  |  |  | -4 Slice R2 | 4
[16 empty] | -4 Slice R1 | 8 | 42591 | 31.8065 | 30.5929 | 100 | 31.8065 | 30.5929 | 31.8065 | 0.0003 | 9.5419 | 9.1779 | 0.51487 | 5.6099 | -4 Slice R1 | 8
[16 empty] | -4 Slice R2 | 8 | 39336 | 29.3793 |  | 100 | 29.3793 |  | 29.3793 | 0.0003 | 8.8138 |  |  |  | -4 Slice R2 | 8
[16 empty] | -4 Slice R1 | 4 | 74822 | 55.8397 | 57.3124 | 200 | 27.9199 | 28.6562 | 55.8397 | 0.0003 | 16.7519 | 17.1937 | 0.6248 | 3.6339 | -4 Slice R1 | 4
[16 empty] | -4 Slice R2 | 4 | 78772 | 58.7851 |  | 200 | 29.3925 |  | 58.7851 | 0.0003 | 17.6355 |  |  |  | -4 Slice R2 | 4
[16 empty] | -4 Slice R1 | 8 | 74700 | 55.7487 | 53.6844 | 200 | 27.8744 | 26.8422 | 55.7487 | 0.0003 | 16.7246 | 16.1053 | 0.87583 | 5.4381 | -4 Slice R1 | 8
[16 empty] | -4 Slice R2 | 8 | 69163 | 51.62 |  | 200 | 25.81 |  | 51.62 | 0.0003 | 15.486 |  |  |  | -4 Slice R2 | 8

## 4. Summ Metabolism Mass Balance
Analytical Mass Balance of DPK metabolism in liver slices, Overend, Serrano, Sheedy, Voelker
Objective: To determine if liver slices would metabolize DPK to pOHDPK, and benzhydrol (BADPK) at 11°C. To perform total mass balance determination.
Exposure Times: 0, 24 & 48 hours |  |  |  |  | Note: Benzhydrol=OHDPK=BADPK
DPK Concentrations: -3.7LogM (200uM), -4LogM (100uM)
| Method: | HEXANE. DPK_SLO, SIMOHDPK
| Sequence: | 0 hours: 100706A & B.Seq 24 hours 100713 A & B.Seq 48 hours: 100712A, B & C.Seq |  |  |  | Chemical: | DPK, BADPK, OHDPK |  | Target: | SIM ions 115, 182, 184, 198, 200, 278
| Retention Times (min) | DPK_SLO.met: RT for DPK = 25.79 and RT for BADPK =25.99
Experiment Status: Complete
| Instrument Used: | GC/MS located in Lab 229
| Experiment Designed By: |  | BS, JS, JV, GO
Legend:
Control = no DPK
MO=MC (Media Only) = Media + DPK spike
MS (Media + Slice) = MCS= Media + DPK spike + slice
S = Sonicated Slice, blotted
BADPK = benzhydrol
SUMMARY METABOLISM MASS BALANCE
Experimental Sample Legend:
Blk = Blank = control; well containing media, rt liver slice and EtOH (less than 0.01%), no DPK
Sp=MO=MC well containing media spiked with DPK ( 100 & 200uM)
Sp+S=MS=MCS = well containing media spiked with DPK ( 100 & 200uM) and rt liver slice
S = Slice = blotted, sonicated slice from well spiked with DPK ( 100 & 200uM)
BlkS = Blank Slice = blotted, sonicated slice from blank well not containing DPK
BADPK = benzhydrol=OHDPK
Theoretical amounts DPK in 1.7mL media for -4 LogM ( 100uM= 170nmoles) and for -3.7LogM ( 200uM =340 nmoles)
|  |  | All amounts are in nmoles. | [7 empty] | DPK Percentage mass balance
Time (hours) | Concentration | Sample | MO | M+S | S | unconjugated BADPK media | pOHDPK media | unconjugated BADPK slice | Total | Mass Balance | nmoles M+S/ nmoles MO *100
100 or 200uM
0 | -4Log M | DPK w/ slice metabolism (M+S) |  |  |  | ND | ND | ND | 0 | 0
0 | -4LogM | DPK wo/ slice (MO) | 162 |  |  | ND | ND | ND | 162 | 162
24 | -4LogM | DPK w/ slice metabolism (M+S) |  | 174 | 6 | 12 | ND | 1 | 174 +6 +12 +1= 193 | 192 | 110.3448
24 | -4LogM | DPK wo/ slice (MO) | 174 |  |  | ND | ND | ND | 174 | 174
48 | -4Log M | DPK w/ slice metabolism (M+S) |  | 175 | 0 | 13 | ND | 1 | 175 + 13 +1 =189 | 189 | 106.1798
48 | -4LogM | DPK wo/ slice (MO) | 178 |  |  | ND | ND | ND | 178 | 178
0 | -3.7 Log M | DPK w/ slice metabolism (M+S) |  |  |  | ND | ND | ND | 0 | 0
0 | -3.7 Log M | DPK wo/ slice (MO) | 350 |  |  | ND | ND | ND | 350 | 350
24 | -3.7 Log M | DPK w/ slice metabolism (M+S) |  | 357 | 10 | 16 | ND | 1 | 357 +10 + 16 + 1 = 384 | 384 | 110.0287
24 | -3.7 Log M | DPK wo/ slice (MO) | 349 |  |  | ND | ND | ND | 349 | 349
48 | -3.7 Log M | DPK w/ slice metabolism (M+S) |  | 358 | 1 | 24 | ND | 1 | 358 + 1 + 24 + 1= 384 | 384 | 108.7819
48 | -3.7 Log M | DPK wo/ slice (MO) | 353 |  |  | ND | ND | ND | 353 | 353
|  |  |  | Summary of Total Mass Balance in nmoles (24h) |  |  |  | Summary of Total Mass Balance in nmoles (48h)
|  |  |  | MO = MS + S + media BADPK(OHDPK) + slice BADPK |  |  |  | MO = MS + S + media BADPK(OHDPK) + slice BADPK
|  |  |  | -4 LogM (100uM) |  |  |  | -4 LogM (100uM)
|  |  |  | 174= 174 + 6 + 12 + 1 |  |  |  | 178 = 175 + 13 + 1
|  |  |  | 174 = 193 (110%) |  |  |  | 178 = 189 (106%)
|  |  |  | -3.7 LogM (200uM) |  |  |  | -3.7 LogM (200uM)
|  |  |  | 349 = 357 + 10 + 16 + 1 |  |  |  | 353 = 358 + 1 + 24 + 1
|  |  |  | 349 = 384 (110%) |  |  |  | 353 = 384 (109%)
Note: OHDPK does not conjugate to any measurable amount
Conclusion: DPK only produces OHDPK as a metabolite and does not metabolize to a high yield (<8%); Mass balance accounts for all DPK added to the system in the spike

## 5. Comparison 7 vs 3 cal points
COMPARISON OF 7 CALIBRATION POINTS TO 3 CALIBRATION POINTS | [11 empty] | slope, m= | 1352.3 | 1388.4
[12 empty] | y intercept, b= | 84.274 | 83.9
| 0h standard curve | [10 empty] | r-squared | 0.9999 | 0.9996 | Experimental Sample Legend:
| DPK | RT=25.77 | RT=25.75 | DPK | DPK | DPK | DPK | DPK | DPK | DPK | Note: Benzhydrol=OHDPK=BADPK |  |  |  | Blk = Blank = control; well containing media, rt liver slice and EtOH (less than 0.01%), no DPK
| Concentration | STD SET 1 | STD SET 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg |  |  |  |  | Sp=MO=MC well containing media spiked with DPK ( 100 & 200uM)
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery % |  | 0h no slices |  |  | Sp+S=MS=MCS = well containing media spiked with DPK ( 100 & 200uM) and rt liver slice
S = Slice = blotted, sonicated slice from well spiked with DPK ( 100 & 200uM)
| 0.5 | 903 | 777.29 | 840.145 | 0.60543 | 0.51247 | 0.55895 | 121.0864 | 102.4944 | 111.7904 |  |  |  |  | BlkS = Blank Slice = blotted, sonicated slice from blank well not containing DPK
| 1 | 1516 | 1289 | 1402.5 | 1.0587 | 0.89087 | 0.9748 | 105.8734 | 89.0872 | 97.4803 |  |  |  |  | BADPK = benzhydrol=OHDPK
| 5 | 7746 | 6321 | 7033.5 | 5.6657 | 4.6119 | 5.1388 | 113.314 | 92.2388 | 102.7764
| 10 |  | 13649 | 13649 |  | 10.0309 | 10.0309 |  | 100.3086 | 100.3086
| 50 | 75435 | 57983 | 66709 | 55.7204 | 42.815 | 49.2677 | 111.4408 | 85.63 | 98.5354
| 75 | 114881 | 90016 | 102448.5 | 84.89 | 66.5028 | 75.6964 | 113.1866 | 88.6704 | 100.9285
| 100 | 154302 | 115888 | 135095 | 114.0411 | 85.6346 | 99.8379 | 114.0411 | 85.6346 | 99.8379
[12 empty] | slope, m= | 567.75 | 1406.9
[12 empty] | y intercept, b= | -2393.7 | -507.9
0h | BADPK | RT=25.99 | RT=25.98 | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK |  | r-squared | 0.997 | 0.997
| Concentration | STD Set 1 | STD Set 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery %
0h no slices
0.5
1
| 5 | 1884 | 722 | 1303 | 7.5345 | 5.4878 | 6.5111 | 150.6896 | 109.7561 | 130.2228
| 10 | 3978 | 2983 | 3480.5 | 11.2227 | 9.4702 | 10.3465 | 112.2272 | 94.7019 | 103.4646
| 50 | 32309 | 15711 | 24010 | 61.1232 | 31.8885 | 46.5059 | 122.2464 | 63.777 | 93.0117
| 100 | 72867 | 37755 | 55311 | 132.5596 | 70.7155 | 101.6375 | 132.5596 | 70.7155 | 101.6375
|  | Notes: | Experiment did not yield any significant amounts of pOHDPK based upon the use of a standard.
Comparison of n=6 vs n=3 value and 0-intercept (n=6)as standard curves
[18 empty] | DPK stds |  | DPK stds |  | DPK stds
| 48h standard curve | [16 empty] | n=6 |  | n=3 |  | 0 intrcpt n=6
| DPK | RT=25.79 | RT=25.78 | DPK | DPK | DPK | DPK | DPK | DPK | DPK | [6 empty] | slope, m= | 1341.1 |  | 1211.9 |  | 1340.2
| Concentration | STD SET 1 | STD SET 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg | [6 empty] | y intercept, b= | -64.637 |  | 62.2 |  | 0
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery % | [6 empty] | r-squared | 0.9904 |  | 0.9999 |  | 0.9904
nM
| 0.5 | 821 | 573.2 | 697.1 | 0.66038 | 0.47561 | 0.56799 | 132.0762 | 95.1215 | 113.5988 |  |  |  |  | nom conc | 48h DPK | AC | DPK, nM | % rec | DPK, nM | % rec | DPK, nM | % rec
| 1 | 1223 | 1260 | 1241.5 | 0.96013 | 0.98772 | 0.97393 | 96.0135 | 98.7724 | 97.393 |  |  |  |  | 100000 | -4 Slice R1 | 3327 | 2528.9688 | 2.529 | 2693.9516 | 2.694 | 2482.4653 | 2.4825
| 5 | 6319 | 5932 | 6125.5 | 4.76 | 4.4714 | 4.6157 | 95.2 | 89.4286 | 92.3143 |  |  |  |  | 100000 | -4 Slice R2 | 3083 | 2347.0286 | 2.347 | 2492.6149 | 2.4926 | 2300.4029 | 2.3004
| 10 | 13062 | 13964 | 13513 | 9.788 | 10.4605 | 10.1243 | 97.8796 | 104.6055 | 101.2425 |  |  |  |  | 200000 | -3.7 Slice R1 | 5147 | 3886.0637 | 1.943 | 4195.7257 | 2.0979 | 3840.4716 | 1.9202
| 50 | 61973 | 62323 | 62148 | 46.2588 | 46.5198 | 46.3893 | 92.5175 | 93.0395 | 92.7785 |  |  |  |  | 200000 | -3.7 Slice R2 | 5362 | 4046.3798 | 2.0232 | 4373.1331 | 2.1866 | 4000.8954 | 2.0004
| 75 | 110553 | 112121 | 111337 | 82.4828 | 83.652 | 83.0674 | 109.977 | 111.5359 | 110.7565 |  |  |  |  | 500 | Std1- 500 nM | 821 | 660.3534 | 132.0707 | 626.1243 | 125.2249 | 612.5951 | 122.519
| 100 | 123580 | 133143 | 128361.5 | 92.1964 | 99.3271 | 95.7618 | 92.1964 | 99.3271 | 95.7618 |  |  |  |  | 1000 | Std2- 1000 nM | 1223 | 960.1074 | 96.0107 | 957.8348 | 95.7835 | 912.5504 | 91.255
[15 empty] | 5000 | Std3- 5000 nM | 6319 | 4759.9732 | 95.1995 | 5162.8022 | 103.256 | 4714.9679 | 94.2994
48h | BADPK | RT=26.01 | RT=26.00 | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK | BADPK
| Concentration | STD Set 1 | STD Set 2 | Avg | SET 1 | SET 2 | Avg | SET 1 | SET 2 | Avg
| (µM) | Area | Area | Area | Concentration (µM) | Concentration (µM) | Concentration (µM) | Recovery % | Recovery % | Recovery %
0.5
1
| 5 | 1079 | 1839 | 1459 | 6.1536 | 7.5642 | 6.8589 | 123.0721 | 151.2834 | 137.1778
| 10 | 2116 | 4095 | 3105.5 | 8.0783 | 11.7513 | 9.9148 | 80.7829 | 117.5133 | 99.1481
| 50 | 12122 | 33643 | 22882.5 | 26.6495 | 66.5927 | 46.6211 | 53.2991 | 133.1855 | 93.2423
| 100 | 33121 | 71893 | 52507 | 65.6239 | 137.5851 | 101.6045 | 65.6239 | 137.5851 | 101.6045