## ArAr Int Data Tracking
| 20 ppb Gd | [5 empty] | 50 ppb Gd |  | Def 5
50 ppb Gd | 0 | 1 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5
78/156 (0.8 AMU) | 2.207% | 1.814% | 0.8674% | 0.6612% | 0.5683% | 0.5521% | 0.5236% | 0.5074%
78/156 + 5 ppb Se (0.8 AMU) | 4.113% | 3.695% | 2.099% | 1.539% | 1.157% | 0.9049% | 0.616% | 0.5736%
77.5/155 (0.8 AMU) | 0.6315% | 0.5112% | 0.4839% | 0.4692% | 0.4775% | 0.4881% | 0.5177% | 0.4942%
77.5/155 + 5 ppb Se (0.8 AMU) | 0.8823% | 0.6271% | 0.5289% | 0.5258% | 0.5254% | 0.492% | 0.5196% | 0.5146%
77.5/155 (0.4 AMU)
77.5/155 + 5 ppb Se (0.4 AMU)
77.5/155 (0.4 AMU, Def 20)
| 100 ppb Gd |  |  |  | 500 ppb Gd |  |  |  | Def 20
Data found in L:\Priv\Cin\NERL\PattyCarol\method 200.8\All work Prior to 11-8-17\1-25-17 Figure 2_3\1-25-17 Figure 2_3_ Standard_def 5.xlsx
Data found on Sheet 1 and data used is in red
The Acquisition method is at L:\Lab\Lablan\iAs Group\7700_551\Method 200.8\1-24-17 Figures 2_3_std mode_batch_bin.pdf
Raw data collected on 7700 and is saved at: D:\Agilent\ICPMH\1\DATA\1-24-17 Figures 2_3_std mode.b
| 20 ppb Gd | [5 empty] | 50 ppb Gd |  | Def 5
50 ppb Gd | 0 | 1 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5
78/156 (0.8 AMU)
78/156 + 5 ppb Se (0.8 AMU)
77.5/155 (0.8 AMU)
77.5/155 + 5 ppb Se (0.8 AMU)
77.5/155 (0.4 AMU) | 0.4786% | 0.4735% | 0.4975% | 0.511% | 0.5121% | 0.5405% | 0.5181% | 0.514%
77.5/155 + 5 ppb Se (0.4 AMU) | 0.4791% | 0.4733% | 0.508% | 0.5291% | 0.5052% | 0.5149% | 0.5221% | 0.51%
77.5/155 (0.4 AMU, Def 20)
| 100 ppb Gd |  |  |  | 500 ppb Gd |  |  |  | Def 20
Data found in L:\Priv\Cin\NERL\PattyCarol\method 200.8\All work Prior to 11-8-17\1-25-17 Figure 2_3\1-25-17 Figure 2_3_ Narrow_def 5.xlsx
Data found on Sheet 1 and data used is in red
The Acquisition method is at L:\Lab\Lablan\iAs Group\7700_551\Method 200.8\1-24-17 Figures 2_3_narrow mode_batch_bin.pdf
Raw data collected on 7700 and is saved at: D:\Agilent\ICPMH\1\DATA\1-24-17 Figures 2_3_narrow mode.b
| 20 ppb Gd | [5 empty] | 50 ppb Gd |  | Def 5
50 ppb Gd | 0 | 1 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5
78/156 (0.8 AMU)
78/156 + 5 ppb Se (0.8 AMU)
77.5/155 (0.8 AMU)
77.5/155 + 5 ppb Se (0.8 AMU)
77.5/155 (0.4 AMU)
77.5/155 + 5 ppb Se (0.4 AMU)
77.5/155 (0.4 AMU, Def 20) | 0.0033121 | 0.0029599 | 0.2558% | 0.2251% | 0.1865% | 0.173% | 0.1424% | 0.1135%
| 100 ppb Gd |  |  |  | 500 ppb Gd |  |  |  | Def 20
Data found in L:\Priv\Cin\NERL\PattyCarol\method 200.8\All work Prior to 11-8-17\1-25-17 Figure 2_3\1-25-17 Figure 2_3_ Narrow_def 20.xlsx
Data found on Sheet 1 and data used is in red
The Acquisition method is at L:\Lab\Lablan\iAs Group\7700_551\Method 200.8\1-24-17 Figures 2_3_narrow mode_def 20_batch_bin.pdf
Raw data collected on 7700 and is saved at: D:\Agilent\ICPMH\1\DATA\1-24-17 Figures 2_3_narrow mode_def 20.b

## ArAr Int Thermo Nov 2017
Figure 3
| 20 ppb Gd | [5 empty] | 50 ppb Gd |  | Def 5
50 ppb Gd | 0 | 1 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5
78/156 (0.8 AMU) | 2.207% | 1.814% | 0.8674% | 0.6612% | 0.5683% | 0.5521% | 0.5236% | 0.5074%
78/156 + 5 ppb Se (0.8 AMU) | 4.113% | 3.695% | 2.099% | 1.539% | 1.157% | 0.9049% | 0.616% | 0.5736%
77.5/155 (0.8 AMU) | 0.6315% | 0.5112% | 0.4839% | 0.4692% | 0.4775% | 0.4881% | 0.5177% | 0.4942%
77.5/155 + 5 ppb Se (0.8 AMU) | 0.8823% | 0.6271% | 0.5289% | 0.5258% | 0.5254% | 0.492% | 0.5196% | 0.5146%
77.5/155 (0.4 AMU) | 0.4786% | 0.4735% | 0.4975% | 0.511% | 0.5121% | 0.5405% | 0.5181% | 0.514%
77.5/155 + 5 ppb Se (0.4 AMU) | 0.4791% | 0.4733% | 0.508% | 0.5291% | 0.5052% | 0.5149% | 0.5221% | 0.51%
77.5/155 (0.4 AMU, Def 20) | 0.0033121 | 0.0029599 | 0.2558% | 0.2251% | 0.1865% | 0.173% | 0.1424% | 0.1135%
| 100 ppb Gd |  |  |  | 500 ppb Gd |  |  |  | Def 20
Data found in L:\Priv\Cin\NERL\PattyCarol\method 200.8\1-25-17 Figure 2_3\1-25-17 Figure 2_3_ Narrow OR Standard_def 5.xlsx

## Figure 2 ArAr Int
Figure 3
|  | 20 ppb Gd | [5 empty] | 50 ppb Gd
50 ppb Gd |  | 0 | 1 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5
78/156 (Normal Resolution, Deflect 5) |  | 2.207% | 1.814% | 0.8674% | 0.6612% | 0.5683% | 0.5521% | 0.5236% | 0.5074%
78/156 + 5 ppb Se (Normal Resolution, Deflect 5) |  | 4.113% | 3.695% | 2.099% | 1.539% | 1.157% | 0.9049% | 0.616% | 0.5736%
77.5/155 (Normal Resolution, Deflect 5) |  | 0.6315% | 0.5112% | 0.4839% | 0.4692% | 0.4775% | 0.4881% | 0.5177% | 0.4942%
77.5/155 + 5 ppb Se (Normal Resolution, Deflect 5) |  | 0.8823% | 0.6271% | 0.5289% | 0.5258% | 0.5254% | 0.492% | 0.5196% | 0.5146%
77.5/155 (Narrow Resolution, Deflect 5) |  | 0.4786% | 0.4735% | 0.4975% | 0.511% | 0.5121% | 0.5405% | 0.5181% | 0.514%
77.5/155 + 5 ppb Se (Narrow Resolution, Deflect 5) |  | 0.4791% | 0.4733% | 0.508% | 0.5291% | 0.5052% | 0.5149% | 0.5221% | 0.51%
77.5/155 (Narrow Resolution, Deflect 20) |  | 0.0033121 | 0.0029599 | 0.2558% | 0.2251% | 0.1865% | 0.173% | 0.1424% | 0.1135%
|  | 100 ppb Gd |  |  |  | 500 ppb Gd
Estimating M2+ correction factor using unit and ½ mass monitoring as a function of helium flow rate
L:\Priv\Cin\NERL\PattyCarol\method 200.8\All work Prior to 11-8-17\1-25-17 Figure 2_3\1-25-17 Figure 2 Plots; TAB: figure 2 ArAr Int
Data below is pulled from L:\Priv\Cin\NERL\PattyCarol\method 200.8\All work Prior to 11-8-17\1-25-17 Figure 2_3\1-25-17 Figure 2_3_ Standard_def 5.xlsx and is from sheet1 cells A4:H24
Def 5
Blank
He (mL/min)
| 0 | 1 | 2 | 2.5 | 3 | 3.5 | 4 | 4.5
77 | 144.01 | 177.3433 | 101.3433 | 74.67 | 28.6667 | 20 | 16.6667 | 10.6667
77.5 | 626.7333 | 254.0167 | 36 | 14 | 2 | 2.6667 | 0 | 1.3333
78 | 8642.2467 | 8489.4733 | 2440.9867 | 906.74 | 306.02 | 110.6733 | 38.6667 | 9.3333
78.5 | 73.3367 | 32 | 21.3333 | 18 | 5.3333 | 4.6667 | 3.3333 | 0
82 | 271.35 | 400.6933 | 233.35 | 190.01 | 100.01 | 56 | 20.6667 | 12.6667
140 | 6.6667 | 7.3333 | 16.6667 | 15.3333 | 6 | 4 | 0.66667 | 12
155 | 314.03 | 220.6767 | 84.0067 | 326.7167 | 53.3367 | 24.0033 | 16.6667 | 14.0033
156 | 444.0367 | 310.0233 | 144.68 | 347.3733 | 76.0067 | 32.6667 | 16.6667 | 10.6667
157 | 352.0267 | 268.6833 | 158.7333 | 304.7033 | 55.3367 | 36.6933 | 14 | 10
77.5/155 | 1.9958 | 1.1511 | 0.42854 | 0.042851 | 0.037498 | 0.1111 | 0 | 0.095215
78.5/157 | 0.20833 | 0.1191 | 0.1344 | 0.059074 | 0.09638 | 0.12718 | 0.2381 | 0
78/156 | 19.4629 | 27.3833 | 16.8716 | 2.6103 | 4.0262 | 3.388 | 2.32 | 0.875
78 | 8642.2467 | 8489.4733 | 2440.9867 | 906.74 | 306.02 | 110.6733 | 38.6667 | 9.3333
156/140 | 66.6055 | 42.2759 | 8.6808 | 22.6548 | 12.6678 | 8.1667 | 25 | 0.88889