## Data Tracking
Data found in L:\Priv\Cin\NERL\PattyCarol\method 200.8\All work Prior to 11-8-17\Pit Con 2017\Data for Presentation\20 pt Spectrum Narrow vs Std.xlsx
The Acquisition method is at L:\Lab\Lablan\iAs Group\7700_551\Method 200.8\2-15-17 20 pt 50 ppb Nd narrow.pdf
The Acquisition method is at L:\Lab\Lablan\iAs Group\7700_551\Method 200.8\2-15-17 20 pt 50 ppb Nd std.pdf
Raw data collected on 7700 and is saved at: D:\Agilent\ICPMH\1\DATA\2-15-17 20 pt 50ppb Nd Std.b | For Standard Resolution data, No Gas
Raw data collected on 7700 and is saved at: D:\Agilent\ICPMH\1\DATA\2-15-17 20 pt 50ppb Nd Narrow.b |  | For Narrow Resolution data, No Gas
Data used in Pittcon presentation located at L:\Priv\Cin\NERL\PattyCarol\method 200.8\All work Prior to 11-8-17\Pit Con 2017\Pittcon 2017_Smith_FINAL.pptx

## Blank_1
50 ppb Nd
Def 5
| Standard |  | Narrow
| NG | 2.5 | NG | 2.5
Mass | CPS | CPS | CPS | CPS
69.55 | 78 | 80.01 | 36 | 48
69.6 | 108.01 | 72 | 44 | 28
69.65 | 130.01 | 58 | 10 | 12
69.7 | 134.01 | 88 | 0 | 0
69.75 | 102.01 | 32 | 22 | 6
69.8 | 108.01 | 52 | 52 | 16
69.85 | 138.01 | 28 | 64 | 42
69.9 | 88 | 64 | 78 | 36
69.95 | 122.01 | 46 | 86 | 20
70 | 110.01 | 78 | 66 | 30
70.05 | 136.01 | 32 | 86 | 46
70.1 | 152.01 | 68 | 96.01 | 42
70.15 | 160.01 | 114.01 | 20 | 2
70.2 | 176.01 | 86 | 2 | 0
70.25 | 112.01 | 96.01 | 6 | 2
70.3 | 94.01 | 104.01 | 46 | 6
70.35 | 114.01 | 96.01 | 46 | 40
70.4 | 164.01 | 106.01 | 82 | 86
70.45 | 174.01 | 138.01 | 106.01 | 88
70.5 | 266.02 | 112.01 | 110.01 | 100
70.55 | 4853.05 | 1376.13 | 74 | 82
70.6 | 12758.03 | 6071.54 | 110.01 | 60
70.65 | 21133.92 | 14823.96 | 108.01 | 76
70.7 | 26394.2 | 22137.07 | 66 | 4
70.75 | 29782.6 | 25610.74 | 484.03 | 32
70.8 | 34003.41 | 29375.73 | 8518.85 | 3208.52
70.85 | 38143.45 | 31983.02 | 16039.23 | 10628.27
70.9 | 39125.91 | 33037.45 | 21462.19 | 18474.15
70.95 | 39858.14 | 33781.05 | 24701.21 | 22333.51
71 | 39939.96 | 33835.12 | 27135.56 | 25436.4
71.05 | 39063.98 | 34182.12 | 28287.75 | 26364.07
71.1 | 42188.39 | 34159.85 | 27714.39 | 25716.86
71.15 | 44695.69 | 38428.19 | 20639.07 | 19617.61
71.2 | 42334.97 | 36910.26 | 278.02 | 70
71.25 | 20859.33 | 16966.3 | 504.03 | 110.01
71.3 | 16083.29 | 13558.76 | 3092.48 | 992.08
71.35 | 17224.52 | 14497.63 | 6851.86 | 4460.89
71.4 | 18125.67 | 15446.55 | 9971.77 | 9031.11
71.45 | 18400.06 | 15248.4 | 11610.99 | 10816.43 | 0 | 50000
71.5 | 18904.73 | 15638.82 | 12856.09 | 11530.9
71.55 | 19735.78 | 15939.19 | 12924.17 | 12331.65 | 0 | 50000
71.6 | 27826.87 | 19489.35 | 12643.9 | 12023.33
71.65 | 34242.05 | 26520.37 | 10191.95 | 10027.76
71.7 | 35645.39 | 30381.59 | 206.01 | 40
71.75 | 32167.43 | 27113.23 | 892.08 | 134.01
71.8 | 32608.54 | 27361.83 | 6947.95 | 2312.31
71.85 | 33801.12 | 28866.84 | 13550.73 | 9113.23
71.9 | 35637.24 | 30042.92 | 18123.76 | 14593.78
71.95 | 36866.28 | 31125.25 | 21800.8 | 20082.16
72 | 36775.94 | 31025.02 | 25664.87 | 23665.59
72.05 | 35711.57 | 30958.82 | 25157.91 | 24380.69
72.1 | 39050.02 | 32175.58 | 25003.79 | 23298.91
72.15 | 39210.43 | 33291.9 | 19075 | 18680.38
72.2 | 37058.65 | 31989.1 | 320.02 | 124.01
72.25 | 18181.88 | 14421.54 | 120.01 | 14
72.3 | 11056.54 | 9425.43 | 3196.49 | 1386.13
72.35 | 11330.82 | 10041.88 | 5777.38 | 4440.89
72.4 | 12505.81 | 10870.44 | 6919.89 | 5965.48
72.45 | 12852.07 | 10724.32 | 8050.55 | 7346.11 | 0 | 50000
72.5 | 12858.07 | 10938.51 | 8995.19 | 8272.69
72.55 | 14071.17 | 11368.78 | 8919.1 | 8574.82 | 0 | 50000
72.6 | 20050.26 | 13428.63 | 8692.89 | 8350.71
72.65 | 24368.68 | 19050.9 | 6723.82 | 6723.82
72.7 | 28279.38 | 23855.78 | 242.02 | 66
72.75 | 24661.12 | 20635.01 | 424.03 | 74
72.8 | 23587.39 | 20713.17 | 4482.92 | 1436.15
72.85 | 25035.79 | 21664.49 | 10181.94 | 6513.72
72.9 | 26696.68 | 22712.07 | 14972.05 | 12854.05
72.95 | 27081.25 | 23196.83 | 18003.56 | 16395.63
73 | 27540.06 | 24320.52 | 18736.42 | 17781.27
73.05 | 27101.6 | 23190.88 | 18738.47 | 18576.31
73.1 | 27219.72 | 22750.03 | 19245.02 | 18017.51
73.15 | 24651.12 | 22199.26 | 15542.64 | 15238.39
73.2 | 22255.28 | 19491.45 | 120.01 | 38
73.25 | 8666.98 | 7406.21 | 4 | 0
73.3 | 34 | 4 | 0 | 0
73.35 | 6 | 2 | 2 | 0
73.4 | 10 | 2 | 0 | 0
73.45 | 8 | 0 | 2 | 0
73.5 | 8 | 4 | 0 | 0
73.55 | 174.01 | 24 | 2 | 0
73.6 | 2776.4 | 1384.14 | 0 | 0
73.65 | 4454.89 | 3054.48 | 8 | 0
73.7 | 5841.37 | 4780.99 | 32 | 0
73.75 | 7296.14 | 5913.47 | 106.01 | 8
73.8 | 8242.61 | 7148.03 | 1362.13 | 408.03
73.85 | 8738.98 | 7608.29 | 3640.62 | 2372.3
73.9 | 9397.33 | 8120.55 | 5245.19 | 4474.85
73.95 | 9489.43 | 8028.52 | 6059.52 | 5589.35
74 | 9709.59 | 8418.73 | 6391.63 | 6291.62
74.05 | 9363.33 | 8426.82 | 6559.72 | 6247.62
74.1 | 9329.37 | 8216.63 | 6573.73 | 6299.63
74.15 | 8636.95 | 7694.35 | 5463.27 | 5121.13
74.2 | 7308.08 | 6757.82 | 68 | 34
74.25 | 2164.26 | 1896.22 | 4 | 0
74.3 | 12 | 4 | 0 | 0
74.35 | 0 | 0 | 6 | 0
74.4 | 4 | 0 | 0 | 0
74.45 | 2 | 0 | 0 | 0
74.5 | 46 | 6 | 0 | 0
74.55 | 522.04 | 106.01 | 0 | 2
74.6 | 2120.25 | 670.05 | 6 | 2
74.65 | 4110.79 | 2498.33 | 0 | 2
74.7 | 5907.43 | 4799.01 | 8 | 0
74.75 | 7272.08 | 5929.47 | 194.01 | 30
74.8 | 8276.66 | 7410.23 | 1894.21 | 704.06
74.85 | 9143.2 | 7996.54 | 3760.65 | 2374.31
74.9 | 9667.59 | 8192.6 | 5145.15 | 4244.8
74.95 | 9817.66 | 8290.7 | 6133.52 | 5571.34
75 | 10079.91 | 8532.88 | 6655.77 | 6199.6
75.05 | 9731.6 | 8590.92 | 6921.89 | 6829.87
75.1 | 9435.38 | 8374.77 | 6849.88 | 6539.76
75.15 | 8919.06 | 7848.42 | 5581.29 | 5439.24
75.2 | 7902.47 | 6909.91 | 180.01 | 102.01
75.25 | 2810.42 | 2742.4 | 4 | 2
75.3 | 20 | 4 | 0 | 0
75.35 | 6 | 0 | 4 | 0
75.4 | 28 | 0 | 0 | 4
75.45 | 100 | 0 | 2 | 10
75.5 | 600.04 | 0 | 4 | 0
75.55 | 6587.83 | 48 | 6 | 4
75.6 | 13400.62 | 264.02 | 4 | 0
75.65 | 19835.98 | 744.05 | 52 | 0
75.7 | 26446.59 | 1078.1 | 286.02 | 0
75.75 | 29417.96 | 1322.13 | 3024.5 | 22
75.8 | 31349.93 | 1506.16 | 9797.66 | 162.01
75.85 | 33308.39 | 1490.14 | 15745.08 | 564.04
75.9 | 33669.04 | 1520.16 | 19988.05 | 988.08
75.95 | 35048.28 | 1534.16 | 23098.96 | 1168.1
76 | 35194.68 | 1636.18 | 24479.14 | 1396.14
76.05 | 34388.7 | 1716.19 | 25148.16 | 1258.12
76.1 | 32299.92 | 1516.15 | 22443.91 | 1096.1
76.15 | 30470.14 | 1512.15 | 7944.53 | 348.02
76.2 | 23986.26 | 1060.09 | 74 | 0
76.25 | 502.03 | 8 | 4 | 0
76.3 | 4 | 0 | 0 | 0
76.35 | 4 | 4 | 0 | 0
76.4 | 0 | 0 | 0 | 4
76.45 | 0 | 2 | 0 | 0
76.5 | 8 | 4 | 0 | 4
Printed:2/16/2017 4:50:56 PM

## Blank_1 (2)
50 ppb Nd
Def 5
| Standard |  | Narrow
| NG | 2.5 | NG | 2.5
Mass | CPS | CPS | CPS | CPS
69.55 | 78 | 80.01 | 36 | 48
69.6 | 108.01 | 72 | 44 | 28
69.65 | 130.01 | 58 | 10 | 12
69.7 | 134.01 | 88 | 0 | 0
69.75 | 102.01 | 32 | 22 | 6
69.8 | 108.01 | 52 | 52 | 16
69.85 | 138.01 | 28 | 64 | 42
69.9 | 88 | 64 | 78 | 36
69.95 | 122.01 | 46 | 86 | 20
70 | 110.01 | 78 | 66 | 30
70.05 | 136.01 | 32 | 86 | 46
70.1 | 152.01 | 68 | 96.01 | 42
70.15 | 160.01 | 114.01 | 20 | 2
70.2 | 176.01 | 86 | 2 | 0
70.25 | 112.01 | 96.01 | 6 | 2
70.3 | 94.01 | 104.01 | 46 | 6
70.35 | 114.01 | 96.01 | 46 | 40
70.4 | 164.01 | 106.01 | 82 | 86
70.45 | 174.01 | 138.01 | 106.01 | 88
70.5 | 266.02 | 112.01 | 110.01 | 100
70.55 | 4853.05 | 1376.13 | 74 | 82
70.6 | 12758.03 | 6071.54 | 110.01 | 60
70.65 | 21133.92 | 14823.96 | 108.01 | 76
70.7 | 26394.2 | 22137.07 | 66 | 4
70.75 | 29782.6 | 25610.74 | 484.03 | 32
70.8 | 34003.41 | 29375.73 | 8518.85 | 3208.52
70.85 | 38143.45 | 31983.02 | 16039.23 | 10628.27
70.9 | 39125.91 | 33037.45 | 21462.19 | 18474.15
70.95 | 39858.14 | 33781.05 | 24701.21 | 22333.51
71 | 39939.96 | 33835.12 | 27135.56 | 25436.4
71.05 | 39063.98 | 34182.12 | 28287.75 | 26364.07
71.1 | 42188.39 | 34159.85 | 27714.39 | 25716.86
71.15 | 44695.69 | 38428.19 | 20639.07 | 19617.61
71.2 | 42334.97 | 36910.26 | 278.02 | 70
71.25 | 20859.33 | 16966.3 | 504.03 | 110.01
71.3 | 16083.29 | 13558.76 | 3092.48 | 992.08
71.35 | 17224.52 | 14497.63 | 6851.86 | 4460.89
71.4 | 18125.67 | 15446.55 | 9971.77 | 9031.11
71.45 | 18400.06 | 15248.4 | 11610.99 | 10816.43
71.5 | 18904.73 | 15638.82 | 12856.09 | 11530.9
71.55 | 19735.78 | 15939.19 | 12924.17 | 12331.65
71.6 | 27826.87 | 19489.35 | 12643.9 | 12023.33
71.65 | 34242.05 | 26520.37 | 10191.95 | 10027.76
71.7 | 35645.39 | 30381.59 | 206.01 | 40
71.75 | 32167.43 | 27113.23 | 892.08 | 134.01
71.8 | 32608.54 | 27361.83 | 6947.95 | 2312.31
71.85 | 33801.12 | 28866.84 | 13550.73 | 9113.23
71.9 | 35637.24 | 30042.92 | 18123.76 | 14593.78
71.95 | 36866.28 | 31125.25 | 21800.8 | 20082.16
72 | 36775.94 | 31025.02 | 25664.87 | 23665.59
72.05 | 35711.57 | 30958.82 | 25157.91 | 24380.69
72.1 | 39050.02 | 32175.58 | 25003.79 | 23298.91
72.15 | 39210.43 | 33291.9 | 19075 | 18680.38
72.2 | 37058.65 | 31989.1 | 320.02 | 124.01
72.25 | 18181.88 | 14421.54 | 120.01 | 14
72.3 | 11056.54 | 9425.43 | 3196.49 | 1386.13
72.35 | 11330.82 | 10041.88 | 5777.38 | 4440.89
72.4 | 12505.81 | 10870.44 | 6919.89 | 5965.48
72.45 | 12852.07 | 10724.32 | 8050.55 | 7346.11
72.5 | 12858.07 | 10938.51 | 8995.19 | 8272.69
72.55 | 14071.17 | 11368.78 | 8919.1 | 8574.82
72.6 | 20050.26 | 13428.63 | 8692.89 | 8350.71
72.65 | 24368.68 | 19050.9 | 6723.82 | 6723.82
72.7 | 28279.38 | 23855.78 | 242.02 | 66
72.75 | 24661.12 | 20635.01 | 424.03 | 74
72.8 | 23587.39 | 20713.17 | 4482.92 | 1436.15
72.85 | 25035.79 | 21664.49 | 10181.94 | 6513.72
72.9 | 26696.68 | 22712.07 | 14972.05 | 12854.05
72.95 | 27081.25 | 23196.83 | 18003.56 | 16395.63
73 | 27540.06 | 24320.52 | 18736.42 | 17781.27
73.05 | 27101.6 | 23190.88 | 18738.47 | 18576.31
73.1 | 27219.72 | 22750.03 | 19245.02 | 18017.51
73.15 | 24651.12 | 22199.26 | 15542.64 | 15238.39
73.2 | 22255.28 | 19491.45 | 120.01 | 38
73.25 | 8666.98 | 7406.21 | 4 | 0
73.3 | 34 | 4 | 0 | 0
73.35 | 6 | 2 | 2 | 0
73.4 | 10 | 2 | 0 | 0
73.45 | 8 | 0 | 2 | 0
73.5 | 8 | 4 | 0 | 0
73.55 | 174.01 | 24 | 2 | 0
73.6 | 2776.4 | 1384.14 | 0 | 0
73.65 | 4454.89 | 3054.48 | 8 | 0
73.7 | 5841.37 | 4780.99 | 32 | 0
73.75 | 7296.14 | 5913.47 | 106.01 | 8
73.8 | 8242.61 | 7148.03 | 1362.13 | 408.03
73.85 | 8738.98 | 7608.29 | 3640.62 | 2372.3
73.9 | 9397.33 | 8120.55 | 5245.19 | 4474.85
73.95 | 9489.43 | 8028.52 | 6059.52 | 5589.35
74 | 9709.59 | 8418.73 | 6391.63 | 6291.62
74.05 | 9363.33 | 8426.82 | 6559.72 | 6247.62
74.1 | 9329.37 | 8216.63 | 6573.73 | 6299.63
74.15 | 8636.95 | 7694.35 | 5463.27 | 5121.13
74.2 | 7308.08 | 6757.82 | 68 | 34
74.25 | 2164.26 | 1896.22 | 4 | 0
74.3 | 12 | 4 | 0 | 0
74.35 | 0 | 0 | 6 | 0
74.4 | 4 | 0 | 0 | 0
74.45 | 2 | 0 | 0 | 0
74.5 | 46 | 6 | 0 | 0
74.55 | 522.04 | 106.01 | 0 | 2
74.6 | 2120.25 | 670.05 | 6 | 2
74.65 | 4110.79 | 2498.33 | 0 | 2
74.7 | 5907.43 | 4799.01 | 8 | 0
74.75 | 7272.08 | 5929.47 | 194.01 | 30
74.8 | 8276.66 | 7410.23 | 1894.21 | 704.06
74.85 | 9143.2 | 7996.54 | 3760.65 | 2374.31
74.9 | 9667.59 | 8192.6 | 5145.15 | 4244.8
74.95 | 9817.66 | 8290.7 | 6133.52 | 5571.34
75 | 10079.91 | 8532.88 | 6655.77 | 6199.6
75.05 | 9731.6 | 8590.92 | 6921.89 | 6829.87
75.1 | 9435.38 | 8374.77 | 6849.88 | 6539.76
75.15 | 8919.06 | 7848.42 | 5581.29 | 5439.24
75.2 | 7902.47 | 6909.91 | 180.01 | 102.01
75.25 | 2810.42 | 2742.4 | 4 | 2
75.3 | 20 | 4 | 0 | 0
75.35 | 6 | 0 | 4 | 0
75.4 | 28 | 0 | 0 | 4
75.45 | 100 | 0 | 2 | 10
75.5 | 600.04 | 0 | 4 | 0
75.55 | 6587.83 | 48 | 6 | 4
75.6 | 13400.62 | 264.02 | 4 | 0
75.65 | 19835.98 | 744.05 | 52 | 0
75.7 | 26446.59 | 1078.1 | 286.02 | 0
75.75 | 29417.96 | 1322.13 | 3024.5 | 22
75.8 | 31349.93 | 1506.16 | 9797.66 | 162.01
75.85 | 33308.39 | 1490.14 | 15745.08 | 564.04
75.9 | 33669.04 | 1520.16 | 19988.05 | 988.08
75.95 | 35048.28 | 1534.16 | 23098.96 | 1168.1
76 | 35194.68 | 1636.18 | 24479.14 | 1396.14
76.05 | 34388.7 | 1716.19 | 25148.16 | 1258.12
76.1 | 32299.92 | 1516.15 | 22443.91 | 1096.1
76.15 | 30470.14 | 1512.15 | 7944.53 | 348.02
76.2 | 23986.26 | 1060.09 | 74 | 0
76.25 | 502.03 | 8 | 4 | 0
76.3 | 4 | 0 | 0 | 0
76.35 | 4 | 4 | 0 | 0
76.4 | 0 | 0 | 0 | 4
76.45 | 0 | 2 | 0 | 0
76.5 | 8 | 4 | 0 | 4
Printed:2/16/2017 4:50:56 PM