## Sheet1
Date: __August 29, 2018_
Task Objective: Comparative sensitivity of aerosol (Sonotek) vs. suspension deposited spores of Bacillus Globigii spores to UV-C
Sampling Run Number: 2
Date Coupons Inoculated: 8/23/2018
| Coupon Type: Wood (2x4-cm) | [7 empty] | UVC Intensity (initial): 0.43 - 0.49 mW/cm^2
| Test Conditions: Ambient | [7 empty] | RH (initial): 80.02%
| Light Source: Hg UVC (Intensity cut with Plastic Lid) | [7 empty] | Temp (Initial): 69.99 ºF
Performers: VR, SH
| Organism: Bacillus globigii | [7 empty] | UVC Intensity (final): 0.47 -.48 mW/cm^2
| Dates Sampling Done: 8/28/2018 | [7 empty] | RH (final): 84.88%
| Dates Plating Done: 8/28/2018 | [7 empty] | Temp (final): 72.23 ºF
Dates Plates Read: 8/29/2018
Suspension Deposition
| Sample # | Description | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| WL1 | Test | 5 min | 0.01 | 134 | 128 | 131 | 131000 | 5.1173 | 108500 | 5.0354 | 0.065804 | 0.58392
| WL2 |  |  | 0.01 | 111 | 107 | 109 | 109000 | 5.0374
| WL3 |  |  | 0.01 | 82 | 100 | 91 | 91000 | 4.959
| WL4 |  |  | 0.01 | 108 | 98 | 103 | 103000 | 5.0128
| WL5 | Test | 30 min | 0.1 | 82 | 75 | 78.5 | 7850 | 3.8949 | 9750 | 3.989 | 0.15043 | 1.6303
| WL6 |  |  | 0.1 | 65 | 73 | 69 | 6900 | 3.8388
| WL7 |  |  | 0.1 | 93 | 88 | 90.5 | 9050 | 3.9566
| WL8 |  |  | 0.1 | 158 | 146 | 152 | 15200 | 4.1818
| WL9 | Test | 60 min | 0.1 | 72 | 69 | 108 | 10800 | 4.0334 | 7212.5 | 3.8581 | 0.17951 | 1.7613
| WL10 |  |  | 0.1 | 75 | 63 | 69 | 6900 | 3.8388
| WL11 |  |  | 0.1 | 73 | 71 | 72 | 7200 | 3.8573
| WL12 |  |  | 0.1 | 37 | 42 | 39.5 | 3950 | 3.5966
| WL13 | Test | 180 min | Filter | 500 | -- | 500 | 500 | 2.699 | 500 | 2.699 | 0 | 2.9204
| WL14 |  |  | Filter | 500 | -- | 500 | 500 | 2.699
| WL15 |  |  | Filter | 500 | -- | 500 | 500 | 2.699
| WL16 |  |  | Filter | 500 | -- | 500 | 500 | 2.699
| WL37 | Positive Control | 5 min | 0.001 | 61 | 68 | 64.5 | 645000 | 5.8096 | 416250 | 5.6194 | 0.22703
| WL38 |  | 30 min | 0.001 | 30 | 32 | 31 | 310000 | 5.4914
| WL39 |  | 60 min | 0.001 | 25 | 15 | 20 | 200000 | 5.301
| WL40 |  | 180 min | 0.001 | 57 | 45 | 51 | 510000 | 5.7076
Aerosol Deposition
| Sample # | Description | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| WA17 | Test | 5 min | 0.01 | 14 | 23 | 18.5 | 18500 | 4.2672 | 27500 | 4.4393 | 0.15861 | 1.1361
| WA18 |  |  | 0.01 | 14 | 27 | 20.5 | 20500 | 4.3118
| WA19 |  |  | 0.01 | 48 | 34 | 41 | 41000 | 4.6128
| WA20 |  |  | 0.01 | 24 | 36 | 30 | 30000 | 4.4771
| WA21 | Test | 30 min | 0.1 | 77 | 32 | 54.5 | 5450 | 3.7364 | 8775 | 3.9432 | 0.22718 | 1.6322
| WA22 |  |  | 0.1 | 211 | 128 | 169.5 | 16950 | 4.2292
| WA23 |  |  | 0.1 | 61 | 60 | 60.5 | 6050 | 3.7818
| WA24 |  |  | 0.1 | 64 | 69 | 66.5 | 6650 | 3.8228
| WA25 | Test | 60 min | 0.1 | 57 | 50 | 53.5 | 5350 | 3.7284 | 5387.5 | 3.7314 | 0.21961 | 1.8441
| WA26 |  |  | 0.1 | 31 | 23 | 27 | 2700 | 3.4314
| WA27 |  |  | 0.1 | 40 | 47 | 43.5 | 4350 | 3.6385
| WA28 |  |  | 0.1 | 95 | 88 | 91.5 | 9150 | 3.9614
| WA29 | Test | 180 min | Filter | 300 | -- | 300 | 300 | 2.4771 | 300 | 2.4771 | 0 | 3.0984
| WA30 |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| WA31 |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| WA32 |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| WA41 | Positive Control | 5 min | 0.001 | 45 | 24 | 34.5 | 345000 | 5.5378 | 376250 | 5.5755 | 0.044414
| WA42 |  | 30 min | 0.001 | 32 | 40 | 36 | 360000 | 5.5563
| WA43 |  | 60 min | 0.001 | 46 | 41 | 43.5 | 435000 | 5.6385
| WA44 |  | 180 min | 0.001 | 41 | 32 | 36.5 | 365000 | 5.5623
Procedural Blanks
| Sample # | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| W-33 | 15 min | Filter | 0 | -- | 10 | 10 | 1 | 10 | 1 | 0
| W-34 | 30 min | Filter | 0 | -- | 10 | 10 | 1
| W-35 | 60 min | Filter | 0 | -- | 10 | 10 | 1
| W-36 | 120 min | Filter | 0 | -- | 10 | 10 | 1
Samples are being filtered to get a more precise number on survivors