## Sheet1
Date: __November 1, 2018_
Task Objective: Comparative sensitivity of aerosol (Sonotek) vs. suspension deposited spores of Bacillus Globigii spores to UV-C
Sampling Run Number: 3
Date Coupons Inoculated: 10/23/2018
| Coupon Type: Wood, Carpet and Laminate (2x4-cm); Glass (2x5-cm) | [8 empty] | UVC Intensity (initial): 0.38-0.47 mW/cm2, 0.34-0.43 mW/cm2
| Test Conditions: Ambient | [8 empty] | RH (initial): 74.42%, 68.91%
| Light Source: Hg UVC (Intensity cut with Plastic Lid) | [8 empty] | Temp (Initial): 68.60 ºF, 69.06 ºF
Performers: VR, SH
| Organism: Bacillus globigii | [8 empty] | UVC Intensity (final): 0.36-0.44 mW/cm2, 0.35-0.45 mW/cm2
| Dates Sampling Done: 10/24/2018, 10/30/2018 | [8 empty] | RH (final): 73.25%, 73.36%
| Dates Plating Done: 10/24/2018, 10/30/2018, 10/31/2018 | [8 empty] | Temp (final): 74.62 ºF, 73.08 ºF
Dates Plates Read: 10/25/2018, 10/31/2018, 11/1/2018
Suspension Deposition
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| WL1 | Test | Wood | 180 min | 0.1 | 5 | 7 | 6 | 600 | 2.7782 | 1750 | 3.243 | 0.27723 | 2.4516
| WL2 |  |  |  | 0.1 | 10 | 33 | 21.5 | 2150 | 3.3324
| WL3 |  |  |  | 0.1 | 24 | 14 | 19 | 1900 | 3.2788
| WL4 |  |  |  | 0.1 | 19 | 28 | 23.5 | 2350 | 3.3711
| WL5 | Test | Wood | 360 min | 0.1 | 28 | 16 | 22 | 2200 | 3.3424 | 2062.5 | 3.3144 | 0.082435 | 2.3802
| WL6 |  |  |  | 0.1 | 20 | 19 | 19.5 | 1950 | 3.29
| WL7 |  |  |  | 0.1 | 13 | 19 | 16 | 1600 | 3.2041
| WL8 |  |  |  | 0.1 | 18 | 32 | 25 | 2500 | 3.3979
| GL9 | Test | Glass | 180 min | Filter | 39 | -- | 39 | 39 | 1.5911 | 40.75 | 1.6101 | 0.3688 | 4.9401
| GL10 |  |  |  | Filter | 14 | -- | 14 | 14 | 1.1461
| GL11 |  |  |  | Filter | 92 | -- | 92 | 92 | 1.9638
| GL12 |  |  |  | Filter | 18 | -- | 18 | 18 | 1.2553
| GL13 | Test | Glass | 360 min | Filter | 74 | -- | 74 | 74 | 1.8692 | 26.75 | 1.4273 | 0.56882 | 5.1229
| GL14 |  |  |  | Filter | 3 | -- | 3 | 3 | 0.47712
| GL15 |  |  |  | Filter | 14 | -- | 14 | 14 | 1.1461
| GL16 |  |  |  | Filter | 16 | -- | 16 | 16 | 1.2041
| CL17 | Test | Carpet | 180 min | 0.1 | 78 | 66 | 72 | 7200 | 3.8573 | 11275 | 4.0521 | 0.18259 | 1.0271
| CL18 |  |  |  | 0.01 | 23 | 15 | 19 | 19000 | 4.2788
| CL19 |  |  |  | 0.1 | 93 | 111 | 102 | 10200 | 4.0086
| CL20 |  |  |  | 0.1 | 72 | 102 | 87 | 8700 | 3.9395
| CL21 | Test | Carpet | 360 min | 0.1 | 39 | 37 | 38 | 3800 | 3.5798 | 5687.5 | 3.7549 | 0.13368 | 1.3243
| CL22 |  |  |  | 0.1 | 51 | 52 | 51.5 | 5150 | 3.7118
| CL23 |  |  |  | 0.1 | 70 | 46 | 58 | 5800 | 3.7634
| CL24 |  |  |  | 0.1 | 76 | 84 | 80 | 8000 | 3.9031
| LL25 | Test | Laminate | 180 min | Filter | 48 | -- | 48 | 48 | 1.6812 | 46 | 1.6628 | 0.22756 | 4.9283
| LL26 |  |  |  | Filter | 23 | -- | 23 | 23 | 1.3617
| LL27 |  |  |  | Filter | 34 | -- | 34 | 34 | 1.5315
| LL28 |  |  |  | Filter | 79 | -- | 79 | 79 | 1.8976
| LL29 | Test | Laminate | 360 min | Filter | 19 | -- | 19 | 19 | 1.2788 | 20.75 | 1.317 | 0.28959 | 5.274
| LL30 |  |  |  | Filter | 32 | -- | 32 | 32 | 1.5051
| LL31 |  |  |  | Filter | 7 | -- | 7 | 7 | 0.8451
| LL32 |  |  |  | Filter | 25 | -- | 25 | 25 | 1.3979
| WL73 | Positive Control | Wood | 180 min | 0.001 | 74 | 61 | 67.5 | 675000 | 5.8293 | 495000 | 5.6946 | 0.23405
| WL74 |  |  | 360 min | 0.001 | 35 | 28 | 31.5 | 315000 | 5.4983
| GL75 |  | Glass | 180 min | 0.0001 | 41 | 42 | 41.5 | 4150000 | 6.618 | 3550000 | 6.5502 | 0.10481
| GL76 |  |  | 360 min | 0.0001 | 36 | 23 | 29.5 | 2950000 | 6.4698
| CL77 |  | Carpet | 180 min | 0.001 | 17 | 12 | 14.5 | 145000 | 5.1614 | 120000 | 5.0792 | 0.12986
| CL78 |  |  | 360 min | 0.001 | 11 | 8 | 9.5 | 95000 | 4.9777
| LL79 |  | Laminate | 180 min | 0.0001 | 50 | 52 | 51 | 5100000 | 6.7076 | 3900000 | 6.5911 | 0.19531
| LL80 |  |  | 360 min | 0.0001 | 23 | 31 | 27 | 2700000 | 6.4314
Aerosol Deposition
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| WA33 | Test | Wood | 180 min | 0.01 | 17 | 25 | 21 | 21000 | 4.3222 | 6262.5 | 3.7967 | 0.67139 | 1.9991
| WA34 |  |  |  | 0.1 | 23 | 23 | 23 | 2300 | 3.3617
| WA35 |  |  |  | 0.1 | 17 | 6 | 11.5 | 1150 | 3.0607
| WA36 |  |  |  | 0.1 | 3 | 9 | 6 | 600 | 2.7782
| WA37 | Test | Wood | 360 min | Filter | 99 | -- | 99 | 99 | 1.9956 | 638.25 | 2.805 | 0.60983 | 2.9909
| WA38 |  |  |  | Filter | 104 | -- | 104 | 104 | 2.017
| WA39 |  |  |  | 0.1 | 6 | 4 | 5 | 500 | 2.699
| WA40 |  |  |  | 0.1 | 18 | 19 | 18.5 | 1850 | 3.2672
| GA41 | Test | Glass | 180 min | 0.1 | 40 | 38 | 39 | 3900 | 3.5911 | 2775 | 3.4433 | 0.38365 | 3.0946
| GA42 |  |  |  | 0.1 | 9 | 9 | 9 | 900 | 2.9542
| GA43 |  |  |  | 0.1 | 15 | 7 | 11 | 1100 | 3.0414
| GA44 |  |  |  | 0.1 | 52 | 52 | 52 | 5200 | 3.716
| GA45 | Test | Glass | 360 min | Filter | 76 | -- | 76 | 76 | 1.8808 | 62.75 | 1.7976 | 0.51119 | 4.7402
| GA46 |  |  |  | Filter | 145 | -- | 145 | 145 | 2.1614
| GA47 |  |  |  | Filter | 12 | -- | 12 | 12 | 1.0792
| GA48 |  |  |  | Filter | 18 | -- | 18 | 18 | 1.2553
| CA49 | Test | Carpet | 180 min | 0.1 | 8 | 8 | 8 | 800 | 2.9031 | 4075 | 3.6101 | 0.49042 | 2.779
| CA50 |  |  |  | 0.1 | 17 | 15 | 16 | 1600 | 3.2041
| CA51 |  |  |  | 0.1 | 20 | 28 | 24 | 2400 | 3.3802
| CA52 |  |  |  | 0.01 | 8 | 15 | 11.5 | 11500 | 4.0607
| CA53 | Test | Carpet | 360 min | 0.1 | 6 | 10 | 8 | 800 | 2.9031 | 798.5 | 2.9023 | 0.4543 | 3.4869
| CA54 |  |  |  | 0.1 | 7 | 3 | 5 | 500 | 2.699
| CA55 |  |  |  | 0.1 | 14 | 21 | 17.5 | 1750 | 3.243
| CA56 |  |  |  | Filter | 144 | -- | 144 | 144 | 2.1584
| LA57 | Test | Laminate | 180 min | Filter | 128 | -- | 128 | 128 | 2.1072 | 2307 | 3.363 | 0.90362 | 3.0602
| LA58 |  |  |  | Filter | 100 | -- | 100 | 100 | 2
| LA59 |  |  |  | 0.1 | 21 | 16 | 18.5 | 1850 | 3.2672
| LA60 |  |  |  | 0.1 | 73 | 70 | 71.5 | 7150 | 3.8543
| LA61 | Test | Laminate | 360 min | Filter | 81 | -- | 81 | 81 | 1.9085 | 107.5 | 2.0314 | 0.26064 | 4.3918
| LA62 |  |  |  | Filter | 57 | -- | 57 | 57 | 1.7559
| LA63 |  |  |  | Filter | 71 | -- | 71 | 71 | 1.8513
| LA64 |  |  |  | Filter | 221 | -- | 221 | 221 | 2.3444
| WA81 | Positive Control | Wood | 180 min | 0.001 | 11 | 38 | 24.5 | 245000 | 5.3892 | 625000 | 5.7959 | 0.43346
| WA82 |  |  | 360 min | 0.001 | 101 | 100 | 100.5 | 1005000 | 6.0022
| GA83 |  | Glass | 180 min | 0.0001 | 28 | 30 | 29 | 2900000 | 6.4624 | 3450000 | 6.5378 | 0.098756
| GA84 |  |  | 360 min | 0.0001 | 40 | 40 | 40 | 4000000 | 6.6021
| CA85 |  | Carpet | 180 min | 0.0001 | 30 | 23 | 26.5 | 2650000 | 6.4232 | 2450000 | 6.3892 | 0.050249
| CA86 |  |  | 360 min | 0.0001 | 22 | 23 | 22.5 | 2250000 | 6.3522
| LA87 |  | Laminate | 180 min | 0.0001 | 45 | 31 | 38 | 3800000 | 6.5798 | 2650000 | 6.4232 | 0.28545
| LA88 |  |  | 360 min | 0.0001 | 17 | 13 | 15 | 1500000 | 6.1761
Procedural Blanks
| Sample # | Time Point | Coupon Type | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| W-65 | 180 min | Wood | 0.1 | 1 | 0 | 1 | 10 | 1 | 10 | 1 | 0
| W-66 | 360 min |  | 0.1 | 0 | 0 | 1 | 10 | 1
| G-67 | 180 min | Glass | 0.1 | 0 | 0 | 1 | 10 | 1
| G-68 | 360 min |  | 0.1 | 0 | 0 | 1 | 10 | 1
| C-69 | 180 min | Carpet | 0.1 | 0 | 0 | 1 | 10 | 1
| C-70 | 360 min |  | 0.1 | 0 | 0 | 1 | 10 | 1
| L-71 | 180 min | Laminate | 0.1 | 0 | 0 | 1 | 10 | 1
| L-72 | 360 min |  | 0.1 | 0 | 0 | 1 | 10 | 1