## Run 1
Date: __May 6, 2019_
Task Objective: Time course kinetics of aerosol (Sonotek) deposited spores of Bacillus Globigii to UV-C Hg
Run Number: 1
Date Coupons Inoculated: 5/1/2019
| Coupon Type: Laminate (2x4-cm) and Glass (2x5-cm) | [8 empty] | UVC Intensity (initial): 0.42
| Test Conditions: Ambient | [8 empty] | RH (initial): 37.09%
| Light Source: LED Hg | [8 empty] | Temp (Initial): 70.61 ºF
Performers: VR, SH, MZ
| Organism: Bacillus globigii | [8 empty] | UVC Intensity (final): 0.41
| Dates Experiment Performed: 5/2/2019 | [8 empty] | RH (final): 21.83%
| Dates Plating Done: 5/2/2019, 5/3/2019 | [8 empty] | Temp (final): 73.93 ºF
Dates Plates Read: 5/2/2019, 5/6/2019
B.g. Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| G1 | Test | Glass | 30 minutes | 0.1 | 7 | 4 | 5.5 | 550 | 2.7404 | 1712.5 | 3.2336 | 0.42458 | 3.312
| G2 |  |  |  | 0.1 | 9 | 6 | 7.5 | 750 | 2.8751
| G3 |  |  |  | 0.1 | 8 | 8 | 8 | 800 | 2.9031
| G4 |  |  |  | 0.1 | 28 | 67 | 47.5 | 4750 | 3.6767
| G5 | Test | Glass | 1 hour | 0.1 | 10 | 12 | 11 | 1100 | 3.0414 | 659.25 | 2.8191 | 0.44624 | 3.7266
| G6 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| G7 |  |  |  | 0.1 | 13 | 9 | 11 | 1100 | 3.0414
| G8 |  |  |  | Filter | 137 | -- | 137 | 137 | 2.1367
| G9 | Test | Glass | 2 hours | Filter | 199 | -- | 199 | 199 | 2.2989 | 142.5 | 2.1538 | 0.47909 | 4.3918
| G10 |  |  |  | Filter | 296 | -- | 296 | 296 | 2.4713
| G11 |  |  |  | Filter | 32 | -- | 32 | 32 | 1.5051
| G12 |  |  |  | Filter | 43 | -- | 43 | 43 | 1.6335
| G13 | Test | Glass | 3 hours | Filter | 108 | -- | 108 | 108 | 2.0334 | 154.5 | 2.1889 | 0.33958 | 4.3567
| G14 |  |  |  | Filter | 45 | -- | 45 | 45 | 1.6532
| G15 |  |  |  | Filter | 230 | -- | 230 | 230 | 2.3617
| G16 |  |  |  | Filter | 235 | -- | 235 | 235 | 2.3711
| L33 | Test | Laminate | 30 minutes | 0.1 | 9 | 2 | 5.5 | 550 | 2.7404 | 2062.5 | 3.3144 | 0.3931 | 3.1499
| L34 |  |  |  | 0.1 | 27 | 33 | 30 | 3000 | 3.4771
| L35 |  |  |  | 0.1 | 38 | 36 | 37 | 3700 | 3.5682
| L36 |  |  |  | 0.1 | 8 | 12 | 10 | 1000 | 3
| L37 | Test | Laminate | 1 hour | 0.1 | 19 | 11 | 15 | 1500 | 3.1761 | 887.5 | 2.9482 | 0.28098 | 3.5161
| L38 |  |  |  | 0.1 | 11 | 11 | 11 | 1100 | 3.0414
| L39 |  |  |  | 0.1 | 4 | 8 | 6 | 600 | 2.7782
| L40 |  |  |  | 0.1 | 1 | 6 | 3.5 | 350 | 2.5441
| L41 | Test | Laminate | 2 hours | 0.1 | 54 | 54 | 54 | 5400 | 3.7324 | 2100 | 3.3222 | 0.40054 | 3.142
| L42 |  |  |  | 0.1 | 7 | 6 | 6.5 | 650 | 2.8129
| L43 |  |  |  | 0.1 | 12 | 16 | 14 | 1400 | 3.1461
| L44 |  |  |  | 0.1 | 10 | 9 | 9.5 | 950 | 2.9777
| L45 | Test | Laminate | 3 hours | Filter | 196 | -- | 196 | 196 | 2.2923 | 174 | 2.2405 | 0.13347 | 4.2237
| L46 |  |  |  | Filter | 235 | -- | 235 | 235 | 2.3711
| L47 |  |  |  | Filter | 117 | -- | 117 | 117 | 2.0682
| L48 |  |  |  | Filter | 148 | -- | 148 | 148 | 2.1703
| G65 | Positive Control | Glass | 30 minutes | 0.0001 | 60 | 41 | 50.5 | 5050000 | 6.7033 | 3512500 | 6.5456 | 0.48929
| G66 |  |  | 1 hour | 0.0001 | 71 | 74 | 72.5 | 7250000 | 6.8603
| G67 |  |  | 2 hours | 0.0001 | 7 | 10 | 8.5 | 850000 | 5.9294
| G68 |  |  | 3 hours | 0.0001 | 10 | 8 | 9 | 900000 | 5.9542
| L81 |  | Laminate | 30 minutes | 0.0001 | 57 | 36 | 46.5 | 4650000 | 6.6675 | 2912500 | 6.4643 | 0.16873
| L82 |  |  | 1 hour | 0.0001 | 26 | 16 | 21 | 2100000 | 6.3222
| L83 |  |  | 2 hours | 0.0001 | 28 | 30 | 29 | 2900000 | 6.4624
| L84 |  |  | 3 hours | 0.0001 | 24 | 16 | 20 | 2000000 | 6.301
Procedural Blanks
| Sample # | Time Point | Coupon Type | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| G69 | 30 minutes | Glass | Filter | 0 | -- | 1 | 1 | 0 | 2 | 0.30103 | 0.33738
| G70 | 1 hour
| G71 | 2 hours
| G72 | 3 hours
| L85 | 30 minutes | Laminate | Filter | 3 | -- | 3 | 3 | 0.47712
| L86 | 1 hour
| L87 | 2 hours
| L88 | 3 hours

## Run 2
Date: __May 20, 2019_
Task Objective: Time course kinetics of aerosol (Sonotek) deposited spores of Bacillus Globigii to UV-C Hg
Run Number: 2
Date Coupons Inoculated: 5/1/2019
| Coupon Type: Laminate (2x4-cm) and Glass (2x5-cm) | [8 empty] | UVC Intensity (initial): Reading not taken to preserve humidity.
| Test Conditions: High Humidity (70-75%) | [8 empty] | RH (initial): 69.93%
| Light Source: LED Hg | [8 empty] | Temp (Initial): 72.92 ºF
Performers: VR, SH
| Organism: Bacillus globigii | [8 empty] | UVC Intensity (final): 0.36
| Dates Experiment Performed: 5/14/2019 | [8 empty] | RH (final): 69.24%
| Dates Plating Done: 5/14/2019, 5/17/2019 | [8 empty] | Temp (final): 74.08 ºF
Dates Plates Read: 5/15/2019, 5/20/2019
B.g. Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| G17 | Test | Glass | 30 minutes | 0.1 | 49 | 43 | 46 | 4600 | 3.6628 | 2787.5 | 3.4452 | 0.29438 | 3.1793
| G18 |  |  |  | 0.1 | 44 | 33 | 38.5 | 3850 | 3.5855
| G19 |  |  |  | 0.1 | 15 | 8 | 11.5 | 1150 | 3.0607
| G20 |  |  |  | 0.1 | 16 | 15 | 15.5 | 1550 | 3.1903
| G21 | Test | Glass | 1 hour | 0.1 | 8 | 3 | 5.5 | 550 | 2.7404 | 242.5 | 2.3847 | 0.35917 | 4.2398
| G22 |  |  |  | Filter | 81 | -- | 81 | 81 | 1.9085
| G23 |  |  |  | Filter | 124 | -- | 124 | 124 | 2.0934
| G24 |  |  |  | Filter | 215 | -- | 215 | 215 | 2.3324
| G25 | Test | Glass | 2 hours | 0.1 | 13 | 10 | 11.5 | 1150 | 3.0607 | 687.5 | 2.8373 | 0.24107 | 3.7873
| G26 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| G27 |  |  |  | 0.1 | 10 | 4 | 7 | 700 | 2.8451
| G28 |  |  |  | 0.1 | 8 | 4 | 6 | 600 | 2.7782
| G29 | Test | Glass | 3 hours | 0.1 | 67 | 57 | 62 | 6200 | 3.7924 | 2125 | 3.3274 | 0.56034 | 3.2972
| G30 |  |  |  | 0.1 | 5 | 8 | 6.5 | 650 | 2.8129
| G31 |  |  |  | 0.1 | 15 | 12 | 13.5 | 1350 | 3.1303
| G32 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| L49 | Test | Laminate | 30 minutes | 0.1 | 16 | 15 | 15.5 | 1550 | 3.1903 | 3500 | 3.5441 | 0.34516 | 3.0285
| L50 |  |  |  | 0.1 | 56 | 43 | 49.5 | 4950 | 3.6946
| L51 |  |  |  | 0.1 | 54 | 70 | 62 | 6200 | 3.7924
| L52 |  |  |  | 0.1 | 13 | 13 | 13 | 1300 | 3.1139
| L53 | Test | Laminate | 1 hour | 0.1 | 13 | 14 | 13.5 | 1350 | 3.1303 | 1312.5 | 3.1181 | 0.11036 | 3.4545
| L54 |  |  |  | 0.1 | 12 | 12 | 12 | 1200 | 3.0792
| L55 |  |  |  | 0.1 | 23 | 12 | 17.5 | 1750 | 3.243
| L56 |  |  |  | 0.1 | 8 | 11 | 9.5 | 950 | 2.9777
| L57 | Test | Laminate | 2 hours | Filter | 297 | -- | 297 | 297 | 2.4728 | 424.25 | 2.6276 | 0.21372 | 3.945
| L58 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| L59 |  |  |  | 0.1 | 8 | 8 | 8 | 800 | 2.9031
| L60 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| L61 | Test | Laminate | 3 hours | 0.1 | 17 | 14 | 15.5 | 1550 | 3.1903 | 975 | 2.989 | 0.30868 | 3.5836
| L62 |  |  |  | 0.1 | 9 | 11 | 10 | 1000 | 3
| L63 |  |  |  | 0.1 | 8 | 13 | 10.5 | 1050 | 3.0212
| L64 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| G73 | Positive Control | Glass | 30 minutes | 0.0001 | 39 | 44 | 41.5 | 4150000 | 6.618 | 4212500 | 6.6245 | 0.025454
| G74 |  |  | 1 hour | 0.0001 | 36 | 55 | 45.5 | 4550000 | 6.658
| G75 |  |  | 2 hours | 0.0001 | 46 | 33 | 39.5 | 3950000 | 6.5966
| G76 |  |  | 3 hours | 0.0001 | 55 | 29 | 42 | 4200000 | 6.6232
| L89 |  | Laminate | 30 minutes | 0.0001 | 17 | 22 | 19.5 | 1950000 | 6.29 | 3737500 | 6.5726 | 0.2261
| L90 |  |  | 1 hour | 0.0001 | 63 | 68 | 65.5 | 6550000 | 6.8162
| L91 |  |  | 2 hours | 0.0001 | 28 | 25 | 26.5 | 2650000 | 6.4232
| L92 |  |  | 3 hours | 0.0001 | 34 | 42 | 38 | 3800000 | 6.5798
Procedural Blanks
| Sample # | Time Point | Coupon Type | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| G77 | 30 minutes | Glass | Filter | 1 | -- | 1 | 1 | 0 | 1 | 0 | 0
| G78 | 1 hour
| G79 | 2 hours
| G80 | 3 hours
| L93 | 30 minutes | Laminate | Filter | 0 | -- | 1 | 1 | 0
| L94 | 1 hour
| L95 | 2 hours
| L96 | 3 hours