## Run 1
Date: __December 14, 2018_
Task Objective: Comparative sensitivity of deposited spores of Bacillus Globigii and Bacillus Anthracis Ames to UV-C
Run Number: 1
Date Coupons Inoculated: 12/10/2018
| Coupon Type: Glass, Wood, Carpet and Laminate (1.5x1.5-cm) | [8 empty] | UVC Intensity (initial):
| Test Conditions: Ambient | [8 empty] | RH (initial): 55.48%, 59.59%
| Light Source: Hg UVC (Intensity cut with Plastic Lid) | [8 empty] | Temp (Initial): 70.22ºF, 68.91 ºF
Performers: VR, SH, MZ
| Organism: Bacillus globigii and Bacillus anthracis ames | [8 empty] | UVC Intensity (final):
| Dates Experiment Performed: 12/11/2018, 12/12/2018 | [8 empty] | RH (final): 59.28%, 62.35%
| Dates Plating Done: 12/11/2018, 12/12/2018 | [8 empty] | Temp (final): 74.08 ºF, 72.92 ºF
Dates Plates Read: 12/12/2018, 12/13/2018
B.g. Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| WGL1 | Test | Wood | 2 hours | 0.01 | 328 | 440 | 384 | 384000 | 5.5843 | 425000 | 5.6284 | 0.14722 | 0.042166
| WGL2 |  |  |  | 0.01 | 244 | 384 | 314 | 314000 | 5.4969
| WGL3 |  |  |  | 0.01 | 516 | 812 | 664 | 664000 | 5.8222
| WGL4 |  |  |  | 0.01 | 280 | 396 | 338 | 338000 | 5.5289
| WGL5 | Test | Wood | 4 hours | 0.01 | 140 | 104 | 122 | 122000 | 5.0864 | 179000 | 5.2529 | 0.22392 | 0.4177
| WGL6 |  |  |  | 0.01 | 116 | 76 | 96 | 96000 | 4.9823
| WGL7 |  |  |  | 0.01 | 324 | 296 | 310 | 310000 | 5.4914
| WGL8 |  |  |  | 0.01 | 228 | 148 | 188 | 188000 | 5.2742
| WGL9 | Test | Wood | 8 hours | 0.01 | 27 | 31 | 29 | 29000 | 4.4624 | 84500 | 4.9269 | 0.46412 | 0.7437
| WGL10 |  |  |  | 0.01 | 268 | 200 | 234 | 234000 | 5.3692
| WGL11 |  |  |  | 0.01 | 46 | 62 | 54 | 54000 | 4.7324
| WGL12 |  |  |  | 0.01 | 27 | 15 | 21 | 21000 | 4.3222
| GG13 | Test | Glass | 2 hours | 0.1 | 53 | 41 | 47 | 4700 | 3.6721 | 14050 | 4.1477 | 0.29197 | 2.5469
| GG14 |  |  |  | 0.1 | 136 | 125 | 130.5 | 13050 | 4.1156
| GG15 |  |  |  | 0.1 | 245 | 200 | 222.5 | 22250 | 4.3473
| GG16 |  |  |  | 0.1 | 167 | 157 | 162 | 16200 | 4.2095
| GG17 | Test | Glass | 4 hours | 0.1 | 21 | 40 | 30.5 | 3050 | 3.4843 | 3366.75 | 3.5272 | 0.91208 | 3.1674
| GG18 |  |  |  | 0.1 | 40 | 60 | 50 | 5000 | 3.699
| GG19 |  |  |  | Filter | 67 | -- | 67 | 67 | 1.8261
| GG20 |  |  |  | 0.1 | 58 | 49 | 53.5 | 5350 | 3.7284
| GG21 | Test | Glass | 8 hours | 0.1 | 1 | 1 | 1 | 100 | 2 | 362.5 | 2.5593 | 0.37343 | 4.1353
| GG22 |  |  |  | 0.1 | 5 | 8 | 6.5 | 650 | 2.8129
| GG23 |  |  |  | 0.1 | 3 | 1 | 2 | 200 | 2.301
| GG24 |  |  |  | 0.1 | 9 | 1 | 5 | 500 | 2.699
| GG25 | Test | Carpet | 2 hours | 0.001 | 180 | 248 | 214 | 2140000 | 6.3304 | 3195000 | 6.5045 | 0.17077 | 0.17222
| GG26 |  |  |  | 0.001 | 532 | 448 | 490 | 4900000 | 6.6902
| GG27 |  |  |  | 0.001 | 320 | 380 | 350 | 3500000 | 6.5441
| GG28 |  |  |  | 0.001 | 212 | 236 | 224 | 2240000 | 6.3502
| GG29 | Test | Carpet | 4 hours | 0.01 | 300 | 300 | 300 | 300000 | 5.4771 | 300000 | 5.4771 | 0 | 1.1996
| GG30 |  |  |  | 0.01 | 300 | 300 | 300 | 300000 | 5.4771
| GG31 |  |  |  | 0.01 | 300 | 300 | 300 | 300000 | 5.4771
| GG32 |  |  |  | 0.01 | 300 | 300 | 300 | 300000 | 5.4771
| GG33 | Test | Carpet | 8 hours | 0.01 | 344 | 276 | 310 | 310000 | 5.4914 | 308500 | 5.4893 | 0.1247 | 1.1874
| GG34 |  |  |  | 0.01 | 212 | 428 | 320 | 320000 | 5.5051
| GG35 |  |  |  | 0.01 | 164 | 240 | 202 | 202000 | 5.3054
| GG36 |  |  |  | 0.01 | 344 | 460 | 402 | 402000 | 5.6042
| LG37 | Test | Laminate | 2 hours | 0.1 | 18 | 12 | 15 | 1500 | 3.1761 | 144375 | 5.1595 | 1.0555 | 1.5307
| LG38 |  |  |  | 0.01 | 264 | 168 | 216 | 216000 | 5.3345
| LG39 |  |  |  | 0.01 | 53 | 55 | 54 | 54000 | 4.7324
| LG40 |  |  |  | 0.01 | 300 | 312 | 306 | 306000 | 5.4857
| LG41 | Test | Laminate | 4 hours | 0.1 | 24 | 18 | 21 | 2100 | 3.3222 | 85275 | 4.9308 | 0.91715 | 1.7594
| LG42 |  |  |  | 0.01 | 121 | 145 | 133 | 133000 | 5.1239
| LG43 |  |  |  | 0.01 | 17 | 10 | 13.5 | 13500 | 4.1303
| LG44 |  |  |  | 0.01 | 190 | 195 | 192.5 | 192500 | 5.2844
| LG45 | Test | Laminate | 8 hours | 0.1 | 174 | 125 | 149.5 | 14950 | 4.1746 | 16587.5 | 4.2198 | 0.58622 | 2.4704
| LG46 |  |  |  | 0.1 | 320 | 448 | 384 | 38400 | 4.5843
| LG47 |  |  |  | 0.1 | 136 | 93 | 114.5 | 11450 | 4.0588
| LG48 |  |  |  | 0.1 | 20 | 11 | 15.5 | 1550 | 3.1903
| WG109 | Positive Control | Wood | 2 hours | 0.001 | 34 | 23 | 28.5 | 285000 | 5.4548 | 468333.3333 | 5.6706 | 0.17279
| WG110 |  |  | 4 hours | 0.001 | 51 | 51 | 51 | 510000 | 5.7076
| WG111 |  |  | 8 hours | 0.001 | 39 | 83 | 61 | 610000 | 5.7853
| GG112 |  | Glass | 2 hours | 0.0001 | 69 | 70 | 69.5 | 6950000 | 6.842 | 4950000 | 6.6946 | 0.14218
| GG113 |  |  | 4 hours | 0.0001 | 31 | 50 | 40.5 | 4050000 | 6.6075
| GG114 |  |  | 8 hours | 0.0001 | 36 | 41 | 38.5 | 3850000 | 6.5855
| CG115 |  | Carpet | 2 hours | 0.0001 | 38 | 40 | 39 | 3900000 | 6.5911 | 4750000 | 6.6767 | 0.10928
| CG116 |  |  | 4 hours | 0.0001 | 32 | 51 | 41.5 | 4150000 | 6.618
| CG117 |  |  | 8 hours | 0.0001 | 58 | 66 | 62 | 6200000 | 6.7924
| LG118 |  | Laminate | 2 hours | 0.0001 | 40 | 49 | 44.5 | 4450000 | 6.6484 | 4900000 | 6.6902 | 0.13095
| LG119 |  |  | 4 hours | 0.0001 | 33 | 40 | 36.5 | 3650000 | 6.5623
| LG120 |  |  | 8 hours | 0.0001 | 49 | 83 | 66 | 6600000 | 6.8195
B.a. Ames Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| WA49 | Test | Wood | 2 hours | 0.01 | 268 | 292 | 280 | 280000 | 5.4472 | 268250 | 5.4285 | 0.019465 | 0.81861
| WA50 |  |  |  | 0.01 | 290 | 264 | 277 | 277000 | 5.4425
| WA51 |  |  |  | 0.01 | 240 | 280 | 260 | 260000 | 5.415
| WA52 |  |  |  | 0.01 | 244 | 268 | 256 | 256000 | 5.4082
| WA53 | Test | Wood | 4 hours | 0.01 | 360 | 522 | 441 | 441000 | 5.6444 | 229500 | 5.3608 | 0.22788 | 0.88637
| WA54 |  |  |  | 0.01 | 175 | 119 | 147 | 147000 | 5.1673
| WA55 |  |  |  | 0.01 | 181 | 188 | 184.5 | 184500 | 5.266
| WA56 |  |  |  | 0.01 | 140 | 151 | 145.5 | 145500 | 5.1629
| WA57 | Test | Wood | 8 hours | 0.1 | 38 | 70 | 54 | 5400 | 3.7324 | 8525 | 3.9307 | 0.12974 | 2.3165
| WA58 |  |  |  | 0.1 | 115 | 95 | 105 | 10500 | 4.0212
| WA59 |  |  |  | 0.1 | 54 | 114 | 84 | 8400 | 3.9243
| WA60 |  |  |  | 0.1 | 105 | 91 | 98 | 9800 | 3.9912
| GA61 | Test | Glass | 2 hours | 0.1 | 1 | 0 | 0.5 | 50 | 1.699 | 112.5 | 2.0512 | 0.38908 | 4.7258
| GA62 |  |  |  | 0.1 | 1 | 0 | 0.5 | 50 | 1.699
| GA63 |  |  |  | 0.1 | 2 | 4 | 3 | 300 | 2.4771
| GA64 |  |  |  | 0.1 | 0 | 1 | 0.5 | 50 | 1.699
| GA65 | Test | Glass | 4 hours | Filter | 58 | -- | 58 | 58 | 1.7634 | 703 | 2.847 | 0.72193 | 3.93
| GA66 |  |  |  | Filter | 130 | -- | 130 | 130 | 2.1139
| GA67 |  |  |  | Filter | 124 | -- | 124 | 124 | 2.0934
| GA68 |  |  |  | 0.1 | 30 | 20 | 25 | 2500 | 3.3979
| GA69 | Test | Glass | 8 hours | Filter | 0 |  | 0 | 1 | 0 | 11.25 | 1.0512 | 0.75911 | 5.7258
| GA70 |  |  |  | Filter | 0 |  | 0 | 1 | 0
| GA71 |  |  |  | Filter | 11 |  | 11 | 11 | 1.0414
| GA72 |  |  |  | Filter | 32 |  | 32 | 32 | 1.5051
| CA73 | Test | Carpet | 2 hours | 0.001 | 92 | 138 | 115 | 1150000 | 6.0607 | 1207500 | 6.0819 | 0.064144 | 0.58401
| CA74 |  |  |  | 0.001 | 96 | 102 | 99 | 990000 | 5.9956
| CA75 |  |  |  | 0.001 | 112 | 152 | 132 | 1320000 | 6.1206
| CA76 |  |  |  | 0.001 | 132 | 142 | 137 | 1370000 | 6.1367
| CA77 | Test | Carpet | 4 hours | 0.01 | 398 | 300 | 349 | 349000 | 5.5428 | 314750 | 5.498 | 0.031209 | 1.1679
| CA78 |  |  |  | 0.01 | 300 | 300 | 300 | 300000 | 5.4771
| CA79 |  |  |  | 0.01 | 300 | 300 | 300 | 300000 | 5.4771
| CA80 |  |  |  | 0.01 | 320 | 300 | 310 | 310000 | 5.4914
| CA81 | Test | Carpet | 8 hours | 0.1 | 120 | 58 | 89 | 8900 | 3.9494 | 10312.5 | 4.0134 | 0.090066 | 2.6525
| CA82 |  |  |  | 0.1 | 110 | 90 | 100 | 10000 | 4
| CA83 |  |  |  | 0.1 | 123 | 150 | 136.5 | 13650 | 4.1351
| CA84 |  |  |  | 0.1 | 74 | 100 | 87 | 8700 | 3.9395
| LA85 | Test | Laminate | 2 hours | 0.01 | 164 | 198 | 181 | 181000 | 5.2577 | 181750 | 5.2595 | 0.053799 | 1.1954
| LA86 |  |  |  | 0.01 | 220 | 192 | 206 | 206000 | 5.3139
| LA87 |  |  |  | 0.01 | 198 | 108 | 153 | 153000 | 5.1847
| LA88 |  |  |  | 0.01 | 192 | 182 | 187 | 187000 | 5.2718
| LA89 | Test | Laminate | 4 hours | 0.1 | 171 | 151 | 161 | 16100 | 4.2068 | 101275 | 5.0055 | 0.51015 | 1.4493
| LA90 |  |  |  | 0.01 | 43 | 37 | 40 | 40000 | 4.6021
| LA91 |  |  |  | 0.01 | 140 | 300 | 220 | 220000 | 5.3424
| LA92 |  |  |  | 0.01 | 151 | 107 | 129 | 129000 | 5.1106
| LA93 | Test | Laminate | 8 hours | 0.1 | 49 | 26 | 37.5 | 3750 | 3.574 | 4875 | 3.688 | 1.0541 | 2.7669
| LA94 |  |  |  | 0.1 | 67 | 56 | 61.5 | 6150 | 3.7889
| LA95 |  |  |  | 0.1 | 125 | 66 | 95.5 | 9550 | 3.98
| LA96 |  |  |  | 0.1 | 1 | 0 | 0.5 | 50 | 1.699
| WA121 | Positive Control | Wood | 2 hours | 0.0001 | 20 | 29 | 24.5 | 2450000 | 6.3892 | 1766666.6667 | 6.2472 | 0.15529
| WA122 |  |  | 4 hours | 0.0001 | 18 | 15 | 16.5 | 1650000 | 6.2175
| WA123 |  |  | 8 hours | 0.0001 | 12 | 12 | 12 | 1200000 | 6.0792
| GA124 |  | Glass | 2 hours | 0.0001 | 65 | 61 | 63 | 6300000 | 6.7993 | 5983333.3333 | 6.7769 | 0.020456
| GA125 |  |  | 4 hours | 0.0001 | 66 | 49 | 57.5 | 5750000 | 6.7597
| GA126 |  |  | 8 hours | 0.0001 | 58 | 60 | 59 | 5900000 | 6.7709
| CA127 |  | Carpet | 2 hours | 0.0001 | 40 | 50 | 45 | 4500000 | 6.6532 | 4633333.3333 | 6.6659 | 0.10363
| CA128 |  |  | 4 hours | 0.0001 | 32 | 40 | 36 | 3600000 | 6.5563
| CA129 |  |  | 8 hours | 0.0001 | 50 | 66 | 58 | 5800000 | 6.7634
| LA130 |  | Laminate | 2 hours | 0.0001 | 19 | 20 | 19.5 | 1950000 | 6.29 | 2850000 | 6.4548 | 0.13313
| LA131 |  |  | 4 hours | 0.0001 | 29 | 34 | 31.5 | 3150000 | 6.4983
| LA132 |  |  | 8 hours | 0.0001 | 38 | 31 | 34.5 | 3450000 | 6.5378
Procedural Blanks
| Sample # | Time Point | Coupon Type | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| W-97 | 2 hours | Wood | 0.1 | 0 | 0 | 1 | 10 | 1 | 10 | 1 | 0
| W-98 | 4 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1
| W-99 | 8 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1
| G-100 | 2 hours | Glass | 0.1 | 0 | 0 | 1 | 10 | 1
| G-101 | 4 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1
| G-102 | 8 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1
| C-103 | 2 hours | Carpet | 0.1 | 0 | 0 | 1 | 10 | 1
| C-104 | 4 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1
| C-105 | 8 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1
| L-106 | 2 hours | Laminate | 0.1 | 0 | 0 | 1 | 10 | 1
| L-107 | 4 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1
| L-108 | 8 hours |  | 0.1 | 0 | 0 | 1 | 10 | 1

## Run 2 - 12-27-18
Date: __December 27, 2018_
Task Objective: Comparative sensitivity of deposited spores of Bacillus Globigii and Bacillus Anthracis Ames to UV-C
Run Number: 2
Date Coupons Inoculated: 12/18/2018
| Coupon Type: Glass and Laminate (1.5x1.5-cm) | [8 empty] | UVC Intensity (initial):
| Test Conditions: High Humidity | [8 empty] | RH (initial): 65.37%, 70.82%
| Light Source: Hg UVC (Intensity cut with Plastic Lid) | [8 empty] | Temp (Initial): 68.98 ºF, 70.37 ºF
Performers: VR, SH, MZ
| Organism: Bacillus globigii and Bacillus anthracis ames | [8 empty] | UVC Intensity (final):
| Dates Experiment Performed: 12/19/2018, 12/20/2018 | [8 empty] | RH (final): 65.91%, 69.09%
| Dates Plating Done: 12/19/2018, 12/20/2018 | [8 empty] | Temp (final): 74.62 ºF, 72.46 ºF
Dates Plates Read: 12/20/2018, 12/21/2018
B.g. Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| GG1 | Test | Glass | 2 hours | 0.1 | 53 | 37 | 45 | 4500 | 3.6532 | 4500.25 | 3.6532 | 1.886 | 3.4824
| GG2 |  |  |  | 0.1 | 65 | 92 | 78.5 | 7850 | 3.8949
| GG3 |  |  |  | 0.1 | 59 | 54 | 56.5 | 5650 | 3.752
| GG4 |  |  |  | 0.1 | 0 | 0 | 0 | 1 | 0
| GG5 | Test | Glass | 4 hours | 0.1 | 8 | 4 | 6 | 600 | 2.7782 | 3000 | 3.4771 | 0.41049 | 3.6585
| GG6 |  |  |  | 0.1 | 38 | 28 | 33 | 3300 | 3.5185
| GG7 |  |  |  | 0.1 | 26 | 29 | 27.5 | 2750 | 3.4393
| GG8 |  |  |  | 0.1 | 58 | 49 | 53.5 | 5350 | 3.7284
| GG9 | Test | Glass | 8 hours | 0.1 | 27 | 26 | 26.5 | 2650 | 3.4232 | 2675 | 3.4273 | 0.036965 | 3.7083
| GG10 |  |  |  | 0.1 | 21 | 28 | 24.5 | 2450 | 3.3892
| GG11 |  |  |  | 0.1 | 24 | 28 | 26 | 2600 | 3.415
| GG12 |  |  |  | 0.1 | 27 | 33 | 30 | 3000 | 3.4771
| LG13 | Test | Laminate | 2 hours | 0.01 | 396 | 292 | 344 | 344000 | 5.5366 | 156975 | 5.1958 | 0.73164 | 1.5445
| LG14 |  |  |  | 0.1 | 188 | 172 | 180 | 18000 | 4.2553
| LG15 |  |  |  | 0.01 | 276 | 227 | 251.5 | 251500 | 5.4005
| LG16 |  |  |  | 0.1 | 164 | 124 | 144 | 14400 | 4.1584
| LG17 | Test | Laminate | 4 hours | 0.1 | 41 | 33 | 37 | 3700 | 3.5682 | 70075 | 4.8456 | 1.0731 | 1.8948
| LG18 |  |  |  | 0.01 | 192 | 176 | 184 | 184000 | 5.2648
| LG19 |  |  |  | 0.01 | 84 | 99 | 91.5 | 91500 | 4.9614
| LG20 |  |  |  | 0.1 | 12 | 10 | 11 | 1100 | 3.0414
| LG21 | Test | Laminate | 8 hours | 0.1 | 8 | 2 | 5 | 500 | 2.699 | 7775 | 3.8907 | 0.97286 | 2.8497
| LG22 |  |  |  | 0.1 | 4 | 1 | 2.5 | 250 | 2.3979
| LG23 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| LG24 |  |  |  | 0.1 | 4 | 3 | 3.5 | 350 | 2.5441
| GG55 | Positive Controls | Glass | 2 hours | 0.0001 | 161 | 203 | 182 | 18200000 | 7.2601 | 13666666.6667 | 7.1357 | 0.19651
| GG56 |  |  | 4 hours | 0.0001 | 144 | 158 | 151 | 15100000 | 7.179
| GG57 |  |  | 8 hours | 0.0001 | 65 | 89 | 77 | 7700000 | 6.8865
| LG58 |  | Laminate | 2 hours | 0.0001 | 25 | 19 | 22 | 2200000 | 6.3424 | 5500000 | 6.7404 | 0.29669
| LG59 |  |  | 4 hours | 0.0001 | 87 | 67 | 77 | 7700000 | 6.8865
| LG60 |  |  | 8 hours | 0.0001 | 66 | 66 | 66 | 6600000 | 6.8195
B.a. Ames Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| GA25 | Test | Glass | 2 hours | 0.01 | 66 | 67 | 66.5 | 66500 | 4.8228 | 18775 | 4.2736 | 0.99584 | 2.5547
| GA26 |  |  |  | 0.1 | 80 | 69 | 74.5 | 7450 | 3.8722
| GA27 |  |  |  | 0.1 | 8 | 4 | 6 | 600 | 2.7782
| GA28 |  |  |  | 0.1 | 8 | 3 | 5.5 | 550 | 2.7404
| GA29 | Test | Glass | 4 hours | 0.1 | 4 | 4 | 4 | 400 | 2.6021 | 1375 | 3.1383 | 0.49932 | 3.6899
| GA30 |  |  |  | 0.1 | 5 | 1 | 3 | 300 | 2.4771
| GA31 |  |  |  | 0.1 | 7 | 11 | 9 | 900 | 2.9542
| GA32 |  |  |  | 0.1 | 43 | 35 | 39 | 3900 | 3.5911
| GA33 | Test | Glass | 8 hours | 0.1 | 43 | 41 | 42 | 4200 | 3.6232 | 10550 | 4.0233 | 0.46952 | 2.805
| GA34 |  |  |  | 0.1 | 56 | 55 | 55.5 | 5550 | 3.7443
| GA35 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| GA36 |  |  |  | 0.1 | 28 | 21 | 24.5 | 2450 | 3.3892
| LA37 | Test | Laminate | 2 hours | 0.01 | 234 | 352 | 293 | 293000 | 5.4669 | 159350 | 5.2024 | 1.3566 | 1.327
| LA38 |  |  |  | 0.01 | 93 | 103 | 98 | 98000 | 4.9912
| LA39 |  |  |  | 0.01 | 220 | 272 | 246 | 246000 | 5.3909
| LA40 |  |  |  | 0.1 | 2 | 6 | 4 | 400 | 2.6021
| LA41 | Test | Laminate | 4 hours | 0.1 | 27 | 28 | 27.5 | 2750 | 3.4393 | 129925 | 5.1137 | 0.99942 | 1.4157
| LA42 |  |  |  | 0.01 | 306 | 205 | 255.5 | 255500 | 5.4074
| LA43 |  |  |  | 0.1 | 92 | 107 | 99.5 | 9950 | 3.9978
| LA44 |  |  |  | 0.01 | 241 | 262 | 251.5 | 251500 | 5.4005
| LA45 | Test | Laminate | 8 hours | 0.1 | 1 | 3 | 2 | 200 | 2.301 | 7734 | 3.8884 | 1.0718 | 2.6409
| LA46 |  |  |  | 0.1 | 1 | 11 | 6 | 600 | 2.7782
| LA47 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| LA48 |  |  |  | Filter | 136 | -- | 136 | 136 | 2.1335
| GA61 | Positive Controls | Glass | 2 hours | 0.0001 | 66 | 56 | 61 | 6100000 | 6.7853 | 6733333.3333 | 6.8282 | 0.043548
| GA62 |  |  | 4 hours | 0.0001 | 70 | 79 | 74.5 | 7450000 | 6.8722
| GA63 |  |  | 8 hours | 0.0001 | 59 | 74 | 66.5 | 6650000 | 6.8228
| LA64 |  | Laminate | 2 hours | 0.0001 | 34 | 51 | 42.5 | 4250000 | 6.6284 | 3383333.3333 | 6.5293 | 0.14422
| LA65 |  |  | 4 hours | 0.0001 | 22 | 23 | 22.5 | 2250000 | 6.3522
| LA66 |  |  | 8 hours | 0.0001 | 40 | 33 | 36.5 | 3650000 | 6.5623
Procedural Blanks
| Sample # | Time Point | Coupon Type | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| G-49 | 2 hours | Glass | 0.1 | 0 | 0 | 1 | 10 | 1 | 272.3333 | 2.2003 | 0.65054
| G-50 | 4 hours |  | 0.1 | 36 | 37 | 36.5 | 365 | 2.5623
| G-51 | 8 hours |  | 0.1 | 20 | 33 | 26.5 | 265 | 2.4232
| L-52 | 2 hours | Laminate | 0.1 | 45 | 35 | 40 | 84 | 1.9243
| L-53 | 4 hours |  | 0.1 | 28 | 84 | 56 | 560 | 2.7482
| L-54 | 8 hours |  | 0.1 | 29 | 41 | 35 | 350 | 2.5441