## Run 1
Date: __April 3, 2019_
Task Objective: Time course kinetics of aerosol (Sonotek) deposited spores of Bacillus Globigii to UV-C LED
Run Number: 1
Date Coupons Inoculated: 3/21/2019
| Coupon Type: Wood, Carpet and Laminate (2x4-cm); Glass (2x5-cm) | [8 empty] | UVC Intensity (initial): 0.25, 0.26
| Test Conditions: Ambient | [8 empty] | RH (initial): 37.92%, 33.66%
| Light Source: LED UVC | [8 empty] | Temp (Initial): 71.22 ºF, 70.53 ºF
Performers: VR, SH, MZ, LW
| Organism: Bacillus globigii | [8 empty] | UVC Intensity (final): 0.25, 0.24
| Dates Experiment Performed: 3/22/2019, 3/28/2019 | [8 empty] | RH (final): 31.04%, 30.54%
| Dates Plating Done: 3/22/2019, 3/25/2019, 3/26/2019, 3/28/2019, 4/2/2019 | [8 empty] | Temp (final): 75.32 ºF, 75.62 ºF
Dates Plates Read: 3/25/2019-3/27/2019, 4/1/2019, 4/3/2019
B.g. Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| C9 | Test | Carpet | 1 hour | 0.1 | 9 | 24 | 16.5 | 1650 | 3.2175 | 1975 | 3.2956 | 0.28137 | 2.9409
| C10 |  |  |  | 0.1 | 12 | 9 | 10.5 | 1050 | 3.0212
| C11 |  |  |  | 0.1 | 46 | 37 | 41.5 | 4150 | 3.618
| C12 |  |  |  | 0.1 | 13 | 8 | 10.5 | 1050 | 3.0212
| C1 | Test | Carpet | 2 hours | 0.1 | 52 | 43 | 47.5 | 4750 | 3.6767 | 3650 | 3.5623 | 0.10156 | 2.6742
| C2 |  |  |  | 0.1 | 26 | 37 | 31.5 | 3150 | 3.4983
| C3 |  |  |  | 0.1 | 46 | 32 | 39 | 3900 | 3.5911
| C4 |  |  |  | 0.1 | 33 | 23 | 28 | 2800 | 3.4472
| C5 | Test | Carpet | 4 hours | Filter | 161 | -- | 161 | 161 | 2.2068 | 184 | 2.2648 | 0.157 | 3.9717
| C6 |  |  |  | Filter | 110 | -- | 110 | 110 | 2.0414
| C7 |  |  |  | Filter | 215 | -- | 215 | 215 | 2.3324
| C8 |  |  |  | Filter | 250 | -- | 250 | 250 | 2.3979
| C13 | Test | Carpet | 6 hours | Filter | 500 | -- | 500 | 500 | 2.699 | 459.25 | 2.662 | 0.08567 | 3.5744
| C14 |  |  |  | Filter | 337 | -- | 337 | 337 | 2.5276
| C15 |  |  |  | Filter | 500 | -- | 500 | 500 | 2.699
| C16 |  |  |  | Filter | 500 | -- | 500 | 500 | 2.699
| G25 | Test | Glass | 1 hour | Filter | 123 | -- | 123 | 123 | 2.0899 | 120.25 | 2.0801 | 0.30254 | 4.3328
| G26 |  |  |  | Filter | 69 | -- | 69 | 69 | 1.8388
| G27 |  |  |  | Filter | 49 | -- | 49 | 49 | 1.6902
| G28 |  |  |  | Filter | 240 | -- | 240 | 240 | 2.3802
| G17 | Test | Glass | 2 hours | Filter | 14 | -- | 14 | 14 | 1.1461 | 28.75 | 1.4586 | 0.41359 | 4.9542
| G18 |  |  |  | Filter | 62 | -- | 62 | 62 | 1.7924
| G19 |  |  |  | Filter | 7 | -- | 7 | 7 | 0.8451
| G20 |  |  |  | Filter | 32 | -- | 32 | 32 | 1.5051
| G21 | Test | Glass | 4 hours | Filter | 3 | -- | 3 | 3 | 0.47712 | 22.75 | 1.357 | 0.81906 | 5.0559
| G22 |  |  |  | Filter | 66 | -- | 66 | 66 | 1.8195
| G23 |  |  |  | Filter | 21 | -- | 21 | 21 | 1.3222
| G24 |  |  |  | Filter | 1 | -- | 1 | 1 | 0
| G29 | Test | Glass | 6 hours | Filter | 234 | -- | 234 | 234 | 2.3692 | 244.5 | 2.3883 | 0.15027 | 4.0246
| G30 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| G31 |  |  |  | Filter | 144 | -- | 144 | 144 | 2.1584
| G32 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| L41 | Test | Laminate | 1 hours | Filter | 138 | -- | 138 | 138 | 2.1399 | 99 | 1.9956 | 0.26808 | 4.3135
| L42 |  |  |  | Filter | 47 | -- | 47 | 47 | 1.6721
| L43 |  |  |  | Filter | 156 | -- | 156 | 156 | 2.1931
| L44 |  |  |  | Filter | 55 | -- | 55 | 55 | 1.7404
| L33 | Test | Laminate | 2 hours | Filter | 31 | -- | 31 | 31 | 1.4914 | 32.25 | 1.5085 | 0.1758 | 4.8006
| L34 |  |  |  | Filter | 22 | -- | 22 | 22 | 1.3424
| L35 |  |  |  | Filter | 23 | -- | 23 | 23 | 1.3617
| L36 |  |  |  | Filter | 53 | -- | 53 | 53 | 1.7243
| L37 | Test | Laminate | 4 hours | Filter | 78 | -- | 78 | 78 | 1.8921 | 33 | 1.5185 | 0.42885 | 4.7906
| L38 |  |  |  | Filter | 33 | -- | 33 | 33 | 1.5185
| L39 |  |  |  | Filter | 9 | -- | 9 | 9 | 0.95424
| L40 |  |  |  | Filter | 12 | -- | 12 | 12 | 1.0792
| L45 | Test | Laminate | 6 hour | Filter | 300 | -- | 300 | 300 | 2.4771 | 229.5 | 2.3608 | 0.20198 | 3.9483
| L46 |  |  |  | Filter | 206 | -- | 206 | 206 | 2.3139
| L47 |  |  |  | Filter | 300 | -- | 300 | 300 | 2.4771
| L48 |  |  |  | Filter | 112 | -- | 112 | 112 | 2.0492
| W57 | Test | Wood | 1 hour | 0.1 | 8 | 8 | 8 | 800 | 2.9031 | 1212.5 | 3.0837 | 0.2874 | 2.2119
| W58 |  |  |  | 0.1 | 7 | 3 | 5 | 500 | 2.699
| W59 |  |  |  | 0.1 | 23 | 25 | 24 | 2400 | 3.3802
| W60 |  |  |  | 0.1 | 11 | 12 | 11.5 | 1150 | 3.0607
| W49 | Test | Wood | 2 hours | Filter | 356 | -- | 356 | 356 | 2.5514 | 514.25 | 2.7112 | 0.66255 | 2.5844
| W50 |  |  |  | 0.1 | 16 | 15 | 15.5 | 1550 | 3.1903
| W51 |  |  |  | Filter | 104 | -- | 104 | 104 | 2.017
| W52 |  |  |  | Filter | 47 | -- | 47 | 47 | 1.6721
| W53 | Test | Wood | 4 hours | Filter | 184 | -- | 184 | 184 | 2.2648 | 84.75 | 1.9281 | 0.53646 | 3.3674
| W54 |  |  |  | Filter | 58 | -- | 58 | 58 | 1.7634
| W55 |  |  |  | Filter | 87 | -- | 87 | 87 | 1.9395
| W56 |  |  |  | Filter | 10 | -- | 10 | 10 | 1
| W61 | Test | Wood | 6 hours | Filter | 126 | -- | 126 | 126 | 2.1004 | 125.5 | 2.0986 | 0.095429 | 3.1969
| W62 |  |  |  | Filter | 139 | -- | 139 | 139 | 2.143
| W63 |  |  |  | Filter | 147 | -- | 147 | 147 | 2.1673
| W64 |  |  |  | Filter | 90 | -- | 90 | 90 | 1.9542
| C65 | Positive Control | Carpet | 2 hours | 0.0001 | 28 | 30 | 29 | 2900000 | 6.4624 | 1723750 | 6.2365 | 0.3092
| C66 |  |  | 4 hours | 0.0001 | 12 | 11 | 11.5 | 1150000 | 6.0607
| C67 |  |  | 1 hour | 0.0001 | 21 | 24 | 22.5 | 2250000 | 6.3522
| C68 |  |  | 6 hours | 0.001 | 59 | 60 | 59.5 | 595000 | 5.7745
| G73 |  | Glass | 2 hours | 0.0001 | 23 | 14 | 18.5 | 1850000 | 6.2672 | 2587500 | 6.4129 | 0.13891
| G74 |  |  | 4 hours | 0.0001 | 49 | 25 | 37 | 3700000 | 6.5682
| G75 |  |  | 1 hour | 0.0001 | 20 | 20 | 20 | 2000000 | 6.301
| G76 |  |  | 6 hours | 0.0001 | 21 | 35 | 28 | 2800000 | 6.4472
| L81 |  | Laminate | 2 hours | 0.0001 | 14 | 14 | 14 | 1400000 | 6.1461 | 2037500 | 6.3091 | 0.19046
| L82 |  |  | 4 hours | 0.0001 | 39 | 33 | 36 | 3600000 | 6.5563
| L83 |  |  | 1 hour | 0.0001 | 15 | 18 | 16.5 | 1650000 | 6.2175
| L84 |  |  | 6 hours | 0.0001 | 13 | 17 | 15 | 1500000 | 6.1761
| W89 |  | Wood | 2 hours | 0.001 | 14 | 22 | 18 | 180000 | 5.2553 | 197500 | 5.2956 | 0.069714
| W90 |  |  | 4 hours | 0.001 | 16 | 18 | 17 | 170000 | 5.2304
| W91 |  |  | 1 hour | 0.001 | 22 | 27 | 24.5 | 245000 | 5.3892
| W92 |  |  | 6 hours | 0.001 | 20 | 19 | 19.5 | 195000 | 5.29
Procedural Blanks
| Sample # | Time Point | Coupon Type | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| C69 | 2 hours | Carpet | Filter | 1 | -- | 1 | 1 | 0 | 5 | 0.69897 | 0.48517
| C70 | 4 hours
| C71 | 1 hour
| C72 | 6 hours
| G77 | 2 hours | Glass | Filter | 3 | -- | 3 | 3 | 0.47712
| G78 | 4 hours
| G79 | 1 hour
| G80 | 6 hours
| L85 | 2 hours | Laminate | Filter | 2 | -- | 2 | 2 | 0.30103
| L86 | 4 hours
| L87 | 1 hour
| L88 | 6 hours
| W93 | 2 hours | Wood | Filter | 14 | -- | 14 | 14 | 1.1461
| W94 | 4 hours
| W95 | 1 hour
| W96 | 6 hours

## Run 2
Date: __April 17, 2019_
Task Objective: Time course kinetics of aerosol (Sonotek) deposited spores of Bacillus Globigii to UV-C LED
Run Number: 2
Date Coupons Inoculated: 4/9/2019
| Coupon Type: Wood, Carpet and Laminate (2x4-cm); Glass (2x5-cm) | [8 empty] | UVC Intensity (initial): Reading not taken to preserve humidity.
| Test Conditions: High Humidity (70-75%) | [8 empty] | RH (initial): 63.54%, 69.87%
| Light Source: LED UVC | [8 empty] | Temp (Initial): 69.99 ºF, 68.91 ºF
Performers: VR, SH, MZ, LW
| Organism: Bacillus globigii | [8 empty] | UVC Intensity (final): 0.24, 0.25
| Dates Experiment Performed: 4/11/2019, 4/15/2019 | [8 empty] | RH (final): 71.36%, 76.20%
| Dates Plating Done: 4/11/2019, 4/15/2019, 4/16/2019 | [8 empty] | Temp (final): 75.16 ºF, 72.61 ºF
Dates Plates Read: 4/12/2019, 4/16/2019, 4/17/2019
B.g. Coupons
| Sample # | Description | Coupon Type | Time Point | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD | Average Log Red.
| C9 | Test | Carpet | 1 hour | 0.01 | 208 | 169 | 188.5 | 188500 | 5.2753 | 127437.5 | 5.1053 | 0.78853 | 1.1979
| C10 |  |  |  | 0.01 | 55 | 59 | 57 | 57000 | 4.7559
| C11 |  |  |  | 0.1 | 53 | 42 | 47.5 | 4750 | 3.6767
| C12 |  |  |  | 0.01 | 252 | 267 | 259.5 | 259500 | 5.4141
| C1 | Test | Carpet | 2 hours | 0.1 | 11 | 10 | 10.5 | 1050 | 3.0212 | 49000 | 4.6902 | 1.026 | 1.613
| C2 |  |  |  | 0.01 | 124 | 149 | 136.5 | 136500 | 5.1351
| C3 |  |  |  | 0.01 | 56 | 56 | 56 | 56000 | 4.7482
| C4 |  |  |  | 0.1 | 19 | 30 | 24.5 | 2450 | 3.3892
| C5 | Test | Carpet | 4 hours | 0.1 | 87 | 102 | 94.5 | 9450 | 3.9754 | 10415.75 | 4.0177 | 0.86043 | 2.2855
| C6 |  |  |  | 0.1 | 146 | 152 | 149 | 14900 | 4.1732
| C7 |  |  |  | Filter | 263 | -- | 263 | 263 | 2.42
| C8 |  |  |  | 0.1 | 184 | 157 | 170.5 | 17050 | 4.2317
| C13 | Test | Carpet | 6 hours | 0.1 | 300 | 300 | 300 | 30000 | 4.4771 | 16625 | 4.2208 | 0.56855 | 2.0824
| C14 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| C15 |  |  |  | 0.1 | 27 | 24 | 25.5 | 2550 | 3.4065
| C16 |  |  |  | 0.1 | 32 | 47 | 39.5 | 3950 | 3.5966
| G25 | Test | Glass | 1 hour | 0.1 | 22 | 36 | 29 | 2900 | 3.4624 | 15700 | 4.1959 | 0.79983 | 2.6034
| G26 |  |  |  | 0.1 | 9 | 12 | 10.5 | 1050 | 3.0212
| G27 |  |  |  | 0.01 | 60 | 55 | 57.5 | 57500 | 4.7597
| G28 |  |  |  | 0.1 | 14 | 13 | 13.5 | 1350 | 3.1303
| G17 | Test | Glass | 2 hours | 0.1 | 300 | 300 | 300 | 30000 | 4.4771 | 16655 | 4.2215 | 0.92965 | 2.5778
| G18 |  |  |  | Filter | 320 | -- | 320 | 320 | 2.5051
| G19 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| G20 |  |  |  | 0.1 | 81 | 45 | 63 | 6300 | 3.7993
| G21 | Test | Glass | 4 hours | 0.1 | 93 | 90 | 91.5 | 9150 | 3.9614 | 2984.75 | 3.4749 | 0.62568 | 3.3244
| G22 |  |  |  | 0.1 | 14 | 18 | 16 | 1600 | 3.2041
| G23 |  |  |  | 0.1 | 10 | 8 | 9 | 900 | 2.9542
| G24 |  |  |  | Filter | 289 | -- | 289 | 289 | 2.4609
| G29 | Test | Glass | 6 hours | 0.1 | 112 | 266 | 189 | 18900 | 4.2765 | 6425 | 3.8079 | 0.63712 | 2.9915
| G30 |  |  |  | 0.1 | 17 | 12 | 14.5 | 1450 | 3.1614
| G31 |  |  |  | 0.1 | 45 | 49 | 47 | 4700 | 3.6721
| G32 |  |  |  | 0.1 | 5 | 8 | 6.5 | 650 | 2.8129
| L41 | Test | Laminate | 1 hours | 0.1 | 17 | 20 | 18.5 | 1850 | 3.2672 | 15212.5 | 4.1822 | 0.84655 | 3.0624
| L42 |  |  |  | 0.01 | 64 | 50 | 57 | 57000 | 4.7559
| L43 |  |  |  | 0.1 | 6 | 11 | 8.5 | 850 | 2.9294
| L44 |  |  |  | 0.1 | 10 | 13 | 11.5 | 1150 | 3.0607
| L33 | Test | Laminate | 2 hours | 0.1 | 47 | 67 | 57 | 5700 | 3.7559 | 12003.75 | 4.0793 | 0.93417 | 3.1653
| L34 |  |  |  | Filter | 215 | -- | 215 | 215 | 2.3324
| L35 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| L36 |  |  |  | 0.1 | 117 | 125 | 121 | 12100 | 4.0828
| L37 | Test | Laminate | 4 hours | 0.1 | 76 | 86 | 81 | 8100 | 3.9085 | 11562.5 | 4.0631 | 0.4552 | 3.1815
| L38 |  |  |  | 0.1 | 38 | 77 | 57.5 | 5750 | 3.7597
| L39 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| L40 |  |  |  | 0.1 | 26 | 22 | 24 | 2400 | 3.3802
| L45 | Test | Laminate | 6 hour | 0.1 | 45 | 34 | 39.5 | 3950 | 3.5966 | 15300 | 4.1847 | 0.5487 | 3.0599
| L46 |  |  |  | 0.1 | 275 | 220 | 247.5 | 24750 | 4.3936
| L47 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| L48 |  |  |  | 0.1 | 29 | 21 | 25 | 2500 | 3.3979
| W57 | Test | Wood | 1 hour | 0.01 | 49 | 42 | 45.5 | 45500 | 4.658 | 89000 | 4.9494 | 0.85607 | 1.1206
| W58 |  |  |  | 0.1 | 54 | 74 | 64 | 6400 | 3.8062
| W59 |  |  |  | 0.1 | 49 | 33 | 41 | 4100 | 3.6128
| W60 |  |  |  | 0.01 | 300 | 300 | 300 | 300000 | 5.4771
| W49 | Test | Wood | 2 hours | 0.1 | 25 | 30 | 27.5 | 2750 | 3.4393 | 10412.5 | 4.0176 | 0.50939 | 2.0525
| W50 |  |  |  | 0.1 | 24 | 22 | 23 | 2300 | 3.3617
| W51 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| W52 |  |  |  | 0.1 | 70 | 62 | 66 | 6600 | 3.8195
| W53 | Test | Wood | 4 hours | 0.1 | 39 | 67 | 53 | 5300 | 3.7243 | 15975 | 4.2034 | 0.31218 | 1.8666
| W54 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| W55 |  |  |  | 0.1 | 165 | 158 | 161.5 | 16150 | 4.2082
| W56 |  |  |  | 0.1 | 21 | 228 | 124.5 | 12450 | 4.0952
| W61 | Test | Wood | 6 hours | 0.1 | 300 | 300 | 300 | 30000 | 4.4771 | 22137.5 | 4.3451 | 0.46479 | 1.7249
| W62 |  |  |  | 0.1 | 215 | 289 | 252 | 25200 | 4.4014
| W63 |  |  |  | 0.1 | 31 | 36 | 33.5 | 3350 | 3.525
| W64 |  |  |  | 0.1 | 300 | 300 | 300 | 30000 | 4.4771
| C65 | Positive Control | Carpet | 2 hours | 0.001 | 205 | 178 | 191.5 | 1915000 | 6.2822 | 2010000 | 6.3032 | 0.21204
| C66 |  |  | 4 hours | 0.001 | 76 | 109 | 92.5 | 925000 | 5.9661
| C67 |  |  | 1 hour | 0.0001 | 30 | 20 | 25 | 2500000 | 6.3979
| C68 |  |  | 6 hours | 0.0001 | 29 | 25 | 27 | 2700000 | 6.4314
| G73 |  | Glass | 2 hours | 0.0001 | 40 | 38 | 39 | 3900000 | 6.5911 | 6300000 | 6.7993 | 0.17875
| G74 |  |  | 4 hours | 0.0001 | 129 | 79 | 104 | 10400000 | 7.017
| G75 |  |  | 1 hour | 0.0001 | 60 | 45 | 52.5 | 5250000 | 6.7202
| G76 |  |  | 6 hours | 0.0001 | 58 | 55 | 56.5 | 5650000 | 6.752
| L81 |  | Laminate | 2 hours | 0.0001 | 234 | 218 | 226 | 22600000 | 7.3541 | 17562500 | 7.2446 | 0.48794
| L82 |  |  | 4 hours | 0.0001 | 172 | 226 | 199 | 19900000 | 7.2989
| L83 |  |  | 1 hour | 0.0001 | 20 | 28 | 24 | 2400000 | 6.3802
| L84 |  |  | 6 hours | 0.0001 | 280 | 227 | 253.5 | 25350000 | 7.404
| W89 |  | Wood | 2 hours | 0.001 | 41 | 47 | 44 | 440000 | 5.6435 | 1175000 | 6.07 | 0.30502
| W90 |  |  | 4 hours | 0.001 | 82 | 69 | 75.5 | 755000 | 5.8779
| W91 |  |  | 1 hour | 0.001 | 128 | 113 | 120.5 | 1205000 | 6.081
| W92 |  |  | 6 hours | 0.0001 | 21 | 25 | 23 | 2300000 | 6.3617
Procedural Blanks
| Sample # | Time Point | Coupon Type | Dilution | Plate 1 | Plate 2 | Average | CFU/panel | Log | Average CFU | Average Log | SD
| C69 | 2 hours | Carpet | Filter | 39 | -- | 39 | 39 | 1.5911 | 57 | 1.7559 | 0.14628
| C70 | 4 hours
| C71 | 1 hour
| C72 | 6 hours
| G77 | 2 hours | Glass | Filter | 52 | -- | 52 | 52 | 1.716
| G78 | 4 hours
| G79 | 1 hour
| G80 | 6 hours
| L85 | 2 hours | Laminate | Filter | 50 | -- | 50 | 50 | 1.699
| L86 | 4 hours
| L87 | 1 hour
| L88 | 6 hours
| W93 | 2 hours | Wood | Filter | 87 | -- | 87 | 87 | 1.9395
| W94 | 4 hours
| W95 | 1 hour
| W96 | 6 hours