Topic: Energy-related investment decisions for Data Centers.

Focus Group Questionnaire

First name:  Patrick

- Which of the following do you do in your position?

  - Participate in decisions about purchasing equipment for your data center (e.g., servers, software, racks, lighting, cooling equipment)?	X  Yes		  No

  - Participate in decisions about servicing or maintaining equipment for your data center?

    - Yes		X  No

- Do you rent space in someone else’s data center?                Yes		X  No

- If yes, what percentage of your data center needs are met by renting space from others?  ___________________%

- How many data centers, server rooms, and server closets does your company own or operate?

5 sites, approximately 2 million square feet.

Scottsdale, Phoenix, New Jersey, Ohio, Singapore and London* (*in construction)

- [If more than one data center] For how many data centers are you involved in major equipment purchase and maintenance decisions?

5

- The majority of the data centers you help manage are: (please circle)

Server closets or rooms (less than 500 square feet)

Localized data centers (500 – 5,000 square feet)

Enterprise data centers (> 5,000 square feet)

Mega or utility-scale data centers (>10,000 square feet)

- What is the average number of racks in your typical data center?

Hundreds to thousands

- What percentage of your racks are outsourced to others?  100%

- Which sectors does your data center support? (Name top three)

IT services

Energy and utilities

Media and telecommunications

Banking and financial services

Health care

Education

Co-location/shared

Other: ______________________________________

- When did you last pursue a major equipment purchase/upgrade for your data center?

- Within the last 3 years

- 3-5 years ago

- More than 5 years ago

- Do you actively participate in the EnergySTAR Buildings, Green Grid, or another third-party energy-efficiency program?

X Yes		  No

- Have you had an energy audit performed by a third party within the last three years?

X  Yes		  NO

- What type of data centers does your company operate?

  - Server rooms or closets

  - Enterprise/corporate data centers

  - Cloud/hyperscale computing

  - High-performance/scientific computing

  - Multi-tenant/colocation data centers

- How many servers are there in your organization as a whole?

( < 2000

( 2000 – 10,000

( 10,000 – 50,000

X > 50,000

- How often do you replace servers in your data centers?

3-7 years

- How often do you make major infrastructure upgrades to your data centers?

Constantly

- Do you track energy use on a regular basis?

Yes

- What is the typical annual electricity consumption (kwh) of one of your data centers?

Wide range – from millions to hundreds of millions of kWh

- Do you track power usage effectiveness (PUE) or any other energy efficiency measures?  If so, what is the average PUE of your data centers?

Yes.  Annualized average across all sites:

| Site | 2013 Annualized PUE |
| --- | --- |
| Global | 1.58 |
| Global 2.0 | 1.43 |
| AZP | 1.60 |
| AZP 1.0 | 1.62 |
| AZP 2.0 | 1.44 |
| AZS | 1.65 |
| NJE | 1.38 |
| OHS | 2.04 |

- Do you track server utilization? ________________Is so, what is the average server utilization rate of your data centers? _______________

We track power utilization.  Approximately 10-20%.

- Do you lease or outsource any of the following elements of your data centers?

Yes		No		Sometimes

Lease space				(  		X		(

Lease servers		 		(  		X		(

Facility management			(		X  		(

Maintenance & repairs		(  		(  		X

Other, specify:_________________	(  		(  		(

- If you lease DC space to or from another company, does the tenant or facility owner typically pay for electricity costs? __________________________________________________________

- Has your company considered or used any of the following technologies and energy saving strategies: (check all that apply)

|  | Has used | Never used | Don’t know |
| --- | --- | --- | --- |
|  | would use again | would not use again | would consider in the future | would not consider |  |
| Facility Management |  |  |  |  |  |
| Isolating hot/cold aisles | X | ( | ( | ( | ( |
| Blanking panels | X | ( | ( | ( | ( |
| Enclose server racks (e.g., strip curtains) | X | ( | ( | ( | ( |
| Data center infrastructure management (DCIM) software | X | ( | ( | ( | ( |
| Raising temperature set points | X | ( | ( | ( | ( |
| List typical facility temperature: 73 cold aisle |  |  |  |  |  |
| Variable speed fan drives | X | ( | ( | ( | ( |
| Energy-efficient air handling units | X | ( | ( | ( | ( |
| Modular facility design for data center expansion | X | ( | ( | ( | ( |
| Air-side economizer | X | ( | ( | ( | ( |
| Water-side economizer | X | ( | ( | ( | ( |
| Energy-efficiency lighting | X | ( | ( | ( | ( |
| Predictive modeling of future IT deployments | X | ( | ( | ( | ( |
| Other, specify: ____________________ | ( | ( | ( | ( | ( |
| Servers |  |  |  |  |  |
| Energy-efficient server hardware (e.g., power supply, fans, etc.) | X | ( | ( | ( | ( |
| Underclocking | X | ( | ( | ( | ( |
| Virtualization | X | ( | ( | ( | ( |
| Decommission idle servers | X | ( | ( | ( | ( |
| Consolidate lightly used servers | X | ( | ( | ( | ( |
| Improve data storage efficiency | X | ( | ( | ( | ( |
| IT power management software | X | ( | ( | ( | ( |
| Other, specify: ____________________ | ( | ( | ( | ( | ( |
| [Multi-tenant DCs] Adjust pricing models to incentivize energy efficiency |  |  |  |  |  |
| Space-based pricing | X | ( | ( | ( | ( |
| Space and power block pricing (differentiate power and energy) | X | ( | ( | ( | ( |
| Space and actual power pricing (differentiate power and energy) | X | ( | ( | ( | ( |
| Other, specify: ____________________ | ( | ( | ( | ( | ( |

# Comments

Heather asked this question verbally during phone interview on 11/5