Focus Group Questionnaire

First name: Ralph

- What type of data centers does your company operate?

(  Server rooms or closets

X  Enterprise/corporate data centers

(  Cloud/hyperscale computing

(  High-performance/scientific computing

(  Multi-tenant/colocation data centers

- How many servers are there in your organization as a whole?   > 2000

- How often do you replace servers in your data centers? ___Varies_______________________

- How often do you make major infrastructure upgrades to your data centers?_As needed_(~5yrs)

- Do you track energy use on a regular basis?  _________Yes_________

  - What is the typical annual electricity consumption (kwh) of one of your data centers? _____12,500,000 kWh________________

- Do you track power usage effectiveness (PUE) or any other energy efficiency measures?

- If so, what is the average PUE of your data centers? ___________1.62_______________

- Do you track server utilization?

a. Is so, what is the average server utilization rate of your data centers? _______________

- Do you lease or outsource any of the following elements of your data centers?

Yes		No		Sometimes

- Lease space				(  		X  		(

- Lease servers		 		(  		X 		(

- Facility management			X  		(  		(

- Maintenance & repairs		(  		(  		X

- Other, specify:_________________	(  		(  		(

- If you lease DC space to or from another company, does the tenant or facility owner typically pay for electricity costs? __________________________________________________________

- Has your company considered or used any of the following technologies and energy saving strategies: (check all that apply)

|  | Has used | Never used | Don’t know |
| --- | --- | --- | --- |
|  | would use again | would not use again | would consider in the future | would not consider |  |
| Facility Management |  |  |  |  |  |
| Isolating hot/cold aisles | ( | ( | X | ( | ( |
| Blanking panels | X | ( | ( | ( | ( |
| Enclose server racks (e.g., strip curtains) | ( | ( | ( | X | ( |
| Data center infrastructure management (DCIM) software | ( | ( | ( | ( | ( |
| Raising temperature set points | ( | ( | ( | X | ( |
| List typical facility temperature: ____72_______ |  |  |  |  |  |
| Variable speed fan drives | X | ( | ( | ( | ( |
| Energy-efficient air handling units | X | ( | ( | ( | ( |
| Modular facility design for data center expansion | ( | ( | X | ( | ( |
| Air-side economizer | X | ( | ( | ( | ( |
| Water-side economizer | X | ( | ( | ( | ( |
| Energy-efficiency lighting | X | ( | ( | ( | ( |
| Predictive modeling of future IT deployments | X | ( | ( | ( | ( |
| Other, specify: ____________________ | ( | ( | ( | ( | ( |
| Servers |  |  |  |  |  |
| Energy-efficient server hardware (e.g., power supply, fans, etc.) | X | ( | ( | ( | ( |
| Underclocking | ( | ( | ( | ( | X |
| Virtualization | X | ( | ( | ( | ( |
| Decommission idle servers | X | ( | ( | ( | ( |
| Consolidate lightly used servers | ( | ( | ( | ( | X |
| Improve data storage efficiency | X | ( | ( | ( | ( |
| IT power management software | X | ( | ( | ( | ( |
| Other, specify: ____________________ | ( | ( | ( | ( | ( |
| [Multi-tenant DCs] Adjust pricing models to incentivize energy efficiency |  |  |  |  |  |
| Space-based pricing | ( | ( | ( | ( | ( |
| Space and power block pricing (differentiate power and energy) | ( | ( | ( | ( | ( |
| Space and actual power pricing (differentiate power and energy) | ( | ( | ( | ( | ( |
| Other, specify: ____________________ | ( | ( | ( | ( | ( |