## Index
Index
Sheet 2 | Positive LC-MS data for available Stds and metabolites
Sheet 3 | Negative LC-MS data for metabolites
Sheet 4 | Data Analysis with ESI_Low mass Calibration check and without reference mass at 135F/200F (fragmentation voltages)
Sheet 5 | Data Analysis with ESI_Low mass Calibration check and with reference mass at 135F/200F (fragmentation voltages)
Sheet 6 | GC-EI-MS data analyses for CPK and metabolites
Sheet 7 | GC-EI-MS data analyses for derivatized metabolites with BSTFA
Sheet 8 | Correlation of GC-MS and LC-MS data for group substitution assignment
Sheet 9 | General peal mass information for parent chemicals and metabolites
The file focus is on the analisis and identification of CPK metabolites)
Legend for CPK Metabolite labeling through experiments
•M1=M1 (ene-)
•MX=M2 (ene-)
•E1=M3 (3-diketo)=P1
•E2=M4 (2-diketo)=P4
•M3A=M5 (4-diketo)=P2
•M2=M6 (2-hydroxy)=P5
•M3B=M7 (4-hydroxy)=P6
•M4=M8 (3-hydroxy)=P3
•M5=M9 (1-hydroxy)=P7

## POS
|  |  |  | mass of electron | 0.000549
|  | Mass | Mass | [M+H]+ | Mass | Compound | Description | ESI/F | C | H | D | N | O | P | S | Cl | Na | K | DBE | Fragments
Sequence | Analysis | Error | Measured | Calculated | Calculated |  |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 34.9689 | 22.9898 | 38.9637
2011-11-08 | 04 DN-II-179-2 | 35.1831 | 221.125 | 221.1172 | 220.1099 | o,p-OH-CPK |  | 4000/135 | C: 13; H: 16; O: 3; DBE: 6
| standard | 35.6353 | 221.1251 | 221.1172 | 220.1099 | o,p-OH-CPK |  | 4000/150 | C: 13; H: 16; O: 3; DBE: 6
tR | 17.17 | 29.7561 | 221.1238 | 221.1172 | 220.1099 | o,p-OH-CPK |  | 4000/175 | C: 13; H: 16; O: 3; DBE: 6
|  | 31.5651 | 221.1242 | 221.1172 | 220.1099 | o,p-OH-CPK |  | 4000/250 | C: 13; H: 16; O: 3; DBE: 6 | 203.1062 139.0382, 123.0430
| fragments | 21.7918 | 139.042 | 139.039 | 138.0317 |  |  |  | C: 7; H: 6; O: 3; DBE: 5
|  | 21.8815 | 203.1111 | 203.1067 | 203.1072 |  |  |  | C: 13; H: 15; O: 2; DBE: 6.5
2011-11-08 | 5 DN-II-179-2 | 40.1956 | 183.0878 | 183.0804 | 182.0732 | DMPK = DPK | diphenylketone | 4000/135 | C: 13; H: 10; O: 1; DBE: 9
| standard | 39.6494 | 183.0877 | 183.0804 | 182.0732 | DMPK = DPK |  | 4000/150 | C: 13; H: 10; O: 1; DBE: 9
tR | 17.809 | 16.1624 | 183.0834 | 183.0804 | 182.0732 | DMPK = DPK |  | 4000/175 | C: 13; H: 10; O: 1; DBE: 9
|  | -1.3162 | 183.0802 | 183.0804 | 182.0732 | DMPK = DPK |  | 4000/250 | C: 13; H: 10; O: 1; DBE: 9 | 105.0395
| fragment | 12.4648 | 105.0348 | 105.0335 | 105.034 |  |  | 4000/135 | C: 7; H: 5; O: 1; DBE: 5.5
|  | 18.1772 | 105.0354 | 105.0335 | 105.034 |  |  | 4000/150 | C: 7; H: 5; O: 1; DBE: 5.5
|  | 30.5542 | 105.0367 | 105.0335 | 105.034 |  |  | 4000/175 | C: 7; H: 5; O: 1; DBE: 5.5
|  | 62.9249 | 105.0401 | 105.0335 | 105.034 |  |  | 4000/250 | C: 7; H: 5; O: 1; DBE: 5.5
2011-11-09 | 04 DN-II-179-7 | 22.254 | 189.1316 | 189.1274 | 188.1201 | CPK | cyclohexyl phenyl ketone | 4000/135 | C: 13; H: 16; O: 1; DBE: 6
| standard | 21.7252 | 189.1315 | 189.1274 | 188.1201 | CPK | cyclohexyl phenyl ketone | 4000/150 | C: 13; H: 16; O: 1; DBE: 6
tR | 14.35 | 18.024 | 189.1308 | 189.1274 | 188.1201 | CPK | cyclohexyl phenyl ketone | 4000/175 | C: 13; H: 16; O: 1; DBE: 6
|  | 12.2078 | 189.1297 | 189.1274 | 188.1201 | CPK | cyclohexyl phenyl ketone | 4000/250 | C: 13; H: 16; O: 1; DBE: 6 | 91.0561, 107.0511, 171.1194
| fragments | 26.0699 | 91.0566 | 91.0542 | 91.0548 | tropylium |  | 4000/150 | C: 7; H: 7; DBE: 4.5
|  | 10.6945 | 91.0552 | 91.0542 | 91.0548 | tropylium |  | 4000/175 | C: 7; H: 7
|  | 20.5787 | 91.0561 | 91.0542 | 91.0548 | tropylium |  | 4000/250 | C: 7; H: 7
|  | Mass | Mass | Mass | Mass | Compound | Description | ESI/F
2011-11-09 | 09 DN-II-179-7 | Error | Measured | Calculated | Calculated |  |  | ESI/F
| P3 | 7.7969 | 187.1132 | 187.1117 | 186.1045 | P3 |  | 4000/135 | C: 13; H: 14; O: 1
|  | 17.9513 | 187.1151 | 187.1117 | 186.1045 | P3 |  | 4000/150 | C: 13; H: 14; O: 1
|  | 5.1247 | 187.1127 | 187.1117 | 186.1045 | P3 |  | 4000/175 | C: 13; H: 14; O: 1
|  | 17.9513 | 187.1151 | 187.1117 | 186.1045 | P3 |  | 4000/250 | C: 13; H: 14; O: 1
|  | 5.4617 | 169.1021 | 169.1012 | 169.1017 | P3 fragments |  | 4000/135 | C: 13; H: 13; DBE: 7.5
|  | 14.3321 | 169.1036 | 169.1012 | 169.1017 | P3 fragments |  | 4000/150 | C: 13; H: 13
|  | 0.13946 | 169.1012 | 169.1012 | 169.1017 | P3 fragments |  | 4000/175 | C: 13; H: 13
|  | #VALUE! | 169.1044 | #VALUE! | #VALUE! | P3 fragments |  | 4000/250 | C: 13; H: 13; Na: •M1=M1 (ene-)
|  | #VALUE! | 141.0708 | #VALUE! | #VALUE! | P3 fragments |  | 4000/135 | C: 11; H: 9; Na: •MX=M2 (ene-)
|  | #VALUE! | 141.0721 | #VALUE! | #VALUE! | P3 fragments |  | 4000/150 | C: 11; H: 9; Na: •E1=M3 (3-diketo)=P1
|  | #VALUE! | 141.0692 | #VALUE! | #VALUE! | P3 fragments |  | 4000/175 | C: 11; H: 9; Na: •E2=M4 (2-diketo)=P4
|  | #VALUE! | 141.0733 | #VALUE! | #VALUE! | P3 fragments |  | 4000/250 | C: 11; H: 9; Na: •M3A=M5 (4-diketo)=P2
|  | #VALUE! | 105.0371 | #VALUE! | #VALUE! | P3 fragments |  | 4000/250 | C: 7; H: 5; O: 1; Na: •M2=M6 (2-hydroxy)=P5
|  | #VALUE! | 105.0361 | #VALUE! | #VALUE! | P3 fragments |  | 4000/150 | C: 7; H: 5; O: 1; Na: •M3B=M7 (4-hydroxy)=P6
|  | #VALUE! | 105.0361 | #VALUE! | #VALUE! | P3 fragments |  | 4000/175 | C: 7; H: 5; O: 1; Na: •M4=M8 (3-hydroxy)=P3
|  | #VALUE! | 105.039 | #VALUE! | #VALUE! | P3 fragments |  | 4000/250 | C: 7; H: 5; O: 1; Na: •M5=M9 (1-hydroxy)=P7
|  | 8.498 | 91.055 | 91.0542 | 91.0548 | tropylium |  | 4000/135 | C: 7; H: 7
|  | 19.4804 | 91.056 | 91.0542 | 91.0548 | tropylium |  | 4000/150 | C: 7; H: 7
|  | -2.4845 | 91.054 | 91.0542 | 91.0548 | tropylium |  | 4000/175 | C: 7; H: 7
|  | 26.0699 | 91.0566 | 91.0542 | 91.0548 | tropylium |  | 4000/250 | C: 7; H: 7
|  | -107.8024 | 205.124 | 205.1461 | 204.1388 | P3 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1; DBE: 5.5
|  | -99.0281 | 205.1258 | 205.1461 | 204.1388 | P3 NH4 adduct |  | 4000/150 | C: 13; H: 18; N: 1; O: 1; DBE: 5.5
|  | -113.1644 | 205.1229 | 205.1461 | 204.1388 | P3 NH4 adduct |  | 4000/175 | C: 13; H: 18; N: 1; O: 1; DBE: 5.5
|  | 8.2595 | 205.124 | 205.1223 | 204.115 | P3 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
|  | 17.0348 | 205.1258 | 205.1223 | 204.115 | P3 +H2O |  | 4000/150 | C: 13; H: 16; O: 2
|  | 2.8969 | 205.1229 | 205.1223 | 204.115 | P3 +H2O |  | 4000/175 | C: 13; H: 16; O: 2
| P5 | -19.2393 | 187.1132 | 187.1168 | 186.1045 | P5 | P6 | 4000/135 | C: 13; H: 14; O: 1
|  | -17.6359 | 187.1151 | 187.1184 | 186.1045 | P5 |  | 4000/150 | C: 13; H: 14; O: 1
|  | -38.478 | 187.1127 | 187.1199 | 186.1045 | P5 |  | 4000/175 | C: 13; H: 14; O: 1
|  | 1.6033 | 187.1151 | 187.1148 | 186.1045 | P5 |  | 4000/250 | C: 13; H: 14; O: 1
|  | 36.2667 | 105.0373 | 105.0335 | 105.034 | P5 fragments |  | 4000/250 | C: 7; H: 5; O: 1
|  | 37.2188 | 105.0374 | 105.0335 | 105.034 | P5 fragments |  | 4000/150 | C: 7; H: 5; O: 1
|  | 63.8769 | 105.0402 | 105.0335 | 105.034 | P5 fragments |  | 4000/175 | C: 7; H: 5; O: 1
|  | 100.0559 | 105.044 | 105.0335 | 105.034 | P5 fragments |  | 4000/250 | C: 7; H: 5; O: 1
|  | -42.4831 | 205.1374 | 205.1461 | 204.1388 | P5 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1
|  | -80.5048 | 205.1296 | 205.1461 | 204.1388 | P5 NH4 adduct |  | 4000/150 | C: 13; H: 18; N: 1; O: 1
|  | -102.9278 | 205.125 | 205.1461 | 204.1388 | P5 NH4 adduct |  | 4000/175 | C: 13; H: 18; N: 1; O: 1
|  | 73.5864 | 205.1374 | 205.1223 | 204.115 | P5 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
|  | 35.5603 | 205.1296 | 205.1223 | 204.115 | P5 +H2O |  | 4000/150 | C: 13; H: 16; O: 2
|  | 13.1347 | 205.125 | 205.1223 | 204.115 | P5 +H2O |  | 4000/175 | C: 13; H: 16; O: 2
| P6 | -17.1016 | 187.1136 | 187.1168 | 186.1045 | P6 | P6 | 4000/135 | C: 13; H: 14; O: 1
|  | -19.7736 | 187.1147 | 187.1184 | 186.1045 | P6 |  | 4000/150 | C: 13; H: 14; O: 1
|  | -37.9436 | 187.1128 | 187.1199 | 186.1045 | P6 |  | 4000/175 | C: 13; H: 14; O: 1
|  | 2.6722 | 187.1153 | 187.1148 | 186.1045 | P6 |  | 4000/250 | C: 13; H: 14; O: 1
|  | 27.698 | 105.0364 | 105.0335 | 105.034 | P6 fragments |  | 4000/250 | C: 7; H: 5; O: 1
|  | 41.0271 | 105.0378 | 105.0335 | 105.034 | P6 fragments |  | 4000/150 | C: 7; H: 5; O: 1
|  | 27.698 | 105.0364 | 105.0335 | 105.034 | P6 fragments |  | 4000/175 | C: 7; H: 5; O: 1
|  | 45.7875 | 105.0383 | 105.0335 | 105.034 | P6 fragments |  | 4000/250 | C: 7; H: 5; O: 1
|  | -103.9027 | 205.1248 | 205.1461 | 204.1388 | P6 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1
|  | -101.4654 | 205.1253 | 205.1461 | 204.1388 | P6 NH4 adduct |  | 4000/150 | C: 13; H: 18; N: 1; O: 1
|  | -112.6769 | 205.123 | 205.1461 | 204.1388 | P6 NH4 adduct |  | 4000/175 | C: 13; H: 18; N: 1; O: 1
|  | 12.1596 | 205.1248 | 205.1223 | 204.115 | P6+ H2O |  | 4000/135 | C: 13; H: 16; O: 2
|  | 14.5972 | 205.1253 | 205.1223 | 204.115 | P6+ H2O |  | 4000/150 | C: 13; H: 16; O: 2
|  | 3.3844 | 205.123 | 205.1223 | 204.115 | P6+ H2O |  | 4000/175 | C: 13; H: 16; O: 2
186
| P7 | -10.6885 | 187.1148 | 187.1168 | 186.1045 | P7 | P6 | 4000/135 | C: 13; H: 14; O: 1
|  | -27.2555 | 187.1133 | 187.1184 | 186.1045 | P7 |  | 4000/150 | C: 13; H: 14; O: 1
|  | -27.7897 | 187.1147 | 187.1199 | 186.1045 | P7 |  | 4000/175 | C: 13; H: 14; O: 1
|  | -8.0165 | 187.1133 | 187.1148 | 186.1045 | P7 |  | 4000/250 | C: 13; H: 14; O: 1
|  | 33.4105 | 105.037 | 105.0335 | 105.034 | P7 fragments |  | 4000/250 | C: 7; H: 5; O: 1
|  | 21.9855 | 105.0358 | 105.0335 | 105.034 | P7 fragments |  | 4000/150 | C: 7; H: 5; O: 1
|  | 37.2188 | 105.0374 | 105.0335 | 105.034 | P7 fragments |  | 4000/175 | C: 7; H: 5; O: 1
|  | 50.5479 | 105.0388 | 105.0335 | 105.034 | P7 fragments |  | 4000/250 | C: 7; H: 5; O: 1
|  | -98.0532 | 205.126 | 205.1461 | 204.1388 | P7 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1
|  | -107.8024 | 205.124 | 205.1461 | 204.1388 | P7 NH4 adduct |  | 4000/150 | C: 13; H: 18; N: 1; O: 1
|  | 18.0098 | 205.126 | 205.1223 | 204.115 | P7+ H2O |  | 4000/135 | C: 13; H: 16; O: 2
|  | 8.2595 | 205.124 | 205.1223 | 204.115 | P7+ H2O |  | 4000/150 | C: 13; H: 16; O: 2
|  | ppm error | measured | [M+H]+ | Mass |  |  |  | C: C; H: H; D: D; N: N; O: O
| P1 | 7.6033 | 203.1082 | 203.1067 | 202.0994 | P1 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  | 18.9274 | 203.1105 | 203.1067 | 202.0994 | P1 |  | 4000/150 | C: 13; H: 14; O: 2; DBE: 7
|  | 11.5421 | 203.109 | 203.1067 | 202.0994 | P1 |  | 4000/175 | C: 13; H: 14; O: 2; DBE: 7
|  | 21.8815 | 203.1111 | 203.1067 | 202.0994 | P1 |  | 4000/250 | C: 13; H: 14; O: 2; DBE: 7
|  | ppm error | measured | [M+H]+ | Mass | bar: DBE
| P2 | 30.2515 | 203.1128 | 203.1067 | 202.0994 | P2 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  | 22.3738 | 203.1112 | 203.1067 | 202.0994 | P2 |  | 4000/150 | C: 13; H: 14; O: 2; DBE: 7
|  | 22.3738 | 203.1112 | 203.1067 | 202.0994 | P2 |  | 4000/175 | C: 13; H: 14; O: 2; DBE: 7
|  | 5.6339 | 203.1078 | 203.1067 | 202.0994 | P2 |  | 4000/250 | C: 13; H: 14; O: 2; DBE: 7
1
|  | 0.4339 | 217.1224 | 217.1223 | 216.115 | P2 ? |  | 4000/135 | C: 14; H: 16; O: 2; DBE: 7
|  | 16.0933 | 217.1258 | 217.1223 | 216.115 | P2 ? |  | 4000/150 | C: 14; H: 16; O: 2; DBE: 7
|  | 7.803 | 217.124 | 217.1223 | 216.115 | P2 ? |  | 4000/175 | C: 14; H: 16; O: 2; DBE: 7
|  | 11.027 | 217.1247 | 217.1223 | 216.115 | P2 ? |  | 4000/250 | C: 14; H: 16; O: 2; DBE: 7
|  | ppm error | measured | fragment+ | fragment
|  | 12.844 | 133.0665 | 133.0648 | 133.0653 | P2 fragment |  | 4000/135 | C: 9; H: 9; O: 1
|  | 7.5834 | 133.0658 | 133.0648 | 133.0653 | P2 fragment |  | 4000/150 | C: 9; H: 9; O: 1
|  | 15.0986 | 133.0668 | 133.0648 | 133.0653 | P2 fragment |  | 4000/175 | C: 9; H: 9; O: 1
|  | 9.838 | 133.0661 | 133.0648 | 133.0653 | P2 fragment |  | 4000/250 | C: 9; H: 9; O: 1
|  | 272.348 | 143.0881 | 143.0491 | 143.0497 | P2 fragment |  | 4000/135 | C: 10; H: 7; O: 1
|  | 259.0659 | 143.0862 | 143.0491 | 143.0497 | P2 fragment |  | 4000/150 | C: 10; H: 7; O: 1
|  | 267.4546 | 143.0874 | 143.0491 | 143.0497 | P2 fragment |  | 4000/175 | C: 10; H: 7; O: 1
|  | 263.2603 | 143.0868 | 143.0491 | 143.0497 | P2 fragment |  | 4000/250 | C: 10; H: 7; O: 1
|  | 80.0622 | 105.0419 | 105.0335 | 105.034 | P2 fragment |  | 4000/250 | C: 7; H: 5; O: 1
|  | 61.9728 | 105.04 | 105.0335 | 105.034 | P2 fragment |  | 4000/150 | C: 7; H: 5; O: 1
|  | 69.5894 | 105.0408 | 105.0335 | 105.034 | P2 fragment |  | 4000/175 | C: 7; H: 5; O: 1
|  | 62.9249 | 105.0401 | 105.0335 | 105.034 | P2 fragment |  | 4000/250 | C: 7; H: 5; O: 1

## NEG
|  | mass of electron | 0.000549
Mass | Mass | [M-H]- | Mass | Compound | pKA1 | PKA2 | C | H | D | N | O | P | S | Cl | F | Br | Si
Error | Measured | Calculated | Calculated |  |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 34.9689 | 18.9984 | 78.9183 | 27.9769
•M1=M1 (ene-)
•MX=M2 (ene-)
•E1=M3 (3-diketo)=P1
•E2=M4 (2-diketo)=P4
•M3A=M5 (4-diketo)=P2
•M2=M6 (2-hydroxy)=P5
•M3B=M7 (4-hydroxy)=P6
•M4=M8 (3-hydroxy)=P3
•M5=M9 (1-hydroxy)=P7

## Reanalysis_no-ref mass
[5 empty] | mass of electron | 0.000549
|  |  | Mass | Mass | [M+H]+ | Mass | Compound | Description | ESI/F | C | H | D | N | O | P | S | Cl | Na | K | DBE | Fragments
Sequence | Analysis |  | Error | Measured | Calculated | Calculated |  |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 34.9689 | 22.9898 | 38.9637
Analysis with ESI_Low mass Calibration check and without reference mass at 135F/200F
|  | Peak retention | Mass | Mass | Mass | Mass | Compound | Description | ESI/F
2011-12-01 | 02 CPK_metabolite_mix_no ref at 135F | tR (min) | Error | Measured | Calculated | Calculated |  |  | ESI/F
03 CPK_metabolite_mix_no ref_at 200F
| P3 | 9.85 | -3.9608 | 187.111 | 187.1117 | 186.1045 | P3 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -2.8919 | 187.1112 | 187.1117 | 186.1045 | P3 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -6.9569 | 169.1 | 169.1012 | 169.1017 | P3 fragments |  | 4000/135 | C: 13; H: 13; DBE: 7.5
|  |  | #VALUE! | 169.1003 | #VALUE! | #VALUE! | P3 fragments |  | 4000/200 | C: 13; H: 13; Cl: •M1=M1 (ene-); DBE: 7.5
|  |  | #VALUE! | 141.069 | #VALUE! | #VALUE! | P3 fragments |  | 4000/135 | C: 11; H: 9; Cl: •MX=M2 (ene-)
|  |  | #VALUE! | 141.0691 | #VALUE! | #VALUE! | P3 fragments |  | 4000/200 | C: 11; H: 9; Cl: •E1=M3 (3-diketo)=P1
|  |  | #VALUE! | 105.0345 | #VALUE! | #VALUE! | P3 fragments |  | 4000/135 | C: 7; H: 5; O: 1; Cl: •E2=M4 (2-diketo)=P4
|  |  | #VALUE! | 105.0355 | #VALUE! | #VALUE! | P3 fragments |  | 4000/200 | C: 7; H: 5; O: 1; Cl: •M3A=M5 (4-diketo)=P2
|  |  | #VALUE! | 91.0536 | #VALUE! | #VALUE! | P3 fragment tropylium |  | 4000/135 | C: 7; H: 7; Cl: •M2=M6 (2-hydroxy)=P5
|  |  | #VALUE! | 91.0537 | #VALUE! | #VALUE! | P3 fragment tropylium |  | 4000/200 | C: 7; H: 7; Cl: •M3B=M7 (4-hydroxy)=P6
|  |  | #VALUE! | 205.1215 | #VALUE! | #VALUE! | P3 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1; Cl: •M4=M8 (3-hydroxy)=P3; DBE: 5.5
|  |  | -3.9283 | 205.1215 | 205.1223 | 204.115 | P3 +H2O |  | 4000/135 | C: 13; H: 16; O: 2; Cl: •M5=M9 (1-hydroxy)=P7
|  |  |  | ND | 205.1223 | 204.115 | P3 +H2O |  | 4000/200 | C: 13; H: 16; O: 2
| P5 | 10.88 | -5.0296 | 187.1108 | 187.1117 | 186.1045 | P5 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -2.3574 | 187.1113 | 187.1117 | 186.1045 | P5 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7
|  |  | 4.8481 | 105.034 | 105.0335 | 105.034 | P5 fragments |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | 18.1772 | 105.0354 | 105.0335 | 105.034 | P5 fragments |  | 4000/200 | C: 7; H: 5; O: 1
|  |  |  | ND | 77.0386 | 77.0391 | P5 fragments (Phenyl cation) |  | 4000/135 | C: 6; H: 5
|  |  | -8.7769 | 77.0379 | 77.0386 | 77.0391 | P5 fragments (Phenyl cation) |  | 4000/200 | C: 6; H: 5
|  |  | -120.4763 | 205.1214 | 205.1461 | 204.1388 | P5 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1
|  |  | -4.4159 | 205.1214 | 205.1223 | 204.115 | P5 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
| P6 | 11.69 | -3.4263 | 187.1111 | 187.1117 | 186.1045 | P6 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -2.3574 | 187.1113 | 187.1117 | 186.1045 | P6 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7
|  |  | 0.73082 | 169.1013 | 169.1012 | 169.1017 | P6 fragments |  | 4000/135 | C: 13; H: 13; DBE: 7.5
|  |  | -4.0001 | 169.1005 | 169.1012 | 169.1017 | P6 fragments |  | 4000/200 | C: 13; H: 13; DBE: 7.5
|  |  | -3.3763 | 141.0694 | 141.0699 | 141.0704 | P6 fragments |  | 4000/135 | C: 11; H: 9
|  |  | -10.4649 | 141.0684 | 141.0699 | 141.0704 | P6 fragments |  | 4000/200 | C: 11; H: 9
|  |  | 15.321 | 105.0351 | 105.0335 | 105.034 | P6 fragments |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | 18.1772 | 105.0354 | 105.0335 | 105.034 | P6 fragments |  | 4000/200 | C: 7; H: 5; O: 1
|  |  | 6.3015 | 91.0548 | 91.0542 | 91.0548 | P6 fragment tropylium |  | 4000/135 | C: 7; H: 7
|  |  | -7.9757 | 91.0535 | 91.0542 | 91.0548 | P6 fragment tropylium |  | 4000/200 | C: 7; H: 7
|  |  | -119.5013 | 205.1216 | 205.1461 | 204.1388 | P6 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1; DBE: 5.5
|  |  | -3.4408 | 205.1216 | 205.1223 | 204.115 | P6 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
| P7 | 13.09 | -5.5641 | 187.1107 | 187.1117 | 186.1045 | P7 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -1.823 | 187.1114 | 187.1117 | 186.1045 | P7 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7
|  |  | 6.7523 | 105.0342 | 105.0335 | 105.034 | P7 fragments |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | 27.698 | 105.0364 | 105.0335 | 105.034 | P7 fragments |  | 4000/200 | C: 7; H: 5; O: 1
|  |  | -120.9637 | 205.1213 | 205.1461 | 204.1388 | P7 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1
|  |  | -4.9034 | 205.1213 | 205.1223 | 204.115 | P7 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
|  |  | ppm error | measured | [M+H]+ | Mass |  |  |  | C: C; H: H; D: D; N: N; O: O
| P1 | 6 | 1.2027 | 203.1069 | 203.1067 | 202.0994 | P1 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -8.152 | 203.105 | 203.1067 | 202.0994 | P1 |  | 4000/200 | C: 13; H: 14; O: 2; DBE: 7
|  |  | ppm error | measured | [M+H]+ | Mass | bar: DBE
| P2 | 9.3 | -4.2132 | 203.1058 | 203.1067 | 202.0994 | P2 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -2.7361 | 203.1061 | 203.1067 | 202.0994 | P2 |  | 4000/200 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -2.7901 | 217.1217 | 217.1223 | 216.115 | P2 ? |  | 4000/135 | C: 14; H: 16; O: 2; DBE: 7
|  |  | -4.2737 | 185.0953 | 185.0961 | 184.0888 | P2 fragment |  | 4000/200 | C: 13; H: 12; O: 1
|  |  | -9.7014 | 133.0635 | 133.0648 | 132.0575 | P2 fragment |  | 4000/135 | C: 9; H: 8; O: 1
|  |  | -8.1983 | 133.0637 | 133.0648 | 132.0575 | P2 fragment |  | 4000/200 | C: 9; H: 8; O: 1
fragment ion
|  |  | 251.3762 | 143.0851 | 143.0491 | 143.0497 | P2 fragment |  | 4000/135 | C: 10; H: 7; O: 1
|  |  | 247.8809 | 143.0846 | 143.0491 | 143.0497 | P2 fragment |  | 4000/200 | C: 10; H: 7; O: 1
|  |  |  | ND | 105.0335 | 105.034 | P2 fragment |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | 104.8163 | 105.0445 | 105.0335 | 105.034 | P2 fragment |  | 4000/200 | C: 7; H: 5; O: 1
| P4 | 10.3 | -273.0375 | 203.0512 | 203.1067 | 202.0994 | P2 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -270.5757 | 203.0517 | 203.1067 | 202.0994 | P2 |  | 4000/200 | C: 13; H: 14; O: 2; DBE: 7
|  |  |  | nd | 185.0961 | 184.0888 | P4 fragment |  | 4000/200 | C: 13; H: 12; O: 1
|  |  | -7.4468 | 133.0638 | 133.0648 | 132.0575 | P4 fragment |  | 4000/200 | C: 9; H: 8; O: 1
Ammonium adduct may be not possible according to this data (P3,P5,P6 and P7)
Mass accuracy error was more, figuring out?

## Reanalysis_w-ref mass
[5 empty] | mass of electron | 0.000549
|  |  | Mass | Mass | [M+H]+ | Mass | Compound | Description | ESI/F | C | H | D | N | O | P | S | Cl | Na | K | DBE | Fragments
Sequence | Analysis |  | Error | Measured | Calculated | Calculated |  |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 34.9689 | 22.9898 | 38.9637
Analysis with ESI_Low mass Calibration check and with reference mass at 135F/200F
|  | Peak retention | Mass | Mass | Mass | Mass | Compound | Description | ESI/F
2011-12-01 | 05 CPK_metabolite_mix_with refms | tR (min) | Error | Measured | Calculated | Calculated |  |  | ESI/F
06 CPK_metabolite_mix_with refms
| P3 | 9.9 | 1.3836 | 187.112 | 187.1117 | 186.1045 | P3 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -15.184 | 187.1089 | 187.1117 | 186.1045 | P3 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -0.4519 | 169.1011 | 169.1012 | 169.1017 | P3 fragments |  | 4000/135 | C: 13; H: 13; DBE: 7.5
|  |  | -18.7841 | 169.098 | 169.1012 | 169.1017 | P3 fragments |  | 4000/200 | C: 13; H: 13; DBE: 7.5
|  |  |  | ND | 141.0699 | 141.0704 | P3 fragments |  | 4000/135 | C: 11; H: 9
|  |  | -24.6423 | 141.0664 | 141.0699 | 141.0704 | P3 fragments |  | 4000/200 | C: 11; H: 9
|  |  | 14.3689 | 105.035 | 105.0335 | 105.034 | P3 fragments |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | -5.6247 | 105.0329 | 105.0335 | 105.034 | P3 fragments |  | 4000/200 | C: 7; H: 5; O: 1 |  | •M1=M1 (ene-)
|  |  | 1.9085 | 91.0544 | 91.0542 | 91.0548 | P3 fragment tropylium |  | 4000/135 | C: 7; H: 7 |  | •MX=M2 (ene-)
|  |  | -33.2354 | 91.0512 | 91.0542 | 91.0548 | P3 fragment tropylium |  | 4000/200 | C: 7; H: 7 |  | •E1=M3 (3-diketo)=P1
|  |  | -113.6519 | 205.1228 | 205.1461 | 204.1388 | P3 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1; DBE: 5.5 |  | •E2=M4 (2-diketo)=P4
|  |  | 2.4093 | 205.1228 | 205.1223 | 204.115 | P3 +H2O |  | 4000/135 | C: 13; H: 16; O: 2 |  | •M3A=M5 (4-diketo)=P2
|  |  |  | ND | 205.1223 | 204.115 | P3 +H2O |  | 4000/200 | C: 13; H: 16; O: 2 |  | •M2=M6 (2-hydroxy)=P5
| P5 | 10.95 | 1.3836 | 187.112 | 187.1117 | 186.1045 | P5 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7 |  | •M3B=M7 (4-hydroxy)=P6
|  |  | -3.9608 | 187.111 | 187.1117 | 186.1045 | P5 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7 |  | •M4=M8 (3-hydroxy)=P3
|  |  | 12.4648 | 105.0348 | 105.0335 | 105.034 | P5 fragments |  | 4000/135 | C: 7; H: 5; O: 1 |  | •M5=M9 (1-hydroxy)=P7
|  |  | 15.321 | 105.0351 | 105.0335 | 105.034 | P5 fragments |  | 4000/200 | C: 7; H: 5; O: 1
|  |  |  | ND | 77.0386 | 77.0391 | P5 fragments (Phenyl cation) |  | 4000/135 | C: 6; H: 5
|  |  | -11.373 | 77.0377 | 77.0386 | 77.0391 | P5 fragments (Phenyl cation) |  | 4000/200 | C: 6; H: 5
|  |  | -114.6268 | 205.1226 | 205.1461 | 204.1388 | P5 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1
|  |  | 1.4343 | 205.1226 | 205.1223 | 204.115 | P5 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
| P6 | 11.74 | 1.9181 | 187.1121 | 187.1117 | 186.1045 | P6 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7
|  |  | 6.1936 | 187.1129 | 187.1117 | 186.1045 | P6 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -11.6878 | 169.0992 | 169.1012 | 169.1017 | P6 fragments |  | 4000/135 | C: 13; H: 13; DBE: 7.5
|  |  | 3.6876 | 169.1018 | 169.1012 | 169.1017 | P6 fragments |  | 4000/200 | C: 13; H: 13; DBE: 7.5
|  | not found |  | nd | 141.0699 | 141.0704 | P6 fragments |  | 4000/135 | C: 11; H: 9
|  |  | -1.9585 | 141.0696 | 141.0699 | 141.0704 | P6 fragments |  | 4000/200 | C: 11; H: 9
|  |  | -5.6247 | 105.0329 | 105.0335 | 105.034 | P6 fragments |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | 26.7459 | 105.0363 | 105.0335 | 105.034 | P6 fragments |  | 4000/200 | C: 7; H: 5; O: 1
|  |  |  | nd | 91.0542 | 91.0548 | P6 fragment tropylium |  | 4000/135 | C: 7; H: 7
|  |  | 1.9085 | 91.0544 | 91.0542 | 91.0548 | P6 fragment tropylium |  | 4000/200 | C: 7; H: 7
|  |  | -113.1644 | 205.1229 | 205.1461 | 204.1388 | P6 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1; DBE: 5.5
|  |  | 2.8969 | 205.1229 | 205.1223 | 204.115 | P6 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
| P7 | 13.08 | 2.4525 | 187.1122 | 187.1117 | 186.1045 | P7 |  | 4000/135 | C: 13; H: 14; O: 1; DBE: 7
|  |  | -4.4952 | 187.1109 | 187.1117 | 186.1045 | P7 |  | 4000/200 | C: 13; H: 14; O: 1; DBE: 7
|  |  | 10.5606 | 105.0346 | 105.0335 | 105.034 | P7 fragments |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | 33.4105 | 105.037 | 105.0335 | 105.034 | P7 fragments |  | 4000/200 | C: 7; H: 5; O: 1
|  |  | -115.6017 | 205.1224 | 205.1461 | 204.1388 | P7 NH4 adduct |  | 4000/135 | C: 13; H: 18; N: 1; O: 1
|  |  | 0.45929 | 205.1224 | 205.1223 | 204.115 | P7 +H2O |  | 4000/135 | C: 13; H: 16; O: 2
|  |  | ppm error | measured | [M+H]+ | Mass |  |  |  | C: C; H: H; D: D; N: N; O: O
| P1 | 6 | 13.5115 | 203.1094 | 203.1067 | 202.0994 | P1 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -8.152 | 203.105 | 203.1067 | 202.0994 | P1 |  | 4000/200 | C: 13; H: 14; O: 2; DBE: 7
|  |  | ppm error | measured | [M+H]+ | Mass | bar: DBE
| P2 | 9.3 | -16.0296 | 203.1034 | 203.1067 | 202.0994 | P2 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -2.7361 | 203.1061 | 203.1067 | 202.0994 | P2 |  | 4000/200 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -14.7649 | 217.1191 | 217.1223 | 216.115 | P2 ? |  | 4000/135 | C: 14; H: 16; O: 2; DBE: 7
|  |  |  | ND | 185.0961 | 184.0888 | P2 fragment |  | 4000/135 | C: 13; H: 12; O: 1
|  |  | -4.2737 | 185.0953 | 185.0961 | 184.0888 | P2 fragment |  | 4000/200 | C: 13; H: 12; O: 1
|  |  | -32.2468 | 133.0605 | 133.0648 | 132.0575 | P2 fragment |  | 4000/135 | C: 9; H: 8; O: 1
|  |  | -8.1983 | 133.0637 | 133.0648 | 132.0575 | P2 fragment |  | 4000/200 | C: 9; H: 8; O: 1
fragment ion
|  |  | 251.3762 | 143.0851 | 143.0491 | 143.0497 | P2 fragment |  | 4000/135 | C: 10; H: 7; O: 1
|  |  | 247.8809 | 143.0846 | 143.0491 | 143.0497 | P2 fragment |  | 4000/200 | C: 10; H: 7; O: 1
|  |  |  | ND | 105.0335 | 105.034 | P2 fragment |  | 4000/135 | C: 7; H: 5; O: 1
|  |  | 104.8163 | 105.0445 | 105.0335 | 105.034 | P2 fragment |  | 4000/200 | C: 7; H: 5; O: 1
| P4 | 10.3 | -6.6749 | 203.1053 | 203.1067 | 202.0994 | P2 |  | 4000/135 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -267.6216 | 203.0523 | 203.1067 | 202.0994 | P2 |  | 4000/200 | C: 13; H: 14; O: 2; DBE: 7
|  |  | -24.2633 | 185.0916 | 185.0961 | 184.0888 | P4 fragment |  | 4000/200 | C: 13; H: 12; O: 1
|  |  | -14.962 | 133.0628 | 133.0648 | 132.0575 | P4 fragment |  | 4000/200 | C: 9; H: 8; O: 1
P1, P2 and P4 data at 200F was recalibrated again using Analyst software, before
the mass accuracy error was more?
Mass accuracy error was more, figuring out?

## GC-EI-MS_data
0.000549
[5 empty] | Mass | Mass | Compound | Description | C | H | D | N | O | P | S | Si | Cl | Na | K | DBE
Sequence | Analysis |  |  |  | Measured | Calculated |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 27.9769 | 34.9689 | 22.9898 | 38.9637
|  |  | GC-EI-MS analysis | [M+.-X]
|  | Data file | Peak retention |  | Mass | Mass | Compound | Description
2011-12-19 |  |  | tR (min) |  | Measured | Calculated
| CPK_std | 07_DN-III-64-2A
|  |  | 13.73 | M+. | 188 | 188.1201 | CPK std |  | C: 13; H: 16; O: 1; DBE: 6
|  |  |  | [M-C4H7] | 133 | 133.0653 | CPK fragments |  | C: 9; H: 9; O: 1; DBE: 5.5
|  |  |  | [M-C6H12] | 105 | 105.034 | CPK fragments (acylium ion) |  | C: 7; H: 5; O: 1; DBE: 5.5
|  |  |  | [M-C6H12-CO] | 77 | 77.0391 | CPK fragments |  | C: 6; H: 5; Si: •M1=M1 (ene-); DBE: 4.5
|  |  |  | [M-C9H9O] | 55 | 55.0548 | CPK fragments |  | C: 4; H: 7; Si: •MX=M2 (ene-)
|  |  |  | [M-C6H12-CO-C2H2] | 51 | 51.0235 | CPK fragments |  | C: 4; H: 3; Si: •E1=M3 (3-diketo)=P1
| Mabolite mix | 19_DN-III-63-3A | [6 empty] | Si: •E2=M4 (2-diketo)=P4
| metabolite-202 | M1 | 16.13 | M+. | 202 | 202.0994 | M1 metabolite m.wt-202 |  | C: 13; H: 14; O: 2; Si: •M3A=M5 (4-diketo)=P2
|  |  |  | ? | 160 | 160.0888 | M1 fragments |  | C: 11; H: 12; O: 1; Si: •M2=M6 (2-hydroxy)=P5
|  |  |  | [M-C3H5O] | 145 | 145.0653 | M1 fragments |  | C: 10; H: 9; O: 1; Si: •M3B=M7 (4-hydroxy)=P6
|  |  |  | small | 133 | 133.0653 | M1 fragments |  | C: 9; H: 9; O: 1; Si: •M4=M8 (3-hydroxy)=P3
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M1 fragments (acylium ion) |  | C: 7; H: 5; O: 1; Si: •M5=M9 (1-hydroxy)=P7
|  |  |  | small | 91 | 91.0548 | M1 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M1 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M3 fragments |  | C: 4; H: 3
|  | M3A | 16.229 | M+. | 202 | 202.0994 | M3 metabolite m.wt-202 |  | C: 13; H: 14; O: 2; DBE: 7
|  |  |  | [M-CO] | 174 | 174.1045 | M3 fragments |  | C: 12; H: 14; O: 1
|  |  |  | [M-C3H4O] | 146 | 146.0732 | M3 fragments |  | C: 10; H: 10; O: 1
|  |  |  | small | 133 | 133.0653 | M3 fragments |  | C: 9; H: 9; O: 1
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M3 fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M1 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M3 fragments (pheny catiom) |  | C: 6; H: 5; DBE: 4.5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M3 fragments |  | C: 4; H: 3
[6 empty] | 105.034 | P5 fragments |  | C: 7; H: 5; O: 1
|  | M4 | 16.29 | M+.?? | ND | 202.0994 | M4 metabolite-202 |  | C: 13; H: 14; O: 2
|  | there is no molecular ion detected |  | [M-C3H5O] | 145 | 145.0653 | M4fragments |  | C: 10; H: 9; O: 1
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M14fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M1 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M4 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M4 fragments |  | C: 4; H: 3
1
|  | M5 | 16.37 | M+. ?? | ND | 202.0994 | M5 metabolite-202 |  | C: 13; H: 14; O: 2; DBE: 7
|  | there is no molecular ion detected |  | [M-C3H5O] | 145 | 145.0653 | M4fragments |  | C: 10; H: 9; O: 1; DBE: 6.5
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M5fragments (acylium ion) |  | C: 7; H: 5; O: 1; DBE: 5.5
|  |  |  | small | 91 | 91.0548 | M5 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M5 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M5 fragments |  | C: 4; H: 3
| metabolite-204 | M2 | 16.257 | M+. | 204 | 204.115 | M2 metabolite-204 but not 186 |  | C: 13; H: 16; O: 2
|  |  |  | [M-H2O] | 186 | 186.1045 | M2 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | [M-H2O]-C6H10] | 105 | 105.034 | M2fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M5 fragment tropylium |  | C: 7; H: 7; DBE: 4.5
|  |  |  | [M-H2O]-C6H10-CO] | 77 | 77.0391 | M2 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-H2O]-C6H10-CO-C2H2] | 51 | 51.0235 | M2fragments |  | C: 4; H: 3
1
|  | M3 B (204) | 16.286 | M+. | 204 | 204.115 | M3 metabolite-204 but not 186 |  | C: 13; H: 16; O: 2; DBE: 6
|  |  |  | [M-H2O] | 186 | 186.1045 | M3 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | ?? | 145 | 145.0653 | M3 fragments |  | C: 10; H: 9; O: 1
|  |  |  | [M-H2O]-C6H10] | 105 | 105.034 | M3fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M5 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-H2O]-C6H10-CO] | 77 | 77.0391 | M23fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-H2O]-C6H10-CO-C2H2] | 51 | 51.0235 | M3fragments |  | C: 4; H: 3
|  | M4 | 16.37 | M+. | ND | 204.115 | M4 metabolite-204 but not 186 |  | C: 13; H: 16; O: 2; DBE: 6
|  | there is no molecular ion detected |  | [M-H2O] | 186 | 186.1045 | M4 fragment ion |  | C: 13; H: 14; O: 1; DBE: 7
|  |  |  | ?? | 123 | 123.081 | M4 fragments |  | C: 8; H: 11; O: 1
|  |  |  | [M-H2O]-C6H10] | 105 | 105.034 | M4fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M4 fragment tropylium |  | C: 7; H: 7; DBE: 4.5
|  |  |  | [M-H2O]-C6H10-CO] | 77 | 77.0391 | M4fragments (pheny catiom) |  | C: 6; H: 5; DBE: 4.5
|  |  |  | [M-H2O]-C6H10-CO-C2H2] | 51 | 51.0235 | M4fragments |  | C: 4; H: 3; DBE: 3.5
1
|  | M5 | 16.526 | M+. | ND | 204.115 | M45metabolite-204 but not 186 |  | C: 13; H: 16; O: 2
|  | there is no molecular ion detected |  | [M-H2O] | 186 | 186.1045 | M5 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | [M-H2O]-C6H10] | 105 | 105.034 | M5 fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M5 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-H2O]-C6H10-CO] | 77 | 77.0391 | M5fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-H2O]-C6H10-CO-C2H2] | 51 | 51.0235 | M5fragments |  | C: 4; H: 3
| LC-fraction-1 | 10_DN-III-63-1A
| (peaks P1,P2 and P3 from |  | 16.284 | M+. | 202 | 202.0994 | M3 metabolite m.wt-202 |  | C: 13; H: 14; O: 2
| LC) |  |  | small | 133 | 133.0653 | M3 fragments |  | C: 9; H: 9; O: 1; DBE: 5.5
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M3 fragments (acylium ion) |  | C: 7; H: 5; O: 1; DBE: 5.5
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M3 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M3 fragments |  | C: 4; H: 3
| LC-fraction-2 | 11_DN-III-63-2A | 16.3 | M+. | ND | 204.115 | M3 metabolite-204 but not 186 |  | C: 13; H: 16; O: 2
| (peaks P4,P5 and P6 from |  |  | [M-H2O] | 186 | 186.1045 | M3 fragment ion |  | C: 13; H: 14; O: 1
| LC) |  |  | ?? | 145 | 145.0653 | M3 fragments |  | C: 10; H: 9; O: 1
|  |  |  | ?? | 123
|  |  |  | [M-H2O]-C6H10] | 105 | 105.034 | M3fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | [M-H2O]-C6H10-CO] | 77 | 77.0391 | M23fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-H2O]-C6H10-CO-C2H2] | 51 | 51.0235 | M3fragments |  | C: 4; H: 3
Only one metabolite was detected in LC fractions 1&2,
due its their low concentration in fractions??

## GC-EI-MS_BSTFA data
0.000549
[5 empty] | Mass | Mass | Compound | Description | C | H | D | N | O | P | S | Si | Cl | Na | K | DBE
Sequence | Analysis |  |  |  | Measured | Calculated |  |  | 12 | 1.0078 | 2.0141 | 14.0031 | 15.9949 | 30.9738 | 31.9721 | 27.9769 | 34.9689 | 22.9898 | 38.9637
|  |  | GC-EI-MS analysis | [M+.-X]
|  | Data file | Peak retention |  | Mass | Mass | Compound | Description
2011-12-19 |  |  | tR (min) |  | Measured | Calculated
| CPK_std+BSTFA | 16_DN-III-64-2B
|  |  | 13.8 | M+. | ND | 260.1596 | CPK_BSTFA | There is no derivatization | C: 16; H: 24; O: 1; Si: 1; DBE: 5
|  |  |  | M+. | 188 | 188.1201 | CPK |  | C: 13; H: 16; O: 1; DBE: 6
|  |  |  | [M-C4H7] | 133 | 133.0653 | CPK fragments |  | C: 9; H: 9; O: 1
|  |  |  | [M-C6H12] | 105 | 105.034 | CPK fragments (acylium ion) |  | C: 7; H: 5; O: 1; DBE: 5.5
|  |  |  | [M-C6H12-CO] | 77 | 77.0391 | CPK fragments |  | C: 6; H: 5; DBE: 4.5
|  |  |  | [M-C9H9O] | 55 | 55.0548 | CPK fragments |  | C: 4; H: 7
|  |  |  | [M-C6H12-CO-C2H2] | 51 | 51.0235 | CPK fragments |  | C: 4; H: 3
| Mabolite mix+BSTFA | 13_DN-III-63-3B | 16.13 | M+BSTFA | ND | 274.1389 | M1 metabolite m.wt-202 +BSTFA | There is no derivatization | C: 16; H: 22; O: 2; Si: 1
| metabolite-202+72 | M1 |  | M+. | 202 | 202.0994 | M1 metabolite m.wt-202 | only 202 found | C: 13; H: 14; O: 2
|  |  |  | [M-C3H5O] | 145 | 145.0653 | M1 fragments |  | C: 10; H: 9; O: 1
|  |  |  | small | 133 | 133.0653 | M1 fragments |  | C: 9; H: 9; O: 1
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M1 fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M1 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M1 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M3 fragments |  | C: 4; H: 3
|  |  | 16.23 | M+BSTFA | ND | 274.1389 | M1 metabolite m.wt-202 +BSTFA | There is no derivatization | C: 16; H: 22; O: 2; Si: 1
|  | M3A |  | M+. | 202 | 202.0994 | M3 metabolite m.wt-202 | only 202 found | C: 13; H: 14; O: 2; DBE: 7
|  |  |  | [M-CO] | 174 | 174.1045 | M3 fragments |  | C: 12; H: 14; O: 1
|  |  |  | [M-C3H4O] | 146 | 146.0732 | M3 fragments |  | C: 10; H: 10; O: 1
|  |  |  | small | 133 | 133.0653 | M3 fragments |  | C: 9; H: 9; O: 1
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M3 fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M1 fragment tropylium |  | C: 7; H: 7
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M3 fragments (pheny catiom) |  | C: 6; H: 5; DBE: 4.5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M3 fragments |  | C: 4; H: 3
•M1=M1 (ene-)
•MX=M2 (ene-)
•E1=M3 (3-diketo)=P1
•E2=M4 (2-diketo)=P4
•M3A=M5 (4-diketo)=P2
•M2=M6 (2-hydroxy)=P5
•M3B=M7 (4-hydroxy)=P6
•M4=M8 (3-hydroxy)=P3
•M5=M9 (1-hydroxy)=P7
| metabolite-204+72 (BSTFA) | M2 | 16.85 | [M+73] | 276 | 276.1546 | M2 metabolite-204+BSFTA | Observed derivatization | C: 16; H: 24; O: 2; Si: 1
|  |  |  | [M-CH3] | 261 | 261.1311 | M2 fragment ion |  | C: 15; H: 21; O: 2; Si: 1
|  |  |  | [M-HOSi(CH3)3] | 186 | 186.1045 | M3 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | [M-C6H5CO] | 171 | 171.1205 | M3 fragment ion |  | C: 9; H: 19; O: 1; Si: 1
|  |  |  | [M-C6H5CO-CH3] | 156 | 156.097 | M3 fragment ion |  | C: 8; H: 16; O: 1; Si: 1
|  |  |  | [M-C9H9O] | 143 | 143.0892 | M3 fragment ion |  | C: 7; H: 15; O: 1; Si: 1
|  |  |  | [M-C10H11O] | 129 | 129.0736 | M3 fragment ion |  | C: 6; H: 13; O: 1; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10] | 105 | 105.034 | M2fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M5 fragment tropylium |  | C: 7; H: 7; DBE: 4.5
|  |  |  | [M-HOSi(CH3)3-C6H10-CO] | 77 | 77.0391 | M2 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C10H11O-C3H4O] | 73 | 73.0474 |  |  | C: 3; H: 9; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10-CO-C2H2] | 51 | 51.0235 | M2fragments |  | C: 4; H: 3
1
| metabolite-204+72 (BSTFA) | M3B | 17.019 | [M+73] | 276 | 276.1546 | M3 metabolite-204+BSFTA | Observed derivatization | C: 16; H: 24; O: 2; Si: 1
|  |  |  | [M-CH3] | 261 | 261.1311 | M3 fragment ion |  | C: 15; H: 21; O: 2; Si: 1
|  |  |  | [M-HOSi(CH3)3] | 186 | 186.1045 | M3 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | [M-CH3CH2OSi(CH3)3] | 158 | 158.0732 | M3 fragment ion |  | C: 11; H: 10; O: 1
|  |  |  | [M-C9H9O] | 143 | 143.0892 | M3 fragment ion |  | C: 7; H: 15; O: 1; Si: 1
|  |  |  | [M-C10H11O] | 129 | 129.0736 | M3 fragment ion |  | C: 6; H: 13; O: 1; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10] | 105 | 105.034 | M3fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M3 fragment tropylium |  | C: 7; H: 7; DBE: 4.5
|  |  |  | [M-HOSi(CH3)3-C6H10-CO] | 77 | 77.0391 | M3 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C10H11O-C3H4O] | 73 | 73.0474 |  |  | C: 3; H: 9; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10-CO-C2H2] | 51 | 51.0235 | M3fragments |  | C: 4; H: 3
| metabolite-204+72 (BSTFA) | M4 | 17.173 | [M+73] | 276 | 276.1546 | M4 metabolite-204+BSFTA | Observed derivatization | C: 16; H: 24; O: 2; Si: 1
|  |  |  | [M-CH3] | 261 | 261.1311 | M4 fragment ion |  | C: 15; H: 21; O: 2; Si: 1
|  |  |  | [M-HOSi(CH3)3] | 186 | 186.1045 | M4 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | [M-CH3CH2OSi(CH3)3] | 158 | 158.0732 | M4 fragment ion |  | C: 11; H: 10; O: 1
|  |  |  | [M-C9H9O] | 143 | 143.0892 | M4 fragment ion |  | C: 7; H: 15; O: 1; Si: 1
|  |  |  | [M-C10H11O] | 129 | 129.0736 | M4 fragment ion |  | C: 6; H: 13; O: 1; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10] | 105 | 105.034 | M4fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M4 fragment tropylium |  | C: 7; H: 7; DBE: 4.5
|  |  |  | [M-HOSi(CH3)3-C6H10-CO] | 77 | 77.0391 | M4 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C10H11O-C3H4O] | 73 | 73.0474 | M4 fragments (+OTMS) |  | C: 3; H: 9; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10-CO-C2H2] | 51 | 51.0235 | M4fragments |  | C: 4; H: 3
| (peaks P1,P2 and P3 from | 14_DN-III-63-1B | 16.284 | M+. | ND | 274.1389 | M3 metabolite m.wt-202 +BSTFA | there is no BSTFA derivatizion | C: 16; H: 22; O: 2; Si: 1
| LC) |  |  | small | 133 | 133.0653 | M3 fragments |  | C: 9; H: 9; O: 1; DBE: 5.5
|  |  |  | [M-C6H9. ] | 105 | 105.034 | M3 fragments (acylium ion) |  | C: 7; H: 5; O: 1; DBE: 5.5
|  |  |  | [M-C6H9.-CO] | 77 | 77.0391 | M3 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C6H9.-CO-C2H2] | 51 | 51.0235 | M3 fragments |  | C: 4; H: 3
| LC-fraction-2 | 15_DN-III-63-2B
| (peaks P4,P5 and P6 from | M2 | 16.86 | [M+73] | 276 | 276.1546 | M2 metabolite-204+BSFTA | Observed derivatization | C: 16; H: 24; O: 2; Si: 1
| LC) |  |  | [M-CH3] | 261 | 261.1311 | M2 fragment ion |  | C: 15; H: 21; O: 2; Si: 1
|  |  |  | [M-HOSi(CH3)3] | 186 | 186.1045 | M3 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | [M-C6H5CO] | 171 | 171.1205 | M3 fragment ion |  | C: 9; H: 19; O: 1; Si: 1
|  |  |  | [M-C6H5CO-CH3] | 156 | 156.097 | M3 fragment ion |  | C: 8; H: 16; O: 1; Si: 1
|  |  |  | [M-C9H9O] | 143 | 143.0892 | M3 fragment ion |  | C: 7; H: 15; O: 1; Si: 1
|  |  |  | [M-C10H11O] | 129 | 129.0736 | M3 fragment ion |  | C: 6; H: 13; O: 1; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10] | 105 | 105.034 | M2fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M5 fragment tropylium |  | C: 7; H: 7; DBE: 4.5
|  |  |  | [M-HOSi(CH3)3-C6H10-CO] | 77 | 77.0391 | M2 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C10H11O-C3H4O] | 73 | 73.0474 |  |  | C: 3; H: 9; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10-CO-C2H2] | 51 | 51.0235 | M2fragments |  | C: 4; H: 3
1
|  | M3 | 17.036 | [M+73] | 276 | 276.1546 | M3 metabolite-204+BSFTA | Observed derivatization | C: 16; H: 24; O: 2; Si: 1
|  |  |  | [M-CH3] | 261 | 261.1311 | M3 fragment ion |  | C: 15; H: 21; O: 2; Si: 1
|  |  |  | [M-HOSi(CH3)3] | 186 | 186.1045 | M3 fragment ion |  | C: 13; H: 14; O: 1
|  |  |  | [M-CH3CH2OSi(CH3)3] | 158 | 158.0732 | M3 fragment ion |  | C: 11; H: 10; O: 1
|  |  |  | [M-C9H9O] | 143 | 143.0892 | M3 fragment ion |  | C: 7; H: 15; O: 1; Si: 1
|  |  |  | [M-C10H11O] | 129 | 129.0736 | M3 fragment ion |  | C: 6; H: 13; O: 1; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10] | 105 | 105.034 | M3fragments (acylium ion) |  | C: 7; H: 5; O: 1
|  |  |  | small | 91 | 91.0548 | M3 fragment tropylium |  | C: 7; H: 7; DBE: 4.5
|  |  |  | [M-HOSi(CH3)3-C6H10-CO] | 77 | 77.0391 | M3 fragments (pheny catiom) |  | C: 6; H: 5
|  |  |  | [M-C10H11O-C3H4O] | 73 | 73.0474 |  |  | C: 3; H: 9; Si: 1
|  |  |  | [M-HOSi(CH3)3-C6H10-CO-C2H2] | 51 | 51.0235 | M3fragments |  | C: 4; H: 3
The BSTFA derivatization was observed for only metabolite 204 (204+72=276), but not for metabolite
therefore, the metabolite 204 contains- OH group, but not for 202?
The metabolite 186 mass is not orginal, it was a fragment coming from 204 due to loss of water molecula

## Correlation_GC-MS &LC-MS peaks
[6 empty] | EPA data | [6 empty] | UND data
S.no | Metabolite | GC-CI-MS |  | Equivalent |  | GC-EI-MS | Equivalent |  | LC-MS/MS | 1UND-Chem |  |  | GC-EI-MS | LC-TOF-MS |  | MS accuracy
| standards | tR (min) | [M+H] ion | to | tR (min) | M+ ion (m/z) | to | tR (min) | [M+H]+ | observed | [M+Na]+ | tR (min) | M+ ion (m/z) | tR (min) | [M+H]+ | error (ppm) | suggested identification
1 | CPK | 15.67 | 189 |  | 15.669 | 188 |  | 19.3 | 189 |  |  | 13.73 | 188 | 14.35 | 189.1308 | 18.024
2 | M1 | 15.81 | 187 |  | 15.81 | 186 | [7 empty] | N/A | N/A
3 | DPK | 15.95 | 183 | [8 empty] | N/A | N/A | 17.809 | 183.0834 | 16.1624
4 | O,P-OH-CPK | 19.87 | 221 |  |  |  |  | 16.5 | 221 |  |  | N/A | N/A | 17.17 | 221.1238 | 29.7561
•M1=M1 (ene-)
5 | E1 | 18.02 | 203 | M1 | 18.065 | 202 | P1 | 4.78 | 203.1 |  |  | 16.13 | 202 | 6 | 203.1069 | 1.2027 | keto derivative of CPK | •MX=M2 (ene-)
•E1=M3 (3-diketo)=P1
6 | E2 | 18.06 | 203 | M3A | 18.15 | 202 | M3A may be mixture.P2+P4 | [10 empty] | •E2=M4 (2-diketo)=P4
[7 empty] | P2 | 7.08 | 203.2 |  |  | 16.229 | 202 | 9.3 | 203.1058 | -4.2132 | keto derivative of CPK | •M3A=M5 (4-diketo)=P2
[7 empty] | P4 | 7.94 | 203.4 |  |  |  |  | 10.3 | 203.1053 | -6.6749 | keto derivative of CPK | •M2=M6 (2-hydroxy)=P5
•M3B=M7 (4-hydroxy)=P6
7 | M2 | 18.12 | 187 | M2 | 18.114 | 186, small 204 | P3 | 7.59 | 187 | 205.2 |  | 16.257 | 204.115 | 9.85 | 205.1215 | -3.9283 | hydroxy derivative of CPK | •M4=M8 (3-hydroxy)=P3
•M5=M9 (1-hydroxy)=P7
8 | M3 | 18.16 | 187 | M3B | 18.15 | 186, small 204 | P5 | 8.42 | 187.2 | 205.2 |  | 16.286 | 204 | 10.88 | 205.1214 | -4.4159 | hydroxy derivative of CPK
9 | M4 | 18.24 | 187 | M4 | 18.26 | 186 | P6 | 9.12 | 187.2 | 205.1 |  | 16.37 | 204.115 | 11.69 | 205.1216 | -3.4408 | hydroxy derivative of CPK
10 | M5 | 18.4 | 187 | M5 | 18.397 | 186 | P7 | 10.3 | 187.3 | 205.1 |  | 16.526 | 204.115 | 13.09 | 205.1213 | -4.9034 | hydroxy derivative of CPK
Metabolite mix+BSTFA deivatization
|  |  |  | M1 | 18.056 | 202 | P1 |  |  |  |  | 16.13 | 202
there is no BSTFA derivatized peaks (202+72=274)
|  |  |  | M3A | 18.15 | 202 | M3A may be mixture.P2+P4 | [6 empty] | for these three metabolites
[7 empty] | P2 |  |  |  |  | 16.23 | 202
P4
|  |  |  | M2 | 18.616 | 276 | P5 |  |  |  |  | 16.85 | 276.1546 | there are 3 significant BSTFA derivatized (204+72=276) peaks
observed for metabolites 204, but what about another metabolite?
|  |  |  | M3B |  |  | P7 |  |  |  |  | ? | ? | may be it is merging with either first peak at 16.85 min or not derivatized?
|  |  |  | M4 | 18.79 | 276 | P3 |  |  |  |  | 17.019 | 276.1546 | this indicates that the metabolite 204 has one hydroxy group
|  |  |  | M5 | 18.87 | 276 | P6 |  |  |  |  | 17.173 | 276.1546
The proposed correlation between BSTFA derivatized and LC-MS peaks
are based on LC-MS/MS fragmentation and GC-BSTFA fragmentation data of metabolites
however, the LC-MS/MS data support the proposed metabolites structure.
notes: 1UND-chem group observed the [M+H]+ 205 (M+ 204 )as molecular ion for metabolite (186), which was also proved by its mass accuracy
N/A: not observed

## peaks
ions
| Peaks |  | fragments |  |  |  | adducts?
| tR | M+H |  |  |  |  | M+Na+ | [6 empty] | mostly background
| 9.89 | [12 empty] | 205.12 very small
P3 | 10.457 | 205.12 | 187.11 | 169.1 | 105.04 | 91.055 | 227.12 | 249.13 | 248.13 |  |  |  |  | ions 60.04 and 100.11 are background
P5 | 11.446 | 205.12 | 187.11 |  | 105.04 |  | 227.12
P6 | 12.294 | 205.12 | 187.11 |  |  |  | 227.12 | 249.13 |  | 250.18 | 224.13
P7 | 13.56 | 205.12 | 187.11 |  | 105.4 |  | 227.12 |  |  | 250.18 |  | 261.17 | 278.18
| background ions |  | 60.04, 100.11,118.12
P1 | 6.5 | 203.11 | [11 empty] | 221.12 | 224.13 | 163.1349
P2 | 9.87 | 203.11
P4 | 11.8 | 203.11
•M1=M1 (ene-)
CPK | 14.23 | [6 empty] | •MX=M2 (ene-)
IS | 17.17 | [6 empty] | •E1=M3 (3-diketo)=P1
DPK | 17.7 | [6 empty] | •E2=M4 (2-diketo)=P4
•M3A=M5 (4-diketo)=P2
•M2=M6 (2-hydroxy)=P5
•M3B=M7 (4-hydroxy)=P6
•M4=M8 (3-hydroxy)=P3
•M5=M9 (1-hydroxy)=P7