## Summary
Inoculation Controls
Types of Samples | Post - Inoculation Time | Mean Log CFU/Sample | Log CFU/Sample Std Dev | Log CFU/Sample %RSD | Mean CFU/Sample | CFU/Sample Std Dev | CFU/Sample %RSD | Sample ID | Log CFU/Sample | CFU/sample | CFU/ml | Sample Volume (ml) |  | Non-Detects
Stainless-Steel Inoculation Controls | Day 0 | 7.2646 | 0.12898 | 1.775% | 19046000 | 4779642.4785 | 25.1% | P1-SS-80C-80RH-IN-0W-01 | 6.9465 | 8840000 | 442000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-02 | 7.2385 | 17320000 | 866000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-03 | 7.2653 | 18420000 | 921000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-04 | 7.2975 | 19840000 | 992000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-05 | 7.3181 | 20800000 | 1040000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-06 | 7.2084 | 16160000 | 808000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-07 | 7.4378 | 27400000 | 1370000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-08 | 7.2667 | 18480000 | 924000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-09 | 7.3579 | 22800000 | 1140000 | 20
[8 empty] | P1-SS-80C-80RH-IN-0W-10 | 7.3096 | 20400000 | 1020000 | 20
Positive Controls
Stainless-Steel Positive Controls | Day 0 | 7.2445 | 0.10658 | 1.471% | 17906666.6667 | 4247603.2458 | 23.72% | P1-SS-80C-80RH-PC-0W-01 | 7.131 | 13520000 | 676000 | 20
[8 empty] | P1-SS-80C-80RH-PC-0W-02 | 7.3424 | 22000000 | 1100000 | 20
[8 empty] | P1-SS-80C-80RH-PC-0W-03 | 7.2601 | 18200000 | 910000 | 20
[13 empty] | Heat Treated Samples | [13 empty] | Heat Treatment Effectivenss
[13 empty] | Material | Exposure Time | Mean Log CFU/Sample | Log CFU/Sample Std Dev | Log CFU/Sample %RSD | Mean CFU/Sample | CFU/Sample Std Dev | CFU/Sample %RSD | Sample ID | Log CFU/Sample | CFU/sample | CFU/ml | Sample Volume (ml) | Temporal Log reduction (LRi) | Average LR (CFU) | Standrd Deviation (log (CFU)
| Day 8 | 7.4353 |  |  | 27248000 |  |  | 95-P1-SS-80C-80RH-PC-8D-01 | 7.4353 | 27248000 | 1310000 | 20.8 | Stainless-Steel | Day 8 | 0.091817 | 0.018071 | 19.68% | 1.2363 | 0.051122 | 4.135% | 95-P1-SS-80c-80rh-BS-8D-01 | 0.091515 | 1.2346 | 0.061728 | 20 | 7.3438 | 7.3435 | 0.018071
[21 empty] | 95-P1-SS-80c-80rh-BS-8D-02 | 0.11351 | 1.2987 | 0.064935 | 20 | 7.3218
[21 empty] | 95-P1-SS-80c-80rh-BS-8D-03 | 0.065502 | 1.1628 | 0.05814 | 20 | 7.3698
[21 empty] | 95-P1-SS-80c-80rh-BS-8D-04 | 0.086186 | 1.2195 | 0.060976 | 20 | 7.3491
[21 empty] | 95-P1-SS-80c-80rh-BS-8D-05 | 0.10237 | 1.2658 | 0.063291 | 20 | 7.333
| Day 15 | 7.3541 |  |  | 22600000 |  |  | 95-P1-SS-80c-80RH-PC-2W-01 | 7.3541 | 22600000 | 1130000 | 20 |  | Day 15 | 0.079969 | 0.010003 | 12.51% | 1.2024 | 0.027589 | 2.294% | 95-P1-SS-80c-80rh-BS-2W-01 | 0.091515 | 1.2346 | 0.061728 | 20 | 7.2626 | 7.2741 | 0.010003
[21 empty] | 95-P1-SS-80c-80rh-BS-2W-02 | 0.065502 | 1.1628 | 0.05814 | 20 | 7.2886
[21 empty] | 95-P1-SS-80c-80rh-BS-2W-03 | 0.075721 | 1.1905 | 0.059524 | 20 | 7.2784
[21 empty] | 95-P1-SS-80c-80rh-BS-2W-04 | 0.086186 | 1.2195 | 0.060976 | 20 | 7.2679
[21 empty] | 95-P1-SS-80c-80rh-BS-2W-05 | 0.080922 | 1.2048 | 0.060241 | 20 | 7.2732
Clayey Soil | Day 0 | 7.459 | 0.10394 | 1.394% | 29318955.5556 | 6809442.3059 | 23.23% | 95-P1-CL-80C-80RH-PC-0W-01 | 7.349 | 22335866.6667 | 1046666.6667 | 21.34 | Clayey Soil
[8 empty] | 95-P1-CL-80C-80RH-PC-0W-02 | 7.5556 | 35940333.3333 | 1703333.3333 | 21.1
[8 empty] | 95-P1-CL-80C-80RH-PC-0W-03 | 7.4725 | 29680666.6667 | 1406666.6667 | 21.1
| Day 8 | 7.4961 |  |  | 31338666.6667 |  |  | 95-P1-CL-80C-80RH-PC-8D-01 | 7.4961 | 31338666.6667 | 1506666.6667 | 20.8 |  | Day 8 | 4.1917 | 0.22195 | 5.295% | 17109.9333 | 7719.4759 | 45.12% | 95-P1-CL-80C-80RH-TS-8D-01 | 3.8723 | 7452 | 360 | 20.7 | 3.6238 | 3.3044 | 0.22195
[21 empty] | 95-P1-CL-80C-80RH-TS-8D-02 | 4.4354 | 27255 | 1316.6667 | 20.7 | 3.0606
[21 empty] | 95-P1-CL-80C-80RH-TS-8D-03 | 4.3039 | 20133.6667 | 963.3333 | 20.9 | 3.1922
[21 empty] | 95-P1-CL-80C-80RH-TS-8D-04 | 4.2792 | 19019 | 910 | 20.9 | 3.2169
[21 empty] | 95-P1-CL-80C-80RH-TS-8D-05 | 4.0678 | 11690 | 556.6667 | 21 | 3.4283
| Day 15 | 7.5354 |  |  | 34311333.3333 |  |  | 95-P1-CL-80C-80RH-PC-2W-01 | 7.5354 | 34311333.3333 | 1603333.3333 | 21.4 |  | Day 15 | 1.9221 | 0.0093519 | 0.4865% | 83.6 | 1.8111 | 2.166% | 95-P1-CL-80C-80RH-TS-2W-01 | 1.9243 | 84 | 4 | 21 | 5.6112 | 5.6133 | 0.0093519
[21 empty] | 95-P1-CL-80C-80RH-TS-2W-02 | 1.9365 | 86.4 | 4 | 21.6 | 5.5989
[21 empty] | 95-P1-CL-80C-80RH-TS-2W-03 | 1.9138 | 82 | 4 | 20.5 | 5.6216
[21 empty] | 95-P1-CL-80C-80RH-TS-2W-04 | 1.9222 | 83.6 | 4 | 20.9 | 5.6132
[21 empty] | 95-P1-CL-80C-80RH-TS-2W-05 | 1.9138 | 82 | 4 | 20.5 | 5.6216
Loamy Soil | Day 0 | 7.5332 | 0.063908 | 0.8484% | 34379333.3333 | 5023140.1865 | 14.61% | 95-P1-LO-80C-80RH-PC-0W-01 | 7.468 | 29378000 | 1323333.3333 | 21.9 | Loamy Soil
[8 empty] | 95-P1-LO-80C-80RH-PC-0W-02 | 7.5958 | 39424000 | 1760000 | 22.4
[8 empty] | 95-P1-LO-80C-80RH-PC-0W-03 | 7.5357 | 34336000 | 1546666.6667 | 22.2
| Day 8 | 7.0969 |  |  | 12498666.6667 |  |  | 95-P1-LO-80C-80RH-PC-8D-01 | 7.0969 | 12498666.6667 | 573333.3333 | 21.8 |  | Day 8 | 4.4263 | 0.14599 | 3.298% | 27885.0667 | 9028.0596 | 32.38% | 95-P1-LO-80C-80RH-TS-8D-01 | 4.217 | 16483.3333 | 766.6667 | 21.5 | 2.8798 | 2.6705 | 0.14599
[21 empty] | 95-P1-LO-80C-80RH-TS-8D-02 | 4.6106 | 40796 | 1880 | 21.7 | 2.4862
[21 empty] | 95-P1-LO-80C-80RH-TS-8D-03 | 4.3732 | 23613.3333 | 1073.3333 | 22 | 2.7237
[21 empty] | 95-P1-LO-80C-80RH-TS-8D-04 | 4.4371 | 27360 | 1266.6667 | 21.6 | 2.6597
[21 empty] | 95-P1-LO-80C-80RH-TS-8D-05 | 4.4938 | 31172.6667 | 1456.6667 | 21.4 | 2.6031
| Day 15 | 7.6044 |  |  | 40214333.3333 |  |  | 95-P1-LO-80C-80RH-PC-2W-01 | 7.6044 | 40214333.3333 | 1803333.3333 | 22.3 |  | Day 15 | 1.9353 | 0.0041783 | 0.2159% | 86.16 | 0.82946 | 0.9627% | 95-P1-LO-80C-80RH-TS-2W-01 | 1.9325 | 85.6 | 4 | 21.4 | 5.603 | 5.6001 | 0.0041783
[21 empty] | 95-P1-LO-80C-80RH-TS-2W-02 | 1.9405 | 87.2 | 4 | 21.8 | 5.5949
[21 empty] | 95-P1-LO-80C-80RH-TS-2W-03 | 1.9385 | 86.8 | 4 | 21.7 | 5.5969
[21 empty] | 95-P1-LO-80C-80RH-TS-2W-04 | 1.9345 | 86 | 4 | 21.5 | 5.6009
[21 empty] | 95-P1-LO-80C-80RH-TS-2W-05 | 1.9304 | 85.2 | 4 | 21.3 | 5.605
Sandy Soil | Day 0 | 7.5855 | 0.073333 | 0.9668% | 38878222.2222 | 6648189.0628 | 17.1% | 95-P1-SA-80C-80RH-PC-0W-01 | 7.5176 | 32930000 | 1850000 | 17.8 | Sandy Soil
[8 empty] | 95-P1-SA-80C-80RH-PC-0W-02 | 7.5758 | 37649666.6667 | 2103333.3333 | 17.9
[8 empty] | 95-P1-SA-80C-80RH-PC-0W-03 | 7.6633 | 46055000 | 2516666.6667 | 18.3
| Day 8 | 7.5768 |  |  | 37740000 |  |  | 95-P1-SA-80C-80RH-PC-8D-01 | 7.5768 | 37740000 | 2096666.6667 | 18 |  | Day 8 | 1.8597 | 0.007542 | 0.4056% | 72.4 | 1.2649 | 1.747% | 95-P1-SA-80C-80RH-TS-8D-01 | 1.8549 | 71.6 | 4 | 17.9 | 5.7219 | 5.7171 | 0.007542
[21 empty] | 95-P1-SA-80C-80RH-TS-8D-02 | 1.8621 | 72.8 | 4 | 18.2 | 5.7147
[21 empty] | 95-P1-SA-80C-80RH-TS-8D-03 | 1.8573 | 72 | 4 | 18 | 5.7195
[21 empty] | 95-P1-SA-80C-80RH-TS-8D-04 | 1.8525 | 71.2 | 4 | 17.8 | 5.7243
[21 empty] | 95-P1-SA-80C-80RH-TS-8D-05 | 1.8716 | 74.4 | 4 | 18.6 | 5.7052
| Day 15 | 7.3437 |  |  | 22066000 |  |  | 95-P1-SA-80C-80RH-PC-2W-01 | 7.3437 | 22066000 | 1180000 | 18.7 |  | Day 15 | 1.8507 | 0.019434 | 1.05% | 70.96 | 3.0932 | 4.359% | 95-P1-SA-80C-80RH-TS-2W-01 | 1.8525 | 71.2 | 4 | 17.8 | 5.4912 | 5.4931 | 0.019434
[21 empty] | 95-P1-SA-80C-80RH-TS-2W-02 | 1.8169 | 65.6 | 4 | 16.4 | 5.5268
[21 empty] | 95-P1-SA-80C-80RH-TS-2W-03 | 1.8573 | 72 | 4 | 18 | 5.4864
[21 empty] | 95-P1-SA-80C-80RH-TS-2W-04 | 1.8621 | 72.8 | 4 | 18.2 | 5.4816
[21 empty] | 95-P1-SA-80C-80RH-TS-2W-05 | 1.8645 | 73.2 | 4 | 18.3 | 5.4792
BIs | Day 0 | 6.6376 | 0.085446 | 1.287% | 4396666.6667 | 855121.8237 | 19.45% | P1-BI-80C-80RH-BP-0w-01 | 6.6415 | 4380000 | 438000 | 10 | BIs
[8 empty] | P1-BI-80C-80RH-BP-0w-02 | 6.721 | 5260000 | 526000 | 10
[8 empty] | P1-BI-80C-80RH-BP-0w-03 | 6.5502 | 3550000 | 355000 | 10
| Day 8 | [12 empty] | Day 8 | 0.44262 | 0.011521 | 2.603% | 2.7716 | 0.073203 | 2.641% | 95-P1-BI-80c-80rh-BS-8D-01 | 0.42597 | 2.6667 | 0.13333 | 20 | 6.2116 | 6.1949 | 0.011521
[21 empty] | 95-P1-BI-80c-80rh-BS-8D-02 | 0.43771 | 2.7397 | 0.13699 | 20 | 6.1999
[21 empty] | 95-P1-BI-80c-80rh-BS-8D-03 | 0.45593 | 2.8571 | 0.14286 | 20 | 6.1816
[21 empty] | 95-P1-BI-80c-80rh-BS-8D-04 | 0.44977 | 2.8169 | 0.14085 | 20 | 6.1878
[21 empty] | 95-P1-BI-80c-80rh-BS-8D-05 | 0.4437 | 2.7778 | 0.13889 | 20 | 6.1939
| Day 15 | [12 empty] | Day 15 | 0.38411 | 0.0079266 | 2.064% | 2.422 | 0.043941 | 1.814% | 95-P1-BI-80c-80rh-BS-2W-01 | 0.39254 | 2.4691 | 0.12346 | 20 | 6.245 | 6.2535 | 0.0079266
[21 empty] | 95-P1-BI-80c-80rh-BS-2W-02 | 0.38722 | 2.439 | 0.12195 | 20 | 6.2503
[21 empty] | 95-P1-BI-80c-80rh-BS-2W-03 | 0.37161 | 2.3529 | 0.11765 | 20 | 6.266
[21 empty] | 95-P1-BI-80c-80rh-BS-2W-04 | 0.38195 | 2.4096 | 0.12048 | 20 | 6.2556
[21 empty] | 95-P1-BI-80c-80rh-BS-2W-05 | 0.38722 | 2.439 | 0.12195 | 20 | 6.2503
Negative Controls
Stainless Steel | Day 0 | 0.69059 | 1.0376 | 150.3% | 26.6226 | 43.9734 | 165.2% | 95-P1-SS-80c-80rh-NC-0w-N | 1.8887 | 77.3987 | 3.8699 | 20
| Day 8 | [6 empty] | 95-P1-SS-80c-80rh-NC-8D-01 | 0.091515 | 1.2346 | 0.061728 | 20
| Day 15 | [6 empty] | 95-P1-SS-80c-80rh-NC-2W-01 | 0.091515 | 1.2346 | 0.061728 | 20
Clayey Soils | Day 0 | 1.9199 | 0.016489 | 0.8588% | 83.2 | 3.1241 | 3.755% | 95-P1-CL-80C-80RH-NC-0W-01 | 1.9304 | 85.2 | 4 | 21.3
| Day 8 | [6 empty] | 95-P1-CL-80C-80RH-NC-8D-01 | 1.9284 | 84.8 | 4 | 21.2
| Day 15 | [6 empty] | 95-P1-CL-80C-80RH-NC-2W-01 | 1.9009 | 79.6 | 4 | 19.9
Loamy Soils | Day 0 | 1.9471 | 0.0081371 | 0.4179% | 88.5333 | 1.6653 | 1.881% | 95-P1-LO-80C-80RH-NC-0W-01 | 1.9562 | 90.4 | 4 | 22.6
| Day 8 | [6 empty] | 95-P1-LO-80C-80RH-NC-8D-01 | 1.9405 | 87.2 | 4 | 21.8
| Day 15 | [6 empty] | 95-P1-LO-80C-80RH-NC-2W-01 | 1.9445 | 88 | 4 | 22
Sandy Soils | Day 0 | 1.8637 | 0.0072453 | 0.3888% | 73.0667 | 1.222 | 1.672% | 95-P1-SA-80C-80RH-NC-0W-01 | 1.8621 | 72.8 | 4 | 18.2
| Day 8 | [6 empty] | 95-P1-SA-80C-80RH-NC-8D-01 | 1.8573 | 72 | 4 | 18
| Day 15 | [6 empty] | 95-P1-SA-80C-80RH-NC-2W-01 | 1.8716 | 74.4 | 4 | 18.6
Notes: Sample not in the countable could not be plated with a larger volume due to background contamination.
Largest volume plated was either 250 µl or 500 µl depending on the amount of background contamination.
Pictures of representative plates are available on DTRL.