## Summary
Inoculation Controls | [28 empty] | Notes | Positive BIs were average for all the samples
Types of Samples | Post - Inoculation Time | Mean Log CFU/Sample | Log CFU/Sample Std Dev | Log CFU/Sample %RSD | Mean CFU/Sample | CFU/Sample Std Dev | CFU/Sample %RSD | Sample ID | Log CFU/Sample | CFU/sample | CFU/ml | Sample Volume (ml) |  | Non-Detects
Stainless-Steel Inoculation Controls | Day 0 | 6.9028 | 0.079481 | 1.151% | 8104000 | 1528620.2929 | 18.86% | 95-P1-SS-80-IN-0W-01 | 7.0187 | 10440000 | 522000 | 20
[8 empty] | 95-P1-SS-80-IN-0W-02 | 6.8842 | 7660000 | 383000 | 20
[8 empty] | 95-P1-SS-80-IN-0W-03 | 6.8089 | 6440000 | 322000 | 20
[8 empty] | 95-P1-SS-80-IN-0W-04 | 6.8645 | 7320000 | 366000 | 20
[8 empty] | 95-P1-SS-80-IN-0W-05 | 6.9375 | 8660000 | 433000 | 20
Positive Controls
Stainless-Steel | Day 0 | 7.2806 | 0.31244 | 4.291% | 22666666.6667 | 16166599.3126 | 71.32% | 95-P1-SS-80-IN-0W-06 | 7.2415 | 17440000 | 872000 | 20
[8 empty] | 95-P1-SS-80-IN-0W-07 | 6.9894 | 9760000 | 488000 | 20
[8 empty] | 95-P1-SS-80-IN-0W-08 | 7.6107 | 40800000 | 2040000 | 20
[13 empty] | Heat Treated Samples | [13 empty] | Heat Treatment Effectivenss
[13 empty] | Material | Exposure Time | Mean Log CFU/Sample | Log CFU/Sample Std Dev | Log CFU/Sample %RSD | Mean CFU/Sample | CFU/Sample Std Dev | CFU/Sample %RSD | Sample ID | Log CFU/Sample | CFU/sample | CFU/ml | Sample Volume (ml) | Temporal Log reduction (LRi) | Average LR (CFU) | Standrd Deviation (log (CFU)
| Day 8 | 7.3181 |  |  | 20800000 |  |  | 95-P1-SS-80-PC-8d-01 | 7.3181 | 20800000 | 1040000 | 20 | Stainless-Steel | Day 8 | 5.2562 | 0.1139 | 2.167% | 185440 | 48782.2509 | 26.31% | 95-P1-SS-80-TS-8d-01 | 5.3802 | 240000 | 12000 | 20 | 1.9379 | 2.0619 | 0.1139
[21 empty] | 95-P1-SS-80-TS-8d-02 | 5.3692 | 234000 | 11700 | 20 | 1.9488
[21 empty] | 95-P1-SS-80-TS-8d-03 | 5.234 | 171400 | 8570 | 20 | 2.0841
[21 empty] | 95-P1-SS-80-TS-8d-04 | 5.1584 | 144000 | 7200 | 20 | 2.1597
[21 empty] | 95-P1-SS-80-TS-8d-05 | 5.1392 | 137800 | 6890 | 20 | 2.1788
| Day 15 | 6.8887 |  |  | 7740000 |  |  | 95-P1-SS-80-PC-2W-1 | 6.8887 | 7740000 | 387000 | 20 |  | Day 15 | 4.1752 | 0.30808 | 7.379% | 17573.3333 | 9194.6083 | 52.32% | 95-P1-SS-80-TS-2W-01 | 3.6615 | 4586.6667 | 229.3333 | 20 | 3.2272 | 2.7135 | 0.30808
[21 empty] | 95-P1-SS-80-TS-2W-2 | 4.3304 | 21400 | 1070 | 20 | 2.5583
[21 empty] | 95-P1-SS-80-TS-2W-3 | 4.1892 | 15460 | 773 | 20 | 2.6995
[21 empty] | 95-P1-SS-80-TS-2W-4 | 4.2206 | 16620 | 831 | 20 | 2.6681
[21 empty] | 95-P1-SS-80-TS-2W-5 | 4.4742 | 29800 | 1490 | 20 | 2.4145
| Day 28 | 7.3579 |  |  | 22800000 |  |  | 95-P1-SS-80-PC-28d | 7.3579 | 22800000 | 1140000 | 20 |  | Day 28 | 0.8208 | 0.26695 | 32.52% | 7.6051 | 4.2799 | 56.28% | 95-P1-SS-80-TS-4W-01 | 0.84873 | 7.0588 | 0.35294 | 20 | 6.5092 | 6.5371 | 0.26695
[21 empty] | 95-P1-SS-80-TS-4W-02 | 0.91568 | 8.2353 | 0.41176 | 20 | 6.4423
[21 empty] | 95-P1-SS-80-TS-4W-03 | 1.1549 | 14.2857 | 0.71429 | 20 | 6.203
[21 empty] | 95-P1-SS-80-TS-4W-04 | 0.76447 | 5.814 | 0.2907 | 20 | 6.5935
[21 empty] | 95-P1-SS-80-TS-4W-05 | 0.42022 | 2.6316 | 0.13158 | 20 | 6.9377
| Day 49 | 6.4314 |  |  | 2700000 |  |  | 95-P1-SS-80-PC-7W-01 | 6.4314 | 2700000 | 135000 | 20 |  | Day 59 | 0.11604 | 0.017011 | 14.66% | 1.3071 | 0.051777 | 3.961% | 95-P1-SS-80-TS-7W-01 | 0.14267 | 1.3889 | 0.069444 | 20 | 6.2887 | 6.3153 | 0.017011
[21 empty] | 95-P1-SS-80-TS-7W-02 | 0.09691 | 1.25 | 0.0625 | 20 | 6.3345
[21 empty] | 95-P1-SS-80-TS-7W-03 | 0.10791 | 1.2821 | 0.064103 | 20 | 6.3235
[21 empty] | 95-P1-SS-80-TS-7W-04 | 0.11351 | 1.2987 | 0.064935 | 20 | 6.3179
[21 empty] | 95-P1-SS-80-TS-7W-05 | 0.11919 | 1.3158 | 0.065789 | 20 | 6.3122
Clayey Soil | Day 0 | 7.4974 | 0.25823 | 3.444% | 35596444.4444 | 22593673.6999 | 63.47% | 95-P1-CL-80-PC-0w-01 | 7.4068 | 25513333.3333 | 1186666.6667 | 21.5 | Clayey Soil
[8 empty] | 95-P1-CL-80-PC-0w-02 | 7.2967 | 19800000 | 916666.6667 | 21.6
[8 empty] | 95-P1-CL-80-PC-0w-03 | 7.7887 | 61476000 | 2820000 | 21.8
| Day 8 | 7.3766 |  |  | 23800000 |  |  | 95-P1-CL-80-PC-8d-01 | 7.3766 | 23800000 | 1166666.6667 | 20.4 |  | Day 8 | 6.2483 | 0.20324 | 3.253% | 1936526.6667 | 923909.6115 | 47.71% | 95-P1-CL-80-TS-8d-01 | 6.0339 | 1081200 | 53000 | 20.4 | 1.3427 | 1.2067 | 0.30541
[21 empty] | 95-P1-CL-80-TS-8d-02 | 6.5013 | 3172033.3333 | 150333.3333 | 21.1 | 0.87524
[21 empty] | 95-P1-CL-80-TS-8d-03 | 6.1398 | 1379733.3333 | 66333.3333 | 20.8 | 1.2368
[21 empty] | 95-P1-CL-80-TS-8d-04 | 6.4264 | 2669333.3333 | 128333.3333 | 20.8 | 0.95017
[21 empty] | 95-P1-CL-80-TS-8d-05 | 6.14 | 1380333.3333 | 68333.3333 | 20.2
| Day 15 | 7.3441 |  |  | 22084666.6667 |  |  | 95-P1-CL-80-PC-2W-01 | 7.3441 | 22084666.6667 | 1046666.6667 | 21.1 |  | Day 15 | 5.862 | 0.17682 | 3.016% | 779144 | 327897.7061 | 42.08% | 95-P1-CL-80-TS-2W-01 | 5.7154 | 519333.3333 | 25333.3333 | 20.5 | 1.6286 | 1.7447 | 0.6626
[21 empty] | 95-P1-CL-80-TS-2W-02 | 5.7069 | 509200 | 25333.3333 | 20.1 | 1.6372
[21 empty] | 95-P1-CL-80-TS-2W-03 | 6.0883 | 1225440 | 59200 | 20.7 | 1.2558
[21 empty] | 95-P1-CL-80-TS-2W-04 | 6.0126 | 1029480 | 49733.3333 | 20.7 | 1.3315
[21 empty] | 95-P1-CL-80-TS-2W-05 | 5.7869 | 612266.6667 | 29866.6667 | 20.5 | 1.5572
| Day 28 | 7.6259 |  |  | 42258666.6667 |  |  | 95-P1-CL-80-PC-4W-01 | 7.6259 | 42258666.6667 | 1993333.3333 | 21.2 |  | Day 28 | 4.3492 | 0.29777 | 6.847% | 26301.3333 | 14266.8192 | 54.24% | 95-P1-CL-80-TS-4W-01 | 4.5677 | 36960 | 1866.6667 | 19.8 | 3.0582 | 3.6764 | 1.0145
[21 empty] | 95-P1-CL-80-TS-4W-02 | 4.5569 | 36050 | 1750 | 20.6 | 3.069
[21 empty] | 95-P1-CL-80-TS-4W-03 | 4.5689 | 37060 | 1816.6667 | 20.4 | 3.057
[21 empty] | 95-P1-CL-80-TS-4W-04 | 3.9677 | 9283.7333 | 450.6667 | 20.6 | 3.6582
[21 empty] | 95-P1-CL-80-TS-4W-05 | 4.0847 | 12152.9333 | 598.6667 | 20.3 | 3.5412
| Day 49 | 7.5948 |  |  | 39334000 |  |  | 95-P1-CL-80-PC-7W-01 | 7.5948 | 39334000 | 1846666.6667 | 21.3 |  | Day 59 | 1.9218 | 0.0053599 | 0.2789% | 83.52 | 1.0354 | 1.24% | 95-P1-CL-80-TS-7W-01 | 1.9201 | 83.2 | 4 | 20.8 | 5.6746 | 5.673 | 0.0053599
[21 empty] | 95-P1-CL-80-TS-7W-02 | 1.9304 | 85.2 | 4 | 21.3 | 5.6643
[21 empty] | 95-P1-CL-80-TS-7W-03 | 1.9222 | 83.6 | 4 | 20.9 | 5.6726
[21 empty] | 95-P1-CL-80-TS-7W-04 | 1.9159 | 82.4 | 4 | 20.6 | 5.6788
[21 empty] | 95-P1-CL-80-TS-7W-05 | 1.9201 | 83.2 | 4 | 20.8 | 5.6746
Loamy Soil | Day 0 | 7.5539 | 0.20443 | 2.706% | 38656222.2222 | 19092713.3784 | 49.39% | 95-P1-LO-80-PC-0w-01 | 7.4992 | 31564666.6667 | 1396666.6667 | 22.6 | Loamy Soil
[8 empty] | 95-P1-LO-80-PC-0w-02 | 7.3824 | 24124000 | 1086666.6667 | 22.2
[8 empty] | 95-P1-LO-80-PC-0w-03 | 7.7802 | 60280000 | 2740000 | 22
| Day 8 | 7.3331 |  |  | 21533333.3333 |  |  | 95-P1-LO-80-PC-8d-01 | 7.3331 | 21533333.3333 | 1076666.6667 | 20 |  | Day 8 | 6.1904 | 0.10452 | 1.688% | 1587420 | 396159.6911 | 24.96% | 95-P1-LO-80-TS-8d-01 | 6.342 | 2198000 | 104666.6667 | 21 | 0.99108 | 1.261 | 0.30443
[21 empty] | 95-P1-LO-80-TS-8d-02 | 6.142 | 1386666.6667 | 69333.3333 | 20 | 1.1911
[21 empty] | 95-P1-LO-80-TS-8d-03 | 6.0657 | 1163433.3333 | 55666.6667 | 20.9 | 1.2674
[21 empty] | 95-P1-LO-80-TS-8d-04 | 6.2371 | 1726400 | 83000 | 20.8 | 1.096
[21 empty] | 95-P1-LO-80-TS-8d-05 | 6.1651 | 1462600 | 68666.6667 | 21.3 | 1.168
| Day 15 | 7.2307 |  |  | 17010000 |  |  | 95-P1-LO-80-PC-2W-01 | 7.2307 | 17010000 | 810000 | 21 |  | Day 15 | 5.6248 | 0.19784 | 3.517% | 457438.6667 | 204749.9654 | 44.76% | 95-P1-LO-80-TS-2W-01 | 5.3783 | 238960 | 11600 | 20.6 | 1.8524 | 1.8123 | 0.53557
[21 empty] | 95-P1-LO-80-TS-2W-02 | 5.4978 | 314640 | 15200 | 20.7 | 1.7329
[21 empty] | 95-P1-LO-80-TS-2W-03 | 5.6168 | 413820 | 19800 | 20.9 | 1.6139
[21 empty] | 95-P1-LO-80-TS-2W-04 | 5.8742 | 748466.6667 | 36333.3333 | 20.6 | 1.3565
[21 empty] | 95-P1-LO-80-TS-2W-05 | 5.7569 | 571306.6667 | 27466.6667 | 20.8 | 1.4738
| Day 28 | 7.613 |  |  | 41016666.6667 |  |  | 95-P1-LO-80-PC-4W-01 | 7.613 | 41016666.6667 | 1916666.6667 | 21.4 |  | Day 28 | 4.8082 | 0.048342 | 1.005% | 64616.6667 | 7169.5532 | 11.1% | 95-P1-LO-80-TS-4W-01 | 4.7688 | 58728.3333 | 2783.3333 | 21.1 | 2.8441 | 3.1563 | 0.86206
[21 empty] | 95-P1-LO-80-TS-4W-02 | 4.8171 | 65626.6667 | 3066.6667 | 21.4 | 2.7959
[21 empty] | 95-P1-LO-80-TS-4W-03 | 4.8362 | 68575 | 3250 | 21.1 | 2.7768
[21 empty] | 95-P1-LO-80-TS-4W-04 | 4.7506 | 56306.6667 | 2733.3333 | 20.6 | 2.8624
[21 empty] | 95-P1-LO-80-TS-4W-05 | 4.8683 | 73846.6667 | 3533.3333 | 20.9 | 2.7446
| Day 49 | 7.5213 |  |  | 33208666.6667 |  |  | 95-P1-LO-80-PC-7W-01 | 7.5213 | 33208666.6667 | 1523333.3333 | 21.8 |  | Day 59 | 3.2675 | 0.39026 | 11.94% | 2339.1467 | 1346.1886 | 57.55% | 95-P1-LO-80-TS-7W-01 | 2.6075 | 405.0667 | 18.6667 | 21.7 | 4.9137 | 4.2538 | 0.39026
[21 empty] | 95-P1-LO-80-TS-7W-02 | 3.6035 | 4013.3333 | 186.6667 | 21.5 | 3.9177
[21 empty] | 95-P1-LO-80-TS-7w-03 | 3.4255 | 2664 | 120 | 22.2 | 4.0957
[21 empty] | 95-P1-LO-80-TS-7w-04 | 3.2455 | 1760 | 80 | 22 | 4.2757
[21 empty] | 95-P1-LO-80-TS-7w-05 | 3.4554 | 2853.3333 | 133.3333 | 21.4 | 4.0659
Sandy Soil | Day 0 | 7.5086 | 0.13377 | 1.782% | 33265222.2222 | 9891212.5216 | 29.73% | 95-P1-SA-80-PC-0w-01 | 7.6349 | 43139000 | 2410000 | 17.9 | Sandy Soil
[8 empty] | 95-P1-SA-80-PC-0w-02 | 7.3684 | 23356666.6667 | 1283333.3333 | 18.2
[8 empty] | 95-P1-SA-80-PC-0w-03 | 7.5224 | 33300000 | 1850000 | 18
| Day 8 | 7.3936 |  |  | 24752000 |  |  | 95-P1-SA-80-PC-8d-01 | 7.3936 | 24752000 | 1360000 | 18.2 |  | Day 8 | 6.1411 | 0.40378 | 6.575% | 2165620 | 2761457.1906 | 127.5% | 95-P1-SA-80-TS-8d-01 | 6.0164 | 1038400 | 58666.6667 | 17.7 | 1.3772 | 1.3499 | 0.43294
[21 empty] | 95-P1-SA-80-TS-8d-02 | 5.8378 | 688266.6667 | 38666.6667 | 17.8 | 1.5559
[21 empty] | 95-P1-SA-80-TS-8d-03 | 5.982 | 959300 | 53000 | 18.1 | 1.4117
[21 empty] | 95-P1-SA-80-TS-8d-04 | 6.0185 | 1043466.6667 | 57333.3333 | 18.2 | 1.3751
[21 empty] | 95-P1-SA-80-TS-8d-05 | 6.8512 | 7098666.6667 | 403333.3333 | 17.6 | 0.54243
| Day 15 | 7.4859 |  |  | 30616000 |  |  | 95-P1-SA-80-PC-2W-01 | 7.4859 | 30616000 | 1720000 | 17.8 |  | Day 15 | 5.5123 | 0.23657 | 4.292% | 369290.6667 | 221019.2299 | 59.85% | 95-P1-SA-80-TS-2W-01 | 5.6486 | 445280 | 24200 | 18.4 | 1.8373 | 2.2364 | 0.67752
[21 empty] | 95-P1-SA-80-TS-2W-02 | 5.3981 | 250100 | 13666.6667 | 18.3 | 2.0878
[21 empty] | 95-P1-SA-80-TS-2W-03 | 5.3661 | 232320 | 13200 | 17.6 | 2.1199
[21 empty] | 95-P1-SA-80-TS-2W-04 | 5.86 | 724353.3333 | 40466.6667 | 17.9 | 1.626
[21 empty] | 95-P1-SA-80-TS-2W-05 | 5.2887 | 194400 | 10800 | 18 | 2.1973
| Day 28 | 7.9179 |  |  | 82770000 |  |  | 95-P1-SA-80-PC-4W-01 | 7.9179 | 82770000 | 4650000 | 17.8 |  | Day 15 | 4.2458 | 0.30824 | 7.26% | 20743.04 | 11181.9444 | 53.91% | 95-P1-SA-80-TS-4W-01 | 4.3677 | 23316 | 1340 | 17.4 | 3.5502 | 3.06 | 1.5243
[21 empty] | 95-P1-SA-80-TS-4W-02 | 3.7414 | 5513.2 | 308 | 17.9 | 4.1765
[21 empty] | 95-P1-SA-80-TS-4W-03 | 4.3552 | 22656 | 1280 | 17.7 | 3.5627
[21 empty] | 95-P1-SA-80-TS-4W-04 | 4.2071 | 16110 | 900 | 17.9 | 3.7108
[21 empty] | 95-P1-SA-80-TS-4W-05 | 4.5577 | 36120 | 2006.6667 | 18 | 3.3601
0
| Day 9 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | Day 9 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[8 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
|  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[8 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
| Day 49 | 8.5642 |  |  | 366600000 |  |  | 95-P1-SA-80-PC-7W-01 | 8.5642 | 366600000 | 20366666.6667 | 18 |  | Day 59 | 1.8549 | 0.0042142 | 0.2272% | 71.6 | 0.69282 | 0.9676% | 95-P1-SA-80-TS-7w-01 | 1.85 | 70.8 | 4 | 17.7 | 6.7142 | 6.7093 | 0.0059477
[21 empty] | 95-P1-SA-80-TS-7w-02 | 1.8573 | 72 | 4 | 18 | 6.7069
[21 empty] | 95-P1-SA-80-TS-7w-03 | 1.8573 | 72 | 4 | 18 | 6.7069
[21 empty] | 95-P1-SA-80-TS-7w-04 | 1.8476 | 70.4 | 4 | 17.6 | 6.7166
[21 empty] | 95-P1-SA-80-TS-7w-05 | 1.8621 | 72.8 | 4 | 18.2 | 6.7021
BIs | Day 0 | 5.3916 | 0.092515 | 1.716% | 250000 | 50477.7179 | 20.19% | 95-P1-BI-80-BP-0d-01 | 5.2878 | 194000 | 19400 | 10 | BIs
[8 empty] | 95-P1-BI-80-BP-0d-02 | 5.4654 | 292000 | 29200 | 10
[8 empty] | 95-P1-BI-80-BP-0d-03 | 5.4216 | 264000 | 26400 | 10
| Day 8 | 6.6474 |  |  | 4440000 |  |  | 95-P1-BI-80-BP-8d-01 | 6.6474 | 4440000 | 444000 | 10 |  | Day 8 | 5.3968 | 0.21994 | 4.075% | 273200 | 115400.1733 | 42.24% | 95-P1-BI-80-BS-8d-01 | 5.0792 | 120000 | 12000 | 10 | 0.82689 | 0.48605 | 0.39437
[21 empty] | 95-P1-BI-80-BS-8d-02 | 5.5276 | 337000 | 33700 | 10 | 0.19758
[21 empty] | 95-P1-BI-80-BS-8d-03 | 5.2529 | 179000 | 17900 | 10 | 0.47235
[21 empty] | 95-P1-BI-80-BS-8d-04 | 5.5623 | 365000 | 36500 | 10 | 0.16291
[21 empty] | 95-P1-BI-80-BS-8d-04 | 5.5623 | 365000 | 36500 | 10 | 0.16291
| Day 15 | 6.9912 |  |  | 9800000 |  |  | 95-P1-BI-80-BP-2W-1 | 6.9912 | 9800000 | 490000 | 20 |  | Day 15 | 4.3933 | 0.18669 | 4.249% | 26520 | 10463.8425 | 39.46% | 95-P1-BI-80-BS-2W-01 | 4.5563 | 36000 | 1800 | 20 | 1.0937 | 1.9896 | 1.6582
[21 empty] | 95-P1-BI-80-BS-2W-02 | 4.3139 | 20600 | 1030 | 20 | 1.4113
[21 empty] | 95-P1-BI-80-BS-2W-03 | 4.1271 | 13400 | 670 | 20 | 1.5981
[21 empty] | 95-P1-BI-80-BS-2W-04 | 4.5821 | 38200 | 1910 | 20 | 1.1431
[21 empty] | 95-P1-BI-80-BS-2W-05 | 4.3874 | 24400 | 1220 | 20 | 1.3378
| Day 28 | 5.1987 |  |  | 158000 |  |  | 95-P1-BI-80-BP-28d | 5.1987 | 158000 | 7900 | 20 |  | Day 28 | 0.38306 | 0.0077584 | 2.025% | 2.4161 | 0.043043 | 1.782% | 95-P1-BI-80-BS-4W-01 | 0.37161 | 2.3529 | 0.11765 | 20 | 5.3536 | 5.3559 | 0.031507
[21 empty] | 95-P1-BI-80-BS-4W-02 | 0.39254 | 2.4691 | 0.12346 | 20 | 5.4191
[21 empty] | 95-P1-BI-80-BS-4W-03 | 0.38195 | 2.4096 | 0.12048 | 20 | 5.3433
[21 empty] | 95-P1-BI-80-BS-4W-04 | 0.38722 | 2.439 | 0.12195 | 20 | 5.338
[21 empty] | 95-P1-BI-80-BS-4W-05 | 0.38195 | 2.4096 | 0.12048 | 20 | 5.3433
[14 empty] | Day 59 | 0.38057 | 0.021482 | 5.645% | 2.4039 | 0.11763 | 4.893% | 95-P1-BI-80-BS-7W-01 | 0.38722 | 2.439 | 0.12195 | 20 | 5.338 | 4.9098 | 0.39509
| Day 49 | 6.3304 |  |  | 2140000 |  |  | 95-P1-BI-80-BP-7W-01 | 6.3304 | 2140000 | 107000 | 20 | [8 empty] | 95-P1-BI-80-BS-7W-02 | 0.39794 | 2.5 | 0.125 | 20 | 5.3273
[21 empty] | 95-P1-BI-80-BS-7W-03 | 0.35655 | 2.2727 | 0.11364 | 20 | 4.558
[21 empty] | 95-P1-BI-80-BS-7W-04 | 0.35655 | 2.2727 | 0.11364 | 20 | 4.5601
[21 empty] | 95-P1-BI-80-BS-7W-05 | 0.37675 | 2.381 | 0.11905 | 20 | 4.7658
Negative Controls
Stainless Steel | Day 0 | 0.39522 | 0.69998 | 177.1% | 9.8299 | 19.2717 | 196.1% | 95-P1-SS-80-NC-0w-01 | 0.05061 | 1.1236 | 0.05618 | 20
| Day 8 | [6 empty] | 95-P1-SS-80-NC-8d-01 | 0.065502 | 1.1628 | 0.05814 | 20
| Day 15 | [6 empty] | 95-P1-SS-80-NC-2W-01 | 1.6464 | 44.3038 | 2.2152 | 20
| Day 28 | [6 empty] | 95-P1-SS-80-NC-4W-01 | 0.12205 | 1.3245 | 0.066225 | 20
| Day 49 | [6 empty] | 95-P1-SS-80-NC-7W-01 | 0.091515 | 1.2346 | 0.061728 | 20
Clayey Soils | Day 0 | 1.918 | 0.0074404 | 0.3879% | 82.8 | 1.4142 | 1.708% | 95-P1-CL-80-NC-0w-01 | 1.9222 | 83.6 | 4 | 20.9
| Day 8 | [6 empty] | 95-P1-CL-80-NC-8d-01 | 1.9138 | 82 | 4 | 20.5
| Day 15 | [6 empty] | 95-P1-CL-80-NC-2W-01 | 1.9201 | 83.2 | 4 | 20.8
| Day 28 | [6 empty] | 95-P1-CL-80-NC-4W-01 | 1.9074 | 80.8 | 4 | 20.2
| Day 49 | [6 empty] | 95-P1-CL-80-NC-7W-01 | 1.9263 | 84.4 | 4 | 21.1
Loamy Soils | Day 0 | 1.9136 | 0.026708 | 1.396% | 82.08 | 5.047 | 6.149% | 95-P1-LO-80-NC-0w-01 | 1.9425 | 87.6 | 4 | 21.9
| Day 8 | [6 empty] | 95-P1-LO-80-NC-8d-01 | 1.9117 | 81.6 | 4 | 20.4
| Day 15 | [6 empty] | 95-P1-LO-80-NC-2W-01 | 1.8831 | 76.4 | 4 | 19.1
| Day 28 | [6 empty] | 95-P1-LO-80-NC-4W-01 | 1.8921 | 78 | 4 | 19.5
| Day 49 | [6 empty] | 95-P1-LO-80-NC-7W-01 | 1.9385 | 86.8 | 4 | 21.7
Sandy Soils | Day 0 | 1.8512 | 0.018968 | 1.025% | 71.04 | 3.0411 | 4.281% | 95-P1-SA-80-NC-0w-01 | 1.8573 | 72 | 4 | 18
| Day 8 | [6 empty] | 95-P1-SA-80-NC-8d-01 | 1.8597 | 72.4 | 4 | 18.1
| Day 15 | [6 empty] | 95-P1-SA-80-NC-2W-01 | 1.8692 | 74 | 4 | 18.5
| Day 28 | [6 empty] | 95-P1-SA-80-NC-4W-01 | 1.8195 | 66 | 4 | 16.5
| Day 49 | [6 empty] | 95-P1-SA-80-NC-7W-01 | 1.85 | 70.8 | 4 | 17.7
Notes: Sample not in the countable could not be plated with a larger volume due to background contamination.
Largest volume plated was either 250 µl or 500 µl depending on the amount of background contamination.
Pictures of representative plates are available on DTRL.