## BG
B. globigii (CFU/mL)
[5 empty] | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent
Pre-contamination | 2016-09-13 | D01-00 | 0 | 0 | 3.55 | 3.3 | 7 | 38 | 5.8333
During Contamination | 2016-09-13 | D01-02 | 2 | 0.083333 | 970000 | 695000 | 42000 | 45000 | 5650
| 2016-09-13 | D01-05 | 5 | 0.20833 | 455000 | 460000 | 230000 | 320000 | 81000
| 2016-09-13 | D01-08 | 8 | 0.33333 | 490000 | 640000 | 540000 | 310000 | 117000
| 2016-09-14 | D02-24 | 24 | 1 | 405000 | 420000 | 750000 | 280000 | 96000
| 2016-09-14 | D02-32 | 32 | 1.3333 | 2900000 | 1465000 | 2200000 | 1500000 | 170000
| 2016-09-15 | D03-48 | 48 | 2 | 1795000 | 750000 | 1400000 | 1880000 | 235000
| 2016-09-16 | D04-72 | 72 | 3 | 205000 | 310000 | 365000 | 1265000 | 143333.3333
| 2016-09-16 | D04-74 | 74 | 3.0833 | 7600 | 105000 | 245000 | 415000 | 173333.3333
| 2016-09-16 | D04-77 | 77 | 3.2083 | 6900 | 5500 | 220000 | 205000 | 160000
| 2016-09-16 | D04-80 | 80 | 3.3333 | 200 | 3650 | 300000 | 225000 | 146666.6667
Post-Contamination | 2016-09-17 | D05-96 | 96 | 4 | 30 | 1600 | 81000 | 94666.6667 | 24500
| 2016-09-18 | D06-120 | 120 | 5 | 28.3333 | 250 | 92500 | 34333.3333 | 6500
| 2016-09-19 | D07-144 | 144 | 6 | 14.5 | 100 | 65000 | 31333.3333 | 6500
| 2016-09-20 | D08-168 | 168 | 7 | 12.5 | 250 | 50666.6667 | 45000 | 5500
| 2016-09-22 | D10-216 | 216 | 9 | 13.5 | 22.3333 | 7000 | 1933.3333 | 1400
| 2016-09-27 | D15-336 | 336 | 14 | 3.1 | 5.35 | 1500 | 1100 | 990
| 2016-09-29 | D17-384 | 384 | 16 | 6.2 | 31.75 | 2400 | 1400 | 360
| 2016-10-04 | D22-504 | 504 | 21 | 50 | 5.9 | 975 | 825 | 220
| 2016-10-06 | D24-552 | 552 | 23 | 1.45 | 2.85 | 100 | 525 | 115
| 2016-10-11 | D29-672 | 672 | 28 | 1.75 | 7.15 | 4150 | 2350 | 1145
| 2016-10-13 | D31-720 | 720 | 30 | 0.8 | 1.05 | 715 | 450 | 220
| 2016-10-17 | D35-816 | 816 | 34 | 25.5 | 7.625 | 755 | 800 | 315
| 2016-10-20 | D38-888 | 888 | 37 | 4.8 | 2.7 | 230 | 210 | 106
| 2016-10-25 | D43-1008 | 1008 | 42 | 0.35 | 1.2 | 250 | 170 | 43.6667
| 2016-10-27 | D45-1056 | 1056 | 44 | 1.1 | 10.05 | 1250 | 595 | 380
| 2016-11-01 | D50-1176 | 1176 | 49 | 1 | 4.5 | 2100 | 1150 | 95.3333
| 2016-11-03 | D52-1224 | 1224 | 51 | 2 | 0.6 | 2250 | 800 | 170
| 2016-11-08 | D57-1225 | 1344 | 56 | 0.5 | 0.5 | 2500 | 2700 | 290
| 2016-11-10 | D59-1226 | 1392 | 58 | 1.5 | 0.525 | 2500 | 4600 | 215

## COD
COD mg/L
[5 empty] | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent | COD Removal (%)
Pre-contamination | 2016-09-13 | D01-00 | 0 | 0 | 218 | 211 | 84 | 79 | 68 | 68.8073
During Contamination | 2016-09-13 | D01-02 | 2 | 0.083333 | 234 | 218 | 192 | 68 | 56 | 76.0684
| 2016-09-13 | D01-05 | 5 | 0.20833 | 226 | 218 | 211 | 84 | 79 | 65.0442
| 2016-09-13 | D01-08 | 8 | 0.33333 | 197 | 198 | 122 | 96 | 63 | 68.0203
| 2016-09-14 | D02-24 | 24 | 1 | 226 | 210 | 57 | 48 | 45 | 80.0885
| 2016-09-14 | D02-32 | 32 | 1.3333 | 244 | 257 | 90 | 72 | 68 | 72.1311
| 2016-09-15 | D03-48 | 48 | 2 | 229 | 192 | 47 | 50 | 52 | 77.2926
| 2016-09-16 | D04-72 | 72 | 3 | 259 | 281 | 79 | 80 | 73 | 71.8147
| 2016-09-16 | D04-74 | 74 | 3.0833 | 235 | 258 | 75 | 66 | 68 | 71.0638
| 2016-09-16 | D04-77 | 77 | 3.2083 | 238 | 240 | 69
| 2016-09-16 | D04-80 | 80 | 3.3333 | 206 | 187 | 80 | 74 | 102 | 50.4854
Post-Contamination | 2016-09-17 | D05-96 | 96 | 4 | 199 | 194 | 61 | 55 | 54 | 72.8643
| 2016-09-18 | D06-120 | 120 | 5 | 235 | 207 | 70 | 73 | 70 | 70.2128
| 2016-09-19 | D07-144 | 144 | 6 | 219 | 224 | 88 | 91 | 92 | 57.9909
| 2016-09-20 | D08-168 | 168 | 7 | 233 | 234 | 93 | 81 | 89 | 61.8026
| 2016-09-22 | D10-216 | 216 | 9 | 213 | 217 | 60 | 73 | 75 | 64.7887
| 2016-09-27 | D15-336 | 336 | 14 | 252 | 227 | 84 | 76 | 74 | 70.6349
| 2016-09-29 | D17-384 | 384 | 16 | 230 | 238 | 93 | 87 | 89 | 61.3043
| 2016-10-04 | D22-504 | 504 | 21 | 238 | 254 | 85 | 81 | 81 | 65.9664
| 2016-10-06 | D24-552 | 552 | 23 | 230 | 240 | 75 | 81 | 74 | 67.8261
| 2016-10-11 | D29-672 | 672 | 28 | 247 | 267 | 100 | 78 | 63 | 74.4939
| 2016-10-13 | D31-720 | 720 | 30 | 244 | 183 | 74 | 71 | 73 | 70.082
| 2016-10-17 | D35-816 | 816 | 34 | 213 | 242 | 76 | 78 | 69 | 67.6056
| 2016-10-20 | D38-888 | 888 | 37 | 218 | 231 | 54 | 76 | 61 | 72.0183
| 2016-10-25 | D43-1008 | 1008 | 42 | 199 | 231 | 44 | 71 | 56 | 71.8593
| 2016-10-27 | D45-1056 | 1056 | 44 | 246 | 244 | 98 | 75 | 85 | 65.4472
| 2016-11-01 | D50-1176 | 1176 | 49 | 237 | 260 | 77 | 78 | 77 | 67.5105
| 2016-11-03 | D52-1224 | 1224 | 51 | 248 | 242 | 72 | 73 | 80 | 67.7419
| 2016-11-08 | D57-1225 | 1344 | 56 | 174 | 232 | 51 | 44 | 76 | 56.3218
| 2016-11-10 | D59-1226 | 1392 | 58 | 197 | 228 | 63 | 74 | 53 | 73.0964

## NH3
NH3 (mg/L)
[5 empty] | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent | NH3 Removal (%)
Pre-contamination | 2016-09-13 | D01-00 | 0 | 0 | 20.4 | 22.3 | 10.1 | 9.22 | 9.33 | 54.2647
During Contamination | 2016-09-13 | D01-02 | 2 | 0.083333 | 21.9 | 22.9 | 9.88 | 9.01 | 9.29 | 57.5799
| 2016-09-13 | D01-05 | 5 | 0.20833 | 18 | 21.9 | 10.1 | 9.86 | 9.75 | 45.8333
| 2016-09-13 | D01-08 | 8 | 0.33333 | 21 | 22.1 | 11.6 | 9.98 | 9.95 | 52.619
| 2016-09-14 | D02-24 | 24 | 1 | 24 | 23.3 | 10.8 | 9.95 | 10.1 | 57.9167
| 2016-09-14 | D02-32 | 32 | 1.3333 | 22 | 22.8 | 13.4 | 12.1 | 10.7 | 51.3636
| 2016-09-15 | D03-48 | 48 | 2 | 21 | 23 | 11.8 | 10.9 | 11.3 | 46.1905
| 2016-09-16 | D04-72 | 72 | 3 | 24.4 | 25.9 | 12.6 | 12.1 | 13 | 46.7213
| 2016-09-16 | D04-74 | 74 | 3.0833 | 21.1 | 26.4 | 12.5 | 12.8 | 12.5 | 40.7583
| 2016-09-16 | D04-77 | 77 | 3.2083 | 19.3 | 22.4 | 14.4 | 14.3 | 14 | 27.4611
| 2016-09-16 | D04-80 | 80 | 3.3333 | 20.6 | 21.9 | 14.1 | 14.7 | 2 | 90.2913
Post-Contamination | 2016-09-17 | D05-96 | 96 | 4 | 20.4 | 22 | 14.1 | 13.7 | 13.3 | 34.8039
| 2016-09-18 | D06-120 | 120 | 5 | 21.6 | 20.9 | 12.8 | 13 | 13.3 | 38.4259
| 2016-09-19 | D07-144 | 144 | 6 | 20.4 | 20.7 | 12.8 | 12.6 | 13.3 | 34.8039
| 2016-09-20 | D08-168 | 168 | 7 | 20.1 | 20.8 | 11.7 | 11.3 | 11.9 | 40.796
| 2016-09-22 | D10-216 | 216 | 9 | 21.2 | 21.6 | 13.2 | 12.8 | 13 | 38.6792
| 2016-09-27 | D15-336 | 336 | 14 | 23.2 | 21.8 | 12.9 | 12.8 | 12.8 | 44.8276
| 2016-09-29 | D17-384 | 384 | 16 | 22.4 | 23.8 | 15.3 | 15.2 | 15.1 | 32.5893
| 2016-10-04 | D22-504 | 504 | 21 | 21.8 | 22.4 | 12.2 | 12.8 | 9.8 | 55.0459
| 2016-10-06 | D24-552 | 552 | 23 | 21.9 | 23.5 | 13.7 | 13.9 | 14.4 | 34.2466
| 2016-10-11 | D29-672 | 672 | 28 | 21.7 | 26.1 | 12.1 | 11.3 | 11.6 | 46.5438
| 2016-10-13 | D31-720 | 720 | 30 | 19.4 | 22.2 | 13.1 | 13.1 | 13.3 | 31.4433
| 2016-10-17 | D35-816 | 816 | 34 | 21.2 | 23.4 | 17.3 | 18.8 | 19.3 | 8.9623
| 2016-10-20 | D38-888 | 888 | 37 | 19.1 | 22.4 | 15.6 | 16 | 17 | 10.9948
| 2016-10-25 | D43-1008 | 1008 | 42 | 25.1 | 26.1 | 15.4 | 15.8 | 15.4 | 38.6454
| 2016-10-27 | D45-1056 | 1056 | 44 | 22.2 | 22.9 | 16.5 | 15.6 | 16.1 | 27.4775
| 2016-11-01 | D50-1176 | 1176 | 49 | 23.4 | 22.3 | 16.2 | 16.2 | 16.6 | 29.0598
| 2016-11-03 | D52-1224 | 1224 | 51 | 23.7 | 23 | 14.3 | 14.2 | 14.8 | 37.5527
| 2016-11-08 | D57-1225 | 1344 | 56 | 16.8 | 24.9 | 14.2 | 14.6 | 14.5 | 13.6905
| 2016-11-10 | D59-1226 | 1392 | 58 | 22.8 | 24.6 | 17.5 | 18.4 | 18.1 | 20.614

## TSS & VSS
TSS (mg/L)
[5 empty] | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent
Pre-contamination | 2016-09-13 | D01-00 | 0 | 0 | 27 | 24 | 1548 | 600 | 16
During contamination | 2016-09-14 | D02-24 | 24 | 1 | 33 | 27 | 1702 | 572 | 5
| 2016-09-15 | D03-48 | 48 | 2 | 15 | 28 | 1326 | 563 | 146
| 2016-09-16 | D04-72 | 72 | 3 | 17 | 43 | 652 | 352 | 185
Post-Contamination | 2016-09-17 | D05-96 | 96 | 4 | 41 | 66 | 659 | 228 | 49
| 2016-09-18 | D06-120 | 120 | 5 | 24 | 49 | 493 | 208 | 56
| 2016-09-19 | D07-144 | 144 | 6 | 23 | 22 | 486 | 246 | 18
| 2016-09-20 | D08-168 | 168 | 7 | 25 | 32 | 647 | 222 | 22
| 2016-09-22 | D10-216 | 216 | 9 | 29 | 30 | 428 | 195 | 35
| 2016-09-27 | D15-336 | 336 | 14 | 37 | 28 | 789 | 298 | 164
| 2016-09-29 | D17-384 | 384 | 16 | 45 | 28 | 538 | 232 | 69
| 2016-10-04 | D22-504 | 504 | 21 | 52 | 36 | 378 | 234 | 33
| 2016-10-06 | D24-552 | 552 | 23 | 34 | 26 | 331 | 182 | 42
| 2016-10-11 | D29-672 | 672 | 28 | 19 | 25 | 570 | 277 | 134
| 2016-10-13 | D31-720 | 720 | 30 | 25 | 20 | 301 | 10 | 61
| 2016-10-17 | D35-816 | 816 | 34 | 8 | 30 | 258 | 150 | 87
| 2016-10-20 | D38-888 | 888 | 37 | 50 | 22 | 248 | 135 | 95
| 2016-10-25 | D43-1008 | 1008 | 42 | 36 | 28 | 289 | 109 | 6
| 2016-10-27 | D45-1056 | 1056 | 44 | 22 | 25 | 415 | 186 | 155
| 2016-11-01 | D50-1176 | 1176 | 49 | 21 | 19 | 680 | 333 | 9
| 2016-11-03 | D52-1224 | 1224 | 51 | 76 | 21 | 606 | 354 | 6
| 2016-11-08 | D57-1225 | 1344 | 56 | 25 | 21 | 517 | 302 | 14
| 2016-11-10 | D59-1226 | 1392 | 58 | 3 | 2 | 437 | 170 | 6
VSS (mg/L)
[5 empty] | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent
Pre-contamination | 2016-09-13 | D01-00 | 0 | 0 | 22 | 19.8113 | 1272.4138 | 496.7742 | 21.0526
During contamination | 2016-09-14 | D02-24 | 24 | 1 | 26 | 23 | 1382.1429 | 478.125 | 11.1111
| 2016-09-15 | D03-48 | 48 | 2 | 11.2245 | 21.1009 | 1059.2593 | 462.9032 | 123
| 2016-09-16 | D04-72 | 72 | 3 | 11.2245 | 37 | 541.5385 | 291.9355 | 148.9583
Post-Contamination | 2016-09-17 | D05-96 | 96 | 4 | 33 | 56 | 542.4242 | 198.1481 | 47.1154
| 2016-09-18 | D06-120 | 120 | 5 | 17 | 42 | 405.2632 | 172.3684 | 45.1923
| 2016-09-19 | D07-144 | 144 | 6 | 13 | 12.7451 | 398.2143 | 204 | 151
| 2016-09-20 | D08-168 | 168 | 7 | 16.3462 | 25.9259 | 526.6667 | 187.5 | 21.1538
| 2016-09-22 | D10-216 | 216 | 9 | 18.2692 | 23.2143 | 360 | 164.2202 | 30.9091
| 2016-09-27 | D15-336 | 336 | 14 | 27.8846 | 19.8276 | 656.5217 | 250 | 137.037
| 2016-09-29 | D17-384 | 384 | 16 | 34.2593 | 21.6667 | 450 | 200 | 61.7647
| 2016-10-04 | D22-504 | 504 | 21 | 40.4255 | 27.2059 | 318.75 | 201.6129 | 33.3333
| 2016-10-06 | D24-552 | 552 | 23 | 23.7288 | 19.6078 | 284.6154 | 154.0984 | 37.0968
| 2016-10-11 | D29-672 | 672 | 28 | 10.8333 | 13.8889 | 467.8571 | 228.3019 | 111
| 2016-10-13 | D31-720 | 720 | 30 | 17.9245 | 15.5556 | 257.3529 | 0 | 57.0175
| 2016-10-17 | D35-816 | 816 | 34 | 9 | 23 | 219.4444 | 125 | 74.0385
| 2016-10-20 | D38-888 | 888 | 37 | 33.8983 | 14.5833 | 215.625 | 116.6667 | 82
| 2016-10-25 | D43-1008 | 1008 | 42 | 27 | 21.8182 | 251.3889 | 100 | 9
| 2016-10-27 | D45-1056 | 1056 | 44 | 11 | 18 | 339.5833 | 151.0204 | 129.1045
| 2016-11-01 | D50-1176 | 1176 | 49 | 10.1852 | 12.5 | 543.662 | 265.3846 | 6.4815
| 2016-11-03 | D52-1224 | 1224 | 51 | 58.9286 | 18.8679 | 486 | 283.3333 | 9.0909
| 2016-11-08 | D57-1225 | 1344 | 56 | 15.534 | 14.7826 | 396.1538 | 228.8462 | 13.7255
| 2016-11-10 | D59-1226 | 1392 | 58 | 10 | 12 | 359.1837 | 146.4286 | 13.8614
Note on J22: Silva, Gune: Effluent was collected after disturbances due to line block.

## DO
DO mg/L
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Aeration Basin
Pre-contamination | 2016-09-13 | D01-00 | 0 | 0 | 1.94
During Contamination | 2016-09-13 | D01-02 | 2 | 0.083333 | 1.88
| 2016-09-13 | D01-05 | 5 | 0.20833 | 1.98
| 2016-09-13 | D01-08 | 8 | 0.33333 | 2.01
| 2016-09-14 | D02-24 | 24 | 1 | 2.06
| 2016-09-14 | D02-32 | 32 | 1.3333 | 2.21
| 2016-09-15 | D03-48 | 48 | 2 | 2.84
| 2016-09-16 | D04-72 | 72 | 3 | 3.42
| 2016-09-16 | D04-74 | 74 | 3.0833 | 3.81
| 2016-09-16 | D04-77 | 77 | 3.2083 | 3.84
| 2016-09-16 | D04-80 | 80 | 3.3333 | 3.93
Post-Contamination | 2016-09-17 | D05-96 | 96 | 4 | 2.76
| 2016-09-18 | D06-120 | 120 | 5 | 2.73
| 2016-09-19 | D07-144 | 144 | 6 | 2.43
| 2016-09-20 | D08-168 | 168 | 7 | 2.51
| 2016-09-22 | D10-216 | 216 | 9 | 2.64
| 2016-09-27 | D15-336 | 336 | 14 | 2.79
| 2016-09-29 | D17-384 | 384 | 16 | 2.86
| 2016-10-04 | D22-504 | 504 | 21 | 2.91
| 2016-10-06 | D24-552 | 552 | 23 | 2.78
| 2016-10-11 | D29-672 | 672 | 28 | 2.75
| 2016-10-13 | D31-720 | 720 | 30 | 2.63
| 2016-10-17 | D35-816 | 816 | 34 | 2.7
| 2016-10-20 | D38-888 | 888 | 37 | 2.54
| 2016-10-25 | D43-1008 | 1008 | 42 | 2.43
| 2016-10-27 | D45-1056 | 1056 | 44 | 2.47
| 2016-11-01 | D50-1176 | 1176 | 49 | 2.21
| 2016-11-03 | D52-1224 | 1224 | 51 | 2.06
| 2016-11-08 | D57-1225 | 1344 | 56 | 2.11
| 2016-11-10 | D59-1226 | 1392 | 58 | 2.23

## Temperature
Temperature C
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Aeration Basin
Pre-contamination | 2016-09-13 | D01-00 | 0 | 0 | 22.6
During Contamination | 2016-09-13 | D01-02 | 2 | 0.083333 | 23
| 2016-09-13 | D01-05 | 5 | 0.20833 | 23.2
| 2016-09-13 | D01-08 | 8 | 0.33333 | 23.4
| 2016-09-14 | D02-24 | 24 | 1 | 23.4
| 2016-09-14 | D02-32 | 32 | 1.3333 | 23.3
| 2016-09-15 | D03-48 | 48 | 2 | 23.5
| 2016-09-16 | D04-72 | 72 | 3 | 24.2
| 2016-09-16 | D04-74 | 74 | 3.0833 | 24.4
| 2016-09-16 | D04-77 | 77 | 3.2083 | 24.5
| 2016-09-16 | D04-80 | 80 | 3.3333 | 24.5
Post-Contamination | 2016-09-17 | D05-96 | 96 | 4 | 23.9
| 2016-09-18 | D06-120 | 120 | 5 | 24.1
| 2016-09-19 | D07-144 | 144 | 6 | 24.3
| 2016-09-20 | D08-168 | 168 | 7 | 23.8
| 2016-09-22 | D10-216 | 216 | 9 | 24
| 2016-09-27 | D15-336 | 336 | 14 | 24
| 2016-09-29 | D17-384 | 384 | 16 | 23.4
| 2016-10-04 | D22-504 | 504 | 21 | 22
| 2016-10-06 | D24-552 | 552 | 23 | 22.4
| 2016-10-11 | D29-672 | 672 | 28 | 22.2
| 2016-10-13 | D31-720 | 720 | 30 | 22
| 2016-10-17 | D35-816 | 816 | 34 | 21.9
| 2016-10-20 | D38-888 | 888 | 37 | 21.9
| 2016-10-25 | D43-1008 | 1008 | 42 | 21.4
| 2016-10-27 | D45-1056 | 1056 | 44 | 21.3
| 2016-11-01 | D50-1176 | 1176 | 49 | 21
| 2016-11-03 | D52-1224 | 1224 | 51 | 21.6
| 2016-11-08 | D57-1225 | 1344 | 56 | 21.4
| 2016-11-10 | D59-1226 | 1392 | 58 | 21.1

## Data Dictionary
Acronym | Definition
COD | Chemcial Oxygen Demand
SP | Sample Point
NH3 | Ammonia
ID | Identification
TSS | Total Suspended Solids
VSS | Volatile Suspended Solids
C | Celcius
DO | Dissolved Oxygen
SRT | Solids Retention Time
MLSS | Mixed Liquor Suspended Solids
SVI | Sludge Volume Index
Phi-6 | Surrogate virus phi-6
MS-2 | Surrogate virus MS-2
BG | Bacillus globigii
PFU | Plaque Forming Unit
GAC | Granular Activated Cardon
Temp | Temperature