## BG
B. globigii (CFU/mL)
|  |  |  | Non-Heat Shocked | [9 empty] | Heat Shocked
|  |  |  | SP-01 | SP-01 Dup | SP-03 | SP-03 Dup | SP-04 | SP-04 Dup | SP-05 | SP-05 Dup | SP-06 | SP-06 Dup | SP-01 | SP-01 Dup | SP-03 | SP-03 Dup | SP-04 | SP-04 Dup | SP-05 | SP-05 Dup | SP-06 | SP-06 Dup
Stage | Sampling Date | Sample ID | Sample Time (Days) | Influent | Influent | Primary Clarifier Effluent | Primary Clarifier Effluent | Return Activated Sludge | Return Activated Sludge | Aeration Basin Effluent | Aeration Basin Effluent | Effluent | Effluent | Influent | Influent | Primary Clarifier Effluent | Primary Clarifier Effluent | Aeration Basin Effluent | Aeration Basin Effluent | Return Activated Sludge | Return Activated Sludge | Effluent | Effluent
Pre-contamination | 2017-03-13 | W01-00 | 0 | < 5 | < 5 | < 5 |  | < 5 |  | < 5 |  | 390 |  | 0.9 | 1.55 | 26 |  | 25 |  | 15 |  | 0.4
During Contamination | 2017-03-13 | W01-04 | 0.167 | 370000 |  | 360000 | 330000 | 390000 |  | 77000 |  | 14000 |  | 216666.6667 |  | 280000 | 350000 | 116666.6667 |  | 64500 |  | 16666.6667
Post-Contamination | 2017-03-20 | W02 | 7 | < 5 |  | 1000 |  | 380000 | 380000 | 71000 |  | 6700 |  | 180 |  | 1350 |  | 570000 | 200000 | 75000 |  | 5000
| 2017-03-27 | W03 | 14 | < 5 |  | < 5 |  | 17000 |  | 4200 | 4100 | 280 |  | 3.5 |  | 6.75 |  | 11000 |  | 3500 | 4800 | 490
| 2017-04-04 | W04 | 21 | < 5 |  | < 5 |  | 17000 |  | 1200 |  | 140 | 190 | 5 |  | 9 |  | 27000 |  | 1866.6667 |  | 205 | 1146.6667
| 2017-04-11 | W05 | 28 | 6 | 3.8 | 20 |  | 2500 |  | 250 |  | 30 |  | <5 | <5 | 5 |  | 12000 |  | 185 |  | 75
| 2017-04-17 | W06 | 35 | 4 |  | 10 | 15 | 400 |  | 50 |  | 0 |  | 8.5 |  | 14 | 19.5 | 735 |  | 400 |  | 54.3333
| 2017-04-24 | W07 | 42 | < 5 |  | < 5 |  | 190 | 170 | 200 |  | 28 |  | 1 |  | 35.5 |  | 1550 | 470 | 173.3333 |  | 31.5
| 2017-05-01 | W08 | 48 | 35 |  | < 5 |  | 600 |  | 100 | 300 | 30 |  | 18 |  | 3.5 |  | 447.5 |  | 265 | 370 | 34.25
W= Week
SP= Sample Port
Week followed by numbers denote hours
100

## COD
COD (mg/L)
|  |  |  | SP-01 | SP-01 Dup | SP-03 | SP-03 Dup | SP-04 | SP-04 Dup | SP-05 | SP-05 Dup | SP-06 | SP-06 Dup
Stage | Sampling Date | Sample ID | Sample Time (Days) | Influent | Influent | Primary Clarifier Effluent | Primary Clarifier Effluent | Aeration Basin Effluent | Aeration Basin Effluent | Return Activated Sludge | Return Activated Sludge | Effluent | Effluent | COD Removal (%)
Pre-contamination | 2017-03-13 | W01-00 | 0 | 221 | 244 | 261 |  | 37 |  | 40 |  | 37 |  | 83.2579
During Contamination | 2017-03-13 | W01-04 | 0.167 | 242 |  | 242 | 231 | 96 |  | 80 |  | 64 |  | 73.5537
Post-Contamination | 2017-03-20 | W02 | 7 | 249 |  | 255 |  | 73 | 61 | 55 |  | 43 |  | 82.7309
| 2017-03-27 | W03 | 14 | 206 |  | 229 |  | 95 |  | 66 | 70 | 68 |  | 66.9903
| 2017-04-04 | W04 | 21 | 203 |  | 182 |  | 90 |  | 65 |  | 48 | 50 | 76.3547
| 2017-04-11 | W05 | 28 | 222 | 159 | 221 |  | 68 |  | 54 |  | 29 |  | 86.9369
| 2017-04-17 | W06 | 35 | 199 |  | 301 | 303 | 122 |  | 42 |  | 90 |  | 54.7739
| 2017-04-24 | W07 | 42 | 223 |  | 247 |  | 78 | 81 | 68 |  | 62 |  | 72.1973
| 2017-05-01 | W08 | 48 | 112 |  | 225 |  | 69 |  | 18 | 23 | 62 |  | 44.6429
For W08
|  |  | 300 mg/L COD standard |  |  | 284 mg/L
|  |  | 800 mg/L Cod standard |  |  | 801 mg/L

## NH3
NH3 (mg/L)
|  |  |  | SP-01 | SP-01 Dup | SP-03 | SP-03 Dup | SP-04 | SP-04 Dup | SP-05 | SP-05 Dup | SP-06 | SP-06 Dup
Stage | Sampling Date | Sample ID | Sample Time (Days) | Influent | Influent | Primary Clarifier Effluent | Primary Clarifier Effluent | Aeration Basin Effluent | Aeration Basin Effluent | Return Activated Sludge | Return Activated Sludge | Effluent | Effluent | NH3 Removal (%)
Pre-contamination | 2017-03-13 | W01-00 | 0 | 24 | 24.2 | 27.5 |  | 16.2 |  | 15.7 |  | 14.9 |  | 37.9167
During Contamination | 2017-03-13 | W01-04 | 0.167 | 22.6 |  | 23.7 | 20.5 | 16.6 |  | 15.7 |  | 14.8 |  | 34.5133
Post-Contamination | 2017-03-20 | W02 | 7 | 24 |  | 27 |  | 16.8 | 16.7 | 14.9 |  | 15.7 |  | 34.5833
| 2017-03-27 | W03 | 14 | 23.1 |  | 24.6 |  | 17 |  | 15.7 | 16.4 | 17.1 |  | 25.974
| 2017-04-04 | W04 | 21 | 22.6 |  | 21.3 |  | 20.7 |  | 14.8 |  | 14.5 | 14.6 | 35.8407
| 2017-04-11 | W05 | 28 | 23.9 | 23 | 24.1 |  | 18 |  | 17.7 |  | 18.3 |  | 23.431
| 2017-04-17 | W06 | 35 | 21.3 |  | 31.5 | 31.2 | 14.6 |  | 12.2 |  | 9.93 |  | 53.3803
| 2017-04-24 | W07 | 42 | 22.6 |  | 23.1 |  | 19.3 | 17.2 | 18.7 |  | 18.5 |  | 18.1416
| 2017-05-01 | W08 | 48 | 12.2 |  | 24.9 |  | 22.6 |  | 22.5 | 22.1 | 21 |  | 15.6627
Removal calculated between SP3 and SP6
W08
| 10 mg/L NH3-N standard |  |  | 10.3 mg NH3-N/L

## TSS
TSS (mg/L)
|  |  |  | SP-01 | SP-01 Dup | SP-03 | SP-03 Dup | SP-04 | SP-04 Dup | SP-05 | SP-05 Dup | SP-06 | SP-06 Dup
Stage | Sampling Date | Sample ID | Sample Time (Days) | Influent | Influent | Primary Clarifier Effluent | Primary Clarifier Effluent | Aeration Basin Effluent | Aeration Basin Effluent | Return Activated Sludge | Return Activated Sludge | Effluent | Effluent
Pre-contamination | 2017-03-13 | W01-00 | 0 | 15.3136 | 16 | 35 |  | 953.7037 |  | 1043.1818 |  | 6.6667
During Contamination | 2017-03-13 | W01-04 | 0.167 | 20.1754 |  | 20 | 22 | 1302 |  | 926.3158 |  | 11
Post-Contamination | 2017-03-20 | W02 | 7 | 27 |  | 31.1927 |  | 835 | 1307 | 742 |  | 5.9829
| 2017-03-27 | W03 | 14 | 36.9369 |  | 31 |  | 363.4615 |  | 459 | 460 | 6.4815
| 2017-04-04 | W04 | 21 | 8.8558 |  | 5 |  | 543.6364 |  | 313.8462 |  | 1.4161 | 2
| 2017-04-11 | W05 | 28 | 9.6511 | 9 | 115.9664 |  | 488.8889 |  | 243.6364 |  | 27.8261
| 2017-04-17 | W06 | 35 | 10.1852 |  | 16.7404 | 17 | 282 |  | 288.8889 |  | 22
| 2017-04-24 | W07 | 42 | 1.6949 |  | 26 |  | 305 | 271 | 211.7647 |  | 34.058
| 2017-05-01 | W08 | 48 | 13.5593 |  | 26.4706 |  | 321.1538 |  | 320 | 360 | 31.4626
Note on N22: Silva, Gune: Effluent was collected after disturbances due to line block.

## DO
DO (mg/L)
Stage | Sampling Date | Sample ID | Sample Time (Days) | Aeration Basin
Pre-contamination | 2017-03-13 | W01-00 | 0 | 6.6
During Contamination | 2017-03-13 | W01-04 | 0.167 | 6.6
Post-Contamination | 2017-03-20 | W02 | 7 | 5.63
| 2017-03-27 | W03 | 14 | 6.93
| 2017-04-04 | W04 | 21 | 4.9
| 2017-04-11 | W05 | 28 | 4.35
| 2017-04-17 | W06 | 35 | 5.69
| 2017-04-24 | W07 | 42 | 4.41
| 2017-05-01 | W08 | 48 | 4.49

## Temp
Temperature (°C)
Stage | Sampling Date | Sample ID | Sample Time (Days) | Aeration Basin
Pre-contamination | 2017-03-13 | W01-00 | 0 | 18.6
During Contamination | 2017-03-13 | W01-04 | 0.167 | 18.6
Post-Contamination | 2017-03-20 | W02 | 7 | 18.3
| 2017-03-27 | W03 | 14 | 20.5
| 2017-04-04 | W04 | 21 | 20.7
| 2017-04-11 | W05 | 28 | 21.1
| 2017-04-17 | W06 | 35 | 22
| 2017-04-24 | W07 | 42 | 21.5
| 2017-05-01 | W08 | 48 | 23.3

## Data Dictionary
Acronym | Definition
COD | Chemcial Oxygen Demand
SP | Sample Point
NH3 | Ammonia
ID | Identification
TSS | Total Suspended Solids
VSS | Volatile Suspended Solids
C | Celcius
DO | Dissolved Oxygen
SRT | Solids Retention Time
MLSS | Mixed Liquor Suspended Solids
SVI | Sludge Volume Index
Phi-6 | Surrogate virus phi-6
MS-2 | Surrogate virus MS-2
BG | Bacillus globigii
PFU | Plaque Forming Unit
GAC | Granular Activated Cardon
Temp | Temperature