## MS2
MS2 (PFU/100 mL)
[5 empty] | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent
Pre-contamination | 2017-09-25 | W01-T0 | 0 | 0 | 1 | 1 | 1 | 1 | 1
During Contamination | 2017-09-25 | W01-04H | 4 | 0.16667 | 8800000 | 5800000 | 1450000 | 2200000 | 3000000
| 2017-09-26 | W01-24H | 24 | 1 | 775000 | 875000 | 50000 | 260000 | 2100000
| 2017-09-27 | W01-48H | 48 | 2 | 27000 | 29500 | 2000 | 11500 | 10000
| 2017-09-28 | W01-72H | 72 | 3 | 490 | 3800 | 410 | 1060 | 885
Post-Contamination | 2017-10-02 | W02 | 168 | 7 | 750 | 240 | 320 | 340 | 420
| 2017-10-09 | W03 | 336 | 14 | 1 | 30.5 | 1 | 4 | 6
| 2017-10-16 | W04 | 504 | 21 | 7.5 | 6 | 1 | 1 | 2
| 2017-10-23 | W05 | 672 | 28 | 1 | 5 | 1 | 1 | 1
| 2017-10-30 | W06 | 840 | 35 | 1 | 1 | 1 | 1 | 1
| 2017-11-06 | W07 | 1008 | 42 | 1 | 1 | 1 | 1 | 1
| 2017-11-13 | W08 | 1176 | 49 | 1 | 1 | 1 | 1 | 1
"1" entered representing zero for graphing purposes.
Estimated value. Sample was diluted too much.

## COD
COD mg/L
|  |  |  | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent | COD Removal (%)
2017-09-25 | W01-T0 | 0 | 0 | 238 | 212 |  | 80 | 76 | 68.0672
2017-09-25 | W01-04H | 4 | 0.16667 | 180 | 213 | 69 | 60 | 112 | 37.7778
2017-09-26 | W01-24H | 24 | 1 | 150 | 196 | 52 | 54 | 48 | 68
2017-09-27 | W01-48H | 48 | 2 | 202 | 217 | 90 | 95 | 80 | 60.396
2017-09-28 | W01-72H | 72 | 3 | 229 | 219 | 73 | 81 | 66 | 71.179
2017-10-02 | W02 | 168 | 7 | 290 | 213 | 79 | 81 | 70 | 75.8621
2017-10-09 | W03 | 336 | 14 | 213 | 212 | 76 | 77 | 70 | 67.1362
2017-10-16 | W04 | 504 | 21 | 244 | 207 | 121 | 77 | 76 | 68.8525
2017-10-23 | W05 | 672 | 28 | 218 | 209 | 75 | 60 | 64 | 70.6422
2017-10-30 | W06 | 840 | 35 | 299 | 250 | 66 | 67 | 73 | 75.5853
2017-11-06 | W07 | 1008 | 42 | 144 | 209 | 57 | 70 | 53 | 63.1944
2017-11-13 | W08 | 1176 | 49 | 159 | 203 | 71 | 72 | 70 | 55.9748

## NH3
NH3 (mg/L)
|  |  | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Sampling Date | Sample ID | Sample Time (hrs) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent | NH3 Removal (%)
2017-09-25 | W01-T0 | 0 | 23.7 | 24.4 | 12.2 | 7.01 | 6.83 | 71.1814
2017-09-25 | W01-04H | 4 | 18.2 | 23.8 | 14.1 | 14.3 | 13.8 | 24.1758
2017-09-26 | W01-24H | 24 | 22.5 | 22.3 | 9.14 | 8.79 | 10.8 | 52
2017-09-27 | W01-48H | 48 | 20.1 | 22.4 | 5.93 | 5.75 | 6.85 | 65.9204
2017-09-28 | W01-72H | 72 | 22.2 | 22.3 | 3.28 | 3.25 | 3.56 | 83.964
2017-10-02 | W02 | 168 | 27.2 | 23.8 | 2.65 | 3.05 | 2.81 | 89.6691
2017-10-09 | W03 | 336 | 27.8 | 29 | 11.7 | 11.7 | 12.3 | 55.7554
2017-10-16 | W04 | 504 | 25.9 | 24.9 | 7.19 | 7.33 | 7.01 | 72.9344
2017-10-23 | W05 | 672 | 22.1 | 23.7 | 7.63 | 5.99 | 6.27 | 71.629
2017-10-30 | W06 | 840 | 25.6 | 23.3 | 5.74 | 5.92 | 6.04 | 76.4062
2017-11-06 | W07 | 1008 | 5.79 | 21.9 | 16.8 | 16.5 | 16.8 | 23.2877
2017-11-13 | W08 | 1176 | 14.1 | 21.8 | 19.8 | 19.3 | 20.5 | 5.9633

## TSS
TSS mg/L
Sampling Date | Sample ID | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
2017-09-26 | 24H | 76.9231 | 14.7059 | 247.7941 | 303.6765 | 6.5693
2017-09-27 | 48H | 1188.0282 | 20.3252 | 468.5714 | 340.5797 | 4.2254
2017-09-28 | 72H | 51.9084 | 21.0145 | 642.3077 | 400 | 93.1818
2017-10-02 | W2 | 302.9412 | 17.3913 | 2735.7143 | 706.8376 | 60.274
2017-10-09 | W3 | 1712.1429 | 25.5639 | 1914.1791 | 841.0448 | 30.8333
2017-10-16 | W4 | 652.6316 | 26.2295 | 1856.4286 | 591.791 | 28.5714
2017-10-23 | W5 | 104.9296 | 18.1818 | 4961.1111 | 829 | 8.4507
2017-10-30 | W6 | 2206 | 41.9118 | 2044.3182 | 746.6667 | 28.8732
2017-11-06 | W7 | 330.5556 | 87.1212 | 1374.6269 | 537.8788 | 18.0328
2017-11-13 | W8 | 260 | 45.9677 | 632.8358 | 190.625 | 15.3846

## DO
Sampling Date | Sample ID | Time in hours | DO in mg/L
2017-09-25 | 4 hr | 4 | 5.39
2017-09-26 | 24H | 24 | 4.59
2017-09-27 | 48H | 48 | 5.64
2017-09-28 | 72H | 72 | 4.94
2017-10-02 | W2 | 168 | 4.64
2017-10-09 | W3 | 336 | 4.17
2017-10-16 | W4 | 504 | 4.54
2017-10-23 | W5 | 672 | 4.86
2017-10-30 | W6 | 840 | 4.93
2017-11-06 | W7 | 1008 | 4.98
2017-11-13 | W8 | 1176 | 5.7

## Temp
Sampling Date | Sample ID | Time in hours | Temp C
2017-09-25 | 4 hr | 4 | 27.1
2017-09-26 | 24H | 24 | 27.7
2017-09-27 | 48H | 48 | 26.2
2017-09-28 | 72H | 72 | 26.8
2017-10-02 | W2 | 168 | 26.5
2017-10-09 | W3 | 336 | 27
2017-10-16 | W4 | 504 | 24.6
2017-10-23 | W5 | 672 | 25.4
2017-10-30 | W6 | 840 | 21.7
2017-11-06 | W7 | 1008 | 23.2
2017-11-13 | W8 | 1176 | 20.7

## Data Dictionary
Acronym | Definition
COD | Chemcial Oxygen Demand
SP | Sample Point
NH3 | Ammonia
ID | Identification
TSS | Total Suspended Solids
VSS | Volatile Suspended Solids
C | Celcius
DO | Dissolved Oxygen
SRT | Solids Retention Time
MLSS | Mixed Liquor Suspended Solids
SVI | Sludge Volume Index
Phi-6 | Surrogate virus phi-6
MS-2 | Surrogate virus MS-2
BG | Bacillus globigii
PFU | Plaque Forming Unit
GAC | Granular Activated Cardon
Temp | Temperature