## MS2
MS2 (PFU/100 mL)
[5 empty] | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Stage | Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent | Injection Suspension
Pre-contamination | 2018-03-19 | W01-T0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | --
During Contamination | 2018-03-19 | W01-04H | 4 | 0.16667 | 1015000 | 1115000 | 735000 | 520000 | 315000 | 720000000
| 2018-03-20 | W01-24H | 24 | 1 | 525000 | 460000 | 485000 | 455000 | 415000 | 350000000
| 2018-03-21 | W01-48H | 48 | 2 | 535000 | 740000 | 550000 | 510000 | 1900000 | 5200000000
| 2018-03-22 | W01-72H | 72 | 3 | 1100000 | 1100000 | 1100000 | 1300000 | 1350000 | 450000000
Post-Contamination | 2018-03-26 | W02 | 168 | 7 | 750 | 650 | 2150 | 1350 | 1250 | --
| 2018-04-02 | W03 | 336 | 14 | 13 | 27 | 70 | 26 | 91 | --
| 2018-04-09 | W04 | 504 | 21 | 9 | 35 | 41 | 35 | 26 | --
| 2018-04-16 | W05 | 672 | 28 | 67 | 4 | 4 | 17 | 3 | --
| 2018-04-23 | W06 | 840 | 35 | 4 | 1 | 1 | 2 | 1 | --
| 2018-04-30 | W07 | 1008 | 42 | 6 | 1 | 3 | 1 | 1 | --
| 2018-05-07 | W08 | 1176 | 49 | 1 | 1 | 1 | 1 | 1 | --
"1" entered representing zero for graphing purposes.

## COD
COD (mg/L)
|  |  |  | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Sampling Date | Sample ID | Sample Time (hrs) | Sample Time (days) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent | COD Removal (%)
2018-03-19 | W01-T0 | 0 | 0 | 223 | 202 | 70 | 56 | 46 | 79.3722
2018-03-19 | W01-04H | 4 | 0.16667 | 147 | 189 | 68 | 43 | 53 | 63.9456
2018-03-20 | W01-24H | 24 | 1 | 163 | 194 |  | 40 | 36 | 77.9141
2018-03-21 | W01-48H | 48 | 2 | 183 | 180 | 50 | 36 | 35 | 80.8743
2018-03-22 | W01-72H | 72 | 3 | 185 | 180 | 44 | 48 | 40 | 78.3784
2018-03-26 | W02 | 168 | 7 | 179 | 218 | 78 | 41 | 40 | 77.6536
2018-04-02 | W03 | 336 | 14 | 178 | 194 | 124 | 117 | 104 | 41.573
2018-04-09 | W04 | 504 | 21 | 230 | 226 | 147 | 121 | 140 | 39.1304
2018-04-16 | W05 | 672 | 28 | 475 | 229 | 115 | 108 | 102 | 78.5263
2018-04-23 | W06 | 840 | 35 | 263 | 223 | 146 | 96 | 98 | 62.7376
2018-04-30 | W07 | 1008 | 42 | 336 | 333 | 64 | 74 | 71 | 78.869
2018-05-07 | W08 | 1176 | 49 | 195 | 238 | 108 | 86 | 94 | 51.7949

## NH3
NH3 (mg/L)
|  |  | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Sampling Date | Sample ID | Sample Time (hrs) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent | NH3 Removal (%)
2018-03-19 | W01-T0 | 0 | 21.2 | 20.2 | 12 | 11.6 | 11.6 | 45.283
2018-03-19 | W01-04H | 4 | 13.5 | 19.1 | 10.4 | 8.77 | 8.87 | 53.5602
2018-03-20 | W01-24H | 24 | 16.8 | 19.2 | 9.94 | 9.08 | 9.38 | 51.1458
2018-03-21 | W01-48H | 48 | 21.4 | 19.6 | 10.3 | 8.8 | 8.51 | 60.2336
2018-03-22 | W01-72H | 72 | 19.5 | 19.2 | 10.3 | 9.16 | 9.11 | 53.2821
2018-03-26 | W02 | 168 | 18.6 | 24.1 | 11.4 | 9.54 | 8.19 | 55.9677
2018-04-02 | W03 | 336 | 12.7 | 17 | 13.2 | 12.7 | 12.9 | 24.1176
2018-04-09 | W04 | 504 | 19.6 | 19.9 | 16.4 | 15.6 | 15.4 | 21.4286
2018-04-16 | W05 | 672 | 21.4 | 19.2 | 12.7 | 12.6 | 12.6 | 41.1215
2018-04-23 | W06 | 840 | 23.2 | 18.8 | 10.7 | 10 | 9.84 | 57.5862
2018-04-30 | W07 | 1008 | 27.5 | 19.1 | 10.2 | 9.16 | 9.65 | 64.9091
2018-05-07 | W08 | 1176 | 14.1 | 18.9 | 16.2 | 14.8 | 15.1 | 20.1058

## TSS & VSS
|  |  | TSS (mg/L) |  |  |  |  | TSS (mg/L)
|  |  | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Sampling Date | Sample ID | Sample Time (hrs) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent
2018-03-13 | T0H | 0 | 8.6957 | 8.9552 | 946.3415 | 647.0588 | 5.1471
2018-03-19 | T4H | 4 | 25.3521 | 14.2857 | 1246.1538 | 801.7857 | 4.2254
2018-03-20 | T24H | 24 | 24.6377 | 22.9167 | 822 | 788.8889 | 7.6389
2018-03-21 | T48H | 48 | 11.7647 | 34.7222 | 818 | 636.9565 | 2.0833
2018-03-22 | T72H | 72 | 25.3623 | 20.9459 | 839.6226 | 516.6667 | 7.1429
2018-03-26 | W2 | 168 | 13.2353 | 26.3889 | 757.1429 | 460 | 6.1644
2018-04-02 | W3 | 336 | 38.5135 | 20.5882 | 331.25 | 289.7059 | 63.5135
2018-04-09 | W4 | 504 | 31.9444 | 18.4932 | 340 | 157.8947 | 13.2867
2018-04-16 | W5 | 672 | 4836.3636 | 52.8986 | 466.6667 | 310.8108 | 82.1429
2018-04-23 | W6 | 840 | 61.9718 | 20.1389 | 397.0588 | 237.8378 | 28.5714
2018-04-30 | W7 | 1008 | 511.7647 | 29.927 | 525 | 330 | 134.058
2018-05-07 | W8 | 1176 | 70.2703 | 25 | 481.8182 | 222.093 | 6.0811
VSS (mg/L)
|  |  | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Sampling Date | Sample ID | Sample Time (hrs) | Influent | Primary Clarifier Effluent | Aeration Basin Effluent | Return Activated Sludge | Effluent
2018-03-13 | T0H | 0 | 7.2464 | 7.4627 | 691.4634 | 508.8235 | 5.8824
2018-03-19 | T4H | 4 | 14.7887 | 11.4286 | 986.5385 | 633.9286 | 1.4085
2018-03-20 | T24H | 24 | 15.942 | 14.5833 | 652 | 625.9259 | 4.1667
2018-03-21 | T48H | 48 | 5.1471 | 25.6944 | 648 | 532.6087 | 8.3333
2018-03-22 | T72H | 72 | 16.6667 | 15.5405 | 681.1321 | 418.5185 | 4.2857
2018-03-26 | W2 | 168 | 19.1176 | 18.0556 | 591.0714 | 383.6364 | 6.8493
2018-04-02 | W3 | 336 | 30.4054 | 17.6471 | 270.3125 | 236.7647 | 52.7027
2018-04-09 | W4 | 504 | 24.3056 | 10.9589 | 248 | 135.5263 | 11.8881
2018-04-16 | W5 | 672 | 4259.0909 | 43.4783 | 345.8333 | 247.2973 | 68.5714
2018-04-23 | W6 | 840 | 52.8169 | 15.2778 | 319.1176 | 198.6486 | 25.7143
2018-04-30 | W7 | 1008 | 458.8235 | 23.3577 | 435.2941 | 277.1429 | 111.5942
2018-05-07 | W8 | 1176 | 46.6216 | 22.2222 | 384.8485 | 188.3721 | 6.0811

## Temp
Analysis Date | Sample ID | Time in hours | Temp C
2018-03-19 | 4 hr | 4 | 20.9
2018-03-20 | 24H | 28 | 19.6
2018-03-21 | 48H | 48 | 20.3
2018-03-22 | 72H | 72 | 19.6
2018-03-26 | W2 | 168 | 19.9
2018-04-02 | W3 | 336 | 19.9
2018-04-09 | W4 | 504 | 19.5
2018-04-16 | W5 | 672 | 20.8
2018-04-23 | W6 | 840 | 23.4
2018-04-30 | W7 | 1008 | 23.7
2018-05-07 | W8 | 1176 | 22.9

## DO
Analysis Date | Sample ID | Time in hours | DO (mg/L)
2018-03-19 | 4 hr | 4 | 3.62
2018-03-20 | 24H | 28 | 3.69
2018-03-21 | 48H | 48 | 4.24
2018-03-22 | 72H | 72 | 5.66
2018-03-26 | W2 | 168 | 8.03
2018-04-02 | W3 | 336 | 5.35
2018-04-09 | W4 | 504 | 5.85
2018-04-16 | W5 | 672 | 5.88
2018-04-23 | W6 | 840 | 5.12
2018-04-30 | W7 | 1008 | 5.65
2018-05-07 | W8 | 1176 | 4.97

## Data Dictionary
Acronym | Definition
COD | Chemcial Oxygen Demand
SP | Sample Point
NH3 | Ammonia
ID | Identification
TSS | Total Suspended Solids
VSS | Volatile Suspended Solids
C | Celcius
DO | Dissolved Oxygen
SRT | Solids Retention Time
MLSS | Mixed Liquor Suspended Solids
SVI | Sludge Volume Index
Phi-6 | Surrogate virus phi-6
MS-2 | Surrogate virus MS-2
BG | Bacillus globigii
PFU | Plaque Forming Unit
GAC | Granular Activated Cardon
Temp | Temperature