## Phi-6
Phi-6 (PFU/100mL)
Stage | Sampling Date | Sample ID | Sampling Time | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Pre-contamination | 2018-12-10 | W01-T0 | 0 | 1 | 1 | 1 | 1 | 1
During Contamination | 2018-12-10 | W01-04H | 4 | 1 | 300 | 1 | 1 | 1
| 2018-12-10 | W01-8H | 8 | 2600000 | 42000 | 1 | 1600 | 300
| 2010-12-11 | W01-24H | 24 | 2300000 | 4100 | 1 | 1 | 300
Post-Contamination | 2010-12-12 | W01-48H | 48 | 1 | 300 | 100 | 100 | 1
| 2010-12-13 | W01-72H | 72 | 750 | 240 | 320 | 340 | 420
| 2010-12-14 | W01-96H | 96 | 1 | 1 | 1 | 1 | 1
| 2018-12-17 | W02 | 168 | 1 | 1 | 1 | 1 | 1
"1" entered representing zero for graphing purposes.

## COD
| COD in mg/L | [6 empty] | % Removal
Sampling Date |  | Hours | SP-01 | SP-03 | SP-04 | SP-05 | SP-06 | B/w SP3 & SP6
2018-12-10 | Day 1 | 0 | 219 | 179 | 26 | 23 | 19 | 89.3855
2018-12-10 | Day 1 | 4 | 388 | 302 | 47 | 43 | 37 | 87.7483
2018-12-10 | Day 1 | 8 | 414 | 336 | 66 | 56 | 42 | 87.5
2010-12-11 | Day 2 | 24 | 379 | 260 | 67 | 67 | 56 | 78.4615
2010-12-12 | Day 3 | 48 | 279 | 180 | 45 | 43 | 49 | 72.7778
2010-12-13 | Day 4 | 72 | 320 | 209 | 39 | 42 | 46 | 77.9904
2010-12-14 | Day 5 | 96 | 328 | 214 | 62 | 45 | 38 | 82.243
2018-12-17 | Day 8 | 168 | 332 | 250 | 39 | 50 | 45 | 82

## NH3
| NH3 in mg/L | [6 empty] | % Removal
Sampling Date |  | Hours | SP-01 | SP-03 | SP-04 | SP-05 | SP-06 | B/w SP3 & SP6
2018-12-10 | Day 1 | 0 | 22.1 | 24.6 | 14.1 | 14.6 | 14.1 | 42.6829
2018-12-10 | Day 1 | 4 | 22.9 | 22.8 | 15 | 15.4 | 14.7 | 35.5263
2018-12-10 | Day 1 | 8 | 23.5 | 22.6 | 17.8 | 16 | 15.2 | 32.7434
2010-12-11 | Day 2 | 24 | 21.8 | 23.2 | 17.1 | 16.9 | 17 | 26.7241
2010-12-12 | Day 3 | 48 | 22.9 | 23.6 | 15.1 | 15.1 | 15.1 | 36.0169
2010-12-13 | Day 4 | 72 | 21.3 | 22.3 | 13.5 | 13.6 | 14.1 | 36.7713
2010-12-14 | Day 5 | 96 | 26.4 | 22.8 | 13.5 | 13.6 | 13.8 | 39.4737
2018-12-17 | Day 8 | 168 | 22.9 | 23.6 | 13 | 13 | 13.1 | 44.4915

## TSS and VSS
TSS in mg/L
Sampling Date | Sample ID | SP1 | SP3 | SP4 | SP5 | SP6
2018-12-10 | T0H | 60.2941 | 22.2222 | 1250 | 873.1707 | 2.8369
2018-12-10 | T4H | 101.4815 | 19.7183 | 1107.3171 | 823.8095 | 0.74627
2018-12-10 | T8H | 130.4 | 17.6471 | 4021.0526 | 711.9048 | 1.4815
2010-12-11 | T24H | 62.3188 | 22.5352 | 1017.0732 | 840.3846 | 3.5211
2010-12-12 | T48H | 109.9237 | 27.0833 | 955.102 | 847.9167 | 14.6853
2010-12-13 | T72H | 103.5211 | 31.4685 | 1020.7547 | 859.1837 | 2.1127
2010-12-14 | T96H | 97.2028 | 33.0935 | 1135.2941 | 834.6154 | 2.8571
2018-12-17 | T8D | 213.8686 | 57.6389 | 1090.1961 | 852 | 4.8276
VSS in mg/L
Sampling Date | Sample ID | SP1 | SP3 | SP4 | SP5 | SP6
2018-12-10 | T0H | 55.8824 | 20.8333 | 950 | 651.2195 | 2.8369
2018-12-10 | T4H | 88.8889 | 17.6056 | 839.0244 | 623.8095 | 4.4776
2018-12-10 | T8H | 111.2 | 19.1176 | 3015.7895 | 545.2381 | 3.7037
2010-12-11 | T24H | 58.6957 | 21.1268 | 785.3659 | 646.1538 | 6.338
2010-12-12 | T48H | 90.0763 | 25 | 736.7347 | 650 | 10.4895
2010-12-13 | T72H | 81.6901 | 24.4755 | 783.0189 | 659.1837 | 2.1127
2010-12-14 | T96H | 79.7203 | 25.8993 | 870.5882 | 646.1538 | 4.2857
2018-12-17 | T8D | 179.562 | 44.4444 | 837.2549 | 658 | 3.4483

## DO and Temp
Sampling Date | Sample ID | Time in hours | Analysis Date | Temp in C | DO in mg/L
2018-12-10 | Day 1 | 4 | 2018-12-10 | 28.5 | 4.95
2010-12-11 | Day 2 | 24 | 2018-12-11 | 26.9 | 5.07
2010-12-12 | Day 3 | 48 | 2018-12-12 | 27.3 | 4.87
2010-12-13 | Day 4 | 72 | 2018-12-13 | 27.8 | 5.12
2010-12-14 | Day 5 | 90 | 2018-12-14 | 28.1 | 4.99
2018-12-17 | Day 8 | 168 | 2018-12-17 | 27.7 | 4.79

## SRT calculation
Sample ID | Sample Date | SP1 | SP3 | SP4 | SP5 | SP6 | Wasting in mL/min | Wasting in L/day | SRT in days
Day 1 | 0 | 60.2941 | 22.2222 | 1250 | 873.1707 | 2.8369 | 10 | 14.4 | 26.3448
Day 2 | 24 | 62.3188 | 22.5352 | 1017.0732 | 840.3846 | 3.5211 | 10 | 14.4 | 22.2719
Day 3 | 48 | 109.9237 | 27.0833 | 955.102 | 847.9167 | 14.6853 | 10 | 14.4 | 20.7291
Day 4 | 72 | 103.5211 | 31.4685 | 1020.7547 | 859.1837 | 2.1127 | 10 | 14.4 | 21.8635
Day 5 | 96 | 97.2028 | 33.0935 | 1135.2941 | 834.6154 | 2.8571 | 10 | 14.4 | 25.0326
Day 8 | 168 | 213.8686 | 57.6389 | 1090.1961 | 852 | 4.8276 | 10 | 14.4 | 23.5477
[8 empty] | Average SRT | 23.2982
SRT = (V * MLSS)/( Wasting rate * Wasting solids concentration)
V= Volume of aeration tank (213 L)+ Secondary clarifier (52 L) = 265 L
MLSS - Suspended solids concentration (TSS in SP 4 in mg/L)
Wasting Rate - Flow from wasting pump in L/day
Wasting Solids - TSS concentration in SP5 in mg/L
|  |  | Bg (Test 1) | MS2 (Test 2) | Phi-6 (Test 1)
|  |  | 15.8264 | 13.4537 | 26.3499
|  |  | 18.2526 | 6.3908 | 22.2805
|  |  | 21.6715 | 4.7264 | 20.7248
|  |  | 17.0435 | 14.95 | 21.8734
|  |  | 26.5952 | 7.5711 | 25.0146
|  |  | 29.0787 | 5.2511 | 23.5435
|  |  | 24.2378 | 39.6009
|  |  | 35.7555 | 6.9084
|  |  | 26.9278 | 20.4647
|  |  | 24.3621 | 19.5181
|  |  | 21.3377 | 26.6371
19.8184
22.3125
25.2457
21.1019
22.5377
32.5285
27.3733
25.0528
21.002
23.8243

## Data Dictionary
Acronym | Definition
COD | Chemcial Oxygen Demand
SP | Sample Point
NH3 | Ammonia
ID | Identification
TSS | Total Suspended Solids
VSS | Volatile Suspended Solids
C | Celcius
DO | Dissolved Oxygen
SRT | Solids Retention Time
MLSS | Mixed Liquor Suspended Solids
SVI | Sludge Volume Index
Phi-6 | Surrogate virus phi-6
MS-2 | Surrogate virus MS-2
BG | Bacillus globigii
PFU | Plaque Forming Unit
GAC | Granular Activated Cardon
Temp | Temperature