## Phi-6
Phi-6 (PFU/100mL)
Stage | Sampling Date | Sample ID | Sampling Time | SP-01 | SP-03 | SP-04 | SP-05 | SP-06
Pre-contamination | 2019-05-06 | W01-T0 | 0 | 1 | 1 | 1 | 1 | 1
During Contamination | 2019-05-06 | W01-04H | 4 | 1 | 8900 | 1000 | 1000 | 1000
| 2019-05-06 | W01-8H | 8 | 6600000 | 87000 | 53000 | 70000 | 100000
| 2019-05-07 | W01-24H | 24 | 30000 | 1 | 1 | 1 | 7000
Post-Contamination | 2019-05-08 | W01-48H | 48 | 1 | 1 | 1 | 1 | 1
| 2019-05-09 | W01-72H | 72 | 1 | 1 | 1 | 1 | 1
| 2019-05-10 | W01-96H | 96 | 1 | 1 | 1 | 1 | 1
| 2019-05-13 | W02 | 168 | 1 | 1 | 1 | 1 | 1
"1" entered representing zero for graphing purposes.

## COD
| COD in mg/L | [6 empty] | % Removal
Sampling Date |  | Hours | SP-01 | SP-03 | SP-04 | SP-05 | SP-06 | B/w SP3 & SP6
2019-05-02 | Day 1 | 0 | 285 | 190 | 95 | 43 | 49 | 74.2105
2019-05-06 | Day 1 | 4 | 346 | 453 | 85 | 58 | 45 | 90.0662
2019-05-06 | Day 1 | 8 | 385 | 370 | 71 | 80 | 65 | 82.4324
2019-05-07 | Day 2 | 24 | 190 | 341 | 146 | 124 | 98 | 71.261
2019-05-08 | Day 3 | 48 | 234 | 172 | 137 | 40 | 36 | 79.0698
2019-05-09 | Day 4 | 72 | 245 | 177 | 38 | 50 | 44 | 75.1412
2019-05-10 | Day 5 | 96 | 269 | 183 | 30 | 29 | 45 | 75.4098
2019-05-13 | Day 8 | 168 | 181 | 158 | 121 | 42 | 23 | 85.443

## NH3
| NH3 in mg/L | [6 empty] | % Removal
Sampling Date |  | Hours | SP-01 | SP-03 | SP-04 | SP-05 | SP-06 | B/w SP3 & SP6
2019-05-06 | Day 1 | 0 | 21.2 | 22.6 | 9.32 | 9.45 | 9.17 | 59.4248
2019-05-06 | Day 1 | 4 | 35.4 | 34.3 | 10.2 | 10.9 | 9.58 | 72.07
2019-05-06 | Day 1 | 8 | 20.1 | 25.1 | 13.9 | 14 | 12.2 | 51.3944
2019-05-07 | Day 2 | 24 | 16.7 | 25.3 | 12.5 | 11.8 | 12 | 52.5692
2019-05-08 | Day 3 | 48 | 19.6 | 21.6 | 10 | 9.19 | 9.2 | 57.4074
2019-05-09 | Day 4 | 72 | 21 | 22.8 | 9.62 | 9.17 | 9.21 | 59.6053
2019-05-10 | Day 5 | 96 | 21 | 22.3 | 8.92 | 9.06 | 8.91 | 60.0448
2019-05-13 | Day 8 | 168 | 19.5 | 20.7 | 8.6 | 7.77 | 7.54 | 63.5749

## TSS and VSS
TSS in mg/L
Sampling Date | Sample ID | SP1 | SP3 | SP4 | SP5 | SP6
2019-05-06 | T0H | 70.5479 | 20.5479 | 584.8214 | 532.2581 | 18.3099
2019-05-06 | T4H | 138.4615 | 40.5797 | 893.0556 | 667.1429 | 12.8571
2019-05-06 | T8H | 45.1389 | 31.5068 | 745.7143 | 728.0488 | 12.3288
2019-05-07 | T24H | 59.5238 | 33.8235 | 2369.2308 | 740 | 23.1884
2019-05-08 | T48H | 371.7557 | 39.5522 | 7984 | 801.3889 | 17.7778
2019-05-09 | T72H | 94.2029 | 40.4412 | 1183.3333 | 742.6471 | 24.6377
2019-05-10 | T96H | 305.5556 | 51.8519 | 988.8889 | 845 | 11.9718
2019-05-13 | T8D | 77.2059 | 12.1429 | 4650 | 625.8065 | 14.5833
VSS in mg/L
Sampling Date | Sample ID | SP1 | SP3 | SP4 | SP5 | SP6
2019-05-06 | T0H | 58.9041 | 17.8082 | 420.5357 | 380.6452 | 14.7887
2019-05-06 | T4H | 106.9231 | 30.4348 | 663.8889 | 501.4286 | 11.4286
2019-05-06 | T8H | 33.3333 | 24.6575 | 565.7143 | 546.3415 | 10.9589
2019-05-07 | T24H | 44.4444 | 25.7353 | 1786.1538 | 577.1429 | 17.3913
2019-05-08 | T48H | 272.5191 | 29.1045 | 5990 | 619.4444 | 14.8148
2019-05-09 | T72H | 64.4928 | 25.7353 | 895.8333 | 560.2941 | 18.8406
2019-05-10 | T96H | 214.4444 | 37.037 | 753.7037 | 635 | 9.1549
2019-05-13 | T8D | 69.1176 | 12.8571 | 3434 | 485.4839 | 13.1944

## DO and Temp
Sampling Date | Sample ID | Time in hours | Temp in C | DO in mg/L
2019-05-06 | Day 1 | 4 | 26.01 | 5.35
2019-05-07 | Day 2 | 24 | 26.34 | 5.11
2019-05-08 | Day 3 | 48 | 25.84 | 5.93
2019-05-09 | Day 4 | 72 | 25.46 | 5.87
2019-05-10 | Day 5 | 90 | 24.39 | 6.5
2019-05-13 | Day 8 | 168 | 24.13 | 6.09

## SRT calculation
Sample Date | Sample ID | Time in hours | SP1 | SP3 | SP4 | SP5 | SP6 | Wasting in mL/min | Wasting in L/day | SRT in days
2019-05-06 | Day 1 | 0 | 70.5479 | 20.5479 | 584.8214 | 532.2581 | 18.3099 | 5 | 7.2 | 40.4403
2019-05-06 | Day 1 | 4 | 138.4615 | 40.5797 | 893.0556 | 667.1429 | 12.8571 | 5 | 7.2 | 49.2689
2019-05-06 | Day 1 | 8 | 45.1389 | 31.5068 | 745.7143 | 728.0488 | 12.3288 | 5 | 7.2 | 37.6986
2019-05-07 | Day 2 | 24 | 59.5238 | 33.8235 | 2369.2308 | 740 | 23.1884 | 5 | 7.2 | 117.839
2019-05-08 | Day 3 | 48 | 371.7557 | 39.5522 | 7984 | 801.3889 | 17.7778 | 5 | 7.2 | 366.6828
2019-05-09 | Day 4 | 72 | 94.2029 | 40.4412 | 1183.3333 | 742.6471 | 24.6377 | 5 | 7.2 | 58.6459
2019-05-10 | Day 5 | 96 | 305.5556 | 51.8519 | 988.8889 | 845 | 11.9718 | 5 | 7.2 | 43.0729
2019-05-13 | Day 8 | 168 | 77.2059 | 12.1429 | 4650 | 625.8065 | 14.5833 | 5 | 7.2 | 273.4805
[9 empty] | Average SRT | 123.3911
SRT = (V * MLSS)/( Wasting rate * Wasting solids concentration)
V= Volume of aeration tank (213 L)+ Secondary clarifier (52 L) = 265 L
MLSS - Suspended solids concentration (TSS in SP 5 in mg/L)
Wasting Rate - Flow from wasting pump in L/day
Wasting Solids - TSS concentration in SP4 in mg/L
Sludge Volume Index (SVI) Calculation
1 L of sludge collected from SP4
Sludge settled in the 1 L measuring cylinder for 30 min
Settled Sludge volume = 315 mL/L
TSS = 4650 mg/L
SVI = | Settled sludge volume in 30 min (mL/L)/ TSS in (mg/L)
SVI = | 76.129
SVI in a range of 80 to 120 indicates good settleability.
Source: https://www.michigan.gov/documents/deq/wrd-ot-activated-sludge-manual_460007_7.pdf

## Data Dictionary
Acronym | Definition
COD | Chemcial Oxygen Demand
SP | Sample Point
NH3 | Ammonia
ID | Identification
TSS | Total Suspended Solids
VSS | Volatile Suspended Solids
C | Celcius
DO | Dissolved Oxygen
SRT | Solids Retention Time
MLSS | Mixed Liquor Suspended Solids
SVI | Sludge Volume Index
Phi-6 | Surrogate virus phi-6
MS-2 | Surrogate virus MS-2
BG | Bacillus globigii
PFU | Plaque Forming Unit
GAC | Granular Activated Cardon
Temp | Temperature