## Read-me (2)
Description | The data contained in this worksheet provides culture detections and quantitative detections of hetertropic bacteria and nontuberuslosis mycobacterium in drinking water taken from within distribution.
Unit | Colony Forming Unit (CFU)/500mL
Genomic copy per liter water sample
Technology | Culture
qPCR
Control | culture: negative control
qPCR: No DNA template
qPCR: Method Blanks
qPCR: Positive Controls (Standards)
Pathogens | Hetertrophic bacteria
Nontuberulous Mycobacteria
Mycobacterium avium
Mycobacterium intracellulare
Mycobacterium abcessus
Assays | Hetertrophic Plate Counts (HPC testing)
Nontuberculosus Mycobacterium culturing
MA Assay - Mycobacterium avium detection
MI Assay - Mycobacterium intracellulare
Mab Assay- Mycobacterium abcessus
Location | Louisaniana
Date | 2017-2018
Water type | water from within distribution
Chloramine System ID | SW1- Surface water system 1
SW2- Surface water system 2
SW3-Surface water system 3
GW-Goundwater system
Sample Location ID | EP- Near Entry point
ART- Average Residence Time
TANK- Near a Tank
MRT-Maximum Residence time
Month of Sampling | 2017 December
2018 March
2018 June
2018 September
Total Chlorine | mg/L
monochloramine | mg/L
HPC testing | CFU/500mL
Culture NTM | CFU/500mL
MA Assay | Average genomic target per liter
MI Assay | Average genomic target per liter
Mab Assay | Average genomic target per liter
Abbreviation | NK = Not Known
Last Update | 2017-09-06

## SciHub (2)
| Sample ID |  | TCL | Mono | THM4 | HAA5 | HAA9 | HPC/500mL | NTM/500 | M. intracellulare GU/500mL | M. abscessus GU/500mL | M. avium GU/500 mL
SW1 | EP | DEC | 4.41 | 3.5 | 78.3 |  |  | 0 | 1
SW1 | EP | Mar | 3.04 | 2.63 | 94.2 | 16.1 | 25.7 | 0 | 6
SW1 | EP | Jue | 3.71 | 3.43 | 97.2 | 17.58 | 24.88 | 110000 | 3
SW1 | EP | Sept | 3.58 | 3.16 | 20.8 | 15.7 | 24.7 | 0 | 10 |  | 30.2236
SW1 | ART | DEC | 1.71 | 1.09 | 81.4 |  |  | 367500 | 47 | 4.1137 | 6999.7871
SW1 | ART | Mar | 2.34 | 1.91 | 108.95 | 16.9 | 26 | 60000 | 600 | 5.7771 | 1648.9037
SW1 | ART | Jue | 2.39 | 1.91 | 101.1 | 21.1 | 30.37 | 5000 | 49 |  | 6513.9818
SW1 | ART | Sept | 0.51 | 0.31 | 54.1 | 14.6 | 22.6 | 250000 | 600 |  | 1470.7079
SW1 | ART | DEC | 1.59 | 0.99 | 74.3 |  |  | 37500 | 56 | 20.7428 | 14474.0982
SW1 | ART | Mar | 2.32 | 2.82 | 122.65 | 20.9 | 31.7 | 65000 | 50 |  | 1613.7037
SW1 | ART | Jue | 1.96 | 1.46 | 94.15 | 17.8 | 25.37 | 5000 | 94 |  | 1291.175
SW1 | ART | Sept | 1.38 | 1.03 | 42.05 | 14.6 | 22.6 | 15000 | 110 |  | 2868.997
SW1 | MRT | DEC | 0.66 | 0.38 | 83 |  |  | 145000 | 600 |  | 32393.6819
SW1 | MRT | Mar | 1.24 | 0.9 | 106.85 | 27.5 | 40 | 102500 | 88 |  | 9744.9798
SW1 | MRT | Jue | 1.44 | 1.08 | 76.5 | 19.7 | 27.99 | 70000 | 51 |  | 611.0925
SW1 | MRT | Sept | 0.43 | 0.25 | 28.8 | 1.51 | 1.51 | 910000 | 600 | 5.3397 | 19438.7568
SW2 | EP | DEC | 4.14 | 3.52 | 20.2 |  |  | 0 |  | 2.66
SW2 | EP | Mar | 3.67 | 3.14 | 18.9 | 11.31 | 18.46 | 2500
SW2 | EP | Jue | 3.77 | 3.17 | 25.45 | 14 | 21.63 | 2500 |  | 61.0255
SW2 | EP | Sept | 4.02 | 3.48 | 22.25 | 11.1 | 20 | 0 |  | 321.4969
SW2 | ART | DEC | 2.57 | 2.01 | 25 |  |  | 75000 |  |  | 4850.3108
SW2 | ART | Mar | 2.48 | 1.88 | 27 | 13.7 | 21.34 | 15000 |  |  | 1417.7344
SW2 | ART | Jue | 3.04 | 2.46 | 37.55 | 18.5 | 28.07 | 110000 |  |  | 624.4223
SW2 | ART | Sept | 2.81 | 2.36 | 28 | 17.9 | 28.5 | 0 |  | 5.2906 | 4110.7543
SW2 | ART | DEC | 2.35 | 1.96 | 25.4 |  |  | 330000 |  | 12277.8603 | 8748.2969
SW2 | ART | Mar | 2.33 | 1.88 | 27.55 | 13.97 | 21.97 | 135000 |  | 623.4571 | 1417.7344
SW2 | ART | Jue | 2.09 | 1.56 | 35.45 | 18 | 27.4 | 112500 |  | 7418.2518 | 499.6199 | 157.83
SW2 | ART | Sept | 1.67 | 1.44 | 31.2 | 20.2 | 31.2 | 720000 |  | 2862.3053 | 721.0328
SW2 | MRT | DEC | 0.88 | 0.71 | 25.45 |  |  | 162500 |  | 8.0611 | 8024.862
SW2 | MRT | Mar | 1.59 | 1.24 | 30.35 | 12.04 | 19.24 | 125000 |  | 6.8374 | 2279.122
SW2 | MRT | Jue | 1.37 | 0.92 | 35.4 | 18.4 | 27.77 | 12500 |  | 55.3547 | 1018.354
SW2 | MRT | Sept | 1.58 | 0.28 | 32.1 | 19.2 | 29.8 | 820000 |  |  | 1003.8091
SW3 | EP | DEC | 3.81 | 3.18 | 39.55 |  |  | 0
SW3 | EP | Mar | 2.98 | 2.54 | 38.15 | 37.33 | 45.28 | 7500 |  | 7.8277
SW3 | EP | Jue | 3.21 | 2.72 | 105.35 | 56.69 | 69.22 | 30000 |  | 1496.8065 | 236.4621
SW3 | EP | Sept | 3.85 | 3.2 | 66.6 | 45.4 | 62.6 | 0 |  |  | 34.4014
SW3 | ART | DEC | 1.61 | 1.13 | 46.3 |  |  | 0 |  | 3127.4359 | 20296.0469
SW3 | ART | Mar | 2.21 | 1.44 | 45 | 33.32 | 41.03 | 0 |  | 427.4087 | 3409.5885
SW3 | ART | Jue | 0.92 | 0.65 | 108.45 | 37.6 | 46.16 | 37500 |  | 1681.4586 | 6608.3677
SW3 | ART | Sept | 0.87 | 0.6 | 58.45 | 44.5 | 63.1 | 520000 |  | 615.8785 | 53982.3941
SW3 | ART | DEC | 1.19 | 0.8 | 45 |  |  | 112500 |  | 8.092 | 17831.2809
SW3 | ART | Mar | 1.64 | 0.99 | 45.55 | 22.9 | 29.64 | 12500 |  | 24.9589 | 3150.2126
SW3 | ART | Jue | 1.1 | 0.7 | 114.1 | 37.3 | 45.82 | 262500 |  | 22.212 | 2747.8126
SW3 | ART | Sept | 0.37 | 0.15 | 70.2 | 31.29 | 45.09 | 4960000 |  | 19.7689 | 32393.6819
SW3 | MRT | DEC | 0.98 | 0.45 | 44.45 |  |  | 3185000 |  | 374.7694 | 2449.0963
SW3 | MRT | Mar | 2.14 | 1.26 | 44.7 | 30.38 | 38.33 | 12500 |  | 111.3784 | 196.1291
SW3 | MRT | Jue | 1.57 | 1.21 | 127.2 | 47.58 | 58.3 | 0
SW3 | MRT | Sept | 0.19 | 0.02 | 74.45 | 28.2 | 41 | 1500000 |  | 387.7407 | 1684.8715
GW | EP | DEC | 5.95 | 5.1 | 15.2 |  |  | 0 | 2
GW | EP | Mar | 6.08 | 4.45 | 13.8 | 10.72 | 12.94 | 0 | 2
GW | EP | Jue | 4.9 | 4.57 | 14.75 | 11 | 12.5 | 0 | 0
GW | EP | Sept | 4.39 | 3.56 | 12.45 | 7.7 | 8.55 | 5000 | 10
GW | ART | DEC | 0.35 | 0.42 | 11.45 |  |  | 367500 | 600
GW | ART | Mar | 3.78 | 1.79 | 17.05 | 9.7 | 11.27 | 3000000 | 600
GW | ART | Jue | 0.1 | 0.08 | 8.85 | 7.14 | 8.34 | 5000 | 0
GW | ART | Sept | 2.47 | 1.41 | 10.15 | 8.44 | 9.94 | 165000 | 28 |  | 96.9185
GW | ART | DEC | 2.81 | 1.56 | 13.55 |  |  | 0 | 1 | 4.7377
GW | ART | Mar | 4.32 | 3.47 | 15.2 | 11.64 | 15.03 | 0 | 0 | 4.7041
GW | ART | Jue | 3.8 | 3.2 | 15.6 | 10.99 | 13.19 | 0 | 0 | 0
GW | ART | Sept | 2.72 | 2.24 | 11.65 | 8.83 | 10.63 | 0 | 0 | 2.7543 | 147.0919
GW | MRT | DEC | 2.95 | 1.48 | 6.65 |  |  | 0 | 2
GW | MRT | Mar | 3.24 | 1.68 | 17 | 9.83 | 12.09 | 0 | 0
GW | MRT | Jue | 4.61 | 3.86 | 15.9 | 9.62 | 11.42 | 0 | 0
GW | MRT | Sept | 2.12 | 1.66 | 11.85 | 9.62 | 11.42 | 2500 | 0 |  | 54.5131