## Table 1
House ID | Private-side Galvanized Replaced (ft/m) | Total LSL Replaced (ft/m) | Internal Plumbing
|  |  | Basement | Under Kitchen Sink
GS1 | NA | 37.5/11.4 | Pb pipe to galvanized steel fittings to brass meter to Cu fittings to brass fittings to PVC pipe | PVC pipe to Cu/chrome tubing
GS2 | NA | 36/11 | Pb pipe to Pb fixtures to brass meter to GSP | PVC pipe to flex poly tubing
GS3 | NA | 88/27 | Pb pipe to brass fittings to brass meter to PVC pipe | Cu pipe to flex plastic hose
GS4 | NA | 44/13 | Pb pipe to brass meter to galvanized steel fixtures to Cu pipe | Cu pipe to metal poly braided tubing
GS5 | NA | 40/12 | Pb pipe to galvanized steel fittings to brass fittings to brass meter to Cu pipe | Metal flex poly tubing
GS6 | NA | 36/11 | Pb pipe to brass fittings to brass meter to GSP | Cu pipe to plastic poly tubing
GS7 | NA | 85/26 | Pb pipe to brass fittings to brass meter to galvanized steel pipe | Cu pipe to metal poly tubing
GS8 | NA | 41/12.5 | Pb pipe to brass fittings to GSP | Cu pipe to plastic flex tubing
GS9 | NA | 28/8.5 | Pb pipe to brass fittings to new meter to brass fittings to PVC pipe | Cu pipe to poly metal braided tubing
GS10 | NA | 78/24 | Pb pipe to galvanized steel fittings to brass meter to GSP | Cu pipe to plastic flex tubing
GS11 | NA | 82/25 | Pb pipe to brass fittings to galvanized steel pipe | Cu pipe to plastic flex tubing
GS12 | NA | 78/24 | Pb pipe to brass fittings to GSP | PVC pipe to plastic flex tubing
FS1 | 0/0 | 83/25 | Cu pipe to new plastic meter to blue PVC pipe | Cu pipe to plastic tubing
FS2 | 41/12 | 55/17 | GSP to Cu fittings to old brass meter to PVC pipe | PVC pipe to braided poly tubing
FS3 | 32/10 | 76/23 | GSP to brass fittings to plastic meter to Cu pipe | Cu pipe to plastic flex tubing
FS4 | 40/12 | 48/15 | GSP to galvanized fixtures to plastic meter to PVC pipe | PVC pipe to Cu pipe
FS5 | 42/13 | 48/15 | GSP to plastic meter to brass fittings to Cu pipe | Cu pipe to metal braided poly tubing
FS6 | 0/0 | 2/0.6 | Cu pipe to old brass meter to GSP | Cu pipe to plastic flex tubing
FS7 | 0/0 | 36/11 | Cu pipe to old brass meter to Cu pipe | PVC pipe to plastic braided poly tubing
FS8 | 0/0 | 12/4 | Cu pipe to brass fittings to new plastic meter to PVC pipe | PVC pipe to metal braided poly tubing
FS9 | 46/14 | 59/18 | GSP to galvanized fixtures to brass meter to PVC pipe | PVC pipe to smaller PVC pipe
FS10 | 0/0 | 8/2 | Cu pipe to brass meter to GSP | GSP to plastic braided poly tubing
NA=not available; LSL=lead service line; PVC=polyvinyl chloride; Cu=copper; Pb=lead; GSP=galvanized steel pipe

## Figure 1
Flow Rate | Analyte | Result | Data Type | House ID
Low | Lead | 0.25 | Control | GC1 | lead=0.25 µg/L represents half of the reporting level of 0.5 µg/L.
Low | Lead | 0.25 | Control | GC2
Low | Lead | 0.25 | Control | GC3
Low | Lead | 0.25 | Control | GC4
Low | Lead | 0.25 | Control | GC5
Low | Lead | 0.25 | Control | GC6
Low | Lead | 0.25 | Control | GC7
Medium | Lead | 0.25 | Control | GC1
Medium | Lead | 0.25 | Control | GC2
Medium | Lead | 0.25 | Control | GC3
Medium | Lead | 0.25 | Control | GC4
Medium | Lead | 0.25 | Control | GC5
Medium | Lead | 0.25 | Control | GC6
Medium | Lead | 0.25 | Control | GC7
High | Lead | 0.25 | Control | GC1
High | Lead | 0.25 | Control | GC2
High | Lead | 0.25 | Control | GC3
High | Lead | 0.25 | Control | GC4
High | Lead | 0.25 | Control | GC5
High | Lead | 0.25 | Control | GC6
High | Lead | 0.25 | Control | GC7
Low | Lead | 3.27 | Pre-Replace | GS1
Low | Lead | 7.64 | Pre-Replace | GS2
Low | Lead | 5.09 | Pre-Replace | GS3
Low | Lead | 2.37 | Pre-Replace | GS4
Low | Lead | 1.52 | Pre-Replace | GS5
Low | Lead | 3.35 | Pre-Replace | GS6
Low | Lead | 3.73 | Pre-Replace | GS7
Low | Lead | 3.45 | Pre-Replace | GS8
Low | Lead | 0.8 | Pre-Replace | GS9
Low | Lead | 7.09 | Pre-Replace | GS10
Low | Lead | 0.82 | Pre-Replace | GS11
Low | Lead | 4.34 | Pre-Replace | GS12
Medium | Lead | 2.85 | Pre-Replace | GS1
Medium | Lead | 7.67 | Pre-Replace | GS2
Medium | Lead | 5.21 | Pre-Replace | GS3
Medium | Lead | 2.35 | Pre-Replace | GS4
Medium | Lead | 1.69 | Pre-Replace | GS5
Medium | Lead | 3.26 | Pre-Replace | GS6
Medium | Lead | 3.82 | Pre-Replace | GS7
Medium | Lead | 3.25 | Pre-Replace | GS8
Medium | Lead | 0.79 | Pre-Replace | GS9
Medium | Lead | 7.37 | Pre-Replace | GS10
Medium | Lead | 0.79 | Pre-Replace | GS11
Medium | Lead | 4.23 | Pre-Replace | GS12
High | Lead | 4.7 | Pre-Replace | GS1
High | Lead | 24.9 | Pre-Replace | GS2
High | Lead | 5.8 | Pre-Replace | GS3
High | Lead | 5.13 | Pre-Replace | GS4
High | Lead | 1.79 | Pre-Replace | GS5
High | Lead | 6.03 | Pre-Replace | GS6
High | Lead | 5.39 | Pre-Replace | GS7
High | Lead | 3.46 | Pre-Replace | GS8
High | Lead | 1.08 | Pre-Replace | GS9
High | Lead | 11.4 | Pre-Replace | GS10
High | Lead | 0.9 | Pre-Replace | GS11
High | Lead | 4.76 | Pre-Replace | GS12
Low | Lead | 0.25 | Post-Replace | GS1 | 92.35%
Low | Lead | 1.47 | Post-Replace | GS2 | 80.76%
Low | Lead | 0.25 | Post-Replace | GS3 | 95.09%
Low | Lead | 0.25 | Post-Replace | GS4 | 89.45%
Low | Lead | 0.25 | Post-Replace | GS5 | 83.55%
Low | Lead | 0.6 | Post-Replace | GS6 | 82.09%
Low | Lead | 1.01 | Post-Replace | GS7 | 72.92%
Low | Lead | 0.65 | Post-Replace | GS8 | 81.16%
Low | Lead | 0.25 | Post-Replace | GS9 | 68.75%
Low | Lead | 2.33 | Post-Replace | GS10 | 67.14%
Low | Lead | 0.25 | Post-Replace | GS11 | 69.51%
Medium | Lead | 0.25 | Post-Replace | GS1 | 94.24%
Medium | Lead | 1.46 | Post-Replace | GS2 | 48.77%
Medium | Lead | 0.25 | Post-Replace | GS3 | 96.74%
Medium | Lead | 0.5 | Post-Replace | GS4 | 90.4%
Medium | Lead | 0.25 | Post-Replace | GS5 | 89.36%
Medium | Lead | 0.65 | Post-Replace | GS6 | 61.54%
Medium | Lead | 1.04 | Post-Replace | GS7 | 68.1%
Medium | Lead | 0.66 | Post-Replace | GS8 | 82.72%
Medium | Lead | 0.25 | Post-Replace | GS9 | 92.31%
Medium | Lead | 2.27 | Post-Replace | GS10
Medium | Lead | 0.25 | Post-Replace | GS11 | 96.61%
High | Lead | 0.25 | Post-Replace | GS1 | 68.35%
High | Lead | 1.5 | Post-Replace | GS2 | 64.54%
High | Lead | 0.72 | Post-Replace | GS3 | 84.68%
High | Lead | 0.89 | Post-Replace | GS4 | 96.43%
High | Lead | 0.25 | Post-Replace | GS5 | 95.69%
High | Lead | 1.65 | Post-Replace | GS6 | 67.84%
High | Lead | 1.11 | Post-Replace | GS7 | 37.99%
High | Lead | 0.74 | Post-Replace | GS8 | 87.73%
High | Lead | 0.25 | Post-Replace | GS9 | 95.36%
High | Lead | 4.65 | Post-Replace | GS10
High | Lead | 0.25 | Post-Replace | GS11 | 76.85%
79.97%

## Sheet2
FlowRate | Analyte | Result | Data Type | House ID
Low | Lead | 0.25 | Control | FC1 | lead=0.25 µg/L represents half of the reporting level of 0.5 µg/L.
Low | Lead | 0.25 | Control | FC2
Low | Lead | 0.25 | Control | FC3
Low | Lead | 0.25 | Control | FC4
Low | Lead | 0.25 | Control | FC5
Low | Lead | 0.25 | Control | FC6
Low | Lead | 0.25 | Control | FC7
Low | Lead | 0.25 | Control | FC8
Low | Lead | 0.25 | Control | FC9
Low | Lead | 0.25 | Control | FC10
Low | Lead | 0.25 | Control | FC11
Low | Lead | 0.25 | Control | FC12
Medium | Lead | 0.25 | Control | FC1
Medium | Lead | 0.25 | Control | FC2
Medium | Lead | 0.25 | Control | FC3
Medium | Lead | 0.25 | Control | FC4
Medium | Lead | 0.25 | Control | FC5
Medium | Lead | 0.25 | Control | FC6
Medium | Lead | 0.25 | Control | FC7
Medium | Lead | 0.25 | Control | FC8
Medium | Lead | 0.25 | Control | FC9
Medium | Lead | 0.25 | Control | FC10
Medium | Lead | 0.25 | Control | FC11
Medium | Lead | 0.25 | Control | FC12
High | Lead | 0.25 | Control | FC1
High | Lead | 0.25 | Control | FC2
High | Lead | 0.25 | Control | FC3
High | Lead | 0.25 | Control | FC4
High | Lead | 0.25 | Control | FC5
High | Lead | 0.25 | Control | FC6
High | Lead | 0.25 | Control | FC7
High | Lead | 0.56000000000000005 | Control | FC8
High | Lead | 0.25 | Control | FC9
High | Lead | 0.25 | Control | FC10
High | Lead | 0.25 | Control | FC11
High | Lead | 0.25 | Control | FC12
Low | Lead | 0.87 | Pre-Replace | FS1
Low | Lead | 0.25 | Pre-Replace | FS2
Low | Lead | 0.78 | Pre-Replace | FS3
Low | Lead | 0.57999999999999996 | Pre-Replace | FS4
Low | Lead | 0.25 | Pre-Replace | FS5
Low | Lead | 0.25 | Pre-Replace | FS6
Low | Lead | 0.25 | Pre-Replace | FS7
Low | Lead | 0.25 | Pre-Replace | FS8
Low | Lead | 0.25 | Pre-Replace | FS9
Low | Lead | 0.57 | Pre-Replace | FS10
Medium | Lead | 0.92 | Pre-Replace | FS1
Medium | Lead | 0.25 | Pre-Replace | FS2
Medium | Lead | 0.9 | Pre-Replace | FS3
Medium | Lead | 0.25 | Pre-Replace | FS4
Medium | Lead | 0.25 | Pre-Replace | FS5
Medium | Lead | 0.25 | Pre-Replace | FS6
Medium | Lead | 0.25 | Pre-Replace | FS7
Medium | Lead | 0.25 | Pre-Replace | FS8
Medium | Lead | 0.25 | Pre-Replace | FS9
Medium | Lead | 0.56 | Pre-Replace | FS10
High | Lead | 0.91 | Pre-Replace | FS1
High | Lead | 0.25 | Pre-Replace | FS2
High | Lead | 1.91 | Pre-Replace | FS3
High | Lead | 0.25 | Pre-Replace | FS4
High | Lead | 0.66 | Pre-Replace | FS5
High | Lead | 0.25 | Pre-Replace | FS6
High | Lead | 1.2 | Pre-Replace | FS7
High | Lead | 0.25 | Pre-Replace | FS8
High | Lead | 0.25 | Pre-Replace | FS9
High | Lead | 0.89 | Pre-Replace | FS10
Low | Lead | 0.25 | Post-Replace | FS1
Low | Lead | 0.25 | Post-Replace | FS2
Low | Lead | 0.25 | Post-Replace | FS3
Low | Lead | 0.25 | Post-Replace | FS4
Low | Lead | 0.25 | Post-Replace | FS5
Low | Lead | 0.25 | Post-Replace | FS6
Low | Lead | 0.25 | Post-Replace | FS7
Medium | Lead | 0.25 | Post-Replace | FS1
Medium | Lead | 0.25 | Post-Replace | FS2
Medium | Lead | 0.25 | Post-Replace | FS3
Medium | Lead | 0.25 | Post-Replace | FS4
Medium | Lead | 0.25 | Post-Replace | FS5
Medium | Lead | 0.25 | Post-Replace | FS6
Medium | Lead | 0.25 | Post-Replace | FS7
High | Lead | 0.25 | Post-Replace | FS1
High | Lead | 0.25 | Post-Replace | FS2
High | Lead | 0.25 | Post-Replace | FS3
High | Lead | 0.25 | Post-Replace | FS4
High | Lead | 1.5 | Post-Replace | FS5
High | Lead | 0.25 | Post-Replace | FS6
High | Lead | 0.25 | Post-Replace | FS7

## Figure 3
GS1 |  |  |  | GS2 |  |  |  | GS3 |  |  |  | GS4 |  |  |  | GS5 |  |  |  | GS6 |  |  |  | GS7 |  |  |  | GS8 |  |  |  | GS9 |  |  |  | GS10 |  |  |  | GS11 |  |  |  | GS12
Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L)
0.125 | 5.17 | 4.36 | 0 | 0.125 | 16.7 | 8.98 | 0 | 0.125 | 6.65 | 7.06 | 0 | 0.125 | 89.4 | 1.71 | 0 | 0.125 | 2.88 | 1.07 | 0 | 0.125 | 10 | 1.94 | 0 | 0.125 | 5.37 | 2.87 | 0 | 0.125 | 5.08 | 1.81 | 0 | 0.125 | 1.37 | 0.92 | 0 | 0.125 | 19.3 | 14.9 | 0 | 0.125 | 1.23 | 1.55 | 0 | 0.125 | 9.86 | 1 | 1
0.25 | 6 | 3.02 | 18 | 0.25 | 17.9 | 6.11 | 18 | 0.25 | 8.9 | 12.3 | 18 | 0.25 | 104 | 0.74 | 15 | 0.25 | 0.63 | 0.83 | 15 | 0.25 | 9.42 | 4.06 | 18 | 0.25 | 4.35 | 3.05 | 18 | 0.25 | 5.13 | 2.57 | 18 | 0.25 | 2.17 | 1.76 | 18 | 0.25 | 14.8 | 11.2 | 18 | 0.25 | 2.01 | 3.28 | 18 | 0.25 | 12 | 18 | 210 | 0.0047619
1.25 | 114 | 5.09 |  | 1.25 | 46.8 | 39.7 |  | 1.25 | 16.4 | 6.82 |  | 1.25 | 233 | 2.83 |  | 1.25 | 0.52 | 0.25 |  | 1.25 | 29.4 | 5.2 |  | 1.25 | 5.45 | 3.93 |  | 1.25 | 6.86 | 4 |  | 1.25 | 34.7 | 1.63 |  | 1.25 | 20.5 | 24 |  | 1.25 | 3.99 | 1.12 |  | 1.25 | 27.7
2.25 | 66.7 | 4.56 | 0 | 2.25 | 183 | 41.8 | 0 | 2.25 | 19.9 | 4.65 | 0 | 2.25 | 81.7 | 3.63 | 0 | 2.25 | 0.53 | 0.25 | 11 | 2.25 | 29.6 | 6.46 | 0 | 2.25 | 8.76 | 5.08 | 0 | 2.25 | 8.04 |  | 0 | 2.25 | 23.8 | 2.06 | 5 | 2.25 | 24.4 | 57.4 | 0 | 2.25 | 2.57 | 0.25 | 15 | 2.25 | 148 | 0 | 31 | 0.077108
3.25 | 40.3 | 1.88 | 18 | 3.25 | 146 | 13.5 | 18 | 3.25 | 21.5 | 3.12 | 18 | 3.25 | 92.1 | 4.94 | 15 | 3.25 | 1.15 | 0.25 | 15 | 3.25 | 20.8 | 6.38 | 18 | 3.25 | 10.8 | 3.68 | 18 | 3.25 | 9.45 | 4.98 | 13 | 3.25 | 22.6 | 2.5 | 18 | 3.25 | 24.4 | 61.4 | 18 | 3.25 | 2.3 | 0.25 | 18 | 3.25 | 80.3 | 18 | 205 | 0.15122
4.25 | 37.9 | 1.32 |  | 4.25 | 128 | 4.22 |  | 4.25 | 22.4 | 2.5 |  | 4.25 | 76.3 | 4.66 |  | 4.25 | 1.84 | 0.51 |  | 4.25 | 21.3 | 6.62 |  | 4.25 | 11.9 | 3.71 |  | 4.25 | 20.1 | 1.62 |  | 4.25 | 38.6 | 1.53 |  | 4.25 | 31.2 | 70.5 |  | 4.25 | 2.18 | 0.25 |  | 4.25 | 43.8
5.25 | 36.2 | 0.85 |  | 5.25 | 109 | 3.34 |  | 5.25 | 22.1 | 1.47 |  | 5.25 | 29.4 | 4.27 |  | 5.25 | 5.52 | 0.62 |  | 5.25 | 33.4 | 3.43 |  | 5.25 | 11.7 | 3.88 |  | 5.25 | 23.3 | 1.18 |  | 5.25 | 34.2 | 0.66 |  | 5.25 | 35.7 | 43.3 |  | 5.25 | 1.95 | 0.25 |  | 5.25 | 47.9
6.25 | 32.7 | 0.82 |  | 6.25 | 89.4 | 2.98 |  | 6.25 | 21.5 | 1.32 |  | 6.25 | 43.7 | 2.78 |  | 6.25 | 11.4 | 0.25 |  | 6.25 | 36.8 | 3.96 |  | 6.25 | 12.8 | 4.43 |  | 6.25 | 24.3 |  |  | 6.25 | 32.6 | 0.51 |  | 6.25 | 37.5 | 27.5 |  | 6.25 | 1.75 | 0.25 |  | 6.25 | 41.3
7.25 | 33.3 | 0.88 |  | 7.25 | 88.8 | 2.69 |  | 7.25 | 19.8 | 1.27 |  | 7.25 | 32.1 | 1.73 |  | 7.25 | 16.6 | 0.25 |  | 7.25 | 35.1 | 2.24 |  | 7.25 | 13.3 | 2.96 |  | 7.25 | 24.3 | 1.06 |  | 7.25 | 18.3 | 0.25 |  | 7.25 | 38.3 | 26.6 |  | 7.25 | 1.56 | 0.25 |  | 7.25 | 34.3
8.25 | 37.1 | 0.86 |  | 8.25 | 87.9 | 2.62 |  | 8.25 | 17.2 | 1.27 |  | 8.25 | 34.6 | 1.66 |  | 8.25 | 17.8 | 0.25 |  | 8.25 | 24.7 | 2.07 |  | 8.25 | 13.8 | 1.64 |  | 8.25 | 24.4 | 1.1 |  | 8.25 | 10.4 | 0.58 |  | 8.25 | 37.6 | 19.1 |  | 8.25 | 1.65 | 0.25 |  | 8.25 | 30
9.25 | 37.6 | 0.85 |  | 9.25 | 92.9 | 2.48 |  | 9.25 | 20.7 | 1.24 |  | 9.25 | 33.5 | 1.54 |  | 9.25 | 17.9 | 0.25 |  | 9.25 | 14.9 | 1.95 |  | 9.25 | 13.7 | 1.43 |  | 9.25 | 26.9 | 1.09 |  | 9.25 | 9.8 | 1.17 |  | 9.25 | 39.3 | 16.2 |  | 9.25 | 4.12 | 0.25 |  | 9.25 | 26.4
10.25 | 35 | 0.88 |  | 10.25 | 83.6 | 2.44 |  | 10.25 | 23.1 | 1.21 |  | 10.25 | 32.9 | 1.54 |  | 10.25 | 18.8 | 0.25 |  | 10.25 | 10.7 | 2.17 |  | 10.25 | 15.1 | 1.31 |  | 10.25 | 26.8 | 1.02 |  | 10.25 | 8.99 | 0.25 |  | 10.25 | 43.5 | 18 |  | 10.25 | 8.98 | 0.25 |  | 10.25 | 25.8
11.25 | 18.5 | 0.86 |  | 11.25 | 74.8 | 2.39 |  | 11.25 | 26.5 | 1.46 |  | 11.25 | 15.5 | 1.74 |  | 11.25 | 20.3 | 0.25 |  | 11.25 | 9.29 | 1.98 |  | 11.25 | 17.2 | 1.31 |  | 11.25 | 23.5 | 1.1 |  | 11.25 | 9.58 | 1.86 |  | 11.25 | 44.5 | 15.8 |  | 11.25 | 10.4 | 0.25 |  | 11.25 | 27
12.25 | 8.22 | 0.74 |  | 12.25 | 69.7 | 2.38 |  | 12.25 | 25.6 | 1.27 |  | 12.25 | 10.8 | 1.54 |  | 12.25 | 17.7 | 0.25 |  | 12.25 | 8.72 | 1.86 |  | 12.25 | 20.6 | 1.36 |  | 12.25 | 10.1 |  |  | 12.25 | 9.2 | 0.25 |  | 12.25 | 43.1 | 14 |  | 12.25 | 8.05 | 0.25 |  | 12.25 | 21.9
13.25 | 7.16 | 0.73 |  | 13.25 | 59.7 | 2.6 |  | 13.25 | 19.5 | 1.28 |  | 13.25 | 10.1 | 1.5 |  | 13.25 | 11.3 | 0.25 |  | 13.25 | 10.9 | 1.77 |  | 13.25 | 18.8 | 1.37 |  | 13.25 | 5.09 |  |  | 13.25 | 8.27 | 0.25 |  | 13.25 | 34 | 12.6 |  | 13.25 | 5.68 | 0.25 |  | 13.25 | 12.2
14.25 | 6.9 | 0.61 |  | 14.25 | 59.7 | 2.56 |  | 14.25 | 7.75 | 1.25 | [9 empty] | 14.25 | 8.54 | 1.76 |  | 14.25 | 12.8 | 1.33 |  | 14.25 | 4.46 | 1.07 |  | 14.25 | 8.97 | 0.25 |  | 14.25 | 18.6 | 16.2 |  | 14.25 | 4.32 | 0.25 |  | 14.25 | 8.31
15.25 | 6.5 | 0.68 |  | 15.25 | 54.8 | 2.4 |  | 15.25 | 6.58 | 1.27 | [9 empty] | 15.25 | 8.95 | 1.73 |  | 15.25 | 13 | 1.39 |  | 15.25 | 4.17 | 1.03 |  | 15.25 | 8.68 | 13.6 |  | 15.25 | 14.7 | 14 |  | 15.25 | 3.5 | 0.25 |  | 15.25 | 7.79
16.25 | 6.45 | 0.52 |  | 16.25 | 51.6 | 2.36 |  | 16.25 | 6.41 | 1.15 | [9 empty] | 16.25 | 8.33 | 1.72 |  | 16.25 | 13.8 | 1.45 |  | 16.25 | 4.11 |  |  | 16.25 | 7.66 | 0.57 |  | 16.25 | 13.7 | 12.3 |  | 16.25 | 3.24 | 0.25 |  | 16.25 | 7.61
Total Lead Mass (µg) | 525.9263 | 23.0525 |  |  | 1430.025 | 132.3462 |  |  | 298.8838 | 34.97 |  |  | 749.875 | 34.6662 |  |  | 141.7987 | 4.1175 |  |  | 313.8575 | 52.05 |  |  | 214.725 | 41 |  |  | 247.1563 | 19.7975 |  |  | 286.7925 | 28.255 |  |  | 505.2625 | 452.1625 |  |  | 66.645 | 5.4737
| 4780.9475 | 827.8913
Lead rectuction mass (µg) |  | 502.8738 |  |  |  | 1297.6787 |  |  |  | 263.9138 |  |  |  | 715.2088 |  |  |  | 137.6812 |  |  |  | 261.8075 |  |  |  | 173.725 |  |  |  | 227.3588 |  |  |  | 258.5375 |  |  |  | 53.1 |  |  |  | 61.1712
| Sum (µg) | 3953.0562
0.82684

## Figure 4
FS1 |  |  |  | FS2 |  |  |  | FS3 |  |  |  | FS4 |  |  |  | FS5 |  |  |  | FS6 |  |  |  | FS7 |  |  |  | FS8 |  |  | FS9 |  |  | FS10
Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) | Post-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L) |  | Sequential Volume (L) | Pre-replacement lead (µg/L)
0.125 | 1.88 | 0.25 | 0 | 0.125 | 1.16 | 0.25 | 1 | 0.125 | 0.84 | 0.25 | 0 | 0.125 | 0.25 | 0.25 | 4 | 0.125 | 0.56 | 165 | 0 | 0.125 | 0.25 | 0.25 | 6 | 0.125 | 1.04 | 1.06 | 0 | 0.125 | 0.57 | 1 | 0.125 | 2.24 | 1 | 0.125 | 1.96 | 1 | 14 | 82
0.25 | 1.53 | 0.25 | 18 | 0.25 | 0.25 | 0.25 | 18 | 0.25 | 0.69 | 0.25 | 15 | 0.25 | 0.25 | 0.25 | 15 | 0.25 | 0.76 | 79.7 | 15 | 0.25 | 0.25 | 0.25 | 15 | 0.25 | 0.61 | 0.76 | 15 | 0.25 | 0.5 | 15 | 0.25 | 0.25 | 15 | 0.25 | 0.99 | 18 | 159 | 0.08805
1.25 | 1.6 | 0.25 |  | 1.25 | 15.6 | 1.47 |  | 1.25 | 104 | 1.33 |  | 1.25 | 2.09 | 0.57 |  | 1.25 | 10.4 | 1150 |  | 1.25 | 3.12 | 0.25 |  | 1.25 | 30.2 | 3.85 |  | 1.25 | 0.5 |  | 1.25 | 1.67 |  | 1.25 | 109
2.25 | 2.95 | 0.25 | 15 | 2.25 | 7.06 | 0.69 | 13 | 2.25 | 4.65 | 0.89 | 7 | 2.25 | 0.89 | 0.76 | 12 | 2.25 | 11.3 | 596 | 0 | 2.25 | 1.98 | 0.25 | 15 | 2.25 | 122 | 2.96 | 0 | 2.25 | 0.5 | 5 | 2.25 | 1.62 | 1 | 2.25 | 70.7 | 0 | 68
3.25 | 3.47 | 0.25 | 15 | 3.25 | 4.45 | 0.25 | 15 | 3.25 | 3.07 | 0.75 | 15 | 3.25 | 0.63 | 0.58 | 15 | 3.25 | 8.12 | 102 | 15 | 3.25 | 1.42 | 0.25 | 15 | 3.25 | 48.9 | 1.27 | 15 | 3.25 | 0.25 | 15 | 3.25 | 1.31 | 15 | 3.25 | 13.3 | 18 | 153 | 0.44444 | 184.5
4.25 | 5.38 | 0.25 |  | 4.25 | 3.59 | 0.25 |  | 4.25 | 3.97 | 0.67 |  | 4.25 | 0.52 | 0.25 |  | 4.25 | 3.93 | 50.9 |  | 4.25 | 1.07 | 0.25 |  | 4.25 | 24.1 | 0.93 |  | 4.25 | 0.5 |  | 4.25 | 1.01 |  | 4.25 | 11.3
5.25 | 6.66 | 0.25 |  | 5.25 | 3.34 | 0.25 |  | 5.25 | 3.18 | 0.81 |  | 5.25 | 0.6 | 0.25 |  | 5.25 | 2.95 | 51.4 |  | 5.25 | 0.86 | 0.25 |  | 5.25 | 14.8 | 1.99 |  | 5.25 | 0.5 |  | 5.25 | 0.82 |  | 5.25 | 8.19
6.25 | 6.16 | 0.25 |  | 6.25 | 3.44 | 0.25 |  | 6.25 | 1.86 | 0.62 |  | 6.25 | 2.15 | 0.25 |  | 6.25 | 29.8 | 14.1 |  | 6.25 | 0.7 | 0.25 |  | 6.25 | 13.2 | 2.15 |  | 6.25 | 0.25 |  | 6.25 | 0.69 |  | 6.25 | 5.88
7.25 | 5.8 | 0.25 |  | 7.25 | 3.01 | 0.25 |  | 7.25 | 1.8 | 0.5 |  | 7.25 | 1.18 | 0.25 |  | 7.25 | 2.35 | 18.6 |  | 7.25 | 0.56 | 0.25 |  | 7.25 | 11.7 | 0.83 |  | 7.25 | 0.58 |  | 7.25 | 1.82 |  | 7.25 | 5.98
8.25 | 5.99 | 0.25 |  | 8.25 | 3.33 | 0.25 |  | 8.25 | 1.37 | 0.53 |  | 8.25 | 0.53 | 0.25 |  | 8.25 | 2.62 | 10.9 |  | 8.25 | 0.53 | 0.25 |  | 8.25 | 9.39 | 0.79 |  | 8.25 | 0.25 |  | 8.25 | 30.1 |  | 8.25 | 6
9.25 | 5.24 | 0.25 |  | 9.25 | 3.73 | 0.25 |  | 9.25 | 1.39 | 0.25 |  | 9.25 | 0.52 | 0.25 |  | 9.25 | 3.41 | 8.8 |  | 9.25 | 0.54 | 0.25 |  | 9.25 | 6.52 | 0.77 |  | 9.25 | 3.21 |  | 9.25 | 11.8 |  | 9.25 | 4.42
10.25 | 3.05 | 0.25 |  | 10.25 | 3.04 | 0.25 |  | 10.25 | 1.46 | 0.25 |  | 10.25 | 0.25 | 0.25 |  | 10.25 | 1.83 | 6.51 |  | 10.25 | 0.25 | 0.25 |  | 10.25 | 5.55 | 0.75 |  | 10.25 | 3.71 |  | 10.25 | 1.83 |  | 10.25 | 4.1
11.25 | 2.15 | 0.25 |  | 11.25 | 3.26 | 0.25 |  | 11.25 | 1.5 | 0.25 |  | 11.25 | 0.51 | 0.25 |  | 11.25 | 1.52 | 6.1 |  | 11.25 | 0.25 | 0.25 |  | 11.25 | 4.75 | 0.74 |  | 11.25 | 0.52 |  | 11.25 | 0.83 |  | 11.25 | 3.96
12.25 | 2.03 | 0.25 |  | 12.25 | 2.76 | 0.25 |  | 12.25 | 2.55 | 0.25 |  | 12.25 | 0.53 | 0.25 |  | 12.25 | 1.52 | 6.73 |  | 12.25 | 0.25 | 0.25 |  | 12.25 | 4.16 | 0.92 |  | 12.25 | 0.25 |  | 12.25 | 0.71 |  | 12.25 | 2.86
13.25 | 1.93 | 0.25 |  | 13.25 | 2.61 | 0.25 |  | 13.25 | 2.73 | 0.25 |  | 13.25 | 0.25 | 0.25 |  | 13.25 | 1.3 | 5.32 |  | 13.25 | 0.25 | 0.25 |  | 13.25 | 3.94 | 1.02 |  | 13.25 | 0.25 |  | 13.25 | 0.87 |  | 13.25 | 3.14
14.25 | 1.9 |  |  | 14.25 | 2.28 | [28 empty] | 14.25 | 2.95
15.25 | 1.42 |  |  | 15.25 | 1.53 | [28 empty] | 15.25 | 2.51
16.25 | 1.02 |  |  | 16.25 | 1.31 | [28 empty] | 16.25 | 1.99
Total Lead Mass (µg) | 57.1763 | 3.3125 |  |  | 64.5162 | 4.9725 |  |  | 133.7212 | 7.4125 |  |  | 10.7125 | 4.4725 |  |  | 81.215 | 2057.9475 |  |  | 11.8425 | 3.3125 |  |  | 299.4162 | 19.1975
All homes considered | 658.6 | 2100.6275
Lead rectuction mass (µg) |  | 53.8638 |  |  |  | 59.5437 |  |  |  | 126.3088 |  |  |  | 6.24 |  |  |  | -1976.7325 |  |  |  | 8.53 |  |  |  | 280.2188
| Sum (µg) | -1442.0275
Homes with lead reduction considered | 577.385 | 42.68
534.705
0.92608

## Figure 5
Galesburg, IL
| Pre-replacement |  |  |  |  | Post-replacement
| FDE (µg/L) | MME (µg/L) | FMC (µg/L) | SPMC (µg/L) | WASLC (µg/L) | FDE (µg/L) | Montreal Equivalent (µg/L) | FMC (µg/L) | SPMC (µg/L) | WASLC (µg/L)
1x | 1 | 1 | 1 | 1 | 1 | 0 | 0.090909 | 0.36364 | 0 | 0
2x | 1 | 1 | 1 | 1 | 1 | 0.090909 | 0.18182 | 0.36364 | 0.090909 | 0.18182
3x | 1 | 0.91667 | 1 | 1 | 1 | 0.090909 | 0.18182 | 0.54545 | 0.090909 | 0.18182
4x | 0.91667 | 0.91667 | 0.91667 | 1 | 1 | 0.090909 | 0.18182 | 0.63636 | 0.090909 | 0.18182
5x | 0.91667 | 0.91667 | 0.83333 | 1 | 1 | 0.090909 | 0.18182 | 0.72727 | 0.18182 | 0.18182
10x | 0.91667 | 0.91667 | 0.75 | 1 | 1 | 0.36364 | 0.27273 | 0.90909 | 0.63636 | 0.72727
Flint, MI
| Pre-replacement |  |  |  |  | Post-replacement
| FDE (µg/L) | MME (µg/L) | FMC (µg/L) | SPMC (µg/L) | WASLC (µg/L) | FDE (µg/L) | Montreal Equivalent (µg/L) | FMC (µg/L) | SPMC (µg/L) | WASLC (µg/L)
1x | 0.9 | 0.9 | 0.6 | 1 | 1 | 0.42857 | 0.28571 | 0.85714 | 0.71429 | 0.14286
2x | 0.6 | 0.9 | 0.6 | 0.9 | 1 | 0.71429 | 0.71429 | 0.85714 | 0.71429 | 0.14286
3x | 0.5 | 0.7 | 0.4 | 0.7 | 0.7 | 0.71429 | 0.71429 | 0.85714 | 0.85714 | 0.14286
4x | 0.5 | 0.7 | 0.2 | 0.7 | 0.7 | 0.85714 | 0.71429 | 0.85714 | 0.85714 | 0.14286
5x | 0.5 | 0.5 | 0.1 | 0.6 | 0.7 | 0.85714 | 0.71429 | 0.85714 | 0.85714 | 0.14286
10x | 0.4 | 0.5 | 0 | 0.6 | 0.7 | 0.85714 | 0.85714 | 1 | 0.85714 | 0.71429
FDE – first draw equivalent
FMC – Flushing sampling maximum concentration
MME-modified Montreal equivalent
SPMC – sequential profile maximum concentration
WASLC – weighted average sequential lead concentration
Reporting level=0.5 µg/L