## data dictionary
Airofog by Distance Summary | Airofog_3ft Summary - average values |  | Airofog_6ftSummary |  | Airofog_10ftSummary
Dv% | 3ft | STDEV | 6ft | Stdev | 10ft | Stdev
Dv10 | 15.704 | 0.14188 | 19.266 | 0.51306 | 22.466 | 1.162
Dv16 | 19.94 | 0.20688 | 23.772 | 0.5832 | 26.754 | 1.1825
Dv50 | 39.188 | 0.43008 | 42.028 | 0.64651 | 43.798 | 1.1914
Dv84 | 60.486 | 0.40863 | 62.408 | 0.94378 | 63.492 | 1.5844
Dv90 | 67.442 | 0.44223 | 69.506 | 1.0202 | 70.396 | 1.2874
Dv99 | 92.18 | 1.4741 | 94.548 | 3.7043 | 97.126 | 4.1173
VMD | 40.666 | 0.34107 | 43.47 | 0.76616 | 45.338 | 1.284
% Below 40 Microns | 51.5304 | 0.81333 | 45.9283 | 1.2862 | 41.8544 | 2.5776
Note on D4: Wood, Joe: distance from sprayer nozzle to optical path of instrument
Note on C5: Wood, Joe: Results for the droplet size distribution may also be reported in terms of other percentages for which the volume of the spray is less than the specified diameter. Examples include the Dv10 or Dv90, which is the droplet diameter in microns in which 10% or 90% of the volume of the spray is less than that droplet size, respectively.
Note on C11: Wood, Joe: this row of data are the volume mean diameters
Note on C12: Wood, Joe: percent of spray by volume less than 40 micron diameter

## Airofog_Averages
Airofog by Distance Summary | Airofog_3ftSummary |  | Airofog_6ftSummary |  | Airofog_10ftSummary
Dv% | 3ft |  | 6ft | Stdev | 10ft | Stdev
Dv10 | 15.704 | 0.14188 | 19.266 | 0.51306 | 22.466 | 1.162
Dv16 | 19.94 | 0.20688 | 23.772 | 0.5832 | 26.754 | 1.1825
Dv50 | 39.188 | 0.43008 | 42.028 | 0.64651 | 43.798 | 1.1914
Dv84 | 60.486 | 0.40863 | 62.408 | 0.94378 | 63.492 | 1.5844
Dv90 | 67.442 | 0.44223 | 69.506 | 1.0202 | 70.396 | 1.2874
Dv99 | 92.18 | 1.4741 | 94.548 | 3.7043 | 97.126 | 4.1173
VMD | 40.666 | 0.34107 | 43.47 | 0.76616 | 45.338 | 1.284
% Below 40 Microns | 51.5304 | 0.81333 | 45.9283 | 1.2862 | 41.8544 | 2.5776
Diameter Q3 | Airofog_3ftSummary | Airofog_3ftSummary | Airofog_6ftSummary | Airofog_6ftSummary | Airofog_10ftSummary | Airofog_10ftSummary
4.5 | 0.20628 | 0.037365 | 0.17389 | 0.066807 | 0.30769 | 0.19632
5.5 | 0.49791 | 0.052117 | 0.34549 | 0.10091 | 0.4568 | 0.23802
6.5 | 0.92131 | 0.062592 | 0.58143 | 0.13685 | 0.63042 | 0.27818
7.5 | 1.483 | 0.069136 | 0.88721 | 0.17278 | 0.83016 | 0.31749
9 | 2.5727 | 0.078824 | 1.4845 | 0.2255 | 1.1855 | 0.37755
11 | 4.4191 | 0.10228 | 2.5452 | 0.2945 | 1.7867 | 0.46561
13 | 6.6134 | 0.13735 | 3.9028 | 0.36511 | 2.5711 | 0.56976
15.5 | 9.7227 | 0.19137 | 6.0015 | 0.4601 | 3.8718 | 0.73134
18.5 | 13.8529 | 0.26687 | 9.0814 | 0.58614 | 6.0092 | 0.98002
21.5 | 18.3339 | 0.35222 | 12.7541 | 0.72079 | 8.8848 | 1.2852
25 | 23.9717 | 0.46075 | 17.7835 | 0.88155 | 13.2598 | 1.688
30 | 32.7238 | 0.6138 | 26.2691 | 1.0903 | 21.3749 | 2.2338
37.5 | 46.8271 | 0.78727 | 40.9025 | 1.2695 | 36.4947 | 2.6054
45 | 60.937 | 0.86682 | 55.98 | 1.3203 | 52.5739 | 2.5252
52.5 | 73.7172 | 0.793 | 69.9108 | 1.2581 | 67.5833 | 2.1971
62.5 | 86.5811 | 0.46602 | 84.343 | 1.0287 | 83.1725 | 1.5522
75 | 95.2017 | 0.15471 | 94.3967 | 0.68348 | 93.8949 | 0.89878
90 | 98.8212 | 0.13601 | 98.6462 | 0.33821 | 98.3837 | 0.44109
105 | 99.9138 | 0.11814 | 99.6779 | 0.1295 | 99.5624 | 0.18064
125 | 100 | 0 | 100 | 0 | 100 | 0
150 | 100 | 0 | 100 | 0 | 100 | 0
180 | 100 | 0 | 100 | 0 | 100 | 0
215 | 100 | 0 | 100 | 0 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## Clorox360_Averages
Clorox 360 DI by Distance Summary | Clorox360_4ftSummary |  | Clorox360_6ftSummary |  | Clorox360_8ftSummary
Dv% | 4ft | Stdev | 6ft | Stdev | 8ft | Stdev
Dv10 | 14.3675 | 0.17009 | 11.3942 | 0.37967 | 16.4321 | 0.38926
Dv16 | 18.4672 | 0.21364 | 14.3634 | 0.48053 | 20.3126 | 0.49095
Dv50 | 44.7576 | 0.62519 | 34.9894 | 1.1512 | 40.5262 | 1.5049
Dv84 | 103.2653 | 4.5431 | 86.6811 | 2.5383 | 74.4004 | 3.2981
Dv90 | 126.2194 | 8.1953 | 106.4794 | 4.334 | 86.2161 | 4.0423
Dv99 | 207.4177 | 16.7372 | 180.8323 | 7.645 | 131.7704 | 8.1848
VMD | 58.1737 | 1.3973 | 48.4878 | 1.4294 | 46.6786 | 1.9431
% Below 40 Microns | 44.9344 | 0.5807 | 55.4498 | 1.3336 | 49.2775 | 2.2256
Diameter Q3 | Clorox360_4ftSummary | Clorox360_4ftSummary | Clorox360_6ftSummary | Clorox360_6ftSummary | Clorox360_8ftSummary | Clorox360_8ftSummary
4.5 | 0.24401 | 0.04608 | 0.23067 | 0.13243 | 0.35752 | 0.14755
5.5 | 0.63514 | 0.05941 | 0.87742 | 0.22267 | 0.62027 | 0.19205
6.5 | 1.1972 | 0.071002 | 1.8801 | 0.3045 | 0.96049 | 0.23104
7.5 | 1.9236 | 0.087931 | 3.1841 | 0.39416 | 1.3884 | 0.26475
9 | 3.2849 | 0.12184 | 5.5572 | 0.54097 | 2.217 | 0.30921
11 | 5.5107 | 0.16729 | 9.2344 | 0.73796 | 3.7035 | 0.36536
13 | 8.078 | 0.21087 | 13.2262 | 0.91698 | 5.638 | 0.42786
15.5 | 11.597 | 0.26336 | 18.3655 | 1.1062 | 8.6573 | 0.52828
18.5 | 16.0504 | 0.32077 | 24.4523 | 1.2753 | 13.0345 | 0.6983
21.5 | 20.5694 | 0.37188 | 30.213 | 1.3759 | 17.9912 | 0.92312
25 | 25.768 | 0.42287 | 36.3413 | 1.4275 | 24.1518 | 1.2263
30 | 32.8246 | 0.48057 | 43.9198 | 1.4299 | 33.0593 | 1.6535
37.5 | 42.2572 | 0.55531 | 53.048 | 1.3632 | 45.6406 | 2.1362
45 | 50.2888 | 0.63425 | 60.2535 | 1.2839 | 56.5513 | 2.4058
52.5 | 57.1279 | 0.72016 | 66.1736 | 1.2154 | 65.7243 | 2.499
62.5 | 64.743 | 0.84257 | 72.7021 | 1.1382 | 75.5486 | 2.4195
75 | 72.375 | 1.0077 | 79.283 | 1.0637 | 84.5794 | 2.133
90 | 79.4272 | 1.2206 | 85.3338 | 1.0155 | 91.6971 | 1.6677
105 | 84.7778 | 1.4308 | 89.7666 | 0.98979 | 95.8716 | 1.158
125 | 90.0382 | 1.646 | 93.8831 | 0.91292 | 98.6325 | 0.56334
150 | 94.4784 | 1.6833 | 97.0843 | 0.68755 | 99.8712 | 0.20931
180 | 97.5587 | 1.3271 | 99.0467 | 0.34126 | 100 | 0
215 | 99.2213 | 0.63054 | 99.8934 | 0.14618 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100.1662 | 0.37162 | 100 | 0 | 100 | 0
365 | 100.1887 | 0.42202 | 100 | 0 | 100 | 0
435 | 100.1887 | 0.42202 | 100 | 0 | 100 | 0
515 | 100.1887 | 0.42202 | 100 | 0 | 100 | 0
615 | 100.1887 | 0.42202 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## ProBP_red_Averages
Protexus BP Red by Distance Summary | ProBP_red_3ftSummary |  | ProBP_red_5ftSummary |  | ProBP_red_6ftSummary
Dv% | 3ft | Stdev | 5ft | Stdev | 6ft | Stdev
Dv10 | 24.906 | 2.2209 | 22.004 | 1.3447 | 19.584 | 0.33508
Dv16 | 30.414 | 2.5573 | 26.258 | 1.657 | 23.098 | 0.51475
Dv50 | 54.47 | 3.7856 | 44.714 | 3.1438 | 37.776 | 1.4409
Dv84 | 86.206 | 4.8266 | 68.928 | 5.4722 | 56.798 | 3.038
Dv90 | 96.102 | 5.6142 | 76.958 | 6.4447 | 62.888 | 3.274
Dv99 | 139.236 | 7.2095 | 109.458 | 11.2991 | 89.362 | 5.8895
VMD | 58.178 | 3.8292 | 47.402 | 3.5547 | 39.806 | 1.6696
% Below 40 Microns | 29.1321 | 4.3126 | 41.383 | 5.7761 | 55.1714 | 3.797
Diameter Q3 | ProBP_red_3ftSummary | ProBP_red_3ftSummary | ProBP_red_5ftSummary | ProBP_red_5ftSummary | ProBP_red_6ftSummary | ProBP_red_6ftSummary
4.5 | 0.15219 | 0.093668 | 0.63732 | 0.19792 | 0.6589 | 0.32593
5.5 | 0.25203 | 0.14963 | 0.81097 | 0.22696 | 0.86267 | 0.37454
6.5 | 0.39559 | 0.1809 | 0.99004 | 0.25117 | 1.0829 | 0.40383
7.5 | 0.57063 | 0.21449 | 1.1802 | 0.27313 | 1.3252 | 0.41421
9 | 0.89515 | 0.26962 | 1.5022 | 0.30749 | 1.7461 | 0.39738
11 | 1.4522 | 0.35616 | 2.0431 | 0.36925 | 2.4653 | 0.32456
13 | 2.1638 | 0.46556 | 2.777 | 0.46938 | 3.4513 | 0.21616
15.5 | 3.2886 | 0.64661 | 4.0697 | 0.68094 | 5.2155 | 0.15433
18.5 | 5.0107 | 0.94573 | 6.3296 | 1.1073 | 8.3952 | 0.40191
21.5 | 7.1651 | 1.3408 | 9.464 | 1.7305 | 12.9404 | 0.81737
25 | 10.2387 | 1.9054 | 14.1736 | 2.6215 | 19.8086 | 1.4678
30 | 15.6351 | 2.8112 | 22.4296 | 3.9167 | 31.3719 | 2.4553
37.5 | 25.4953 | 4.048 | 36.5976 | 5.4566 | 49.6351 | 3.6445
45 | 36.4059 | 4.844 | 50.9539 | 6.4193 | 66.2441 | 4.1026
52.5 | 47.3794 | 5.2687 | 64.035 | 6.624 | 79.1664 | 3.7188
62.5 | 61.029 | 5.3118 | 77.9213 | 5.7803 | 90.0984 | 2.5767
75 | 75.0984 | 4.6447 | 89.1764 | 3.8591 | 96.4836 | 1.2592
90 | 86.822 | 3.2905 | 95.9583 | 1.8002 | 99.0662 | 0.42821
105 | 93.6686 | 1.9546 | 98.6595 | 0.66593 | 99.9125 | 0.19571
125 | 97.8969 | 0.81427 | 99.7725 | 0.20816 | 100 | 0
150 | 99.652 | 0.37653 | 100 | 0 | 100 | 0
180 | 100 | 0 | 100 | 0 | 100 | 0
215 | 100 | 0 | 100 | 0 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## ProBP_green_Averages
Protexus BP Green by Distance Summary | ProBP_green_3ftSummary |  | ProBP_green_5ftSummary |  | ProBP_green_6ftSummary
Dv% | 3ft | Stdev | 5ft | Stdev | 6ft | Stdev
Dv10 | 23.462 | 1.2308 | 20.616 | 0.55962 | 19.418 | 0.80307
Dv16 | 29.058 | 1.4667 | 24.994 | 0.66961 | 23.166 | 1.041
Dv50 | 53.338 | 2.3132 | 43.646 | 1.314 | 39.104 | 2.065
Dv84 | 86.234 | 3.8015 | 68.114 | 2.3578 | 59.444 | 3.1512
Dv90 | 97.428 | 4.9409 | 75.676 | 2.6862 | 66.662 | 3.8707
Dv99 | 144.842 | 5.5557 | 109.636 | 5.1111 | 95.966 | 6.0675
VMD | 57.656 | 2.6174 | 46.418 | 1.4626 | 41.322 | 2.176
Copt | 0.19032 | 0.011349 | 0.10456 | 0.0055766 | 0.05076 | 0.011172
% Below 40 Microns | 30.8255 | 2.7184 | 43.2041 | 2.2621 | 52.0433 | 4.6297
Diameter Q3 | ProBP_green_3ftSummary | ProBP_green_3ftSummary | ProBP_green_5ftSummary | ProBP_green_5ftSummary | ProBP_green_6ftSummary | ProBP_green_6ftSummary
4.5 | 0.1604 | 0.059335 | 0.41048 | 0.05444 | 0.79988 | 0.23079
5.5 | 0.29098 | 0.084455 | 0.59514 | 0.065842 | 1.0256 | 0.23764
6.5 | 0.4627 | 0.1113 | 0.80893 | 0.077295 | 1.2619 | 0.22689
7.5 | 0.67665 | 0.13978 | 1.055 | 0.090107 | 1.5166 | 0.20234
9 | 1.0777 | 0.18693 | 1.4967 | 0.11384 | 1.9547 | 0.1496
11 | 1.7635 | 0.26239 | 2.2555 | 0.15628 | 2.7033 | 0.11037
13 | 2.6235 | 0.35757 | 3.2571 | 0.2139 | 3.7331 | 0.23227
15.5 | 3.9455 | 0.50956 | 4.9172 | 0.31356 | 5.5635 | 0.52189
18.5 | 5.9002 | 0.74316 | 7.5929 | 0.48498 | 8.7685 | 1.0254
21.5 | 8.2644 | 1.0256 | 11.0523 | 0.71555 | 13.1555 | 1.6791
25 | 11.5408 | 1.3933 | 16.0084 | 1.0397 | 19.535 | 2.5072
30 | 17.1438 | 1.9237 | 24.4181 | 1.5267 | 30.0748 | 3.5276
37.5 | 27.1771 | 2.5741 | 38.499 | 2.1299 | 46.808 | 4.5513
45 | 38.1223 | 3.0147 | 52.6144 | 2.5284 | 62.514 | 4.7866
52.5 | 49.0055 | 3.3022 | 65.4445 | 2.642 | 75.4559 | 4.2264
62.5 | 62.3222 | 3.4111 | 79.0073 | 2.3451 | 87.307 | 2.9536
75 | 75.6694 | 3.1421 | 89.8745 | 1.6009 | 95.0051 | 1.5634
90 | 86.5943 | 2.4092 | 96.2729 | 0.77727 | 98.4876 | 0.65913
105 | 93.1128 | 1.564 | 98.7556 | 0.3307 | 99.592 | 0.30068
125 | 97.413 | 0.70899 | 99.7504 | 0.16319 | 100 | 0
150 | 99.3046 | 0.21994 | 100 | 0 | 100 | 0
180 | 99.943 | 0.078829 | 100 | 0 | 100 | 0
215 | 100 | 0 | 100 | 0 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## ProHH_On_Averages
Protexus On by Distance Summary | ProHH_on_2ftSummary |  | ProHH_on_3ftSummary |  | ProHH_on_6ftSummary
Dv% | 2ft | Stdev | 3ft | Stdev | 6ft | Stdev
Dv10 | 31.878 | 2.414 | 30.98 | 2.3807 | 14.504 | 7.7028
Dv16 | 39.242 | 2.4248 | 37.75 | 2.8463 | 21.294 | 3.679
Dv50 | 72.462 | 1.6315 | 68.57 | 4.6188 | 35.506 | 3.919
Dv84 | 118.132 | 0.89136 | 110.946 | 5.7966 | 52.826 | 5.6398
Dv90 | 133.084 | 1.2237 | 124.346 | 5.39 | 59.096 | 6.9109
Dv99 | 191.546 | 4.822 | 178.94 | 2.0829 | 85.496 | 19.7755
VMD | 78.242 | 1.5191 | 74.042 | 4.1955 | 36.912 | 5.0528
Copt | 0.18066 | 0.0092657 | 0.14122 | 0.014694 | 0.02698 | 0.0038258
% Below 40 Microns | 16.7318 | 2.1975 | 18.5045 | 3.1716 | 60.861 | 9.382
Diameter Q3 | ProHH_on_2ftSummary | ProHH_on_2ftSummary | ProHH_on_3ftSummary | ProHH_on_3ftSummary | ProHH_on_6ftSummary | ProHH_on_6ftSummary
4.5 | 0.033834 | 0.075655 | 0 | 0 | 4.241 | 4.5707
5.5 | 0.055132 | 0.12328 | 0.016484 | 0.036859 | 4.5756 | 4.7946
6.5 | 0.11732 | 0.16846 | 0.05548 | 0.083577 | 4.8232 | 4.9478
7.5 | 0.22905 | 0.19652 | 0.15723 | 0.10225 | 5.1339 | 4.9317
9 | 0.43715 | 0.24445 | 0.34912 | 0.13713 | 5.5778 | 4.8968
11 | 0.79024 | 0.32028 | 0.68131 | 0.19799 | 6.2146 | 4.854
13 | 1.2287 | 0.41129 | 1.1054 | 0.2778 | 7.0174 | 4.8517
15.5 | 1.8953 | 0.5476 | 1.7724 | 0.40773 | 8.5126 | 5.0342
18.5 | 2.8709 | 0.7432 | 2.7899 | 0.61268 | 11.5646 | 5.6998
21.5 | 4.0491 | 0.96736 | 4.0684 | 0.87309 | 16.3672 | 6.7228
25 | 5.704 | 1.2499 | 5.9214 | 1.2424 | 23.8498 | 7.9223
30 | 8.6472 | 1.6507 | 9.2898 | 1.8649 | 36.3361 | 9.107
37.5 | 14.384 | 2.1295 | 15.8711 | 2.8787 | 55.4027 | 9.7087
45 | 21.4273 | 2.3443 | 23.7713 | 3.7606 | 71.7776 | 8.7583
52.5 | 29.1778 | 2.3045 | 32.2434 | 4.3988 | 83.6751 | 6.9181
62.5 | 39.7917 | 2.0407 | 43.5858 | 4.8831 | 92.8856 | 4.5566
75 | 52.5399 | 1.5948 | 56.847 | 4.9029 | 97.7395 | 2.6528
90 | 66.0819 | 1.0614 | 70.4287 | 4.2661 | 99.3795 | 1.3876
105 | 77.0784 | 0.6617 | 80.9627 | 3.2611 | 99.6736 | 0.72978
125 | 87.6065 | 0.39575 | 90.4375 | 1.863 | 99.8438 | 0.3493
150 | 95.0004 | 0.33336 | 96.5051 | 0.64563 | 99.9448 | 0.12346
180 | 98.5633 | 0.21853 | 99.0931 | 0.11286 | 100 | 0
215 | 99.8295 | 0.17097 | 99.9316 | 0.093994 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## ProHH_off_Averages
Protexus off by Distance Summary | ProHH_off_2ftSummary |  | ProHH_off_3ftSummary |  | ProHH_off_6ftSummary
Dv% | 2ft | Stdev | 3ft | Stdev | 6ft | Stdev
Dv10 | 39.34 | 0.89059 | 34.78 | 1.0511 | 20.248 | 1.3814
Dv16 | 47.788 | 0.90946 | 42.378 | 1.1571 | 23.652 | 1.4379
Dv50 | 85.708 | 0.88801 | 76.98 | 1.4937 | 37.792 | 2.1439
Dv84 | 132.878 | 1.1146 | 121.068 | 1.1691 | 55.45 | 3.2232
Dv90 | 146.236 | 0.94619 | 135.73 | 1.3045 | 61.312 | 3.4159
Dv99 | 206.402 | 2.6815 | 190.002 | 3.3087 | 86.872 | 5.8696
VMD | 90.148 | 0.95628 | 81.728 | 1.261 | 39.54 | 2.341
% Below 40 Microns | 10.4523 | 0.60891 | 14.0065 | 0.9411 | 55.3067 | 5.178
Diameter Q3 | ProHH_off_2ftSummary | ProHH_off_2ftSummary | ProHH_off_3ftSummary | ProHH_off_3ftSummary | ProHH_off_6ftSummary | ProHH_off_6ftSummary
4.5 | 0 | 0 | 0 | 0 | 0.40903 | 0.37907
5.5 | 0 | 0 | 0 | 0 | 0.55305 | 0.51225
6.5 | 0 | 0 | 0 | 0 | 0.71011 | 0.65742
7.5 | 0.063636 | 0.0054925 | 0.074906 | 0.0072445 | 0.98113 | 0.68149
9 | 0.18088 | 0.015349 | 0.21465 | 0.01943 | 1.4262 | 0.74107
11 | 0.3779 | 0.032109 | 0.45441 | 0.039065 | 2.1358 | 0.85569
13 | 0.62147 | 0.053454 | 0.75916 | 0.064038 | 3.0573 | 1.0061
15.5 | 0.99249 | 0.086778 | 1.2384 | 0.1047 | 4.6639 | 1.2487
18.5 | 1.5416 | 0.13643 | 1.9728 | 0.16961 | 7.5905 | 1.653
21.5 | 2.2189 | 0.19578 | 2.9035 | 0.25262 | 11.9674 | 2.241
25 | 3.1985 | 0.27457 | 4.2686 | 0.36937 | 18.8445 | 3.0853
30 | 5.0155 | 0.39527 | 6.7943 | 0.56069 | 30.6858 | 4.1749
37.5 | 8.7844 | 0.56573 | 11.878 | 0.85825 | 49.5391 | 5.1524
45 | 13.7882 | 0.70156 | 18.2634 | 1.1094 | 66.842 | 5.2342
52.5 | 19.7647 | 0.79692 | 25.4524 | 1.2794 | 80.3668 | 4.3859
62.5 | 28.6406 | 0.85616 | 35.5509 | 1.3983 | 91.4853 | 2.7584
75 | 40.2198 | 0.8535 | 48.1331 | 1.4237 | 97.3677 | 1.2702
90 | 53.9156 | 0.79144 | 62.2477 | 1.2885 | 99.3568 | 0.472
105 | 66.5483 | 0.69176 | 74.3296 | 1.0241 | 99.8889 | 0.1912
125 | 80.4543 | 0.55041 | 86.3424 | 0.60514 | 100 | 0
150 | 91.6866 | 0.40902 | 94.8261 | 0.24201 | 100 | 0
180 | 97.5702 | 0.26234 | 98.6694 | 0.14358 | 100 | 0
215 | 99.4536 | 0.11093 | 99.7974 | 0.12251 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## Sterile_360_Averages
Sterile 360 DI by Distance Summary | Sterile_3ftSummary |  | Sterile_4ftSummary |  | Sterile_5ftSummary
Dv% | 3ft | Stdev | 5ft | Stdev | 6ft | Stdev
Dv10 | 31.0778 | 1.0601 | 23.8414 | 2.3536 | 21.0301 | 0.95265
Dv16 | 38.0019 | 1.4183 | 28.6749 | 2.9111 | 24.9051 | 1.1408
Dv50 | 68.4128 | 3.2136 | 50.367 | 5.482 | 41.7918 | 2.2072
Dv84 | 107.6698 | 6.5033 | 77.8166 | 8.5067 | 63.474 | 3.4035
Dv90 | 120.6108 | 7.1457 | 86.6445 | 9.4061 | 70.7174 | 2.9126
Dv99 | 176.029 | 11.6813 | 122.8425 | 14.4969 | 97.6772 | 4.1239
VMD | 72.9526 | 3.761 | 53.2244 | 5.7506 | 44.058 | 2.1941
% Below 40 Microns | 18.0757 | 1.5908 | 34.0255 | 7.5637 | 46.5258 | 4.1894
Diameter Q3 | Sterile_3ftSummary | Sterile_3ftSummary | Sterile_4ftSummary | Sterile_4ftSummary | Sterile_5ftSummary | Sterile_5ftSummary
4.5 | 0 | 0 | 0.22683 | 0.14939 | 0.48948 | 0.29562
5.5 | 0 | 0 | 0.34544 | 0.17624 | 0.64971 | 0.33558
6.5 | 0.017156 | 0.038362 | 0.48295 | 0.20571 | 0.82404 | 0.36119
7.5 | 0.111 | 0.045692 | 0.64151 | 0.23917 | 1.0174 | 0.37394
9 | 0.28722 | 0.061009 | 0.92764 | 0.30155 | 1.3576 | 0.37472
11 | 0.59451 | 0.090082 | 1.4279 | 0.42115 | 1.9505 | 0.36166
13 | 0.9941 | 0.12945 | 2.1086 | 0.602 | 2.777 | 0.37536
15.5 | 1.6375 | 0.19295 | 3.2797 | 0.94105 | 4.264 | 0.49957
18.5 | 2.6429 | 0.28892 | 5.2452 | 1.5388 | 6.9134 | 0.81674
21.5 | 3.9238 | 0.40492 | 7.866 | 2.3277 | 10.6275 | 1.2658
25 | 5.7823 | 0.56466 | 11.7053 | 3.408 | 16.2012 | 1.8911
30 | 9.1187 | 0.84133 | 18.37 | 5.0145 | 25.7688 | 2.8231
37.5 | 15.5098 | 1.3761 | 29.9603 | 7.0822 | 41.4644 | 3.984
45 | 23.2075 | 2.0254 | 42.1561 | 8.5297 | 56.6485 | 4.6045
52.5 | 31.6867 | 2.6842 | 53.9847 | 9.2473 | 69.8925 | 4.5016
62.5 | 43.4207 | 3.4576 | 68.1129 | 8.9633 | 83.2614 | 3.4987
75 | 57.603 | 4.0821 | 81.7714 | 7.1143 | 93.1103 | 1.9213
90 | 72.1777 | 4.1058 | 91.8344 | 4.2796 | 98.0609 | 0.76607
105 | 82.9426 | 3.5298 | 96.6539 | 2.1444 | 99.7436 | 0.41853
125 | 91.8366 | 2.4393 | 99.0414 | 0.74105 | 100 | 0
150 | 97.0508 | 1.2852 | 100 | 0 | 100 | 0
180 | 99.2726 | 0.55813 | 100 | 0 | 100 | 0
215 | 100 | 0 | 100 | 0 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## Husqvarna_Averages
Airofog by Distance Summary | Husqvarna_3ftSummary |  | Husqvarna_4ftSummary |  | Husqvarna_6ftSummary
Dv% | 3ft |  | 6ft | Stdev | 10ft | Stdev
Dv10 | 83.644 | 6.4442 | 57.576 | 10.4918 | 30.594 | 1.092
Dv16 | 106.462 | 6.3889 | 72.022 | 13.568 | 35.882 | 1.4129
Dv50 | 206.868 | 3.5362 | 158.786 | 37.2603 | 58.902 | 2.0233
Dv84 | 318.046 | 12.1609 | 299.836 | 38.5635 | 87.678 | 2.4552
Dv90 | 353.812 | 17.4835 | 336.158 | 31.9982 | 96.902 | 2.6388
Dv99 | 678.286 | 229.1571 | 451.016 | 30.7999 | 135.162 | 3.8794
VMD | 225.962 | 14.7479 | 180.024 | 29.7102 | 61.784 | 1.9606
% Below 40 Microns | 1.5601 | 0.78979 | 4.5075 | 2.6365 | 21.5366 | 1.9612
Diameter Q3 | Husqvarna_3ftSummary | Husqvarna_3ftSummary | Husqvarna_4ftSummary | Husqvarna_4ftSummary | Husqvarna_6ftSummary | Husqvarna_6ftSummary
4.5 | 0.076756 | 0.089569 | 0 | 0 | 0 | 0
5.5 | 0.087916 | 0.097437 | 0 | 0 | 0.010952 | 0.024489
6.5 | 0.09795 | 0.1038 | 0 | 0 | 0.010952 | 0.024489
7.5 | 0.10743 | 0.10958 | 0 | 0 | 0.08405 | 0.029698
9 | 0.12146 | 0.11842 | 0.01533 | 0.034279 | 0.21724 | 0.042542
11 | 0.14123 | 0.13241 | 0.042028 | 0.093977 | 0.44689 | 0.063646
13 | 0.16372 | 0.1507 | 0.12181 | 0.14966 | 0.75081 | 0.09583
15.5 | 0.19745 | 0.1814 | 0.24542 | 0.24647 | 1.2628 | 0.15703
18.5 | 0.24898 | 0.23198 | 0.45376 | 0.38027 | 2.1295 | 0.26741
21.5 | 0.31556 | 0.29981 | 0.72477 | 0.5565 | 3.352 | 0.4262
25 | 0.45078 | 0.3584 | 1.1398 | 0.82014 | 5.3283 | 0.67283
30 | 0.71081 | 0.47397 | 1.9547 | 1.308 | 9.3298 | 1.1013
37.5 | 1.2821 | 0.70494 | 3.7182 | 2.26 | 17.9336 | 1.769
45 | 2.1163 | 0.96221 | 6.0861 | 3.3898 | 28.7428 | 2.3502
52.5 | 3.232 | 1.1939 | 8.922 | 4.5911 | 40.3259 | 2.792
62.5 | 5.1127 | 1.4173 | 13.173 | 6.1816 | 55.513 | 3.1053
75 | 7.9006 | 1.5775 | 18.8307 | 8.0541 | 72.0807 | 2.9032
90 | 11.6012 | 1.6923 | 25.7038 | 10.059 | 86.2185 | 1.9981
105 | 15.5653 | 1.7841 | 32.3443 | 11.6245 | 94.1405 | 1.0304
125 | 21.3166 | 1.873 | 40.4708 | 12.7927 | 98.432 | 0.34178
150 | 29.3819 | 1.851 | 49.0517 | 12.8859 | 99.76 | 0.16407
180 | 40.0577 | 1.5856 | 57.2346 | 11.9333 | 99.9816 | 0.041063
215 | 52.9688 | 1.172 | 65.1685 | 10.4841 | 100 | 0
255 | 67.1788 | 1.1363 | 73.7226 | 8.7867 | 100 | 0
305 | 81.97 | 2.0932 | 84.0261 | 6.4699 | 100 | 0
365 | 92.355 | 3.0842 | 93.5499 | 3.5296 | 100 | 0
435 | 95.8319 | 3.2535 | 98.5284 | 1.1091 | 100 | 0
515 | 96.5094 | 3.1882 | 99.9634 | 0.081871 | 100 | 0
615 | 96.5094 | 3.1882 | 99.9634 | 0.081871 | 100 | 0
735 | 97.1387 | 2.6136 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## ESS_Averages
ESS DI by Distance Summary | ESS_6ftSummary |  | ESS_8ftSummary |  | ESS_10ftSummary
Dv% | 6ft | Stdev | 8ft | Stdev | 10ft | Stdev
Dv10 | 11.1358 | 0.20064 | 12.7008 | 0.1119 | 13.6222 | 0.28742
Dv16 | 13.3977 | 0.23457 | 15.0796 | 0.11213 | 16.0271 | 0.30959
Dv50 | 24.6746 | 0.49837 | 26.5145 | 0.38187 | 27.1026 | 0.46555
Dv84 | 42.7038 | 1.1347 | 44.0832 | 1.2697 | 43.4572 | 0.78718
Dv90 | 49.8429 | 1.6867 | 51.1239 | 2.0455 | 49.8181 | 1.2652
Dv99 | 86.507 | 7.0079 | 85.6194 | 6.8051 | 83.1844 | 4.6594
VMD | 28.3453 | 0.82937 | 29.8458 | 0.83108 | 30.0597 | 0.67349
% Below 40 Microns | 80.8515 | 1.3881 | 78.7345 | 1.4707 | 79.1152 | 1.1612
Diameter Q3 | ESS_6ftSummary | ESS_6ftSummary | ESS_8ftSummary | ESS_8ftSummary | ESS_10ftSummary | ESS_10ftSummary
4.5 | 0.10444 | 0.099416 | 0.012409 | 0.016079 | 0.0011557 | 0.001589
5.5 | 0.61023 | 0.15076 | 0.24177 | 0.043362 | 0.16323 | 0.023004
6.5 | 1.4949 | 0.19062 | 0.71639 | 0.067471 | 0.46338 | 0.069935
7.5 | 2.7631 | 0.24006 | 1.4826 | 0.097336 | 0.9709 | 0.1435
9 | 5.2988 | 0.34007 | 3.1769 | 0.15204 | 2.2156 | 0.27104
11 | 9.6507 | 0.49341 | 6.4061 | 0.20769 | 4.8401 | 0.45044
13 | 14.8517 | 0.65016 | 10.6343 | 0.2434 | 8.5374 | 0.63468
15.5 | 22.155 | 0.8332 | 17.0878 | 0.29943 | 14.4973 | 0.86004
18.5 | 31.4307 | 1.0499 | 25.9327 | 0.46717 | 23.1556 | 1.0875
21.5 | 40.699 | 1.259 | 35.1858 | 0.68939 | 32.6424 | 1.2435
25 | 51.0042 | 1.445 | 45.8266 | 0.95176 | 43.8027 | 1.3591
30 | 63.8732 | 1.5506 | 59.667 | 1.2632 | 58.5478 | 1.4031
37.5 | 77.9608 | 1.4544 | 75.4446 | 1.4773 | 75.5907 | 1.2343
45 | 86.633 | 1.2637 | 85.3144 | 1.4612 | 86.1642 | 1.0669
52.5 | 91.8023 | 1.0943 | 91.1781 | 1.3326 | 92.12 | 0.99163
62.5 | 95.6268 | 0.90384 | 95.4636 | 1.085 | 96.0694 | 0.85534
75 | 97.9709 | 0.64733 | 98.0453 | 0.75809 | 98.2929 | 0.5717
90 | 99.2121 | 0.35367 | 99.3581 | 0.4342 | 99.457 | 0.24958
105 | 99.7363 | 0.16719 | 99.8884 | 0.24951 | 99.9164 | 0.11601
125 | 100 | 0 | 99.9752 | 0.05537 | 100 | 0
150 | 100 | 0 | 100 | 0 | 100 | 0
180 | 100 | 0 | 100 | 0 | 100 | 0
215 | 100 | 0 | 100 | 0 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0

## Ipihsius_Averages
Ipihsius by Distance Summary | Ipihsius_10ftSummary |  | Ipihsius_15ftSummary
Dv% | 10ft | Stdev | 15ft | Stdev
Dv10 | 19.732 | 0.5205 | 21.64 | 0.50433
Dv16 | 23.774 | 0.5208 | 25.49 | 0.38341
Dv50 | 40.148 | 0.44729 | 41.18 | 0.31488
Dv84 | 59.748 | 0.35287 | 60.184 | 0.24552
Dv90 | 66.18 | 0.55888 | 66.716 | 0.35444
Dv99 | 91.082 | 1.6495 | 93.878 | 1.3383
VMD | 41.774 | 0.41319 | 42.96 | 0.35228
% Below 40 Microns | 49.6796 | 0.9759 | 47.3291 | 0.73286
Diameter Q3 | Ipihsius_10ftSummary | Ipihsius_10ftSummary | Ipihsius_15ftSummary | Ipihsius_15ftSummary
4.5 | 0.41664 | 0.072115 | 0.05524 | 0.12352
5.5 | 0.62158 | 0.067122 | 0.1401 | 0.16741
6.5 | 0.86389 | 0.052786 | 0.25788 | 0.22423
7.5 | 1.1454 | 0.036243 | 0.44999 | 0.23751
9 | 1.6499 | 0.058959 | 0.81114 | 0.2704
11 | 2.5056 | 0.15589 | 1.4532 | 0.33847
13 | 3.619 | 0.27518 | 2.3198 | 0.43318
15.5 | 5.4507 | 0.43278 | 3.7954 | 0.56156
18.5 | 8.4173 | 0.60906 | 6.2916 | 0.6739
21.5 | 12.3144 | 0.75464 | 9.7416 | 0.72062
25 | 18.0123 | 0.88506 | 15.0545 | 0.74312
30 | 27.8428 | 0.99806 | 24.7438 | 0.78429
37.5 | 44.2847 | 1.0179 | 41.6804 | 0.76746
45 | 60.4693 | 0.89576 | 58.6265 | 0.66707
52.5 | 74.4783 | 0.66064 | 73.4197 | 0.50564
62.5 | 87.6044 | 0.40546 | 87.1862 | 0.29802
75 | 95.7204 | 0.30535 | 95.5175 | 0.1413
90 | 98.9416 | 0.16986 | 98.7666 | 0.094866
105 | 99.9237 | 0.10453 | 99.6567 | 0.047509
125 | 100 | 0 | 99.9814 | 0.041492
150 | 100 | 0 | 100 | 0
180 | 100 | 0 | 100 | 0
215 | 100 | 0 | 100 | 0
255 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0

## EMist_Averages
EMist DI by Distance Summary | EMist_2ftSummary |  | EMist_3ftSummary |  | EMist_4ftSummary
Dv% | 3ft | Stdev | 5ft | Stdev | 6ft | Stdev
Dv10 | 50.2628 | 1.3979 | 43.8496 | 1.7765 | 39.4522 | 1.0112
Dv16 | 60.4237 | 1.6893 | 52.6782 | 1.9641 | 47.3839 | 1.1407
Dv50 | 101.1669 | 2.7637 | 88.9296 | 2.9385 | 79.8608 | 1.9133
Dv84 | 149.794 | 3.7508 | 134.6117 | 4.3166 | 119.752 | 2.0594
Dv90 | 166.8869 | 3.4263 | 147.6955 | 3.3146 | 132.8536 | 3.1196
Dv99 | 226.9174 | 4.1899 | 202.6779 | 4.6357 | 180.1054 | 7.2611
VMD | 105.3759 | 2.5961 | 93.1992 | 2.8738 | 83.4511 | 1.6368
% Below 40 Microns | 5.569 | 0.35883 | 7.9181 | 0.83688 | 10.4115 | 0.7146
Diameter Q3 | EMist_2ftSummary | EMist_2ftSummary | EMist_3ftSummary | EMist_3ftSummary | EMist_4ftSummary | EMist_4ftSummary
4.5 | 0 | 0 | 0 | 0 | 0.14966 | 0.33466
5.5 | 0.03427 | 0.00088082 | 0.039372 | 0.004061 | 0.20542 | 0.35234
6.5 | 0.03427 | 0.00088082 | 0.039372 | 0.004061 | 0.21954 | 0.38392
7.5 | 0.03427 | 0.00088082 | 0.039372 | 0.004061 | 0.23172 | 0.41114
9 | 0.047452 | 0.029589 | 0.098324 | 0.03575 | 0.32027 | 0.40839
11 | 0.14405 | 0.032028 | 0.20908 | 0.044036 | 0.4547 | 0.39781
13 | 0.25694 | 0.035801 | 0.34281 | 0.055502 | 0.61724 | 0.3855
15.5 | 0.42668 | 0.042846 | 0.55244 | 0.075569 | 0.8751 | 0.37526
18.5 | 0.68446 | 0.055566 | 0.88672 | 0.11041 | 1.2942 | 0.38
21.5 | 1.0183 | 0.073942 | 1.3389 | 0.15979 | 1.8709 | 0.40647
25 | 1.5263 | 0.1037 | 2.0502 | 0.23855 | 2.7894 | 0.45645
30 | 2.5117 | 0.16379 | 3.4672 | 0.393 | 4.6331 | 0.53409
37.5 | 4.6156 | 0.2967 | 6.5369 | 0.70895 | 8.6313 | 0.65065
45 | 7.4758 | 0.48403 | 10.6806 | 1.0952 | 13.9719 | 0.87765
52.5 | 11.1245 | 0.72765 | 15.8354 | 1.5201 | 20.481 | 1.2353
62.5 | 17.3258 | 1.134 | 24.19 | 2.0871 | 30.6934 | 1.72
75 | 27.0512 | 1.6852 | 36.2363 | 2.6245 | 44.7248 | 2.0747
90 | 40.2151 | 2.1989 | 51.1459 | 2.9576 | 61.0085 | 2.0935
105 | 53.4188 | 2.4823 | 64.8071 | 2.8906 | 74.5478 | 1.739
125 | 69.4052 | 2.3817 | 79.3667 | 2.2815 | 87.3064 | 1.179
150 | 84.3527 | 1.671 | 91.0491 | 1.263 | 95.7541 | 0.86622
180 | 94.2408 | 0.78443 | 97.5111 | 0.44627 | 99.1205 | 0.43633
215 | 98.5476 | 0.23676 | 99.7755 | 0.24124 | 100 | 0
255 | 100 | 0 | 100 | 0 | 100 | 0
305 | 100 | 0 | 100 | 0 | 100 | 0
365 | 100 | 0 | 100 | 0 | 100 | 0
435 | 100 | 0 | 100 | 0 | 100 | 0
515 | 100 | 0 | 100 | 0 | 100 | 0
615 | 100 | 0 | 100 | 0 | 100 | 0
735 | 100 | 0 | 100 | 0 | 100 | 0
875 | 100 | 0 | 100 | 0 | 100 | 0