## Read Me
Developmental Thyroid Hormone Disruption
and Brain Structure and Function
QA Track ID: L-PHITD-0032280-QP-1-4
L-PHITD-0032280
Results from gamma counter for RIA were transcribed to an xcel spreadsheet from gamma counter hard copy output by Michelle Hotchkiss. The hard copy is stored in 3-ring binder in the lab notebook and a scanned copy is saved on the L-drive in the approriate study section.
These data were rechecked by Angela Buckalew .
~25% of values were spotchecked by Katie O'Shaughnessy at time of data analysis.
Minimal and maximal values were check in summary data and large standard errors examined to identify any gross transcription errors.
Serum T4 values from LCMS runs were taken from previously published data.

## Abbreviations
Abbreviations
% | percent
AAALAC | Association for Acredidation of Laboratory Animal Care
ANOVA | analysis of variance
ASR | Acoustic Startle Reflex
BL | baseline
CS | conditioned stimulus
dB | decibel
dl | deciliter
fT4 | free T4
g or gm | gram
GD | Gestational Day
IACUC | Institutional Animal Care and Use Committee
ITI | intertrial interval
kg | kilogram
LC/MS/MS | liquid chromatography mass spectroscoscopy
LE | Long Evans
LLOQ | lower limit of quantification
MaxG | maximal grams of force=Startle amplitude
mg | milligram
ml | milliliter
mM | millimolar
mm | milimeter
MMI | methimazole
msec | millisecond
NeuN | neuronal nuclei
ng | nanogram
NIS | sodium-iodine symporter
OECD | Organization for Economic Cooperation and Development
PFHxS | perflourohexane sulfonate
PN | Postnatal Day
PP | prepulse
PPI | Prepulse Inhibition
PTU | propylthiouracil
PVH | periventricular heterotopia
qRT-PCR | quantitative real time-polymerase chain reaction
SEM | standard error of mean
SEM or SE | standard error
SPE | solid phase extraction
T3 | tri-iodothyronine
T4 | tetra-iodothyronine, thyroxine
TFC | trace fear conditioning
TPO | thyroperoxidase
TSH | thyroid stimulating hormone
UCS | unconditioned stimulus

## Figure 1
Figure 1.
O'Shaughnessy et al.
An Optimized Radioimmunoassay for Quantification of Total Serum Thyroxine in Fetal, Neonatal, and Pregnant Rats
The issue with quantifying serum T4 in developing rats.
Note: GD20 data previously published in Hassan et al. 2017 and the PN2-5 in O'Shaughnessy et al. 2018.
Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) | Mean
GD20 | 1 | 0 ppm PTU | 2.447 | 3.3325
GD20 | 7 | 0 ppm PTU | 2.86
GD20 | 13 | 0 ppm PTU | 2.946
GD20 | 19 | 0 ppm PTU | 3.079
GD20 | 31 | 0 ppm PTU | 3.207
GD20 | 37 | 0 ppm PTU | 3.558
GD20 | 43 | 0 ppm PTU | 4.114
GD20 | 49 | 0 ppm PTU | 4.449
GD20 | 6 | 3 ppm PTU | 0.325 | 0.31612
GD20 | 12 | 3 ppm PTU | 0.216
GD20 | 24 | 3 ppm PTU | 0.409
GD20 | 30 | 3 ppm PTU | 0.329
GD20 | 36 | 3 ppm PTU | 0.452
GD20 | 42 | 3 ppm PTU | 0.2
GD20 | 48 | 3 ppm PTU | 0.238
GD20 | 54 | 3 ppm PTU | 0.36
PN2 | 1 | 0 ppm PTU | 8.0375 | 7.8494
PN2 | 3 | 0 ppm PTU | 9.0621
PN2 | 5 | 0 ppm PTU | 5.8907
PN2 | 13 | 0 ppm PTU | 6.8467
PN2 | 17 | 0 ppm PTU | 5.1049
PN2 | 19 | 0 ppm PTU | 9.8739
PN2 | 21 | 0 ppm PTU | 10.332
PN2 | 23 | 0 ppm PTU | 8.1051
PN2 | 25 | 0 ppm PTU | 5.9684
PN2 | 27 | 0 ppm PTU | 7.6193
PN2 | 29 | 0 ppm PTU | 8.5363
PN2 | 31 | 0 ppm PTU | 8.8158
PN2 | 18 | 3 ppm PTU | 1.0478 | 1.2247
PN2 | 20 | 3 ppm PTU | 1.6047
PN2 | 22 | 3 ppm PTU | 0.92133
PN2 | 24 | 3 ppm PTU | 0.62254
PN2 | 26 | 3 ppm PTU | 0.4864
PN2 | 32 | 3 ppm PTU | 2.1993
PN2 | 10 | 3 ppm PTU | 1.6911
PN5 | 9 | 0 ppm PTU | 12.5631 | 13.6864
PN5 | 11 | 0 ppm PTU | 13.7301
PN5 | 15 | 0 ppm PTU | 13.1836
PN5 | 25 | 0 ppm PTU | 11.3575
PN5 | 27 | 0 ppm PTU | 17.1737
PN5 | 29 | 0 ppm PTU | 14.526
PN5 | 31 | 0 ppm PTU | 16.4219
PN5 | 1 | 0 ppm PTU | 11.2598
PN5 | 3 | 0 ppm PTU | 13.5543
PN5 | 5 | 0 ppm PTU | 9.967
PN5 | 7 | 0 ppm PTU | 18.0008
PN5 | 17 | 0 ppm PTU | 11.8157
PN5 | 19 | 0 ppm PTU | 12.9257
PN5 | 21 | 0 ppm PTU | 13.1042
PN5 | 23 | 0 ppm PTU | 15.7121
PN5 | 10 | 3 ppm PTU | 0.64917 | 0.65624
PN5 | 14 | 3 ppm PTU | 0.86466
PN5 | 16 | 3 ppm PTU | 0.36912
PN5 | 26 | 3 ppm PTU | 0.31876
PN5 | 28 | 3 ppm PTU | 0.44118
PN5 | 30 | 3 ppm PTU | 0.66293
PN5 | 32 | 3 ppm PTU | 0.86676
PN5 | 2 | 3 ppm PTU | 1.8288
PN5 | 4 | 3 ppm PTU | 1.0461
PN5 | 6 | 3 ppm PTU | 0.61494
PN5 | 8 | 3 ppm PTU | 0.33105
PN5 | 18 | 3 ppm PTU | 0.45601
PN5 | 20 | 3 ppm PTU | 0.61602
PN5 | 22 | 3 ppm PTU | 0.43716
PN5 | 24 | 3 ppm PTU | 0.341

## Figure 2
Figure 2.
O'Shaughnessy et al.
Schematics illustrating the radioimmunoassay (RIA) and mass spectrometry (LC/MS/MS) methods used in this study
This figure contains no data - illustration only.
e) | Study | Age (days) | Timepoint | Sex | Litter | PTU Dose (ppm) | Hemisphere count (left+right)
| M0615 | 14 | CON | F | 25 | 0 | 3
| M0615 | 14 | CON | F | 25 | 0 | 3
| M0615 | 14 | CON | M | 26 | 0 | 8
| M0615 | 14 | CON | F | 26 | 0 | 11
| M0615 | 14 | CON | M | 27 | 0 | 1
| M0615 | 14 | CON | F | 27 | 0 | 3
| M0615 | 14 | CON | M | 28 | 0 | 2
| M0615 | 14 | CON | F | 28 | 0 | 7
| M0615 | 14 | CON | M | 29 | 0 | 10
| M0615 | 14 | CON | F | 29 | 0 | 5
| M0615 | 14 | CON | M | 30 | 0 | 3
| M0615 | 14 | CON | F | 30 | 0 | 0
| M0615 | 14 | G14-G19 | M | 13 | 10 | 8
| M0615 | 14 | G14-G19 | M | 14 | 10 | 7
| M0615 | 14 | G14-G19 | M | 15 | 10 | 7
| M0615 | 14 | G14-G19 | M | 16 | 10 | 12
| M0615 | 14 | G14-G19 | F | 16 | 10 | 9
| M0615 | 14 | G14-G19 | M | 17 | 10 | 3
| M0615 | 14 | G14-G19 | M | 18 | 10 | 5
| M0615 | 14 | G19-P2 | M | 19 | 10 | 18
| M0615 | 14 | G19-P2 | M | 20 | 10 | 15
| M0615 | 14 | G19-P2 | M | 22 | 10 | 16
| M0615 | 14 | G19-P2 | M | 23 | 10 | 20
| M0615 | 14 | G19-P2 | M | 24 | 10 | 20
| M0615 | 14 | G9-G14 | M | 1 | 10 | 5
| M0615 | 14 | G9-G14 | M | 2 | 10 | 2
| M0615 | 14 | G9-G14 | M | 3 | 10 | 2
| M0615 | 14 | G9-G14 | M | 4 | 10 | 6
| M0615 | 14 | G9-G14 | F | 4 | 10 | 8
| M0615 | 14 | G9-G14 | M | 5 | 10 | 2
| M0615 | 14 | G9-G14 | F | 5 | 10 | 6
| M0615 | 14 | G9-G14 | M | 6 | 10 | 6
| M0615 | 14 | G9-G14 | F | 6 | 10 | 3
| M0615 | 14 | G9-P2 | M | 7 | 10 | 33
| M0615 | 14 | G9-P2 | M | 8 | 10 | 22
| M0615 | 14 | G9-P2 | M | 11 | 10 | 28

## Figure 3
Figure 3.
O'Shaughnessy et al.
An Optimized Radioimmunoassay for Quantification of Total Serum Thyroxine in Fetal, Neonatal, and Pregnant Rats
Serum T4 in pregnant and developing rats
Note: GD20 LC/MS/MS data previously published in Hassan et al. 2017 and the PN5 LC/MS/MS in O'Shaughnessy et al. 2018.
Panel A. | Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) by LC/MS/MS | T4 (ng/ml) by RIA | Mean by LC/MS/MS | Mean by RIA
| Dam, GD20 | 1 | 0 ppm PTU | 9.8 | 8.291 | 17.33 | 14.1519
| Dam, GD20 | 7 | 0 ppm PTU | 10.67 | 8.157
| Dam, GD20 | 13 | 0 ppm PTU | 20.93 | 17.912
| Dam, GD20 | 19 | 0 ppm PTU | 13.85 | 11.069
| Dam, GD20 | 31 | 0 ppm PTU | 20.3 | 17.722
| Dam, GD20 | 37 | 0 ppm PTU | 16.51 | 13.929
| Dam, GD20 | 43 | 0 ppm PTU | 21.35 | 16.547
| Dam, GD20 | 49 | 0 ppm PTU | 25.23 | 19.588
| Dam, GD20 | 2 | 0.1 ppm PTU | 30.63 | 20.702 | 21.1154 | 16.6232
| Dam, GD20 | 8 | 0.1 ppm PTU | 24.553 | 16.445
| Dam, GD20 | 14 | 0.1 ppm PTU | 21.889 | 17.112
| Dam, GD20 | 26 | 0.1 ppm PTU | 15.175 | 10.437
| Dam, GD20 | 32 | 0.1 ppm PTU | 17.591 | 20.727
| Dam, GD20 | 38 | 0.1 ppm PTU | 18.039 | 16.059
| Dam, GD20 | 44 | 0.1 ppm PTU | 22.351 | 15.35
| Dam, GD20 | 50 | 0.1 ppm PTU | 18.695 | 16.154
| Dam, GD20 | 3 | 0.5 ppm PTU | 17.12 | 12.611 | 17.8844 | 14.1193
| Dam, GD20 | 9 | 0.5 ppm PTU | 20.71 | 16.349
| Dam, GD20 | 15 | 0.5 ppm PTU | 30.81 | 26.295
| Dam, GD20 | 21 | 0.5 ppm PTU | 9.38 | 8.812
| Dam, GD20 | 27 | 0.5 ppm PTU | 9.23 | 8.948
| Dam, GD20 | 33 | 0.5 ppm PTU | 13.39 | 9.989
| Dam, GD20 | 39 | 0.5 ppm PTU | 27.54 | 21.913
| Dam, GD20 | 45 | 0.5 ppm PTU | 10.46 | 8.367
| Dam, GD20 | 51 | 0.5 ppm PTU | 22.32 | 13.79
| Dam, GD20 | 4 | 1 ppm PTU | 11.22 | 8.848 | 13.975 | 10.2225
| Dam, GD20 | 16 | 1 ppm PTU | 19.46 | 14.464
| Dam, GD20 | 34 | 1 ppm PTU | 16.39 | 11.813
| Dam, GD20 | 40 | 1 ppm PTU | 9.52 | 6.852
| Dam, GD20 | 46 | 1 ppm PTU | 14.73 | 10.153
| Dam, GD20 | 52 | 1 ppm PTU | 12.53 | 9.205
| Dam, GD20 | 5 | 2 ppm PTU | 6.77 | 5.707 | 7.7062 | 6.146
| Dam, GD20 | 11 | 2 ppm PTU | 5.38 | 4.427
| Dam, GD20 | 17 | 2 ppm PTU | 7.85 | 7.152
| Dam, GD20 | 23 | 2 ppm PTU | 14.34 | 10.278
| Dam, GD20 | 35 | 2 ppm PTU | 6.48 | 4.854
| Dam, GD20 | 41 | 2 ppm PTU | 5.35 | 4.575
| Dam, GD20 | 47 | 2 ppm PTU | 6.53 | 4.93
| Dam, GD20 | 53 | 2 ppm PTU | 8.95 | 7.245
| Dam, GD20 | 6 | 3 ppm PTU | 4.02 | 3.03 | 3.28 | 2.4155
| Dam, GD20 | 12 | 3 ppm PTU | 1.94 | 1.15
| Dam, GD20 | 24 | 3 ppm PTU | 4.41 | 2.625
| Dam, GD20 | 30 | 3 ppm PTU | 3.6 | 3.228
| Dam, GD20 | 36 | 3 ppm PTU | 3.56 | 2.746
| Dam, GD20 | 42 | 3 ppm PTU | 2.84 | 2.529
| Dam, GD20 | 48 | 3 ppm PTU | 2.27 | 1.203
| Dam, GD20 | 54 | 3 ppm PTU | 3.6 | 2.813
Panel B. | Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) by LC/MS/MS | T4 (ng/ml) by RIA | Mean by LC/MS/MS | Mean by RIA
| GD20 | 7 | 0 ppm PTU | 2.86 | 1.1625 | 3.459 | 2.0918
| GD20 | 13 | 0 ppm PTU | 2.946 | 1.4445
| GD20 | 19 | 0 ppm PTU | 3.079 | 2.7035
| GD20 | 31 | 0 ppm PTU | 3.207 | 2.0747
| GD20 | 37 | 0 ppm PTU | 3.558 | 2.0983
| GD20 | 43 | 0 ppm PTU | 4.114 | 2.5562
| GD20 | 49 | 0 ppm PTU | 4.449 | 2.6025
| GD20 | 8 | 0.1 ppm PTU | 3.012 | 1.3113 | 3.3527 | 1.8249
| GD20 | 14 | 0.1 ppm PTU | 3.111 | 1.6193
| GD20 | 26 | 0.1 ppm PTU | 3.59 | 2.4745
| GD20 | 32 | 0.1 ppm PTU | 3.469 | 1.704
| GD20 | 38 | 0.1 ppm PTU | 3.757 | 1.866
| GD20 | 44 | 0.1 ppm PTU | 2.889 | 1.6153
| GD20 | 50 | 0.1 ppm PTU | 3.641 | 2.1837
| GD20 | 3 | 0.5 ppm PTU | 1.265 | 0.55 | 2.1389 | 1.0858
| GD20 | 9 | 0.5 ppm PTU | 1.578 | 0.689
| GD20 | 15 | 0.5 ppm PTU | 2.071 | 1.348
| GD20 | 21 | 0.5 ppm PTU | 1.683 | 0.399
| GD20 | 27 | 0.5 ppm PTU | 1.631 | 0.5775
| GD20 | 33 | 0.5 ppm PTU | 2.899 | 1.8413
| GD20 | 39 | 0.5 ppm PTU | 1.872 | 0.627
| GD20 | 45 | 0.5 ppm PTU | 3.517 | 2.218
| GD20 | 51 | 0.5 ppm PTU | 2.734 | 1.5228
| GD20 | 4 | 1 ppm PTU | 1.341 | 0.55 | 1.3213 | 0.55
| GD20 | 16 | 1 ppm PTU | 1.142 | 0.55
| GD20 | 34 | 1 ppm PTU | 1.635 | 0.55
| GD20 | 40 | 1 ppm PTU | 1.212 | 0.55
| GD20 | 46 | 1 ppm PTU | 1.145 | 0.55
| GD20 | 52 | 1 ppm PTU | 1.453 | 0.55
| GD20 | 5 | 2 ppm PTU | 0.469 | 0.55 | 0.53687 | 0.55
| GD20 | 11 | 2 ppm PTU | 0.31 | 0.55
| GD20 | 17 | 2 ppm PTU | 0.441 | 0.55
| GD20 | 23 | 2 ppm PTU | 0.403 | 0.55
| GD20 | 35 | 2 ppm PTU | 0.801 | 0.55
| GD20 | 41 | 2 ppm PTU | 0.622 | 0.55
| GD20 | 47 | 2 ppm PTU | 0.588 | 0.55
| GD20 | 53 | 2 ppm PTU | 0.661 | 0.55
| GD20 | 12 | 3 ppm PTU | 0.216 | 0.55 | 0.31486 | 0.55
| GD20 | 24 | 3 ppm PTU | 0.409 | 0.55
| GD20 | 30 | 3 ppm PTU | 0.329 | 0.55
| GD20 | 36 | 3 ppm PTU | 0.452 | 0.55
| GD20 | 42 | 3 ppm PTU | 0.2 | 0.55
| GD20 | 48 | 3 ppm PTU | 0.238 | 0.55
| GD20 | 54 | 3 ppm PTU | 0.36 | 0.55
Panel C. | Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) by LC/MS/MS | T4 (ng/ml) by RIA | Mean by LC/MS/MS | Mean by RIA
| PN5 | 1 | CON-CON | 11.2598 | 6.676 | 13.2924 | 9.5672
| PN5 | 3 | CON-CON | 13.5543 | 10.697
| PN5 | 5 | CON-CON | 9.967 | 5.462
| PN5 | 7 | CON-CON | 18.0008 | 14.631
| PN5 | 17 | CON-CON | 11.8157 | 8.02
| PN5 | 19 | CON-CON | 12.9257 | 12.932
| PN5 | 21 | CON-CON | 13.1042 | 9
| PN5 | 23 | CON-CON | 15.7121 | 9.12
| PN5 | 10 | CON-PTU | 6.2596 | 3.773 | 10.5097 | 6.8266
| PN5 | 14 | CON-PTU | 16.1193 | 8.968
| PN5 | 16 | CON-PTU | 14.9882 | 11.671
| PN5 | 26 | CON-PTU | 8.1882 | 5.337
| PN5 | 28 | CON-PTU | 6.9932 | 4.384
| PN5 | 9 | PTU-CON | 5.5485 | 3.527
| PN5 | 11 | PTU-CON | 8.028 | 5.833 | 6.8633 | 4.4632
| PN5 | 15 | PTU-CON | 7.08 | 4.022
| PN5 | 25 | PTU-CON | 5.4214 | 3.746
| PN5 | 27 | PTU-CON | 10.7016 | 7.5
| PN5 | 29 | PTU-CON | 4.4002 | 2.151
| PN5 | 2 | PTU-PTU | 1.8288 | 0.55 | 0.70889 | 0.55
| PN5 | 4 | PTU-PTU | 1.0461 | 0.55
| PN5 | 6 | PTU-PTU | 0.61494 | 0.55
| PN5 | 8 | PTU-PTU | 0.33105 | 0.55
| PN5 | 18 | PTU-PTU | 0.45601 | 0.55
| PN5 | 20 | PTU-PTU | 0.61602 | 0.55
| PN5 | 22 | PTU-PTU | 0.43716 | 0.55
| PN5 | 24 | PTU-PTU | 0.341 | 0.55

## Figure 4
Figure 4.
O'Shaughnessy et al.
An Optimized Radioimmunoassay for Quantification of Total Serum Thyroxine in Fetal, Neonatal, and Pregnant Rats
Linear regression and Bland-Altman analysis.
Panels A. and B. Input Data | Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) by LC/MS/MS | T4 (ng/ml) by RIA
| Dam, GD20 | 1 | 0 ppm PTU | 9.8 | 8.291
| Dam, GD20 | 7 | 0 ppm PTU | 10.67 | 8.157
| Dam, GD20 | 13 | 0 ppm PTU | 20.93 | 17.912
| Dam, GD20 | 19 | 0 ppm PTU | 13.85 | 11.069
| Dam, GD20 | 31 | 0 ppm PTU | 20.3 | 17.722
| Dam, GD20 | 37 | 0 ppm PTU | 16.51 | 13.929
| Dam, GD20 | 43 | 0 ppm PTU | 21.35 | 16.547
| Dam, GD20 | 49 | 0 ppm PTU | 25.23 | 19.588
| Dam, GD20 | 2 | 0.1 ppm PTU | 30.63 | 20.702
| Dam, GD20 | 8 | 0.1 ppm PTU | 24.553 | 16.445
| Dam, GD20 | 14 | 0.1 ppm PTU | 21.889 | 17.112
| Dam, GD20 | 26 | 0.1 ppm PTU | 15.175 | 10.437
| Dam, GD20 | 32 | 0.1 ppm PTU | 17.591 | 20.727
| Dam, GD20 | 38 | 0.1 ppm PTU | 18.039 | 16.059
| Dam, GD20 | 44 | 0.1 ppm PTU | 22.351 | 15.35
| Dam, GD20 | 50 | 0.1 ppm PTU | 18.695 | 16.154
| Dam, GD20 | 3 | 0.5 ppm PTU | 17.12 | 12.611
| Dam, GD20 | 9 | 0.5 ppm PTU | 20.71 | 16.349
| Dam, GD20 | 15 | 0.5 ppm PTU | 30.81 | 26.295
| Dam, GD20 | 21 | 0.5 ppm PTU | 9.38 | 8.812
| Dam, GD20 | 27 | 0.5 ppm PTU | 9.23 | 8.948
| Dam, GD20 | 33 | 0.5 ppm PTU | 13.39 | 9.989
| Dam, GD20 | 39 | 0.5 ppm PTU | 27.54 | 21.913
| Dam, GD20 | 45 | 0.5 ppm PTU | 10.46 | 8.367
| Dam, GD20 | 51 | 0.5 ppm PTU | 22.32 | 13.79
| Dam, GD20 | 4 | 1 ppm PTU | 11.22 | 8.848
| Dam, GD20 | 16 | 1 ppm PTU | 19.46 | 14.464
| Dam, GD20 | 34 | 1 ppm PTU | 16.39 | 11.813
| Dam, GD20 | 40 | 1 ppm PTU | 9.52 | 6.852
| Dam, GD20 | 46 | 1 ppm PTU | 14.73 | 10.153
| Dam, GD20 | 52 | 1 ppm PTU | 12.53 | 9.205
| Dam, GD20 | 5 | 2 ppm PTU | 6.77 | 5.707
| Dam, GD20 | 11 | 2 ppm PTU | 5.38 | 4.427
| Dam, GD20 | 17 | 2 ppm PTU | 7.85 | 7.152
| Dam, GD20 | 23 | 2 ppm PTU | 14.34 | 10.278
| Dam, GD20 | 35 | 2 ppm PTU | 6.48 | 4.854
| Dam, GD20 | 41 | 2 ppm PTU | 5.35 | 4.575
| Dam, GD20 | 47 | 2 ppm PTU | 6.53 | 4.93
| Dam, GD20 | 53 | 2 ppm PTU | 8.95 | 7.245
| Dam, GD20 | 6 | 3 ppm PTU | 4.02 | 3.03
| Dam, GD20 | 12 | 3 ppm PTU | 1.94 | 1.15
| Dam, GD20 | 24 | 3 ppm PTU | 4.41 | 2.625
| Dam, GD20 | 30 | 3 ppm PTU | 3.6 | 3.228
| Dam, GD20 | 36 | 3 ppm PTU | 3.56 | 2.746
| Dam, GD20 | 42 | 3 ppm PTU | 2.84 | 2.529
| Dam, GD20 | 48 | 3 ppm PTU | 2.27 | 1.203
| Dam, GD20 | 54 | 3 ppm PTU | 3.6 | 2.813
| GD20 | 7 | 0 ppm PTU | 2.86 | 1.1625
| GD20 | 13 | 0 ppm PTU | 2.946 | 1.4445
| GD20 | 19 | 0 ppm PTU | 3.079 | 2.7035
| GD20 | 31 | 0 ppm PTU | 3.207 | 2.0747
| GD20 | 37 | 0 ppm PTU | 3.558 | 2.0983
| GD20 | 43 | 0 ppm PTU | 4.114 | 2.5562
| GD20 | 49 | 0 ppm PTU | 4.449 | 2.6025
| GD20 | 8 | 0.1 ppm PTU | 3.012 | 1.3113
| GD20 | 14 | 0.1 ppm PTU | 3.111 | 1.6193
| GD20 | 26 | 0.1 ppm PTU | 3.59 | 2.4745
| GD20 | 32 | 0.1 ppm PTU | 3.469 | 1.704
| GD20 | 38 | 0.1 ppm PTU | 3.757 | 1.866
| GD20 | 44 | 0.1 ppm PTU | 2.889 | 1.6153
| GD20 | 50 | 0.1 ppm PTU | 3.641 | 2.1837
| GD20 | 9 | 0.5 ppm PTU | 1.578 | 0.689
| GD20 | 15 | 0.5 ppm PTU | 2.071 | 1.348
| GD20 | 21 | 0.5 ppm PTU | 1.683 | 0.399
| GD20 | 27 | 0.5 ppm PTU | 1.631 | 0.5775
| GD20 | 33 | 0.5 ppm PTU | 2.899 | 1.8413
| GD20 | 39 | 0.5 ppm PTU | 1.872 | 0.627
| GD20 | 45 | 0.5 ppm PTU | 3.517 | 2.218
| GD20 | 51 | 0.5 ppm PTU | 2.734 | 1.5228
| PN5 | 1 | CON-CON | 11.2598 | 6.676
| PN5 | 3 | CON-CON | 13.5543 | 10.697
| PN5 | 5 | CON-CON | 9.967 | 5.462
| PN5 | 7 | CON-CON | 18.0008 | 14.631
| PN5 | 17 | CON-CON | 11.8157 | 8.02
| PN5 | 19 | CON-CON | 12.9257 | 12.932
| PN5 | 21 | CON-CON | 13.1042 | 9
| PN5 | 23 | CON-CON | 15.7121 | 9.12
| PN5 | 10 | CON-PTU | 6.2596 | 3.773
| PN5 | 14 | CON-PTU | 16.1193 | 8.968
| PN5 | 16 | CON-PTU | 14.9882 | 11.671
| PN5 | 26 | CON-PTU | 8.1882 | 5.337
| PN5 | 28 | CON-PTU | 6.9932 | 4.384
| PN5 | 9 | PTU-CON | 5.5485 | 3.527
| PN5 | 11 | PTU-CON | 8.028 | 5.833
| PN5 | 15 | PTU-CON | 7.08 | 4.022
| PN5 | 25 | PTU-CON | 5.4214 | 3.746
| PN5 | 27 | PTU-CON | 10.7016 | 7.5
| PN5 | 29 | PTU-CON | 4.4002 | 2.151

## Table 1
Table 1.
O'Shaughnessy et al.
An Optimized Radioimmunoassay for Quantification of Total Serum Thyroxine in Fetal, Neonatal, and Pregnant Rats
Serum T4 in pregnant and developing rats
Note: GD20 LC/MS/MS data previously published in Hassan et al. 2017 and the PN5 LC/MS/MS in O'Shaughnessy et al. 2018.
Panel A. | Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) by LC/MS/MS | T4 (ng/ml) by RIA | Mean by LC/MS/MS | Mean by RIA | Percent Change LC/MS/MS | Percent Change RIA
| Dam, GD20 | 1 | 0 ppm PTU | 9.8 | 8.291 | 17.33 | 14.1519
| Dam, GD20 | 7 | 0 ppm PTU | 10.67 | 8.157
| Dam, GD20 | 13 | 0 ppm PTU | 20.93 | 17.912
| Dam, GD20 | 19 | 0 ppm PTU | 13.85 | 11.069
| Dam, GD20 | 31 | 0 ppm PTU | 20.3 | 17.722
| Dam, GD20 | 37 | 0 ppm PTU | 16.51 | 13.929
| Dam, GD20 | 43 | 0 ppm PTU | 21.35 | 16.547
| Dam, GD20 | 49 | 0 ppm PTU | 25.23 | 19.588
| Dam, GD20 | 2 | 0.1 ppm PTU | 30.63 | 20.702 | 21.1154 | 16.6232 | 21.89 | 17.45
| Dam, GD20 | 8 | 0.1 ppm PTU | 24.553 | 16.445
| Dam, GD20 | 14 | 0.1 ppm PTU | 21.889 | 17.112
| Dam, GD20 | 26 | 0.1 ppm PTU | 15.175 | 10.437
| Dam, GD20 | 32 | 0.1 ppm PTU | 17.591 | 20.727
| Dam, GD20 | 38 | 0.1 ppm PTU | 18.039 | 16.059
| Dam, GD20 | 44 | 0.1 ppm PTU | 22.351 | 15.35
| Dam, GD20 | 50 | 0.1 ppm PTU | 18.695 | 16.154
| Dam, GD20 | 3 | 0.5 ppm PTU | 17.12 | 12.611 | 17.8844 | 14.1193 | -3.17 | -0.21
| Dam, GD20 | 9 | 0.5 ppm PTU | 20.71 | 16.349
| Dam, GD20 | 15 | 0.5 ppm PTU | 30.81 | 26.295
| Dam, GD20 | 21 | 0.5 ppm PTU | 9.38 | 8.812
| Dam, GD20 | 27 | 0.5 ppm PTU | 9.23 | 8.948
| Dam, GD20 | 33 | 0.5 ppm PTU | 13.39 | 9.989
| Dam, GD20 | 39 | 0.5 ppm PTU | 27.54 | 21.913
| Dam, GD20 | 45 | 0.5 ppm PTU | 10.46 | 8.367
| Dam, GD20 | 51 | 0.5 ppm PTU | 22.32 | 13.79
| Dam, GD20 | 4 | 1 ppm PTU | 11.22 | 8.848 | 13.975 | 10.2225 | -19.33 | -27.77
| Dam, GD20 | 16 | 1 ppm PTU | 19.46 | 14.464
| Dam, GD20 | 34 | 1 ppm PTU | 16.39 | 11.813
| Dam, GD20 | 40 | 1 ppm PTU | 9.52 | 6.852
| Dam, GD20 | 46 | 1 ppm PTU | 14.73 | 10.153
| Dam, GD20 | 52 | 1 ppm PTU | 12.53 | 9.205
| Dam, GD20 | 5 | 2 ppm PTU | 6.77 | 5.707 | 7.7062 | 6.146 | -55.11 | -56.54
| Dam, GD20 | 11 | 2 ppm PTU | 5.38 | 4.427
| Dam, GD20 | 17 | 2 ppm PTU | 7.85 | 7.152
| Dam, GD20 | 23 | 2 ppm PTU | 14.34 | 10.278
| Dam, GD20 | 35 | 2 ppm PTU | 6.48 | 4.854
| Dam, GD20 | 41 | 2 ppm PTU | 5.35 | 4.575
| Dam, GD20 | 47 | 2 ppm PTU | 6.53 | 4.93
| Dam, GD20 | 53 | 2 ppm PTU | 8.95 | 7.245
| Dam, GD20 | 6 | 3 ppm PTU | 4.02 | 3.03 | 3.28 | 2.4155 | -81.07 | -82.9
| Dam, GD20 | 12 | 3 ppm PTU | 1.94 | 1.15
| Dam, GD20 | 24 | 3 ppm PTU | 4.41 | 2.625
| Dam, GD20 | 30 | 3 ppm PTU | 3.6 | 3.228
| Dam, GD20 | 36 | 3 ppm PTU | 3.56 | 2.746
| Dam, GD20 | 42 | 3 ppm PTU | 2.84 | 2.529
| Dam, GD20 | 48 | 3 ppm PTU | 2.27 | 1.203
| Dam, GD20 | 54 | 3 ppm PTU | 3.6 | 2.813
Panel B. | Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) by LC/MS/MS | T4 (ng/ml) by RIA | Mean by LC/MS/MS | Mean by RIA | Percent Change LC/MS/MS | Percent Change RIA
| GD20 | 7 | 0 ppm PTU | 2.86 | 1.1625 | 3.459 | 2.0918
| GD20 | 13 | 0 ppm PTU | 2.946 | 1.4445
| GD20 | 19 | 0 ppm PTU | 3.079 | 2.7035
| GD20 | 31 | 0 ppm PTU | 3.207 | 2.0747
| GD20 | 37 | 0 ppm PTU | 3.558 | 2.0983
| GD20 | 43 | 0 ppm PTU | 4.114 | 2.5562
| GD20 | 49 | 0 ppm PTU | 4.449 | 2.6025
| GD20 | 8 | 0.1 ppm PTU | 3.012 | 1.3113 | 3.3527 | 1.8249 | -3.18 | -12.92
| GD20 | 14 | 0.1 ppm PTU | 3.111 | 1.6193
| GD20 | 26 | 0.1 ppm PTU | 3.59 | 2.4745
| GD20 | 32 | 0.1 ppm PTU | 3.469 | 1.704
| GD20 | 38 | 0.1 ppm PTU | 3.757 | 1.866
| GD20 | 44 | 0.1 ppm PTU | 2.889 | 1.6153
| GD20 | 50 | 0.1 ppm PTU | 3.641 | 2.1837
| GD20 | 3 | 0.5 ppm PTU | 1.265 | 0.55 | 2.1389 | 1.0858 | -38.15 | -47.85
| GD20 | 9 | 0.5 ppm PTU | 1.578 | 0.689
| GD20 | 15 | 0.5 ppm PTU | 2.071 | 1.348
| GD20 | 21 | 0.5 ppm PTU | 1.683 | 0.399
| GD20 | 27 | 0.5 ppm PTU | 1.631 | 0.5775
| GD20 | 33 | 0.5 ppm PTU | 2.899 | 1.8413
| GD20 | 39 | 0.5 ppm PTU | 1.872 | 0.627
| GD20 | 45 | 0.5 ppm PTU | 3.517 | 2.218
| GD20 | 51 | 0.5 ppm PTU | 2.734 | 1.5228
| GD20 | 4 | 1 ppm PTU | 1.341 | 0.55 | 1.3213 | 0.55 | -61.85 | -73.68
| GD20 | 16 | 1 ppm PTU | 1.142 | 0.55
| GD20 | 34 | 1 ppm PTU | 1.635 | 0.55
| GD20 | 40 | 1 ppm PTU | 1.212 | 0.55
| GD20 | 46 | 1 ppm PTU | 1.145 | 0.55
| GD20 | 52 | 1 ppm PTU | 1.453 | 0.55
| GD20 | 5 | 2 ppm PTU | 0.469 | 0.55 | 0.53687 | 0.55 | -84.39 | -73.68
| GD20 | 11 | 2 ppm PTU | 0.31 | 0.55
| GD20 | 17 | 2 ppm PTU | 0.441 | 0.55
| GD20 | 23 | 2 ppm PTU | 0.403 | 0.55
| GD20 | 35 | 2 ppm PTU | 0.801 | 0.55
| GD20 | 41 | 2 ppm PTU | 0.622 | 0.55
| GD20 | 47 | 2 ppm PTU | 0.588 | 0.55
| GD20 | 53 | 2 ppm PTU | 0.661 | 0.55
| GD20 | 12 | 3 ppm PTU | 0.216 | 0.55 | 0.31486 | 0.55 | -91.04 | -73.68
| GD20 | 24 | 3 ppm PTU | 0.409 | 0.55
| GD20 | 30 | 3 ppm PTU | 0.329 | 0.55
| GD20 | 36 | 3 ppm PTU | 0.452 | 0.55
| GD20 | 42 | 3 ppm PTU | 0.2 | 0.55
| GD20 | 48 | 3 ppm PTU | 0.238 | 0.55
| GD20 | 54 | 3 ppm PTU | 0.36 | 0.55
Panel C. | Developmental Stage | Litter Number | Maternal Exposure | T4 (ng/ml) by LC/MS/MS | T4 (ng/ml) by RIA | Mean by LC/MS/MS | Mean by RIA | Percent Change LC/MS/MS | Percent Change RIA
| PN5 | 1 | CON-CON | 11.2598 | 6.676 | 13.2924 | 9.5672
| PN5 | 3 | CON-CON | 13.5543 | 10.697
| PN5 | 5 | CON-CON | 9.967 | 5.462
| PN5 | 7 | CON-CON | 18.0008 | 14.631
| PN5 | 17 | CON-CON | 11.8157 | 8.02
| PN5 | 19 | CON-CON | 12.9257 | 12.932
| PN5 | 21 | CON-CON | 13.1042 | 9
| PN5 | 23 | CON-CON | 15.7121 | 9.12
| PN5 | 10 | CON-PTU | 6.2596 | 3.773 | 10.5097 | 6.8266 | -20.92 | -28.63
| PN5 | 14 | CON-PTU | 16.1193 | 8.968
| PN5 | 16 | CON-PTU | 14.9882 | 11.671
| PN5 | 26 | CON-PTU | 8.1882 | 5.337
| PN5 | 28 | CON-PTU | 6.9932 | 4.384
| PN5 | 9 | PTU-CON | 5.5485 | 3.527
| PN5 | 11 | PTU-CON | 8.028 | 5.833 | 6.8633 | 4.4632 | -48.38 | -53.4
| PN5 | 15 | PTU-CON | 7.08 | 4.022
| PN5 | 25 | PTU-CON | 5.4214 | 3.746
| PN5 | 27 | PTU-CON | 10.7016 | 7.5
| PN5 | 29 | PTU-CON | 4.4002 | 2.151
| PN5 | 2 | PTU-PTU | 1.8288 | 0.55 | 0.70889 | 0.55 | -94.66 | -94.25
| PN5 | 4 | PTU-PTU | 1.0461 | 0.55
| PN5 | 6 | PTU-PTU | 0.61494 | 0.55
| PN5 | 8 | PTU-PTU | 0.33105 | 0.55
| PN5 | 18 | PTU-PTU | 0.45601 | 0.55
| PN5 | 20 | PTU-PTU | 0.61602 | 0.55
| PN5 | 22 | PTU-PTU | 0.43716 | 0.55
| PN5 | 24 | PTU-PTU | 0.341 | 0.55

## Supplementary Table 1
Table S1.
O'Shaughnessy et al.
An Optimized Radioimmunoassay for Quantification of Total Serum Thyroxine in Fetal, Neonatal, and Pregnant Rats
Sample repeatability measures when processed in double volume (50 µl) as compared to kit recommendations (25 µl).
Sample Repeatability – 50 µl Total Volume
| Bio. Rep. 1 | Bio Rep 2 | Bio Rep 3 | Bio Rep 4 | Bio Rep 5
Tech. Rep. 1 | 79.551 | 10.781 | 5.074 | 4.062 | 3.628
Tech. Rep. 2 | 83.637 | 9.331 | 5.68 | 4.318 | 2.826
Tech. Rep. 3 | 79.229 | 9.081 | 7.502 | 3.867 | 3.025
Tech. Rep. 4 | 85.468 | 7.19 | 5.729 | 4.096 | 2.606
Tech. Rep. 5 | 89.494 | 9.288 | 4.033 | 3.861 | 2.82
Mean | 83.476 ng/ml | 9.134 ng/ml | 5.604 ng/ml | 4.041 ng/ml | 2.981 ng/ml
St. Dev. | 4.291 | 1.28 | 1.262 | 0.189 | 0.391

## Supplementary Table 2
Table S2.
O'Shaughnessy et al.
An Optimized Radioimmunoassay for Quantification of Total Serum Thyroxine in Fetal, Neonatal, and Pregnant Rats
Data to suggest that doubling input volume did not greatly affect assay performance.
Double Volume Validation
Bio. Rep. 2 Conc. – 25 µl | Bio. Rep. 2 (25 µl) Diluted | Bio. Rep. 2 (25 µl) and 25 µl | Bio. Rep. 2 (25 µl) and 25 µl | Bio. Rep. 2 (25 µl) and 25 µl | Bio. Rep. 2 (25 µl) and 25
| 1:1 in Blank (B0) | of T4 Standard (3 ng total) | of T4 Standard (6 ng) | of T4 Standard (12.5 ng) | µl of T4 Standard (25 ng)
9.134 ng/ml | 6.117 | 8.809 | 11.75 | 24.832 | 38.455
| 6.663 | 8.898 | 10.527 | 22.56 | 37
Measured | 6.390 ng/ml | 8.854 ng/ml | 11.139 ng/ml | 23.696 ng/ml | 37.728 ng/ml
Expected | 4.567 ng/ml | 9.390 ng/ml | 12.390 ng/ml | 18.890 ng/ml | 31.390 ng/ml