## Int
| Element |  | Na | Mg | Al | Si | K | Ca | Zn | Cd | Pb
| Mass |  | 23 | 24 | 27 | 28 | 39 | 43 | 64 | 111 | 208
| Cal Curve | r | 0.99996 | 0.99998 | 0.99997 | 0.99997 | 0.99995 | 0.99998 | 0.99999 | 0.99999 | 0.99999
|  | order | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
|  | 2nd term | 4.7153e-08 | -3.1068e-08 | -1.5187e-06 | 2.8587e-06 | 2.5772e-08 | 0.028762 | -1.8603e-06 | -2.9197e-06 | -5.3461e-07
|  | 1st term | 0.0077082 | 0.011071 | 0.0091768 | 0.015767 | 0.0075252 | 2.8593 | 0.014777 | 0.02564 | 0.0051254
|  | Const. | -0.49754 | -0.039667 | -0.005633 | -0.04435 | -0.20002 | -0.27242 | -0.0060474 | -0.00026393 | -0.00061516
|  | LDL (ppb) | 29.3704 | 1.6915 | 1.0856 | 0.26874 | 8.7843 | 19.058 | 0.12599 | 0.00094787 | 0.0052478 |  | LDL = Lower Detection Limit
|  | LOQ (ppb) | 97.9014 | 5.6384 | 3.6186 | 0.8958 | 29.281 | 63.5268 | 0.41996 | 0.0031596 | 0.017493 |  | LOQ = limit of Quantitation
|  |  | Na: Concentration |  | Internal Standard Intensity |  | Relative Standard Deviation (RSD)
Sample Name | ID | Date/Time | Na | Mg | Al | Si | K | Ca | Zn | Cd | Pb |  | IS - Rh 103 | Rh 103 RSD | Na | Mg | Al | Si | K | Ca | Zn | Cd | Pb
|  |  | ppm | [5 empty] | ppb
BLNK CHCK 1 | C1 | 2019-08-22 09:29 | b.d.l. | b.d.l. | 0.0054789 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | 0.37263 | 0.15653 |  | 19368.05 | 2.53 | 0.76 | 1.67 | 4.05 | 1.85 | 4.23 | 1.45 | 45.84 | 61.75 | 172.14
30A278 | 1 | 2019-08-22 09:31 | 1.5488 | 5.7922 | 0.075741 | 4.4837 | 11.812 | 6.7403 | 1.803 | 0.55808 | 0.41596 |  | 19634.55 | 0.62 | 1.98 | 2.4 | 3.57 | 2.39 | 2.69 | 1.96 | 4.74 | 2.81 | 8.43
45A278 | 2 | 2019-08-22 09:33 | 1.1364 | 7.7447 | 0.035577 | 2.1253 | 9.7354 | 9.4688 | 0.45896 | 0.24393 | b.d.l. |  | 19305.15 | 1.57 | 2.64 | 0.94 | 0.97 | 0.91 | 1.2 | 1.6 | 22.79 | 10.31 | 0.83
60A278 | 3 | 2019-08-22 09:35 | 2.3943 | 10.2341 | 0.02548 | 2.2617 | 11.0074 | 12.6088 | b.d.l. | 0.057409 | b.d.l. |  | 20281.15 | 5.57 | 1.57 | 0.32 | 2.87 | 1.93 | 1.08 | 1.21 | 29.46 | 14.97 | 0.5
75A278 | 4 | 2019-08-22 09:37 | 4.6213 | 9.6651 | 0.023054 | 2.0905 | 9.9819 | 11.8338 | b.d.l. | b.d.l. | b.d.l. |  | 21490.54 | 1.11 | 1.8 | 1.57 | 1.48 | 0.3 | 1.05 | 1.44 | 4.59 | 5.26 | 0.23
90A278 | 5 | 2019-08-22 09:39 | 8.8618 | 10.3448 | 0.036858 | 2.4805 | 13.2545 | 13.1071 | b.d.l. | 0.091406 | b.d.l. |  | 19878.83 | 3.62 | 0.33 | 1.24 | 0.3 | 0.98 | 0.32 | 2.2 | 24.98 | 5.24 | 0.55
135A278 | 6 | 2019-08-22 09:41 | 12.4416 | 7.4008 | 0.033166 | 2.0453 | 9.2035 | 9.9221 | b.d.l. | b.d.l. | b.d.l. |  | 20179.22 | 0.85 | 3 | 3.22 | 2.45 | 3.36 | 1.45 | 1.21 | 5.31 | 5.04 | 0.66
180A278 | 7 | 2019-08-22 09:43 | 16.9215 | 5.5687 | 0.03972 | 1.9004 | 7.6844 | 7.7017 | b.d.l. | b.d.l. | b.d.l. |  | 19082.04 | 0.73 | 0.38 | 0.69 | 1.75 | 1.55 | 0.93 | 1.18 | 5.82 | 1.89 | 0.49
225A278 | 8 | 2019-08-22 09:45 | 18.9836 | 4.7119 | 0.042245 | 1.7934 | 6.671 | 6.6013 | b.d.l. | b.d.l. | b.d.l. |  | 19456.39 | 1.51 | 1.22 | 0.58 | 0.91 | 0.75 | 0.42 | 1.47 | 14.42 | 0.72 | 0.58
270A278 | 9 | 2019-08-22 09:47 | 25.1345 | 5.1158 | 0.027784 | 2.1496 | 7.179 | 7.6316 | b.d.l. | b.d.l. | b.d.l. |  | 19229.36 | 0.46 | 1.63 | 0.69 | 0.11 | 0.64 | 1.36 | 1 | 28.42 | 0.94 | 0.45
BLNK CHCK 2 | C2 | 2019-08-22 09:49 | b.d.l. | b.d.l. | 0.005712 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 20483.09 | 4.42 | 0.68 | 1.41 | 2.29 | 10.94 | 3.48 | 0.93 | 7.54 | 0.22 | 0.83
315A278 | 10 | 2019-08-22 09:51 | 26.398 | 4.8652 | 0.031735 | 2.1375 | 6.7314 | 7.0019 | b.d.l. | b.d.l. | b.d.l. |  | 21056.43 | 2.23 | 0.88 | 0.92 | 2.3 | 1.39 | 2.5 | 1.67 | 4.34 | 0.84 | 0.37
15B278 | 11 | 2019-08-22 09:53 | 0.38988 | 1.4918 | 0.028128 | 2.3302 | 4.1282 | 1.6875 | b.d.l. | 0.033645 | b.d.l. |  | 21229.1 | 2.11 | 3.15 | 1.7 | 4.35 | 1.76 | 2.58 | 2.38 | 5.32 | 31.72 | 1.48
30B278 | 12 | 2019-08-22 09:55 | 0.94619 | 5.0348 | 0.025606 | 2.2231 | 7.5725 | 6.2858 | b.d.l. | 0.37779 | b.d.l. |  | 23687.09 | 7.39 | 2.15 | 2.09 | 2.63 | 2.76 | 1.91 | 1.45 | 2.29 | 0.3 | 0.16
45B278 | 13 | 2019-08-22 09:57 | 1.6132 | 8.5943 | 0.036391 | 2.2506 | 9.6085 | 10.9729 | b.d.l. | 0.60822 | b.d.l. |  | 20134.62 | 1.76 | 1.85 | 2.02 | 1.09 | 1.21 | 0.98 | 1.53 | 30.99 | 1.34 | 1.1
60B278 | 14 | 2019-08-22 09:59 | 3.8099 | 10.3017 | 0.04234 | 2.3463 | 10.2284 | 13.0076 | b.d.l. | 0.71196 | b.d.l. |  | 19996.53 | 0.97 | 0.66 | 1.75 | 1.97 | 0.95 | 1.48 | 0.49 | 7.35 | 2.64 | 0.52
75B278 | 15 | 2019-08-22 10:01 | 7.8711 | 10.5636 | 0.041361 | 2.4678 | 11.0866 | 14.1657 | 1.6778 | 0.61298 | b.d.l. |  | 21248.09 | 1.35 | 1.97 | 0.45 | 2.44 | 0.63 | 0.79 | 1.15 | 1.76 | 1.92 | 0.55
90B278 | 16 | 2019-08-22 10:03 | 11.5723 | 9.395 | 0.042324 | 2.3558 | 10.6907 | 12.8025 | b.d.l. | 0.43348 | b.d.l. |  | 19729.34 | 2.35 | 1.57 | 1.97 | 0.9 | 1.65 | 0.69 | 1.04 | 7.55 | 3.71 | 0.21
135B278 | 17 | 2019-08-22 10:05 | 17.176 | 7.6885 | 0.040225 | 2.2236 | 9.8737 | 10.9665 | b.d.l. | 0.32533 | b.d.l. |  | 21364.66 | 7.78 | 0.78 | 1.53 | 2.32 | 2.51 | 0.23 | 0.32 | 18.76 | 2.9 | 0.88
180B278 | 18 | 2019-08-22 10:07 | 17.5248 | 4.919 | 0.0553 | 1.6953 | 6.5243 | 6.9239 | 1.8919 | 0.069285 | b.d.l. |  | 20892.21 | 4.17 | 1.01 | 1.05 | 0.71 | 1.37 | 1.62 | 1.32 | 3.57 | 14.4 | 0.23
BLNK CHCK 3 | C3 | 2019-08-22 10:09 | b.d.l. | b.d.l. | 0.0058231 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 22146.12 | 2.81 | 1.29 | 3.57 | 2.59 | 1.78 | 1.57 | 1.32 | 4.81 | 0.15 | 0.24
225B278 | 19 | 2019-08-22 10:11 | 24.0346 | 5.4133 | 0.038638 | 2.0939 | 7.4087 | 8.048 | b.d.l. | 0.087028 | b.d.l. |  | 21594.91 | 2.65 | 1.21 | 1.24 | 1.56 | 0.26 | 0.96 | 0.76 | 19.93 | 11.29 | 0.42
270B278 | 20 | 2019-08-22 10:13 | 29.5795 | 5.7112 | 0.038445 | 2.3723 | 7.4781 | 8.9028 | b.d.l. | 0.123 | b.d.l. |  | 20590.51 | 3.37 | 0.93 | 1.02 | 1.77 | 1.05 | 0.89 | 1.19 | 8.62 | 7.45 | 0.51
315B278 | 21 | 2019-08-22 10:15 | 24.5246 | 4.4319 | 0.037828 | 1.9603 | 5.8543 | 7.3483 | b.d.l. | 0.081276 | b.d.l. |  | 20067.62 | 0.17 | 0.68 | 0.69 | 2.25 | 1.68 | 1.56 | 0.71 | 6.1 | 16.18 | 1.08
C2R1A78 | 22 | 2019-08-22 10:17 | 38.7496 | 6.9111 | 0.038242 | 3.1254 | 10.6836 | 10.2284 | 6.616 | 29.7416 | 11.5186 |  | 20957.37 | 3.19 | 0.87 | 0.71 | 1.21 | 1.08 | 0.62 | 0.85 | 3.35 | 0.41 | 0.86
C2R2A78 | 23 | 2019-08-22 10:19 | 35.9681 | 5.7962 | 0.048678 | 3.2732 | 9.3984 | 8.6607 | 1.2724 | 2.7594 | 3.316 |  | 21226.48 | 1.48 | 0.88 | 0.61 | 1.59 | 1.47 | 0.27 | 0.58 | 4.39 | 1.07 | 0.81
C2R3A78 | 24 | 2019-08-22 10:21 | 33.4626 | 4.8821 | 0.046473 | 3.3488 | 10.8682 | 7.0545 | 2.7938 | 0.71824 | 2.022 |  | 20928.45 | 0.46 | 1.46 | 0.77 | 0.29 | 1.44 | 0.46 | 0.73 | 4.1 | 4.93 | 1.9
C2R1B78 | 25 | 2019-08-22 10:23 | 40.922 | 7.3107 | 0.04609 | 3.158 | 12.5155 | 11.3272 | 13.1132 | 38.1808 | 2.9339 |  | 20401.99 | 1.52 | 0.7 | 0.87 | 0.7 | 1.04 | 1.28 | 1.65 | 1.42 | 0.18 | 2.38
C2R2B78 | 26 | 2019-08-22 10:25 | 42.4508 | 6.7371 | 0.037224 | 3.8779 | 10.5795 | 10.5947 | 1.2555 | 10.4422 | 1.8903 |  | 20817.2 | 0.95 | 2.72 | 2.1 | 2.52 | 3.09 | 0.94 | 0.42 | 13.98 | 1.58 | 1.51
C2R3B78 | 27 | 2019-08-22 10:27 | 36.9211 | 5.3183 | 0.039568 | 3.6122 | 8.4846 | 8.0081 | b.d.l. | 3.8557 | 1.2667 |  | 22006.81 | 2.84 | 1.38 | 1.62 | 0.55 | 1.7 | 1.5 | 1.51 | 12.81 | 1.33 | 1.47
BLNK CHCK 4 | C4 | 2019-08-22 10:29 | b.d.l. | b.d.l. | 0.0044776 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 20469.85 | 0.37 | 1.48 | 2.88 | 2.6 | 3.22 | 1.18 | 0.79 | 1.51 | 0.59 | 0.36
D278A | 28 | 2019-08-22 10:31 | 0.14337 | 5.3758 | 0.62937 | 0.15415 | 1.1497 | 8.0515 | 350.0601 | 669.3106 | 593.6244 |  | 21467.46 | 1.49 | 8.45 | 1.38 | 1.35 | 1.93 | 1.44 | 1.43 | 1.7 | 1.55 | 0.56
D278B | 29 | 2019-08-22 10:33 | b.d.l. | 4.9967 | 0.63827 | 0.14007 | 1.0313 | 7.5467 | 362.4852 | 613.6439 | 842.7445 |  | 22387.09 | 0.82 | 11.43 | 1.35 | 0.42 | 2.6 | 0.53 | 0.49 | 1.15 | 0.36 | 0.83
C2DRA78 | 30 | 2019-08-22 10:35 | 3.4308 | 15.1596 | 0.041097 | 4.5609 | 5.3754 | 25.154 | 3.3633 | 7.439 | 0.68434 |  | 23490.2 | 1.04 | 2.27 | 1.78 | 2.01 | 1.78 | 0.93 | 0.64 | 6.12 | 0.79 | 8.97
C2DRB78 | 31 | 2019-08-22 10:37 | 4.9021 | 21.6993 | 0.028918 | 4.7479 | 6.8092 | 35.3444 | 1.6417 | 9.4231 | 0.78468 |  | 23316.83 | 2.81 | 1.2 | 1.31 | 1.19 | 2.04 | 1.29 | 1.35 | 5.94 | 1.19 | 3.32
15A378 | 32 | 2019-08-22 10:39 | b.d.l. | 2.0376 | 0.038848 | 3.0605 | 6.1657 | 3.5974 | 0.9234 | 0.044049 | b.d.l. |  | 21778.56 | 3.19 | 39.47 | 0.39 | 0.7 | 0.61 | 2.16 | 0.99 | 3.18 | 22.24 | 0.95
30A378 | 33 | 2019-08-22 10:41 | 0.57629 | 4.8232 | 0.047866 | 3.2388 | 2.0741 | 8.6268 | b.d.l. | 0.040716 | b.d.l. |  | 21207.75 | 0.53 | 1.96 | 1.07 | 0.93 | 1.26 | 1.27 | 1.39 | 33.36 | 36 | 0.72
45A378 | 34 | 2019-08-22 10:43 | 2.8938 | 6.8364 | 0.04365 | 3.0547 | 2.6848 | 12.3884 | 0.29713 | 0.44634 | b.d.l. |  | 21321.18 | 2.88 | 0.77 | 1.78 | 1.61 | 1.38 | 2.19 | 1.9 | 27.16 | 4.85 | 0.78
60A378 | 35 | 2019-08-22 10:45 | 6.5938 | 6.8112 | 0.036248 | 2.8114 | 2.9019 | 12.8045 | b.d.l. | b.d.l. | b.d.l. |  | 23371.98 | 2.98 | 3.55 | 2.74 | 2.24 | 0.72 | 1.69 | 1.36 | 10.69 | 66.84 | 0.67
75A378 | 36 | 2019-08-22 10:47 | 10.5187 | 6.6566 | 0.046979 | 2.7678 | 3.1775 | 12.6525 | 1.3704 | b.d.l. | b.d.l. |  | 23283.03 | 3.83 | 2.52 | 1.58 | 1.01 | 2.13 | 2.61 | 2.69 | 16.08 | 41.84 | 0.07
BLNK CHCK 5 | C5 | 2019-08-22 10:49 | b.d.l. | b.d.l. | 0.014684 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 22009.86 | 4.5 | 0.99 | 3.73 | 0.52 | 0.93 | 1.09 | 0.87 | 2.42 | 0.03 | 0.57
90A378 | 37 | 2019-08-22 10:51 | 14.6268 | 6.7453 | 0.044854 | 2.8884 | 4.3343 | 12.7617 | 0.0015262 | b.d.l. | b.d.l. |  | 21006.68 | 2.4 | 0.07 | 0.58 | 0.85 | 0.15 | 0.7 | 0.44 | 2321.74 | 44.43 | 0.44
135A378 | 38 | 2019-08-22 10:53 | 17.6544 | 5.576 | 0.038645 | 2.5899 | 3.272 | 10.6507 | 0.064292 | b.d.l. | b.d.l. |  | 21536.8 | 0.7 | 1.28 | 1.93 | 1.76 | 1.3 | 0.65 | 1.05 | 94.29 | 10.7 | 0.46
180A378 | 39 | 2019-08-22 10:55 | 24.1347 | 5.5727 | 0.039056 | 2.8411 | 3.5803 | 10.8598 | b.d.l. | b.d.l. | b.d.l. |  | 20682.16 | 1.35 | 2.24 | 1.2 | 2.04 | 2.3 | 1.15 | 0.41 | 1.39 | 11.35 | 0.4
225A378 | 40 | 2019-08-22 10:57 | 23.6404 | 4.6189 | 0.046032 | 2.5058 | 3.0305 | 9.2055 | b.d.l. | 0.024646 | b.d.l. |  | 22188.02 | 6.42 | 1.31 | 1.45 | 1.37 | 1.01 | 1.81 | 0.43 | 26.33 | 47.3 | 0.48
270A378 | 41 | 2019-08-22 11:00 | 24.5142 | 4.365 | 0.030527 | 2.373 | 2.7864 | 8.388 | 0.49592 | 0.069247 | b.d.l. |  | 23478.35 | 4.01 | 1.73 | 1.98 | 0.88 | 2 | 0.85 | 1.36 | 24.22 | 7.95 | 1.25
315A378 | 42 | 2019-08-22 11:04 | 26.2214 | 4.3723 | 0.051568 | 2.4421 | 3.8578 | 9.0466 | 0.43732 | b.d.l. | b.d.l. |  | 21331.12 | 2.41 | 0.33 | 0.64 | 0.78 | 1.53 | 2.08 | 0.3 | 12.08 | 6.77 | 0.58
15B378 | 43 | 2019-08-22 11:10 | b.d.l. | 2.1203 | 0.044444 | 3.0397 | 1.5608 | 3.6862 | 5.7771 | 7.6267 | 8.1901 |  | 22321.4 | 1.85 | 14.32 | 1.13 | 6.16 | 0.56 | 2.04 | 1.83 | 37.05 | 30.13 | 32.21
30B378 | 44 | 2019-08-22 11:12 | 1.031 | 4.5751 | 0.043663 | 3.1674 | 2.1576 | 8.468 | 0.34853 | 1.0215 | b.d.l. |  | 22136.19 | 1.46 | 4.24 | 2.81 | 2.03 | 2.45 | 0.71 | 0.92 | 12.2 | 5.84 | 6.53
45B378 | 45 | 2019-08-22 11:14 | 4.1234 | 6.8085 | 0.048736 | 3.2474 | 2.9285 | 12.4887 | 1.1649 | 1.0487 | b.d.l. |  | 21538.02 | 1.86 | 1.57 | 1.5 | 0.54 | 0.79 | 0.31 | 1.17 | 10.01 | 2.6 | 0.79
BLNK CHCK 6 | C6 | 2019-08-22 11:16 | b.d.l. | b.d.l. | 0.024608 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 23429.3 | 4.13 | 0.68 | 4.85 | 4.08 | 7.6 | 2.48 | 1.11 | 4.66 | 0.55 | 0.53
60B378 | 46 | 2019-08-22 11:18 | 7.2937 | 6.3904 | 0.025274 | 2.7239 | 2.9824 | 11.8084 | b.d.l. | 0.66044 | b.d.l. |  | 24268.96 | 2.44 | 1.81 | 1.63 | 2.03 | 2.14 | 2.03 | 1.35 | 0.85 | 0.28 | 0.84
75B378 | 47 | 2019-08-22 11:20 | 13.306 | 7.8004 | 0.037614 | 3.3212 | 3.8101 | 14.3404 | b.d.l. | 0.87576 | b.d.l. |  | 22037.48 | 2.37 | 1.21 | 0.67 | 1.01 | 0.57 | 1.19 | 1.23 | 2.74 | 2.77 | 0.97
90B378 | 48 | 2019-08-22 11:22 | 16.8808 | 7.6186 | 0.035792 | 3.3703 | 4.1419 | 14.2774 | b.d.l. | 0.90255 | b.d.l. |  | 20937.42 | 1.81 | 1.08 | 0.96 | 0.76 | 0.71 | 1.47 | 1.3 | 20.1 | 2.56 | 1.49
135B378 | 49 | 2019-08-22 11:24 | 19.7672 | 6.2737 | 0.040846 | 2.8999 | 3.706 | 11.7562 | b.d.l. | 0.6435 | b.d.l. |  | 22264.34 | 1.72 | 0.54 | 0.29 | 1 | 0.67 | 1.15 | 1 | 9.88 | 2.04 | 0.54
180B378 | 50 | 2019-08-22 11:26 | 24.4557 | 5.77 | 0.045325 | 2.8878 | 3.5949 | 10.8116 | b.d.l. | 0.5157 | b.d.l. |  | 21983.99 | 2.69 | 0.29 | 1.08 | 0.92 | 1.49 | 0.74 | 0.24 | 16.64 | 1.35 | 0.47
225B378 | 51 | 2019-08-22 11:28 | 24.8706 | 4.9653 | 0.015028 | 2.6249 | 3.2407 | 9.8746 | b.d.l. | 0.65012 | b.d.l. |  | 21133.09 | 1.4 | 1.4 | 0.77 | 2.12 | 0.37 | 1.46 | 0.59 | 3.55 | 2.11 | 0.9
270B378 | 52 | 2019-08-22 11:30 | 28.9961 | 5.274 | 0.012146 | 2.8907 | 3.4777 | 10.8868 | b.d.l. | 0.98586 | b.d.l. |  | 21913.42 | 0.48 | 1.27 | 1.67 | 1.64 | 0.57 | 1.56 | 2.11 | 2.17 | 2.56 | 1.61
315B378 | 53 | 2019-08-22 11:32 | 28.7338 | 4.9491 | 0.032237 | 2.8529 | 3.2871 | 9.9127 | b.d.l. | 0.66172 | b.d.l. |  | 22259.02 | 1.42 | 0.91 | 0.58 | 0.95 | 0.19 | 0.36 | 0.2 | 3.31 | 1.73 | 0.55
C3R1A78 | 54 | 2019-08-22 11:34 | 41.5529 | 8.2561 | 0.031774 | 4.5396 | 4.9978 | 15.7951 | 13.2731 | 49.94 | 4.8104 |  | 21519.12 | 1.68 | 1.79 | 1.54 | 1.46 | 1.33 | 1.33 | 0.38 | 1.16 | 0.87 | 2.17
BLNK CHCK 7 | C7 | 2019-08-22 11:36 | b.d.l. | b.d.l. | 0.021985 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 21984.25 | 0.99 | 1.05 | 2.53 | 0.76 | 19.88 | 0.63 | 0.82 | 4.4 | 1.76 | 0.36
C3R2A78 | 55 | 2019-08-22 11:38 | 37.6667 | 6.6422 | 0.039619 | 4.6598 | 4.6772 | 12.8306 | 0.57726 | 2.818 | 2.172 |  | 20895.26 | 0.59 | 1.6 | 1.83 | 2.71 | 1.8 | 1.36 | 0.92 | 27.61 | 3.6 | 4.32
C3R3A78 | 56 | 2019-08-22 11:40 | 30.7117 | 4.7843 | 0.039077 | 3.9877 | 11.0511 | 9.8911 | 0.34932 | 1.3503 | 0.71428 |  | 24429.08 | 9.57 | 8.63 | 8.03 | 9.27 | 8.34 | 2.94 | 3.99 | 20.31 | 3.36 | 15.24
C3R1B78 | 57 | 2019-08-22 11:42 | 35.6536 | 7.0485 | 0.024389 | 4.1815 | 7.6744 | 14.3271 | 40.9279 | 149.9191 | 2.0503 |  | 27161.15 | 2.19 | 1.55 | 2.35 | 2.42 | 2.13 | 1.73 | 1.46 | 2.35 | 0.62 | 2.79
C3R2B78 | 58 | 2019-08-22 11:44 | 37.4272 | 6.4215 | 0.030464 | 4.641 | 4.3292 | 12.8075 | 3.1755 | 16.1392 | 2.4535 |  | 21814.98 | 2.45 | 1.33 | 1 | 1.04 | 0.6 | 0.8 | 0.44 | 3.22 | 1.1 | 2.11
C3R3B78 | 59 | 2019-08-22 11:46 | 37.9731 | 5.6147 | 0.034296 | 4.8554 | 4.5007 | 11.2021 | 1.063 | 8.7693 | 1.1956 |  | 22412.96 | 1.98 | 1.7 | 1.52 | 1.84 | 1.4 | 0.83 | 1.89 | 7.2 | 0.77 | 1.31
D378A | 60 | 2019-08-22 11:49 | 11.2748 | 87.7335 | 0.070396 | 3.4971 | 23.0326 | 520.723 | 2332.9265 | 6163.8557 | 109.3418 |  | 18837.32 | 2.68 | 2.01 | 1.4 | 1.72 | 2.21 | 1.22 | 2.96 | 1.51 | 1.2 | 0.71
D378B | 61 | 2019-08-22 11:51 | 11.0562 | 87.1408 | 0.057126 | 2.1327 | 22.7771 | 489.8016 | 2436.9342 | 6686.6035 | 70.8188 |  | 17871.95 | 0.94 | 1.74 | 1.3 | 1.1 | 1.97 | 1.51 | 0.46 | 0.3 | 0.64 | 2.94
15ABK7 | 62 | 2019-08-22 11:53 | 2.1316 | 0.083545 | 0.021034 | 0.64652 | 434.0983 | b.d.l. | b.d.l. | 5.3065 | 6.6403 |  | 22970.01 | 3.23 | 2.04 | 12.33 | 4.34 | 3.47 | 3.87 | 93.55 | 631.18 | 12.84 | 1.75
45ABK7 | 63 | 2019-08-22 11:55 | 15.0278 | 0.045592 | 0.040191 | 1.1093 | 90.2583 | b.d.l. | 0.23865 | b.d.l. | b.d.l. |  | 22721.02 | 2.3 | 2.65 | 3.87 | 2.11 | 1.42 | 12.46 | 2.05 | 23.02 | 15.76 | 104.57
BLNK CHCK 8 | C8 | 2019-08-22 11:57 | 21.9205 | b.d.l. | 0.023599 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 22073.11 | 0.33 | 1.41 | 1.06 | 1.71 | 4.21 | 50.86 | 1.04 | 3.68 | 0.68 | 0.8
75ABK7 | 64 | 2019-08-22 11:59 | 7.8203 | b.d.l. | 0.024283 | 1.2982 | 39.5468 | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 23958.81 | 1.83 | 2.27 | 0.69 | 2.39 | 1.7 | 0.73 | 1.27 | 3.09 | 1.79 | 1.25
180ABK7 | 65 | 2019-08-22 12:01 | 13.3899 | b.d.l. | 0.024659 | 3.0481 | 23.3179 | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 23579.06 | 5.83 | 4.14 | 3.6 | 5.45 | 3.85 | 2.84 | 1.4 | 4.58 | 0.82 | 1.1
315ABK7 | 66 | 2019-08-22 12:03 | 11.7041 | b.d.l. | 0.035633 | 2.2716 | 49.7036 | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 21658.95 | 0.76 | 1.2 | 0.83 | 1.12 | 0.72 | 1.18 | 0.96 | 3.96 | 0.96 | 6.7
15BBK7 | 67 | 2019-08-22 12:05 | 47.3864 | 0.12472 | 0.032873 | 1.3819 | 556.574 | b.d.l. | b.d.l. | 1.7426 | 41.5686 |  | 18950.23 | 2.75 | 1.48 | 2.39 | 2.45 | 2.84 | 10.49 | 6.96 | 39.58 | 0.67 | 1.85
45BBK7 | 68 | 2019-08-22 12:07 | 15.3944 | b.d.l. | 0.033944 | 1.5353 | 88.5713 | b.d.l. | b.d.l. | b.d.l. | 1.7146 |  | 22588.34 | 5.26 | 2.03 | 152.23 | 1.85 | 2.97 | 7.65 | 2.07 | 3.64 | 3.59 | 1.86
75BBK7 | 69 | 2019-08-22 12:09 | 7.479 | b.d.l. | 0.024154 | 1.4257 | 37.8989 | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 23008.78 | 7.8 | 3.69 | 2.69 | 4.72 | 3.29 | 3.28 | 1.54 | 4.87 | 0.29 | 5.48
180BBK7 | 70 | 2019-08-22 12:11 | 13.0709 | b.d.l. | 0.017446 | 2.9107 | 25.1414 | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 25686.57 | 6.34 | 6.9 | 7.7 | 5.83 | 5.58 | 4.38 | 2.06 | 2.53 | 0.92 | 1.21
315BBK7 | 71 | 2019-08-22 12:13 | 10.0634 | b.d.l. | 0.030546 | 2.1299 | 46.8135 | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 25063.66 | 7.14 | 3.61 | 1.96 | 5.24 | 3.95 | 3.84 | 1.96 | 12.08 | 1 | 2.21
DBK7A | 72 | 2019-08-22 12:15 | 61.0906 | 20.7621 | 6.107 | 3.3436 | 138.1623 | 595.1743 | 99.5081 | 5.2447 | 14.4184 |  | 17262.2 | 0.24 | 1.16 | 1.89 | 1.46 | 1.04 | 4.29 | 0.31 | 0.78 | 1.75 | 3.27
DBK7B | 73 | 2019-08-22 12:17 | 23.529 | 66.6609 | 0.03709 | 0.85725 | 61.4207 | 264.9466 | 1.6257 | b.d.l. | b.d.l. |  | 17328.32 | 2.41 | 1.15 | 1.02 | 0.53 | 0.93 | 1.15 | 1.37 | 8.38 | 4.08 | 0.13
BLNK CHCK 9 | C9 | 2019-08-22 12:19 | b.d.l. | b.d.l. | 0.025389 | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. | b.d.l. |  | 20235.15 | 2.12 | 0.95 | 520.55 | 1.65 | 3.1 | 10.03 | 13.58 | 4.7 | 0.63 | 0.41
Sample Preparation
0.5 mL of concentrated, trace metal grade Nitric Acid was added to 9.5 mL of sample
All standards and samples were then spiked with 0.1 mL of a 100 ppm Rh spike
BLNK CHCK = | dilution blank of millipore water prepared in the same method as the samples.
Standard Used
IV-26 (Inorganic Ventures; Lot# N2-MEB667496) |  |  | Concentration Na: Diluted Standard Calibration Curve
| Element | Stock Solution | SS1 | SS2 | SS3 | SS4 | SS5 | SS6 | SS7 | SS8 | SS9 | SS10 | SS11 | SS12
|  | ug/mL | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L | ug/L
| K | 1000 | 0 | 10 | 20 | 50 | 100 | 200 | 500 | 1000 | 5000 | 10000 | 50000 | 100000
| Si | 50 | 0 | 0.5 | 1 | 2.5 | 5 | 10 | 25 | 50 | 250 | 500 | 2500 | 5000
| all others | 100 | 0 | 1 | 2 | 5 | 10 | 20 | 50 | 100 | 500 | 1000 | 5000 | 10000

## Sheet1
Sample No. | Class | Sample Name | Date/Time | Al 27 | Ca 43 | Cd 111 | K 39 | Mg 24 | Na 23 | Pb 208 | Si 28 | Zn 64 | Rh 103 (DBN) Int-Std Average
1 | CAL1 | SS1 | 2019-08-22 09:07 | 1.2778 | 0.096133 | 0.0001996 | 25.2019 | 3.402 | 62.4132 | 0.01274 | 2.8613 | 0.45385 | 17823.51
2 | CAL2 | SS2 | 2019-08-22 09:09 | 0.65578 | 0.098445 | 0.049125 | 27.2118 | 3.6262 | 64.6993 | 0.28708 | 2.7645 | 0.42326 | 18690.96
3 | CAL3 | SS3 | 2019-08-22 09:11 | 0.77541 | 0.1011 | 0.076884 | 31.3014 | 3.8114 | 66.2817 | 0.45099 | 2.6574 | 0.57394 | 18994.14
4 | CAL4 | SS4 | 2019-08-22 09:14 | 1.0687 | 0.099438 | 0.20235 | 32.7984 | 4.0029 | 66.5411 | 1.0972 | 2.873 | 0.6885 | 19144.85
5 | CAL5 | SS5 | 2019-08-22 09:16 | 1.7048 | 0.10751 | 0.40724 | 41.9602 | 4.7222 | 71.2495 | 2.2504 | 3.1571 | 1.1029 | 18829.13
6 | CAL6 | SS6 | 2019-08-22 09:18 | 2.6895 | 0.10582 | 0.78868 | 53.0447 | 5.4826 | 69.7592 | 4.1133 | 3.3971 | 1.7342 | 19578.88
7 | CAL7 | SS7 | 2019-08-22 09:20 | 5.9823 | 0.11726 | 1.964 | 94.8681 | 8.3044 | 75.5161 | 9.8102 | 4.5267 | 3.889 | 19546.91
8 | CAL8 | SS8 | 2019-08-22 09:22 | 11.5202 | 0.13423 | 3.9305 | 161.4147 | 12.5377 | 82.025 | 24.7724 | 5.9111 | 7.1393 | 20245.87
9 | CAL9 | SS9 | 2019-08-22 09:25 | 55.0593 | 0.26603 | 16.6537 | 678.3491 | 47.4189 | 131.053 | 122.5223 | 17.0899 | 38.292 | 19650.93
10 | CAL10 | SS10 | 2019-08-22 09:27 | 111.9583 | 0.44018 | 39.1839 | 1354.906 | 93.9321 | 193.0359 | 245.2025 | 32.0922 | 76.3958 | 18713.7

## Analysis
Sample Data |  |  | Dilution | [6 empty] | Metals Data | [8 empty] | Multiplied by dilution factor (ppb) | [8 empty] | Multiplied by dilution factor (ppm) | [8 empty] | 1000
ID | Time (min) | pH | date/time filtered | Volume sample (ml) | Volume DI-water (ml) | Volume nitric (ml) | wenjie/lab tech dilution | Wallace Dilution Factor | Total Dilution Factor | Cadmium (Cd) (ppb) | Lead (Pb) | Zinc (Zn) | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium (Cd) | Lead (Pb) | Zinc (Zn) | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium (Cd) | Lead (Pb) | Zinc (Zn) | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si)
30A278 |  | 7.99 |  | 24.753 | 91.631 | 0.3 | 1 | 4.7139 | 4.7139 | 0.55808 | 0.41596 | 1.803 | 1.5488 | 5.7922 | 0.075741 | 4.4837 | 11.812 | 6.7403 | 2.6307 | 1.9608 | 8.4992 | 7.3007 | 27.3039 | 0.35704 | 21.1359 | 55.6808 | 31.7731 | 0.0026307 | 0.0019608 | 0.0084992
45A278 |  |  |  | 13.415 | 84.849 | 0.3 | 1 | 7.3473 | 7.3473 | 0.24393 | 0 | 0.45896 | 1.1364 | 7.7447 | 0.035577 | 2.1253 | 9.7354 | 9.4688 | 1.7922 | 0 | 3.3721 | 8.3492 | 56.9023 | 0.2614 | 15.6156 | 71.5287 | 69.5704 | 0.0017922 | 0 | 0.0033721
60A278 |  |  |  | 13.386 | 75.121 | 0.3 | 1 | 6.6343 | 6.6343 | 0.057409 | 0 | 0 | 2.3943 | 10.2341 | 0.02548 | 2.2617 | 11.0074 | 12.6088 | 0.38087 | 0 | 0 | 15.8847 | 67.8962 | 0.16904 | 15.0047 | 73.0266 | 83.6506 | 0.00038087 | 0 | 0
75A278 |  |  |  | 13.409 | 85.47 | 0.3 | 1 | 7.3965 | 7.3965 | 0 | 0 | 0 | 4.6213 | 9.6651 | 0.023054 | 2.0905 | 9.9819 | 11.8338 | 0 | 0 | 0 | 34.1815 | 71.4875 | 0.17052 | 15.4624 | 73.8305 | 87.5282 | 0 | 0 | 0
90A278 |  | 8.16 |  | 13.249 | 74.283 | 0.3 | 1 | 6.6293 | 6.6293 | 0.091406 | 0 | 0 | 8.8618 | 10.3448 | 0.036858 | 2.4805 | 13.2545 | 13.1071 | 0.60596 | 0 | 0 | 58.7481 | 68.5794 | 0.24434 | 16.4439 | 87.8683 | 86.8914 | 0.00060596 | 0 | 0
135A278 |  |  |  | 40.842 | 57.982 | 0.3 | 3 | 2.427 | 7.281 | 0 | 0 | 0 | 12.4416 | 7.4008 | 0.033166 | 2.0453 | 9.2035 | 9.9221 | 0 | 0 | 0 | 90.5874 | 53.8856 | 0.24148 | 14.8916 | 67.011 | 72.2431 | 0 | 0 | 0
180A278 |  |  |  | 36.854 | 64.897 | 0.3 | 3 | 2.7691 | 8.3072 | 0 | 0 | 0 | 16.9215 | 5.5687 | 0.03972 | 1.9004 | 7.6844 | 7.7017 | 0 | 0 | 0 | 140.57 | 46.2602 | 0.32996 | 15.7872 | 63.8358 | 63.9795 | 0 | 0 | 0
225A278 |  |  |  | 33.055 | 64.953 | 0.3 | 3 | 2.9741 | 8.9222 | 0 | 0 | 0 | 18.9836 | 4.7119 | 0.042245 | 1.7934 | 6.671 | 6.6013 | 0 | 0 | 0 | 169.3755 | 42.0403 | 0.37692 | 16.0008 | 59.5197 | 58.8984 | 0 | 0 | 0
270A278 |  |  |  | 40.716 | 57.588 | 0.3 | 3 | 2.4218 | 7.2653 | 0 | 0 | 0 | 25.1345 | 5.1158 | 0.027784 | 2.1496 | 7.179 | 7.6316 | 0 | 0 | 0 | 182.6087 | 37.1673 | 0.20186 | 15.6174 | 52.1572 | 55.4452 | 0 | 0 | 0
315A278 |  | 8.3 |  | 39.775 | 54.244 | 0.3 | 3 | 2.3713 | 7.1139 | 0 | 0 | 0 | 26.398 | 4.8652 | 0.031735 | 2.1375 | 6.7314 | 7.0019 | 0 | 0 | 0 | 187.7938 | 34.6108 | 0.22576 | 15.2057 | 47.8868 | 49.8109 | 0 | 0 | 0
15B278 |  | 8.08 |  | 13.891 | 82.019 | 0.3 | 1 | 6.9261 | 6.9261 | 0.033645 | 0 | 0 | 0.38988 | 1.4918 | 0.028128 | 2.3302 | 4.1282 | 1.6875 | 0.23302 | 0 | 0 | 2.7004 | 10.3324 | 0.19482 | 16.1393 | 28.5925 | 11.6877 | 0.00023302 | 0 | 0
30B278 |  |  |  | 14.25 | 82.784 | 0.3 | 1 | 6.8305 | 6.8305 | 0.37779 | 0 | 0 | 0.94619 | 5.0348 | 0.025606 | 2.2231 | 7.5725 | 6.2858 | 2.5805 | 0 | 0 | 6.4629 | 34.3897 | 0.1749 | 15.185 | 51.7237 | 42.9347 | 0.0025805 | 0 | 0
45B278 |  |  |  | 14.412 | 83 | 0.3 | 1 | 6.7799 | 6.7799 | 0.60822 | 0 | 0 | 1.6132 | 8.5943 | 0.036391 | 2.2506 | 9.6085 | 10.9729 | 4.1237 | 0 | 0 | 10.9375 | 58.2686 | 0.24673 | 15.2587 | 65.1449 | 74.3953 | 0.0041237 | 0 | 0
60B278 |  |  |  | 14.399 | 82.948 | 0.3 | 1 | 6.7815 | 6.7815 | 0.71196 | 0 | 0 | 3.8099 | 10.3017 | 0.04234 | 2.3463 | 10.2284 | 13.0076 | 4.8282 | 0 | 0 | 25.8371 | 69.8614 | 0.28713 | 15.9118 | 69.364 | 88.2109 | 0.0048282 | 0 | 0
75B278 |  |  |  | 14.648 | 80.738 | 0.3 | 1 | 6.5324 | 6.5324 | 0.61298 | 0 | 1.6778 | 7.8711 | 10.5636 | 0.041361 | 2.4678 | 11.0866 | 14.1657 | 4.0042 | 0 | 10.9597 | 51.4168 | 69.0053 | 0.27018 | 16.1203 | 72.4213 | 92.5353 | 0.0040042 | 0 | 0.01096
90B278 |  | 8.13 |  | 14.3 | 82.467 | 0.3 | 1 | 6.7879 | 6.7879 | 0.43348 | 0 | 0 | 11.5723 | 9.395 | 0.042324 | 2.3558 | 10.6907 | 12.8025 | 2.9424 | 0 | 0 | 78.5519 | 63.7726 | 0.28729 | 15.9911 | 72.5673 | 86.902 | 0.0029424 | 0 | 0
135B278 |  |  |  | 42.914 | 54.324 | 0.3 | 3 | 2.2729 | 6.8186 | 0.32533 | 0 | 0 | 17.176 | 7.6885 | 0.040225 | 2.2236 | 9.8737 | 10.9665 | 2.2183 | 0 | 0 | 117.1162 | 52.4246 | 0.27428 | 15.1617 | 67.3251 | 74.7766 | 0.0022183 | 0 | 0
180B278 |  |  |  | 33.906 | 67.425 | 0.3 | 3 | 2.9974 | 8.9923 | 0.069285 | 0 | 1.8919 | 17.5248 | 4.919 | 0.0553 | 1.6953 | 6.5243 | 6.9239 | 0.62303 | 0 | 17.0128 | 157.5882 | 44.2333 | 0.49728 | 15.2443 | 58.6685 | 62.2614 | 0.00062303 | 0 | 0.017013
225B278 |  |  |  | 43.074 | 57.567 | 0.3 | 3 | 2.3434 | 7.0303 | 0.087028 | 0 | 0 | 24.0346 | 5.4133 | 0.038638 | 2.0939 | 7.4087 | 8.048 | 0.61183 | 0 | 0 | 168.9703 | 38.0572 | 0.27163 | 14.7211 | 52.0853 | 56.5798 | 0.00061183 | 0 | 0
270B278 |  |  |  | 42.06 | 49.104 | 0.3 | 3 | 2.1746 | 6.5238 | 0.123 | 0 | 0 | 29.5795 | 5.7112 | 0.038445 | 2.3723 | 7.4781 | 8.9028 | 0.80241 | 0 | 0 | 192.9716 | 37.2589 | 0.25081 | 15.4763 | 48.786 | 58.08 | 0.00080241 | 0 | 0
315B278 |  | 8.33 |  | 41.288 | 61.911 | 0.3 | 3 | 2.5068 | 7.5203 | 0.081276 | 0 | 0 | 24.5246 | 4.4319 | 0.037828 | 1.9603 | 5.8543 | 7.3483 | 0.61122 | 0 | 0 | 184.4319 | 33.3291 | 0.28448 | 14.7418 | 44.0261 | 55.2613 | 0.00061122 | 0 | 0
C2R1A78 |  | 8.38 |  | 19.84 | 81.295 | 0.3 | 1 | 5.1127 | 5.1127 | 29.7416 | 11.5186 | 6.616 | 38.7496 | 6.9111 | 0.038242 | 3.1254 | 10.6836 | 10.2284 | 152.0582 | 58.8906 | 33.8251 | 198.1131 | 35.3339 | 0.19552 | 15.9791 | 54.6214 | 52.2945 | 0.15206 | 0.058891 | 0.033825
C2R2A78 |  |  |  | 19.595 | 75.986 | 0.3 | 1 | 4.8931 | 4.8931 | 2.7594 | 3.316 | 1.2724 | 35.9681 | 5.7962 | 0.048678 | 3.2732 | 9.3984 | 8.6607 | 13.5021 | 16.2255 | 6.2259 | 175.9969 | 28.3614 | 0.23819 | 16.016 | 45.9877 | 42.3781 | 0.013502 | 0.016226 | 0.0062259
C2R3A78 |  | 8.33 |  | 19.522 | 77.791 | 0.3 | 1 | 5.0002 | 5.0002 | 0.71824 | 2.022 | 2.7938 | 33.4626 | 4.8821 | 0.046473 | 3.3488 | 10.8682 | 7.0545 | 3.5913 | 10.1104 | 13.9693 | 167.3182 | 24.4112 | 0.23237 | 16.7446 | 54.3428 | 35.2736 | 0.0035913 | 0.01011 | 0.013969
C2R1B78 |  | 8.3 |  | 20.695 | 79.521 | 0.3 | 1 | 4.857 | 4.857 | 38.1808 | 2.9339 | 13.1132 | 40.922 | 7.3107 | 0.04609 | 3.158 | 12.5155 | 11.3272 | 185.4449 | 14.2499 | 63.6912 | 198.7591 | 35.5081 | 0.22386 | 15.3386 | 60.788 | 55.0163 | 0.18544 | 0.01425 | 0.063691
C2R2B78 |  |  |  | 22.467 | 68.849 | 0.3 | 1 | 4.0778 | 4.0778 | 10.4422 | 1.8903 | 1.2555 | 42.4508 | 6.7371 | 0.037224 | 3.8779 | 10.5795 | 10.5947 | 42.5811 | 7.7081 | 5.1198 | 173.1061 | 27.4725 | 0.15179 | 15.8132 | 43.141 | 43.2033 | 0.042581 | 0.0077081 | 0.0051198
C2R3B78 |  | 8.37 |  | 20.969 | 74.443 | 0.3 | 1 | 4.5645 | 4.5645 | 3.8557 | 1.2667 | 0 | 36.9211 | 5.3183 | 0.039568 | 3.6122 | 8.4846 | 8.0081 | 17.5991 | 5.7816 | 0 | 168.5246 | 24.2749 | 0.18061 | 16.4877 | 38.7275 | 36.5528 | 0.017599 | 0.0057816 | 0
D278A |  | <1.5 |  | 12.64 | 90.505 | 0.3 | 100 | 8.1839 | 818.394 | 669.3106 | 593.6244 | 350.0601 | 0.14337 | 5.3758 | 0.62937 | 0.15415 | 1.1497 | 8.0515 | 547759.7611 | 485818.6489 | 286487.103 | 117.3342 | 4399.4886 | 515.0732 | 126.1547 | 940.8683 | 6589.2655 | 547.7598 | 485.8186 | 286.4871
D278B |  | <1.5 |  | 11.916 | 89.721 | 0.3 | 100 | 8.5546 | 855.4632 | 613.6439 | 842.7445 | 362.4852 | 0 | 4.9967 | 0.63827 | 0.14007 | 1.0313 | 7.5467 | 524949.8353 | 720936.9385 | 310092.7531 | 0 | 4274.5035 | 546.014 | 119.8223 | 882.2003 | 6455.9159 | 524.9498 | 720.9369 | 310.0928
C2DRA78 |  | 7.79 |  |  | 99.954 | 0.3 | 5 | 1 | 5 | 7.439 | 0.68434 | 3.3633 | 3.4308 | 15.1596 | 0.041097 | 4.5609 | 5.3754 | 25.154 | 37.195 | 3.4217 | 16.8167 | 17.1542 | 75.7979 | 0.20549 | 22.8044 | 26.8771 | 125.7699 | 0.037195 | 0.0034217 | 0.016817
C2DRB78 |  | 7.92 |  |  | 104.817 | 0.3 | 5 | 1 | 5 | 9.4231 | 0.78468 | 1.6417 | 4.9021 | 21.6993 | 0.028918 | 4.7479 | 6.8092 | 35.3444 | 47.1154 | 3.9234 | 8.2084 | 24.5103 | 108.4966 | 0.14459 | 23.7396 | 34.0461 | 176.7218 | 0.047115 | 0.0039234 | 0.0082084
15A378 |  | 7.86 |  | 13.068 | 78.716 | 0.3 | 1 | 7.0465 | 7.0465 | 0.044049 | 0 | 0.9234 | 0 | 2.0376 | 0.038848 | 3.0605 | 6.1657 | 3.5974 | 0.31039 | 0 | 6.5067 | 0 | 14.358 | 0.27374 | 21.5662 | 43.447 | 25.3489 | 0.00031039 | 0 | 0.0065067
30A378 |  |  |  | 13.097 | 78.638 | 0.3 | 1 | 7.0272 | 7.0272 | 0.040716 | 0 | 0 | 0.57629 | 4.8232 | 0.047866 | 3.2388 | 2.0741 | 8.6268 | 0.28612 | 0 | 0 | 4.0497 | 33.8937 | 0.33636 | 22.7595 | 14.5753 | 60.6221 | 0.00028612 | 0 | 0
45A378 |  |  |  | 13.161 | 84.791 | 0.3 | 1 | 7.4654 | 7.4654 | 0.44634 | 0 | 0.29713 | 2.8938 | 6.8364 | 0.04365 | 3.0547 | 2.6848 | 12.3884 | 3.3321 | 0 | 2.2182 | 21.6037 | 51.0363 | 0.32587 | 22.8042 | 20.0434 | 92.4841 | 0.0033321 | 0 | 0.0022182
60A378 |  |  |  | 13.092 | 86.129 | 0.3 | 1 | 7.6017 | 7.6017 | 0 | 0 | 0 | 6.5938 | 6.8112 | 0.036248 | 2.8114 | 2.9019 | 12.8045 | 0 | 0 | 0 | 50.1235 | 51.7762 | 0.27555 | 21.3717 | 22.0595 | 97.3359 | 0 | 0 | 0
75A378 |  |  |  | 13.064 | 88.05 | 0.3 | 1 | 7.7629 | 7.7629 | 0 | 0 | 1.3704 | 10.5187 | 6.6566 | 0.046979 | 2.7678 | 3.1775 | 12.6525 | 0 | 0 | 10.6382 | 81.6553 | 51.6739 | 0.36469 | 21.4861 | 24.6666 | 98.2199 | 0 | 0 | 0.010638
90A378 |  | 7.58 |  | 12.865 | 81.479 | 0.3 | 1 | 7.3567 | 7.3567 | 0 | 0 | 0.0015262 | 14.6268 | 6.7453 | 0.044854 | 2.8884 | 4.3343 | 12.7617 | 0 | 0 | 0.011228 | 107.605 | 49.6228 | 0.32998 | 21.2491 | 31.8863 | 93.884 | 0 | 0 | 1.1228e-05
135A378 |  |  |  | 40.085 | 64.39 | 0.3 | 3 | 2.6138 | 7.8415 | 0 | 0 | 0.064292 | 17.6544 | 5.576 | 0.038645 | 2.5899 | 3.272 | 10.6507 | 0 | 0 | 0.50414 | 138.4364 | 43.7243 | 0.30304 | 20.3084 | 25.6571 | 83.5172 | 0 | 0 | 0.00050414
180A378 |  |  |  | 40.051 | 55.377 | 0.3 | 3 | 2.3902 | 7.1705 | 0 | 0 | 0 | 24.1347 | 5.5727 | 0.039056 | 2.8411 | 3.5803 | 10.8598 | 0 | 0 | 0 | 173.0571 | 39.9592 | 0.28005 | 20.3722 | 25.6725 | 77.8699 | 0 | 0 | 0
225A378 |  |  |  | 39.731 | 63.853 | 0.3 | 3 | 2.6147 | 7.8441 | 0.024646 | 0 | 0 | 23.6404 | 4.6189 | 0.046032 | 2.5058 | 3.0305 | 9.2055 | 0.19333 | 0 | 0 | 185.4367 | 36.2307 | 0.36108 | 19.6557 | 23.7711 | 72.2086 | 0.00019333 | 0 | 0
270A378 |  |  |  | 39.182 | 62.895 | 0.3 | 3 | 2.6129 | 7.8386 | 0.069247 | 0 | 0.49592 | 24.5142 | 4.365 | 0.030527 | 2.373 | 2.7864 | 8.388 | 0.5428 | 0 | 3.8873 | 192.156 | 34.215 | 0.23929 | 18.6011 | 21.8418 | 65.75 | 0.0005428 | 0 | 0.0038873
315A378 |  | 7.62 |  | 39.029 | 55.566 | 0.3 | 3 | 2.4314 | 7.2942 | 0 | 0 | 0.43732 | 26.2214 | 4.3723 | 0.051568 | 2.4421 | 3.8578 | 9.0466 | 0 | 0 | 3.1899 | 191.2637 | 31.8922 | 0.37615 | 17.8134 | 28.1394 | 65.9873 | 0 | 0 | 0.0031899
15B378 |  | 7.9 |  | 14.053 | 87.319 | 0.3 | 1 | 7.2349 | 7.2349 | 7.6267 | 8.1901 | 5.7771 | 0 | 2.1203 | 0.044444 | 3.0397 | 1.5608 | 3.6862 | 55.1783 | 59.2546 | 41.7967 | 0 | 15.3398 | 0.32155 | 21.9919 | 11.2919 | 26.6691 | 0.055178 | 0.059255 | 0.041797
30B378 |  |  |  | 14.071 | 81.843 | 0.3 | 1 | 6.8378 | 6.8378 | 1.0215 | 0 | 0.34853 | 1.031 | 4.5751 | 0.043663 | 3.1674 | 2.1576 | 8.468 | 6.9846 | 0 | 2.3831 | 7.05 | 31.2831 | 0.29856 | 21.6576 | 14.7528 | 57.9023 | 0.0069846 | 0 | 0.0023831
45B378 |  |  |  | 14.085 | 83.302 | 0.3 | 1 | 6.9355 | 6.9355 | 1.0487 | 0 | 1.1649 | 4.1234 | 6.8085 | 0.048736 | 3.2474 | 2.9285 | 12.4887 | 7.2733 | 0 | 8.0793 | 28.5981 | 47.2208 | 0.33801 | 22.5227 | 20.311 | 86.616 | 0.0072733 | 0 | 0.0080793
60B378 |  |  |  | 13.71 | 88.561 | 0.3 | 1 | 7.4815 | 7.4815 | 0.66044 | 0 | 0 | 7.2937 | 6.3904 | 0.025274 | 2.7239 | 2.9824 | 11.8084 | 4.9411 | 0 | 0 | 54.5674 | 47.8095 | 0.18909 | 20.3784 | 22.3127 | 88.344 | 0.0049411 | 0 | 0
75B378 |  |  |  | 14.184 | 82.43 | 0.3 | 1 | 6.8326 | 6.8326 | 0.87576 | 0 | 0 | 13.306 | 7.8004 | 0.037614 | 3.3212 | 3.8101 | 14.3404 | 5.9837 | 0 | 0 | 90.9151 | 53.2974 | 0.25701 | 22.6927 | 26.0332 | 97.9824 | 0.0059837 | 0 | 0
90B378 |  | 7.54 |  | 14.042 | 78.041 | 0.3 | 1 | 6.579 | 6.579 | 0.90255 | 0 | 0 | 16.8808 | 7.6186 | 0.035792 | 3.3703 | 4.1419 | 14.2774 | 5.9379 | 0 | 0 | 111.0596 | 50.1231 | 0.23548 | 22.1731 | 27.2495 | 93.9317 | 0.0059379 | 0 | 0
135B378 |  |  |  | 40.367 | 52.878 | 0.3 | 3 | 2.3174 | 6.9521 | 0.6435 | 0 | 0 | 19.7672 | 6.2737 | 0.040846 | 2.8999 | 3.706 | 11.7562 | 4.4736 | 0 | 0 | 137.4234 | 43.6153 | 0.28396 | 20.1603 | 25.7644 | 81.7302 | 0.0044736 | 0 | 0
180B378 |  |  |  | 42.601 | 58.355 | 0.3 | 3 | 2.3768 | 7.1305 | 0.5157 | 0 | 0 | 24.4557 | 5.77 | 0.045325 | 2.8878 | 3.5949 | 10.8116 | 3.6772 | 0 | 0 | 174.3819 | 41.1433 | 0.32319 | 20.5916 | 25.6339 | 77.0923 | 0.0036772 | 0 | 0
225B378 |  |  |  | 42.479 | 58.931 | 0.3 | 3 | 2.3944 | 7.1831 | 0.65012 | 0 | 0 | 24.8706 | 4.9653 | 0.015028 | 2.6249 | 3.2407 | 9.8746 | 4.6699 | 0 | 0 | 178.6472 | 35.666 | 0.10795 | 18.8552 | 23.2785 | 70.9297 | 0.0046699 | 0 | 0
270B378 |  |  |  | 42.791 | 47.772 | 0.3 | 3 | 2.1234 | 6.3702 | 0.98586 | 0 | 0 | 28.9961 | 5.274 | 0.012146 | 2.8907 | 3.4777 | 10.8868 | 6.2802 | 0 | 0 | 184.7119 | 33.5968 | 0.077374 | 18.4148 | 22.1536 | 69.3516 | 0.0062802 | 0 | 0
315B378 |  | 7.61 |  | 42.059 | 53.034 | 0.3 | 3 | 2.2681 | 6.8042 | 0.66172 | 0 | 0 | 28.7338 | 4.9491 | 0.032237 | 2.8529 | 3.2871 | 9.9127 | 4.5025 | 0 | 0 | 195.5115 | 33.6746 | 0.21935 | 19.4118 | 22.3661 | 67.4482 | 0.0045025 | 0 | 0
C3R1A78 |  | 7.69 |  | 19.858 | 77.347 | 0.3 | 1 | 4.9101 | 4.9101 | 49.94 | 4.8104 | 13.2731 | 41.5529 | 8.2561 | 0.031774 | 4.5396 | 4.9978 | 15.7951 | 245.2108 | 23.6196 | 65.1723 | 204.0294 | 40.5383 | 0.15602 | 22.2902 | 24.5396 | 77.5558 | 0.24521 | 0.02362 | 0.065172
C3R2A78 |  |  |  | 19.401 | 73.964 | 0.3 | 1 | 4.8278 | 4.8278 | 2.818 | 2.172 | 0.57726 | 37.6667 | 6.6422 | 0.039619 | 4.6598 | 4.6772 | 12.8306 | 13.605 | 10.4862 | 2.7869 | 181.8488 | 32.0673 | 0.19128 | 22.4968 | 22.5808 | 61.9443 | 0.013605 | 0.010486 | 0.0027869
C3R3A78 |  | 7.74 |  | 18.907 | 77.282 | 0.3 | 1 | 5.1033 | 5.1033 | 1.3503 | 0.71428 | 0.34932 | 30.7117 | 4.7843 | 0.039077 | 3.9877 | 11.0511 | 9.8911 | 6.8912 | 3.6452 | 1.7827 | 156.7327 | 24.4158 | 0.19942 | 20.3505 | 56.3978 | 50.4779 | 0.0068912 | 0.0036452 | 0.0017827
C3R1B78 |  | 7.54 |  | 19.202 | 72.785 | 0.3 | 1 | 4.8061 | 4.8061 | 149.9191 | 2.0503 | 40.9279 | 35.6536 | 7.0485 | 0.024389 | 4.1815 | 7.6744 | 14.3271 | 720.5281 | 9.8538 | 196.7041 | 171.3551 | 33.876 | 0.11722 | 20.0966 | 36.8843 | 68.8577 | 0.72053 | 0.0098538 | 0.1967
C3R2B78 |  |  |  | 20.741 | 77.393 | 0.3 | 1 | 4.7459 | 4.7459 | 16.1392 | 2.4535 | 3.1755 | 37.4272 | 6.4215 | 0.030464 | 4.641 | 4.3292 | 12.8075 | 76.5943 | 11.6438 | 15.0703 | 177.6243 | 30.4753 | 0.14458 | 22.0256 | 20.5456 | 60.7827 | 0.076594 | 0.011644 | 0
C3R3B78 |  | 7.79 |  | 21.928 | 73.177 | 0.3 | 1 | 4.3508 | 4.3508 | 8.7693 | 1.1956 | 1.063 | 37.9731 | 5.6147 | 0.034296 | 4.8554 | 4.5007 | 11.2021 | 38.1538 | 5.2016 | 4.6248 | 165.2144 | 24.4285 | 0.14922 | 21.1251 | 19.5818 | 48.7384 | 0.038154 | 0.0052016 | 0.0046248
D378A |  | <1.5 | multiply final conc by 2 | 12.43 | 84.252 | 0.3 | 5 | 7.8023 | 39.0113 | 6163.8557 | 109.3418 | 2332.9265 | 11.2748 | 87.7335 | 0.070396 | 3.4971 | 23.0326 | 520.723 | 240459.7954 | 4265.5611 | 91010.4094 | 439.8454 | 3422.5961 | 2.7462 | 136.4274 | 898.5316 | 20314.0612 | 240.4598 | 4.2656 | 91.0104
D378B |  | <1.5 | multiply final conc by 2 | 12.472 | 88.701 | 0.3 | 5 | 8.1361 | 40.6803 | 6686.6035 | 70.8188 | 2436.9342 | 11.0562 | 87.1408 | 0.057126 | 2.1327 | 22.7771 | 489.8016 | 272013.196 | 2880.93 | 99135.2726 | 449.7697 | 3544.9173 | 2.3239 | 86.7584 | 926.5799 | 19925.2891 | 272.0132 | 2.8809 | 99.1353
15ABK7 |  | 10.45 |  | 12.929 | 83.158 | 0.3 | 4 | 7.4551 | 29.8204 | 5.3065 | 6.6403 | 0 | 2.1316 | 0.083545 | 0.021034 | 0.64652 | 434.0983 | 0 | 158.2405 | 198.0175 | 0 | 63.5661 | 2.4914 | 0.62725 | 19.2795 | 12944.9863 | 0 | 0.15824 | 0.19802 | 0
45ABK7 |  |  |  | 12.931 | 85.003 | 0.3 | 4 | 7.5968 | 30.3871 | 0 | 0 | 0.23865 | 15.0278 | 0.045592 | 0.040191 | 1.1093 | 90.2583 | 0 | 0 | 0 | 7.2518 | 456.6532 | 1.3854 | 1.2213 | 33.7094 | 2742.6895 | 0 | 0 | 0 | 0.0072518
75ABK7 |  |  |  | 12.768 | 81.539 | 0.3 | 4 | 7.4097 | 29.6388 | 0 | 0 | 0 | 7.8203 | 0 | 0.024283 | 1.2982 | 39.5468 | 0 | 0 | 0 | 0 | 231.7841 | 0 | 0.71972 | 38.4758 | 1172.1202 | 0 | 0 | 0 | 0
180ABK7 |  |  |  | 38.893 | 60.285 | 0.3 | 4 | 2.5577 | 10.2309 | 0 | 0 | 0 | 13.3899 | 0 | 0.024659 | 3.0481 | 23.3179 | 0 | 0 | 0 | 0 | 136.9912 | 0 | 0.25228 | 31.1845 | 238.5637 | 0 | 0 | 0 | 0
315ABK7 |  | 10.54 |  | 39.174 | 55.162 | 0.3 | 4 | 2.4158 | 9.6631 | 0 | 0 | 0 | 11.7041 | 0 | 0.035633 | 2.2716 | 49.7036 | 0 | 0 | 0 | 0 | 113.0988 | 0 | 0.34433 | 21.9511 | 480.2934 | 0 | 0 | 0 | 0
15BBK7 |  | 10.45 |  | 15.394 | 69.887 | 0.3 | 4 | 5.5594 | 22.2375 | 1.7426 | 41.5686 | 0 | 47.3864 | 0.12472 | 0.032873 | 1.3819 | 556.574 | 0 | 38.7522 | 924.3813 | 0 | 1053.7554 | 2.7735 | 0.73102 | 30.7294 | 12376.8123 | 0 | 0.038752 | 0.92438 | 0
45BBK7 |  |  |  | 13.945 | 75.313 | 0.3 | 4 | 6.4222 | 25.6889 | 0 | 1.7146 | 0 | 15.3944 | 0 | 0.033944 | 1.5353 | 88.5713 | 0 | 0 | 44.0471 | 0 | 395.4656 | 0 | 0.87199 | 39.44 | 2275.3009 | 0 | 0 | 0.044047 | 0
75BBK7 |  |  |  | 15.163 | 87.363 | 0.3 | 4 | 6.7814 | 27.1255 | 0 | 0 | 0 | 7.479 | 0 | 0.024154 | 1.4257 | 37.8989 | 0 | 0 | 0 | 0 | 202.8711 | 0 | 0.65519 | 38.6728 | 1028.0274 | 0 | 0 | 0 | 0
180BBK7 |  |  |  | 43.574 | 50.752 | 0.3 | 4 | 2.1716 | 8.6865 | 0 | 0 | 0 | 13.0709 | 0 | 0.017446 | 2.9107 | 25.1414 | 0 | 0 | 0 | 0 | 113.5397 | 0 | 0.15154 | 25.2841 | 218.3903 | 0 | 0 | 0 | 0
315BBK7 |  | 10.43 |  | 38.493 | 53.98 | 0.3 | 4 | 2.4101 | 9.6405 | 0 | 0 | 0 | 10.0634 | 0 | 0.030546 | 2.1299 | 46.8135 | 0 | 0 | 0 | 0 | 97.0161 | 0 | 0.29448 | 20.5334 | 451.3058 | 0 | 0 | 0 | 0
DBK7A |  | <1.5 |  | 17.281 | 84.389 | 0.3 | 4 | 5.9007 | 23.6028 | 5.2447 | 14.4184 | 99.5081 | 61.0906 | 20.7621 | 6.107 | 3.3436 | 138.1623 | 595.1743 | 123.7895 | 340.3136 | 2348.6702 | 1441.9082 | 490.0427 | 144.1417 | 78.9191 | 3261.0181 | 14047.7799 | 0.12379 | 0.34031 | 2.3487
DBK7B |  | <1.5 |  | 6.695 | 88.336 | 0.3 | 4 | 14.2391 | 56.9565 | 0 | 0 | 1.6257 | 23.529 | 66.6609 | 0.03709 | 0.85725 | 61.4207 | 264.9466 | 0 | 0 | 92.5944 | 1340.131 | 3796.7713 | 2.1125 | 48.8258 | 3498.3091 | 15090.4406 | 0 | 0 | 0.092594

## Organized for Origin
| Cycle 1A | [10 empty] | Cycle 1B | [8 empty] | Cycle 1 Average | [17 empty] | Cycle 1 ln((C0/Ce)-1) |  |  |  |  | Cycle 1 Ce/C0
|  |  | Ce mg/L | [8 empty] | Ce mg/L | [8 empty] | Ce(mg/L)
ID | Volume (mL) | Voume (L) | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium | stdev Cadmium | Lead | stdev Lead | Zinc | Stdev Zinc | Aluminum (Al) | Stdev Aluminum (Al) | Calcium (Ca) | stdev Calcium (Ca) | Potassium (K) | stdev Potassium (K) | Magnesium (Mg) | stdev Magnesium (Mg) | Sodium (Na) | stdev Sodium (Na) | Silicon (Si) | stdev Silicon (Si) | Voume (L) |  | Cadmium | Lead | Zinc |  | Voume (L) | Cadmium | Lead | Zinc
| 15 | 0.015 | 0 | 0 | 0 | 0.12875 | 3.1994 | 11278.2465 | 0 | 2420.4456 | 24.5778 | 0 | 0 | 0 | 0 | 4.8162 | 10917.6189 | 0 | 2337.4902 | 26.9696 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064374 | 0.064374 | 4.0078 | 0.80843 | 11097.9327 | 180.3138 | 0 | 0 | 2378.9679 | 41.4777 | 25.7737 | 1.1959 | 0.015 |  | 0 | 0 | 0 |  | 0.015 | 0 | 0 | 0
| 30 | 0.03 | 0 | 0 | 0 | 0 | 1.0313 | 5339.5827 | 0 | 1167.0564 | 34.6191 | 0 | 0 | 0 | 0 | 1.4391 | 5064.925 | 0 | 1103.3302 | 34.2659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2352 | 0.2039 | 5202.2538 | 137.3288 | 0 | 0 | 1135.1933 | 31.8631 | 34.4425 | 0.17663 | 0.03 |  | 0 | 0 | 0 |  | 0.03 | 0 | 0 | 0
| 45 | 0.045 | 0 | 0 | 0 | 0 | 0.61219 | 2561.6337 | 0 | 561.4933 | 44.1542 | 0 | 0 | 0 | 0 | 1.3983 | 2568.2048 | 0 | 558.6528 | 42.395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0052 | 0.39305 | 2564.9192 | 3.2855 | 0 | 0 | 560.073 | 1.4202 | 43.2746 | 0.8796 | 0.045 |  | 0 | 0 | 0 |  | 0.045 | 0 | 0 | 0
| 60 | 0.06 | 0 | 0 | 0 | 0 | 0.85732 | 1714.6397 | 0 | 379.1724 | 47.1596 | 0 | 0 | 0 | 0 | 0.47913 | 1692.2538 | 0 | 374.3854 | 45.9963 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.66822 | 0.1891 | 1703.4468 | 11.193 | 0 | 0 | 376.7789 | 2.3935 | 46.5779 | 0.58163 | 0.06 |  | 0 | 0 | 0 |  | 0.06 | 0 | 0 | 0
| 75 | 0.075 | 0 | 0 | 0 | 0.32827 | 0.7209 | 1324.0139 | 0 | 296.0848 | 45.3138 | 0 | 0 | 0 | 0 | 0.46501 | 1315.6312 | 0 | 294.6041 | 45.4927 | 0 | 0 | 0 | 0 | 0 | 0 | 0.16413 | 0.16413 | 0.59296 | 0.12794 | 1319.8226 | 4.1914 | 0 | 0 | 295.3444 | 0.74035 | 45.4032 | 0.089404 | 0.075 |  | 0 | 0 | 0 |  | 0.075 | 0 | 0 | 0
| 90 | 0.09 | 0 | 0 | 0 | 0 | 0.47614 | 1141.1792 | 0 | 255.3993 | 42.5327 | 0 | 0 | 0 | 0 | 0.44674 | 1160.2119 | 0 | 259.0439 | 42.0659 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.46144 | 0.014701 | 1150.6956 | 9.5163 | 0 | 0 | 257.2216 | 1.8223 | 42.2993 | 0.23342 | 0.09 |  | 0 | 0 | 0 |  | 0.09 | 0 | 0 | 0
| 135 | 0.135 | 0 | 0 | 0 | 0 | 0.40471 | 971.7484 | 0 | 222.0452 | 39.3993 | 0 | 0 | 0 | 0 | 0.54462 | 975.0064 | 0 | 222.9408 | 39.9611 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47467 | 0.069955 | 973.3774 | 1.629 | 0 | 0 | 222.493 | 0.44783 | 39.6802 | 0.28087 | 0.135 |  | 0 | 0 | 0 |  | 0.135 | 0 | 0 | 0
| 180 | 0.18 | 0 | 0 | 0 | 0 | 0.53963 | 842.0565 | 0 | 197.3113 | 33.217 | 0 | 0 | 0 | 0 | 0.418 | 830.4565 | 0 | 194.5409 | 32.7363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.47881 | 0.060813 | 836.2565 | 5.8 | 0 | 0 | 195.9261 | 1.3852 | 32.9766 | 0.24035 | 0.18 |  | 0 | 0 | 0 |  | 0.18 | 0 | 0 | 0
| 225 | 0.225 | 0 | 0 | 0 | 0 | 0.52803 | 761.7775 | 0 | 183.9437 | 28.8893 | 0 | 0 | 0 | 0 | 0.38859 | 734.7212 | 0 | 178.7949 | 28.5712 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45831 | 0.069724 | 748.2494 | 13.5281 | 0 | 0 | 181.3693 | 2.5744 | 28.7303 | 0.15905 | 0.225 |  | 0 | 0 | 0 |  | 0.225 | 0 | 0 | 0
| 270 | 0.27 | 0 | 0 | 0 | 0 | 0.47418 | 681.4419 | 0 | 175.9053 | 25.7994 | 0 | 0 | 0 | 0 | 0.43767 | 674.3858 | 0 | 183.0443 | 24.7252 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45593 | 0.018252 | 677.9139 | 3.528 | 0 | 0 | 179.4748 | 3.5695 | 25.2623 | 0.53713 | 0.27 |  | 0 | 0 | 0 |  | 0.27 | 0 | 0 | 0
| 315 | 0.315 | 0 | 0 | 0 | 0 | 0.43877 | 620.1994 | 0 | 185.6161 | 23.5188 | 0 | 0 | 0 | 0 | 0.47587 | 606.4921 | 0 | 193.4636 | 21.7638 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.45732 | 0.018546 | 613.3458 | 6.8536 | 0 | 0 | 189.5399 | 3.9237 | 22.6413 | 0.8775 | 0.315 |  | 0 | 0 | 0 |  | 0.315 | 0 | 0 | 0
|  |  | C0 mg/L | [8 empty] | C0 mg/L
|  |  | 113.9216 | 206.2792 | 64.3996 | [6 empty] | 115.5319 | 209.842 | 65.0238 | [6 empty] | 114.7268 | 0.80516 | 208.0606 | 1.7814 | 64.7117 | 0.31215
C1R1A78 |  | 20 | 0 | 0 | 0 | 0 | 0.97232 | 692.0634 | 0 | 250.5632 | 25.7188 | 0 | 0 | 0 | 0 | 1.2227 | 686.607 | 0 | 261.381 | 24.6802 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0975 | 0.1252 | 689.3352 | 2.7282 | 0 | 0 | 255.9721 | 5.4089 | 25.1995 | 0.5193
C1R2A78 |  | 40 | 0 | 0 | 0 | 0 | 0.39714 | 511.978 | 0 | 206.9444 | 29.4029 | 0 | 0 | 0 | 0 | 0.37808 | 490.0468 | 0 | 212.1113 | 27.0471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.38761 | 0.0095321 | 501.0124 | 10.9656 | 0 | 0 | 209.5278 | 2.5834 | 28.225 | 1.1779
C1R3A78 |  | 60 | 0 | 0 | 0 | 0 | 0.34865 | 440.9893 | 0 | 193.3051 | 27.3687 | 0 | 0 | 0 | 0 | 0 | 412.1226 | 0 | 196.1127 | 26.4141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.17432 | 0.17432 | 426.556 | 14.4334 | 0 | 0 | 194.7089 | 1.4038 | 26.8914 | 0.47734
D178A |  |  | 315.417 | 448.4362 | 242.339 | 506.4629 | 9882.3633 | 2214.7848 | 5401.9625 | 1036.4269 | 163.9139 | 252.1386 | 262.2975 | 175.1707 | 469.0737 | 8994.8702 | 1994.392 | 5345.4221 | 951.6925 | 129.5261 | 283.7778 | 31.6392 | 355.3668 | 93.0693 | 208.7549 | 33.5842 | 487.7683 | 18.6946 | 9438.6168 | 443.7465 | 2104.5884 | 110.1964 | 5373.6923 | 28.2702 | 994.0597 | 42.3672 | 146.72 | 17.1939
C1DRA78 |  |  | 0 | 0 | 0 | 0 | 61.2065 | 249.5789 | 77.0395 | 104.9856 | 22.0199 | 0 | 0 | 0 | 0 | 70.8027 | 239.1184 | 82.7486 | 103.7116 | 21.8958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66.0046 | 4.7981 | 244.3487 | 5.2302 | 79.8941 | 2.8545 | 104.3486 | 0.63698 | 21.9578 | 0.062053
| Cycle 2A | [10 empty] | Cycle 2B | [8 empty] | Cycle 2 Average | [17 empty] | Cycle 2 ln((C0/Ce)-1) |  |  |  |  | Cycle 2 Ce/C0
|  |  | Ce mg/L | [8 empty] | Ce mg/L | [8 empty] | Ce(mg/L)
| Volume (mL) | Voume (L) | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium | stdev Cadmium | Lead | stdev Lead | Zinc | Stdev Zinc | Aluminum (Al) | Stdev Aluminum (Al) | Calcium (Ca) | stdev Calcium (Ca) | Potassium (K) | stdev Potassium (K) | Magnesium (Mg) | stdev Magnesium (Mg) | Sodium (Na) | stdev Sodium (Na) | Silicon (Si) | stdev Silicon (Si) | Voume (L) |  | Cadmium | Lead | Zinc |  | Voume (L) | Cadmium |  | Lead |  | Zinc
| 15 | 0.015 | [9 empty] | 0.00023302 | 0 | 0 | 2.7004 | 10.3324 | 0.19482 | 16.1393 | 28.5925 | 11.6877 | 0.00023302 | 0.0011989 | 0.00098041 | 0.00098041 | 0.0042496 | 0.0042496 | 5.0005 | 2.3002 | 18.8181 | 8.4857 | 0.27593 | 0.08111 | 18.6376 | 2.4983 | 42.1366 | 13.5442 | 21.7304 | 10.0427 | 0.015 |  | 13.0999 | 12.2568 | 9.626 |  | 0.015 | 2.2872e-05 | 3.4596e-06 | 0 | 0 | 2.6181e-05 | 2.6181e-05
| 30 | 0.03 | 0.0026307 | 0.0019608 | 0.0084992 | 7.3007 | 27.3039 | 0.35704 | 21.1359 | 55.6808 | 31.7731 | 0.0025805 | 0 | 0 | 6.4629 | 34.3897 | 0.1749 | 15.185 | 51.7237 | 42.9347 | 0.0026056 | 0.00039412 | 0 | 0 | 0.0016861 | 0.0016861 | 7.4061 | 0.94313 | 45.646 | 11.2563 | 0.21815 | 0.043249 | 15.4003 | 0.21526 | 61.6262 | 9.9025 | 56.2525 | 13.3179 | 0.03 |  | 10.6856 | #DIV/0! | 10.5504 |  | 0.03 | 2.5965e-05 | 1.6427e-05 | 0 | 0 | 0 | 0
| 45 | 0.045 | 0.0017922 | 0 | 0.0033721 | 8.3492 | 56.9023 | 0.2614 | 15.6156 | 71.5287 | 69.5704 | 0.0041237 | 0 | 0 | 10.9375 | 58.2686 | 0.24673 | 15.2587 | 65.1449 | 74.3953 | 0.0029579 | 0.0018714 | 0 | 0 | 0 | 0 | 13.4111 | 2.4736 | 63.0824 | 4.8138 | 0.20789 | 0.038845 | 15.1317 | 0.12699 | 69.0857 | 3.9408 | 79.023 | 4.6276 | 0.045 |  | 10.5587 | #DIV/0! | #DIV/0! |  | 0.045 | 2.2863e-05 | 2.1191e-05 | 0 | 0 | 0 | 0
| 60 | 0.06 | 0.00038087 | 0 | 0 | 15.8847 | 67.8962 | 0.16904 | 15.0047 | 73.0266 | 83.6506 | 0.0048282 | 0 | 0 | 25.8371 | 69.8614 | 0.28713 | 15.9118 | 69.364 | 88.2109 | 0.0026045 | 0.0024141 | 0 | 0 | 0 | 0 | 30.0093 | 4.1722 | 70.6745 | 0.81302 | 0.22882 | 0.058304 | 15.6871 | 0.22467 | 71.5973 | 2.2332 | 87.8695 | 0.34136 | 0.06 |  | 10.686 | #DIV/0! | #DIV/0! |  | 0.06 | 1.7574e-05 | 1.4915e-05 | 0 | 0 | 8.5092e-05 | 8.5092e-05
| 75 | 0.075 | 0 | 0 | 0 | 34.1815 | 71.4875 | 0.17052 | 15.4624 | 73.8305 | 87.5282 | 0.0040042 | 0 | 0.01096 | 51.4168 | 69.0053 | 0.27018 | 16.1203 | 72.4213 | 92.5353 | 0.0020021 | 0.0016991 | 0 | 0 | 0.0054799 | 0.0054799 | 55.0824 | 3.6657 | 68.7923 | 0.21298 | 0.25726 | 0.012921 | 16.2821 | 0.16181 | 80.1448 | 7.7235 | 89.7133 | 2.8219 | 0.075 |  | 10.9491 | #DIV/0! | 9.3717 |  | 0.075 | 1.5574e-05 | 1.2914e-05 | 0 | 0 | 0 | 0
| 90 | 0.09 | 0.00060596 | 0 | 0 | 58.7481 | 68.5794 | 0.24434 | 16.4439 | 87.8683 | 86.8914 | 0.0029424 | 0 | 0 | 78.5519 | 63.7726 | 0.28729 | 15.9911 | 72.5673 | 86.902 | 0.0017742 | 0.0014712 | 0 | 0 | 0 | 0 | 84.5697 | 6.0178 | 58.8291 | 4.9435 | 0.26439 | 0.022904 | 15.4414 | 0.54975 | 69.7892 | 2.7781 | 79.5725 | 7.3294 | 0.09 |  | 11.0699 | #DIV/0! | #DIV/0! |  | 0.09 | 9.7361e-06 | 9.7361e-06 | 0 | 0 | 0 | 0
| 135 | 0.135 | 0 | 0 | 0 | 90.5874 | 53.8856 | 0.24148 | 14.8916 | 67.011 | 72.2431 | 0.0022183 | 0 | 0 | 117.1162 | 52.4246 | 0.27428 | 15.1617 | 67.3251 | 74.7766 | 0.0011092 | 0.0011092 | 0 | 0 | 0 | 0 | 128.8431 | 11.7269 | 49.3424 | 3.0822 | 0.30212 | 0.027838 | 15.4744 | 0.31272 | 65.5805 | 1.7447 | 69.378 | 5.3986 | 0.135 |  | 11.5397 | #DIV/0! | #DIV/0! |  | 0.135 | 2.7345e-06 | 2.7345e-06 | 0 | 0 | 0.00013209 | 0.00013209
| 180 | 0.18 | 0 | 0 | 0 | 140.57 | 46.2602 | 0.32996 | 15.7872 | 63.8358 | 63.9795 | 0.00062303 | 0 | 0.017013 | 157.5882 | 44.2333 | 0.49728 | 15.2443 | 58.6685 | 62.2614 | 0.00031151 | 0.00031151 | 0 | 0 | 0.0085064 | 0.0085064 | 163.4819 | 5.8937 | 43.1368 | 1.0965 | 0.4371 | 0.06018 | 15.6226 | 0.37828 | 59.0941 | 0.42562 | 60.5799 | 1.6815 | 0.18 |  | 12.8096 | #DIV/0! | 8.9319 |  | 0.18 | 2.6853e-06 | 2.6853e-06 | 0 | 0 | 0 | 0
| 225 | 0.225 | 0 | 0 | 0 | 169.3755 | 42.0403 | 0.37692 | 16.0008 | 59.5197 | 58.8984 | 0.00061183 | 0 | 0 | 168.9703 | 38.0572 | 0.27163 | 14.7211 | 52.0853 | 56.5798 | 0.00030592 | 0.00030592 | 0 | 0 | 0 | 0 | 175.7895 | 6.8192 | 37.6123 | 0.44495 | 0.23675 | 0.034888 | 15.1692 | 0.44819 | 52.1213 | 0.035926 | 56.0125 | 0.56731 | 0.225 |  | 12.8277 | #DIV/0! | #DIV/0! |  | 0.225 | 3.5218e-06 | 3.5218e-06 | 0 | 0 | 0 | 0
| 270 | 0.27 | 0 | 0 | 0 | 182.6087 | 37.1673 | 0.20186 | 15.6174 | 52.1572 | 55.4452 | 0.00080241 | 0 | 0 | 192.9716 | 37.2589 | 0.25081 | 15.4763 | 48.786 | 58.08 | 0.00040121 | 0.00040121 | 0 | 0 | 0 | 0 | 190.3827 | 2.5889 | 35.9349 | 1.324 | 0.23829 | 0.012523 | 15.341 | 0.1353 | 48.3364 | 0.44961 | 53.9455 | 4.1345 | 0.27 |  | 12.5565 | #DIV/0! | #DIV/0! |  | 0.27 | 2.6826e-06 | 0 | 0 | 0 | 0 | 0
| 315 | 0.315 | 0 | 0 | 0 | 187.7938 | 34.6108 | 0.22576 | 15.2057 | 47.8868 | 49.8109 | 0.00061122 | 0 | 0 | 184.4319 | 33.3291 | 0.28448 | 14.7418 | 44.0261 | 55.2613 | 0.00030561 | 0 | 0 | 0 | 0 | 0 | 184.4319 | 0 | 33.3291 | 0 | 0.28448 | 0 | 14.7418 | 0 | 44.0261 | 0 | 55.2613 | 0 | 0.315 |  | 12.8287 | #DIV/0! | #DIV/0! |  | 0.315 | 0 | 0 | 0 | 0 | 0 | 0
C2R1A78 |  |  | 0.15206 | 0.058891 | 0.033825 | 198.1131 | 35.3339 | 0.19552 | 15.9791 | 54.6214 | 52.2945 | 0.18544 | 0.01425 | 0.063691 | 198.7591 | 35.5081 | 0.22386 | 15.3386 | 60.788 | 55.0163 | 0.16875 | 0.016693 | 0.03657 | 0.02232 | 0.048758 | 0.014933 | 198.4361 | 0.32297 | 35.421 | 0.087074 | 0.20969 | 0.014171 | 15.6589 | 0.32024 | 57.7047 | 3.0833 | 53.6554 | 1.3609
C2R2A78 |  |  | 0.013502 | 0.016226 | 0.0062259 | 175.9969 | 28.3614 | 0.23819 | 16.016 | 45.9877 | 42.3781 | 0.042581 | 0.0077081 | 0.0051198 | 173.1061 | 27.4725 | 0.15179 | 15.8132 | 43.141 | 43.2033 | 0.028042 | 0.01454 | 0.011967 | 0.0042587 | 0.0056728 | 0.00055306 | 174.5515 | 1.4454 | 27.9169 | 0.44449 | 0.19499 | 0.043196 | 15.9146 | 0.10142 | 44.5644 | 1.4234 | 42.7907 | 0.41261
C2R3A78 |  |  | 0.0035913 | 0.01011 | 0.013969 | 167.3182 | 24.4112 | 0.23237 | 16.7446 | 54.3428 | 35.2736 | 0.017599 | 0.0057816 | 0 | 168.5246 | 24.2749 | 0.18061 | 16.4877 | 38.7275 | 36.5528 | 0.010595 | 0.0070039 | 0.007946 | 0.0021644 | 0.0069846 | 0.0069846 | 167.9214 | 0.60321 | 24.3431 | 0.068161 | 0.20649 | 0.025884 | 16.6162 | 0.12847 | 46.5351 | 7.8077 | 35.9132 | 0.63961
D278A |  |  | 547.7598 | 485.8186 | 286.4871 | 117.3342 | 4399.4886 | 515.0732 | 126.1547 | 940.8683 | 6589.2655 | 524.9498 | 720.9369 | 310.0928 | 0 | 4274.5035 | 546.014 | 119.8223 | 882.2003 | 6455.9159 | 536.3548 | 11.405 | 603.3778 | 117.5591 | 298.2899 | 11.8028 | 58.6671 | 58.6671 | 4336.9961 | 62.4926 | 530.5436 | 15.4704 | 122.9885 | 3.1662 | 911.5343 | 29.334 | 6522.5907 | 66.6748
C2DRA78 |  |  | 0.037195 | 0.0034217 | 0.016817 | 17.1542 | 75.7979 | 0.20549 | 22.8044 | 26.8771 | 125.7699 | 0.047115 | 0.0039234 | 0.0082084 | 24.5103 | 108.4966 | 0.14459 | 23.7396 | 34.0461 | 176.7218 | 0.042155 | 0.0049602 | 0.0036726 | 0.00025087 | 0.012513 | 0.0043042 | 20.8323 | 3.678 | 92.1472 | 16.3494 | 0.17504 | 0.030448 | 23.272 | 0.46758 | 30.4616 | 3.5845 | 151.2458 | 25.476
| Cycle 3A | [10 empty] | Cycle 3B | [8 empty] | Cycle 3 Average | [17 empty] | Cycle 3 ln((C0/Ce)-1) |  |  |  |  | Cycle 3 Ce/C0
|  |  | Ce mg/L | [8 empty] | Ce mg/L | [8 empty] | Ce(mg/L)
| Volume (mL) | Voume (L) | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) | Cadmium | stdev Cadmium | Lead | stdev Lead | Zinc | Stdev Zinc | Aluminum (Al) | Stdev Aluminum (Al) | Calcium (Ca) | stdev Calcium (Ca) | Potassium (K) | stdev Potassium (K) | Magnesium (Mg) | stdev Magnesium (Mg) | Sodium (Na) | stdev Sodium (Na) | Silicon (Si) | stdev Silicon (Si) | Voume (L) | Cadmium |  | Lead | Zinc | Voume (L) | Cadmium | Stdev | Lead |  | Zinc
| 15 | 0.015 | 0.00031039 | 0 | 0.0065067 | 0 | 14.358 | 0.27374 | 21.5662 | 43.447 | 25.3489 | 0.055178 | 0.059255 | 0.041797 | 0 | 15.3398 | 0.32155 | 21.9919 | 11.2919 | 26.6691 | 0.027744 | 0.027434 | 0.029627 | 0.029627 | 0.024152 | 0.017645 | 0 | 0 | 14.8489 | 0.49093 | 0.29764 | 0.023904 | 21.7791 | 0.21285 | 27.3695 | 16.0775 | 26.009 | 0.66013 |  | 8.32 |  | 8.8481 | 7.8881 |  | 0.00024354 | 0.00024081 | 0.00014363 | 0.00014363 | 0.00037503 | 0.00027399
| 30 | 0.03 | 0.00028612 | 0 | 0 | 4.0497 | 33.8937 | 0.33636 | 22.7595 | 14.5753 | 60.6221 | 0.0069846 | 0 | 0.0023831 | 7.05 | 31.2831 | 0.29856 | 21.6576 | 14.7528 | 57.9023 | 0.0036354 | 0.0033492 | 0 | 0 | 0.0011916 | 0.0011916 | 5.5499 | 1.5002 | 32.5884 | 1.3053 | 0.31746 | 0.018902 | 22.2085 | 0.55097 | 14.6641 | 0.088786 | 59.2622 | 1.3599 |  | 10.3525 |  | #DIV/0! | 10.8976 |  | 3.1911e-05 | 2.94e-05 | 0 | 0 | 1.8503e-05 | 1.8503e-05
| 45 | 0.045 | 0.0033321 | 0 | 0.0022182 | 21.6037 | 51.0363 | 0.32587 | 22.8042 | 20.0434 | 92.4841 | 0.0072733 | 0 | 0.0080793 | 28.5981 | 47.2208 | 0.33801 | 22.5227 | 20.311 | 86.616 | 0.0053027 | 0.0019706 | 0 | 0 | 0.0051488 | 0.0029306 | 25.1009 | 3.4972 | 49.1285 | 1.9078 | 0.33194 | 0.00607 | 22.6634 | 0.14075 | 20.1772 | 0.13377 | 89.55 | 2.9341 |  | 9.975 |  | #DIV/0! | 9.434 |  | 4.6547e-05 | 1.7298e-05 | 0 | 0 | 7.995e-05 | 4.5506e-05
| 60 | 0.06 | 0 | 0 | 0 | 50.1235 | 51.7762 | 0.27555 | 21.3717 | 22.0595 | 97.3359 | 0.0049411 | 0 | 0 | 54.5674 | 47.8095 | 0.18909 | 20.3784 | 22.3127 | 88.344 | 0.0024705 | 0.0024705 | 0 | 0 | 0 | 0 | 52.3455 | 2.222 | 49.7928 | 1.9833 | 0.23232 | 0.043229 | 20.8751 | 0.4966 | 22.1861 | 0.12664 | 92.8399 | 4.4959 |  | 10.7388 |  | #DIV/0! | #DIV/0! |  | 2.1686e-05 | 2.1686e-05 | 0 | 0 | 0 | 0
| 75 | 0.075 | 0 | 0 | 0.010638 | 81.6553 | 51.6739 | 0.36469 | 21.4861 | 24.6666 | 98.2199 | 0.0059837 | 0 | 0 | 90.9151 | 53.2974 | 0.25701 | 22.6927 | 26.0332 | 97.9824 | 0.0029919 | 0.0029919 | 0 | 0 | 0.0053191 | 0.0053191 | 86.2852 | 4.6299 | 52.4857 | 0.81177 | 0.31085 | 0.053845 | 22.0894 | 0.60328 | 25.3499 | 0.68328 | 98.1012 | 0.11874 |  | 10.5473 |  | #DIV/0! | 9.4015 |  | 2.6262e-05 | 2.6262e-05 | 0 | 0 | 8.2595e-05 | 8.2595e-05
| 90 | 0.09 | 0 | 0 | 1.1228e-05 | 107.605 | 49.6228 | 0.32998 | 21.2491 | 31.8863 | 93.884 | 0.0059379 | 0 | 0 | 111.0596 | 50.1231 | 0.23548 | 22.1731 | 27.2495 | 93.9317 | 0.002969 | 0.002969 | 0 | 0 | 5.614e-06 | 5.614e-06 | 109.3323 | 1.7273 | 49.873 | 0.25017 | 0.28273 | 0.04725 | 21.7111 | 0.46201 | 29.5679 | 2.3184 | 93.9078 | 0.023862 |  | 10.555 |  | #DIV/0! | 16.2554 |  | 2.6061e-05 | 2.6061e-05 | 0 | 0 | 8.7174e-08 | 8.7174e-08
| 135 | 0.135 | 0 | 0 | 0.00050414 | 138.4364 | 43.7243 | 0.30304 | 20.3084 | 25.6571 | 83.5172 | 0.0044736 | 0 | 0 | 137.4234 | 43.6153 | 0.28396 | 20.1603 | 25.7644 | 81.7302 | 0.0022368 | 0.0022368 | 0 | 0 | 0.00025207 | 0.00025207 | 137.9299 | 0.5065 | 43.6698 | 0.054498 | 0.2935 | 0.0095359 | 20.2343 | 0.074037 | 25.7108 | 0.053659 | 82.6237 | 0.8935 |  | 10.8382 |  | #DIV/0! | 12.4509 |  | 1.9635e-05 | 1.9635e-05 | 0 | 0 | 3.9142e-06 | 3.9142e-06
| 180 | 0.18 | 0 | 0 | 0 | 173.0571 | 39.9592 | 0.28005 | 20.3722 | 25.6725 | 77.8699 | 0.0036772 | 0 | 0 | 174.3819 | 41.1433 | 0.32319 | 20.5916 | 25.6339 | 77.0923 | 0.0018386 | 0.0018386 | 0 | 0 | 0 | 0 | 173.7195 | 0.66243 | 40.5512 | 0.59209 | 0.30162 | 0.02157 | 20.4819 | 0.10974 | 25.6532 | 0.019333 | 77.4811 | 0.38881 |  | 11.0342 |  | #DIV/0! | #DIV/0! |  | 1.6139e-05 | 1.6139e-05 | 0 | 0 | 0 | 0
| 225 | 0.225 | 0.00019333 | 0 | 0 | 185.4367 | 36.2307 | 0.36108 | 19.6557 | 23.7711 | 72.2086 | 0.0046699 | 0 | 0 | 178.6472 | 35.666 | 0.10795 | 18.8552 | 23.2785 | 70.9297 | 0.0024316 | 0.0022383 | 0 | 0 | 0 | 0 | 182.0419 | 3.3948 | 35.9484 | 0.28233 | 0.23451 | 0.12656 | 19.2555 | 0.40027 | 23.5248 | 0.24627 | 71.5692 | 0.63945 |  | 10.7547 |  | #DIV/0! | #DIV/0! |  | 2.1344e-05 | 1.9647e-05 | 0 | 0 | 0 | 0
| 270 | 0.27 | 0.0005428 | 0 | 0.0038873 | 192.156 | 34.215 | 0.23929 | 18.6011 | 21.8418 | 65.75 | 0.0062802 | 0 | 0 | 184.7119 | 33.5968 | 0.077374 | 18.4148 | 22.1536 | 69.3516 | 0.0034115 | 0.0028687 | 0 | 0 | 0.0019436 | 0.0019436 | 188.434 | 3.7221 | 33.9059 | 0.30909 | 0.15833 | 0.080959 | 18.5079 | 0.093173 | 21.9977 | 0.15592 | 67.5508 | 1.8008 |  | 10.4161 |  | #DIV/0! | 10.4083 |  | 2.9946e-05 | 2.5181e-05 | 0 | 0 | 3.0181e-05 | 3.0181e-05
| 315 | 0.315 | 0 | 0 | 0.0031899 | 191.2637 | 31.8922 | 0.37615 | 17.8134 | 28.1394 | 65.9873 | 0.0045025 | 0 | 0 | 195.5115 | 33.6746 | 0.21935 | 19.4118 | 22.3661 | 67.4482 | 0.0022512 | 0.0022512 | 0 | 0 | 0.0015949 | 0.0015949 | 193.3876 | 2.1239 | 32.7834 | 0.89123 | 0.29775 | 0.0784 | 18.6126 | 0.79918 | 25.2528 | 2.8867 | 66.7177 | 0.73042 |  | 10.8318 |  | #DIV/0! | 10.606 |  | 1.9761e-05 | 1.9761e-05 | 0 | 0 | 2.4766e-05 | 2.4766e-05
C3R1A78 |  |  | 0.24521 | 0.02362 | 0.065172 | 204.0294 | 40.5383 | 0.15602 | 22.2902 | 24.5396 | 77.5558 | 0.72053 | 0.0098538 | 0.1967 | 171.3551 | 33.876 | 0.11722 | 20.0966 | 36.8843 | 68.8577 | 0.48287 | 0.23766 | 0.016737 | 0.0068829 | 0.13094 | 0.065766 | 187.6922 | 16.3371 | 37.2071 | 3.3312 | 0.13662 | 0.0194 | 21.1934 | 1.0968 | 30.7119 | 6.1723 | 73.2068 | 4.3491
C3R2A78 |  |  | 0.013605 | 0.010486 | 0.0027869 | 181.8488 | 32.0673 | 0.19128 | 22.4968 | 22.5808 | 61.9443 | 0.076594 | 0.011644 | 0 | 177.6243 | 30.4753 | 0.14458 | 22.0256 | 20.5456 | 60.7827 | 0.0451 | 0.031495 | 0.011065 | 0.00057878 | 0.0013935 | 0.0013935 | 179.7366 | 2.1122 | 31.2713 | 0.796 | 0.16793 | 0.023349 | 22.2612 | 0.2356 | 21.5632 | 1.0176 | 61.3635 | 0.5808
C3R3A78 |  |  | 0.0068912 | 0.0036452 | 0.0017827 | 156.7327 | 24.4158 | 0.19942 | 20.3505 | 56.3978 | 50.4779 | 0.038154 | 0.0052016 | 0.0046248 | 165.2144 | 24.4285 | 0.14922 | 21.1251 | 19.5818 | 48.7384 | 0.022522 | 0.015631 | 0.0044234 | 0.00077821 | 0.0032038 | 0.0014211 | 160.9735 | 4.2408 | 24.4222 | 0.0063573 | 0.17432 | 0.025105 | 20.7378 | 0.38729 | 37.9898 | 18.408 | 49.6082 | 0.86972
D378A |  |  | 240.4598 | 4.2656 | 91.0104 | 439.8454 | 3422.5961 | 2.7462 | 136.4274 | 898.5316 | 20314.0612 | 272.0132 | 2.8809 | 99.1353 | 449.7697 | 3544.9173 | 2.3239 | 86.7584 | 926.5799 | 19925.2891 | 256.2365 | 15.7767 | 3.5732 | 0.69232 | 95.0728 | 4.0624 | 444.8076 | 4.9621 | 3483.7567 | 61.1606 | 2.5351 | 0.21117 | 111.5929 | 24.8345 | 912.5558 | 14.0242 | 20119.6751 | 194.386
|  | 2 | 480.9196 | 8.5311 | 182.0208 | 879.6909 | 6845.1921 | 5.4925 | 272.8548 | 1797.0632 | 40628.1223 | 544.0264 | 5.7619 | 198.2705 | 899.5394 | 7089.8347 | 4.6478 | 173.5169 | 1853.1599 | 39850.5782 | 512.473 | 31.5534 | 7.1465 | 1.3846 | 190.1457 | 8.1249 | 889.6151 | 9.9242 | 6967.5134 | 122.3213 | 5.0701 | 0.42234 | 223.1858 | 49.6689 | 1825.1115 | 28.0483 | 40239.3503 | 388.7721
15BK7 |  |  | 0.15824 | 0.19802 | 0 | 63.5661 | 2.4914 | 0.62725 | 19.2795 | 12944.9863 | 0 | 0.038752 | 0.92438 | 0 | 1053.7554 | 2.7735 | 0.73102 | 30.7294 | 12376.8123 | 0 | 0.098496 | 0.059744 | 0.5612 | 0.36318 | 0 | 0 | 889.6151 | 9.9242 | 6967.5134 | 122.3213 | 5.0701 | 0.42234 | 223.1858 | 49.6689 | 1825.1115 | 28.0483 | 40239.3503 | 388.7721
45BK7 |  |  | 0 | 0 | 0.0072518 | 456.6532 | 1.3854 | 1.2213 | 33.7094 | 2742.6895 | 0 | 0 | 0.044047 | 0 | 395.4656 | 0 | 0.87199 | 39.44 | 2275.3009 | 0 | 0 | 0 | 0.022024 | 0.022024 | 0.0036259 | 0.0036259 | 889.6151 | 9.9242 | 6967.5134 | 122.3213 | 5.0701 | 0.42234 | 223.1858 | 49.6689 | 1825.1115 | 28.0483 | 40239.3503 | 388.7721
75BK7 |  |  | 0 | 0 | 0 | 231.7841 | 0 | 0.71972 | 38.4758 | 1172.1202 | 0 | 0 | 0 | 0 | 202.8711 | 0 | 0.65519 | 38.6728 | 1028.0274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 889.6151 | 9.9242 | 6967.5134 | 122.3213 | 5.0701 | 0.42234 | 223.1858 | 49.6689 | 1825.1115 | 28.0483 | 40239.3503 | 388.7721
180BK7 |  |  | 0 | 0 | 0 | 136.9912 | 0 | 0.25228 | 31.1845 | 238.5637 | 0 | 0 | 0 | 0 | 113.5397 | 0 | 0.15154 | 25.2841 | 218.3903 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 889.6151 | 9.9242 | 6967.5134 | 122.3213 | 5.0701 | 0.42234 | 223.1858 | 49.6689 | 1825.1115 | 28.0483 | 40239.3503 | 388.7721
315BK7 |  |  | 0 | 0 | 0 | 113.0988 | 0 | 0.34433 | 21.9511 | 480.2934 | 0 | 0 | 0 | 0 | 97.0161 | 0 | 0.29448 | 20.5334 | 451.3058 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 889.6151 | 9.9242 | 6967.5134 | 122.3213 | 5.0701 | 0.42234 | 223.1858 | 49.6689 | 1825.1115 | 28.0483 | 40239.3503 | 388.7721
DBK7 |  |  | 0.12379 | 0.34031 | 2.3487 | 1441.9082 | 490.0427 | 144.1417 | 78.9191 | 3261.0181 | 14047.7799 | 0 | 0 | 0.092594 | 1340.131 | 3796.7713 | 2.1125 | 48.8258 | 3498.3091 | 15090.4406 | 0.061895 | 0.061895 | 0.17016 | 0.17016 | 1.2206 | 1.128 | 1391.0196 | 50.8886 | 2143.407 | 1653.3643 | 73.1271 | 71.0146 | 63.8724 | 15.0466 | 3379.6636 | 118.6455 | 14569.1103 | 521.3304

## Background
Cycle 3A | [11 empty] | Cycle 3B
|  | Ce mg/L | [9 empty] | Ce mg/L
ID | Time | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si) |  | Cadmium | Lead | Zinc | Aluminum (Al) | Calcium (Ca) | Potassium (K) | Magnesium (Mg) | Sodium (Na) | Silicon (Si)
15BK7 | 15 | 0.15824 | 0.19802 | 0 | 63.5661 | 2.4914 | 0.62725 | 19.2795 | 12944.9863 | 0 |  | 0.038752 | 0.92438 | 0 | 1053.7554 | 2.7735 | 0.73102 | 30.7294 | 12376.8123 | 0
45BK7 | 45 | 0 | 0 | 0.0072518 | 456.6532 | 1.3854 | 1.2213 | 33.7094 | 2742.6895 | 0 |  | 0 | 0.044047 | 0 | 395.4656 | 0 | 0.87199 | 39.44 | 2275.3009 | 0
75BK7 | 75 | 0 | 0 | 0 | 231.7841 | 0 | 0.71972 | 38.4758 | 1172.1202 | 0 |  | 0 | 0 | 0 | 202.8711 | 0 | 0.65519 | 38.6728 | 1028.0274 | 0
180BK7 | 180 | 0 | 0 | 0 | 136.9912 | 0 | 0.25228 | 31.1845 | 238.5637 | 0 |  | 0 | 0 | 0 | 113.5397 | 0 | 0.15154 | 25.2841 | 218.3903 | 0
315BK7 | 315 | 0 | 0 | 0 | 113.0988 | 0 | 0.34433 | 21.9511 | 480.2934 | 0 |  | 0 | 0 | 0 | 97.0161 | 0 | 0.29448 | 20.5334 | 451.3058 | 0
DBK7 |  | 0.12379 | 0.34031 | 2.3487 | 1441.9082 | 490.0427 | 144.1417 | 78.9191 | 3261.0181 | 14047.7799 |  | 0 | 0 | 0.092594 | 1340.131 | 3796.7713 | 2.1125 | 48.8258 | 3498.3091 | 15090.4406
| Cadmium | stdev Cadmium | Lead | stdev Lead | Zinc | Stdev Zinc | Aluminum (Al) | Stdev Aluminum (Al) | Calcium (Ca) | stdev Calcium (Ca) | Potassium (K) | stdev Potassium (K) | Magnesium (Mg) | stdev Magnesium (Mg) | Sodium (Na) | stdev Sodium (Na) | Silicon (Si) | stdev Silicon (Si)
15BK7 | 0.098496 | 0.084491 | 0.5612 | 0.51362 | 0 | 0 | 558.6607 | 700.1696 | 2.6324 | 0.19948 | 0.67914 | 0.073381 | 25.0045 | 8.0963 | 12660.8993 | 401.7597 | 0 | 0
45BK7 | 0 | 0 | 0.022024 | 0.031146 | 0.0036259 | 0.0051278 | 426.0594 | 43.2662 | 0.6927 | 0.97963 | 1.0466 | 0.24699 | 36.5747 | 4.0522 | 2508.9952 | 330.4937 | 0 | 0
75BK7 | 0 | 0 | 0 | 0 | 0 | 0 | 217.3276 | 20.4446 | 0 | 0 | 0.68745 | 0.045635 | 38.5743 | 0.13929 | 1100.0738 | 101.889 | 0 | 0
180BK7 | 0 | 0 | 0 | 0 | 0 | 0 | 125.2654 | 16.5827 | 0 | 0 | 0.20191 | 0.071234 | 28.2343 | 4.1722 | 228.477 | 14.2648 | 0 | 0
315BK7 | 0 | 0 | 0 | 0 | 0 | 0 | 105.0574 | 11.3722 | 0 | 0 | 0.31941 | 0.035248 | 21.2423 | 1.0025 | 465.7996 | 20.4973 | 0 | 0
DBK7 | 0.061895 | 0.087532 | 0.17016 | 0.24064 | 1.2206 | 1.5953 | 1391.0196 | 71.9674 | 2143.407 | 2338.2102 | 73.1271 | 100.4298 | 63.8724 | 21.2792 | 3379.6636 | 167.79 | 14569.1103 | 737.2725