## Data dictionary
Data Dictionary
Amt-amount
Avg-average
PPB- parts per billion
CG-Cotton Gauze
cm - centimeter
H20- water
in-inch
IPA-isopropyl alcohol
MDL-method detection limit
MeOH - methanol
mL- milliliter
ng-nanogram
Rec-recovery
RSD - relative standard deviation
SC-soluble concentrate
Std Dev- standard deviation
TW- cotton twill wipe
WG-wettable granule

## Wipe wetting solvent comparison
| ACETONE Wiping Solvent |  |  | IPA Wiping Solvent |  | IPA TEXPAD-pre-wetted wipe
Deltamethrin |  |  | Deltamethrin |  |  | Deltamethrin
Cotton Twill |  |  | Cotton Twill |  |  | IPA Pre-wetted wipe
Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec
Deltamethrin | 88 | 88 | Deltamethrin | 50.5 | 50.5 | Deltamethrin | 77.5 | 77.5
100 | 77.7 | 77.7 | 100 | 63.3 | 63.3 | 100 | 65.6 | 65.6
| 85.4 | 85.4 |  | 72.1 | 72.1 |  | 59.9 | 59.9
| 81.2 | 81.2 |  | 68.2 | 68.2 |  | 47.2 | 47.2
| 84.1 | 84.1 |  | 52.3 | 52.3 | Avg | 62.55 | 62.55
Avg | 83.28 | 83.28 | Avg | 61.28 | 61.28 | SD | 12.589
SD | 3.9657 |  | SD | 9.5641 |  | RSD | 20.1263
RSD | 4.7619 |  | RSD | 15.6072
Wipe Spike | 91.5 | 91.5 | Wipe Spike | 93 | 93 | Wipe Spike | 91 | 91
Procedural Blank | 0 | - | Procedural Blank | 0 | 0 | Procedural Blank | 0 | -
Wipe Blank (50 ng/ml) | 0 | - | Wipe Blank (50 ng/ml) | 0 | - | Wipe Blank (50 ng/ml) | 0 | -
Cotton Gauze | Deltamethrin- |  | Cotton Gauze
Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec | IPA TEXPAD pre-wetted Wipe
Deltamethrin | 89.9 | 89.9 | Deltamethrin | 35.5 | 35.5 | Cypermethrin | Pre-extraction Spike
100 | 89.7 | 89.7 | 100 | 42.1 | 42.1
| 83.2 | 83.2 |  | 37.3 | 37.3 | IPA Texpad
| 93.4 | 93.4 |  | 27.9 | 27.9 | Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec
| 87.9 | 87.9 |  | 34.6 | 34.6 | Cypermethrin | 45.8 | 91.6
Avg | 88.82 | 88.82 | Avg | 35.48 | 35.5 | 50 | 46 | 92
SD | 3.7198 |  | SD | 5.1324 |  |  | 46.1 | 92.2
RSD | 4.188 |  | RSD | 14.4657 |  |  | 46 | 92
Wipe Spike | 112 | 112 | Wipe Spike | 88.1 | 88.1 |  | 45.6 | 91.2
Procedural Blank | 2.31 | - | Procedural Blank | 0 | - | Avg | 45.9 | 91.8
Wipe Blank (50 ng/ml) | 0 | - | Wipe Blank (50 ng/ml) | 0 | - | SD | 0.2
[6 empty] | RSD | 0.43573
| ACETONE Wiping Solvent |  |  | IPA Wiping Solvent |  | Wipe Spike | 44.6 | 89.2
Cypermethrin | Pre-extraction Spike |  | Cypermethrin | Pre-extraction Spike |  | Procedural Blank | 45.2 | 90.4
[6 empty] | Wipe Blank (50 ng/ml) | 45 | 90
Cotton Twill |  |  | Cotton Twill
Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec
Cypermethrin | 50 | 100 | Cypermethrin | 46.5 | 93
50 | 46.6 | 93.2 | 50 | 47.5 | 95
| 48.4 | 96.8 |  | 45.6 | 91.2
| 48.3 | 96.6 |  | 46.4 | 92.8
| 47.8 | 95.6 |  | 45.7 | 91.4
Avg | 48.22 | 96.44 | Avg | 46.34 | 92.68
SD | 1.2256 |  | SD | 0.76354
RSD | 2.5416 |  | RSD | 1.6477
Wipe Spike | 46.8 | 93.6 | Wipe Spike | 46.3 | 92.6
Procedural Blank | 61.7 | 123.4 | Procedural Blank | 47.1 | 94.2
Wipe Blank (50 ng/ml) | 47 | 94 | Wipe Blank (50 ng/ml) | 46.9 | 93.8
Cotton Gauze |  |  | Cotton Gauze
Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec
Cypermethrin | 49 | 98 | Cypermethrin | 46.7 | 93.4
50 | 44.9 | 89.8 | 50 | 45 | 90
| 47.1 | 94.2 |  | 45.6 | 91.2
| 47.1 | 94.2 |  | 45.9 | 91.8
| 51.2 | 102.4 |  | 44 | 88
Avg | 47.86 |  | Avg | 45.44
SD | 2.365 |  | SD | 1.0114
RSD | 4.9414 |  | RSD | 2.2259
Wipe Spike | 44.7 | 89.4 | Wipe Spike | 44.8 | 89.6
Procedural Blank | 44.5 | 89 | Procedural Blank | 45.6 | 91.2
Wipe Blank (50 ng/ml) | 43 | 86 | Wipe Blank (50 ng/ml) | 45.5 | 91
| ACETONE Wiping Solvent |  |  | IPA Wiping Solvent |  |  | IPA TEXPAD-pre-wetted wipe
Permethrin |  |  | Permethrin |  |  |  | Permethrin
(cis + trans aggregate) |  |  | (cis + trans aggregate) |  |  |  | (cis + trans aggregate)
Cotton Twill |  |  | Cotton Twill |  |  |  | IPA Pre-wetted wipe
Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec |  | Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec
Permethrin | 87.3 | 87.3 | Permethrin | 69.2 | 69.2 |  | Permethrin | 57.5 | 57.5
100 | 115.8 | 115.8 | 100 | 78.1 | 78.1 |  | 100 | 65.2 | 65.2
| 90.8 | 90.8 |  | 69.9 | 69.9 |  |  | 92.6 | 92.6
| 90.2 | 90.2 |  | 62 | 62 |  |  | 68.4 | 68.4
| 95.8 | 95.8 |  | 80.8 | 80.8 |  |  | 79 | 79
Avg | 95.98 | 95.98 | Avg | 72 | 72 |  | Avg | 72.54 | 72.54
SD | 11.494 |  | SD | 7.5316 |  |  | SD | 13.6139
RSD | 11.9754 |  | RSD | 10.4606 |  |  | RSD | 18.7674
Wipe Spike | 104 | 104 | Wipe Spike | 118.3 | 118.3 |  | Wipe Spike | 95.4 | 127.2
Procedural Blank | - | - | Procedural Blank | - | - |  | Procedural Blank | - | -
Wipe Blank (50 ng/ml) | - | - | Wipe Blank (50 ng/ml) | - | - |  | Wipe Blank (50 ng/ml) | - | -
Cotton Gauze |  |  | Cotton Gauze
Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (100 ng/ml) | Recovery (5 samples) | Avg %Rec
Permethrin | 87.1 | 87.1 | Permethrin | 49.6 | 49.6
100 | 73.3 | 73.3 | 100 | 66.2 | 66.2
| 84.7 | 84.7 |  | 52.2 | 52.2
| 79.2 | 79.2 |  | 56.3 | 56.3
| 76.8 | 76.8 |  | 56.1 | 56.1
Avg | 80.22 | 80.22 | Avg | 56.08 | 56.08
SD | 5.6575 |  | SD | 6.3148
RSD | 7.0524 |  | RSD | 11.2604
Wipe Spike | 91.3 | 91.3 | Wipe Spike | 101.2 | 101.2
Procedural Blank | - | - | Procedural Blank | -
Wipe Blank (50 ng/ml) | - | - | Wipe Blank (50 ng/ml) | - | -
Control Spike | 113.4 | 113.4
| ACETONE Wiping Solvent |  |  | IPA Wiping Solvent |  |  |  | IPA Wiping Solvent
Bifenthrin | Pre-extraction Spike |  | Bifenthrin | Pre-extraction Spike |  |  | Bifenthrin | Pre-extraction Spike
Cotton Twill |  |  | Cotton Twill |  |  |  | IPA Texpad
Concentration (5 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (5 ng/ml) | Recovery (5 samples) | Avg %Rec |  | Concentration (5 ng/ml) | Recovery (5 samples) | Avg %Rec
Bifenthrin | 4.63 | 92.6 | Bifenthrin | 4.88 | 97.6 |  | Bifenthrin | 5.25 | 105
5 | 6.13 | 122.6 | 5 | 5.43 | 108.6 |  | 5 | 4.63 | 92.6
| 4.58 | 91.6 |  | 4.84 | 96.8 |  |  | 6.12 | 122.4
| 4.64 | 92.8 |  | 4.81 | 96.2 |  |  | 4.51 | 90.2
| 4.93 | 98.6 |  | 5.85 | 117 |  |  | 5.16 | 103.2
Avg | 4.982 | 99.64 | Avg | 5.162 | 103.24 |  | Avg | 5.134 | 102.68
SD | 0.65633 |  | SD | 0.4616 |  |  | SD | 0.6383
RSD | 13.174 |  | RSD | 8.9422 |  |  | RSD | 12.4328
Wipe Spike | 4.89 | 97.8 | Wipe Spike | 5.45 | 109 |  | Wipe Spike | 4.32 | 86.4
Procedural Blank | 4.7 | 94 | Procedural Blank | 4.71 | 94.2 |  | Procedural Blank | 4.53 | 90.6
Wipe Blank (50 ng/ml) | 5.21 | 104.2 | Wipe Blank (50 ng/ml) | 5.14 | 102.8 |  | Wipe Blank (50 ng/ml) | 4.29 | 85.8
Cotton Gauze |  |  | Cotton Gauze
Concentration (5 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (5 ng/ml) | Recovery (5 samples) | Avg %Rec
Bifenthrin | 4.61 | 92.2 | Bifenthrin | 4.39 | 87.8
5 | 5.08 | 101.6 | 5 | 6.41 | 128.2
| 5.13 | 102.6 |  | 4.93 | 98.6
| 4.92 | 98.4 |  | 6.03 | 120.6
| 5.78 | 115.6 |  | 4.39 | 87.8
Avg | 5.104 | 102.08 | Avg | 5.23 | 104.6
SD | 0.42899 |  | SD | 0.93989
RSD | 8.4049 |  | RSD | 17.9712
Wipe Spike | 4.49 | 89.8 | Wipe Spike | 4.78 | 95.6
Procedural Blank | 4.81 | 96.2 | Procedural Blank | 4.36 | 87.2
Wipe Blank (50 ng/ml) | 5.39 | 107.8 | Wipe Blank (50 ng/ml) | 5.94 | 118.8
Control Spike | 5.56 | 111.2
| ACETONE Wiping Solvent |  |  | IPA Wiping Solvent |  |  |  | IPA TEXPAD-pre-wetted wipe
Fipronil |  |  | Fipronil |  |  |  | Fipronil
Cotton Twill |  |  | Cotton Twill |  |  |  | IPA Pre-wetted wipe
Concentration (75 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (75 ng/ml) | Recovery (5 samples) | Avg %Rec |  | Concentration (75 ng/ml) | Recovery (5 samples) | Avg %Rec
Fipronil | 65.5 | 87.3333 | Fipornil | 45.1 | 60.1333 |  | Fipronil | 56.6 | 75.4667
75 | 70.1 | 93.4667 | 75 | 44.8 | 59.7333 |  | 75 | 53.6 | 71.4667
| 68.9 | 91.8667 |  | 48.3 | 64.4 |  |  | 73.1 | 97.4667
| 66.1 | 88.1333 |  | 52 | 69.3333 |  |  | 49.2 | 65.6
| 68.1 | 90.8 |  | 50.3 | 67.0667 |  |  | 63.2 | 84.2667
Avg | 67.74 | 90.32 | Avg | 48.1 | 64.1333 |  | Avg | 59.14 | 78.8533
SD | 1.9204 |  | SD | 3.1615 |  |  | SD | 9.3182
RSD | 2.835 |  | RSD | 6.5727 |  |  | RSD | 15.7561
Wipe Spike | 70.6 | 94.1333 | Wipe Spike | 76.8 | 102.4 |  | Wipe Spike | 71.5 | 95.3333
Procedural Blank | 0 | - | Procedural Blank | 0 | - |  | Procedural Blank | 4.02 | 5.36
Wipe Blank (50 ng/ml) | 0 | - | Wipe Blank (50 ng/ml) | 0 | - |  | Wipe Blank (50 ng/ml) | 0 | -
Cotton Gauze |  |  | Cotton Gauze
Concentration (75 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (75 ng/ml) | Recovery (5 samples) | Avg %Rec
Fipronil | 64 | 85.3333 | Fipornil | 46.9 | 62.5333
75 | 63.4 | 84.5333 | 75 | 44.6 | 59.4667
| 61.7 | 82.2667 |  | 33.3 | 44.4
| 58.7 | 78.2667 |  | 38.1 | 50.8
| 59.2 | 78.9333 |  | 39 | 52
Avg | 61.4 | 81.8667 | Avg | 40.38 | 53.84
SD | 2.3969 |  | SD | 5.421
RSD | 3.9037 |  | RSD | 13.4249
Wipe Spike | 74.6 | 99.4667 | Wipe Spike | 77.1 | 102.8
Procedural Blank | 0 | - | Procedural Blank | 0.407 | 0.54267
Wipe Blank (50 ng/ml) | 0 | - | Wipe Blank (50 ng/ml) | 0 | -
Control Spike | 84.4 | 112.5333
| ACETONE Wiping Solvent |  |  | IPA Wiping Solvent |  |  |  | IPA Wiping Solvent
Fipronil-sulfide | Pre-extraction Spike |  | Fipronil-sulfide | Pre-extraction Spike |  |  | Fipronil-sulfide | Pre-extraction Spike
Cotton Twill |  |  | Cotton Twill |  |  |  | IPA Texpad
Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec |  | Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec | Rec. Range
Fipronil-sulfide | 47.2 | 94.4 | Fipronil-sulfide | 45.2 | 90.4 |  | Fipronil-sulfide | 41.7 | 83.4
50 | 48.2 | 96.4 | 50 | 47.7 | 95.4 |  | 50 | 47 | 94
| 46.8 | 93.6 |  | 46 | 92 |  |  | 44.9 | 89.8
| 48.3 | 96.6 |  | 54.4 | 108.8 |  |  | 36.3 | 72.6
| 46 | 92 |  | 47.6 | 95.2 |  |  | 46.6 | 93.2
Avg | 47.3 | 94.6 | Avg | 48.18 | 96.36 |  | Avg | 43.3 | 86.6
SD | 0.96954 |  | SD | 3.6362 |  |  | SD | 4.4357
RSD | 2.0498 |  | RSD | 7.5471 |  |  | RSD | 10.244
Wipe Spike | 44.7 | 89.4 | Wipe Spike | 47 | 94 |  | Wipe Spike | 45.4 | 90.8
Procedural Blank | 50 | 100 | Procedural Blank | 46.5 | 93 |  | Procedural Blank | 47.1 | 94.2
Wipe Blank (50 ng/ml) | 50.6 | 101.2 | Wipe Blank (50 ng/ml) | 43.4 | 86.8 |  | Wipe Blank (50 ng/ml) | 53.4 | 106.8
Cotton Gauze |  |  | Cotton Gauze
Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec | Concentration (50 ng/ml) | Recovery (5 samples) | Avg %Rec
Fipronil-sulfide | 47.9 | 95.8 | Fipronil-sulfide | 48.2 | 96.4
50 | 46.8 | 93.6 | 50 | 46.3 | 92.6
| 47.4 | 94.8 |  | 48.5 | 97
| 48.3 | 96.6 |  | 46.3 | 92.6
| 48.4 | 96.8 |  | 44.8 | 89.6
Avg | 47.76 | 95.52 | Avg | 46.82 | 93.64
SD | 0.66558 |  | SD | 1.5287
RSD | 1.3936 |  | RSD | 3.2651
Wipe Spike | 49 | 98 | Wipe Spike | 48.2 | 96.4
Procedural Blank | 48.3 | 96.6 | Procedural Blank | 53.6 | 107.2
Wipe Blank (50 ng/ml) | 51.5 | 103 | Wipe Blank (50 ng/ml) | 47 | 94
Control Spike | 54.9 | 109.8

## Concentration effects
Fipronil
High Concentration (1.5 mg/coupon)
Twill Wipe
IPA Wiping Solvent
Pre-extraction spike
Fipronil | [5 empty] | Fipronil-sulfide
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 75 | 48.5 | 64.6667 |  |  | 1A | 50 | 55.2 | 110.4
2A | 75 | 22.1 | 29.4667 |  |  | 2A | 50 | 57.3 | 114.6
3A | 75 | 9.43 | 12.5733 |  |  | 3A | 50 | 58.1 | 116.2
Composite |  |  | 107 | 80.03 | 106.7067 |  |  |  |  | 113.7333
1B | 75 | 47.9 | 63.8667 |  |  | 1B | 50 | 58.1 | 116.2
2B | 75 | 19 | 25.3333 |  |  | 2B | 50 | 56.9 | 113.8
3B | 75 | 12.1 | 16.1333 | 79 | 105.3333 | 3B | 50 | 55.6 | 111.2
Composite |  |  | 105 | [6 empty] | 113.7333
1C | 75 | 46.4 | 61.8667 |  |  | 1C | 50 | 57.8 | 115.6
2C | 75 | 21 | 28 |  |  | 2C | 50 | 55.2 | 110.4
3C | 75 | 9.63 | 12.84 | 77.03 | 102.7067 | 3C | 50 | 56.6 | 113.2
Composite |  |  | 103 | [6 empty] | 113.0667
Composite Average for 3 samples | 75 |  |  | 78.6867 | 104.9156 | Composite Average for 3 samples | 50 |  |  | 113.5111
Std Dev |  |  |  | 1.5243 | 2.0325 | Std Dev
RSD |  |  |  | 1.9372 | 1.9372 | RSD
Wipe Spike | 75 | 81.2 | 108.2667 |  |  | Wipe Spike | 50 | 56.3 | 112.6
Fipronil
Low Concentration (0.3 mg/coupon)
Twill Wipe
IPA Wiping Solvent
Pre-extraction spike
Fipronil | [5 empty] | Fipronil-sulfide
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 60 | 36.8 | 61.3333 |  |  | 1A | 50 | 53.6 | 107.2
2A | 60 | 16.2 | 27 |  |  | 2A | 50 | 50.8 | 101.6
3A | 60 | 5.9 | 9.8333 |  |  | 3A | 50 | 52 | 104
Composite |  |  | 98 | 58.9 | 98.1667 |  |  |  |  | 104.2667
1B | 60 | 39.3 | 65.5 |  |  | 1B | 50 | 54.4 | 108.8
2B | 60 | 13.7 | 22.8333 |  |  | 2B | 50 | 50.9 | 101.8
3B | 60 | 6.05 | 10.0833 | 59.05 | 98.4167 | 3B | 50 | 50.9 | 101.8
Composite |  |  | 98 | [6 empty] | 104.1333
1C | 60 | 34.8 | 58 |  |  | 1C | 50 | 51.3 | 102.6
2C | 60 | 15 | 25 |  |  | 2C | 50 | 49.9 | 99.8
3C | 60 | 5.51 | 9.1833 | 55.31 | 92.1833 | 3C | 50 | 49.2 | 98.4
Composite |  |  | 92 | [6 empty] | 100.2667
Composite Average for 3 samples | 60 |  |  | 57.7533 | 96.2556 | Composite Average for 3 samples | 50 |  |  | 102.8889
Std Dev |  |  |  | 2.1173 |  | Std Dev
RSD |  |  |  | 3.6661 |  | RSD
Wipe Spike | 60 | 64.1 | 106.8333 |  |  | Wipe Spike | 50 | 54 | 108
Fipronil
High Concentration (1.5 mg/coupon)
Cotton Gauze Wipe
IPA Wiping Solvent
Pre-extraction spike
Fipronil | [5 empty] | Fipronil-sulfide
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 75 | 44.5 | 59.3333 |  |  | 1A | 50 | 59.2 | 118.4
2A | 75 | 17.3 | 23.0667 |  |  | 2A | 50 | 55.3 | 110.6
3A | 75 | 12.2 | 16.2667 |  |  | 3A | 50 | 59.7 | 119.4
Composite |  |  | 99 | 74 | 98.6667 |  |  |  |  | 116.1333
1B | 75 | 37 | 49.3333 |  |  | 1B | 50 | 55.4 | 110.8
2B | 75 | 18.4 | 24.5333 |  |  | 2B | 50 | 53.2 | 106.4
3B | 75 | 12.4 | 16.5333 | 67.8 | 90.4 | 3B | 50 | 55.7 | 111.4
Composite |  |  | 90 | [6 empty] | 109.5333
1C | 75 | 39.1 | 52.1333 |  |  | 1C | 50 | 54.5 | 109
2C | 75 | 19.4 | 25.8667 |  |  | 2C | 50 | 54.5 | 109
3C | 75 | 11.8 | 15.7333 | 70.3 | 93.7333 | 3C | 50 | 56.1 | 112.2
Composite |  |  | 94 | [6 empty] | 110.0667
Composite Average for 3 samples | 75 |  |  | 70.7 | 94.2667 | Composite Average for 3 samples | 50 |  |  | 111.9111
Std Dev |  |  |  | 3.1193 |  | Std Dev
RSD |  |  |  | 4.412 |  | RSD
Wipe Spike | 75 | 81.8 | 109.0667 |  |  | Wipe Spike | 50 | 57.4 | 114.8
Fipronil
Low Concentration (0.3 mg/coupon)
Cotton Gauze Wipe
IPA Wiping Solvent
Pre-extraction spike
Fipronil | [5 empty] | Fipronil-sulfide
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 60 | 29.9 | 49.8333 |  |  | 1A | 50 | 51.5 | 103
2A | 60 | 12.6 | 21 |  |  | 2A | 50 | 52.2 | 104.4
3A | 60 | 6.19 | 10.3167 |  |  | 3A | 50 | 49.4 | 98.8
Composite |  |  | 81 | 48.69 | 81.15 |  |  |  |  | 102.0667
1B | 60 | 29.4 | 49 |  |  | 1B | 50 | 52.1 | 104.2
2B | 60 | 15.1 | 25.1667 |  |  | 2B | 50 | 49.1 | 98.2
3B | 60 | 9.23 | 15.3833 | 53.73 | 89.55 | 3B | 50 | 51.6 | 103.2
Composite |  |  | 90 | [6 empty] | 101.8667
1C | 60 | 34.2 | 57 |  |  | 1C | 50 | 48.7 | 97.4
2C | 60 | 8.67 | 14.45 |  |  | 2C | 50 | 47.3 | 94.6
3C | 60 | 6.89 | 11.4833 | 49.76 | 82.9333 | 3C | 50 | 52.8 | 105.6
Composite |  |  | 83 | [6 empty] | 99.2
Composite Average for 3 samples | 60 |  |  | 50.7267 | 84.5444 | Composite Average for 3 samples | 50 |  |  | 101.0444
Std Dev |  |  |  | 2.6554 |  | Std Dev |  |  |  | 1.6005
RSD |  |  |  | 5.2348 |  | RSD |  |  |  | 1.5839
Wipe Spike | 60 | 65.7 | 109.5 |  |  | Wipe Spike | 50 | 54.6 | 109.2
Permethrin
High Concentration (51 mg/coupon)
Twill Wipe
IPA Wiping Solvent
Pre-extraction spike
Permethrin-trans | [5 empty] | permethrin-cis | [5 empty] | permethrin-aggregate | [5 empty] | Bifenthrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg Rec | Avg % Rec.
1A | 49.0385 | 16.4 | 33.4431 |  |  | 1A | 49.0385 | 11.8 | 24.0627 |  |  | 1A | 49.0385 | 28.2 | 57.5058 |  |  | 1A | 10 | 12.3 | 123
2A | 49.0385 | 6.3 | 12.847 |  |  | 2A | 49.0385 | 4.36 | 8.891 |  |  | 2A | 49.0385 | 10.66 | 21.738 |  |  | 2A | 10 | 11.1 | 111
3A | 49.0385 | 3.36 | 6.8518 |  |  | 3A | 49.0385 | 2.24 | 4.5678 |  |  | 3A | 49.0385 | 5.6 | 11.4196 |  |  | 3A | 10 | 10.7 | 107
|  |  |  | 26.06 | 53.1419 |  |  |  |  | 18.4 | 37.5215 | Composite |  |  | 91 | 44.46 | 90.7347 |  |  |  |  | 11.3667 | 113.6667
1B | 49.0385 | 20.5 | 41.8039 |  |  | 1B | 49.0385 | 15.2 | 30.9961 |  |  | 1B | 49.0385 | 35.7 | 72.7999 |  |  | 1B | 10 | 14.8 | 148
2B | 49.0385 | 8.78 | 17.9043 |  |  | 2B | 49.0385 | 6.21 | 12.6635 |  |  | 2B | 49.0385 | 14.99 | 30.5678 |  |  | 2B | 10 | 13.1 | 131
3B | 49.0385 | 3.42 | 6.9741 | 32.7 | 66.6823 | 3B | 49.0385 | 2.55 | 5.2 |  |  | 3B | 49.0385 | 5.97 | 12.1741 |  |  | 3B | 10 | 13.7 | 137
[10 empty] | 23.96 | 48.8596 | Composite |  |  | 116 | 56.66 | 115.6327 |  |  |  |  | 13.8667 | 138.6667
1C | 49.0385 | 15.1 | 30.7921 |  |  | 1C | 49.0385 | 10.7 | 21.8196 |  |  | 1C | 49.0385 | 25.8 | 52.6117 |  |  | 1C | 10 | 11.4 | 114
2C | 49.0385 | 8.33 | 16.9867 |  |  | 2C | 49.0385 | 5.79 | 11.807 |  |  | 2C | 49.0385 | 14.12 | 28.7937 |  |  | 2C | 10 | 14.1 | 141
3C | 49.0385 | 3.97 | 8.0957 | 27.4 | 55.8745 | 3C | 49.0385 | 2.88 | 5.8729 |  |  | 3C | 49.0385 | 6.85 | 13.9686 |  |  | 3C | 10 | 13.5 | 135
[10 empty] | 19.37 | 39.4996 | Composite |  |  | 95 | 46.77 | 95.449 |  |  |  |  | 13 | 130
Composite Average for 3 samples | 49.0385 |  |  | 28.72 | 58.5662 | Composite Average for 3 samples | 49.0385 |  |  | 20.5767 | 41.9602 | Composite Average for 3 samples | 49.0385 |  |  | 49.2967 | 100.6054 | Composite Average for 3 samples | 10 |  |  |  | 127.4444
Std Dev |  |  |  | 3.5113 |  | Std Dev |  |  |  | 2.9699 |  | Std Dev |  |  |  | 6.4806 |  | Std Dev |  | 1.4388 |  | 12.6944
RSD |  |  |  | 12.226 |  | RSD |  |  |  | 14.4334 |  | RSD |  |  |  | 13.1461 |  | RSD
Wipe Spike | 49.0385 | 33.3 | 67.9058 |  |  | Wipe Spike | 49.0385 | 25.5 | 52 |  |  | Wipe Spike | 49.0385 | 58.8 | 119.9058 |  |  | Wipe Spike | 10 | 14.3 | 143
Permethrin
Low Concentration (5 mg/coupon)
Twill Wipe
IPA Wiping Solvent
Permethrin-trans | [5 empty] | permethrin-cis | [5 empty] | permethrin-aggregate | [5 empty] | Bifenthrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg Rec | Avg % Rec.
1A | 100 | 38.8 | 38.8 |  |  | 1A | 100 | 25.6 | 25.6 |  |  | 1A | 100 | 64.4 | 64.4 |  |  | 1A | 5 | 2.47 | 49.4
2A | 100 | 9.2 | 9.2 |  |  | 2A | 100 | 6.06 | 6.06 |  |  | 2A | 100 | 15.26 | 15.26 |  |  | 2A | 5 | 3.76 | 75.2
3A | 100 | 3.79 | 3.79 |  |  | 3A | 100 | 2.32 | 2.32 |  |  | 3A | 100 | 6.11 | 6.11 |  |  | 3A | 5 | 2.35 | 47
|  |  |  | 51.79 | 51.79 |  |  |  |  | 33.98 | 33.98 | Composite |  |  | 86 | 85.77 | 85.77 |  |  |  |  | 2.86 | 57.2
1B | 100 | 32.7 | 32.7 |  |  | 1B | 100 | 21.3 | 21.3 |  |  | 1B | 100 | 54 | 54 |  |  | 1B | 5 | 2.49 | 49.8
2B | 100 | 13.6 | 13.6 |  |  | 2B | 100 | 8.93 | 8.93 |  |  | 2B | 100 | 22.53 | 22.53 |  |  | 2B | 5 | 3.16 | 63.2
3B | 100 | 5.5 | 5.5 | 51.8 | 51.8 | 3B | 100 | 3.43 | 3.43 |  |  | 3B | 100 | 8.93 | 8.93 |  |  | 3B | 5 | 2.47 | 49.4
[10 empty] | 33.66 | 33.66 | Composite |  |  | 85 | 85.46 | 85.46 |  |  |  |  | 2.7067 | 54.1333
1C | 100 | 30.8 | 30.8 |  |  | 1C | 100 | 21.2 | 21.2 |  |  | 1C | 100 | 52 | 52 |  |  | 1C | 5 | 2.66 | 53.2
2C | 100 | 14 | 14 |  |  | 2C | 100 | 9.3 | 9.3 |  |  | 2C | 100 | 23.3 | 23.3 |  |  | 2C | 5 | 2.48 | 49.6
3C | 100 | 5.14 | 5.14 | 49.94 | 49.94 | 3C | 100 | 3.3 | 3.3 |  |  | 3C | 100 | 8.44 | 8.44 |  |  | 3C | 5 | 2.19 | 43.8
[10 empty] | 33.8 | 33.8 | Composite |  |  | 84 | 83.74 | 83.74 |  |  |  |  | 2.4433 | 48.8667
Composite Average for 3 samples | 100 |  |  | 51.1767 | 51.1767 | Composite Average for 3 samples | 100 |  |  | 33.8133 |  | Composite Average for 3 samples | 100 |  |  | 84.99 | 84.99 | Composite Average for 3 samples | 5 |  |  | 2.67
Std Dev |  |  |  | 1.071 |  | Std Dev | [5 empty] | Std Dev |  |  |  |  | 1.0936 | Std Dev
RSD |  |  |  | 2.0927 |  | RSD | [5 empty] | RSD |  |  |  |  | 1.2867 | RSD
Wipe Spike | 100 | 61.2 | 61.2 |  |  | Wipe Spike | 100 | 40.9 | 40.9 |  |  | Wipe Spike | 100 | 102.1 | 102.1 |  |  | Wipe Spike | 5 | 2.55 | 51
Permethrin
High Concentration (51 mg/coupon)
Cotton Gauze Wipe
IPA Wiping Solvent
Permethrin-trans | [5 empty] | permethrin-cis | [5 empty] | permethrin-aggregate | [5 empty] | Bifenthrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg Rec | Avg % Rec.
1A | 49.0385 | 18.7 | 38.1333 |  |  | 1A | 49.0385 | 13 | 26.5098 |  |  | 1A | 49.0385 | 31.7 | 64.6431 |  |  | 1A | 10 | 10.7 | 107
2A | 49.0385 | 3.85 | 7.851 |  |  | 2A | 49.0385 | 2.45 | 4.9961 |  |  | 2A | 49.0385 | 6.3 | 12.847 |  |  | 2A | 10 | 10.5 | 105
3A | 49.0385 | 2.49 | 5.0776 |  |  | 3A | 49.0385 | 1.66 | 3.3851 |  |  | 3A | 49.0385 | 4.15 | 8.4627 |  |  | 3A | 10 | 10.4 | 104
|  |  |  | 25.04 | 51.0619 | Composite |  |  | 35 | 17.11 | 34.891 | Composite |  |  | 86 | 42.15 | 85.9529 |  |  |  |  | 10.5333 | 105.3333
1B | 49.0385 | 19 | 38.7451 |  |  | 1B | 49.0385 | 14 | 28.549 |  |  | 1B | 49.0385 | 33 | 67.2941 |  |  | 1B | 10 | 11.5 | 115
2B | 49.0385 | 4.66 | 9.5027 |  |  | 2B | 49.0385 | 3.08 | 6.2808 |  |  | 2B | 49.0385 | 7.74 | 15.7835 |  |  | 2B | 10 | 9.4 | 94
3B | 49.0385 | 2.29 | 4.6698 | 25.95 | 52.9176 | 3B | 49.0385 | 1.68 | 3.4259 |  |  | 3B | 49.0385 | 3.97 | 8.0957 |  |  | 3B | 10 | 12.2 | 122
[6 empty] | Composite |  |  | 38 | 18.76 | 38.2557 | Composite |  |  | 91 | 44.71 | 91.1733 |  |  |  |  | 11.0333 | 110.3333
1C | 49.0385 | 18 | 36.7059 |  |  | 1C | 49.0385 | 12.4 | 25.2863 |  |  | 1C | 49.0385 | 30.4 | 61.9921 |  |  | 1C | 10 | 11.8 | 118
2C | 49.0385 | 4.48 | 9.1357 |  |  | 2C | 49.0385 | 3.33 | 6.7906 |  |  | 2C | 49.0385 | 7.81 | 15.9263 |  |  | 2C | 10 | 12.3 | 123
3C | 49.0385 | 4.42 | 9.0133 | 26.9 | 54.8549 | 3C | 49.0385 | 3.16 | 6.4439 |  |  | 3C | 49.0385 | 7.58 | 15.4572 |  |  | 3C | 10
[6 empty] | Composite |  |  | 39 | 18.89 | 38.5208 | Composite |  |  | 93 | 45.79 | 93.3756 |  |  | 21.2 |  | 12.05 | 120.5
Composite Average for 3 samples | 49.0385 |  |  | 25.9633 | 52.9448 | Composite Average for 3 samples | 49.0385 |  |  | 18.2533 | 37.2225 | Composite Average for 3 samples | 49.0385 |  |  | 44.2167 | 90.1672 | Composite Average for 3 samples | 10 |  |  | 11.2056
Std Dev |  |  |  | 0.93007 | 1.8966 | Std Dev | [5 empty] | Std Dev |  |  |  | 1.8695 |  | Std Dev
RSD |  |  |  | 3.5823 | 3.5823 | RSD | [5 empty] | RSD |  |  |  | 4.228 |  | RSD
Wipe Spike | 49.0385 | 28.4 | 57.9137 |  |  | Wipe Spike | 49.0385 | 18.8 | 38.3372 |  |  | Wipe Spike | 49.0385 | 47.2 | 96.2509 |  |  | Wipe Spike | 10 | 10.3 | 103
Permethrin
Low Concentration (5 mg/coupon)
Cotton Gauze Wipe
IPA Wiping Solvent
Permethrin-trans | [5 empty] | permethrin-cis | [5 empty] | permethrin-aggregate | [5 empty] | Bifenthrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg Rec | Avg % Rec.
1A | 100 | 28.1 | 28.1 |  |  | 1A | 100 | 18.6 | 18.6 |  |  | 1A | 100 | 46.7 | 46.7 |  |  | 1A | 5 | 2.49 | 49.8
2A | 100 | 6.25 | 6.25 |  |  | 2A | 100 | 3.82 | 3.82 |  |  | 2A | 100 | 10.07 | 10.07 |  |  | 2A | 5 | 2.33 | 46.6
3A | 100 | 5.78 | 5.78 |  |  | 3A | 100 | 3.62 | 3.62 |  |  | 3A | 100 | 9.4 | 9.4 |  |  | 3A | 5 | 2.05 | 41
|  |  |  | 40.13 | 40.13 |  |  |  |  | 26.04 | 26.04 | Composite |  |  | 66 | 66.17 | 66.17 |  |  |  |  | 2.29 | 45.8
1B | 100 | 23.7 | 23.7 |  |  | 1B | 100 | 15.4 | 15.4 |  |  | 1B | 100 | 39.1 | 39.1 |  |  | 1B | 5 | 2.48 | 49.6
2B | 100 | 10.2 | 10.2 |  |  | 2B | 100 | 6.61 | 6.61 |  |  | 2B | 100 | 16.81 | 16.81 |  |  | 2B | 5 | 2.26 | 45.2
3B | 100 | 7.17 | 7.17 | 41.07 | 41.07 | 3B | 100 | 4.51 | 4.51 |  |  | 3B | 100 | 11.68 | 11.68 |  |  | 3B | 5 | 2.22 | 44.4
[10 empty] | 26.52 | 26.52 | Composite |  |  | 68 | 67.59 | 67.59 |  |  |  |  | 2.32 | 46.4
1C | 100 | 28.3 | 28.3 |  |  | 1C | 100 | 19.2 | 19.2 |  |  | 1C | 100 | 47.5 | 47.5 |  |  | 1C | 5 | 2.75 | 55
2C | 100 | 10.2 | 10.2 |  |  | 2C | 100 | 6.62 | 6.62 |  |  | 2C | 100 | 16.82 | 16.82 |  |  | 2C | 5 | 2.15 | 43
3C | 100 | 4.11 | 4.11 | 42.61 | 42.61 | 3C | 100 | 2.53 | 2.53 |  |  | 3C | 100 | 6.64 | 6.64 |  |  | 3C | 5 | 2.6 | 52
[10 empty] | 28.35 | 28.35 | Composite |  |  | 71 | 70.96 | 70.96 |  |  |  |  | 2.5 | 50
Composite Average for 3 samples | 100 |  |  | 41.27 | 41.27 | Composite Average for 3 samples | 100 |  |  | 26.97 |  | Composite Average for 3 samples | 100 |  |  | 68.24 | 68.24 | Composite Average for 3 samples | 5 |  |  | 2.37
Std Dev |  |  |  | 1.252 |  | Std Dev | [5 empty] | Std Dev |  |  |  |  | 2.4603 | Std Dev
RSD |  |  |  | 3.0338 |  | RSD | [5 empty] | RSD |  |  |  |  | 3.6053 | RSD
Wipe Spike | 100 | 59.4 | 59.4 |  |  | Wipe Spike | 100 | 40.1 | 40.1 |  |  | Wipe Spike | 100 | 99.5 | 99.5 |  |  | Wipe Spike | 5 | 2.42 | 48.4
Deltamethrin
High Concentration (45 mg/coupon)
Twill Wipe
IPA Wiping Solvent
Pre-extraction spike
Deltamethrin | [5 empty] | Cypermethrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 86.5385 | 30.1 | 34.7822 |  |  | 1A | 22 | 20.8 | 94.5455
2A | 86.5385 | 15.9 | 18.3733 |  |  | 2A | 22 | 19.6 | 89.0909
3A | 86.5385 | 11.8 | 13.6355 |  |  | 3A | 22 | 20.7 | 94.0909
Composite |  |  | 67 | 57.8 | 66.7911 |  |  |  |  | 92.5758
1B | 86.5385 | 43.4 | 50.1511 |  |  | 1B | 22 | 19.6 | 89.0909
2B | 86.5385 | 14.4 | 16.64 |  |  | 2B | 22 | 21 | 95.4545
3B | 86.5385 | 9.91 | 11.4516 | 67.71 | 78.2426 | 3B | 22 | 26.1 | 118.6364
Composite |  |  | 78.2 | [6 empty] | 101.0606
1C | 86.5385 | 39.3 | 45.4133 |  |  | 1C | 22 | 20.7 | 94.0909
2C | 86.5385 | 15.5 | 17.9111 |  |  | 2C | 22 | 20.8 | 94.5455
3C | 86.5385 | 8.7 | 10.0533 | 63.5 | 73.3777 | 3C | 22 | 20.3 | 92.2727
Composite |  |  | 73.4 | [6 empty] | 93.6364
Composite Average for 3 samples |  |  |  | 63.0033 | 72.8038 | Composite Average for 3 samples |  |  |  | 95.7576
Std Dev |  |  |  | 4.9736 |  | Std Dev
RSD |  |  |  | 7.8942 |  | RSD
Wipe Spike | 86.5385 | 78 | 90.1333 |  |  | Wipe Spike | 22 | 19.3 | 87.7273
Deltamethrin
Low Concentration (0.25 mg/coupon)
Twill Wipe
IPA Wiping Solvent
Pre-extraction spike
Deltamethrin | [5 empty] | Cypermethrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 100 | 50.4 | 50.4 |  |  | 1A | 50 | 49 | 98
2A | 100 | 23.8 | 23.8 |  |  | 2A | 50 | 46.6 | 93.2
3A | 100 | 11.5 | 11.5 |  |  | 3A | 50 | 46.4 | 92.8
Composite |  |  | 86 | 85.7 | 85.7 |  |  |  |  | 94.6667
1B | 100 | 52.9 | 52.9 |  |  | 1B | 50 | 47.3 | 94.6
2B | 100 | 20.5 | 20.5 |  |  | 2B | 50 | 42.4 | 84.8
3B | 100 | 10.3 | 10.3 | 83.7 | 83.7 | 3B | 50 | 48.9 | 97.8
Composite |  |  | 84 | [6 empty] | 92.4
1C | 100 | 54.7 | 54.7 |  |  | 1C | 50 | 47 | 94
2C | 100 | 20.5 | 20.5 |  |  | 2C | 50 | 47 | 94
3C | 100 | 12.3 | 12.3 | 87.5 | 87.5 | 3C | 50 | 46.7 | 93.4
Composite |  |  | 88 | [6 empty] | 93.8
Composite Average for 3 samples | 100 |  |  | 85.6333 | 85.6333 | Composite Average for 3 samples | 50 |  |  | 93.6222
Std Dev |  |  |  | 1.9009 |  | Std Dev
RSD |  |  |  | 2.2198 |  | RSD
Wipe Spike | 100 | 97.8 | 97.8 |  |  | Wipe Spike | 50 | 46.7 | 93.4
Deltamethrin
High Concentration (45 mg/coupon)
Cotton Gauze Wipe
IPA Wiping Solvent
Pre-extraction spike
Deltamethrin | [5 empty] | Cypermethrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 86.5385 | 47.8 | 55.2355 |  |  | 1A | 22 | 22.3 | 101.3636
2A | 86.5385 | 9.08 | 10.4924 |  |  | 2A | 22 | 20.8 | 94.5455
3A | 86.5385 | 5.26 | 6.0782 |  |  | 3A | 22 | 19.8 | 90
Composite |  |  | 72 | 62.14 | 71.8062 |  |  |  |  | 95.303
1B | 86.5385 | 39.2 | 45.2978 |  |  | 1B | 22 | 19.8 | 90
2B | 86.5385 | 8.81 | 10.1804 |  |  | 2B | 22 | 19.1 | 86.8182
3B | 86.5385 | 6.32 | 7.3031 | 54.33 | 62.7813 | 3B | 22 | 19.6 | 89.0909
Composite |  |  | 63 | [6 empty] | 88.6364
1C | 86.5385 | 42.6 | 49.2266 |  |  | 1C | 22 | 20.2 | 91.8182
2C | 86.5385 | 9.31 | 10.7582 |  |  | 2C | 22 | 20 | 90.9091
3C | 86.5385 | 5.5 | 6.3556 | 57.41 | 66.3404 | 3C | 22 | 20 | 90.9091
Composite |  |  | 66 | [6 empty] | 91.2121
Composite Average for 3 samples |  |  |  | 57.96 | 66.976 | Composite Average for 3 samples |  |  |  | 91.7172
Std Dev |  |  |  | 3.9339 |  | Std Dev
RSD |  |  |  | 6.7873 |  | RSD
Wipe Spike | 86.5385 | 93.7 | 108.2755 |  |  | Wipe Spike | 22 | 23 | 104.5455
Deltamethrin
Low Concentration (0.25 mg/coupon)
Cotton Gauze Wipe
IPA Wiping Solvent
Pre-extraction spike
Deltamethrin | [5 empty] | Cypermethrin
Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Composite Recovery (ng/ml) | % Recovery of Composite | Wipe # | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Avg % Rec.
1A | 100 | 29 | 29 |  |  | 1A | 50 | 45.3 | 90.6
2A | 100 | 15.4 | 15.4 |  |  | 2A | 50 | 44.4 | 88.8
3A | 100 | 10.6 | 10.6 |  |  | 3A | 50 | 45.1 | 90.2
Composite |  |  | 55 | 55 | 55 |  |  |  |  | 89.8667
1B | 100 | 28.3 | 28.3 |  |  | 1B | 50 | 43.8 | 87.6
2B | 100 | 20.9 | 20.9 |  |  | 2B | 50 | 45.7 | 91.4
3B | 100 | 14.3 | 14.3 | 63.5 | 63.5 | 3B | 50 | 44.9 | 89.8
Composite |  |  | 64 | [6 empty] | 89.6
1C | 100 | 39.4 | 39.4 |  |  | 1C | 50 | 43.1 | 86.2
2C | 100 | 12.8 | 12.8 |  |  | 2C | 50 | 42.8 | 85.6
3C | 100 | 7.97 | 7.97 | 60.17 | 60.17 | 3C | 50 | 44.3 | 88.6
Composite |  |  | 60 | [6 empty] | 86.8
Composite Average for 3 samples | 100 |  |  | 59.5567 | 59.5567 | Composite Average for 3 samples | 50 |  |  | 88.7556
Std Dev |  |  |  | 4.2831 |  | Std Dev
RSD |  |  |  | 7.1916 |  | RSD
Wipe Spike | 100 | 92.8 | 92.8 |  |  | Wipe Spike | 50 | 44.1 | 88.2

## Formulation and Test Surfaces
IPA-TWILL Wipes-Fipronil
| High Concentration | 1.5 mg/coupon
IPA | TWILL | IPA
VINYL TILE
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-FP-CW-V-IPA-TC-1 | 75 | 34.1 | 45.4667
2 | 84-P3-FP-CW-V-IPA-TC-2 | 75 | 36.8 | 49.0667
2 | 84-P3-FP-CW-V-IPA-TC-3 | 75 | 36.9 | 49.2
2 | 84-P3-FP-CW-V-IPA-TC-4 | 75 | 30.4 | 40.5333
2 | 84-P3-FP-CW-V-IPA-TC-5 | 75 | 36.5 | 48.6667
| Average for 5 samples | 75 | 34.94 | 46.5867
| Std Dev |  | 2.7862
| RSD |  | 7.9743
| 84-P3-FP-CW-V-IPA-WS-1 | 75 | 74 | 98.6667
IPA-TWILL Wipes-Fipronil
| High Concentration | 1.5 mg/coupon
IPA | TWILL | IPA
WOOD
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-FP-CW-W-IPA-TC-1 | 75 | 0.125 | 0.16667
2 | 84-P3-FP-CW-W-IPA-TC-2 | 75 | 0.75 | 1
2 | 84-P3-FP-CW-W-IPA-TC-3 | 75 | 0.77 | 1.0267
2 | 84-P3-FP-CW-W-IPA-TC-4 | 75 | 0.33 | 0.44
2 | 84-P3-FP-CW-W-IPA-TC-5 | 75 | 0.51 | 0.68
| Average for 5 samples | 75 | 0.497 | 0.66267
| Std Dev |  | 0.27612
| RSD |  | 55.5583
| 84-P3-FP-CW-W-IPA-WS-1 | 75 | 70.3 | 93.7333
IPA-TWILL Wipes-
| High Concentration | 1.5 mg/coupon
TWILL
IPA | Stainless Steel-Fipronil Formulation-Termidor SC |  |  |  | IPA | Stainless Steel-Fipronil Formulation-Termidor WG
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-FPT-CW-S-IPA-TC-1 | 75 | 51.4 | 68.5333 | 2 | 84-P3-FPT-CW-S-IPA-TC-1 | 75 | 44.4 | 59.2
2 | 84-P3-FPT-CW-S-IPA-TC-2 | 75 | 51.6 | 68.8 | 2 | 84-P3-FPT-CW-S-IPA-TC-2 | 75 | 54.5 | 72.6667
2 | 84-P3-FPT-CW-S-IPA-TC-3 | 75 | 47.5 | 63.3333 | 2 | 84-P3-FPT-CW-S-IPA-TC-3 | 75 | 56.6 | 75.4667
2 | 84-P3-FPT-CW-S-IPA-TC-4 | 75 | 54.2 | 72.2667 | 2 | 84-P3-FPT-CW-S-IPA-TC-4 | 75 | 57.3 | 76.4
2 | 84-P3-FPT-CW-S-IPA-TC-5 | 75 | 53.7 | 71.6 | 2 | 84-P3-FPT-CW-S-IPA-TC-5 | 75 | 51.1 | 68.1333
| Average for 5 samples | 75 | 51.68 | 68.9067 |  | Average for 5 samples | 75 | 52.78 | 70.3733
| Std Dev |  | 2.6452 |  |  | Std Dev |  | 5.2685
| RSD |  | 5.1184 |  |  | RSD |  | 9.982
| 84-P3-FPT-CW-P-IPA-WS-1 | 75 | 71.1 | 94.8 |  | 84-P3-FPT-CW-P-IPA-WS-1 | 75 | 76.9 | 102.5333
| IPA-TWILL Wipes |  |  |  |  | IPA-TWILL Wipes
| High Concentration |  |  |  |  | High Concentration
| TWILL |  |  |  |  | TWILL
IPA | Vinyl-Fipronil Formulation-Termidor SC |  |  |  | IPA | Vinyl-Fipronil Formulation-Termidor WG
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery | Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-FPT-CW-V-IPA-TC-1 | 75 | 42.4 | 56.5333 | 2 | 84-P3-FPT-CW-V-IPA-TC-1 | 75 | 33.7 | 44.9333
2 | 84-P3-FPT-CW-V-IPA-TC-2 | 75 | 38.8 | 51.7333 | 2 | 84-P3-FPT-CW-V-IPA-TC-2 | 75 | 35.3 | 47.0667
2 | 84-P3-FPT-CW-V-IPA-TC-3 | 75 | 37.8 | 50.4 | 2 | 84-P3-FPT-CW-V-IPA-TC-3 | 75 | 32 | 42.6667
2 | 84-P3-FPT-CW-V-IPA-TC-4 | 75 | 34.2 | 45.6 | 2 | 84-P3-FPT-CW-V-IPA-TC-4 | 75 | 41.3 | 55.0667
2 | 84-P3-FPT-CW-V-IPA-TC-5 | 75 | 42.5 | 56.6667 | 2 | 84-P3-FPT-CW-V-IPA-TC-5 | 75 | 40.3 | 53.7333
| Average for 5 samples | 75 | 39.14 | 52.1867 |  | Average for 5 samples | 75 | 36.52 | 48.6933
| Std Dev |  | 3.4725 |  |  | Std Dev |  | 4.0929
| RSD |  | 8.8719 |  |  | RSD |  | 11.2073
| 84-P3-FPT-CW-P-IPA-WS-1 | 75 | 71.1 | 94.8 |  | 84-P3-FPT-CW-P-IPA-WS-1 | 75 | 76.9 | 102.5333
IPA-TWILL Wipes-Permethrin
| High Concentration | 51 mg/coupon
IPA | TWILL | IPA
VINYL TILE
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-PE-CW-V-IPA-TC-1 | 51 | 25.19 | 49.3922
2 | 84-P3-PE-CW-V-IPA-TC-2 | 51 | 30 | 58.8235
2 | 84-P3-PE-CW-V-IPA-TC-3 | 51 | 25.3 | 49.6078
2 | 84-P3-PE-CW-V-IPA-TC-4 | 51 | 27.4 | 53.7255
2 | 84-P3-PE-CW-V-IPA-TC-5 | 51 | 24.1 | 47.2549
| Average for samples | 51 | 26.4 | 51.7647
| Std Dev |  | 2.3
| RSD |  | 8.89
| 84-P3-PE-CW-V-IPA-WS-1 | 51 | 53.5 | 104.902
IPA-TWILL Wipes-Permethrin
| High Concentration | 51 mg/coupon
IPA | TWILL | IPA
WOOD
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-PE-CW-P-IPA-TC-1 | 51 | 1.32 | 2.5882
2 | 84-P3-PE-CW-P-IPA-TC-2 | 51 | 1.25 | 2.451
2 | 84-P3-PE-CW-P-IPA-TC-3 | 51 | 1.33 | 2.6078
2 | 84-P3-PE-CW-P-IPA-TC-4 | 51 | 1.35 | 2.6471
2 | 84-P3-PE-CW-P-IPA-TC-5 | 51 | 1.26 | 2.4706
| Average for samples | 51 | 1.3 | 2.549
Std Dev
| RSD |  | 3.48
| 84-P3-PE-CW-P-IPA-WS-1 | 51 |  | 0
IPA-TWILL Wipes-Deltamethrin
| High Concentration | 45 mg/coupon
IPA | TWILL | IPA
VINYL TILE
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-PE-CW-V-IPA-TC-1 | 45 | 35.9 | 79.7778
2 | 84-P3-PE-CW-V-IPA-TC-2 | 45 | 35.2 | 78.2222
2 | 84-P3-PE-CW-V-IPA-TC-3 | 45 | 35.6 | 79.1111
2 | 84-P3-PE-CW-V-IPA-TC-4 | 45 | 30.2 | 67.1111
2 | 84-P3-PE-CW-V-IPA-TC-5 | 45 | 31.7 | 70.4444
| Average for 3 samples | 45 | 33.72 | 74.9333
| Std Dev |  | 2.5956
| RSD |  | 7.6974
| 84-P3-PE-CW-V-IPA-WS-1 | 45 | 75.7 | 168.2222
IPA-TWILL Wipes-Deltamethrin
| High Concentration | 51 mg/coupon
IPA | TWILL | IPA
WOOD
Wipe # (composite) | Sample Name | Experimental Amt (ng/ml) | Calculated Amt (ng/ml) | % Recovery
2 | 84-P3-PE-CW-P-IPA-TC-1 | 45 | 3.44 | 7.6444
2 | 84-P3-PE-CW-P-IPA-TC-2 | 45 | 3.21 | 7.1333
2 | 84-P3-PE-CW-P-IPA-TC-3 | 45 | 3.28 | 7.2889
2 | 84-P3-PE-CW-P-IPA-TC-4 | 45 | 3.05 | 6.7778
2 | 84-P3-PE-CW-P-IPA-TC-5 | 45 | 3.1 | 6.8889
| Average for 3 samples | 45 | 3.216 | 7.1467
| Std Dev |  | 0.15437
| RSD |  | 4.8001
| 84-P3-PE-CW-P-IPA-WS-1 | 45 | 61.6 | 136.8889