- Summary of results

Table 1: Sampling information

Table 2: Analysis data from University of Cincinnati

Compound Information

Calibration Plots

Results: PFOA (100 µg/L) and Filter effect

Table 3: Summary of analysis results

- Data qualifiers

Answer: We did not face any problem with the data, storage, handling, and analysis.

Samples were stored at 4 oC before analysis.

- Method informations

Answer: Simultaneous Qualitative and Quantitative Analysis of Perfluoroalkyl Substances (PFASs) in Water Samples by Direct Injection Using Agilent 6540 UHD Accurate-Mass Q-TOF LC/MS from University of Cincinnati

Q-TOF Quick auto Tune report

- Raw data

Please see section a.

- Sample information

Table 4: Chain of Custody