## Data Dictionary
NS - Not Specified
ND - No Detection
Inf-contamination
COP- Copper Pipe
PVC- PVC Pipe
PEX- Cross linked
Temp - Temperature
TOC - Total Organic Carbon
Dup - Duplicate
Hr - Hour
ng/L - nanograms per liter
mg/L - milligrams per liter
C - Celsius
NTU - Nephelomeric Turbidity Unit

## Light Water Test
Method: | OSM B15 |  | Analyst: | Eurofins TestAmerica, Saramento, CA
Analysis Date | Day | Sample Name | Lab ID | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFHpA (ng/L) | PFHxS (ng/L) | PFHxA (ng/L) | PFNA (ng/L) | PFOS (ng/L) | PFOA (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2021-08-14 | 1 | Day1-INF | 320-77161-4 | 4000000 | ND | ND | 1500000 | 26000000 | 6400000 | ND | 240000000 | 6100000 | ND | ND | ND
2021-08-13 | 1 | Day1-T0-BPEX2 | 320-77161-2 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-08-13 | 1 | Day1-T0-COP2 | 320-77161-1 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-08-13 | 1 | Day1-T0-PVC2 | 320-77161-3 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-BPEX1 | 320-77161-8 | 5200000 | ND | ND | 2100000 | 18000000 | 4200000 | ND | 120000000 | 7300000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-BPEX2 | 320-77161-9 | 4200000 | ND | ND | 1400000 | 31000000 | 5700000 | ND | 140000000 | 6900000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-BPEX3 | 320-77161-10 | 3400000 | ND | ND | 1500000 | 24000000 | 4700000 | ND | 250000000 | 6300000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-COP1 | 320-77161-5 | 4900000 | ND | ND | 1300000 | 21000000 | 5200000 | ND | 180000000 | 6700000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-COP2 | 320-77161-6 | 3700000 | ND | ND | 1500000 | 18000000 | 4200000 | ND | 190000000 | 4900000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-COP3 | 320-77161-7 | 4300000 | ND | ND | 1300000 | 25000000 | 5300000 | ND | 130000000 | 4200000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-PVC1 | 320-77161-11 | 3900000 | ND | ND | 1100000 | 20000000 | 6300000 | ND | 210000000 | 7000000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-PVC2 | 320-77161-12 | 4600000 | ND | ND | 1200000 | 23000000 | 5200000 | ND | 180000000 | 5600000 | ND | ND | ND
2021-08-14 | 1 | Day1-4Hr-PVC3 | 320-77161-13 | 5000000 | ND | ND | 1700000 | 19000000 | 6200000 | ND | 220000000 | 7800000 | ND | ND | ND
2021-08-13 | 1 | Day1-20min-BPEX1 | 320-77161-17 | 1200 | ND | ND | ND | 6900 | 2000 | ND | 80000 | 2000 | ND | ND | ND
2021-08-14 | 1 | Day1-20min-BPEX2 | 320-77161-18 | ND | ND | ND | ND | 280000 | 57000 | ND | 2100000 | 66000 | ND | ND | ND
2021-08-13 | 1 | Day1-20min-BPEX3 | 320-77161-19 | 2000 | ND | ND | ND | 12000 | 3000 | ND | 91000 | 3100 | ND | ND | ND
2021-08-14 | 1 | Day1-20min-COP1 | 320-77161-14 | ND | ND | ND | ND | 14000 | ND | ND | 190000 | ND | ND | ND | ND
2021-08-14 | 1 | Day1-20min-COP2 | 320-77161-15 | 33000 | ND | ND | 11000 | 160000 | 44000 | ND | 1600000 | 42000 | ND | ND | ND
2021-08-16 | 1 | Day1-20min-COP3 | 320-77161-16 | ND | ND | ND | ND | 13000 | ND | ND | 210000 | ND | ND | ND | ND
2021-08-13 | 1 | Day1-20mins-PVC1 | 320-77161-20 | 2400 | ND | ND | ND | 16000 | 4100 | ND | 120000 | 4900 | ND | ND | ND
2021-08-12 | 1 | Day1-20mins-PVC2 | 320-77161-21 | 58000 | ND | ND | ND | 350000 | 96000 | ND | 2600000 | 89000 | ND | ND | ND
2021-08-13 | 1 | Day1-20mins-PVC3 | 320-77161-22 | 1500 | ND | ND | ND | 12000 | 2500 | ND | 93000 | 3200 | ND | ND | ND
Analysis Date | Day | Sample Name | Lab ID | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFHpA (ng/L) | PFHxS (ng/L) | PFHxA (ng/L) | PFNA (ng/L) | PFOS (ng/L) | PFOA (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2020-08-14 | 2 | Day2-BF-BPEX1 | 320-77326-4 | 200 | ND | ND | 100 | 1400 | 650 | ND | 14000 | 430 | ND | ND | ND
2020-08-14 | 2 | Day2-BF-BPEX2 | 320-77326-5 | ND | ND | ND | ND | 5700 | 2100 | ND | 100000 | 1700 | ND | ND | ND
2020-08-14 | 2 | Day2-BF-BPEX3 | 320-77326-6 | ND | ND | ND | ND | 3500 | 2200 | ND | 65000 | ND | ND | ND | ND
2020-08-14 | 2 | Day2-AF-BPEX1 | 320-77326-13 | ND | ND | ND | ND | 81 | 27 | ND | 3300 | ND | ND | ND | ND
2020-08-14 | 2 | Day2-AF-BPEX2 | 320-77326-14 | ND | ND | ND | ND | 210 | 28 | ND | 3600 | ND | ND | ND | ND
2020-08-14 | 2 | Day2-AF-BPEX3 | 320-77326-15 | ND | ND | ND | ND | 330 | ND | ND | 6400 | ND | ND | ND | ND
2020-08-20 | 2 | Day2-BF-COP1 | 320-77326-1 | 1200 | ND | ND | 1600 | 13000 | 22000 | ND | 550000 | 5400 | ND | ND | ND
2020-08-16 | 2 | Day2-BF-COP2 | 320-77326-2 | 1800 | ND | ND | 2000 | 16000 | 24000 | ND | 530000 | 7900 | ND | ND | ND
2020-08-20 | 2 | Day2-BF-COP3 | 320-77326-3 | 1900 | ND | ND | 2100 | 18000 | 20000 | ND | 450000 | 7500 | ND | ND | ND
2020-08-16 | 2 | Day2-AF-COP1 | 320-77326-10 | 200 | ND | ND | ND | 1500 | 770 | ND | 31000 | 330 | ND | ND | ND
2020-08-14 | 2 | Day2-AF-COP2 | 320-77326-11 | ND | ND | ND | ND | 210 | 580 | ND | 7000 | 110 | ND | ND | ND
2020-08-14 | 2 | Day2-AF-COP3 | 320-77326-12 | 190 | ND | ND | 100 | 1400 | 950 | ND | 22000 | 390 | ND | ND | ND
2020-08-14 | 2 | Day2-BF-PVC1 | 320-77326-7 | 160 | ND | ND | ND | 960 | 390 | ND | 16000 | 270 | ND | ND | ND
2020-08-14 | 2 | Day2-BF-PVC2 | 320-77326-8 | 550 | ND | ND | 200 | 3200 | 910 | ND | 23000 | 730 | ND | ND | ND
2020-08-14 | 2 | Day2-BF-PVC3 | 320-77326-9 | 2000 | ND | ND | ND | 14000 | 3500 | ND | 150000 | 3200 | ND | ND | ND
2020-08-14 | 2 | Day2-AF-PVC1 | 320-77326-16 | ND | ND | ND | ND | 130 | 27 | ND | 2600 | 22 | ND | ND | ND
2020-08-14 | 2 | Day2-AF-PVC2 | 320-77326-17 | 260 | ND | ND | 91 | 1500 | 450 | ND | 12000 | 410 | ND | ND | ND
2020-08-14 | 2 | Day2-AF-PVC3 | 320-77326-18 | 140 | ND | ND | ND | 920 | 340 | ND | 22000 | 250 | ND | ND | ND
NS - Not Specified
ND - No Detection
Analysis Date | Day | Sample Name | Lab ID | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFHpA (ng/L) | PFHxS (ng/L) | PFHxA (ng/L) | PFNA (ng/L) | PFOS (ng/L) | PFOA (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2021-08-13 | 3 | Day3-BF-BPEX1 | 320-77289-4 | ND | ND | ND | ND | ND | ND | ND | 33000 | ND | ND | ND | ND
2021-08-12 | 3 | Day3-BF-BPEX2 | 320-77289-5 | ND | ND | ND | ND | 280 | 270 | ND | 5800 | ND | ND | ND | ND
2021-08-12 | 3 | Day3-BF-BPEX3 | 320-77289-6 | ND | ND | ND | ND | 770 | 420 | ND | 11000 | 120 | ND | ND | ND
2021-08-13 | 3 | Day3-AF-BPEX1 | 320-77289-13 | ND | ND | ND | ND | ND | ND | ND | 4600 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-AF-BPEX2 | 320-77289-14 | ND | ND | ND | ND | 240 | 23 | ND | 2600 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-AF-BPEX3 | 320-77289-15 | ND | ND | ND | ND | 89 | ND | ND | 1500 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-BF-COP1 | 320-77289-1 | ND | ND | ND | ND | 1800 | 5700 | ND | 50000 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-BF-COP2 | 320-77289-2 | ND | ND | ND | ND | ND | 5700 | ND | 33000 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-BF-COP3 | 320-77289-3 | ND | ND | ND | 220 | 730 | 4600 | ND | 33000 | 510 | ND | ND | ND
2021-08-13 | 3 | Day3-AF-COP1 | 320-77289-10 | ND | ND | ND | ND | 38 | 65 | ND | 910 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-AF-COP2 | 320-77289-11 | 420 | ND | ND | ND | 2100 | 450 | ND | 18000 | 350 | ND | ND | ND
2021-08-13 | 3 | Day3-AF-COP3 | 320-77289-12 | ND | ND | ND | ND | 19 | 78 | ND | 1800 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-BF-PVC1 | 320-77289-7 | 38 | ND | ND | ND | 240 | 77 | ND | 3000 | 42 | ND | ND | ND
2021-08-12 | 3 | Day3-BF-PVC2 | 320-77289-8 | ND | ND | ND | ND | 470 | 160 | ND | 3900 | 120 | ND | ND | ND
2021-08-13 | 3 | Day3-BF-PVC3 | 320-77289-9 | 22 | ND | ND | ND | 180 | 68 | ND | 3000 | 48 | ND | ND | ND
2021-08-13 | 3 | Day3-AF-PVC1 | 320-77289-16 | ND | ND | ND | ND | 290 | ND | ND | 3800 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-AF-PVC2 | 320-77289-17 | ND | ND | ND | ND | 64 | ND | ND | 1200 | ND | ND | ND | ND
2021-08-13 | 3 | Day3-AF-PVC3 | 320-77289-18 | ND | ND | ND | ND | 140 | ND | ND | 1700 | 24 | ND | ND | ND
NS - Not Specified
ND - No Detection
Analysis Date | Day | Sample Name | Lab ID | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFHpA (ng/L) | PFHxS (ng/L) | PFHxA (ng/L) | PFNA (ng/L) | PFOS (ng/L) | PFOA (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2020-08-18 | 7 | Day7-BF-BPEX1 | 320-77413-4 | ND | ND | ND | ND | 1200 | 1300 | ND | 42000 | 370 | ND | ND | ND
2020-08-18 | 7 | Day7-BF-BPEX2 | 320-77413-5 | 180 | ND | ND | 130 | 1700 | 1200 | ND | 38000 | 550 | ND | ND | ND
2020-08-18 | 7 | Day7-BF-BPEX3 | 320-77413-6 | ND | ND | ND | ND | 870 | 750 | ND | 13000 | 260 | ND | ND | ND
2020-08-18 | 7 | Day7-AF-BPEX1 | 320-77413-13 | ND | ND | ND | ND | 40 | 34 | ND | 2900 | ND | ND | ND | ND
2020-08-18 | 7 | Day7-AF-BPEX2 | 320-77413-14 | ND | ND | ND | ND | ND | ND | ND | 970 | ND | ND | ND | ND
2020-08-18 | 7 | Day7-AF-BPEX3 | 320-77413-15 | 30 | ND | ND | ND | 280 | 28 | ND | 3400 | 27 | ND | ND | ND
2020-08-18 | 7 | Day7-BF-COP1 | 320-77413-1 | ND | ND | ND | ND | 2200 | 5100 | ND | 79000 | 1600 | ND | ND | ND
2020-08-18 | 7 | Day7-BF-COP2 | 320-77413-2 | ND | ND | ND | ND | 1000 | 4200 | ND | 59000 | ND | ND | ND | ND
2020-08-18 | 7 | Day7-BF-COP3 | 320-77413-3 | ND | ND | ND | ND | 2000 | 4200 | ND | 84000 | 1300 | ND | ND | ND
2020-08-18 | 7 | Day7-AF-COP1 | 320-77413-10 | ND | ND | ND | ND | 250 | 200 | ND | 6100 | ND | ND | ND | ND
2020-08-18 | 7 | Day7-AF-COP2 | 320-77413-11 | ND | ND | ND | 5.7 | 14 | 86 | ND | 770 | 11 | ND | ND | ND
2020-08-18 | 7 | Day7-AF-COP3 | 320-77413-12 | ND | ND | ND | 6.6 | 8 | 100 | ND | 740 | 11 | ND | ND | ND
2020-08-18 | 7 | Day7-BF-PVC1 | 320-77413-7 | 170 | ND | ND | 100 | 1700 | 660 | ND | 18000 | 440 | ND | ND | ND
2020-08-18 | 7 | Day7-BF-PVC2 | 320-77413-8 | 33 | ND | ND | ND | 320 | 130 | ND | 3300 | 65 | ND | ND | ND
2020-08-18 | 7 | Day7-BF-PVC3 | 320-77413-9 | 28 | ND | ND | ND | 320 | 130 | ND | 4200 | 67 | ND | ND | ND
2020-08-18 | 7 | Day7-AF-PVC1 | 320-77413-16 | ND | ND | ND | ND | 140 | ND | ND | 6100 | ND | ND | ND | ND
2020-08-18 | 7 | Day7-AF-PVC2 | 320-77413-17 | ND | ND | ND | ND | 42 | ND | ND | 2000 | ND | ND | ND | ND
2020-08-18 | 7 | Day7-AF-PVC3 | 320-77413-18 | ND | ND | ND | ND | 87 | 23 | ND | 3000 | 21 | ND | ND | ND
NS - Not Specified
ND - No Detection

## Phos-Chek Test
PFAS Flushing Test 2 - 4hr PhosCheck
Method: | OSM B15 |  | Analyst: |  | Eurofins TestAmerica, Saramento, CA
Analysis Date | Day | Sample Name | Lab ID | 11Cl-PF3OUdS (ng/L) | 8:2FTS (ng/L) | 4:2FTS (ng/L) | 6:2FTS (ng/L) | 9Cl-PF3ONS (ng/L) | ADONA (ng/L) | HFPO-DA (ng/L) | NEtFOSAA (ng/L) | NFDHA (ng/L) | NMeFOSAA (ng/L) | PFBA (ng/L) | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFEESA (ng/L) | PFHpA (ng/L) | PFHpS (ng/L) | PFHxA (ng/L) | PFHxS (ng/L) | PFMBA (ng/L) | PFMPA (ng/L) | PFNA (ng/L) | PFOA (ng/L) | PFOS (ng/L) | PFPeA (ng/L) | PFPeS (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2021-12-22 | 1 | T2-Day1-T0-COP2 | 320-82718-1 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 820 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-T0-PEX2 | 320-82718-2 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 13000 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-T0-PVC2 | 320-82718-3 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 2.5 | ND | ND | ND | ND | ND | ND | 2.6 | 7.6 | ND | ND | ND | ND | 170 | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-INF | 320-82718-4 | ND | ND | ND | 2800000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-COP1 | 320-82718-5 | ND | ND | ND | 1800000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-COP2 | 320-82718-6 | ND | ND | ND | 2400000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-COP3 | 320-82718-7 | ND | ND | ND | 2200000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-PEX1 | 320-82718-8 | ND | ND | ND | 1800000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-PEX2 | 320-82718-9 | ND | ND | ND | 1700000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 64000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-PEX3 | 320-82718-10 | ND | ND | ND | 2000000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-PVC1 | 320-82718-11 | ND | ND | ND | 1600000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 50000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-PVC2 | 320-82718-12 | ND | ND | ND | 2900000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-16 | 1 | T2-Day1-PVC3 | 320-82718-13 | ND | ND | ND | 2500000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-COP1 | 320-82718-14 | ND | ND | ND | 4700 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-COP2 | 320-82718-15 | ND | ND | ND | 22000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1400 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-COP3 | 320-82718-16 | ND | ND | ND | 6600 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 180 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-PEX1 | 320-82718-17 | ND | ND | ND | 1900 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 350 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-PEX2 | 320-82718-18 | ND | ND | ND | 3000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 490 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-PEX3 | 320-82718-19 | ND | ND | ND | 50000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 580 | ND | ND | ND | ND | ND | 1300 1 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-PVC1 | 320-82718-20 | ND | ND | ND | 2000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 180 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-PVC2 | 320-82718-21 | ND | ND | ND | 30000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 930 1 | ND | ND | ND | ND | ND
2021-12-22 | 1 | T2-Day1-20min-PVC3 | 320-82718-22 | ND | ND | ND | 1400 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
ND - No Detection
1 Value is estimated maximum possible concentration.
Analysis Date | Day | Sample Name | Lab ID | 11Cl-PF3OUdS (ng/L) | 8:2FTS (ng/L) | 4:2FTS (ng/L) | 6:2FTS (ng/L) | 9Cl-PF3ONS (ng/L) | ADONA (ng/L) | HFPO-DA (ng/L) | NEtFOSAA (ng/L) | NFDHA (ng/L) | NMeFOSAA (ng/L) | PFBA (ng/L) | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFEESA (ng/L) | PFHpA (ng/L) | PFHpS (ng/L) | PFHxA (ng/L) | PFHxS (ng/L) | PFMBA (ng/L) | PFMPA (ng/L) | PFNA (ng/L) | PFOA (ng/L) | PFOS (ng/L) | PFPeA (ng/L) | PFPeS (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2021-12-26 | 2 | T2-Day2-BF-COP1 | 320-82755-1 | ND | ND | ND | 49000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 21000 | ND | ND | ND | ND | 530 | ND | ND | ND | ND | ND | ND
2021-12-26 | 2 | T2-Day2-BF-COP2 | 320-82755-2 | ND | ND | ND | 56000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 27000 | ND | ND | ND | ND | 640 | ND | ND | ND | ND | ND | ND
2021-12-26 | 2 | T2-Day2-BF-COP3 | 320-82755-3 | ND | ND | ND | 55000 | ND | ND | ND | ND | ND | ND | 860 | ND | ND | ND | ND | ND | ND | 30000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-BF-PEX1 | 320-82755-4 | ND | ND | ND | 13000 | ND | ND | ND | ND | ND | ND | 4600 | ND | ND | ND | ND | ND | ND | 23000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-26 | 2 | T2-Day2-BF-PEX2 | 320-82755-5 | ND | ND | ND | 12000 | ND | ND | ND | ND | ND | ND | 5300 | ND | ND | ND | ND | ND | ND | 28000 | ND | ND | ND | ND | ND | 1600 | ND | ND | ND | ND | ND
2021-12-26 | 2 | T2-Day2-BF-PEX3 | 320-82755-6 | ND | ND | ND | 14000 | ND | ND | ND | ND | ND | ND | 4200 | ND | ND | ND | ND | ND | ND | 28000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-26 | 2 | T2-Day2-BF-PVC1 | 320-82755-7 | ND | ND | ND | 9800 | ND | ND | ND | ND | ND | ND | 4100 | ND | ND | ND | ND | ND | ND | 26000 | ND | ND | ND | ND | ND | 650 | ND | ND | ND | ND | ND
2021-12-26 | 2 | T2-Day2-BF-PVC2 | 320-82755-8 | ND | ND | ND | 13000 | ND | ND | ND | ND | ND | ND | 5200 | ND | ND | ND | ND | ND | ND | 35000 | ND | ND | ND | ND | ND | 800 | ND | ND | ND | ND | ND
2021-12-26 | 2 | T2-Day2-BF-PVC3 | 320-82755-9 | ND | ND | ND | 9900 | ND | ND | ND | ND | ND | ND | 4400 | ND | ND | ND | ND | ND | ND | 32000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-COP1 | 320-82755-10 | ND | ND | ND | 1100 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 330 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-COP2 | 320-82755-11 | ND | ND | ND | 1100 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 320 | ND | ND | ND | ND | ND | 630 | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-COP3 | 320-82755-12 | ND | ND | ND | 960 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 220 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-PEX1 | 320-82755-13 | ND | ND | ND | 1300 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 170 | ND | ND | ND | ND | ND | 820 | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-PEX2 | 320-82755-14 | ND | ND | ND | 1300 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 240 | ND | ND | ND | ND | ND | 730 | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-PEX3 | 320-82755-15 | ND | ND | ND | 97 | ND | ND | ND | ND | ND | ND | 3.3 | ND | ND | ND | ND | ND | ND | 13 | ND | ND | ND | ND | ND | 8 | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-PVC1 | 320-82755-16 | ND | ND | ND | 440 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 440 | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-PVC2 | 320-82755-17 | ND | ND | ND | 120 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 23 | ND | ND | ND | ND | 140 | ND | ND | ND | ND | ND
2021-12-28 | 2 | T2-Day2-AF-PVC3 | 320-82755-18 | ND | ND | ND | 1700 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 150 | ND | ND | ND | ND | ND | 130 | ND | ND | ND | ND | ND
ND - No Detection
Analysis Date | Day | Sample Name | Lab ID | 11Cl-PF3OUdS (ng/L) | 8:2FTS (ng/L) | 4:2FTS (ng/L) | 6:2FTS (ng/L) | 9Cl-PF3ONS (ng/L) | ADONA (ng/L) | HFPO-DA (ng/L) | NEtFOSAA (ng/L) | NFDHA (ng/L) | NMeFOSAA (ng/L) | PFBA (ng/L) | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFEESA (ng/L) | PFHpA (ng/L) | PFHpS (ng/L) | PFHxA (ng/L) | PFHxS (ng/L) | PFMBA (ng/L) | PFMPA (ng/L) | PFNA (ng/L) | PFOA (ng/L) | PFOS (ng/L) | PFPeA (ng/L) | PFPeS (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2021-12-28 | 3 | T2-Day3-BF-COP1 | 320-82755-19 | ND | ND | ND | 15000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-26 | 3 | T2-Day3-BF-COP2 | 320-82755-20 | ND | ND | ND | 27000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 6700 | ND | ND | ND | ND | 600 | ND | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-BF-COP3 | 320-82755-21 | ND | ND | ND | 19000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 5400 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-BF-PEX1 | 320-82755-22 | ND | ND | ND | 3800 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 2100 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-BF-PEX2 | 320-82755-23 | ND | ND | ND | 3100 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 1500 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-BF-PEX3 | 320-82755-24 | ND | ND | ND | 1600 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 470 | ND | ND | ND | ND | ND | 150 | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-BF-PVC1 | 320-82755-25 | ND | ND | ND | 260 | ND | ND | ND | ND | ND | ND | 29 | ND | ND | ND | ND | ND | ND | 170 | ND | ND | ND | ND | ND | 92 | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-BF-PVC2 | 320-82755-26 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-BF-PVC3 | 320-82755-27 | ND | 2.1 | ND | 240 | ND | ND | ND | ND | ND | ND | 53 | ND | ND | ND | ND | ND | ND | 330 | 5.3 | ND | ND | ND | 3.2 | 54 | 7.2 | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-AF-COP1 | 320-82755-28 | ND | ND | ND | 440 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 100 | ND | ND | ND | ND | ND
2021-12-28 | 3 | T2-Day3-AF-COP2 | 320-82755-29 | ND | ND | ND | 860 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 120 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-22 | 3 | T2-Day3-AF-COP3 | 320-82755-30 | ND | ND | ND | 350 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-26 | 3 | T2-Day3-AF-PEX1 | 320-82755-31 | ND | ND | ND | 110 | ND | ND | ND | ND | ND | ND | 4.2 | ND | ND | ND | ND | ND | ND | 14 | ND | ND | ND | ND | ND | 130 | ND | ND | ND | ND | ND
2021-12-22 | 3 | T2-Day3-AF-PEX2 | 320-82755-32 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 190 | ND | ND | ND | ND | ND
2021-12-26 | 3 | T2-Day3-AF-PEX3 | 320-82755-33 | ND | ND | ND | 41 | ND | ND | ND | ND | ND | ND | 3.1 | ND | ND | ND | ND | ND | ND | 7.4 | ND | ND | ND | ND | ND | 13 | ND | ND | ND | ND | ND
2021-12-22 | 3 | T2-Day3-AF-PVC1 | 320-82755-34 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-22 | 3 | T2-Day3-AF-PVC2 | 320-82755-35 | ND | ND | ND | 360 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 110 | ND | ND | ND | ND | 410 | ND | ND | ND | ND | ND
2021-12-27 | 3 | T2-Day3-AF-PVC3 | 320-82755-36 | ND | ND | ND | 79 | ND | ND | ND | ND | ND | ND | 3 | 5.2 | ND | ND | ND | ND | ND | 3.9 | 22 | ND | ND | ND | 2.8 | 86 | ND | 4.5 | ND | ND | ND
ND - No Detection
Analysis Date | Day | Sample Name | Lab ID | 11Cl-PF3OUdS (ng/L) | 8:2FTS (ng/L) | 4:2FTS (ng/L) | 6:2FTS (ng/L) | 9Cl-PF3ONS (ng/L) | ADONA (ng/L) | HFPO-DA (ng/L) | NEtFOSAA (ng/L) | NFDHA (ng/L) | NMeFOSAA (ng/L) | PFBA (ng/L) | PFBS (ng/L) | PFDA (ng/L) | PFDoA (ng/L) | PFEESA (ng/L) | PFHpA (ng/L) | PFHpS (ng/L) | PFHxA (ng/L) | PFHxS (ng/L) | PFMBA (ng/L) | PFMPA (ng/L) | PFNA (ng/L) | PFOA (ng/L) | PFOS (ng/L) | PFPeA (ng/L) | PFPeS (ng/L) | PFTA (ng/L) | PFTrDA (ng/L) | PFUnA (ng/L)
2021-12-30 | 7 | T2-Day7-BF-COP1 | 320-82977-1 | ND | ND | ND | 30000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 4400 | ND | ND | ND | ND | 770 | 500 | ND | ND | ND | ND | ND
2021-12-30 | 7 | T2-Day7-BF-COP2 | 320-82977-2 | ND | ND | ND | 24000 2 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 3500 | ND | ND | ND | ND | 600 | ND | ND | ND | ND | ND | ND
2021-12-29 | 7 | T2-Day7-BF-COP3 | 320-82977-3 | ND | ND | ND | 16000 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 170 | ND | 2100 | ND | ND | ND | ND | 410 | ND | ND | ND | ND | ND | ND
2021-12-29 | 7 | T2-Day7-BF-PEX1 | 320-82977-4 | ND | ND | ND | 3700 | ND | ND | ND | ND | ND | ND | 180 | ND | ND | ND | ND | ND | ND | 790 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
2021-12-30 | 7 | T2-Day7-BF-PEX2 | 320-82977-5 | ND | ND | ND | 8700 | ND | ND | ND | ND | ND | ND | 550 | ND | ND | ND | ND | ND | ND | 2500 | ND | ND | ND | ND | ND | 350 | ND | ND | ND | ND | ND
2021-12-30 | 7 | T2-Day7-BF-PEX3 | 320-82977-6 | ND | ND | ND | 9800 | ND | ND | ND | ND | ND | ND | 650 | ND | ND | ND | ND | ND | ND | 3100 | ND | ND | ND | ND | ND | 220 | ND | ND | ND | ND | ND
2021-12-30 | 7 | T2-Day7-BF-PVC1 | 320-82977-7 | ND | ND | ND | 5300 | ND | ND | ND | ND | ND | ND | 1100 | ND | ND | ND | ND | ND | ND | 4300 | ND | ND | ND | ND | ND | 180 | ND | ND | ND | ND | ND
2021-12-30 | 7 | T2-Day7-BF-PVC2 | 320-82977-8 | ND | ND | ND | 4300 | ND | ND | ND | ND | ND | ND | 480 | ND | ND | ND | ND | ND | ND | 2200 | ND | ND | ND | ND | ND | 170 | ND | ND | ND | ND | ND
2021-12-24 | 7 | T2-Day7-BF-PVC3 | 320-82977-9 | ND | ND | ND | 650 | ND | ND | ND | ND | ND | ND | 210 | ND | ND | ND | ND | ND | ND | 960 | ND | ND | ND | ND | ND | 110 | ND | ND | ND | ND | ND
2021-12-24 | 7 | T2-Day7-AF-COP1 | 320-82977-10 | ND | ND | ND | 310 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 280 | ND | ND | ND | ND | ND
2021-12-24 | 7 | T2-Day7-AF-COP2 | 320-82977-11 | ND | ND | ND | 580 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 160 | ND | ND | ND | ND | ND
2021-12-30 | 7 | T2-Day7-AF-COP3 | 320-82977-12 | ND | 2.4 | ND | 120 | ND | ND | ND | ND | ND | ND | 2.7 | ND | 2.9 | ND | ND | 2.7 | ND | 30 | ND | ND | ND | ND | 8.1 | 5.5 | 4.2 | ND | ND | ND | ND
2021-12-24 | 7 | T2-Day7-AF-PEX1 | 320-82977-13 | ND | ND | ND | 380 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 360 | ND | ND | ND | ND | ND
2021-12-24 | 7 | T2-Day7-AF-PEX2 | 320-82977-14 | ND | ND | ND | 530 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 580 | ND | ND | ND | ND | ND
2021-12-24 | 7 | T2-Day7-AF-PEX3 | 320-82977-15 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 150 | ND | ND | ND | ND | ND
2021-12-24 | 7 | T2-Day7-AF-PVC1 | 320-82977-16 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | 110 | ND | ND | ND | ND | ND
2021-12-30 | 7 | T2-Day7-AF-PVC2 | 320-82977-17 | ND | ND | ND | 190 | ND | ND | ND | ND | ND | ND | 5.7 | ND | ND | ND | ND | ND | ND | 25 | 2.5 | ND | ND | ND | 2.2 | 47 | 3.1 | ND | ND | ND | ND
2021-12-25 | 7 | T2-Day7-AF-PVC3 | 320-82977-18 | ND | ND | ND | 460 | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND | ND
ND - No Detection
2 MS and/or MSD recovery exceeds control limits.
|  | Analyte | Abbreviation
| 1 | 11-Chloroeicosafluoro-3-oxaundecane-1-sulfonic acid | 11Cl-PF3OUdS
| 2 | 1H,1H, 2H, 2H-Perfluorodecane sulfonic acid | 8:2FTS
| 3 | 1H,1H, 2H, 2H-Perfluorohexane sulfonic acid | 4:2FTS
| 4 | 1H,1H, 2H, 2H-Perfluorooctane sulfonic acid | 6:2FTS
| 5 | 9-Chlorohexadecafluoro-3-oxanonane-1-sulfonic acid | 9Cl-PF3ONS
| 6 | 4,8-Dioxa-3H-perfluorononanoic acid | ADONA
| 7 | Hexafluoropropylene oxide dimer acid | HFPO-DA
| 8 | N-Ethyl perfluorooctanesulfonamidoacetic acid | NEtFOSAA
| 9 | Nonafluoro-3,6-dioxaheptanoic acid | NFDHA
| 10 | N-methylperfluorooctane sulfonamidoacetic acid | NMeFOSAA
| 11 | Perfluorobutanoic acid | PFBA
| 12 | Perfluorobutanesulfonic acid | PFBS
| 13 | Perfluorodecanoic acid | PFDA
| 14 | Perfluorododecanoic acid | PFDoA
| 15 | Perfluoro(2-ethoxyethane)sulfonic acid | PFEESA
| 16 | Perfluoroheptanoic acid | PFHpA
| 17 | Perfluoroheptanesulfonic acid | PFHpS
| 18 | Perfluorohexanoic acid | PFHxA
| 19 | Perfluorohexanesulfonic acid | PFHxS
| 20 | Perfluoro-4-methoxybutanoic acid | PFMBA
| 21 | Perfluoro-3-methoxypropanoic acid | PFMPA
| 22 | Perfluorononanoic acid | PFNA
| 23 | Perfluorooctanoic acid | PFOA
| 24 | Perfluorooctanesulfonic acid | PFOS
| 25 | Perfluoropentanoic acid | PFPeA
| 26 | Perfluoropentanesulfonic acid | PFPeS
| 27 | Perfluorotetradecanoic acid | PFTA
| 28 | Perfluorotridecanoic acid | PFTrDA
| 29 | Perfluoroundecanoic acid | PFUnA

## Water Quality Light Water
PFAS Flushing - 4hr Saturation Test
Date | Day | Time (hr) | Pipe | Turbidity (NTU) | Free Chlorine (mg/L) | pH | Temp (°C) | TOC (mg/L)
2021-08-03 | 1 | 0 | Influent | 9.26 | 0.14 | 6.48 | 25.2 | 2.5742
|  |  | COP2 | 0.56 | 0.01 | 8.74 | 23.9 | 2.1347
Dup- 8.73
|  |  | BPEX2 | 0.41 | 0.42 | 8.87 | 23.9 | 2.529
|  |  | PVC2 | 0.39 | 0.14 | 8.47 | 23.8 | 3.1926
|  |  |  | Dup- 0.37 | Dup- 0.11
|  | 4hr Saturation | COP1 | 10.9 | 0.11 | 7.11 | 25.9 | 11.9235
|  |  | COP2 |  |  |  |  | 11.0865
|  |  | COP3 |  |  |  |  | 10.313
|  |  | BPEX1 | 10.2 | 0.06 | 6.91 | 25.2 | NC
|  |  | BPEX2 |  |  |  |  | 13.5665
|  |  | BPEX3 |  |  |  |  | 13.5715
|  |  | PVC1 | 9.39 | 0.17 | 7.03 | 26.2 | 14.4755
|  |  | PVC2 |  |  |  |  | 15.9535
|  |  | PVC3 |  | Dup- 0.18 |  |  | 16.128
|  | 20min Flush | COP1 | 0.37 | 0.59 | 8.8 | 27.6 | 37.2635
|  |  | COP2 |  |  |  |  | 9.321
|  |  | COP3 |  |  |  |  | 8.664
|  |  | BPEX1 | 0.33 | 0.98 | 8.82 | 27.8 | 20.696
|  |  | BPEX2 |  |  |  |  | 14.2055
|  |  | BPEX3 |  |  |  |  | 3.113
|  |  | PVC1 | 0.25 | 0.98 | 8.83 | 27.4 | 3.4495
|  |  | PVC2 |  |  |  |  | 15.8585
|  |  | PVC3 |  | Dup- 0.97 |  |  | 18.5345
2021-08-04 | 2 | Before First Flush | COP1 | 0.25 | 0.03 | 8.78 | 23 | 2.6476
|  |  | COP2 |  |  |  |  | 3.5241
|  |  | COP3 |  |  |  |  | 14.879
|  |  | BPEX1 | 0.23 | 0.73 | 8.79 | 22.3 | 1.9549
|  |  | BPEX2 |  |  |  |  | 3.6907
|  |  | BPEX3 |  |  |  |  | 2.5374
|  |  | PVC1 | 0.16 | 0.7 | 8.68 | 23.2 | 4.1368
|  |  | PVC2 |  |  |  |  | 10.1419
|  |  | PVC3 |  |  |  |  | 2.0549
|  | After First Flush | COP1 | 0.22 | 0.82 | 8.87 | 24.8 | 1.5157
|  |  | COP2 |  |  |  |  | 2.55
|  |  | COP3 |  | Dup- 0.80 |  |  | 1.4038
|  |  | BPEX1 | 0.16 | 1.09 | 8.83 | 25 | 0.905
|  |  | BPEX2 |  |  |  |  | 1.0388
|  |  | BPEX3 |  |  |  |  | 0.9693
|  |  | PVC1 | 0.25 | 1.03 | 8.82 | 24.6 | 1.0829
|  |  | PVC2 |  |  |  |  | 1.5223
|  |  | PVC3 |  |  |  |  | 1.1651
2021-08-05 | 3 | Before First Flush | COP1 | 0.34 | 0.05 | 8.86 | 23.3 | 1.105
|  |  | COP2 |  |  |  |  | 1.7128
|  |  | COP3 |  | Dup- 0.03 |  |  | 1.8007
|  |  | BPEX1 | 1.37 | 0.43 | 8.54 | 22.4 | 1.2954
|  |  | BPEX2 |  |  |  |  | 1.3936
|  |  | BPEX3 |  |  |  |  | 1.4402
|  |  | PVC1 | 0.2 | 0.79 | 8.89 | 22.5 | 1.9087
|  |  | PVC2 |  |  |  |  | 2.4196
|  |  | PVC3 |  |  |  |  | 1.9432
|  | After First Flush | COP1 | 0.7 | 0.86 | 8.82 | 25.3 | 0.8804
|  |  | COP2 |  |  |  |  | 0.8638
|  |  | COP3 |  | Dup- 0.88 |  |  | 0.9609
|  |  | BPEX1 | 1.38 | 0.87 | 8.65 | 23.5 | 1.4193
|  |  | BPEX2 |  |  |  |  | 0.8303
|  |  | BPEX3 |  |  |  |  | 1.8478
|  |  | PVC1 | 0.35 | 0.98 | 8.83 | 25 | 0.9336
|  |  | PVC2 |  |  |  |  | 0.9128
|  |  | PVC3 |  |  |  |  | 0.9892
2021-08-09 | 7 | Before First Flush | COP1 | 3.56 | -0.2 | 8.66 | 26.8 | 1.8275
|  |  | COP2 |  |  |  |  | 1.6622
|  |  | COP3 |  | Dup- -0.22 |  |  | 2.5916
|  |  | BPEX1 | 3.42 | NA | 8.61 | 27.3 | NC
|  |  | BPEX2 |  |  |  |  | 3.4886
BPEX3
|  |  | PVC1 | 2.67 | 0.07 | 8.73 | 26.9 | 4.1691
|  |  | PVC2 |  |  |  |  | 4.2087
|  |  | PVC3 |  |  |  |  | NC
|  | After First Flush | COP1 | 0.18 | 0.79 | 8.85 | 27.4 | 0.8952
|  |  | COP2 |  |  |  |  | 0.8652
|  |  | COP3 |  |  |  |  | 1.0047
|  |  | BPEX1 | 0.26 | 0.48 | 8.6 | 26.8 | 0.9529
|  |  | BPEX2 |  |  |  |  | 0.8446
|  |  | BPEX3 |  | Dup- 0.47 |  |  | 0.9358
|  |  | PVC1 | 0.15 | 0.97 | 8.85 | 27.4 | 1.0748
|  |  | PVC2 |  |  |  |  | 1.0114
|  |  | PVC3 |  |  |  |  | 1.089
NA = Not Analyzed
ODR = Over Detector Range for instrument, 25mg/L
NC = Not Collected due to sample volume
QA/QC criteria did not pass, carryover in form of bubbles observed from previous samples
**Water quality parameters were readings taken from a combination of the remaining water from pipe 1, 2, and 3

## Water Qualty Phos-Chek
PFAS Flushing Test 2 - 4hr PhosCheck
Date | Day | Time (hr) | Pipe | Turbidity (NTU) | Free Chlorine (mg/L) | pH | Temp (°C) | TOC (mg/L)
2021-12-07 | 1 | 0 | Influent | 17.9 | 1.06 | 8.07 | 20.5 | 4.7102
|  |  | COP2 | 1.03 | 0.97 | 8.93 |  | 1.6978
|  |  | PEX2 | 1.37 | 1.09 | Sample- 8.84 | 16.7 | 1.6328
Dup- 8.80
|  |  | PVC2 | Sample- 0.34 | Sample- 0.93 | 8.9 | 17.7 | 1.6999
|  |  |  | Dup- 0.35 | Dup- 1.03
|  | 4hr Saturation | COP1 | 23.5 | 1.28 | 8.24 | 20.7 | NA
COP2
COP3
|  |  | PEX1 | 6.32 | 0.76 | 7.9 | 20.6 | NA
PEX2
PEX3
|  |  | PVC1 | 4.45 | Sample- 0.53 | 7.99 | 20.4 | NA
PVC2
|  |  | PVC3 |  | Dup- 0.51
|  | 20min Flush | COP1 | 0.34 | 0.73 | 8.91 | 14.7 | 4.3601
COP2
COP3
|  |  | PEX1 | 0.53 | 1.05 | 8.95 | 15.1 | 4.5984
PEX2
PEX3
|  |  | PVC1 | 0.45 | Sample- 1.19 | 8.77 | 16.1 | 2.9454
PVC2
|  |  | PVC3 |  | Dup- 1.08
2021-12-08 | 2 | Before First Flush | COP1 | 0.39 | 0.08 | 8.64 | 20.7 | 5.1717
COP2
COP3
|  |  | PEX1 | 0.33 | 0.72 | 8.85 | 20.9 | 3.5082
PEX2
PEX3
|  |  | PVC1 | 0.23 | 0.79 | 8.69 | 20.5 | 3.3998
PVC2
PVC3
|  | After First Flush | COP1 | 0.32 | Sample- 0.95 | 8.86 | 15.1 | 2.0493
COP2
|  |  | COP3 |  | Dup- 0.96
|  |  | PEX1 | 0.21 | 1.09 | 8.91 | 17.1 | 2.7753
PEX2
PEX3
|  |  | PVC1 | 0.36 | 1.09 | 8.78 | 16.5 | 2.0202
PVC2
PVC3
2021-12-09 | 3 | Before First Flush | COP1 | 0.27 | Sample- 0.03 | 8.74 | 20.4 | NA
COP2
|  |  | COP3 |  | Dup- 0.05
|  |  | PEX1 | 0.24 | 0.74 | 8.91 | 20.6 | NA
PEX2
PEX3
|  |  | PVC1 | 0.23 | 0.78 | 8.71 | 20.3 | NA
PVC2
PVC3
|  | After First Flush | COP1 | 0.2 | Sample- 0.89 | 9.04 | 15.5 | NA
COP2
|  |  | COP3 |  | Dup- 0.80
|  |  | PEX1 | 0.23 | 0.98 | 8.87 | 16.5 | NA
PEX2
PEX3
|  |  | PVC1 | 0.17 | 0.99 | 8.96 | 16.2 | NA
PVC2
PVC3
2021-12-13 | 7 | Before First Flush | COP1 | 21 | Sample- 1.13 | 8.64 | 20.5 | NA
COP2
|  |  | COP3 |  | Dup- 1.28
|  |  | PEX1 | 0.42 | 0.04 | 8.81 | 20.4 | NA
PEX2
PEX3
|  |  | PVC1 | 0.67 | 0.2 | 8.51 | 20.4 | NA
PVC2
PVC3
|  | After First Flush | COP1 | 0.27 | 1.09 | 8.98 | 14.5 | NA
COP2
COP3
|  |  | PEX1 | 0.2 | Sample- 1.07 | 9.03 | 15 | NA
PEX2
|  |  | PEX3 |  | Dup- 1.03
|  |  | PVC1 | 0.21 | 1.04 | 8.95 | 15.8 | NA
PVC2
PVC3
NA = Not Analyzed
**Water quality parameters readings and TOC samples were taken from a combination of the remaining water from pipe 1, 2, and 3 following PFAS sample collection