## Data Dictionary and Test Matrix
Turbid Aqueous Sample - Method | Organism | Spore Loads (CFU/mL) | Replicate Number
Soil - Baseline (SBM) | B. anthracis Sterne endospores | 0, 1.5, 15, 150, 1500 | 3
Soil - 1 (SPM) | B. anthracis Sterne endospores | 0, 1.5, 15, 150, 1500 | 3
Storm Water - Reference baseline (SWRB) | B. anthracis Sterne endospores | 0, 0.07, 0.67, 6.7, 67 | 3
Storm Water - Modified baseline (SWMB) | B. anthracis Sterne endospores | 0, 0.07, 0.67, 6.7, 67 | 3
Wet Vacuum - Modified baseline (WVMB) | B. anthracis Sterne endospores | 0, 1.5, 15, 150, 1500 | 3
Wet Vacuum - 1 (WV1) | B. anthracis Sterne endospores | 0, 1.5, 15, 150, 1500 | 3
Wet Vacuum - 2 (WV2) | B. anthracis Sterne endospores | 0, 1.5, 15, 150, 1500 | 3
Abbreviations
B. anthracis Sterne | Bacillus anthracis Sterne endospores
CFU | Colony Forming Units
mL | milliliter
PBST | 1X Phosphate buffered saline with 0.05% Tween20
PBSTE | PBST with 30% ethanol
RBPM | ratio of baseline to processing method
RV-PCR | Rapid Viability Polymerace Chain Reaction
STDEV | Standard deviation
SBM | Soil Baseline Method
SPM | Soil Processing Method
SWRB | Storm Water Reference Baseline
SWMB | Storm Water Modified Baseline
WVMB | Wet Vacuum Modified Baseline
WV1 | Wet Vacuum Processing Method 1
WV2 | Wet Vacuum Processing Method 2

## Figure 1
Soil Baseline Processing (SBM) Steps (a) | Soil Processing Method 1 (SPM) Steps (a)
Weigh 10 ± 0.1 g soil | Weigh 10 ± 0.1 g soil
Add 40 mL PBST to 50-mL tube | Add 40 mL PBST to 50-mL tube
Vortex samples for 30 seconds | Vortex samples for 30 seconds
Manually shake for 2 minutes | Bath sonicate for 10 minutes
Settle for 30 minutes at room temperature | Manually shake for 2 minutes
Transfer supernatant to clean 50-mL tube by pouring, leave ~2.5 mL of supernatant with each pellet | Centrifuge at 1,000 x g for 5 minutes at 4°C
Vortex mix supernatant and split, 20 mL for RV-PCR, remaining volume for culture | Transfer supernatant to clean 50-mL tube by pipetting, leave ~2.5 mL of supernatant with each pellet
Heat shock supernatant and pellet at 70 ± 2°C for 1 hour
Vortex mix supernatant and split, 20 mL for RV-PCR, remaining volume for culture
Wet Vacuum Processing Method 1 (WV1) Steps (b) | Wet Vacuum Processing Method 2 (WV2) Steps (c)
Add 40 mL of wet vacuum to 50-mL tube | Add 30 mL of wet vacuum to 50-mL tube
Centrifuge at 3,500 x g for 15 minutes at 4°C | Add 9 mL of 100% (200 proof) ethanol
Remove and dispose supernatant | Vortex samples for 30 seconds
Add 40 mL of PBSTE to pellet | Bath sonicate for 10 minutes
Vortex samples for 30 seconds | Manually shake for 2 minutes
Bath sonicate for 10 minutes | Centrifuge at 1,000 x g for 5 minutes at 4°C
Manually shake for 2 minutes | Transfer supernatant to clean 50-mL tube by pipetting, leave ~2.5 mL of supernatant with each pellet
Centrifuge at 1,000 x g for 5 minutes at 4°C | Vortex mix supernatant and split, 20 mL for RV-PCR, remaining volume for culture
Transfer supernatant to clean 50-mL tube by pipetting, leave ~2.5 mL of supernatant with each pellet
Vortex mix supernatant and split, 20 mL for RV-PCR, remaining volume for culture

## Figure 2
Turbid Aqueous Sample - Method | 0-Spike final total CFU/mL | 1.5-spike final total CFU/mL | 15-spike final total CFU/mL | 150-spike final total CFU/mL | 1,500-spike final total CFU/mL | 0-spike RBPM | 1.5-spike RBPM | 15-spike RBPM | 150-spike RBPM | 1,500-spike RBPM | Average RBPM | STDEV RBPM
Soil - Baseline Total (SBM) | 8400 | 9633.3333 | 7900 | 10622.2222 | 7466.6667 | 3.3566 | 1.7101 | 1.6985 | 7.2479 | 6.1935 | 4.0413 | 2.5645
Soil - Processing Method 1 Total (SPM) | 2502.5 | 5633.3333 | 4651.1111 | 1465.5556 | 1205.5556
Wet Vac - Baseline Total (WVMB) | 8833.3333 | 9966.6667 | 10166.6667 | 8346.6667 | 12055.5556 | 11.8304 | 17.0857 | 16.2522 | 7.5422 | 11.4815 | 12.8384 | 3.8923
Wet Vac - Processing Method 1 Total (WV1) | 746.6667 | 583.3333 | 625.5556 | 1106.6667 | 1050
Wet Vac - Processing Method 2 Total (WV2) | 403.3333 | 288.8889 | 394.4444 | 604.4444 | 974.4444 | 21.9008 | 34.5 | 25.7746 | 13.8088 | 12.3717 | 21.6712 | 9.0797

## Figure 3
Turbid Aqueous Sample - Method | Nominal BaS CFU Load | Nominal BaS CFU/mL Load | Culture Replicates BaS Positive (PCR Confirmation) | RV-PCR Replicates Positive
Soil - Baseline (SBM) | 0 | 0 | 0 | 0
| 60 | 1.5 | 0 | 0
| 600 | 15 | 0 | 3
| 6000 | 150 | 3 | 3
| 60000 | 1500 | 3 | 3
Soil - 1 (SPM) | 0 | 0 | 0 | 0
| 60 | 1.5 | 0 | 2
| 600 | 15 | 2 | 3
| 6000 | 150 | 3 | 3
| 60000 | 1500 | 3 | 3
Wet Vacuum - Modified Baseline (WVMB) | 0 | 0 | 0 | 0
| 150 | 1.5 | 0 | 0
| 1500 | 15 | 2 | 0
| 15000 | 150 | 3 | 0
| 150000 | 1500 | 3 | 0
Wet Vacuum - 1 (WV1) | 0 | 0 | 0 | 0
| 60 | 1.5 | 0 | 2
| 600 | 15 | 2 | 3
| 6000 | 150 | 3 | 3
| 60000 | 1500 | 3 | 3
Wet Vacuum - 2 (WV2) | 0 | 0 | 0 | 0
| 45 | 1.5 | 1 | 2
| 450 | 15 | 2 | 3
| 4500 | 150 | 3 | 3
| 45000 | 1500 | 3 | 3

## Figure 4
Turbid Aqueous Sample - Method | Nominal BaS CFU Load | Nominal BaS CFU/mL Load | Culture Replicates BaS Positive (PCR Confirmation) | RV-PCR Replicates Positive
Storm Water - Reference baseline (SWRB) | 0 | 0 | 0 | 0
| 60 | 0.07 | 0 | 0
| 600 | 0.67 | 3 | 1
| 6000 | 6.7 | 3 | 3
| 60000 | 67 | 3 | 3
Storm Water - Modified Baseline (SWMB) | 0 | 0 | 0 | 0
| 60 | 0.07 | 0 | 0
| 600 | 0.67 | 3 | 1
| 6000 | 6.7 | 3 | 3
| 60000 | 67 | 3 | 3

## Figure 5
Turbid Aqueous Sample - Method | Percentage of samples True Pos or Negative (%) - Culture (a) | Percentage of samples False Negative (%) - Culture (a) | Percentage of samples True Pos or Negative (%) - RV-PCR (b) | Percentage of samples False Negative (%) - RV-PCR (b)
Soil - Baseline (SBM) | 60 | 40 | 80 | 20
Soil - 1 (SPM) | 73 | 27 | 93 | 7
Storm Water - Reference baseline (SWRB) | 80 | 20 | 67 | 33
Storm Water - Modified baseline (SWMB) | 80 | 20 | 67 | 33
Wet Vacuum - Modified baseline (WVMB) | 73 | 27 | 20 | 80
Wet Vacuum - 1 (WV1) | 73 | 27 | 93 | 7
Wet Vacuum - 2 (WV2) | 80 | 20 | 93 | 7
All Sample Types (All) | 74 | 26 | 73 | 27

## Table 1
Turbid Aqueous Sample - Method | Final CFU/mL Average | STDEV | Final Concentration Factor | Adjusted Final CFU/mL | %decrease in microbial load relative to baseline | Antimicrobial Treatment | Other Steps that Reduce Microbial Background
Soil - Baseline (SBM) | 8400 | 1791.3372 | 1 | 8400 | N/A | None | 30-minute settle
Soil - 1 (SPM) | 2502.5 | 2048.2321 | 1 | 2502.5 | -70.21% | 70°C heat shock for 1 hour | Centrifugation, 1,000 x g for 5 minutes
Strom Water - Reference Baseline (SWRB) | 8406.6667 | 7633.2256 | 90 | 93.4074 | N/A | None for culture, 30% ethanol for RV-PCR | Incomplete resuspension from MEC membrane
Strom Water - Modified Baseline (SWMB) | 2601.1111 | 1478.7395 | 42 | 61.9312 | -33.7% | 30% ethanol | Incomplete resuspension from MEC membrane
Wet Vacuum - Modified Baseline (WVMB) | 8833.3333 | 1835.1506 | 2.8 | 3154.7619 | N/A | 30% ethanol | Incomplete resuspension from MEC membrane
Wet Vacuum - 1 (WV1) | 746.6667 | 91.6515 | 1 | 746.6667 | -76.33% | 30% ethanol | Centrifugation, 3,500 x g for 15 minutes & 1,000 x g for 5 minutes
Wet Vacuum - 2 (WV2) | 403.3333 | 181.6896 | 0.8 | 504.1667 | -84.02% | 23% ethanol | Centrifugation, 1,000 x g for 5 minutes
Final concentration factor = initial volume (mL)/final volume (mL)
Adjusted Final CFU/mL (α)= Final CFU/mL / Final Concentration Factor.
% Decrease in Microbial Load = (processing method α - Baseline α)/Baseline α

## Table 2
Turbid Aqueous Sample - Method | Culture Lowest Sensitivity (CFU/mL) |  | RV-PCR Lowest Sensitivity (CFU/mL)
| 1 or more replicate | All replicates | 1 or more replicate | All replicates
Soil - Baseline (SBM) | 150 | 150 | 15 | 15
Soil - 1 (SPM) | 15 | 150 | 1.5 | 15
Storm Water - Reference Baseline (SWRB) | 0.67 | 0.67 | 0.67 | 6.7
Storm Water - Modified Baseline (SWMB) | 0.67 | 0.67 | 0.67 | 6.7
Wet Vacuum - Modified Baseline (WVMB) | 15 | 150 | Not detected | Not detected
Wet Vacuum - 1 (WV1) | 15 | 150 | 1.5 | 15
Wet Vacuum - 2 (WV2) | 1.5 | 150 | 1.5 | 15