## Data Dictionary
Parameter | Units | Definition
Test Date | Date | Day testing was performed
Cell | not applicable | Type of filter technology. BRC refers to Bioretention Cell and HFMF refers to high flow media filter
Sample Number | # | multiple samples were collected on the day of test and this indicates which was first and following
ADP | days | antecedent dry period
Volume In | L | The volume of water entering into the filter
Bg Concentration In | CFU/ml | The concentration of Bacillus globigii spores entering into the filter
Bg Load In | CFU | The colony forming units of Bacillus globigii spores entering into the filter
Bg Load In | log(CFU) | The log base 10 amount of colony forming units of Bacillus globigii spores entering into the filter
Volume Out | L | Volume of water exiting the filter at associated with sample
Bg Concentration Out | CFU/mL | Concentration of Bacillus globigii spores exiting the filter in terms of colony forming units per mililiter
Bg Load Out | CFU | The number of colony forming untils of bacillus globigii spores exiting the filter for that sample point
Bg Load Out | log(CFU) | The log base 10 amount of oclony forming units of bacillus blobigii spores exiting the filter
TSS Concentration In | mg/L | The inlet total suspended solids value in terms of concentration
TSS Load In | mg | The inlet total suspended solids value in terms of mass
TSS Concentration Out | mg/L | The outlet total suspended solids value out terms of concentration
TSS Load Out | mg | The outlet total suspended solids value out terms of mass
Total TSS Load IN | mg | The inlet total suspended solids value in terms of mass as a cumulative number over all samples collected
Total TSS Load Out | mg | The inlet total suspended solids value out terms of mass as a cumulative number over all samples collected
Difference TSS Load | % | Precentage total suspended solids value calculated as a difference from the total load in and total load out columns
SD | not applicable | standard deviation

## Data
Test Date | Cell | Sample Number | ADP (days) | Volume In (L) | Bg Concentration In (CFU/mL) | Bg Load In (CFU) | Bg Load In (log(CFU)) | Volume Out (L) | Bg Concentration Out (CFU/mL) | Bg Load Out | Bg Load Out (log(CFU)) | TSS Concentration In (mg/L) | TSS Load In (mg) | TSS Concentration Out (mg/L) | TSS Load Out (mg) | Total TSS Load IN (mg) | Total TSS Load Out (mg) | % Difference TSS Load | Summary Stats TSS Load Reductions |  |  |  | Test 1 | Test 2 | Test 3 | Mean | Std. Dev | Test Number | HFMF Volume In (gal) | HFMF Vol In (L) | BRC Volume In (gal) | BRC Vol In (L)
2022-05-09 | HFMF | 1 | 2 | 340.65 | 11000 | 3747150000 | 9.5737 | 80.5448 | 13000 | 1047082400 | 9.02 | [9 empty] | Volume Reduction (%) | HFMF | 42.6 | 71.1 | 19.7 | 44.4667 | 25.7508 | 1 | 235.3 | 890.6105 | 611.8 | 2315.663
2022-05-09 | HFMF | 2 | 2 | 340.65 | 18000 | 6131700000 | 9.7876 | 170.6278 | 11000 | 1876905800 | 9.2734 | [10 empty] | BRC | 91.1 | 94 | 94.5 | 93.2 | 1.8358 | 2 | 541.92 | 2051.1672 | 1220.02 | 4617.7757
2022-05-09 | HFMF | 3 | 2 | 126.419 | 4500 | 568885500 | 8.755 | 173.353 | 11000 | 1906883000 | 9.2803 | [9 empty] | Bg Log10Load Reduction | HFMF | 0.28 | 0.61 | 0.35 | 0.41333 | 0.17388 | 3 | 353.452 | 1337.8158 | 2204.236 | 8343.0333
2022-05-09 | HFMF | 4 | 2 | 82.8915 | 900 | 74602350 | 7.8728 | 86.6765 | 7900 | 684744350 | 8.8355 | [7 empty] | HFMF Median | 0.52724 |  | BRC | 1.37 | 2.03 | 2.31 | 1.9033 | 0.48263 | Median | 353.452 | 1337.8158 | 1220.02 | 4617.7757
2022-05-18 | HFMF | 1 | 1 | 596.1375 | 16000 | 9538200000 | 9.9795 | 283.875 | 4300 | 1220662500 | 9.0866 | 15 | 8942.0625 | 44 | 12490.5 | 29959.2591 | 23020.37 | 0.23161 | HFMF SD | 0.41808 | [7 empty] | Std.Dev | 154.6479 | 585.3424 | 803.5821 | 3041.5582
2022-05-18 | HFMF | 2 | 1 | 908.4 | 260 | 236184000 | 8.3733 | 280.09 | 3900 | 1092351000 | 9.0384 | 17 | 15442.8 | 32 | 8962.88 | [12 empty] | MEan | 376.8907 | 1426.5312 | 1345.352 | 5092.1573
2022-05-18 | HFMF | 3 | 1 | 510.5965 | 85 | 43400702.5 | 7.6375 | 18.168 | 3700 | 67221600 | 7.8275 | 10 | 5105.965 | 50 | 908.4 |  |  |  | BRC MEdian | 0.99543
2022-05-18 | HFMF | 4 | 1 | 36.0332 | 60 | 2161992 | 6.3349 | 11.355 | 5400 | 61317000 | 7.7876 | 13 | 468.4316 | 58 | 658.59 |  |  |  | BRC SD | 0.006744
2022-05-18 | BRC | 1 | 1 | 416.7285 | 25000 | 10418212500 | 10.0178 | 196.82 | 4800 | 944736000 | 8.9753 | 364 | 151689.174 | 15 | 2952.3 | 343290.0375 | 5308.084 | 0.98454
2022-05-18 | BRC | 2 | 1 | 769.869 | 2800 | 2155633200 | 9.3336 | 52.99 | 4500 | 238455000 | 8.3774 | 32 | 24635.808 | 17 | 900.83
2022-05-18 | BRC | 3 | 1 | 654.4265 | 1500 | 981639750 | 8.992 | 102.195 | 3100 | 316804500 | 8.5008 | 171 | 111906.9315 | 10 | 1021.95
2022-05-18 | BRC | 4 | 1 | 474.639 | 7300 | 3464864700 | 9.5397 | 33.308 | 2200 | 73277600 | 7.865 | 116 | 55058.124 | 13 | 433.004
2022-05-24 | HFMF | 1 | 2 | 757 | 25000 | 18925000000 | 10.277 | 324.0338 | 7700 | 2495060645 | 9.3971 | 154 | 116578 | 41 | 13285.3878 | 174184.186 | 30852.9355 | 0.82287
2022-05-24 | HFMF | 2 | 2 | 333.08 | 4400 | 1465552000 | 9.166 | 176.3432 | 7700 | 1357842255 | 9.1328 | 141 | 46964.28 | 32 | 5642.9808
2022-05-24 | HFMF | 3 | 2 | 249.81 | 6600 | 1648746000 | 9.2172 | 343.7915 | 10000 | 3437915500 | 9.5363 | 42 | 10492.02 | 24 | 8250.9972
2022-05-24 | HFMF | 4 | 2 | 8.327 | 140 | 1165780 | 6.0666 | 229.5981 | 9400 | 2158222140 | 9.3341 | 18 | 149.886 | 16 | 3673.5696
2022-05-24 | BRC | 1 | 2 | 1173.35 | 20000 | 23467000000 | 10.3705 | 29.2202 | 14000 | 409082800 | 8.6118 | 337 | 395418.95 | 17 | 496.7434 | 734706.35 | 3355.8189 | 0.99543
2022-05-24 | BRC | 2 | 2 | 1097.65 | 110000 | 120741500000 | 11.0819 | 73.1262 | 9800 | 716636760 | 8.8553 | 162 | 177819.3 | 12 | 877.5144
2022-05-24 | BRC | 3 | 2 | 1097.65 | 100000 | 109765000000 | 11.0405 | 109.6893 | 9900 | 1085924070 | 9.0358 | 105 | 115253.25 | 13 | 1425.9609
2022-05-24 | BRC | 4 | 2 | 1249.05 | 24000 | 29977200000 | 10.4768 | 61.7334 | 7200 | 444480120 | 8.6479 | 37 | 46214.85 | 9 | 555.6001
2022-05-25 | BRC | 1 | 1 | 1019.679 | 61000 | 62200419000 | 10.7938 | 131.5666 | 2200 | 289446520 | 8.4616 | 213 | 217191.627 | 6 | 789.3996 | 727436.0463 | 2275.9205 | 0.99687
2022-05-25 | BRC | 2 | 1 | 1837.6175 | 59000 | 108419432500 | 11.0351 | 94.8899 | 2100 | 199268895 | 8.2994 | 132 | 242565.51 | 6 | 569.3397
2022-05-25 | BRC | 3 | 1 | 3209.2258 | 13000 | 41719935400 | 10.6203 | 149.2047 | 1800 | 268568460 | 8.4291 | 60 | 192553.548 | 5 | 746.0235
2022-05-25 | BRC | 4 | 1 | 2276.5261 | 45 | 102443674.5 | 8.0105 | 85.5789 | 3100 | 265294435 | 8.4237 | 33 | 75125.3613 | 2 | 171.1577
[10 empty] | Std.Dev BRC | 0.3198 |  |  | Std.Dev BRC | 718.4655
[10 empty] | Std.Dev HFMF | 0.57145 |  |  | Std.Dev HFMF | 4851.0962
[10 empty] | Difference in Std Dev | 0.44037 |  |  | Difference in Std Dev | 0.8519