## Field Samples
LRN Sample ID (if different) | Sample Type Sponge, Vac, or extract | EPA Sample ID | Date Received | Date Processed | Date Plated | Total Sample Volume mL (final extract) | CFU per 100 µL Spread Plate 10^-1 | CFU per 100 µL Spread Plate 10^-1 | CFU per 100 µL Spread Plate 10^-1 | CFU per 100 µL Spread Plate 10^-2 | CFU per 100 µL Spread Plate 10^-2 | CFU per 100 µL Spread Plate 10^-2 | CFU per 100 µL Spread Plate 10^-3 | CFU per 100 µL Spread Plate 10^-3 | CFU per 100 µL Spread Plate 10^-3 | CFU per 100 µL Spread Plate 10^-4 | CFU per 100 µL Spread Plate 10^-4 | CFU per 100 µL Spread Plate 10^-4 | CFU per 1 mL Filter Plate 10^0 | CFU per 1 mL Filter Plate 10^0 | CFU per 1 mL Filter Plate 10^0 | CFU per 5 mL Micro Funnel Filter Plate 10^0 (Grab samples only) | CFU per 10 mL Micro Funnel Filter Plate 10^0 (Grab samples only) | Volume Plated if Insufficient volume for 10 mL filter Plate | Total CFU | Total Volume Analyzed | CFU/mL | CFU/Sample | QC | Data qualifier | NOTES | Field Sample, Media Blank, or Field Blank | Phase | From DFU air volume spreadsheet Sample Bag ID | sample volume cubic meters | CFU/m3 | DFU | date of sampling
| DFU | DFU-5 (DFU-C0S26) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 6.5 mL remainder substituted. | Field Sample | 1.0 Background | DFU-5 | 372.5107 | 0 | DFU-Unit-1
| DFU | DFU-8 (DFU-C0S25) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 2.4 mL remainder substituted. | Field Sample | 1.0 Background | DFU-8 | 354.1272 | 0 | DFU-Unit-10
| DFU | DFU-4 (DFU-C0S28) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 6.2 mL remainder substituted. | Field Sample | 1.0 Background | DFU-4 | 407.009 | 0 | DFU-Unit-2
| DFU | DFU-1 (DFU-C0S30) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 5.2 mL remainder substituted. | Field Sample | 1.0 Background | DFU-1 | 369.5697 | 0 | DFU-Unit-3
| DFU | DFU-3 (DFU-C0S32) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 3.9 mL remainder substituted. | Field Sample | 1.0 Background | DFU-3 | 369.9648 | 0 | DFU-Unit-4
| DFU | DFU-2 (DFU-C0S34) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 3.9 mL remainder substituted. | Field Sample | 1.0 Background | DFU-2 | 380.7744 | 0 | DFU-Unit-5
| DFU | DFU-10 (DFU-C0S31) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 4.9 mL remainder substituted. | Field Sample | 1.0 Background | DFU-10 | 392.3654 | 0 | DFU-Unit-7
| DFU | DFU-9 (DFU-C0S29) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 5.5 mL remainder substituted. | Field Sample | 1.0 Background | DFU-9 | 386.2229 | 0 | DFU-Unit-8
| DFU | DFU-7 (DFU-C0S27) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 3.3 mL remainder substituted. | Field Sample | 1.0 Background | DFU-7 | 343.5147 | 0 | DFU-Unit-9
N/A | DFU | DFU-15 (DFU-C0S37) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 4 | 5 | 5 | NONE | NONE | 1 | NONE | NONE | NONE | NONE | NONE | NONE | 53 | 56 | 60 | See Note (*) | 0 | 6.3 | 169 | 3 | 56.3333 | 1126.6667 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-15 | 550.198 | 2.0477 | DFU-Unit-1
| DFU | DFU-20 (DFU-C0S42) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 6 | 0 | 7 | See Note (*) | 0 | 8.5 | 13 | 11.5 | 1.1304 | 22.6087 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-20 | 519.4728 | 0.043522 | DFU-Unit-10
N/A | DFU | DFU-14 (DFU-C0S38) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 7 | 8 | 6 | NONE | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 53 | 79 | 82 | See Note (*) | TNTC | 7.2 | 214 | 3 | 71.3333 | 1426.6667 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-14 | 608.6517 | 2.344 | DFU-Unit-2
N/A | DFU | DFU-12 (DFU-C0S39) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 23 | 25 | 30 | See Note (*) | 65 | 8.3 | 143 | 11.3 | 12.6549 | 253.0973 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-12 | 353.82 | 0.71533 | DFU-Unit-3
N/A | DFU | DFU-13 (DFU-C0S40) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 4 | 9 | 9 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 47 | 44 | 33 | See Note (*) | 163 | 8 | 287 | 11 | 26.0909 | 521.8182 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-13 | 515.307 | 1.0126 | DFU-Unit-4
N/A | DFU | DFU-11 (DFU-C0S41) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 2 | 3 | 4 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 39 | 51 | 45 | See Note (*) | 0 | 8.5 | 135 | 3 | 45 | 900 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-11 | 582.1508 | 1.546 | DFU-Unit-5
| DFU | DFU-16 (DFU-C0S46) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 19 | 17 | 15 | NONE | NONE | 1 | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 8.4 | 190 | 0.1 | 1900 | 300 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-16 | 362.88 | 0.82672 | DFU-Unit-6
| DFU | DFU-17 (DFU-C0S45) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 6.4 | 1 | 9.4 | 0.10638 | 2.1277 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1), (-2), (-3) and (-4) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-17 | 562.7 | 0.0037812 | DFU-Unit-7
| DFU | DFU-19 (DFU-C0S44) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 7.6 | 1 | 10.6 | 0.09434 | 1.8868 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1), (-2), and (-3) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-19 | 519.8133 | 0.0036298 | DFU-Unit-8
| DFU | DFU-18 (DFU-C0S43) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 1 | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 5 | 5 | 1 | See Note (*) | 13 | 7.3 | 24 | 10.3 | 2.3301 | 46.6019 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 2.0 Inoculation | DFU-18 | 461.1705 | 0.10105 | DFU-Unit-9
N/A | DFU | DFU-22 (DFU-C0S49) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 15 | 11 | 9 | 1 | 2 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 137 | 134 | 123 | See Note (*) | 0 | 7.3 | 394 | 3 | 131.3333 | 2626.6667 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-22 | 505.6496 | 5.1946 | DFU-Unit-1 | 2023-05-12
N/A | DFU | DFU-27 (DFU-C0S62) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 2 | NONE | NONE | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 1 | 3 | 4 | See Note (*) | 42 | 9.3 |  |  | 4.5161 | 90.3226 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-27 | 280.9306 | 0.32151 | DFU-Unit-1 | 2023-05-13
N/A | DFU | DFU-34 (DFU-C0S61) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 6.9 | 1 | 9.9 | 0.10101 | 2.0202 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-34 | 234.9232 | 0.0085994 | DFU-Unit-10 | 2023-05-13
N/A | DFU | DFU-37 (DFU-C0S50) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 1 | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 1 | 3 | 5 | See Note (*) | 21 | 7.5 |  |  | 2.8 | 56 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-37 | 482.734 | 0.11601 | DFU-Unit-10 | 2023-05-12
N/A | DFU | DFU-25 (DFU-C0S63) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 1 | 8.6 | 1 | 11.6 | 0.086207 | 1.7241 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG Present on MicroFunnel Plates. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-25 | 311.1481 | 0.0055412 | DFU-Unit-2 | 2023-05-13
N/A | DFU | DFU-29 (DFU-C0S51) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 9 | 10 | 14 | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 65 | 68 | 78 | See Note (*) | 0 | 8 | 211 | 3 | 70.3333 | 1406.6667 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-29 | 531.3819 | 2.6472 | DFU-Unit-2 | 2023-05-12
N/A | DFU | DFU-24 (DFU-C0S64) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 3 | 7 | 3 | 10 | 0.3 | 6 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG Present on MicroFunnel Plates. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-24 | 304.2305 | 0.019722 | DFU-Unit-3 | 2023-05-13
N/A | DFU | DFU-30 (DFU-C0S53) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 2 | 4 | 2 | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 33 | 34 | 24 | See Note (*) | 0 | 7.7 | 91 | 3 | 30.3333 | 606.6667 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-30 | 533.2431 | 1.1377 | DFU-Unit-3 | 2023-05-12
N/A | DFU | DFU-23 (DFU-C0S55) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 9 | 3 | 1 | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 54 | 45 | 47 | See Note (*) | 209 | 7.9 | 355 | 10.9 | 32.5688 | 651.3761 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) and (-2) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-23 | 567.3957 | 1.148 | DFU-Unit-4 | 2023-05-12
| DFU | DFU-28 (DFU-C0S65) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 7.6 | 1 | 10.6 | 0.09434 | 1.8868 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel Plates. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-28 | 323.0161 | 0.0058412 | DFU-Unit-4 | 2023-05-13
N/A | DFU | DFU-21 (DFU-C0S67) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 6.7 | 1 | 9.7 | 0.10309 | 2.0619 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-21 | 335.4176 | 0.0061471 | DFU-Unit-5 | 2023-05-13
N/A | DFU | DFU-26 (DFU-C0S57) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | 3 | NONE | 2 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 8 | 6 | 9 | See Note (*) | 0 | 10 | 23 | 13 | 1.7692 | 35.3846 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG Present on MicroFunnel plates and spread plates at the (-1), (-2), and (-3) dilutions. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-26 | 505.904 | 0.069943 | DFU-Unit-5 | 2023-05-12
N/A | DFU | DFU-33 (DFU-C0S58) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | 1 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 3 | 4 | 4 | See Note (*) | 18 | 7.5 | 29 | 10.5 | 2.7619 | 55.2381 | Tier 1 | Detect | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-33 | 501.1359 | 0.11023 | DFU-Unit-6 | 2023-05-12
N/A | DFU | DFU-35 (DFU-C0S70) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 7.1 | 1 | 10.1 | 0.09901 | 1.9802 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel Plates. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-35 | 242.8128 | 0.0081552 | DFU-Unit-6 | 2023-05-13
N/A | DFU | DFU-31 (DFU-C0S69) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 8.1 | 1 | 11.1 | 0.09009 | 1.8018 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel Plates. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-31 | 246.0321 | 0.0073234 | DFU-Unit-7 | 2023-05-13
N/A | DFU | DFU-38 (DFU-C0S56) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 7.7 | 1 | 10.7 | 0.093458 | 1.8692 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-38 | 548.8157 | 0.0034058 | DFU-Unit-7 | 2023-05-12
N/A | DFU | DFU-36 (DFU-C0S54) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 7.1 | 1 | 10.1 | 0.09901 | 1.9802 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-36 | 528.9742 | 0.0037435 | DFU-Unit-8 | 2023-05-12
| DFU | DFU-39 (DFU-C0S68) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 8.8 | 1 | 11.8 | 0.084746 | 1.6949 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-39 | 234.1117 | 0.0072398 | DFU-Unit-8 | 2023-05-13
N/A | DFU | DFU-32 (DFU-C0S66) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 6 | 1 | 9 | 0.11111 | 2.2222 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-32 | 156.0504 | 0.01424 | DFU-Unit-9 | 2023-05-13
N/A | DFU | DFU-40 (DFU-C0S52) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 1 | 2 | 1 | See Note (*) | 0 | 7.8 | 4 | 10.8 | 0.37037 | 7.4074 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG Present on MicroFunnel plates and spread plates at the (-1) dilution. Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. Insufficent volume for 10 mL Filter Plate, remainder substituted and volume noted in column next to CFU Counts for 10 mL MicroFunnel Filter Plates. Pictures available on DTRL. | Field Sample | 3.0 Pre-Decon | DFU-40 | 485.8155 | 0.015247 | DFU-Unit-9 | 2023-05-12
| DFU | DFU-45 (DFU-C0SDFU-45) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 5.7 | 1 | 1 | 1 | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-45 | 501.3703 | 0.039891 | DFU-Unit-1 | 2023-05-16
| DFU | DFU-54 (DFU-C0S95) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.1 | 1 | 1 | 1 | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-54 | 466.9385 | 0.042832 | DFU-Unit-1 | 2023-05-17
| DFU | DFU-62 (DFU-C0S109) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | 1 | 6 | 1 | 7 | 0.14286 | 2.8571 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-62 | 408.362 | 0.0069966 | DFU-Unit-1 | 2023-05-18
| DFU | DFU-50 (DFU-C0SDFU-50) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.3 | 1 | 1 | 1 | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-50 | 502.6544 | 0.039789 | DFU-Unit-10 | 2023-05-16
| DFU | DFU-57 (DFU-C0S100) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.5 | 1 | 11.5 | 0.086957 | 1.7391 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-57 | 446.8252 | 0.0038922 | DFU-Unit-10 | 2023-05-17
| DFU | DFU-70 (DFU-C0S107) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6.2 | 1 | 12.2 | 0.081967 | 1.6393 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-70 | 352.7944 | 0.0046467 | DFU-Unit-10 | 2023-05-18
| DFU | DFU-44 (DFU-C0SDFU-44) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 1 | N/A | N/A | ND | ND | 5.6 | 1 | 1 | 1 | 20 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG present on all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-44 | 491.0586 | 0.040728 | DFU-Unit-2 | 2023-05-16
| DFU | DFU-52 (DFU-C0S96) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 7 | 1 | 1 | 1 | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-52 | 491.2014 | 0.040716 | DFU-Unit-2 | 2023-05-17
| DFU | DFU-65 (DFU-C0S110) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6 | 1 | 13 | 0.076923 | 1.5385 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-65 | 388.9249 | 0.0039557 | DFU-Unit-2 | 2023-05-18
| DFU | DFU-43 (DFU-C0SDFU-43) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6 | 1 | 12 | 0.083333 | 1.6667 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on the (0) 100 µl aliquot spread plates and filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-43 | 486.4541 | 0.0034262 | DFU-Unit-3 | 2023-05-16
| DFU | DFU-51 (DFU-C0S97) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.2 | 1 | 1 | 1 | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-51 | 478.896 | 0.041763 | DFU-Unit-3 | 2023-05-17
| DFU | DFU-61 (DFU-C0S112) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6.3 | 1 | 12.3 | 0.081301 | 1.626 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-61 | 388.9403 | 0.0041806 | DFU-Unit-3 | 2023-05-18
| DFU | DFU-42 (DFU-C0SDFU-42) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | ND | 5.5 | 1 | 6 | 0.16667 | 3.3333 | Tier 3 | Non-detect: However 1 filter plate result was not determined due to background | BKG present on the (-1) and (0) 100 µl aliquot spread plates and fitler plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-42 | 508.3963 | 0.0065566 | DFU-Unit-4 | 2023-05-16
| DFU | DFU-53 (DFU-C0S98) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.7 | 1 | 1 | 1 | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-53 | 465.44 | 0.04297 | DFU-Unit-4 | 2023-05-17
| DFU | DFU-63 (DFU-C0S114) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 4.3 | 1 | 10.3 | 0.097087 | 1.9417 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) and (-1) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-63 | 407.7551 | 0.004762 | DFU-Unit-4 | 2023-05-18
| DFU | DFU-41 (DFU-C0SDFU-41) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 5.8 | 1 | 1 | 1 | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on the (0) 100 µl aliquot spread plates and filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-41 | 506.2808 | 0.039504 | DFU-Unit-5 | 2023-05-16
| DFU | DFU-55 (DFU-C0S99) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.3 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-55 | 542.1748 | 0.036888 | DFU-Unit-5 | 2023-05-17
| DFU | DFU-64 (DFU-C0S116) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.4 | 1 | 11.4 | 0.087719 | 1.7544 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) and (-1) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-64 | 414.4208 | 0.0042333 | DFU-Unit-5 | 2023-05-18
| DFU | DFU-46 (DFU-C0SDFU-46) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | ND | N/A | N/A | ND | ND | 5.6 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on the (-1) and (-2) 100 µl aliquot spread plates and filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-46 | 444.7815 | 0.044966 | DFU-Unit-6 | 2023-05-16
| DFU | DFU-56 (DFU-C0S104) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | ND | 6.3 | 1 | 12.3 | 0.081301 | 1.626 | Tier 3 | Non-detect: However 1 filter plate result was not determined due to background | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-56 | 432.9873 | 0.0037553 | DFU-Unit-6 | 2023-05-17
| DFU | DFU-66 (DFU-C0S115) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.2 | 1 | 11.2 | 0.089286 | 1.7857 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-66 | 382.1079 | 0.0046733 | DFU-Unit-6 | 2023-05-18
| DFU | DFU-48 (DFU-C0SDFU-48) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 6 | N/A | N/A | ND | ND | 6.6 | 6 | 1 | 6 | 120 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-48 | 543.7492 | 0.22069 | DFU-Unit-7 | 2023-05-16
| DFU | DFU-59 (DFU-C0S103) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.7 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-59 | 467.1016 | 0.042817 | DFU-Unit-7 | 2023-05-17
| DFU | DFU-67 (DFU-C0S113) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 7.1 | 1 | 13.1 | 0.076336 | 1.5267 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-67 | 413.7513 | 0.0036899 | DFU-Unit-7 | 2023-05-18
| DFU | DFU-47 (DFU-C0SDFU-47) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 5.8 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-47 | 496.5773 | 0.040276 | DFU-Unit-8 | 2023-05-16
| DFU | DFU-58 (DFU-C0S102) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.3 | 1 | 11.3 | 0.088496 | 1.7699 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-58 | 447.343 | 0.0039565 | DFU-Unit-8 | 2023-05-17
| DFU | DFU-68 (DFU-C0S111) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6 | 1 | 12 | 0.083333 | 1.6667 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-68 | 386.0934 | 0.0043167 | DFU-Unit-8 | 2023-05-18
| DFU | DFU-49 (DFU-C0SDFU-49) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 5.8 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-49 | 447.3541 | 0.044707 | DFU-Unit-9 | 2023-05-17
| DFU | DFU-60 (DFU-C0S101) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 7 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-60 | 420.0619 | 0.047612 | DFU-Unit-9 | 2023-05-17
| DFU | DFU-69 (DFU-C0S108) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6.3 | 1 | 12.3 | 0.081301 | 1.626 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 4.0 Decontamination | DFU-69 | 370.8561 | 0.0043845 | DFU-Unit-9 | 2023-05-18
N/A | DFU | DFU-74 (DFU-C0S120) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 7 | 1 | 13 | 0.076923 | 1.5385 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-74 | 445.1654 | 0.0034559 | DFU-Unit-1 | 2023-05-19
| DFU | DFU-84 (DFU-C0S132) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A | 1 | 16 | 0.0625 | 1.25 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-84 | 226.9742 | 0.0055072 | DFU-Unit-1 | 2023-05-20
N/A | DFU | DFU-77 (DFU-C0S119) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.2 | 1 | 11.2 | 0.089286 | 1.7857 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-77 | 385.994 | 0.0046263 | DFU-Unit-10 | 2023-05-19
| DFU | DFU-86 (DFU-C0S131) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | ND | N/A | N/A | ND | ND | 6 | 0 |  |  | 20 | Tier 3 | Adjusted Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-86 | 214.3171 | 0.09332 | DFU-Unit-10 | 2023-05-20
N/A | DFU | DFU-73 (DFU-C0S122) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.6 | 1 | 11.6 | 0.086207 | 1.7241 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-73 | 453.215 | 0.0038042 | DFU-Unit-2 | 2023-05-19
| DFU | DFU-81 (DFU-C0S134) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | 1 | ND | 6.3 | 1 | 6 | 0.16667 | 3.3333 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-81 | 227.8756 | 0.014628 | DFU-Unit-2 | 2023-05-20
N/A | DFU | DFU-72 (DFU-C0S123) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5 | 1 | 11 | 0.090909 | 1.8182 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-72 | 431.4057 | 0.0042146 | DFU-Unit-3 | 2023-05-19
| DFU | DFU-85 (DFU-C0S136) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | ND | 7.1 | 1 | 6 | 0.16667 | 3.3333 | Tier 3 | Non-detect: However 1 filter plate result was not determined due to background | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-85 | 243.1544 | 0.013709 | DFU-Unit-3 | 2023-05-20
N/A | DFU | DFU-71 (DFU-C0S125) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 4.9 | 1 | 10.9 | 0.091743 | 1.8349 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-71 | 468.7574 | 0.0039143 | DFU-Unit-4 | 2023-05-19
| DFU | DFU-82 (DFU-C0S137) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 5.4 | 0 |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-82 | 243.7661 | 0.082046 | DFU-Unit-4 | 2023-05-20
N/A | DFU | DFU-75 (DFU-C0S127) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.4 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-75 | 452.7238 | 0.044177 | DFU-Unit-5 | 2023-05-19
| DFU | DFU-83 (DFU-C0S140) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | ND | 6.1 | 1 | 6 | 0.16667 | 3.3333 | Tier 3 | Non-detect: However 1 filter plate result was not determined due to background | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-83 | 245.2132 | 0.013594 | DFU-Unit-5 | 2023-05-20
| DFU | DFU-76 (DFU-C0S128) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | 6.7 |  |  |  | 20 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-76 | 395.9328 | 0.050514 | DFU-Unit-6 | 2023-05-19
| DFU | DFU-89 (DFU-C0S139) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A | 1 | 16 | 0.0625 | 1.25 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-89 | 226.4036 | 0.0055211 | DFU-Unit-6 | 2023-05-20
| DFU | DFU-78 (DFU-C0S126) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.9 | 1 | 11.9 | 0.084034 | 1.6807 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-78 | 445.4479 | 0.003773 | DFU-Unit-7 | 2023-05-19
| DFU | DFU-90 (DFU-C0SDFU-90) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A | 1 | 16 | 0.0625 | 1.25 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-90 | 242.8185 | 0.0051479 | DFU-Unit-7 | 2023-05-20
| DFU | DFU-79 (DFU-C0S124) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 4.9 | 1 | 10.9 | 0.091743 | 1.8349 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-79 | 432.6401 | 0.0042411 | DFU-Unit-8 | 2023-05-19
| DFU | DFU-88 (DFU-C0S135) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6 | 1 | 12 | 0.083333 | 1.6667 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-88 | 213.8294 | 0.0077944 | DFU-Unit-8 | 2023-05-20
| DFU | DFU-80 (DFU-C0S121) | 2022-05-20 | 2022-06-07 | 2022-06-07 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | ND | 6.9 | 1 | 6 | 0.16667 | 3.3333 | Tier 3 | Non-detect: However 1 filter plate result was not determined due to background | BKG present on (0) 100 µl aliquot spread plate and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-80 | 417.0695 | 0.0079923 | DFU-Unit-9 | 2023-05-19
| DFU | DFU-87 (DFU-C0S133) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.5 | 1 | 11.5 | 0.086957 | 1.7391 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 5.0 Post-Decon | DFU-87 | 204.9787 | 0.0084844 | DFU-Unit-9 | 2023-05-20
| DFU | DFU-99 (DFU-C0S145) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A | 1 | 16 | 0.0625 | 1.25 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-99 | 232.9207 | 0.0053666 | DFU-Unit-1
| DFU | DFU-94 (DFU-C0S144) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | ND | N/A | N/A | ND | ND | 6.2 | 0 |  |  | 20 | Tier 3 | Adjusted Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-94 | 264.924 | 0.075493 | DFU-Unit-10
| DFU | DFU-103 (DFU-C0S156) | 2022-05-24 | 2022-06-14 | 2022-06-14 | 20 | NONE | NONE | NONE | 1 | 0 | 0 | NONE | NONE | NONE | NONE | NONE | NONE | ND | N/A | N/A | ND | ND | NA | 1 | 16 | 0.0625 | 300 | Tier 3 | Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-103 | 216.3778 | 1.3865 | DFU-Unit-11
| DFU | DFU-97 (DFU-C0S153) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6.4 | 1 | 12.4 | 0.080645 | 1.6129 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-97 | 204.0165 | 0.0079058 | DFU-Unit-12
| DFU | DFU-98 (DFU-C0S155) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | ND | ND | N/A | 1 | 1 | 1 | 20 | Tier 3 | Adjusted Indeterminate Non-detect: Some plates were non-detect and some plates were not determined due to background. Set at filter plate LOD. | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-98 | 213.2993 | 0.093765 | DFU-Unit-13
| DFU | DFU-101 (DFU-C0S147) | 2022-05-24 | 2022-06-14 | 2022-06-14 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | 1 | NONE | 6.4 | 1 | 12.4 | 0.080645 | 1.6129 | Tier 3 | Adjusted Detect < LOQ: Plate counts less than the quanitation limit. Set at fliter plate LOQ/Sample had plates that cound not be determined due to background | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-101 | 221.5243 | 0.0072809 | DFU-Unit-2
| DFU | DFU-96 (DFU-C0S148) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 5.5 | 1 | 11.5 | 0.086957 | 1.7391 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-96 | 233.3147 | 0.007454 | DFU-Unit-3
| DFU | DFU-100 (DFU-C0S149) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 7.5 | 1 | 13.5 | 0.074074 | 1.4815 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-100 | 214.1286 | 0.0069187 | DFU-Unit-4
| DFU | DFU-102 (DFU-C0S151) | 2022-05-24 | 2022-06-14 | 2022-06-14 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 6.2 | 1 | 12.2 | 0.081967 | 1.6393 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-102 | 245.9535 | 0.0066653 | DFU-Unit-5
| DFU | DFU-93 (DFU-C0S154) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | ND | 6 | 1 | 12 | 0.083333 | 1.6667 | Tier 3 | Non-detect: However 1 filter plate result was not determined due to background | BKG present on all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-93 | 276.7748 | 0.0060217 | DFU-Unit-6
| DFU | DFU-92 (DFU-C0S152) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | ND | 6.5 | 1 | 12.5 | 0.08 | 1.6 | Tier 3 | Non-detect: However 1 filter plate result was not determined due to background | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-92 | 293.0382 | 0.00546 | DFU-Unit-7
| DFU | DFU-95 (DFU-C0S150) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 7 | 1 | 13 | 0.076923 | 1.5385 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-95 | 283.7911 | 0.0054211 | DFU-Unit-8
| DFU | DFU-91 (DFU-C0S146) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 7.4 | 1 | 13.4 | 0.074627 | 1.4925 | Tier 1 | Non-detect treated as 0 and used for summary results | BKG present on (0) 100 µl aliquot spread plates and all filter plates. Pictures are available on DTRL. | Field Sample | 6.0 Post-Decon Waste | DFU-91 | 214.5149 | 0.0069577 | DFU-Unit-9
| DFU | DFU_FB-2 (DFU-C0S33) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 6.7 mL remainder substituted. | Field Sample | 1.0 Background | DFU_FB-2 | 417.0695 | 0 | DFU-Unit-6 | sample bag ID indicates field blank, but apparently sample taken fron DFU 6?
[23 empty] | NOTES |  | April 2023 I adjusted non-detects (input 1 CFU) to calculate detection limit
NONE = None detected, no target colony was observed
TNTC = Too Numerous to Count (>300 CFU per plate)
BKG = Background Microorganisms Interference
ND = Not determined
N/A = Not applicable, not plated
Notes:
Data for the "CFU per 100 µL Spread Plate 10^-1" were obtained by plating 100 microliters of undiluted sample on each plate.
Data for the "CFU per 100 µL Spread Plate 10^-2" were obtained by plating 100 microliters of the 10^-1 dilution on each plate.
Data for the "CFU per 100 µL Spread Plate 10^-3" were obtained by plating 100 microliters of the 10^-2 dilution on each plate.
Data for the "CFU per 100 µL Spread Plate 10^-4" were obtained by plating 100 microliters of the 10^-3 dilution on each plate.
Data for all filter plates were obtained by plating undiluted sample volumes
Total sample volume (final extract) for Grab and MicroVac samples are the processing volumes listed in the LRN analysis protocol
Note on AC1: Wood, Joe:CFU/sample results in red font calculated using results below quantitation limit, e.g., if filter plate result < 15, or spread plate result < 30. In those cases, i used the highest CFU result coupled with its plating volume
Note on AJ1: Wood, Joe: sample time converted to minutes times flow rate in cubic meter per minute
Note on Z18: Wood, Joe: inputted as 1 for ND calcs
Note on Z19: Wood, Joe: inputted as 1 for ND calcs

## QC Summary
QC Tier | Media Blanks | Field Blanks | Field Samples | Total | Field Sample Tier %
Tier 1 | 13 | 20 | 64 | 97 | 62.14%
Tier 2 | 0 | 0 | 0 | 0 | 0%
Tier 3 | 0 | 0 | 39 | 39 | 37.86%
Total | 13 | 20 | 103 | 136 | 100%

## Field Blanks
LRN Sample ID (if different) | Sample Type Sponge, Vac, or extract | EPA Sample ID | Date Received | Date Processed | Date Plated | Total Sample Volume mL (final extract) | CFU per 100 µL Spread Plate 10^-1 | CFU per 100 µL Spread Plate 10^-1 | CFU per 100 µL Spread Plate 10^-1 | CFU per 100 µL Spread Plate 10^-2 | CFU per 100 µL Spread Plate 10^-2 | CFU per 100 µL Spread Plate 10^-2 | CFU per 100 µL Spread Plate 10^-3 | CFU per 100 µL Spread Plate 10^-3 | CFU per 100 µL Spread Plate 10^-3 | CFU per 100 µL Spread Plate 10^-4 | CFU per 100 µL Spread Plate 10^-4 | CFU per 100 µL Spread Plate 10^-4 | CFU per 1 mL Filter Plate 10^0 | CFU per 1 mL Filter Plate 10^0 | CFU per 1 mL Filter Plate 10^0 | CFU per 5 mL Micro Funnel Filter Plate 10^0 (Grab samples only) | CFU per 10 mL Micro Funnel Filter Plate 10^0 (Grab samples only) | Volume Plated if Insufficient volume for 10 mL filter Plate | Total CFU | Total Volume Analyzed | CFU/mL | CFU/Sample | QC | Data qualifier | NOTES | Field Sample, Media Blank, or Field Blank | Phase | From DFU air volume spreadsheet Sample Bag ID | sample volume cubic meters | CFU/m3 | DFU | notes | CFU/m3 QC applied
| DFU | DFU_FB-1 (DFU-C0SDFU_FB-1) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 9.5 mL remainder substituted. | Field Blank | 1.0 Background | DFU_FB-1 | 0 | 0 | Blank |  | 0
| DFU | DFU_FB-10 (DFU-C0SDFU_FB-10) | 2022-05-20 | 2022-06-02 | 2022-06-02 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.4 |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 4.0 Decontamination | DFU_FB-10 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-11 (DFU-C0SDFU_FB-11) | 2022-05-20 | 2022-06-02 | 2022-06-02 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 4.0 Decontamination | DFU_FB-11 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-12 (DFU-C0SDFU_FB-12) | 2022-05-20 | 2022-06-02 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.5 |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 4.0 Decontamination | DFU_FB-12 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-13 (DFU-C0SDFU_FB-13) | 2022-05-20 | 2022-06-02 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.9 |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 4.0 Decontamination | DFU_FB-13 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-14 (DFU-C0SDFU_FB-14) | 2022-05-20 | 2022-06-02 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.7 |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 4.0 Decontamination | DFU_FB-14 | 0 | 0 | Blank |  | N/A
N/A | DFU | DFU_FB-15 (DFU-C0SDFU_FB-15) | 2022-05-20 | 2022-06-02 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.6 |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 5.0 Post-Decon | DFU_FB-15 | 0 | 0 | Blank |  | N/A
N/A | DFU | DFU_FB-16 (DFU-C0SDFU_FB-16) | 2022-05-20 | 2022-06-02 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.7 |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 5.0 Post-Decon | DFU_FB-16 | 0 | 0 | Blank |  | N/A
N/A | DFU | DFU_FB-17 (DFU-C0SDFU_FB-17) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.5 | 0 |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 5.0 Post-Decon | DFU_FB-17 | 0 | 0 | Blank |  | N/A
N/A | DFU | DFU_FB-18 (DFU-C0SDFU_FB-18) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.4 | 0 |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 5.0 Post-Decon | DFU_FB-18 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-19 (DFU-C0SDFU_FB-17) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.4 | 0 |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 6.0 Post-Decon Waste | DFU_FB-19 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-20 (DFU-C0SDFU_FB-18) | 2022-05-24 | 2022-06-13 | 2022-06-13 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.2 | 0 |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 6.0 Post-Decon Waste | DFU_FB-20 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-3 (DFU-C0SDFU_FB-3) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Field Blank | 2.0 Inoculation | DFU_FB-3 | 0 | 0 | Blank |  | N/A
N/A | DFU | DFU_FB-4 (DFU-C0SDFU_FB-4) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Field Blank | 2.0 Inoculation | DFU_FB-4 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-5 (DFU-C0SDFU_FB-5) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Field Blank | 3.0 Pre-Decon | DFU_FB-5 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-6 (DFU-C0SDFU_FB-6) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Field Blank | 3.0 Pre-Decon | DFU_FB-6 | 0 | 0 | Blank |  | N/A
N/A | DFU | DFU_FB-7 (DFU-C0SDFU_FB-7) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Field Blank | 3.0 Pre-Decon | DFU_FB-7 | 0 | 0 | Blank |  | N/A
N/A | DFU | DFU_FB-8 (DFU-C0SDFU_FB-8) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Field Blank | 3.0 Pre-Decon | DFU_FB-8 | 0 | 0 | Blank |  | N/A
| DFU | DFU_FB-9 (DFU-C0SDFU_FB-9) | 2022-05-20 | 2022-06-02 | 2022-06-02 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.2 |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results |  | Field Blank | 4.0 Decontamination | DFU_FB-9 | 0 | 0 | Blank |  | N/A
| DFU | DFU-6 (DFU-C0SDFU-6) | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Tier 1 | Non-detect treated as 0 and used for summary results | Insufficent volume for 10 mL Filter Plate, 8.9 mL remainder substituted. | Field Blank | 1.0 Background | DFU-6 | 0 | #DIV/0! | Blank |  | N/A
Note on AC1: Wood, Joe:CFU/sample results in red font calculated using results below quantitation limit, e.g., if filter plate result < 15, or spread plate result < 30. In those cases, i used the highest CFU result coupled with its plating volume
Note on AJ1: Wood, Joe: sample time converted to minutes times flow rate in cubic meter per minute

## Media Blanks
LRN Sample ID (if different) | Sample Type Sponge, Vac, or extract | EPA Sample ID | Date Received | Date Processed | Date Plated | Total Sample Volume mL (final extract) | CFU per 100 µL Spread Plate 10^-1 |  |  | CFU per 100 µL Spread Plate 10^-2 |  |  | CFU per 100 µL Spread Plate 10^-3 |  |  | CFU per 100 µL Spread Plate 10^-4 |  |  | CFU per 1 mL Filter Plate 10^0 (record 3 replicates for each Micro vacuum sample; 2 replicates for each sponge stick sample; 1 replicate for each grab sample) |  |  | CFU per 5 mL Micro Funnel Filter Plate 10^0 (Grab samples only) | CFU per 10 mL Micro Funnel Filter Plate 10^0 (Grab samples only) | Volume Plated if Insufficient volume for 10 mL filter Plate | Total CFU | Total Volume Analyzed | CFU/mL | CFU/Sample | NOTES | Field Sample, Media Blank, or Field Blank | Phase
| DFU | DFU_MB-1 | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Insufficent volume for 10 mL Filter Plate, 9.2 mL remainder substituted. | Media Blank | Background
| DFU | DFU_MB-10 (DFU_MB-10) | 2022-05-20 | 2022-06-02 | 2022-06-02 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 |  | Media Blank | Post-Decon
| DFU | DFU_MB-11 (DFU_MB-11) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.5 |  |  |  | 0 |  | Media Blank | Post-Decon
| DFU | DFU_MB-12 (DFU_MB-12) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 |  | Media Blank | Post-Decon
| DFU | DFU_MB-13 (DFU_MB-13) | 2022-05-20 | 2022-06-06 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.5 |  |  |  | 0 |  | Media Blank | Post-Decon
| DFU | DFU_MB-2 | 2022-05-06 | 2022-05-10 | 2022-05-10 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 | Insufficent volume for 10 mL Filter Plate, 9.9 mL remainder substituted. | Media Blank | Background
N/A | DFU | DFU_MB-3 (DFU_MB-3) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Media Blank | Inoculation
N/A | DFU | DFU_MB-4 (DFU_MB-4) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Media Blank | Pre-Decon
N/A | DFU | DFU_MB-5 (DFU_MB-5) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Media Blank | Pre-Decon
N/A | DFU | DFU_MB-6 (DFU_MB-6) | 2022-05-17 | 2022-05-18 | 2022-05-18 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | 0 | 0 | 0 | See Note (*) | 0 | 10 | 0 | 13 | 0 | 0 | Plated 3 - 1 mL aliquots on Day 0. Proceeded to filter plate 10 mL or remainder on subsequent day. | Media Blank | Pre-Decon
| DFU | DFU_MB-7 (DFU_MB-7) | 2022-05-20 | 2022-06-02 | 2022-06-06 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 |  | Media Blank | Decontamination
| DFU | DFU_MB-8 (DFU_MB-8) | 2022-05-20 | 2022-06-02 | 2022-06-02 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | 9.5 |  |  |  | 0 |  | Media Blank | Decontamination
| DFU | DFU_MB-9 (DFU_MB-9) | 2022-05-20 | 2022-06-02 | 2022-06-02 | 20 | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | NONE | N/A | N/A | NONE | NONE | N/A |  |  |  | 0 |  | Media Blank | Decontamination