## Table 1
Batch Path D:\MassHunter\GCMS\1\data\05jan23\QuantResults\05jan23.batch.bin Analysis Time 1/11/2023 10:04 AM Analyst Name TAI\us32_usr_ins22923 Report Time 1/11/2023 2:41:45 PM Reporter Name TAI\us32_usr_ins22923 Last Calib Update 1/3/2023 2:39 PM Batch State Processed Quant Batch Version 10.1 Quant Report Version 10.1 Sequence Table Data File sample Name Sample Type Vial Position Inj Vol Level Acq Method File
tq010511.D 4.0ul #3318-88-0.1A + 4.0ul #3318-89-0.1, IDOC tq010512.D 4.0ul #3318-88-0.1A + 4.0ul #3318-89-0.1, IDOC tq010513.D 4.0ul #3318-88-0.1A + 4.0ul #3318-89-0.1, IDOC tq010514.D 4.0ul #3318-88-0.1A + 4.0ul #3318-89-0.1, IDOC |  |  | Sample 11 0 L3 tq22m1227 Sample 12 0 L3 tq22m1227 Sample 13 0 L3 tq22m1227 Sample 14 0 L3 tq22m1227
Quantitation Results Compound: PFBA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy | Average | %RSD
tq010511.D | Sample | 6:2 FTOH-C13 |  | 4.406 | 54279 | 49991 | 1.0858 | 0.324 | 0.4 | 81% | 87.26% | 6.251%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 4.399 | 59896 | 46581 | 1.2858 | 0.3837 | 0.4 | 95.92%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 4.406 | 54921 | 47577 | 1.1544 | 0.3445 | 0.4 | 86.12%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 4.406 | 49373 | 42843 | 1.1524 | 0.3439 | 0.4 | 85.97%
Compound: PFPeA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 4.481 | 60937 | 49991 | 1.219 | 0.41 | 0.4 | 102.5% | 101% | 3.476%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 4.481 | 53074 | 46581 | 1.1394 | 0.3832 | 0.4 | 95.8%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 4.481 | 57831 | 47577 | 1.2155 | 0.4088 | 0.4 | 102.2%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 4.481 | 52655 | 42843 | 1.229 | 0.4134 | 0.4 | 103.3%
Compound: PFHxA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 4.645 | 29758 | 49991 | 0.5953 | 0.43 | 0.4 | 107.5% | 106.1% | 3.689%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 4.639 | 26617 | 46581 | 0.5714 | 0.4127 | 0.4 | 103.2%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 4.645 | 27155 | 47577 | 0.5708 | 0.4123 | 0.4 | 103.1%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 4.639 | 26264 | 42843 | 0.613 | 0.4428 | 0.4 | 110.7%
Compound: PFHpA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 4.927 | 19697 | 49991 | 0.394 | 0.4174 | 0.4 | 104.3% | 100.9% | 5.407%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 4.92 | 16912 | 46581 | 0.3631 | 0.3846 | 0.4 | 96.15%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 4.92 | 17316 | 47577 | 0.364 | 0.3855 | 0.4 | 96.38%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 4.92 | 17250 | 42843 | 0.4026 | 0.4265 | 0.4 | 106.6%
Compound: PFOA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 5.348 | 11962 | 49991 | 0.2393 | 0.3965 | 0.4 | 99.12% | 95.16% | 4.189%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 5.348 | 10115 | 46581 | 0.2171 | 0.3598 | 0.4 | 89.95%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 5.348 | 10757 | 47577 | 0.2261 | 0.3746 | 0.4 | 93.65%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 5.348 | 10125 | 42843 | 0.2363 | 0.3916 | 0.4 | 97.9%
Compound: 4:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 11.688 | 9522 | 49991 | 0.1905 | 0.4047 | 0.4 | 101.2% | 95.55% | 9.056%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 11.688 | 7566 | 46581 | 0.1624 | 0.3451 | 0.4 | 86.28%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 11.688 | 8023 | 47577 | 0.1686 | 0.3583 | 0.4 | 89.57%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 11.688 | 8483 | 42843 | 0.198 | 0.4207 | 0.4 | 105.2%
Compound: 5:2sFTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 11.758 | 4878 | 49991 | 0.0976 | 0.4117 | 0.4 | 102.9% | 93.29% | 7.052%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 11.757 | 4011 | 46581 | 0.0861 | 0.3633 | 0.4 | 90.83%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 11.752 | 3888 | 47577 | 0.0817 | 0.3448 | 0.4 | 86.2%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 11.751 | 3785 | 42843 | 0.0884 | 0.3728 | 0.4 | 93.2%
Compound: 7:2sFTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 13.063 | 10209 | 49991 | 0.2042 | 0.3976 | 0.4 | 99.4% | 91.83% | 5.45%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 13.064 | 8673 | 46581 | 0.1862 | 0.3625 | 0.4 | 90.62%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 13.064 | 8446 | 47577 | 0.1775 | 0.3456 | 0.4 | 86.4%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 13.064 | 8002 | 42843 | 0.1868 | 0.3636 | 0.4 | 90.9%
Compound: 6:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 13.089 | 17127 | 49991 | 0.3426 | 0.3742 | 0.4 | 93.55% | 91.47% | 6.85%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 13.09 | 14489 | 46581 | 0.311 | 0.3397 | 0.4 | 84.92%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 13.09 | 15203 | 47577 | 0.3195 | 0.349 | 0.4 | 87.25%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 13.089 | 15719 | 42843 | 0.3669 | 0.4007 | 0.4 | 100.2%
Compound: 8:2 FTOH-C13
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 14.293 | 18071 | 49991 | 0.3615 | 0.9281 | 1 | 92.81% | 92.61% | 2.493%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 14.293 | 16913 | 46581 | 0.3631 | 0.9321 | 1 | 93.21%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 14.293 | 16534 | 47577 | 0.3475 | 0.8922 | 1 | 89.22%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 14.293 | 15889 | 42843 | 0.3709 | 0.9521 | 1 | 95.21%
Compound: 8:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 14.294 | 5386 | 49991 | 0.1077 | 0.4152 | 0.4 | 103.8% | 100.3% | 3.901%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 14.3 | 4604 | 46581 | 0.0988 | 0.3809 | 0.4 | 95.23%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 14.294 | 4911 | 47577 | 0.1032 | 0.3977 | 0.4 | 99.42%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 14.3 | 4577 | 42843 | 0.1068 | 0.4117 | 0.4 | 102.9%
Compound: 10:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 15.37 | 1681 | 49991 | 0.0336 | 0.3085 | 0.4 | 77.12% | 78.12% | 6.891%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 15.37 | 1438 | 46581 | 0.0309 | 0.2831 | 0.4 | 70.78%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 15.37 | 1601 | 47577 | 0.0336 | 0.3086 | 0.4 | 77.15%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 15.369 | 1633 | 42843 | 0.0381 | 0.3497 | 0.4 | 87.42%
Compound: 12:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 16.356 | 6652 | 49991 | 0.1331 | 0.3182 | 0.4 | 79.55% | 76.31% | 7.128%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 16.35 | 5832 | 46581 | 0.1252 | 0.2994 | 0.4 | 74.85%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 16.35 | 5339 | 47577 | 0.1122 | 0.2684 | 0.4 | 67.1%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 16.35 | 5999 | 42843 | 0.14 | 0.3349 | 0.4 | 83.72%
Compound: NMeFOSA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 18.823 | 30743 | 49991 | 0.615 | 0.3862 | 0.4 | 96.55% | 95.36% | 7.848%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 18.823 | 29840 | 46581 | 0.6406 | 0.4023 | 0.4 | 100.6%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 18.83 | 25431 | 47577 | 0.5345 | 0.3357 | 0.4 | 83.92%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 18.823 | 27400 | 42843 | 0.6395 | 0.4016 | 0.4 | 100.4%
Compound: NEtFOSA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp | Resp Ratio | Final Conc | Exp. Conc | Accuracy
tq010511.D | Sample | 6:2 FTOH-C13 |  | 18.824 | 27175 | 49991 | 0.5436 | 0.3771 | 0.4 | 94.27% | 94.86% | 9.187%
tq010512.D | Sample | 6:2 FTOH-C13 |  | 18.824 | 27581 | 46581 | 0.5921 | 0.4108 | 0.4 | 102.7%
tq010513.D | Sample | 6:2 FTOH-C13 |  | 18.824 | 22534 | 47577 | 0.4736 | 0.3286 | 0.4 | 82.15%
tq010514.D | Sample | 6:2 FTOH-C13 |  | 18.823 | 24783 | 42843 | 0.5785 | 0.4013 | 0.4 | 100.3%

## 1-5-23 IDOC Summary Table
Initial Demonstration of Capability (IDOC)
Compound | Average | %RSD
PFBA | 87.26% | 6.251%
PFPeA | 101% | 3.476%
PFHxA | 106.1% | 3.689%
PFHpA | 100.9% | 5.407%
PFOA | 95.16% | 4.189%
4:2 FTOH | 95.55% | 9.056%
5:2sFTOH | 93.29% | 7.052%
7:2sFTOH | 91.83% | 5.45%
6:2 FTOH | 91.47% | 6.85%
8:2 FTOH-C13 | 92.61% | 2.493%
8:2 FTOH | 100.3% | 3.901%
10:2 FTOH | 78.12% | 6.891%
12:2 FTOH | 76.31% | 7.128%
NMeFOSA | 95.36% | 7.848%
NEtFOSA | 94.86% | 9.187%