## Original Data
Batch Path | D:\MassHunter\GCMS\1\data\03MAR23\QuantResults\stability tests.batch.bin
Analysis Time | 3/10/2023 13:22 Analyst Name | [7 empty] | TAI\us32_usr_ins22923
Report Time | 3/10/2023 1:23:32 PM Reporter Name | [7 empty] | TAI\us32_usr_ins22923
Last Calib Update | 1/3/2023 14:39 Batch State | [7 empty] | Processed
Quant Batch Version | 10.1 Quant Report Version | [7 empty] | 10.1
Sequence Table
Data File | sample Name |  | Sample Type |  | Vial Position |  | Inj Vol |  | Level | Acq Method File
tq020307.D | 1.0 uL #3318-88-5A, 1.0ul #3318-89-5, Stability spike day 0 |  | QC |  | 7 |  | 0 |  | L6 | tq22m1227
tq020308.D | 1.0 uL #3318-88-5A, 1.0ul #3318-89-5, Stability spike day 0 |  | QC |  | 8 |  | 0 |  | L6 | tq22m1227
tq020309.D | 1.0 uL #3318-88-5A, 1.0ul #3318-89-5, Stability spike day 0 |  | QC |  | 9 |  | 0 |  | L6 | tq22m1227
tq021007.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5 ng Day 7 ;Stability spike 5 ng Day 7 ; |  | QC |  | 5 |  | 0 |  | L6 | tq22m1227
tq021008.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5 ng Day 7 ;Stability spike 5 ng Day 7 ; |  | QC |  | 6 |  | 0 |  | L6 | tq22m1227
tq021009.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5 ng Day 7 ;Stability spike 5 ng Day 7 ; |  | QC |  | 7 |  | 0 |  | L6 | tq22m1227
tq021708.D | 1.0 uL 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 14 ;Stability spike 5.0 ng Day 14 ; |  | QC |  | 8 |  | 0 |  | L6 | tq22m1227
tq021709.D | 1.0 uL 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 14 ;Stability spike 5.0 ng Day 14 ; |  | QC |  | 9 |  | 0 |  | L6 | tq22m1227
tq021710.D | 1.0 uL 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 14 ;Stability spike 5.0 ng Day 14 ; |  | QC |  | 10 |  | 0 |  | L6 | tq22m1227
tq030305.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 28 ; 28 ;Stability spike 5.0 ng Day |  | QC |  | 5 |  | 0 |  | L6 | tq22m1227
tq030306.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 28 ; 28 ;Stability spike 5.0 ng Day |  | QC |  | 6 |  | 0 |  | L6 | tq22m1227
tq030307.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 28 ; 28 ;Stability spike 5.0 ng Day |  | QC |  | 7 |  | 0 |  | L6 | tq22m1227
Quantitation Results
Compound: PFBA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 4.399 | 923112 | 43546 |  | 21.1985 |  | 6.3261 | 5 | 126.5
tq020308.D | QC | 6:2 FTOH-C13 |  | 4.399 | 843702 | 39582 |  | 21.3152 |  | 6.3609 | 5 | 127.2
tq020309.D | QC | 6:2 FTOH-C13 |  | 4.399 | 809467 | 38297 |  | 21.1367 |  | 6.3077 | 5 | 126.2
tq021007.D | QC | 6:2 FTOH-C13 |  | 4.399 | 718317 | 45493 |  | 15.7896 |  | 4.712 | 5 | 94.2
tq021008.D | QC | 6:2 FTOH-C13 |  | 4.393 | 704239 | 42199 |  | 16.6886 |  | 4.9802 | 5 | 99.6
tq021009.D | QC | 6:2 FTOH-C13 |  | 4.399 | 877925 | 39179 |  | 22.4078 |  | 6.687 | 5 | 133.7
tq021708.D | QC | 6:2 FTOH-C13 |  | 4.399 | 656490 | 36085 |  | 18.1931 |  | 5.4292 | 5 | 108.6
tq021709.D | QC | 6:2 FTOH-C13 |  | 4.393 | 699752 | 38306 |  | 18.2673 |  | 5.4514 | 5 | 109
tq021710.D | QC | 6:2 FTOH-C13 |  | 4.393 | 622315 | 35025 |  | 17.7677 |  | 5.3023 | 5 | 106
tq030305.D | QC | 6:2 FTOH-C13 |  | 4.412 | 626261 | 30891 |  | 20.2735 |  | 6.0501 | 5 | 121
tq030306.D | QC | 6:2 FTOH-C13 |  | 4.406 | 545585 | 31500 |  | 17.3201 |  | 5.1687 | 5 | 103.4
tq030307.D | QC | 6:2 FTOH-C13 |  | 4.406 | 578596 | 29028 |  | 19.9324 |  | 5.9483 | 5 | 119
Compound: PFPeA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 4.481 | 677869 | 43546 |  | 15.5667 |  | 5.236 | 5 | 104.7
tq020308.D | QC | 6:2 FTOH-C13 |  | 4.481 | 608100 | 39582 |  | 15.363 |  | 5.1675 | 5 | 103.3
tq020309.D | QC | 6:2 FTOH-C13 |  | 4.481 | 593217 | 38297 |  | 15.49 |  | 5.2102 | 5 | 104.2
tq021007.D | QC | 6:2 FTOH-C13 |  | 4.481 | 554076 | 45493 |  | 12.1794 |  | 4.0966 | 5 | 81.9
tq021008.D | QC | 6:2 FTOH-C13 |  | 4.474 | 505312 | 42199 |  | 11.9746 |  | 4.0278 | 5 | 80.6
tq021009.D | QC | 6:2 FTOH-C13 |  | 4.481 | 587964 | 39179 |  | 15.007 |  | 5.0477 | 5 | 101
tq021708.D | QC | 6:2 FTOH-C13 |  | 4.474 | 479044 | 36085 |  | 13.2756 |  | 4.4654 | 5 | 89.3
tq021709.D | QC | 6:2 FTOH-C13 |  | 4.474 | 495537 | 38306 |  | 12.9362 |  | 4.3512 | 5 | 87
tq021710.D | QC | 6:2 FTOH-C13 |  | 4.474 | 432760 | 35025 |  | 12.3557 |  | 4.156 | 5 | 83.1
tq030305.D | QC | 6:2 FTOH-C13 |  | 4.487 | 419376 | 30891 |  | 13.5762 |  | 4.5665 | 5 | 91.3
tq030306.D | QC | 6:2 FTOH-C13 |  | 4.487 | 367082 | 31500 |  | 11.6534 |  | 3.9197 | 5 | 78.4
tq030307.D | QC | 6:2 FTOH-C13 |  | 4.487 | 392616 | 29028 |  | 13.5254 |  | 4.5494 | 5 | 91
Compound: PFHxA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 4.639 | 308701 | 43546 |  | 7.0891 |  | 5.1208 | 5 | 102.4
tq020308.D | QC | 6:2 FTOH-C13 |  | 4.639 | 283342 | 39582 |  | 7.1583 |  | 5.1708 | 5 | 103.4
tq020309.D | QC | 6:2 FTOH-C13 |  | 4.639 | 273265 | 38297 |  | 7.1355 |  | 5.1543 | 5 | 103.1
tq021007.D | QC | 6:2 FTOH-C13 |  | 4.639 | 266148 | 45493 |  | 5.8503 |  | 4.2259 | 5 | 84.5
tq021008.D | QC | 6:2 FTOH-C13 |  | 4.639 | 245228 | 42199 |  | 5.8113 |  | 4.1977 | 5 | 84
tq021009.D | QC | 6:2 FTOH-C13 |  | 4.639 | 268574 | 39179 |  | 6.855 |  | 4.9517 | 5 | 99
tq021708.D | QC | 6:2 FTOH-C13 |  | 4.639 | 232551 | 36085 |  | 6.4446 |  | 4.6552 | 5 | 93.1
tq021709.D | QC | 6:2 FTOH-C13 |  | 4.639 | 247417 | 38306 |  | 6.4589 |  | 4.6656 | 5 | 93.3
tq021710.D | QC | 6:2 FTOH-C13 |  | 4.639 | 203935 | 35025 |  | 5.8225 |  | 4.2059 | 5 | 84.1
tq030305.D | QC | 6:2 FTOH-C13 |  | 4.652 | 204102 | 30891 |  | 6.6073 |  | 4.7727 | 5 | 95.5
tq030306.D | QC | 6:2 FTOH-C13 |  | 4.652 | 172713 | 31500 |  | 5.4829 |  | 3.9606 | 5 | 79.2
tq030307.D | QC | 6:2 FTOH-C13 |  | 4.652 | 192167 | 29028 |  | 6.6201 |  | 4.782 | 5 | 95.6
Compound: PFHpA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 4.92 | 186328 | 43546 |  | 4.2789 |  | 4.5324 | 5 | 90.6
tq020308.D | QC | 6:2 FTOH-C13 |  | 4.927 | 174602 | 39582 |  | 4.4111 |  | 4.6726 | 5 | 93.5
tq020309.D | QC | 6:2 FTOH-C13 |  | 4.92 | 169161 | 38297 |  | 4.4171 |  | 4.6789 | 5 | 93.6
tq021007.D | QC | 6:2 FTOH-C13 |  | 4.92 | 169728 | 45493 |  | 3.7309 |  | 3.952 | 5 | 79
tq021008.D | QC | 6:2 FTOH-C13 |  | 4.92 | 156036 | 42199 |  | 3.6977 |  | 3.9168 | 5 | 78.3
tq021009.D | QC | 6:2 FTOH-C13 |  | 4.92 | 171696 | 39179 |  | 4.3823 |  | 4.642 | 5 | 92.8
tq021708.D | QC | 6:2 FTOH-C13 |  | 4.92 | 149251 | 36085 |  | 4.1361 |  | 4.3813 | 5 | 87.6
tq021709.D | QC | 6:2 FTOH-C13 |  | 4.92 | 157945 | 38306 |  | 4.1232 |  | 4.3676 | 5 | 87.4
tq021710.D | QC | 6:2 FTOH-C13 |  | 4.92 | 131700 | 35025 |  | 3.7601 |  | 3.983 | 5 | 79.7
tq030305.D | QC | 6:2 FTOH-C13 |  | 4.933 | 138353 | 30891 |  | 4.4788 |  | 4.7442 | 5 | 94.9
tq030306.D | QC | 6:2 FTOH-C13 |  | 4.933 | 122616 | 31500 |  | 3.8925 |  | 4.1232 | 5 | 82.5
tq030307.D | QC | 6:2 FTOH-C13 |  | 4.934 | 127461 | 29028 |  | 4.391 |  | 4.6512 | 5 | 93
Compound: PFOA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 5.348 | 100662 | 43546 |  | 2.3116 |  | 3.8301 | 5 | 76.6
tq020308.D | QC | 6:2 FTOH-C13 |  | 5.348 | 92103 | 39582 |  | 2.3269 |  | 3.8554 | 5 | 77.1
tq020309.D | QC | 6:2 FTOH-C13 |  | 5.348 | 93240 | 38297 |  | 2.4347 |  | 4.034 | 5 | 80.7
tq021007.D | QC | 6:2 FTOH-C13 |  | 5.348 | 93722 | 45493 |  | 2.0601 |  | 3.4134 | 5 | 68.3
tq021008.D | QC | 6:2 FTOH-C13 |  | 5.348 | 84418 | 42199 |  | 2.0005 |  | 3.3146 | 5 | 66.3
tq021009.D | QC | 6:2 FTOH-C13 |  | 5.348 | 93449 | 39179 |  | 2.3852 |  | 3.952 | 5 | 79
tq021708.D | QC | 6:2 FTOH-C13 |  | 5.348 | 89547 | 36085 |  | 2.4816 |  | 4.1117 | 5 | 82.2
tq021709.D | QC | 6:2 FTOH-C13 |  | 5.348 | 99011 | 38306 |  | 2.5847 |  | 4.2826 | 5 | 85.7
tq021710.D | QC | 6:2 FTOH-C13 |  | 5.348 | 82694 | 35025 |  | 2.361 |  | 3.912 | 5 | 78.2
tq030305.D | QC | 6:2 FTOH-C13 |  | 5.354 | 86701 | 30891 |  | 2.8067 |  | 4.6505 | 5 | 93
tq030306.D | QC | 6:2 FTOH-C13 |  | 5.354 | 77511 | 31500 |  | 2.4607 |  | 4.0771 | 5 | 81.5
tq030307.D | QC | 6:2 FTOH-C13 |  | 5.355 | 80805 | 29028 |  | 2.7837 |  | 4.6123 | 5 | 92.2
Compound: 4:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 11.688 | 91659 | 43546 |  | 2.1049 |  | 4.4724 | 5 | 89.4
tq020308.D | QC | 6:2 FTOH-C13 |  | 11.688 | 97813 | 39582 |  | 2.4711 |  | 5.2506 | 5 | 105
tq020309.D | QC | 6:2 FTOH-C13 |  | 11.683 | 90898 | 38297 |  | 2.3735 |  | 5.0432 | 5 | 100.9
tq021007.D | QC | 6:2 FTOH-C13 |  | 11.689 | 89061 | 45493 |  | 1.9577 |  | 4.1597 | 5 | 83.2
tq021008.D | QC | 6:2 FTOH-C13 |  | 11.689 | 87072 | 42199 |  | 2.0634 |  | 4.3843 | 5 | 87.7
tq021009.D | QC | 6:2 FTOH-C13 |  | 11.688 | 89772 | 39179 |  | 2.2913 |  | 4.8686 | 5 | 97.4
tq021708.D | QC | 6:2 FTOH-C13 |  | 11.688 | 78757 | 36085 |  | 2.1826 |  | 4.6375 | 5 | 92.8
tq021709.D | QC | 6:2 FTOH-C13 |  | 11.683 | 75452 | 38306 |  | 1.9697 |  | 4.1852 | 5 | 83.7
tq021710.D | QC | 6:2 FTOH-C13 |  | 11.682 | 74580 | 35025 |  | 2.1293 |  | 4.5244 | 5 | 90.5
tq030305.D | QC | 6:2 FTOH-C13 |  | 11.729 | 65912 | 30891 |  | 2.1337 |  | 4.5337 | 5 | 90.7
tq030306.D | QC | 6:2 FTOH-C13 |  | 11.729 | 65216 | 31500 |  | 2.0704 |  | 4.3991 | 5 | 88
tq030307.D | QC | 6:2 FTOH-C13 |  | 11.723 | 62781 | 29028 |  | 2.1628 |  | 4.5955 | 5 | 91.9
Compound: 5:2sFTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 11.751 | 41653 | 43546 |  | 0.9565 |  | 4.0362 | 5 | 80.7
tq020308.D | QC | 6:2 FTOH-C13 |  | 11.751 | 45030 | 39582 |  | 1.1376 |  | 4.8004 | 5 | 96
tq020309.D | QC | 6:2 FTOH-C13 |  | 11.746 | 43845 | 38297 |  | 1.1449 |  | 4.831 | 5 | 96.6
tq021007.D | QC | 6:2 FTOH-C13 |  | 11.752 | 43817 | 45493 |  | 0.9632 |  | 4.0642 | 5 | 81.3
tq021008.D | QC | 6:2 FTOH-C13 |  | 11.752 | 41817 | 42199 |  | 0.9909 |  | 4.1814 | 5 | 83.6
tq021009.D | QC | 6:2 FTOH-C13 |  | 11.752 | 44679 | 39179 |  | 1.1404 |  | 4.8119 | 5 | 96.2
tq021708.D | QC | 6:2 FTOH-C13 |  | 11.752 | 40488 | 36085 |  | 1.122 |  | 4.7346 | 5 | 94.7
tq021709.D | QC | 6:2 FTOH-C13 |  | 11.752 | 36467 | 38306 |  | 0.952 |  | 4.017 | 5 | 80.3
tq021710.D | QC | 6:2 FTOH-C13 |  | 11.746 | 38137 | 35025 |  | 1.0888 |  | 4.5945 | 5 | 91.9
tq030305.D | QC | 6:2 FTOH-C13 |  | 11.792 | 37045 | 30891 |  | 1.1992 |  | 5.0603 | 5 | 101.2
tq030306.D | QC | 6:2 FTOH-C13 |  | 11.793 | 32505 | 31500 |  | 1.0319 |  | 4.3542 | 5 | 87.1
tq030307.D | QC | 6:2 FTOH-C13 |  | 11.793 | 32657 | 29028 |  | 1.125 |  | 4.7471 | 5 | 94.9
Compound: 7:2sFTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 13.064 | 90571 | 43546 |  | 2.0799 |  | 4.0495 | 5 | 81
tq020308.D | QC | 6:2 FTOH-C13 |  | 13.064 | 96893 | 39582 |  | 2.4479 |  | 4.766 | 5 | 95.3
tq020309.D | QC | 6:2 FTOH-C13 |  | 13.056 | 83938 | 38297 |  | 2.1918 |  | 4.2674 | 5 | 85.3
tq021007.D | QC | 6:2 FTOH-C13 |  | 13.064 | 94892 | 45493 |  | 2.0859 |  | 4.0611 | 5 | 81.2
tq021008.D | QC | 6:2 FTOH-C13 |  | 13.063 | 88799 | 42199 |  | 2.1043 |  | 4.0971 | 5 | 81.9
tq021009.D | QC | 6:2 FTOH-C13 |  | 13.063 | 90693 | 39179 |  | 2.3148 |  | 4.5069 | 5 | 90.1
tq021708.D | QC | 6:2 FTOH-C13 |  | 13.064 | 95196 | 36085 |  | 2.6381 |  | 5.1364 | 5 | 102.7
tq021709.D | QC | 6:2 FTOH-C13 |  | 13.056 | 89681 | 38306 |  | 2.3412 |  | 4.5582 | 5 | 91.2
tq021710.D | QC | 6:2 FTOH-C13 |  | 13.056 | 92585 | 35025 |  | 2.6434 |  | 5.1466 | 5 | 102.9
tq030305.D | QC | 6:2 FTOH-C13 |  | 13.103 | 92183 | 30891 |  | 2.9842 |  | 5.8102 | 5 | 116.2
tq030306.D | QC | 6:2 FTOH-C13 |  | 13.104 | 85952 | 31500 |  | 2.7286 |  | 5.3126 | 5 | 106.3
tq030307.D | QC | 6:2 FTOH-C13 |  | 13.104 | 84585 | 29028 |  | 2.9139 |  | 5.6733 | 5 | 113.5
Compound: 6:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 13.09 | 153263 | 43546 |  | 3.5196 |  | 3.8438 | 5 | 76.9
tq020308.D | QC | 6:2 FTOH-C13 |  | 13.09 | 172615 | 39582 |  | 4.3609 |  | 4.7627 | 5 | 95.3
tq020309.D | QC | 6:2 FTOH-C13 |  | 13.089 | 161578 | 38297 |  | 4.2191 |  | 4.6078 | 5 | 92.2
tq021007.D | QC | 6:2 FTOH-C13 |  | 13.09 | 162192 | 45493 |  | 3.5652 |  | 3.8937 | 5 | 77.9
tq021008.D | QC | 6:2 FTOH-C13 |  | 13.089 | 153616 | 42199 |  | 3.6403 |  | 3.9757 | 5 | 79.5
tq021009.D | QC | 6:2 FTOH-C13 |  | 13.089 | 184006 | 39179 |  | 4.6965 |  | 5.1292 | 5 | 102.6
tq021708.D | QC | 6:2 FTOH-C13 |  | 13.09 | 158957 | 36085 |  | 4.4051 |  | 4.8109 | 5 | 96.2
tq021709.D | QC | 6:2 FTOH-C13 |  | 13.09 | 133410 | 38306 |  | 3.4827 |  | 3.8036 | 5 | 76.1
tq021710.D | QC | 6:2 FTOH-C13 |  | 13.082 | 152070 | 35025 |  | 4.3418 |  | 4.7417 | 5 | 94.8
tq030305.D | QC | 6:2 FTOH-C13 |  | 13.129 | 146368 | 30891 |  | 4.7383 |  | 5.1748 | 5 | 103.5
tq030306.D | QC | 6:2 FTOH-C13 |  | 13.129 | 141366 | 31500 |  | 4.4878 |  | 4.9012 | 5 | 98
tq030307.D | QC | 6:2 FTOH-C13 |  | 13.129 | 125981 | 29028 |  | 4.34 |  | 4.7398 | 5 | 94.8
Compound: 8:2 FTOH-C13
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 14.293 | 14058 | 43546 |  | 0.3228 |  | 0.8288 | 1 | 82.9
tq020308.D | QC | 6:2 FTOH-C13 |  | 14.293 | 13553 | 39582 |  | 0.3424 |  | 0.8791 | 1 | 87.9
tq020309.D | QC | 6:2 FTOH-C13 |  | 14.293 | 12024 | 38297 |  | 0.314 |  | 0.8061 | 1 | 80.6
tq021007.D | QC | 6:2 FTOH-C13 |  | 14.3 | 14604 | 45493 |  | 0.321 |  | 0.8241 | 1 | 82.4
tq021008.D | QC | 6:2 FTOH-C13 |  | 14.293 | 13254 | 42199 |  | 0.3141 |  | 0.8064 | 1 | 80.6
tq021009.D | QC | 6:2 FTOH-C13 |  | 14.293 | 13580 | 39179 |  | 0.3466 |  | 0.8899 | 1 | 89
tq021708.D | QC | 6:2 FTOH-C13 |  | 14.293 | 14191 | 36085 |  | 0.3933 |  | 1.0097 | 1 | 101
tq021709.D | QC | 6:2 FTOH-C13 |  | 14.293 | 14692 | 38306 |  | 0.3835 |  | 0.9847 | 1 | 98.5
tq021710.D | QC | 6:2 FTOH-C13 |  | 14.293 | 12486 | 35025 |  | 0.3565 |  | 0.9152 | 1 | 91.5
tq030305.D | QC | 6:2 FTOH-C13 |  | 14.327 | 14024 | 30891 |  | 0.454 |  | 1.1656 | 1 | 116.6
tq030306.D | QC | 6:2 FTOH-C13 |  | 14.328 | 12208 | 31500 |  | 0.3876 |  | 0.995 | 1 | 99.5
tq030307.D | QC | 6:2 FTOH-C13 |  | 14.328 | 11602 | 29028 |  | 0.3997 |  | 1.0261 | 1 | 102.6
Compound: 8:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 14.3 | 47372 | 43546 |  | 1.0879 |  | 4.192 | 5 | 83.8
tq020308.D | QC | 6:2 FTOH-C13 |  | 14.293 | 50363 | 39582 |  | 1.2724 |  | 4.903 | 5 | 98.1
tq020309.D | QC | 6:2 FTOH-C13 |  | 14.294 | 47437 | 38297 |  | 1.2387 |  | 4.7731 | 5 | 95.5
tq021007.D | QC | 6:2 FTOH-C13 |  | 14.301 | 50396 | 45493 |  | 1.1078 |  | 4.2687 | 5 | 85.4
tq021008.D | QC | 6:2 FTOH-C13 |  | 14.294 | 49652 | 42199 |  | 1.1766 |  | 4.534 | 5 | 90.7
tq021009.D | QC | 6:2 FTOH-C13 |  | 14.294 | 51923 | 39179 |  | 1.3253 |  | 5.1068 | 5 | 102.1
tq021708.D | QC | 6:2 FTOH-C13 |  | 14.294 | 47281 | 36085 |  | 1.3103 |  | 5.049 | 5 | 101
tq021709.D | QC | 6:2 FTOH-C13 |  | 14.294 | 46590 | 38306 |  | 1.2163 |  | 4.6868 | 5 | 93.7
tq021710.D | QC | 6:2 FTOH-C13 |  | 14.293 | 47010 | 35025 |  | 1.3422 |  | 5.172 | 5 | 103.4
tq030305.D | QC | 6:2 FTOH-C13 |  | 14.328 | 49162 | 30891 |  | 1.5915 |  | 6.1327 | 5 | 122.7
tq030306.D | QC | 6:2 FTOH-C13 |  | 14.328 | 48466 | 31500 |  | 1.5386 |  | 5.9288 | 5 | 118.6
tq030307.D | QC | 6:2 FTOH-C13 |  | 14.328 | 44529 | 29028 |  | 1.534 |  | 5.9111 | 5 | 118.2
Compound: 10:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 15.369 | 16069 | 43546 |  | 0.369 |  | 3.3852 | 5 | 67.7
tq020308.D | QC | 6:2 FTOH-C13 |  | 15.369 | 17790 | 39582 |  | 0.4495 |  | 4.1233 | 5 | 82.5
tq020309.D | QC | 6:2 FTOH-C13 |  | 15.37 | 15952 | 38297 |  | 0.4165 |  | 3.8214 | 5 | 76.4
tq021007.D | QC | 6:2 FTOH-C13 |  | 15.37 | 16211 | 45493 |  | 0.3563 |  | 3.2691 | 5 | 65.4
tq021008.D | QC | 6:2 FTOH-C13 |  | 15.37 | 16902 | 42199 |  | 0.4005 |  | 3.6744 | 5 | 73.5
tq021009.D | QC | 6:2 FTOH-C13 |  | 15.37 | 18342 | 39179 |  | 0.4682 |  | 4.2949 | 5 | 85.9
tq021708.D | QC | 6:2 FTOH-C13 |  | 15.37 | 18051 | 36085 |  | 0.5002 |  | 4.5892 | 5 | 91.8
tq021709.D | QC | 6:2 FTOH-C13 |  | 15.37 | 16601 | 38306 |  | 0.4334 |  | 3.9758 | 5 | 79.5
tq021710.D | QC | 6:2 FTOH-C13 |  | 15.369 | 16856 | 35025 |  | 0.4812 |  | 4.4149 | 5 | 88.3
tq030305.D | QC | 6:2 FTOH-C13 |  | 15.397 | 20978 | 30891 |  | 0.6791 |  | 6.2301 | 5 | 124.6
tq030306.D | QC | 6:2 FTOH-C13 |  | 15.397 | 21451 | 31500 |  | 0.681 |  | 6.2473 | 5 | 124.9
tq030307.D | QC | 6:2 FTOH-C13 |  | 15.397 | 19339 | 29028 |  | 0.6662 |  | 6.1121 | 5 | 122.2
Compound: 12:2 FTOH
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 16.357 | 61303 | 43546 |  | 1.4078 |  | 3.3668 | 5 | 67.3
tq020308.D | QC | 6:2 FTOH-C13 |  | 16.35 | 62099 | 39582 |  | 1.5689 |  | 3.752 | 5 | 75
tq020309.D | QC | 6:2 FTOH-C13 |  | 16.357 | 56634 | 38297 |  | 1.4788 |  | 3.5367 | 5 | 70.7
tq021007.D | QC | 6:2 FTOH-C13 |  | 16.356 | 61123 | 45493 |  | 1.3436 |  | 3.2133 | 5 | 64.3
tq021008.D | QC | 6:2 FTOH-C13 |  | 16.35 | 63788 | 42199 |  | 1.5116 |  | 3.6152 | 5 | 72.3
tq021009.D | QC | 6:2 FTOH-C13 |  | 16.356 | 67388 | 39179 |  | 1.72 |  | 4.1135 | 5 | 82.3
tq021708.D | QC | 6:2 FTOH-C13 |  | 16.357 | 74376 | 36085 |  | 2.0611 |  | 4.9294 | 5 | 98.6
tq021709.D | QC | 6:2 FTOH-C13 |  | 16.356 | 78669 | 38306 |  | 2.0537 |  | 4.9116 | 5 | 98.2
tq021710.D | QC | 6:2 FTOH-C13 |  | 16.357 | 72355 | 35025 |  | 2.0658 |  | 4.9405 | 5 | 98.8
tq030305.D | QC | 6:2 FTOH-C13 |  | 16.371 | 94539 | 30891 |  | 3.0604 |  | 7.3193 | 5 | 146.4
tq030306.D | QC | 6:2 FTOH-C13 |  | 16.37 | 94008 | 31500 |  | 2.9844 |  | 7.1374 | 5 | 142.7
tq030307.D | QC | 6:2 FTOH-C13 |  | 16.37 | 88414 | 29028 |  | 3.0458 |  | 7.2844 | 5 | 145.7
Compound: NMeFOSA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 18.823 | 315576 | 43546 |  | 7.2469 |  | 4.5508 | 5 | 91
tq020308.D | QC | 6:2 FTOH-C13 |  | 18.823 | 307141 | 39582 |  | 7.7596 |  | 4.8727 | 5 | 97.5
tq020309.D | QC | 6:2 FTOH-C13 |  | 18.823 | 273090 | 38297 |  | 7.1309 |  | 4.4779 | 5 | 89.6
tq021007.D | QC | 6:2 FTOH-C13 |  | 18.823 | 292934 | 45493 |  | 6.4391 |  | 4.0435 | 5 | 80.9
tq021008.D | QC | 6:2 FTOH-C13 |  | 18.823 | 310775 | 42199 |  | 7.3646 |  | 4.6247 | 5 | 92.5
tq021009.D | QC | 6:2 FTOH-C13 |  | 18.823 | 362788 | 39179 |  | 9.2597 |  | 5.8147 | 5 | 116.3
tq021708.D | QC | 6:2 FTOH-C13 |  | 18.823 | 323001 | 36085 |  | 8.9512 |  | 5.621 | 5 | 112.4
tq021709.D | QC | 6:2 FTOH-C13 |  | 18.823 | 341716 | 38306 |  | 8.9206 |  | 5.6018 | 5 | 112
tq021710.D | QC | 6:2 FTOH-C13 |  | 18.822 | 309856 | 35025 |  | 8.8467 |  | 5.5554 | 5 | 111.1
tq030305.D | QC | 6:2 FTOH-C13 |  | 18.846 | 332113 | 30891 |  | 10.7513 |  | 6.7514 | 5 | 135
tq030306.D | QC | 6:2 FTOH-C13 |  | 18.846 | 365568 | 31500 |  | 11.6053 |  | 7.2877 | 5 | 145.8
tq030307.D | QC | 6:2 FTOH-C13 |  | 18.846 | 295124 | 29028 |  | 10.1669 |  | 6.3844 | 5 | 127.7
Compound: NEtFOSA
Data File | Sample Type | ISTD |  | RT | Resp | ISTD Resp |  | Resp Ratio |  | Final Conc | Exp. Conc | Accuracy
tq020307.D | QC | 6:2 FTOH-C13 |  | 18.823 | 288769 | 43546 |  | 6.6313 |  | 4.6005 | 5 | 92
tq020308.D | QC | 6:2 FTOH-C13 |  | 18.823 | 278520 | 39582 |  | 7.0365 |  | 4.8816 | 5 | 97.6
tq020309.D | QC | 6:2 FTOH-C13 |  | 18.824 | 250090 | 38297 |  | 6.5303 |  | 4.5304 | 5 | 90.6
tq021007.D | QC | 6:2 FTOH-C13 |  | 18.824 | 265115 | 45493 |  | 5.8276 |  | 4.0429 | 5 | 80.9
tq021008.D | QC | 6:2 FTOH-C13 |  | 18.816 | 281580 | 42199 |  | 6.6727 |  | 4.6292 | 5 | 92.6
tq021009.D | QC | 6:2 FTOH-C13 |  | 18.816 | 326484 | 39179 |  | 8.3331 |  | 5.7811 | 5 | 115.6
tq021708.D | QC | 6:2 FTOH-C13 |  | 18.824 | 293460 | 36085 |  | 8.1326 |  | 5.642 | 5 | 112.8
tq021709.D | QC | 6:2 FTOH-C13 |  | 18.816 | 312924 | 38306 |  | 8.169 |  | 5.6673 | 5 | 113.3
tq021710.D | QC | 6:2 FTOH-C13 |  | 18.823 | 281934 | 35025 |  | 8.0495 |  | 5.5844 | 5 | 111.7
tq030305.D | QC | 6:2 FTOH-C13 |  | 18.846 | 300777 | 30891 |  | 9.7369 |  | 6.755 | 5 | 135.1
tq030306.D | QC | 6:2 FTOH-C13 |  | 18.847 | 328363 | 31500 |  | 10.4242 |  | 7.2318 | 5 | 144.6
tq030307.D | QC | 6:2 FTOH-C13 |  | 18.847 | 267339 | 29028 |  | 9.2097 |  | 6.3893 | 5 | 127.8

## CCV Normalized Data
Batch Path | D:\MassHunter\GCMS\1\data\03MAR23\QuantResults\CCV.batch.bin
Analysis Time | 3/20/2023 12:50 Analyst Name | [5 empty] | TAI\us32_usr_ins22923
Report Time | 3/20/2023 12:52:15 PM Reporter Name | [5 empty] | TAI\us32_usr_ins22923
Last Calib Update | 1/3/2023 14:39 Batch State | [5 empty] | Processed
Quant Batch Version | 10.1 Quant Report Version | [5 empty] | 10.1
Data File | sample Name |  | Sample Type |  | Vial Position | Inj Vol |  | Level | Acq Method File
tq020302.D | 2.0 uL #3318-65-0.5, 2.0uL #3318-86-0.5A, CCV |  | CC |  | 2 | 0 |  | L4 | tq22m1227
tq020307.D | 1.0 uL #3318-88-5A, 1.0ul #3318-89-5, Stability spike day 0 |  | QC |  | 7 | 0 |  | L6 | tq22m1227
tq020308.D | 1.0 uL #3318-88-5A, 1.0ul #3318-89-5, Stability spike day 0 |  | QC |  | 8 | 0 |  | L6 | tq22m1227
tq020309.D | 1.0 uL #3318-88-5A, 1.0ul #3318-89-5, Stability spike day 0 |  | QC |  | 9 | 0 |  | L6 | tq22m1227
tq021004.D | 2.0 uL #3318-65-0.5, 2.0uL #3318-86-0.5A, CCV |  | CC |  | 3 | 0 |  | L4 | tq22m1227
tq021007.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5 ng Day 7 ;Stability spike 5 ng Day 7 ; |  | QC |  | 5 | 0 |  | L6 | tq22m1227
tq021008.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5 ng Day 7 ;Stability spike 5 ng Day 7 ; |  | QC |  | 6 | 0 |  | L6 | tq22m1227
tq021009.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5 ng Day 7 ;Stability spike 5 ng Day 7 ; |  | QC |  | 7 | 0 |  | L6 | tq22m1227
tq021705.D | 2.0 uL #3318-65-0.5, 2.0uL #3318-86-0.5A, CCV |  | CC |  | 2 | 0 |  | L4 | tq22m1227
tq021708.D | 1.0 uL 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 14 ;Stability spike 5.0 ng Day 14 ; |  | QC |  | 8 | 0 |  | L6 | tq22m1227
tq021709.D | 1.0 uL 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 14 ;Stability spike 5.0 ng Day 14 ; |  | QC |  | 9 | 0 |  | L6 | tq22m1227
tq021710.D | 1.0 uL 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 14 ;Stability spike 5.0 ng Day 14 ; |  | QC |  | 10 | 0 |  | L6 | tq22m1227
tq030302.D | 2.0 uL #3318-65-0.5, 2.0uL #3318-86-0.5A, CCV |  | CC |  | 2 | 0 |  | L4 | tq22m1227
tq030305.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 28 ; 28 ;Stability spike 5.0 ng Day |  | QC |  | 5 | 0 |  | L6 | tq22m1227
tq030306.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 28 ; 28 ;Stability spike 5.0 ng Day |  | QC |  | 6 | 0 |  | L6 | tq22m1227
tq030307.D | 1.0 uL ml 3318-88-5A, 3318-89-5;Stability spike 5.0 ng Day 28 ; 28 ;Stability spike 5.0 ng Day |  | QC |  | 7 | 0 |  | L6 | tq22m1227
Quantitation Results
Compound: PFBA
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 4.406 | 152400 | 44312 | 3.4392 |  | 1.0264 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 4.399 | 923112 | 43546 | 21.1985 |  | 6.3261 | 6.1634 | 5 | 123.2677
tq020308.D | QC | 6:2 FTOH-C13 | 4.399 | 843702 | 39582 | 21.3152 |  | 6.3609 | 6.1973 | 5 | 123.9458
tq020309.D | QC | 6:2 FTOH-C13 | 4.399 | 809467 | 38297 | 21.1367 |  | 6.3077 | 6.1455 | 5 | 122.9092
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 4.406 | 197722 | 42534 | 4.6486 |  | 1.3872 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 4.399 | 718317 | 45493 | 15.7896 |  | 4.712 | 3.3968 | 5 | 67.9354
tq021008.D | QC | 6:2 FTOH-C13 | 4.393 | 704239 | 42199 | 16.6886 |  | 4.9802 | 3.5901 | 5 | 71.8022
tq021009.D | QC | 6:2 FTOH-C13 | 4.399 | 877925 | 39179 | 22.4078 |  | 6.687 | 4.8205 | 5 | 96.41
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 4.399 | 162070 | 34891 | 4.6451 |  | 1.3862 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 4.399 | 656490 | 36085 | 18.1931 |  | 5.4292 | 3.9166 | 5 | 78.3321
tq021709.D | QC | 6:2 FTOH-C13 | 4.393 | 699752 | 38306 | 18.2673 |  | 5.4514 | 3.9326 | 5 | 78.6524
tq021710.D | QC | 6:2 FTOH-C13 | 4.393 | 622315 | 35025 | 17.7677 |  | 5.3023 | 3.8251 | 5 | 76.5012
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 4.412 | 173029 | 34908 | 4.9568 |  | 1.4792 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 4.412 | 626261 | 30891 | 20.2735 |  | 6.0501 | 4.0901 | 5 | 81.8023
tq030306.D | QC | 6:2 FTOH-C13 | 4.406 | 545585 | 31500 | 17.3201 |  | 5.1687 | 3.4943 | 5 | 69.8851
tq030307.D | QC | 6:2 FTOH-C13 | 4.406 | 578596 | 29028 | 19.9324 |  | 5.9483 | 4.0213 | 5 | 80.4259
Compound: PFPeA
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 4.481 | 139988 | 44312 | 3.1592 |  | 1.0626 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 4.481 | 677869 | 43546 | 15.5667 |  | 5.236 | 4.9275 | 5 | 98.5507
tq020308.D | QC | 6:2 FTOH-C13 | 4.481 | 608100 | 39582 | 15.363 |  | 5.1675 | 4.8631 | 5 | 97.2614
tq020309.D | QC | 6:2 FTOH-C13 | 4.481 | 593217 | 38297 | 15.49 |  | 5.2102 | 4.9033 | 5 | 98.0651
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 4.48 | 129534 | 42534 | 3.0454 |  | 1.0244 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 4.481 | 554076 | 45493 | 12.1794 |  | 4.0966 | 3.999 | 5 | 79.9805
tq021008.D | QC | 6:2 FTOH-C13 | 4.474 | 505312 | 42199 | 11.9746 |  | 4.0278 | 3.9319 | 5 | 78.6373
tq021009.D | QC | 6:2 FTOH-C13 | 4.481 | 587964 | 39179 | 15.007 |  | 5.0477 | 4.9275 | 5 | 98.5494
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 4.481 | 104819 | 34891 | 3.0042 |  | 1.0105 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 4.474 | 479044 | 36085 | 13.2756 |  | 4.4654 | 4.419 | 5 | 88.38
tq021709.D | QC | 6:2 FTOH-C13 | 4.474 | 495537 | 38306 | 12.9362 |  | 4.3512 | 4.306 | 5 | 86.1197
tq021710.D | QC | 6:2 FTOH-C13 | 4.474 | 432760 | 35025 | 12.3557 |  | 4.156 | 4.1128 | 5 | 82.2563
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 4.494 | 109710 | 34908 | 3.1429 |  | 1.0571 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 4.487 | 419376 | 30891 | 13.5762 |  | 4.5665 | 4.3198 | 5 | 86.3967
tq030306.D | QC | 6:2 FTOH-C13 | 4.487 | 367082 | 31500 | 11.6534 |  | 3.9197 | 3.708 | 5 | 74.1595
tq030307.D | QC | 6:2 FTOH-C13 | 4.487 | 392616 | 29028 | 13.5254 |  | 4.5494 | 4.3037 | 5 | 86.0732
Compound: PFHxA
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 4.645 | 63711 | 44312 | 1.4378 |  | 1.0386 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 4.639 | 308701 | 43546 | 7.0891 |  | 5.1208 | 4.9305 | 5 | 98.6097
tq020308.D | QC | 6:2 FTOH-C13 | 4.639 | 283342 | 39582 | 7.1583 |  | 5.1708 | 4.9786 | 5 | 99.5725
tq020309.D | QC | 6:2 FTOH-C13 | 4.639 | 273265 | 38297 | 7.1355 |  | 5.1543 | 4.9627 | 5 | 99.2548
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 4.645 | 61230 | 42534 | 1.4396 |  | 1.0399 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 4.639 | 266148 | 45493 | 5.8503 |  | 4.2259 | 4.0638 | 5 | 81.2751
tq021008.D | QC | 6:2 FTOH-C13 | 4.639 | 245228 | 42199 | 5.8113 |  | 4.1977 | 4.0366 | 5 | 80.7328
tq021009.D | QC | 6:2 FTOH-C13 | 4.639 | 268574 | 39179 | 6.855 |  | 4.9517 | 4.7617 | 5 | 95.2342
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 4.645 | 48033 | 34891 | 1.3767 |  | 0.9944 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 4.639 | 232551 | 36085 | 6.4446 |  | 4.6552 | 4.6814 | 5 | 93.6283
tq021709.D | QC | 6:2 FTOH-C13 | 4.639 | 247417 | 38306 | 6.4589 |  | 4.6656 | 4.6919 | 5 | 93.8375
tq021710.D | QC | 6:2 FTOH-C13 | 4.639 | 203935 | 35025 | 5.8225 |  | 4.2059 | 4.2296 | 5 | 84.5917
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 4.652 | 49033 | 34908 | 1.4046 |  | 1.0146 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 4.652 | 204102 | 30891 | 6.6073 |  | 4.7727 | 4.704 | 5 | 94.0804
tq030306.D | QC | 6:2 FTOH-C13 | 4.652 | 172713 | 31500 | 5.4829 |  | 3.9606 | 3.9036 | 5 | 78.0721
tq030307.D | QC | 6:2 FTOH-C13 | 4.652 | 192167 | 29028 | 6.6201 |  | 4.782 | 4.7132 | 5 | 94.2637
Compound: PFHpA
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 4.927 | 39082 | 44312 | 0.882 |  | 0.9342 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 4.92 | 186328 | 43546 | 4.2789 |  | 4.5324 | 4.8516 | 5 | 97.0328
tq020308.D | QC | 6:2 FTOH-C13 | 4.927 | 174602 | 39582 | 4.4111 |  | 4.6726 | 5.0017 | 5 | 100.0343
tq020309.D | QC | 6:2 FTOH-C13 | 4.92 | 169161 | 38297 | 4.4171 |  | 4.6789 | 5.0085 | 5 | 100.1691
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 4.927 | 40788 | 42534 | 0.9589 |  | 1.0158 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 4.92 | 169728 | 45493 | 3.7309 |  | 3.952 | 3.8905 | 5 | 77.8106
tq021008.D | QC | 6:2 FTOH-C13 | 4.92 | 156036 | 42199 | 3.6977 |  | 3.9168 | 3.8559 | 5 | 77.1175
tq021009.D | QC | 6:2 FTOH-C13 | 4.92 | 171696 | 39179 | 4.3823 |  | 4.642 | 4.5698 | 5 | 91.3959
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 4.927 | 30218 | 34891 | 0.8661 |  | 0.9174 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 4.92 | 149251 | 36085 | 4.1361 |  | 4.3813 | 4.7758 | 5 | 95.5156
tq021709.D | QC | 6:2 FTOH-C13 | 4.92 | 157945 | 38306 | 4.1232 |  | 4.3676 | 4.7608 | 5 | 95.2169
tq021710.D | QC | 6:2 FTOH-C13 | 4.92 | 131700 | 35025 | 3.7601 |  | 3.983 | 4.3416 | 5 | 86.8324
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 4.933 | 32867 | 34908 | 0.9415 |  | 0.9973 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 4.933 | 138353 | 30891 | 4.4788 |  | 4.7442 | 4.757 | 5 | 95.1409
tq030306.D | QC | 6:2 FTOH-C13 | 4.933 | 122616 | 31500 | 3.8925 |  | 4.1232 | 4.1344 | 5 | 82.6873
tq030307.D | QC | 6:2 FTOH-C13 | 4.934 | 127461 | 29028 | 4.391 |  | 4.6512 | 4.6638 | 5 | 93.2758
Compound: PFOA
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 5.348 | 23151 | 44312 | 0.5225 |  | 0.8657 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 5.348 | 100662 | 43546 | 2.3116 |  | 3.8301 | 4.4243 | 5 | 88.4856
tq020308.D | QC | 6:2 FTOH-C13 | 5.348 | 92103 | 39582 | 2.3269 |  | 3.8554 | 4.4535 | 5 | 89.0701
tq020309.D | QC | 6:2 FTOH-C13 | 5.348 | 93240 | 38297 | 2.4347 |  | 4.034 | 4.6598 | 5 | 93.1963
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 5.348 | 23583 | 42534 | 0.5544 |  | 0.9187 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 5.348 | 93722 | 45493 | 2.0601 |  | 3.4134 | 3.7155 | 5 | 74.3094
tq021008.D | QC | 6:2 FTOH-C13 | 5.348 | 84418 | 42199 | 2.0005 |  | 3.3146 | 3.6079 | 5 | 72.1585
tq021009.D | QC | 6:2 FTOH-C13 | 5.348 | 93449 | 39179 | 2.3852 |  | 3.952 | 4.3017 | 5 | 86.0346
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 5.348 | 21401 | 34891 | 0.6134 |  | 1.0163 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 5.348 | 89547 | 36085 | 2.4816 |  | 4.1117 | 4.0458 | 5 | 80.9151
tq021709.D | QC | 6:2 FTOH-C13 | 5.348 | 99011 | 38306 | 2.5847 |  | 4.2826 | 4.2139 | 5 | 84.2783
tq021710.D | QC | 6:2 FTOH-C13 | 5.348 | 82694 | 35025 | 2.361 |  | 3.912 | 3.8493 | 5 | 76.9851
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 5.361 | 20952 | 34908 | 0.6002 |  | 0.9945 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 5.354 | 86701 | 30891 | 2.8067 |  | 4.6505 | 4.6762 | 5 | 93.5244
tq030306.D | QC | 6:2 FTOH-C13 | 5.354 | 77511 | 31500 | 2.4607 |  | 4.0771 | 4.0996 | 5 | 81.993
tq030307.D | QC | 6:2 FTOH-C13 | 5.355 | 80805 | 29028 | 2.7837 |  | 4.6123 | 4.6378 | 5 | 92.7562
Compound: 4:2 FTOH
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 11.688 | 21885 | 44312 | 0.4939 |  | 1.0494 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 11.688 | 91659 | 43546 | 2.1049 |  | 4.4724 | 4.2619 | 5 | 85.2373
tq020308.D | QC | 6:2 FTOH-C13 | 11.688 | 97813 | 39582 | 2.4711 |  | 5.2506 | 5.0034 | 5 | 100.0686
tq020309.D | QC | 6:2 FTOH-C13 | 11.683 | 90898 | 38297 | 2.3735 |  | 5.0432 | 4.8058 | 5 | 96.1159
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 11.688 | 21015 | 42534 | 0.4941 |  | 1.0498 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 11.689 | 89061 | 45493 | 1.9577 |  | 4.1597 | 3.9624 | 5 | 79.2475
tq021008.D | QC | 6:2 FTOH-C13 | 11.689 | 87072 | 42199 | 2.0634 |  | 4.3843 | 4.1763 | 5 | 83.5264
tq021009.D | QC | 6:2 FTOH-C13 | 11.688 | 89772 | 39179 | 2.2913 |  | 4.8686 | 4.6376 | 5 | 92.7529
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 11.688 | 16236 | 34891 | 0.4653 |  | 0.9888 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 11.688 | 78757 | 36085 | 2.1826 |  | 4.6375 | 4.69 | 5 | 93.8006
tq021709.D | QC | 6:2 FTOH-C13 | 11.683 | 75452 | 38306 | 1.9697 |  | 4.1852 | 4.2326 | 5 | 84.6521
tq021710.D | QC | 6:2 FTOH-C13 | 11.682 | 74580 | 35025 | 2.1293 |  | 4.5244 | 4.5756 | 5 | 91.5129
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 11.729 | 16191 | 34908 | 0.4638 |  | 0.9856 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 11.729 | 65912 | 30891 | 2.1337 |  | 4.5337 | 4.5999 | 5 | 91.9988
tq030306.D | QC | 6:2 FTOH-C13 | 11.729 | 65216 | 31500 | 2.0704 |  | 4.3991 | 4.4634 | 5 | 89.2675
tq030307.D | QC | 6:2 FTOH-C13 | 11.723 | 62781 | 29028 | 2.1628 |  | 4.5955 | 4.6626 | 5 | 93.2528
Compound: 5:2sFTOH
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 11.752 | 10065 | 44312 | 0.2271 |  | 0.9585 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 11.751 | 41653 | 43546 | 0.9565 |  | 4.0362 | 4.211 | 5 | 84.2191
tq020308.D | QC | 6:2 FTOH-C13 | 11.751 | 45030 | 39582 | 1.1376 |  | 4.8004 | 5.0082 | 5 | 100.1648
tq020309.D | QC | 6:2 FTOH-C13 | 11.746 | 43845 | 38297 | 1.1449 |  | 4.831 | 5.0402 | 5 | 100.8033
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 11.752 | 9702 | 42534 | 0.2281 |  | 0.9625 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 11.752 | 43817 | 45493 | 0.9632 |  | 4.0642 | 4.2225 | 5 | 84.4509
tq021008.D | QC | 6:2 FTOH-C13 | 11.752 | 41817 | 42199 | 0.9909 |  | 4.1814 | 4.3443 | 5 | 86.8862
tq021009.D | QC | 6:2 FTOH-C13 | 11.752 | 44679 | 39179 | 1.1404 |  | 4.8119 | 4.9994 | 5 | 99.9875
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 11.751 | 8153 | 34891 | 0.2337 |  | 0.986 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 11.752 | 40488 | 36085 | 1.122 |  | 4.7346 | 4.8018 | 5 | 96.0365
tq021709.D | QC | 6:2 FTOH-C13 | 11.752 | 36467 | 38306 | 0.952 |  | 4.017 | 4.074 | 5 | 81.4807
tq021710.D | QC | 6:2 FTOH-C13 | 11.746 | 38137 | 35025 | 1.0888 |  | 4.5945 | 4.6597 | 5 | 93.1947
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 11.793 | 8709 | 34908 | 0.2495 |  | 1.0528 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 11.792 | 37045 | 30891 | 1.1992 |  | 5.0603 | 4.8065 | 5 | 96.1303
tq030306.D | QC | 6:2 FTOH-C13 | 11.793 | 32505 | 31500 | 1.0319 |  | 4.3542 | 4.1358 | 5 | 82.7166
tq030307.D | QC | 6:2 FTOH-C13 | 11.793 | 32657 | 29028 | 1.125 |  | 4.7471 | 4.509 | 5 | 90.1805
Compound: 7:2sFTOH
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 13.064 | 18521 | 44312 | 0.418 |  | 0.8138 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 13.064 | 90571 | 43546 | 2.0799 |  | 4.0495 | 4.976 | 5 | 99.5208
tq020308.D | QC | 6:2 FTOH-C13 | 13.064 | 96893 | 39582 | 2.4479 |  | 4.766 | 5.8565 | 5 | 117.1295
tq020309.D | QC | 6:2 FTOH-C13 | 13.056 | 83938 | 38297 | 2.1918 |  | 4.2674 | 5.2438 | 5 | 104.8759
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 13.064 | 20861 | 42534 | 0.4905 |  | 0.9549 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 13.064 | 94892 | 45493 | 2.0859 |  | 4.0611 | 4.2529 | 5 | 85.0581
tq021008.D | QC | 6:2 FTOH-C13 | 13.063 | 88799 | 42199 | 2.1043 |  | 4.0971 | 4.2906 | 5 | 85.8121
tq021009.D | QC | 6:2 FTOH-C13 | 13.063 | 90693 | 39179 | 2.3148 |  | 4.5069 | 4.7198 | 5 | 94.3952
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 13.056 | 16904 | 34891 | 0.4845 |  | 0.9433 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 13.064 | 95196 | 36085 | 2.6381 |  | 5.1364 | 5.4451 | 5 | 108.9028
tq021709.D | QC | 6:2 FTOH-C13 | 13.056 | 89681 | 38306 | 2.3412 |  | 4.5582 | 4.8322 | 5 | 96.6437
tq021710.D | QC | 6:2 FTOH-C13 | 13.056 | 92585 | 35025 | 2.6434 |  | 5.1466 | 5.456 | 5 | 109.1191
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 13.095 | 17514 | 34908 | 0.5017 |  | 0.9768 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 13.103 | 92183 | 30891 | 2.9842 |  | 5.8102 | 5.9482 | 5 | 118.964
tq030306.D | QC | 6:2 FTOH-C13 | 13.104 | 85952 | 31500 | 2.7286 |  | 5.3126 | 5.4388 | 5 | 108.7756
tq030307.D | QC | 6:2 FTOH-C13 | 13.104 | 84585 | 29028 | 2.9139 |  | 5.6733 | 5.808 | 5 | 116.1609
Compound: 6:2 FTOH
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 13.09 | 35017 | 44312 | 0.7902 |  | 0.863 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 13.09 | 153263 | 43546 | 3.5196 |  | 3.8438 | 4.454 | 5 | 89.08
tq020308.D | QC | 6:2 FTOH-C13 | 13.09 | 172615 | 39582 | 4.3609 |  | 4.7627 | 5.5188 | 5 | 110.3754
tq020309.D | QC | 6:2 FTOH-C13 | 13.089 | 161578 | 38297 | 4.2191 |  | 4.6078 | 5.3393 | 5 | 106.7856
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 13.09 | 39440 | 42534 | 0.9272 |  | 1.0127 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 13.09 | 162192 | 45493 | 3.5652 |  | 3.8937 | 3.8449 | 5 | 76.8974
tq021008.D | QC | 6:2 FTOH-C13 | 13.089 | 153616 | 42199 | 3.6403 |  | 3.9757 | 3.9258 | 5 | 78.5168
tq021009.D | QC | 6:2 FTOH-C13 | 13.089 | 184006 | 39179 | 4.6965 |  | 5.1292 | 5.0649 | 5 | 101.2975
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 13.089 | 26579 | 34891 | 0.7618 |  | 0.8319 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 13.09 | 158957 | 36085 | 4.4051 |  | 4.8109 | 5.783 | 5 | 115.6605
tq021709.D | QC | 6:2 FTOH-C13 | 13.09 | 133410 | 38306 | 3.4827 |  | 3.8036 | 4.5722 | 5 | 91.4437
tq021710.D | QC | 6:2 FTOH-C13 | 13.082 | 152070 | 35025 | 4.3418 |  | 4.7417 | 5.6998 | 5 | 113.9969
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 13.121 | 29878 | 34908 | 0.8559 |  | 0.9348 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 13.129 | 146368 | 30891 | 4.7383 |  | 5.1748 | 5.5357 | 5 | 110.7146
tq030306.D | QC | 6:2 FTOH-C13 | 13.129 | 141366 | 31500 | 4.4878 |  | 4.9012 | 5.243 | 5 | 104.8609
tq030307.D | QC | 6:2 FTOH-C13 | 13.129 | 125981 | 29028 | 4.34 |  | 4.7398 | 5.0704 | 5 | 101.4078
Compound: 8:2 FTOH-C13
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 14.3 | 14045 | 44312 | 0.317 |  | 0.8138 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 14.293 | 14058 | 43546 | 0.3228 |  | 0.8288 | 1.0184 | 1 | 101.8432
tq020308.D | QC | 6:2 FTOH-C13 | 14.293 | 13553 | 39582 | 0.3424 |  | 0.8791 | 1.0802 | 1 | 108.0241
tq020309.D | QC | 6:2 FTOH-C13 | 14.293 | 12024 | 38297 | 0.314 |  | 0.8061 | 0.99054 | 1 | 99.0538
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 14.293 | 14355 | 42534 | 0.3375 |  | 0.8665 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 14.3 | 14604 | 45493 | 0.321 |  | 0.8241 | 0.95107 | 1 | 95.1068
tq021008.D | QC | 6:2 FTOH-C13 | 14.293 | 13254 | 42199 | 0.3141 |  | 0.8064 | 0.93064 | 1 | 93.0641
tq021009.D | QC | 6:2 FTOH-C13 | 14.293 | 13580 | 39179 | 0.3466 |  | 0.8899 | 1.027 | 1 | 102.7005
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 14.293 | 12142 | 34891 | 0.348 |  | 0.8935 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 14.293 | 14191 | 36085 | 0.3933 |  | 1.0097 | 1.1301 | 1 | 113.005
tq021709.D | QC | 6:2 FTOH-C13 | 14.293 | 14692 | 38306 | 0.3835 |  | 0.9847 | 1.1021 | 1 | 110.2071
tq021710.D | QC | 6:2 FTOH-C13 | 14.293 | 12486 | 35025 | 0.3565 |  | 0.9152 | 1.0243 | 1 | 102.4287
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 14.328 | 15213 | 34908 | 0.4358 |  | 1.1189 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 14.327 | 14024 | 30891 | 0.454 |  | 1.1656 | 1.0417 | 1 | 104.1737
tq030306.D | QC | 6:2 FTOH-C13 | 14.328 | 12208 | 31500 | 0.3876 |  | 0.995 | 0.88927 | 1 | 88.9266
tq030307.D | QC | 6:2 FTOH-C13 | 14.328 | 11602 | 29028 | 0.3997 |  | 1.0261 | 0.91706 | 1 | 91.7061
Compound: 8:2 FTOH
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 14.294 | 9530 | 44312 | 0.2151 |  | 0.8287 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 14.3 | 47372 | 43546 | 1.0879 |  | 4.192 | 5.0585 | 5 | 101.1705
tq020308.D | QC | 6:2 FTOH-C13 | 14.293 | 50363 | 39582 | 1.2724 |  | 4.903 | 5.9165 | 5 | 118.3299
tq020309.D | QC | 6:2 FTOH-C13 | 14.294 | 47437 | 38297 | 1.2387 |  | 4.7731 | 5.7597 | 5 | 115.1949
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 14.3 | 10426 | 42534 | 0.2451 |  | 0.9446 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 14.301 | 50396 | 45493 | 1.1078 |  | 4.2687 | 4.5191 | 5 | 90.3811
tq021008.D | QC | 6:2 FTOH-C13 | 14.294 | 49652 | 42199 | 1.1766 |  | 4.534 | 4.7999 | 5 | 95.9983
tq021009.D | QC | 6:2 FTOH-C13 | 14.294 | 51923 | 39179 | 1.3253 |  | 5.1068 | 5.4063 | 5 | 108.1262
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 14.293 | 8616 | 34891 | 0.2469 |  | 0.9515 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 14.294 | 47281 | 36085 | 1.3103 |  | 5.049 | 5.3064 | 5 | 106.1272
tq021709.D | QC | 6:2 FTOH-C13 | 14.294 | 46590 | 38306 | 1.2163 |  | 4.6868 | 4.9257 | 5 | 98.5139
tq021710.D | QC | 6:2 FTOH-C13 | 14.293 | 47010 | 35025 | 1.3422 |  | 5.172 | 5.4356 | 5 | 108.7126
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 14.328 | 10549 | 34908 | 0.3022 |  | 1.1645 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 14.328 | 49162 | 30891 | 1.5915 |  | 6.1327 | 5.2664 | 5 | 105.3276
tq030306.D | QC | 6:2 FTOH-C13 | 14.328 | 48466 | 31500 | 1.5386 |  | 5.9288 | 5.0913 | 5 | 101.8257
tq030307.D | QC | 6:2 FTOH-C13 | 14.328 | 44529 | 29028 | 1.534 |  | 5.9111 | 5.0761 | 5 | 101.5217
Compound: 10:2 FTOH
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 15.37 | 3558 | 44312 | 0.0803 |  | 0.7367 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 15.369 | 16069 | 43546 | 0.369 |  | 3.3852 | 4.5951 | 5 | 91.9017
tq020308.D | QC | 6:2 FTOH-C13 | 15.369 | 17790 | 39582 | 0.4495 |  | 4.1233 | 5.597 | 5 | 111.9397
tq020309.D | QC | 6:2 FTOH-C13 | 15.37 | 15952 | 38297 | 0.4165 |  | 3.8214 | 5.1872 | 5 | 103.7437
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 15.37 | 3434 | 42534 | 0.0807 |  | 0.7406 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 15.37 | 16211 | 45493 | 0.3563 |  | 3.2691 | 4.4141 | 5 | 88.2825
tq021008.D | QC | 6:2 FTOH-C13 | 15.37 | 16902 | 42199 | 0.4005 |  | 3.6744 | 4.9614 | 5 | 99.2277
tq021009.D | QC | 6:2 FTOH-C13 | 15.37 | 18342 | 39179 | 0.4682 |  | 4.2949 | 5.7992 | 5 | 115.9843
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 15.369 | 2804 | 34891 | 0.0804 |  | 0.7371 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 15.37 | 18051 | 36085 | 0.5002 |  | 4.5892 | 6.226 | 5 | 124.5204
tq021709.D | QC | 6:2 FTOH-C13 | 15.37 | 16601 | 38306 | 0.4334 |  | 3.9758 | 5.3938 | 5 | 107.8768
tq021710.D | QC | 6:2 FTOH-C13 | 15.369 | 16856 | 35025 | 0.4812 |  | 4.4149 | 5.9896 | 5 | 119.7911
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 15.39 | 4340 | 34908 | 0.1243 |  | 1.1406 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 15.397 | 20978 | 30891 | 0.6791 |  | 6.2301 | 5.4621 | 5 | 109.2425
tq030306.D | QC | 6:2 FTOH-C13 | 15.397 | 21451 | 31500 | 0.681 |  | 6.2473 | 5.4772 | 5 | 109.5441
tq030307.D | QC | 6:2 FTOH-C13 | 15.397 | 19339 | 29028 | 0.6662 |  | 6.1121 | 5.3587 | 5 | 107.1734
Compound: 12:2 FTOH
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 16.35 | 14078 | 44312 | 0.3177 |  | 0.7598 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 16.357 | 61303 | 43546 | 1.4078 |  | 3.3668 | 4.4312 | 5 | 88.6233
tq020308.D | QC | 6:2 FTOH-C13 | 16.35 | 62099 | 39582 | 1.5689 |  | 3.752 | 4.9381 | 5 | 98.7628
tq020309.D | QC | 6:2 FTOH-C13 | 16.357 | 56634 | 38297 | 1.4788 |  | 3.5367 | 4.6548 | 5 | 93.0956
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 16.357 | 13786 | 42534 | 0.3241 |  | 0.7751 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 16.356 | 61123 | 45493 | 1.3436 |  | 3.2133 | 4.1457 | 5 | 82.9132
tq021008.D | QC | 6:2 FTOH-C13 | 16.35 | 63788 | 42199 | 1.5116 |  | 3.6152 | 4.6642 | 5 | 93.2834
tq021009.D | QC | 6:2 FTOH-C13 | 16.356 | 67388 | 39179 | 1.72 |  | 4.1135 | 5.3071 | 5 | 106.1411
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 16.35 | 13729 | 34891 | 0.3935 |  | 0.9411 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 16.357 | 74376 | 36085 | 2.0611 |  | 4.9294 | 5.2379 | 5 | 104.7583
tq021709.D | QC | 6:2 FTOH-C13 | 16.356 | 78669 | 38306 | 2.0537 |  | 4.9116 | 5.219 | 5 | 104.38
tq021710.D | QC | 6:2 FTOH-C13 | 16.357 | 72355 | 35025 | 2.0658 |  | 4.9405 | 5.2497 | 5 | 104.9942
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 16.37 | 18224 | 34908 | 0.5221 |  | 1.2486 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 16.371 | 94539 | 30891 | 3.0604 |  | 7.3193 | 5.862 | 5 | 117.2401
tq030306.D | QC | 6:2 FTOH-C13 | 16.37 | 94008 | 31500 | 2.9844 |  | 7.1374 | 5.7163 | 5 | 114.3264
tq030307.D | QC | 6:2 FTOH-C13 | 16.37 | 88414 | 29028 | 3.0458 |  | 7.2844 | 5.8341 | 5 | 116.6811
Compound: NMeFOSA
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 18.815 | 61045 | 44312 | 1.3776 |  | 0.8651 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 18.823 | 315576 | 43546 | 7.2469 |  | 4.5508 | 5.2604 | 5 | 105.2086
tq020308.D | QC | 6:2 FTOH-C13 | 18.823 | 307141 | 39582 | 7.7596 |  | 4.8727 | 5.6325 | 5 | 112.6506
tq020309.D | QC | 6:2 FTOH-C13 | 18.823 | 273090 | 38297 | 7.1309 |  | 4.4779 | 5.1762 | 5 | 103.5233
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 18.823 | 63679 | 42534 | 1.4971 |  | 0.9401 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 18.823 | 292934 | 45493 | 6.4391 |  | 4.0435 | 4.3011 | 5 | 86.0228
tq021008.D | QC | 6:2 FTOH-C13 | 18.823 | 310775 | 42199 | 7.3646 |  | 4.6247 | 4.9194 | 5 | 98.3874
tq021009.D | QC | 6:2 FTOH-C13 | 18.823 | 362788 | 39179 | 9.2597 |  | 5.8147 | 6.1852 | 5 | 123.7039
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 18.815 | 52851 | 34891 | 1.5148 |  | 0.9512 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 18.823 | 323001 | 36085 | 8.9512 |  | 5.621 | 5.9094 | 5 | 118.1876
tq021709.D | QC | 6:2 FTOH-C13 | 18.823 | 341716 | 38306 | 8.9206 |  | 5.6018 | 5.8892 | 5 | 117.7839
tq021710.D | QC | 6:2 FTOH-C13 | 18.822 | 309856 | 35025 | 8.8467 |  | 5.5554 | 5.8404 | 5 | 116.8082
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 18.846 | 55910 | 34908 | 1.6016 |  | 1.0058 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 18.846 | 332113 | 30891 | 10.7513 |  | 6.7514 | 6.7125 | 5 | 134.2494
tq030306.D | QC | 6:2 FTOH-C13 | 18.846 | 365568 | 31500 | 11.6053 |  | 7.2877 | 7.2457 | 5 | 144.9135
tq030307.D | QC | 6:2 FTOH-C13 | 18.846 | 295124 | 29028 | 10.1669 |  | 6.3844 | 6.3476 | 5 | 126.9517
Compound: NEtFOSA
Data File | Sample Type | ISTD | RT | Resp | ISTD Resp | Resp Ratio |  | ICAL Concentration | Normalized to daily CCV | Exp. Conc | Accuracy
Day 0
tq020302.D | CC | 6:2 FTOH-C13 | 18.816 | 54904 | 44312 | 1.239 |  | 0.8596 | 1 | 1 | 100
tq020307.D | QC | 6:2 FTOH-C13 | 18.823 | 288769 | 43546 | 6.6313 |  | 4.6005 | 5.3519 | 5 | 107.0382
tq020308.D | QC | 6:2 FTOH-C13 | 18.823 | 278520 | 39582 | 7.0365 |  | 4.8816 | 5.6789 | 5 | 113.5784
tq020309.D | QC | 6:2 FTOH-C13 | 18.824 | 250090 | 38297 | 6.5303 |  | 4.5304 | 5.2704 | 5 | 105.4072
Day 7
tq021004.D | CC | 6:2 FTOH-C13 | 18.824 | 57202 | 42534 | 1.3449 |  | 0.933 | 1 | 1 | 100
tq021007.D | QC | 6:2 FTOH-C13 | 18.824 | 265115 | 45493 | 5.8276 |  | 4.0429 | 4.3332 | 5 | 86.6645
tq021008.D | QC | 6:2 FTOH-C13 | 18.816 | 281580 | 42199 | 6.6727 |  | 4.6292 | 4.9616 | 5 | 99.2326
tq021009.D | QC | 6:2 FTOH-C13 | 18.816 | 326484 | 39179 | 8.3331 |  | 5.7811 | 6.1962 | 5 | 123.925
Day 14
tq021705.D | CC | 6:2 FTOH-C13 | 18.816 | 47543 | 34891 | 1.3626 |  | 0.9453 | 1 | 1 | 100
tq021708.D | QC | 6:2 FTOH-C13 | 18.824 | 293460 | 36085 | 8.1326 |  | 5.642 | 5.9685 | 5 | 119.3695
tq021709.D | QC | 6:2 FTOH-C13 | 18.816 | 312924 | 38306 | 8.169 |  | 5.6673 | 5.9952 | 5 | 119.9048
tq021710.D | QC | 6:2 FTOH-C13 | 18.823 | 281934 | 35025 | 8.0495 |  | 5.5844 | 5.9075 | 5 | 118.1509
Day 28
tq030302.D | CC | 6:2 FTOH-C13 | 18.847 | 50331 | 34908 | 1.4418 |  | 1.0003 | 1 | 1 | 100
tq030305.D | QC | 6:2 FTOH-C13 | 18.846 | 300777 | 30891 | 9.7369 |  | 6.755 | 6.753 | 5 | 135.0595
tq030306.D | QC | 6:2 FTOH-C13 | 18.847 | 328363 | 31500 | 10.4242 |  | 7.2318 | 7.2296 | 5 | 144.5926
tq030307.D | QC | 6:2 FTOH-C13 | 18.847 | 267339 | 29028 | 9.2097 |  | 6.3893 | 6.3874 | 5 | 127.7477

## Chart Values
Day | PFBA | PFPeA | PFHxA | PFHpA | PFOA | 4:2 FTOH | 5:2 FTOH | 7:2 FTOH | 6:2 FTOH | 8:2 FTOH-C13 | 8:2 FTOH | 10:2 FTOH | 12:2 FTOH | NMeFOSA | NEtFOSA
Day 0 | 6.1634 | 4.9275 | 4.9305 | 4.8516 | 4.4243 | 4.2619 | 4.211 | 4.976 | 4.454 | 1.0184 | 5.0585 | 4.5951 | 4.4312 | 5.2604 | 5.3519
Day 0 | 6.1973 | 4.8631 | 4.9786 | 5.0017 | 4.4535 | 5.0034 | 5.0082 | 5.8565 | 5.5188 | 1.0802 | 5.9165 | 5.597 | 4.9381 | 5.6325 | 5.6789
Day 0 | 6.1455 | 4.9033 | 4.9627 | 5.0085 | 4.6598 | 4.8058 | 5.0402 | 5.2438 | 5.3393 | 0.99054 | 5.7597 | 5.1872 | 4.6548 | 5.1762 | 5.2704
Day 7 | 3.3968 | 3.999 | 4.0638 | 3.8905 | 3.7155 | 3.9624 | 4.2225 | 4.2529 | 3.8449 | 0.95107 | 4.5191 | 4.4141 | 4.1457 | 4.3011 | 4.3332
Day 7 | 3.5901 | 3.9319 | 4.0366 | 3.8559 | 3.6079 | 4.1763 | 4.3443 | 4.2906 | 3.9258 | 0.93064 | 4.7999 | 4.9614 | 4.6642 | 4.9194 | 4.9616
Day 7 | 4.8205 | 4.9275 | 4.7617 | 4.5698 | 4.3017 | 4.6376 | 4.9994 | 4.7198 | 5.0649 | 1.027 | 5.4063 | 5.7992 | 5.3071 | 6.1852 | 6.1962
Day 14 | 3.9166 | 4.419 | 4.6814 | 4.7758 | 4.0458 | 4.69 | 4.8018 | 5.4451 | 5.783 | 1.1301 | 5.3064 | 6.226 | 5.2379 | 5.9094 | 5.9685
Day 14 | 3.9326 | 4.306 | 4.6919 | 4.7608 | 4.2139 | 4.2326 | 4.074 | 4.8322 | 4.5722 | 1.1021 | 4.9257 | 5.3938 | 5.219 | 5.8892 | 5.9952
Day 14 | 3.8251 | 4.1128 | 4.2296 | 4.3416 | 3.8493 | 4.5756 | 4.6597 | 5.456 | 5.6998 | 1.0243 | 5.4356 | 5.9896 | 5.2497 | 5.8404 | 5.9075
Day 28 | 4.0901 | 4.3198 | 4.704 | 4.757 | 4.6762 | 4.5999 | 4.8065 | 5.9482 | 5.5357 | 1.0417 | 5.2664 | 5.4621 | 5.862 | 6.7125 | 6.753
Day 28 | 3.4943 | 3.708 | 3.9036 | 4.1344 | 4.0996 | 4.4634 | 4.1358 | 5.4388 | 5.243 | 0.88927 | 5.0913 | 5.4772 | 5.7163 | 7.2457 | 7.2296
Day 28 | 4.0213 | 4.3037 | 4.7132 | 4.6638 | 4.6378 | 4.6626 | 4.509 | 5.808 | 5.0704 | 0.91706 | 5.0761 | 5.3587 | 5.8341 | 6.3476 | 6.3874
%Recovery
Day | PFBA | PFPeA | PFHxA | PFHpA | PFOA | 4:2 FTOH | 5:2 FTOH | 7:2 FTOH | 6:2 FTOH | 8:2 FTOH-C13 | 8:2 FTOH | 10:2 FTOH | 12:2 FTOH | NMeFOSA | NEtFOSA
Day 0 | 123.3% | 98.55% | 98.61% | 97.03% | 88.49% | 85.24% | 84.22% | 99.52% | 89.08% | 101.8% | 101.2% | 91.9% | 88.62% | 105.2% | 107%
Day 0 | 123.9% | 97.26% | 99.57% | 100% | 89.07% | 100.1% | 100.2% | 117.1% | 110.4% | 108% | 118.3% | 111.9% | 98.76% | 112.7% | 113.6%
Day 0 | 122.9% | 98.07% | 99.25% | 100.2% | 93.2% | 96.12% | 100.8% | 104.9% | 106.8% | 99.05% | 115.2% | 103.7% | 93.1% | 103.5% | 105.4%
Day 7 | 67.94% | 79.98% | 81.28% | 77.81% | 74.31% | 79.25% | 84.45% | 85.06% | 76.9% | 95.11% | 90.38% | 88.28% | 82.91% | 86.02% | 86.66%
Day 7 | 71.8% | 78.64% | 80.73% | 77.12% | 72.16% | 83.53% | 86.89% | 85.81% | 78.52% | 93.06% | 96% | 99.23% | 93.28% | 98.39% | 99.23%
Day 7 | 96.41% | 98.55% | 95.23% | 91.4% | 86.03% | 92.75% | 99.99% | 94.4% | 101.3% | 102.7% | 108.1% | 116% | 106.1% | 123.7% | 123.9%
Day 14 | 78.33% | 88.38% | 93.63% | 95.52% | 80.92% | 93.8% | 96.04% | 108.9% | 115.7% | 113% | 106.1% | 124.5% | 104.8% | 118.2% | 119.4%
Day 14 | 78.65% | 86.12% | 93.84% | 95.22% | 84.28% | 84.65% | 81.48% | 96.64% | 91.44% | 110.2% | 98.51% | 107.9% | 104.4% | 117.8% | 119.9%
Day 14 | 76.5% | 82.26% | 84.59% | 86.83% | 76.99% | 91.51% | 93.19% | 109.1% | 114% | 102.4% | 108.7% | 119.8% | 105% | 116.8% | 118.2%
Day 28 | 81.8% | 86.4% | 94.08% | 95.14% | 93.52% | 92% | 96.13% | 119% | 110.7% | 104.2% | 105.3% | 109.2% | 117.2% | 134.2% | 135.1%
Day 28 | 69.89% | 74.16% | 78.07% | 82.69% | 81.99% | 89.27% | 82.72% | 108.8% | 104.9% | 88.93% | 101.8% | 109.5% | 114.3% | 144.9% | 144.6%
Day 28 | 80.43% | 86.07% | 94.26% | 93.28% | 92.76% | 93.25% | 90.18% | 116.2% | 101.4% | 91.71% | 101.5% | 107.2% | 116.7% | 127% | 127.7%
Day | PFBA | PFPeA | PFHxA | PFHpA | PFOA | 4:2 FTOH | 5:2 FTOH | 7:2 FTOH | 6:2 FTOH | 8:2 FTOH-C13 | 8:2 FTOH | 10:2 FTOH | 12:2 FTOH | NMeFOSA | NEtFOSA
Day 0 | 123.3% | 98.55% | 98.61% | 97.03% | 88.49% | 85.24% | 84.22% | 99.52% | 89.08% | 101.8% | 101.2% | 91.9% | 88.62% | 105.2% | 107%
Day 0 | 123.9% | 97.26% | 99.57% | 100% | 89.07% | 100.1% | 100.2% | 117.1% | 110.4% | 108% | 118.3% | 111.9% | 98.76% | 112.7% | 113.6%
Day 0 | 122.9% | 98.07% | 99.25% | 100.2% | 93.2% | 96.12% | 100.8% | 104.9% | 106.8% | 99.05% | 115.2% | 103.7% | 93.1% | 103.5% | 105.4%
Day 0 avg | 123.4% | 97.96% | 99.15% | 99.08% | 90.25% | 93.81% | 95.06% | 107.2% | 102.1% | 103% | 111.6% | 102.5% | 93.49% | 107.1% | 108.7%
Day 7 | 67.94% | 79.98% | 81.28% | 77.81% | 74.31% | 79.25% | 84.45% | 85.06% | 76.9% | 95.11% | 90.38% | 88.28% | 82.91% | 86.02% | 86.66% | 0.15445
Day 7 | 71.8% | 78.64% | 80.73% | 77.12% | 72.16% | 83.53% | 86.89% | 85.81% | 78.52% | 93.06% | 96% | 99.23% | 93.28% | 98.39% | 99.23%
Day 7 | 96.41% | 98.55% | 95.23% | 91.4% | 86.03% | 92.75% | 99.99% | 94.4% | 101.3% | 102.7% | 108.1% | 116% | 106.1% | 123.7% | 123.9%
Day 7 avg | 78.72% | 85.72% | 85.75% | 82.11% | 77.5% | 85.18% | 90.44% | 88.42% | 85.57% | 96.96% | 98.17% | 101.2% | 94.11% | 102.7% | 103.3%
Day 14 | 78.33% | 88.38% | 93.63% | 95.52% | 80.92% | 93.8% | 96.04% | 108.9% | 115.7% | 113% | 106.1% | 124.5% | 104.8% | 118.2% | 119.4%
Day 14 | 78.65% | 86.12% | 93.84% | 95.22% | 84.28% | 84.65% | 81.48% | 96.64% | 91.44% | 110.2% | 98.51% | 107.9% | 104.4% | 117.8% | 119.9%
Day 14 | 76.5% | 82.26% | 84.59% | 86.83% | 76.99% | 91.51% | 93.19% | 109.1% | 114% | 102.4% | 108.7% | 119.8% | 105% | 116.8% | 118.2%
Day 14 avg | 77.83% | 85.59% | 90.69% | 92.52% | 80.73% | 89.99% | 90.24% | 104.9% | 107% | 108.5% | 104.5% | 117.4% | 104.7% | 117.6% | 119.1%
Day 28 | 81.8% | 86.4% | 94.08% | 95.14% | 93.52% | 92% | 96.13% | 119% | 110.7% | 104.2% | 105.3% | 109.2% | 117.2% | 134.2% | 135.1% | 0.084468
Day 28 | 69.89% | 74.16% | 78.07% | 82.69% | 81.99% | 89.27% | 82.72% | 108.8% | 104.9% | 88.93% | 101.8% | 109.5% | 114.3% | 144.9% | 144.6%
Day 28 | 80.43% | 86.07% | 94.26% | 93.28% | 92.76% | 93.25% | 90.18% | 116.2% | 101.4% | 91.71% | 101.5% | 107.2% | 116.7% | 127% | 127.7%
Day 28 avg | 77.37% | 82.21% | 88.81% | 90.37% | 89.42% | 91.51% | 89.68% | 114.6% | 105.7% | 94.94% | 102.9% | 108.7% | 116.1% | 135.4% | 135.8%