## Bacteria_Giardia
Ferrate = 0.5 mg/L (as FeO42-) = 0.23 mg/L (as Fe) for adenovirus, 5 mg/L (as FeO42-) = 2.3 mg/L (as Fe) for bacteria and Giardia
E. coli 35150 | [6 empty] | E. coli 25922 | [6 empty] | E. coli 35327 | [6 empty] | Vibrio cholera C6706-Rugose | [6 empty] | Vibrio cholera C6706-Smooth | [6 empty] | Vibrio cholera 14033 | [6 empty] | Vibrio cholera 2614-LA | [6 empty] | Giardia lamblia | [9 empty] | Adenovirus
Temp (°C) | pH | CT (M min) | Contact time (min) | CT (mg/L min as Fe) | Concentration (CFU/mL) | N/N0 | Temp (°C) | pH | CT (M min) | Contact time (min) | CT (mg/L min as Fe) | Concentration (CFU/mL) | N/N0 | Temp (°C) | pH | CT (M min) | Contact time (min) | CT (mg/L min as Fe) | Concentration (CFU/mL) | N/N0 | Temp (°C) | pH | CT (M min) | Contact time (min) | CT (mg/L min as Fe) | Concentration (CFU/mL) | N/N0 | Temp (°C) | pH | CT (M min) | Contact time (min) | CT (mg/L min as Fe) | Concentration (CFU/mL) | N/N0 | Temp (°C) | pH | CT (M min) | Contact time (min) | CT (mg/L min as Fe) | Concentration (CFU/mL) | N/N0 | Temp (°C) | pH | CT (M min) | Contact time (min) | CT (mg/L min as Fe) | Concentration (CFU/mL) | N/N0 | Temp (°C) | pH | Conc (M) | Mean Con (uM) | Mean Con (mg/L as Fe) | Contact time (min) | CT (mg/L min as Fe) | Concentration (cyst/mL) | N/N0 |  | CT (mg/L min as Fe) | N/N0
5 | 8 | 37.5 | 0 | 2.0942 | 49500000 |  | 5 | 8 | 41.4 | 0 | 2.312 | 82500000 |  | 5 | 8 | 36.3 | 0 | 2.0272 | 23300000 |  | 5 | 8 | 37 | 0 | 2.0663 | 1175000 |  | 5 | 8 | 37.8 | 0 | 2.111 | 3400000 |  | 25 | 8 | 44 | 0 | 2.4572 | 49000000 |  | 25 | 8 | 40.8 | 0 | 2.2785 | 9500000 |  | 25 | 8 | 0.000113 |  |  | 0 | 6.3105 | 14454.3977 |  | 7, 25 | 0.066569 | 0.046241
|  | 4.5607 | 5 | 2.5469 | 106000 | 0.0021414 |  |  | 5.0763 | 5 | 2.8349 | 1195000 | 0.014485 |  |  | 4.3625 | 5 | 2.4363 | 580000 | 0.024893 |  |  | 3.1944 | 5 | 1.7839 | 780 | 0.00066383 |  |  | 1.8958 | 2 | 1.0587 | 565000 | 0.16618 |  |  | 2.1696 | 2 | 1.2116 | 472000 | 0.0096327 |  |  | 2.0229 | 2 | 1.1297 | 201500 | 0.021211 |  |  | 2.6974e-05 | 55.2089 | 3.0832 | 15 | 46.2475 | 1905.4607 | 0.13183 |  | 0.12491 | 0.0029915
|  | 6.2371 | 7 | 3.4831 | 750 | 1.5152e-05 |  |  | 6.9635 | 7 | 3.8888 | 34500 | 0.00041818 |  |  | 5.9362 | 7 | 3.3151 | 101000 | 0.0043348 |  |  | 4.9275 | 10 | 2.7518 | 20 | 1.7021e-05 |  |  | 4.5389 | 5 | 2.5348 | 17600 | 0.0051765 |  |  | 5.0555 | 5 | 2.8233 | 3900 | 7.9592e-05 |  |  | 4.7528 | 5 | 2.6542 | 20 | 2.1053e-06 |  |  | 1.2655e-05 | 18.4756 | 1.0318 | 30 | 61.7242 | 758.5776 | 0.052481 |  | 0.21251 | 2.214e-05
|  | 8.6054 | 10 | 4.8057 | 15 | 3.0303e-07 |  |  | 9.6509 | 10 | 5.3896 | 2235 | 2.7091e-05 |  |  | 8.1303 | 10 | 4.5404 | 8800 | 0.00037768 |  |  | 5.8678 | 15 | 3.2769 | 15 | 1.2766e-05 |  |  | 8.4584 | 10 | 4.7236 | 615 | 0.00018088 |  |  | 9.0271 | 10 | 5.0412 | 5 | 1.0204e-07 |  |  | 6.389 | 7 | 3.5679 | 5 | 5.2632e-07 |  |  | 6.8885e-06 | 9.3367 | 0.52141 | 45 | 69.5453 | 147.9108 | 0.010233 |  | 0.36987 | 1.4995e-05
|  | 12.1924 | 15 | 6.8089 |  |  |  |  | 13.7735 | 15 | 7.6919 | 40 | 4.8485e-07 |  |  | 11.3844 | 15 | 6.3577 | 1580 | 6.7811e-05 |  |  | 6.378 | 20 | 3.5618 | 0 | 0 |  |  | 11.843 | 15 | 6.6138 | 5 | 1.4706e-06 |  |  | 12.1471 | 15 | 6.7836 |  |  |  |  | 8.5969 | 10 | 4.801 | 0.5 | 5.2632e-08 |  |  | 4.8375e-06 | 5.7726 | 0.32237 | 60 | 74.3809 | 70.7946 | 0.0048978
[58 empty] | 7, 5 | 0.072053 | 0.10806
|  | 40 | 0 | 2.2338 | 32500000 |  |  |  | 37.8 | 0 | 2.111 | 34000000 |  |  |  | 40.8 | 0 | 2.2785 | 3150000 |  |  |  | 35.9 | 0 | 2.0049 | 6150000 |  |  |  | 43.3 | 0 | 2.4181 | 2350000 |  |  |  | 45.5 | 0 | 2.541 | 2580000 |  |  |  | 28.9 | 0 | 1.6139 | 8900000 |  |  |  | 0.000113 |  |  | 0 | 6.3105 | 2187.7616 |  |  | 0.12858 | 0.012973
|  | 4.7911 | 5 | 2.6756 | 20350 | 0.00062615 |  |  | 4.5524 | 5 | 2.5423 | 25500 | 0.00075 |  |  | 4.9336 | 5 | 2.7552 | 32000 | 0.010159 |  |  | 3.1117 | 5 | 1.7377 | 28300 | 0.0046016 |  |  | 2.1531 | 2 | 1.2024 | 41000 | 0.017447 |  |  | 2.1935 | 2 | 1.225 | 5000 | 0.001938 |  |  | 0.67539 | 1 | 0.37717 | 1300000 | 0.14607 |  |  | 2.0975e-05 | 48.6847 | 2.7188 | 15 | 40.7823 | 186.2087 | 0.085114 |  | 0.21965 | 0.0003567
|  | 6.5099 | 7 | 3.6355 | 600 | 1.8462e-05 |  |  | 6.199 | 7 | 3.4619 | 34000 | 0.001 |  |  | 6.7301 | 7 | 3.7584 | 3800 | 0.0012063 |  |  | 3.7849 | 7 | 2.1137 | 22050 | 0.0035854 |  |  | 5.0776 | 5 | 2.8356 | 670 | 0.00028511 |  |  | 4.9541 | 5 | 2.7667 | 500 | 0.0001938 |  |  | 1.224 | 2 | 0.68356 | 695000 | 0.07809 |  |  | 7.2368e-06 | 12.3205 | 0.68804 | 30 | 51.1029 | 107.1519 | 0.048978 |  | 0.41286 | 1.9831e-05
|  | 8.8974 | 10 | 4.9688 | 5 | 1.5385e-07 |  |  | 8.4993 | 10 | 4.7464 | 1900 | 5.5882e-05 |  |  | 9.2512 | 10 | 5.1664 | 100 | 3.1746e-05 |  |  | 4.4513 | 10 | 2.4858 | 8250 | 0.0013415 |  |  | 9.2384 | 10 | 5.1592 | 5 | 2.1277e-06 |  |  | 6.4952 | 7 | 3.6273 | 5 | 1.938e-06 |  |  | 2.3259 | 5 | 1.2989 | 85 | 9.5506e-06 |  |  | 3.9087e-06 | 5.3185 | 0.29701 | 45 | 55.5581 | 39.8107 | 0.018197
|  | 12.4168 | 15 | 6.9342 |  |  |  |  | 11.9211 | 15 | 6.6574 | 20 | 5.8824e-07 |  |  | 13.0296 | 15 | 7.2764 | 15 | 4.7619e-06 |  |  | 5.028 | 15 | 2.8079 | 900 | 0.00014634 |  |  | 12.6478 | 15 | 7.0632 |  |  |  |  | 8.4347 | 10 | 4.7104 | 0.5 | 1.938e-07 |  |  | 2.7589 | 7 | 1.5407 | 5 | 5.618e-07 |  |  | 1.4319e-06 | 2.3658 | 0.13212 | 60 | 57.5398 | 21.8776 | 0.01 | 8, 25 | 0.077246 | 0.22833
[59 empty] | 0.15111 | 0.095863
|  | 40 | 0 | 2.2338 | 11650000 |  |  |  | 43.5 | 0 | 2.4293 | 34000000 |  |  |  | 42 | 0 | 2.3455 | 41500000 |  |  |  | 41.1 | 0 | 2.2952 | 6150000 |  |  |  | 35.7 | 0 | 1.9937 | 5050000 |  |  |  | 37.1 | 0 | 2.0719 | 20350000 |  |  |  | 39.2 | 0 | 2.1891 | 1000000.5 |  | 25 | 7 | 0.000113 |  |  | 0 | 6.3105 | 2187.7616 |  |  | 0.28834 | 0.0074065
|  | 4.817 | 5 | 2.6901 | 6600 | 0.00056652 |  |  | 5.2332 | 5 | 2.9225 | 640000 | 0.018824 |  |  | 5.0609 | 5 | 2.8263 | 365000 | 0.0087952 |  |  | 2.1772 | 5 | 1.2159 | 26250 | 0.0042683 |  |  | 1.7798 | 2 | 0.99394 | 283000 | 0.05604 |  |  | 1.8416 | 2 | 1.0285 | 352500 | 0.017322 |  |  | 1.9566 | 2 | 1.0927 | 139500.5 | 0.1395 |  |  | 8.3204e-06 | 30.6628 | 1.7124 | 5.5 | 9.4181 | 1621.8101 | 0.1122 |  | 0.6297 | 3.1982e-05
|  | 6.5588 | 7 | 3.6628 | 100 | 8.5837e-06 |  |  | 7.1264 | 7 | 3.9798 | 10500 | 0.00030882 |  |  | 6.8942 | 7 | 3.8501 | 23000 | 0.00055422 |  |  | 2.7024 | 7 | 1.5092 | 8650 | 0.0014065 |  |  | 4.2225 | 5 | 2.3581 | 12000 | 0.0023762 |  |  | 4.3429 | 5 | 2.4253 | 1200 | 5.8968e-05 |  |  | 4.6525 | 5 | 2.5982 | 1950.5 | 0.0019505 |  |  | 4.9536e-06 | 6.4199 | 0.35852 | 10 | 11.0314 | 186.2087 | 0.012882
|  | 8.9915 | 10 | 5.0214 | 5 | 4.2918e-07 |  |  | 9.7713 | 10 | 5.4568 | 1500 | 4.4118e-05 |  |  | 9.4579 | 10 | 5.2818 | 850 | 2.0482e-05 |  |  | 3.2603 | 10 | 1.8207 | 1125 | 0.00018293 |  |  | 7.7558 | 10 | 4.3312 | 95 | 1.8812e-05 |  |  | 5.8517 | 7 | 3.2679 | 5 | 2.457e-07 |  |  | 8.5765 | 10 | 4.7896 | 20.5 | 2.05e-05 | [9 empty] | 8, 5 | 0.072923 | 0.42424
|  | 12.6093 | 15 | 7.0417 |  |  |  |  | 13.7066 | 15 | 7.6545 | 30 | 8.8235e-07 |  |  | 13.2781 | 15 | 7.4152 | 85 | 2.0482e-06 |  |  | 3.7991 | 15 | 2.1216 | 430 | 6.9919e-05 |  |  | 10.7122 | 15 | 5.9823 | 5 | 9.901e-07 |  |  | 7.901 | 10 | 4.4123 | 4.5 | 2.2113e-07 |  |  | 11.8859 | 15 | 6.6377 | 0.5 | 5e-07 | [10 empty] | 0.14205 | 0.2128
[59 empty] | 0.26476 | 0.037918
|  | 41.9 | 0 | 2.3399 | 15500000 |  | 5 | 7 | 34.6 | 0 | 1.9323 | 81000000 |  | 5 | 7 | 37.5 | 0 | 2.0942 | 26450000 |  | 5 | 7 | 33.1 | 0 | 1.8485 | 1290000 |  | 5 | 7 | 32.9 | 0 | 1.8373 | 2550000 |  | 25 | 7 | 36.4 | 0 | 2.0328 | 17050000 |  | 25 | 7 | 35.6 | 0 | 1.9881 | 7100000 |  |  |  | 0.00010507 |  |  | 0 | 5.8677 | 3715.3523 |  |  | 0.52508 | 0.0025681
|  | 5.0086 | 5 | 2.797 | 23550 | 0.0015194 |  |  | 0.81 | 1 | 0.45235 | 11300000 | 0.13951 |  |  | 0.87157 | 1 | 0.48673 | 5850000 | 0.22117 |  |  | 3.1944 | 5 | 1.7839 | 5100 | 0.0039535 |  |  | 1.4408 | 2 | 0.80463 | 161000 | 0.063137 |  |  | 1.5794 | 2 | 0.88205 | 58500 | 0.0034311 |  |  | 0.81708 | 1 | 0.4563 | 295000 | 0.041549 |  |  | 4.0248e-06 | 20.5641 | 1.1484 | 10 | 11.4841 | 512.8614 | 0.23442
|  | 6.8005 | 7 | 3.7978 | 150 | 9.6774e-06 |  |  | 1.4727 | 2 | 0.82244 | 950000 | 0.011728 |  |  | 1.5739 | 2 | 0.87897 | 630000 | 0.023819 |  |  | 4.9275 | 10 | 2.7518 | 365 | 0.00028295 |  |  | 2.8658 | 5 | 1.6004 | 4150 | 0.0016275 |  |  | 3.1019 | 5 | 1.7323 | 205 | 1.2023e-05 |  |  | 1.457 | 2 | 0.81367 | 3150 | 0.00044366 |  |  | 8.1269e-07 | 1.8086 | 0.101 | 20 | 12.4941 | 331.1311 | 0.15136 | 9, 25 | 0.10434 | 0.32664
|  | 9.2845 | 10 | 5.185 | 10 | 6.4516e-07 |  |  | 2.8215 | 5 | 1.5757 | 630 | 7.7778e-06 |  |  | 2.9637 | 5 | 1.6551 | 960 | 3.6295e-05 |  |  | 5.8678 | 15 | 3.2769 | 150 | 0.00011628 |  |  | 4.0968 | 10 | 2.2879 | 5 | 1.9608e-06 |  |  | 4.3658 | 10 | 2.4381 | 5 | 2.9326e-07 |  |  | 2.658 | 5 | 1.4844 | 5 | 7.0423e-07 |  |  | 3.096e-07 | 0.50161 | 0.028012 | 30 | 12.7742 | 331.1311 | 0.15136 |  | 0.19293 | 0.17394
|  | 12.9351 | 15 | 7.2237 |  |  |  |  | 3.3614 | 7 | 1.8772 | 20 | 2.4691e-07 |  |  | 3.4987 | 7 | 1.9538 | 20 | 7.5614e-07 |  |  | 6.378 | 20 | 3.5618 | 15 | 1.1628e-05 |  |  | 4.6256 | 15 | 2.5832 |  |  |  |  | 4.8808 | 15 | 2.7257 | 15 | 8.7977e-07 |  |  | 3.0873 | 7 | 1.7241 | [12 empty] | 0.35695 | 0.024544
[59 empty] | 0.77231 | 0.0017802
5 | 7 | 34.1 | 0 | 1.9043 | 23950000 |  |  |  | 35 | 0 | 1.9546 | 34500000 |  |  |  | 29.1 | 0 | 1.6251 | 22000000 |  |  |  | 35.6 | 0 | 1.9881 | 790000 |  |  |  | 33.2 | 0 | 1.8541 | 4100000 |  |  |  | 31.3 | 0 | 1.748 | 12700000 |  |  |  | 32.9 | 0 | 1.8373 | 3600000
|  | 0.79556 | 1 | 0.44428 | 10100000 | 0.42171 |  |  | 0.82115 | 1 | 0.45857 | 8350000 | 0.24203 |  |  | 0.68556 | 1 | 0.38285 | 2000000 | 0.090909 |  |  | 3.1117 | 5 | 1.7377 | 16350 | 0.020696 |  |  | 2.8667 | 2 | 1.6009 | 1385 | 0.0003378 |  |  | 0.69941 | 1 | 0.39059 | 210000 | 0.016535 |  |  | 0.75564 | 1 | 0.42199 | 18000 | 0.005 | [9 empty] | 9, 5 | 0.097254 | 0.36597
|  | 1.4404 | 2 | 0.80442 | 480000 | 0.020042 |  |  | 1.495 | 2 | 0.83488 | 250000 | 0.0072464 |  |  | 1.2537 | 2 | 0.70011 | 350000 | 0.015909 |  |  | 3.7849 | 7 | 2.1137 | 3850 | 0.0048734 |  |  | 3.4748 | 5 | 1.9405 | 80 | 1.9512e-05 |  |  | 1.2169 | 2 | 0.67961 | 1000 | 7.874e-05 |  |  | 1.3514 | 2 | 0.7547 | 50 | 1.3889e-05 | [10 empty] | 0.19505 | 0.28993
|  | 2.7304 | 5 | 1.5248 | 125 | 5.2192e-06 |  |  | 2.874 | 5 | 1.605 | 810 | 2.3478e-05 |  |  | 2.4377 | 5 | 1.3614 | 810 | 3.6818e-05 |  |  | 4.4513 | 10 | 2.4858 | 1245 | 0.0015759 |  |  | 4.0693 | 10 | 2.2725 | 5 | 1.2195e-06 |  |  | 2.093 | 5 | 1.1688 | 20 | 1.5748e-06 |  |  | 2.4835 | 5 | 1.3869 | [12 empty] | 0.38624 | 0.043621
|  | 3.2346 | 7 | 1.8064 | 10 | 4.1754e-07 |  |  | 3.4303 | 7 | 1.9157 | 10 | 2.8986e-07 |  |  | 2.9276 | 7 | 1.6349 | 75 | 3.4091e-06 |  |  | 5.028 | 15 | 2.8079 | 130 | 0.00016456 |  |  | 4.5737 | 15 | 2.5542 |  |  |  |  | 2.3629 | 7 | 1.3196 |  |  |  |  | 2.8952 | 7 | 1.6168 | [12 empty] | 0.91384 | 0.0067216
|  |  | 0 |  | 18050000 |  |  |  | 36.4 | 0 | 2.0328 | 55000000 |  |  |  | 27.4 | 0 | 1.5302 | 14350000 |  |  |  | 23.4 | 0 | 1.3068 | 7200000 |  |  |  | 32.3 | 0 | 1.8038 | 270000 |  |  |  | 34.8 | 0 | 1.9434 | 11100000 |  |  |  | 33.3 | 0 | 1.8597 | 7100000
|  | 0.79841 | 1 | 0.44588 | 2900000 | 0.16066 |  |  | 0.84769 | 1 | 0.4734 | 2145000 | 0.039 |  |  | 0.6463 | 1 | 0.36093 | 4850000 | 0.33798 |  |  | 2.1772 | 5 | 1.2159 | 7650 | 0.0010625 |  |  | 1.3805 | 2 | 0.77094 | 27000 | 0.1 |  |  | 0.79111 | 1 | 0.4418 | 37000 | 0.0033333 |  |  | 0.75987 | 1 | 0.42435 | 295000 | 0.041549
|  | 1.4398 | 2 | 0.80409 | 8000 | 0.00044321 |  |  | 1.533 | 2 | 0.85612 | 68500 | 0.0012455 |  |  | 1.1849 | 2 | 0.6617 | 645000 | 0.044948 |  |  | 2.7024 | 7 | 1.5092 | 7050 | 0.00097917 |  |  | 2.6566 | 5 | 1.4836 | 9150 | 0.033889 |  |  | 1.399 | 2 | 0.78127 | 150 | 1.3514e-05 |  |  | 1.3485 | 2 | 0.75308 | 3150 | 0.00044366
|  | 2.7017 | 5 | 1.5088 | 25 | 1.385e-06 |  |  | 2.8972 | 5 | 1.6179 | 635 | 1.1545e-05 |  |  | 2.3194 | 5 | 1.2953 | 1065 | 7.4216e-05 |  |  | 3.2603 | 10 | 1.8207 | 525 | 7.2917e-05 |  |  | 3.1726 | 7 | 1.7717 | 370 | 0.0013704 |  |  | 2.5007 | 5 | 1.3965 | 5 | 4.5045e-07 |  |  | 2.4314 | 5 | 1.3578 | 5 | 7.0423e-07
|  | 3.1836 | 7 | 1.7779 | 5 | 2.7701e-07 |  |  | 3.4267 | 7 | 1.9136 | 90 | 1.6364e-06 |  |  | 2.7956 | 7 | 1.5612 | 95 | 6.6202e-06 |  |  | 3.7991 | 15 | 2.1216 | 240 | 3.3333e-05 |  |  | 3.6495 | 10 | 2.0381 | 315 | 0.0011667 |  |  | 2.8754 | 7 | 1.6058 |  |  |  |  | 2.8076 | 7 | 1.5679
|  | 36.8 | 0 | 2.0551 | 24050000 |  | 25 | 8 | 41.6 | 0 | 2.3232 | 35500000 |  | 25 | 8 | 43.6 | 0 | 2.4349 | 7000000 |  | 25 | 8 | 37.1 | 0 | 2.0719 | 3550000 |  |  |  | 32.9 | 0 | 1.8373 | 490000 |  |  |  | 33.3 | 0 | 1.8597 | 23350000 |  |  |  | 32.8 | 0 | 1.8317 | 3600000
|  | 0.84877 | 1 | 0.474 | 460000 | 0.019127 |  |  | 2.0737 | 2 | 1.1581 | 9200000 | 0.25915 |  |  | 2.1681 | 2 | 1.2108 | 2000000 | 0.28571 |  |  | 1.8341 | 2 | 1.0243 | 41250 | 0.01162 |  |  | 1.4067 | 2 | 0.78557 | 22750 | 0.046429 |  |  | 0.76234 | 1 | 0.42573 | 346000 | 0.014818 |  |  | 0.74893 | 1 | 0.41824 | 18000 | 0.005
|  | 1.5218 | 2 | 0.84988 | 1500 | 6.237e-05 |  |  | 4.9149 | 5 | 2.7447 | 5800 | 0.00016338 |  |  | 5.1248 | 5 | 2.862 | 1500 | 0.00021429 |  |  | 4.2934 | 5 | 2.3977 | 1520 | 0.00042817 |  |  | 2.7144 | 5 | 1.5159 | 1785 | 0.0036429 |  |  | 1.3569 | 2 | 0.75777 | 1650 | 7.0664e-05 |  |  | 1.3314 | 2 | 0.74352 | 50 | 1.3889e-05
|  | 2.8145 | 5 | 1.5718 | 10 | 4.158e-07 |  |  | 6.644 | 7 | 3.7104 | 755 | 2.1268e-05 |  |  | 6.9158 | 7 | 3.8622 | 10 | 1.4286e-06 |  |  | 7.7209 | 10 | 4.3118 | 2465 | 0.00069437 |  |  | 3.2463 | 7 | 1.8129 | 365 | 0.0007449 |  |  | 2.4644 | 5 | 1.3763 | 1395 | 5.9743e-05 |  |  | 2.4107 | 5 | 1.3463
|  | 3.2917 | 7 | 1.8383 | 5 | 2.079e-07 |  |  | 9.013 | 10 | 5.0333 | 25 | 7.0423e-07 |  |  | 9.3582 | 10 | 5.2261 | 0.5 | 7.1429e-08 |  |  | 10.4573 | 15 | 5.8399 | 190 | 5.3521e-05 |  |  | 3.7408 | 10 | 2.0891 | 40 | 8.1633e-05 |  |  | 2.856 | 7 | 1.5949 |  |  |  |  | 2.7895 | 7 | 1.5578
|  | 31.7 | 0 | 1.7703 | 47000000 |  |  |  | 39 | 0 | 2.178 | 16150000 |  |  |  | 42.2 | 0 | 2.3567 | 23000000 |  |  |  | 40.6 | 0 | 2.2673 | 2425000 |  | 25 | 8 | 41.6 | 0 | 2.3232 | 50000
|  | 0.74233 | 1 | 0.41456 | 3000000 | 0.06383 |  |  | 1.9742 | 2 | 1.1025 | 3400000 | 0.21053 |  |  | 2.1065 | 2 | 1.1764 | 6300000 | 0.27391 |  |  | 1.9869 | 2 | 1.1096 | 490000 | 0.20206 |  |  | 2.053 | 2 | 1.1465 | 7850 | 0.157
|  | 1.3502 | 2 | 0.754 | 9500 | 0.00020213 |  |  | 4.791 | 5 | 2.6755 | 3500 | 0.00021672 |  |  | 5.0056 | 5 | 2.7954 | 141500 | 0.0061522 |  |  | 4.5864 | 5 | 2.5613 | 16250 | 0.006701 |  |  | 4.7956 | 5 | 2.6781 | 100 | 0.002
|  | 2.589 | 5 | 1.4459 | 20 | 4.2553e-07 |  |  | 6.5769 | 7 | 3.6729 | 85 | 5.2632e-06 |  |  | 6.7782 | 7 | 3.7853 | 2600 | 0.00011304 |  |  | 8.0713 | 10 | 4.5075 | 240 | 9.8969e-05 |  |  | 8.5958 | 10 | 4.8004
|  | 3.086 | 7 | 1.7234 |  |  |  |  | 9.1252 | 10 | 5.096 | 5 | 3.096e-07 |  |  | 9.2179 | 10 | 5.1478 | 5 | 2.1739e-07 |  |  | 10.7193 | 15 | 5.9863 | 1245 | 0.0005134 |  |  | 11.6072 | 15 | 6.4821
25 | 8 | 42.8 | 0 | 2.3902 | 32000000 |  |  |  | 39.1 | 0 | 2.1836 | 33500000 |  |  |  | 42.6 | 0 | 2.379 | 16450000 |  |  |  | 40.1 | 0 | 2.2394 | 3750000 |  |  |  | 37.6 | 0 | 2.0998 | 15000
|  | 2.1361 | 2 | 1.1929 | 11950000 | 0.37344 |  |  | 1.9592 | 2 | 1.0941 | 4700000 | 0.1403 |  |  | 2.1681 | 2 | 1.2108 | 525000 | 0.031915 |  |  | 1.9741 | 2 | 1.1024 | 1525 | 0.00040667 |  |  | 1.8615 | 2 | 1.0396 | 2285 | 0.15233
|  | 5.0782 | 5 | 2.836 | 17000 | 0.00053125 |  |  | 4.6878 | 5 | 2.6179 | 390000 | 0.011642 |  |  | 5.1248 | 5 | 2.862 | 35 | 2.1277e-06 |  |  | 4.5964 | 5 | 2.5669 | 3850 | 0.0010267 |  |  | 4.3723 | 5 | 2.4418 | 45 | 0.003
|  | 6.8784 | 7 | 3.8413 | 70 | 2.1875e-06 |  |  | 6.3763 | 7 | 3.5609 | 4700 | 0.0001403 |  |  | 6.9158 | 7 | 3.8622 |  |  |  |  | 8.1974 | 10 | 4.5779 | 45 | 1.2e-05 |  |  | 7.9052 | 10 | 4.4147
|  | 9.358 | 10 | 5.226 | 0.5 | 1.5625e-08 |  |  | 8.728 | 10 | 4.8742 | 485 | 1.4478e-05 |  |  | 9.3582 | 10 | 5.2261 |  |  |  |  | 11.0187 | 15 | 6.1534 | 5 | 1.3333e-06 |  |  | 10.7596 | 15 | 6.0088
|  | 37.4 | 0 | 2.0886 | 14150000 |  | 25 | 7 | 36 | 0 | 2.0104 | 81500000 |  |  |  | 42.5 | 0 | 2.3734 | 16800000 |  | 25 | 7 | 31.8 | 0 | 1.7759 | 4650000 |  |  |  | 41.3 | 0 | 2.3064 | 84000
|  | 1.8589 | 2 | 1.0381 | 8500000 | 0.60071 |  |  | 1.669 | 2 | 0.93207 | 1375000 | 0.016871 |  |  | 2.1065 | 2 | 1.1764 | 605000 | 0.036012 |  |  | 1.3607 | 2 | 0.75988 | 14350 | 0.003086 |  |  | 2.0454 | 2 | 1.1422 | 25100 | 0.29881
|  | 4.39 | 5 | 2.4516 | 31500 | 0.0022261 |  |  | 3.5685 | 5 | 1.9929 | 2350 | 2.8834e-05 |  |  | 5.0056 | 5 | 2.7954 | 50 | 2.9762e-06 |  |  | 2.6266 | 5 | 1.4668 | 2400 | 0.00051613 |  |  | 4.8037 | 5 | 2.6826 | 265 | 0.0031548
|  | 5.9207 | 7 | 3.3065 | 345 | 2.4382e-05 |  |  | 4.5244 | 7 | 2.5266 | 15 | 1.8405e-07 |  |  | 6.7782 | 7 | 3.7853 |  |  |  |  | 3.6212 | 10 | 2.0223 | 6750 | 0.0014516 |  |  | 8.6833 | 10 | 4.8492
|  | 8.0051 | 10 | 4.4705 |  |  |  |  | 5.6122 | 10 | 3.1341 |  |  |  |  | 9.2179 | 10 | 5.1478 |  |  |  |  | 3.9979 | 15 | 2.2326 | 315 | 6.7742e-05 |  |  | 11.8167 | 15 | 6.5991
|  | 39.4 | 0 | 2.2003 | 11750000 |  |  |  | 38.4 | 0 | 2.1445 | 40500000 |  | 25 | 7 | 40.3 | 0 | 2.2506 | 5700000 |  |  |  | 49.2 | 0 | 2.7476 | 4600000 |  | 25 | 7 | 31.6 | 0 | 1.7647 | 560000
|  | 1.9436 | 2 | 1.0854 | 11600000 | 0.98723 |  |  | 1.7859 | 2 | 0.99737 | 8350000 | 0.20617 |  |  | 0.48315 | 0.5 | 0.26982 | 395000 | 0.069298 |  |  | 2.06 | 2 | 1.1504 | 1700 | 0.00036957 |  |  | 1.3618 | 2 | 0.76051 | 300 | 0.00053571
|  | 4.5448 | 5 | 2.538 | 33500 | 0.0028511 |  |  | 3.8459 | 5 | 2.1478 | 23500 | 0.00058025 |  |  | 0.89866 | 1 | 0.50186 | 25100 | 0.0044035 |  |  | 3.865 | 5 | 2.1584 | 225 | 4.8913e-05 |  |  | 2.6516 | 5 | 1.4808 | 5 | 8.9286e-06
|  | 6.0906 | 7 | 3.4013 | 1030 | 8.766e-05 |  |  | 4.8969 | 7 | 2.7347 | 135 | 3.3333e-06 |  |  | 1.5633 | 2 | 0.87304 | 315 | 5.5263e-05 |  |  | 5.1579 | 10 | 2.8805 | 100 | 2.1739e-05 |  |  | 3.6937 | 10 | 2.0627
|  | 8.1593 | 10 | 4.5566 | 5 | 4.2553e-07 |  |  | 6.1092 | 10 | 3.4117 |  |  |  |  | 2.6874 | 5 | 1.5008 | 0.5 | 8.7719e-08 |  |  | 5.5904 | 15 | 3.122 | 25 | 5.4348e-06 |  |  | 4.1032 | 15 | 2.2914
25 | 7 | 37.7 | 0 | 2.1054 | 70000000 |  |  |  | 32.5 | 0 | 1.815 | 35000000 |  |  |  | 36.1 | 0 | 2.016 | 57500000 |  |  |  | 38.2 | 0 | 2.1333 | 670000 |  |  |  | 32.9 | 0 | 1.8373 | 175000
|  | 0.45353 | 0.5 | 0.25328 | 12050000 | 0.17214 |  |  | 1.477 | 2 | 0.82481 | 1405000 | 0.040143 |  |  | 0.44178 | 0.5 | 0.24672 | 4850000 | 0.084348 |  |  | 1.647 | 2 | 0.91979 | 390 | 0.00058209 |  |  | 1.4357 | 2 | 0.80176 | 975 | 0.0055714
|  | 0.84618 | 1 | 0.47255 | 23500 | 0.00033571 |  |  | 3.0766 | 5 | 1.7182 | 1560 | 4.4571e-05 |  |  | 0.8376 | 1 | 0.46776 | 285000 | 0.0049565 |  |  | 3.2107 | 5 | 1.793 | 90 | 0.00013433 |  |  | 2.834 | 5 | 1.5827 | 5 | 2.8571e-05
|  | 1.4804 | 2 | 0.82676 | 80 | 1.1429e-06 |  |  | 3.8411 | 7 | 2.1451 | 5 | 1.4286e-07 |  |  | 1.5099 | 2 | 0.84323 | 1700 | 2.9565e-05 |  |  | 4.4786 | 10 | 2.5011 | 5 | 7.4627e-06 |  |  | 4.0137 | 10 | 2.2415
|  | 2.5793 | 5 | 1.4404 | 0.5 | 7.1429e-09 |  |  | 4.6692 | 10 | 2.6075 |  |  |  |  | 2.8306 | 5 | 1.5808 | 0.5 | 8.6957e-09 |  |  | 4.9793 | 15 | 2.7807 | 5 | 7.4627e-06 |  |  | 4.5048 | 15 | 2.5157
|  | 34.6 | 0 | 1.9323 | 22150000 |  |  |  | 31.4 | 0 | 1.7535 | 43500000 |  |  |  | 34.7 | 0 | 1.9378 | 29000000 | [10 empty] | 29.3 | 0 | 1.6363 | 20000
|  | 0.39458 | 0.5 | 0.22036 | 6250000 | 0.28217 |  |  | 1.4371 | 2 | 0.80255 | 855000 | 0.019655 |  |  | 0.41446 | 0.5 | 0.23146 | 1045000 | 0.036034 | [9 empty] | 1.2755 | 2 | 0.71228 | 100 | 0.005
|  | 0.7004 | 1 | 0.39114 | 1750 | 7.9007e-05 |  |  | 3.0199 | 5 | 1.6865 | 1540 | 3.5402e-05 |  |  | 0.76763 | 1 | 0.42869 | 750 | 2.5862e-05 | [9 empty] | 2.5136 | 5 | 1.4037 | 5 | 0.00025
|  | 1.1211 | 2 | 0.62608 | 5 | 2.2573e-07 |  |  | 3.7896 | 7 | 2.1163 | 5 | 1.1494e-07 |  |  | 1.325 | 2 | 0.73997 | 5 | 1.7241e-07 | [9 empty] | 3.5528 | 10 | 1.9841
|  | 1.6168 | 5 | 0.90289 |  |  |  |  | 4.6374 | 10 | 2.5898 |  |  |  |  | 2.2371 | 5 | 1.2493 | 5 | 1.7241e-07 | [9 empty] | 3.9825 | 15 | 2.224
|  | 33.3 | 0 | 1.8597 | 30500000 |  |  |  | 32.7 | 0 | 1.8261 | 19800000
|  | 0.40271 | 0.5 | 0.2249 | 17500000 | 0.57377 |  |  | 1.4781 | 2 | 0.82543 | 525000 | 0.026515
|  | 0.75542 | 1 | 0.42187 | 8450 | 0.00071915 |  |  | 3.053 | 5 | 1.705 | 960 | 4.8485e-05
|  | 1.3349 | 2 | 0.74547 | 15 | 1.2766e-06 |  |  | 3.793 | 7 | 2.1182 | 5 | 2.5253e-07
|  | 2.3818 | 5 | 1.3301 |  |  |  |  | 4.5815 | 10 | 2.5586