## LIMS Data
Sample | Type | Analyte Name | Result | Unit | Qual. | Inst. Result | Inst. Units | Spike | Spk Units | Analysis Date | Note
IW041221ABL | blk | Total Microcystins | 0.30 | ug/L | U | 0.002 | ug/L |  |  | 4/15/2021 | reagent water + thiosulfate
IW041221AL1 | lcs | Total Microcystins | 110 | %Rec |  | 0.545 | ug/L | 0.500 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AL2 | lc2 | Total Microcystins | 127 | %Rec |  | 0.631 | ug/L | 0.500 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AL3 | lc3 | Total Microcystins | 103 | %Rec |  | 0.509 | ug/L | 0.500 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AL4 | lc4 | Total Microcystins | 111 | %Rec |  | 0.551 | ug/L | 0.500 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AL5 | lc5 | Total Microcystins | 104 | %Rec |  | 0.513 | ug/L | 0.500 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AL6 | lc6 | Total Microcystins | 95 | %Rec |  | 0.472 | ug/L | 0.500 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AL7 | lc7 | Total Microcystins | 100 | %Rec |  | 0.494 | ug/L | 0.500 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AM1 | loq | Total Microcystins | 112 | %Rec |  | 0.333 | ug/L | 0.300 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AM2 | loq2 | Total Microcystins | 128 | %Rec |  | 0.383 | ug/L | 0.300 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AM3 | loq3 | Total Microcystins | 117 | %Rec |  | 0.348 | ug/L | 0.300 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AM4 | loq4 | Total Microcystins | 113 | %Rec |  | 0.338 | ug/L | 0.300 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AM5 | loq5 | Total Microcystins | 110 | %Rec |  | 0.328 | ug/L | 0.300 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AM6 | loq6 | Total Microcystins | 110 | %Rec |  | 0.328 | ug/L | 0.300 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221AM7 | loq7 | Total Microcystins | 107 | %Rec |  | 0.318 | ug/L | 0.300 | ug/L | 4/15/2021 | reagent water + thiosulfate
IW041221BBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.012 | ug/L |  |  | 4/15/2021 | reagent water + thiosulfate
IW041221BL1 | lcs | Total Microcystins | 97 | %Rec |  | 0.479 | ug/L | 0.500 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BL2 | lc2 | Total Microcystins | 105 | %Rec |  | 0.521 | ug/L | 0.500 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BL3 | lc3 | Total Microcystins | 113 | %Rec |  | 0.557 | ug/L | 0.500 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BL4 | lc4 | Total Microcystins | 92 | %Rec |  | 0.456 | ug/L | 0.500 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BL5 | lc5 | Total Microcystins | 86 | %Rec |  | 0.424 | ug/L | 0.500 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BL6 | lc6 | Total Microcystins | 108 | %Rec |  | 0.535 | ug/L | 0.500 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BL7 | lc7 | Total Microcystins | 110 | %Rec |  | 0.544 | ug/L | 0.500 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BM1 | loq | Total Microcystins | 106 | %Rec |  | 0.316 | ug/L | 0.300 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BM2 | loq2 | Total Microcystins | 95 | %Rec |  | 0.283 | ug/L | 0.300 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BM3 | loq3 | Total Microcystins | 99 | %Rec |  | 0.296 | ug/L | 0.300 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BM4 | loq4 | Total Microcystins | 109 | %Rec |  | 0.326 | ug/L | 0.300 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BM5 | loq5 | Total Microcystins | 118 | %Rec |  | 0.352 | ug/L | 0.300 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BM6 | loq6 | Total Microcystins | 122 | %Rec |  | 0.363 | ug/L | 0.300 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221BM7 | loq7 | Total Microcystins | 89 | %Rec |  | 0.265 | ug/L | 0.300 | ug/L | 4/15/2021 | tap water + thiosulfate
IW041221CBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.002 | ug/L |  |  | 4/15/2021 | reagent water + thiosulfate
IW041221DBL | blk | Total Microcystins | 0.30 | ug/L | U | 0 | ug/L |  |  | 4/15/2021 | reagent water + thiosulfate
IW041221EBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.002 | ug/L |  |  | 4/15/2021 | reagent water + thiosulfate
IW041221FBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.002 | ug/L |  |  | 4/15/2021 | tap water + thiosulfate
IW041221GBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.002 | ug/L |  |  | 4/15/2021 | tap water + thiosulfate
IW041221HBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.001 | ug/L |  |  | 4/15/2021 | tap water + thiosulfate
IW042721ABL | blk | Total Microcystins | 0.30 | ug/L | U | 0.001 | ug/L |  |  | 5/4/2021 | reagent water + thiosulfate
IW042721AM1 | loq | Total Microcystins | 40 | %Rec |  | 0.006 | ug/L | 0.015 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721AM2 | loq2 | Total Microcystins | 114 | %Rec |  | 0.017 | ug/L | 0.015 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721AM3 | loq3 | Total Microcystins | 141 | %Rec |  | 0.021 | ug/L | 0.015 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721AM4 | loq4 | Total Microcystins | 114 | %Rec |  | 0.017 | ug/L | 0.015 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721BBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.002 | ug/L |  |  | 5/4/2021 | reagent water + thiosulfate
IW042721BM1 | loq | Total Microcystins | 45 | %Rec |  | 0.009 | ug/L | 0.020 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721BM2 | loq2 | Total Microcystins | 80 | %Rec |  | 0.016 | ug/L | 0.020 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721BM3 | loq3 | Total Microcystins | 126 | %Rec |  | 0.025 | ug/L | 0.020 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721BM4 | loq4 | Total Microcystins | 65 | %Rec |  | 0.013 | ug/L | 0.020 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721CBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.007 | ug/L |  |  | 5/4/2021 | reagent water + thiosulfate
IW042721CM1 | loq | Total Microcystins | 97 | %Rec |  | 0.029 | ug/L | 0.030 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721CM2 | loq2 | Total Microcystins | 114 | %Rec |  | 0.034 | ug/L | 0.030 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721CM3 | loq3 | Total Microcystins | 77 | %Rec |  | 0.023 | ug/L | 0.030 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721CM4 | loq4 | Total Microcystins | 101 | %Rec |  | 0.03 | ug/L | 0.030 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721DBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.002 | ug/L |  |  | 5/4/2021 | reagent water + thiosulfate
IW042721DM1 | loq | Total Microcystins | 91 | %Rec |  | 0.045 | ug/L | 0.050 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721DM2 | loq2 | Total Microcystins | 125 | %Rec |  | 0.062 | ug/L | 0.050 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721DM3 | loq3 | Total Microcystins | 56 | %Rec |  | 0.028 | ug/L | 0.050 | ug/L | 5/4/2021 | reagent water + thiosulfate; High CV
IW042721DM4 | loq4 | Total Microcystins | 101 | %Rec |  | 0.05 | ug/L | 0.050 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721EM1 | loq | Total Microcystins | 113 | %Rec |  | 0.084 | ug/L | 0.075 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721EM2 | loq2 | Total Microcystins | 125 | %Rec |  | 0.093 | ug/L | 0.075 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721EM3 | loq3 | Total Microcystins | 97 | %Rec |  | 0.072 | ug/L | 0.075 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721EM4 | loq4 | Total Microcystins | 82 | %Rec |  | 0.061 | ug/L | 0.075 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721EM5 | loq5 | Total Microcystins | 115 | %Rec |  | 0.086 | ug/L | 0.075 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721EM6 | loq6 | Total Microcystins | 129 | %Rec |  | 0.096 | ug/L | 0.075 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721EM7 | loq7 | Total Microcystins | 89 | %Rec |  | 0.066 | ug/L | 0.075 | ug/L | 5/4/2021 | reagent water + thiosulfate; High CV
IW042721FM1 | loq | Total Microcystins | 98 | %Rec |  | 0.112 | ug/L | 0.115 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721FM2 | loq2 | Total Microcystins | 108 | %Rec |  | 0.124 | ug/L | 0.115 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721FM3 | loq3 | Total Microcystins | 128 | %Rec |  | 0.146 | ug/L | 0.115 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721FM4 | loq4 | Total Microcystins | 92 | %Rec |  | 0.105 | ug/L | 0.115 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721FM5 | loq5 | Total Microcystins | 115 | %Rec |  | 0.132 | ug/L | 0.115 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721FM6 | loq6 | Total Microcystins | 117 | %Rec |  | 0.134 | ug/L | 0.115 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721FM7 | loq7 | Total Microcystins | 84 | %Rec |  | 0.096 | ug/L | 0.115 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721GM1 | loq | Total Microcystins | 72 | %Rec |  | 0.108 | ug/L | 0.15 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721GM2 | loq2 | Total Microcystins | 92 | %Rec |  | 0.137 | ug/L | 0.15 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721GM3 | loq3 | Total Microcystins | 156 | %Rec |  | 0.233 | ug/L | 0.15 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW042721GM4 | loq4 | Total Microcystins | 113 | %Rec |  | 0.169 | ug/L | 0.15 | ug/L | 5/4/2021 | reagent water + thiosulfate
IW081821ABL | blk | Total Microcystins | 0.30 | ug/L | U | 0.004 | ug/L |  |  | 8/23/2021 | reagent water + thiosulfate
IW081821AM1 | loq | Total Microcystins | 87 | %Rec |  | 0.013 | ug/L | 0.015 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821AM2 | loq2 | Total Microcystins | 113 | %Rec |  | 0.017 | ug/L | 0.015 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821AM3 | loq3 | Total Microcystins | 100 | %Rec |  | 0.015 | ug/L | 0.015 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821AM4 | loq4 | Total Microcystins | 80 | %Rec |  | 0.012 | ug/L | 0.015 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821BBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.012 | ug/L |  |  | 8/23/2021 | reagent water + thiosulfate
IW081821BM1 | loq | Total Microcystins | 90 | %Rec |  | 0.018 | ug/L | 0.020 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821BM2 | loq2 | Total Microcystins | 115 | %Rec |  | 0.023 | ug/L | 0.020 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821BM3 | loq3 | Total Microcystins | 90 | %Rec |  | 0.018 | ug/L | 0.020 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821BM4 | loq4 | Total Microcystins | 85 | %Rec |  | 0.017 | ug/L | 0.020 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821CBL | blk | Total Microcystins | 0.30 | ug/L | U | 0.005 | ug/L |  |  | 8/23/2021 | reagent water + thiosulfate
IW081821CM1 | loq | Total Microcystins | 103 | %Rec |  | 0.031 | ug/L | 0.030 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821CM2 | loq2 | Total Microcystins | 100 | %Rec |  | 0.03 | ug/L | 0.030 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821CM3 | loq3 | Total Microcystins | 67 | %Rec |  | 0.02 | ug/L | 0.030 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821CM4 | loq4 | Total Microcystins | 77 | %Rec |  | 0.023 | ug/L | 0.030 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821DBL | blk | Total Microcystins | 0.30 | ug/L | U | 0 | ug/L |  |  | 8/23/2021 | reagent water + thiosulfate
IW081821DM1 | loq | Total Microcystins | 102 | %Rec |  | 0.051 | ug/L | 0.050 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821DM2 | loq2 | Total Microcystins | 92 | %Rec |  | 0.046 | ug/L | 0.050 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821DM3 | loq3 | Total Microcystins | 92 | %Rec |  | 0.046 | ug/L | 0.050 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821DM4 | loq4 | Total Microcystins | 88 | %Rec |  | 0.044 | ug/L | 0.050 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821EM1 | loq | Total Microcystins | 84 | %Rec |  | 0.063 | ug/L | 0.075 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821EM2 | loq2 | Total Microcystins | 99 | %Rec |  | 0.074 | ug/L | 0.075 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821EM3 | loq3 | Total Microcystins | 101 | %Rec |  | 0.076 | ug/L | 0.075 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821EM4 | loq4 | Total Microcystins | 100 | %Rec |  | 0.075 | ug/L | 0.075 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821EM5 | loq5 | Total Microcystins | 120 | %Rec |  | 0.09 | ug/L | 0.075 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821EM6 | loq6 | Total Microcystins | 127 | %Rec |  | 0.095 | ug/L | 0.075 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821EM7 | loq7 | Total Microcystins | 113 | %Rec |  | 0.085 | ug/L | 0.075 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821FM1 | loq | Total Microcystins | 90 | %Rec |  | 0.104 | ug/L | 0.115 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821FM2 | loq2 | Total Microcystins | 102 | %Rec |  | 0.117 | ug/L | 0.115 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821FM3 | loq3 | Total Microcystins | 107 | %Rec |  | 0.123 | ug/L | 0.115 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821FM4 | loq4 | Total Microcystins | 107 | %Rec |  | 0.123 | ug/L | 0.115 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821FM5 | loq5 | Total Microcystins | 103 | %Rec |  | 0.119 | ug/L | 0.115 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821FM6 | loq6 | Total Microcystins | 83 | %Rec |  | 0.096 | ug/L | 0.115 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821FM7 | loq7 | Total Microcystins | 95 | %Rec |  | 0.109 | ug/L | 0.115 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821GM1 | loq | Total Microcystins | 123 | %Rec |  | 0.185 | ug/L | 0.15 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821GM2 | loq2 | Total Microcystins | 125 | %Rec |  | 0.187 | ug/L | 0.15 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821GM3 | loq3 | Total Microcystins | 80 | %Rec |  | 0.12 | ug/L | 0.15 | ug/L | 8/23/2021 | reagent water + thiosulfate
IW081821GM4 | loq4 | Total Microcystins | 103 | %Rec |  | 0.155 | ug/L | 0.15 | ug/L | 8/23/2021 | reagent water + thiosulfate
041521QCS1 | cc | Total Microcystins | 105 | %Rec |  | 0.789 | ug/L | 0.75 | ug/L | 4/15/2021 | instrument standard, made by Abraxis
041521QCS2 | cc | Total Microcystins | 104 | %Rec |  | 0.778 | ug/L | 0.75 | ug/L | 4/15/2021 | instrument standard, made by Abraxis
041521QCS3 | cc | Total Microcystins | 105 | %Rec |  | 0.784 | ug/L | 0.75 | ug/L | 4/15/2021 | instrument standard, made by Abraxis
IW061622AM2 | loq | Total Microcystins | 96 | %Rec |  | 0.072 | ug/L | 0.0750 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622BM2 | loq2 | Total Microcystins | 101 | %Rec |  | 0.076 | ug/L | 0.0750 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622CM2 | loq3 | Total Microcystins | 101 | %Rec |  | 0.076 | ug/L | 0.0750 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622DM2 | loq4 | Total Microcystins | 115 | %Rec |  | 0.086 | ug/L | 0.0750 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622EM2 | loq5 | Total Microcystins | 107 | %Rec |  | 0.08 | ug/L | 0.0750 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622FM2 | loq6 | Total Microcystins | 97 | %Rec |  | 0.073 | ug/L | 0.0750 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622GM2 | loq7 | Total Microcystins | 104 | %Rec |  | 0.078 | ug/L | 0.0750 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622AM3 | loq | Total Microcystins | 117 | %Rec |  | 0.135 | ug/L | 0.115 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622BM3 | loq2 | Total Microcystins | 96 | %Rec |  | 0.11 | ug/L | 0.115 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622CM3 | loq3 | Total Microcystins | 96 | %Rec |  | 0.11 | ug/L | 0.115 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622DM3 | loq4 | Total Microcystins | 103 | %Rec |  | 0.118 | ug/L | 0.115 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622EM3 | loq5 | Total Microcystins | 103 | %Rec |  | 0.119 | ug/L | 0.115 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622FM3 | loq6 | Total Microcystins | 100 | %Rec |  | 0.115 | ug/L | 0.115 | ug/L | 6/24/2022 | tap water + thiosulfate
IW061622GM3 | loq7 | Total Microcystins | 100 | %Rec |  | 0.115 | ug/L | 0.115 | ug/L | 6/24/2022 | tap water + thiosulfate

## Summary
These data were used in Tables 1-4 for Lab 1
IDC
Calibration and QCS -- Table 1
2021-04-15 | QCS Analysis, concentration 0.75 ug/l |  | Fortified | 0.75
|  |  |  | Ave Result |  | Criteria
| 041521QCS1 |  |  | 0.789 | 105.2%
| 041521QCS2 |  |  | 0.778 | 103.7%
| 041521QCS3 |  |  | 0.784 | 104.5%
|  |  |  | Ave Recovery | 104.5% | ±20% of true value | PASS
|  |  |  | STD Dev | 0.7343% |  | PASS
Demonstration of Low System Background - Table 1
2021-04-15 | Reagent Water |  |  | Result (ug/l) | Criterion
| IW041221ABL |  |  | 0.002 | < .15 | PASS
| IW041221BBL |  |  | 0.012 | < .15 | PASS
| IW041221CBL |  |  | 0.002 | < .15 | PASS
| IW041221DBL |  |  | 0 | < .15 | PASS
| IW041221EBL |  |  | 0.002 | < .15 | PASS
Accuracy and Precision in Reagent Water and LCMRL - Tables 2 and 4
2021-04-15 | Reagent Water Fortified at 0.5 ug/l |  | Fortified | 0.5
|  |  |  | Ave Result | % Rec | Criteria/Method 546 Performance
| IW041221ABL |  | Blank | 0.002
| IW041221AL1 |  |  | 0.545 | 109%
| IW041221AL2 |  |  | 0.631 | 126.2%
| IW041221AL3 |  |  | 0.509 | 101.8%
| IW041221AL4 |  |  | 0.551 | 110.2%
| IW041221AL5 |  |  | 0.513 | 102.6%
| IW041221AL6 |  |  | 0.472 | 94.4%
| IW041221AL7 |  |  | 0.494 | 98.8%
|  |  |  | Ave Recovery | 106.1% | within 30% of true value | PASS
|  |  |  | STD Dev | 10.41% | ≤ 15% | PASS
|  | Cfactor | 3.963 | HRPIR | 41.25%
|  |  |  | UpperPIR | 147.4% | </= 150% | PASS | calculated as a check
|  |  |  | LowerPIR | 64.89% | >/= 50% | PASS | calculated as a check
MRL Confirmation (from LCMRL data)
2021-04-15 | Reagent Water Fortified at 0.3 ug/l |  | Fortified | 0.3
|  |  |  | Ave Result | % Rec | Criteria/Method 546 Performance
| IW041221BBL |  | Blank | 0.012
| IW041221AM1 |  |  | 0.333 | 111%
| IW041221AM2 |  |  | 0.383 | 127.7%
| IW041221AM3 |  |  | 0.348 | 116%
| IW041221AM4 |  |  | 0.338 | 112.7%
| IW041221AM5 |  |  | 0.328 | 109.3%
| IW041221AM6 |  |  | 0.328 | 109.3%
| IW041221AM7 |  |  | 0.318 | 106%
|  |  |  | Ave Recovery | 113.1%
|  |  |  | STD Dev | 7.118%
|  | Cfactor | 3.963 | HRPIR | 28.21%
|  |  |  | UpperPIR | 141.4% | </= 150% | PASS
|  |  |  | LowerPIR | 84.94% | >/= 50% | PASS
MRL Confirmation (from LCMRL data)
2021-08-23 | Reagent Water Fortified at 0.115 ug/l |  | Fortified | 0.115
|  |  |  | Ave Result | % Rec | Criteria/Method 546 Performance
Blank
| IW081821FM1 |  |  | 0.104 | 90.43%
| IW081821FM2 |  |  | 0.117 | 101.7%
| IW081821FM3 |  |  | 0.123 | 107%
| IW081821FM4 |  |  | 0.123 | 107%
| IW081821FM5 |  |  | 0.119 | 103.5%
| IW081821FM6 |  |  | 0.096 | 83.48%
| IW081821FM7 |  |  | 0.109 | 94.78%
|  |  |  | Ave Recovery | 98.26%
|  |  |  | STD Dev | 8.967%
|  | Cfactor | 3.963 | HRPIR | 35.54%
|  |  |  | UpperPIR | 133.8% | </= 150% | PASS
|  |  |  | LowerPIR | 62.73% | >/= 50% | PASS
MRL Confirmation (from LCMRL data)
2021-08-23 | Reagent Water Fortified at 0.075 ug/l |  | Fortified | 0.075
|  |  |  | Ave Result | % Rec | Criteria/Method 546 Performance
Blank
| IW081821EM1 |  |  | 0.063 | 84%
| IW081821EM2 |  |  | 0.074 | 98.67%
| IW081821EM3 |  |  | 0.076 | 101.3%
| IW081821EM4 |  |  | 0.075 | 100%
| IW081821EM5 |  |  | 0.09 | 120%
| IW081821EM6 |  |  | 0.095 | 126.7%
| IW081821EM7 |  |  | 0.085 | 113.3%
|  |  |  | Ave Recovery | 106.3%
|  |  |  | STD Dev | 14.56%
|  | Cfactor | 3.963 | HRPIR | 57.7%
|  |  |  | UpperPIR | 164% | </= 150% | FAIL
|  |  |  | LowerPIR | 48.59% | >/= 50% | FAIL
P&A In Finished Drinking Water -- Table 3
| Local Tap Fortified below MRL |  | Fortified | 0.075
2022-06-24 | Tap Water + Thiosulfate Fortified at 0.075 ug/l |  |  | Ave Result | % Rec | Criteria
| IW061622AM2 |  |  | 0.072 | 96%
| IW061622BM2 |  |  | 0.076 | 101.3%
| IW061622CM2 |  |  | 0.076 | 101.3%
| IW061622DM2 |  |  | 0.086 | 114.7%
| IW061622EM2 |  |  | 0.08 | 106.7%
| IW061622FM2 |  |  | 0.073 | 97.33%
| IW061622GM2 |  |  | 0.078 | 104%
|  |  |  | Ave Recovery | 103%
|  |  |  | STD Dev | 6.288%
|  | Cfactor | 3.963 | HRPIR | 24.92%
|  |  |  | UpperPIR | 128% | not required
|  |  |  | LowerPIR | 78.13% | not required
| Local Tap Fortified below MRL |  | Fortified | 0.115
2022-06-24 | Tap Water + Thiosulfate Fortified at 0.115 ug/l |  |  | Ave Result | % Rec | Criteria
| IW061622AM3 |  |  | 0.135 | 117.4%
| IW061622BM3 |  |  | 0.11 | 95.65%
| IW061622CM3 |  |  | 0.11 | 95.65%
| IW061622DM3 |  |  | 0.118 | 102.6%
| IW061622EM3 |  |  | 0.119 | 103.5%
| IW061622FM3 |  |  | 0.115 | 100%
| IW061622GM3 |  |  | 0.115 | 100%
|  |  |  | Ave Recovery | 102.1%
|  |  |  | STD Dev | 7.393%
|  | Cfactor | 3.963 | HRPIR | 29.3%
|  |  |  | UpperPIR | 131.4% | not required
|  |  |  | LowerPIR | 72.81% | not required
| Local Tap Fortified at MRL |  | Fortified | 0.3
2021-04-15 | Tap Water + Thiosulfate Fortified at 0.3 ug/l |  |  | Ave Result | % Rec | Criteria
| IW041221BM1 |  |  | 0.316 | 105.3%
| IW041221BM2 |  |  | 0.283 | 94.33%
| IW041221BM3 |  |  | 0.296 | 98.67%
| IW041221BM4 |  |  | 0.326 | 108.7%
| IW041221BM5 |  |  | 0.352 | 117.3%
| IW041221BM6 |  |  | 0.363 | 121%
| IW041221BM7 |  |  | 0.265 | 88.33%
|  |  |  | Ave Recovery | 104.8%
|  |  |  | STD Dev | 11.92%
|  | Cfactor | 3.963 | HRPIR | 47.25%
|  |  |  | UpperPIR | 152.1% | not required
|  |  |  | LowerPIR | 57.56% | not required
| Local Tap Fortified Near Mid-Range |  | Fortified | 0.5
2021-04-15 | Tap Water + Thiosulfate Fortified at 0.5 ug/l |  |  | Ave Result | % Rec | Criteria
| IW041221BL1 |  |  | 0.479 | 95.8%
| IW041221BL2 |  |  | 0.521 | 104.2%
| IW041221BL3 |  |  | 0.557 | 111.4%
| IW041221BL4 |  |  | 0.456 | 91.2%
| IW041221BL5 |  |  | 0.424 | 84.8%
| IW041221BL6 |  |  | 0.535 | 107%
| IW041221BL7 |  |  | 0.544 | 108.8%
|  |  |  | Ave Recovery | 100.5%
|  |  |  | STD Dev | 9.989%
|  | Cfactor | 3.963 | HRPIR | 39.59%
|  |  |  | UpperPIR | 140% | not required
|  |  |  | LowerPIR | 60.87% | not required
Unfortified Local Tap Water (native concentrations)
2021-04-15 | Tap Water + Thiosulfate
| IW041221FBL |  |  | 0.002 | values neglected in above calculations
| IW041221GBL |  |  | 0.002 | values neglected in above calculations
| IW041221HBL |  |  | 0.001 | values neglected in above calculations