## Pivot
| Average of Log CFU/Sample | Std Dev of Log CFU/Sample | Average of CFU/Sample | Std Dev of CFU/Sample | Log Reduction | Standard Error
Inoculation Control
N/A
Bacillus atrophaeus var. globigii | 5.7575 | 0.023039 | 572775 | 29669.1057
Bacillus pumilis SAFR-032 | 6.3913 | 0.022206 | 2464500 | 128489.9477
Positive Control (No UV Exposure)
1 Hour
Bacillus atrophaeus var. globigii | 5.6672 | 0.030752 | 465466.6667 | 33427.5834
Bacillus pumilis SAFR-032 | 6.3423 | 0.046245 | 2207666.6667 | 229818.044
2 Hour
Bacillus atrophaeus var. globigii | 5.6984 | 0.039312 | 500766.6667 | 46087.0191
Bacillus pumilis SAFR-032 | 6.3813 | 0.043656 | 2414000 | 237151.8501
Test Sample
1 Hour
Bacillus atrophaeus var. globigii | 0.49816 | 0.52646 | 5.1615 | 6.0235 | 5.169 | 0.30447
Bacillus pumilis SAFR-032 | 0.44877 | 0.46406 | 4.1116 | 4.2626 | 5.8936 | 0.26925
2 Hour
Bacillus atrophaeus var. globigii | 0.91372 | 0.34916 | 9.7915 | 5.7877 | 4.7847 | 0.20286
Bacillus pumilis SAFR-032 | 0.31163 | 0.44786 | 3.0005 | 3.2399 | 6.0697 | 0.2598
Procedural Blank
1 Hour
Bacillus atrophaeus var. globigii | 0.045757 | #DIV/0! | 1.1111 | #DIV/0!
Bacillus pumilis SAFR-032 | 0.045757 | #DIV/0! | 1.1111 | #DIV/0!
2 Hour
Bacillus atrophaeus var. globigii | 0.026872 | #DIV/0! | 1.0638 | #DIV/0!
Bacillus pumilis SAFR-032 | 0.05061 | #DIV/0! | 1.1236 | #DIV/0!
Negative Control
N/A
N/A | 0.045757 | #DIV/0! | 1.1111 | #DIV/0!
Denotes at or below detection limit.

## Summary
Sample ID | Sample Material | Organism | Sample Type | Contact Time | CFU/ml | Sample Volume | CFU/Sample | Log CFU/Sample
144-ILT-E6-Bg-IC-01 | 1X PBST | Bacillus atrophaeus var. globigii | Inoculation Control | N/A | 57860 | 10 | 578600 | 5.7624
144-ILT-E6-Bg-IC-02 | 1X PBST | Bacillus atrophaeus var. globigii | Inoculation Control | N/A | 52930 | 10 | 529300 | 5.7237
144-ILT-E6-Bg-IC-03 | 1X PBST | Bacillus atrophaeus var. globigii | Inoculation Control | N/A | 59360 | 10 | 593600 | 5.7735
144-ILT-E6-Bg-IC-04 | 1X PBST | Bacillus atrophaeus var. globigii | Inoculation Control | N/A | 58960 | 10 | 589600 | 5.7706
144-ILT-E6-Bg-1HR-PC-01 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Positive Control (No UV Exposure) | 1 Hour | 45450 | 10 | 454500 | 5.6575
144-ILT-E6-Bg-1HR-PC-02 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Positive Control (No UV Exposure) | 1 Hour | 50300 | 10 | 503000 | 5.7016
144-ILT-E6-Bg-1HR-PC-03 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Positive Control (No UV Exposure) | 1 Hour | 43890 | 10 | 438900 | 5.6424
144-ILT-E6-Bg-1HR-TS-01 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Test Sample | 1 Hour | 0.11494 | 10 | 1.1494 | 0.060481
144-ILT-E6-Bg-1HR-TS-02 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Test Sample | 1 Hour | 1.2088 | 10 | 12.0879 | 1.0824
144-ILT-E6-Bg-1HR-TS-03 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Test Sample | 1 Hour | 0.22472 | 10 | 2.2472 | 0.35164
144-ILT-E6-Bg-2HR-PC-01 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Positive Control (No UV Exposure) | 2 Hour | 48650 | 10 | 486500 | 5.6871
144-ILT-E6-Bg-2HR-PC-02 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Positive Control (No UV Exposure) | 2 Hour | 55230 | 10 | 552300 | 5.7422
144-ILT-E6-Bg-2HR-PC-03 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Positive Control (No UV Exposure) | 2 Hour | 46350 | 10 | 463500 | 5.666
144-ILT-E6-Bg-2HR-TS-01 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Test Sample | 2 Hour | 0.32609 | 10 | 3.2609 | 0.51333
144-ILT-E6-Bg-2HR-TS-02 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Test Sample | 2 Hour | 1.1828 | 10 | 11.828 | 1.0729
144-ILT-E6-Bg-2HR-TS-03 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Test Sample | 2 Hour | 1.4286 | 10 | 14.2857 | 1.1549
144-ILT-E6-SAFR-IC-01 | 1X PBST | Bacillus pumilis SAFR-032 | Inoculation Control | N/A | 239100 | 10 | 2391000 | 6.3786
144-ILT-E6-SAFR-IC-02 | 1X PBST | Bacillus pumilis SAFR-032 | Inoculation Control | N/A | 245000 | 10 | 2450000 | 6.3892
144-ILT-E6-SAFR-IC-03 | 1X PBST | Bacillus pumilis SAFR-032 | Inoculation Control | N/A | 236700 | 10 | 2367000 | 6.3742
144-ILT-E6-SAFR-IC-04 | 1X PBST | Bacillus pumilis SAFR-032 | Inoculation Control | N/A | 265000 | 10 | 2650000 | 6.4232
144-ILT-E6-SAFR-1HR-PC-01 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Positive Control (No UV Exposure) | 1 Hour | 195400 | 10 | 1954000 | 6.2909
144-ILT-E6-SAFR-1HR-PC-02 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Positive Control (No UV Exposure) | 1 Hour | 226700 | 10 | 2267000 | 6.3555
144-ILT-E6-SAFR-1HR-PC-03 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Positive Control (No UV Exposure) | 1 Hour | 240200 | 10 | 2402000 | 6.3806
144-ILT-E6-SAFR-1HR-TS-01 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Test Sample | 1 Hour | 0.89888 | 10 | 8.9888 | 0.9537
144-ILT-E6-SAFR-1HR-TS-02 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Test Sample | 1 Hour | 0.22472 | 10 | 2.2472 | 0.35164
144-ILT-E6-SAFR-1HR-TS-03 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Test Sample | 1 Hour | 0.10989 | 10 | 1.0989 | 0.040959
144-ILT-E6-SAFR-2HR-PC-01 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Positive Control (No UV Exposure) | 2 Hour | 248300 | 10 | 2483000 | 6.395
144-ILT-E6-SAFR-2HR-PC-02 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Positive Control (No UV Exposure) | 2 Hour | 215000 | 10 | 2150000 | 6.3324
144-ILT-E6-SAFR-2HR-PC-03 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Positive Control (No UV Exposure) | 2 Hour | 260900 | 10 | 2609000 | 6.4165
144-ILT-E6-SAFR-2HR-TS-01 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Test Sample | 2 Hour | 0.11236 | 10 | 1.1236 | 0.05061
144-ILT-E6-SAFR-2HR-TS-02 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Test Sample | 2 Hour | 0.67416 | 10 | 6.7416 | 0.82876
144-ILT-E6-SAFR-2HR-TS-03 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Test Sample | 2 Hour | 0.11364 | 10 | 1.1364 | 0.055517
144-ILT-Bg-1HR-PB-01 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Procedural Blank | 1 Hour | 0.11111 | 10 | 1.1111 | 0.045757
144-ILT-Bg-2HR-PB-01 | 2- x 2- cm Stainless Steel | Bacillus atrophaeus var. globigii | Procedural Blank | 2 Hour | 0.10638 | 10 | 1.0638 | 0.026872
144-ILT-SAFR-1HR-PB-01 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Procedural Blank | 1 Hour | 0.11111 | 10 | 1.1111 | 0.045757
144-ILT-SAFR-2HR-PB-01 | 2- x 2- cm Stainless Steel | Bacillus pumilis SAFR-032 | Procedural Blank | 2 Hour | 0.11236 | 10 | 1.1236 | 0.05061
144-ILT-N-01 | 2- x 2- cm Stainless Steel | N/A | Negative Control | N/A | 0.11111 | 10 | 1.1111 | 0.045757

## Qcount
SCAN1200, version 8.4.1.0 v3.4
Operator name : | lauser
Date: | 2024-08-01
Sample N° | Count | Dilution | CFU/mL | % RSD
144-ILT-E6-SAFR-IC-01 | 56 | 0.1 | 280000
144-ILT-E6-SAFR-IC-01 | 54 | 0.1 | 270000
144-ILT-E6-SAFR-IC-01 | 109 | 0.1 | 211200
144-ILT-E6-SAFR-IC-01 | --- Average --- |  | 239100 | 14.65%
144-ILT-E6-SAFR-IC-02 | 49 | 0.1 | 245000
144-ILT-E6-SAFR-IC-02 | 53 | 0.1 | 265000
144-ILT-E6-SAFR-IC-02 | 45 | 0.1 | 225000
144-ILT-E6-SAFR-IC-02 | --- Average --- |  | 245000 | 8.163%
144-ILT-E6-SAFR-IC-03 | 43 | 0.1 | 215000
144-ILT-E6-SAFR-IC-03 | 46 | 0.1 | 230000
144-ILT-E6-SAFR-IC-03 | 53 | 0.1 | 265000
144-ILT-E6-SAFR-IC-03 | --- Average --- |  | 236700 | 10.84%
144-ILT-E6-SAFR-1HR-PC-01 | 33 | 0.1 | 165000
144-ILT-E6-SAFR-1HR-PC-01 | 46 | 0.1 | 230000
144-ILT-E6-SAFR-1HR-PC-01 | 100 | 0.1 | 193800
144-ILT-E6-SAFR-1HR-PC-01 | --- Average --- |  | 195400 | 16.59%
144-ILT-E6-SAFR-1HR-PC-02 | 45 | 0.1 | 225000
144-ILT-E6-SAFR-1HR-PC-02 | 49 | 0.1 | 245000
144-ILT-E6-SAFR-1HR-PC-02 | 42 | 0.1 | 210000
144-ILT-E6-SAFR-1HR-PC-02 | --- Average --- |  | 226700 | 7.747%
144-ILT-E6-SAFR-1HR-PC-03 | 52 | 0.1 | 260000
144-ILT-E6-SAFR-1HR-PC-03 | 60 | 0.1 | 300000
144-ILT-E6-SAFR-1HR-PC-03 | 108 | 0.1 | 209300
144-ILT-E6-SAFR-1HR-PC-03 | --- Average --- |  | 240200 | 17.73%
144-ILT-E6-SAFR-2HR-PC-01 | 53 | 0.1 | 265000
144-ILT-E6-SAFR-2HR-PC-01 | 49 | 0.1 | 245000
144-ILT-E6-SAFR-2HR-PC-01 | 47 | 0.1 | 235000
144-ILT-E6-SAFR-2HR-PC-01 | --- Average --- |  | 248300 | 6.151%
144-ILT-E6-SAFR-2HR-PC-02 | 37 | 0.1 | 185000
144-ILT-E6-SAFR-2HR-PC-02 | 48 | 0.1 | 240000
144-ILT-E6-SAFR-2HR-PC-02 | 44 | 0.1 | 220000
144-ILT-E6-SAFR-2HR-PC-02 | --- Average --- |  | 215000 | 12.95%
144-ILT-E6-SAFR-2HR-PC-03 | 61 | 0.1 | 305000
144-ILT-E6-SAFR-2HR-PC-03 | 119 | 0.1 | 230600
144-ILT-E6-SAFR-2HR-PC-03 | 59 | 0.1 | 295000
144-ILT-E6-SAFR-2HR-PC-03 | --- Average --- |  | 260900 | 14.58%
144-ILT-E6-SAFR-IC-04 | 49 | 0.1 | 245000
144-ILT-E6-SAFR-IC-04 | 42 | 0.1 | 210000
144-ILT-E6-SAFR-IC-04 | 68 | 0.1 | 340000
144-ILT-E6-SAFR-IC-04 | --- Average --- |  | 265000 | 25.38%
QC Lab Blank | 0 | 1 | 0
QC Lab Blank | 0 | 1 | 0
QC Lab Blank | 0 | 1 | 0
QC Lab Blank | --- Average --- |  | 0 | #DIV/0!
144-ILT-E6-Bg-IC-01 | 49 | 0.1 | 48320
144-ILT-E6-Bg-IC-01 | 73 | 0.1 | 71990
144-ILT-E6-Bg-IC-01 | 54 | 0.1 | 53250
144-ILT-E6-Bg-IC-01 | --- Average --- |  | 57860 | 21.59%
144-ILT-E6-Bg-IC-02 | 66 | 0.1 | 65090
144-ILT-E6-Bg-IC-02 | 45 | 0.1 | 44380
144-ILT-E6-Bg-IC-02 | 50 | 0.1 | 49310
144-ILT-E6-Bg-IC-02 | --- Average --- |  | 52930 | 20.44%
144-ILT-E6-Bg-IC-03 | 60 | 0.1 | 59170
144-ILT-E6-Bg-IC-03 | 60 | 0.1 | 59170
144-ILT-E6-Bg-IC-03 | 31 | 0.1 | 60080
144-ILT-E6-Bg-IC-03 | --- Average --- |  | 59360 | 0.8834%
144-ILT-E6-Bg-IC-04 | 42 | 0.1 | 81400
144-ILT-E6-Bg-IC-04 | 53 | 0.1 | 52270
144-ILT-E6-Bg-IC-04 | 55 | 0.1 | 54240
144-ILT-E6-Bg-IC-04 | --- Average --- |  | 58960 | 25.99%
144-ILT-E6-Bg-1HR-PC-01 | 52 | 0.1 | 51280
144-ILT-E6-Bg-1HR-PC-01 | 49 | 0.1 | 48320
144-ILT-E6-Bg-1HR-PC-01 | 73 | 0.1 | 40560
144-ILT-E6-Bg-1HR-PC-01 | --- Average --- |  | 45450 | 11.85%
144-ILT-E6-Bg-1HR-PC-02 | 58 | 0.1 | 57200
144-ILT-E6-Bg-1HR-PC-02 | 49 | 0.1 | 48320
144-ILT-E6-Bg-1HR-PC-02 | 46 | 0.1 | 45360
144-ILT-E6-Bg-1HR-PC-02 | --- Average --- |  | 50300 | 12.25%
144-ILT-E6-Bg-1HR-PC-03 | 46 | 0.1 | 45360
144-ILT-E6-Bg-1HR-PC-03 | 75 | 0.1 | 41670
144-ILT-E6-Bg-1HR-PC-03 | 47 | 0.1 | 46350
144-ILT-E6-Bg-1HR-PC-03 | --- Average --- |  | 43890 | 5.547%
144-ILT-E6-Bg-2HR-PC-01 | 53 | 0.1 | 52270
144-ILT-E6-Bg-2HR-PC-01 | 46 | 0.1 | 45360
144-ILT-E6-Bg-2HR-PC-01 | 49 | 0.1 | 48320
144-ILT-E6-Bg-2HR-PC-01 | --- Average --- |  | 48650 | 7.126%
144-ILT-E6-Bg-2HR-PC-02 | 58 | 0.1 | 57200
144-ILT-E6-Bg-2HR-PC-02 | 60 | 0.1 | 59170
144-ILT-E6-Bg-2HR-PC-02 | 50 | 0.1 | 49310
144-ILT-E6-Bg-2HR-PC-02 | --- Average --- |  | 55230 | 9.448%
144-ILT-E6-Bg-2HR-PC-03 | 45 | 0.1 | 44380
144-ILT-E6-Bg-2HR-PC-03 | 48 | 0.1 | 47340
144-ILT-E6-Bg-2HR-PC-03 | 48 | 0.1 | 47340
144-ILT-E6-Bg-2HR-PC-03 | --- Average --- |  | 46350 | 3.687%

## Filters
Serial Dilution/Plating Results Sheet | [5 empty] | Page 1 of | 2
Test Information
EPA Project No. |  | TO-144 |  |  | Test Date | 2024-07-31
Analyst Name |  | Abdel-Hady/Aslett/Boufedji/Ford/Monge/Sandoval/Viola |  |  | Test No. | E6 SAFR-032 and Bg Exposed to ILT for 1- and 2-hours
Counters Name |  | Abdel-Hady/Aslett/Boufedji/Ford/Monge/Sandoval/Viola
Data Entered by |  | Mariela Monge
Data Entry QC'd by |  | Lesley Mendez Sandoval
Results
Date Plated | (7/31)-(8/1)/24 | Organism | Bg & SAFR-032 |  | Temperature |  | 35 °C
Date Counted | 8/(1-2)/24 |  | Volume Plated: | varies | Extraction Volume:
|  | Filter plates |  |  | Pall Filters #4852
Sample ID |  | Colony Count | Volume Plated (mL) |  | Comments |  |  | CFU/mL
144-ILT-E6-Bg-1HR-TS-01 |  | 0 | 1 |  |  |  |  | 0.11494
|  | 1 | 7.7 | R
144-ILT-E6-Bg-1HR-TS-02 |  | 0 | 1 |  |  |  |  | 1.2088
|  | 11 | 8.1 | R
144-ILT-E6-Bg-1HR-TS-03 |  | 0 | 1 |  |  |  |  | 0.22472
|  | 2 | 7.9 | R
144-ILT-E6-Bg-2HR-TS-01 |  | 0 | 1 |  |  |  |  | 0.32609
|  | 3 | 8.2 | R
144-ILT-E6-Bg-2HR-TS-02 |  | 2 | 1 |  |  |  |  | 1.1828
|  | 9 | 8.3 | R
144-ILT-E6-Bg-2HR-TS-03 |  | 0 | 1 |  |  |  |  | 1.4286
|  | 13 | 8.1 | R
144-ILT-Bg-1HR-PB-01 |  | 0 | 1 |  |  |  |  | 0.11111
|  | 0 | 8 | R
144-ILT-Bg-2HR-PB-01 |  | 0 | 1 |  |  |  |  | 0.10638
|  | 0 | 8.4 | R
144-ILT-E6-SAFR-1HR-TS-01 |  | 0 | 1 |  |  |  |  | 0.89888
|  | 8 | 7.9 | R
144-ILT-E6-SAFR-1HR-TS-02 |  | 0 | 1 |  |  |  |  | 0.22472
|  | 2 | 7.9 | R
144-ILT-E6-SAFR-1HR-TS-03 |  | 0 | 1 |  |  |  |  | 0.10989
|  | 0 | 8.1 | R
144-ILT-E6-SAFR-2HR-TS-01 |  | 0 | 1 |  |  |  |  | 0.11236
|  | 0 | 7.9 | R
Notes: R=Remainder
Sample ID |  | Filter plates |  |  |  | Page 2 of | 2
Colony Count
|  |  | Volume Plated (mL) |  | Comments
144-ILT-E6-SAFR-2HR-TS-02 |  | 0 | 1 |  |  |  |  | 0.67416
|  | 6 | 7.9 | R
144-ILT-E6-SAFR-2HR-TS-03 |  | 0 | 1 |  |  |  |  | 0.11364
|  | 0 | 7.8 | R
144-ILT-SAFR-1HR-PB-01 |  | 0 | 1 |  |  |  |  | 0.11111
|  | 0 | 8 | R
144-ILT-SAFR-2HR-PB-01 |  | 0 | 1 |  |  |  |  | 0.11236
|  | 0 | 7.9 | R
144-ILT-N-01 |  | 0 | 1 |  |  |  |  | 0.11111
|  | 0 | 8 | R
Sterile DI Water |  | 0 | 10
TSA only |  | 0
0
0
Notes: R=Remainder