## Sheet1
Date of UVC exposure | Test | bug | Inoc type | Lamp | Type of 304 SS | Contact times (hrs) | Actual Inoc log CFU per 10 µl aliquot | Avg intensity W/cm2 (1st 2 hr period unless noted otherwise) | Notes or purpose of test
2023-05-02 | 1 | B. atro | liquid | ILT | milled | 2 and 4 hr | 7.8 | 0.00148
2023-08-16 | 11 | B. atro | liquid | ILT | milled | 8 hr | 7.7 | 1.35E-3 (8 hr intensity) | Repeat of Test 1 out to 8 hr
2023-05-17 | 2 | B. atro | liquid | ILT | milled | 2 and 4 hr | 6.7 | 0.00145 | Same as Test 1, but lower inoculation level
2023-07-19 | 7 | B. atro | liquid | ILT | milled | 8 hr | 6.6 | 1.37E-3 (8 hr avg) | Same as test 2, but longer contact time. Note one of the coupons had an unusually high recovery of spores (~4 log), thought to be because of a scratch on the coupon.
2023-07-26 | 8 | B. atro | liquid | ILT | milled | 8 hr | 6.5 | 1.35E-3 (8 hr avg) | Repeat of Test 7
2023-05-31 | 3 | B. atro | liquid | ILT | milled | 2 and 4 hr | 5.35 | 0.00145 | Same as Test 2, but 1 log lower inoc level
2023-08-02 | 9 | B. atro | liquid | ILT | milled | 6 hr | 5.34 | 1.34 E-3 (6 hr avg) | Repeat of Test 3 but out to 6 hr
2023-08-09 | 10 | B. atro | liquid | ILT | milled | 8 hr | 5.7 | 1.39E-3 (8 hr avg) | Repeat of Test 9 but out to 8 hr
2023-07-12 | 6 | B. atro | liquid | ILT | milled | 2 and 4 hr | 4.7 | 0.00143 | Same as Test 3, but log lower
2024-01-31 | 26 | B. atro | liquid | ILT | milled | 1 and 2 hr | 3.6 | 1.24E-3 (first 1-hr exposure) | Find titer in which we get ND for liq inoc b atro; only 1 and 2 hr exposure
2023-08-30 | 12 | B atro | MDI | ILT | ? | 2 and 4 hr | 7.3 | 0.00135 | Will redo test. Effect of inoc method. Had issues w removing coupon stubs from stub holder. Coupon 1 flow off and landed near the edge of the BSC. Coupons 2 and 3 needed to be removed by gloved hand. And Mariela had touched the BSC prior to removing coupon, so may not be totally aseptic.
2023-09-13 | 13 | B atro | MDI | ILT | ? | 2 and 4 hr | 7.3 | 0.00134 | Repeat of Test 12
2023-09-27 | 14 | B atro | MDI | ILT | ? | 2 and 4 hr | 6.3 | 0.00132 | Same as Test 13 but log lower
2023-10-04 | 15 | B. atro | liquid | ILT | milled | 4 hr | E7, E6, MDI | 1.30E-3 (4 hr avg) | 4 hr UVC exposure for SEM imaging. SEM images will also be taken for E7 liq no UVC, E6 liquid no UVC, and E6 MDI no UVC.
2023-10-11 | 16 | B. atro | MDI | ILT | ? | 2 and 4 hr | 5.1 | 1.30 E-3 | Same as test 14 but log lower
2023-11-29 | 20 | B atro | MDI | ILT | milled | 2 and 4 hr | 7.4 | 0.00127 | Repeat of previous MDI tests to ensure that coupons were made from milled 304 SS. Some of the previous MDI tests may have used brushed SS.
2023-12-20 | 21 | B atro | MDI | ILT | milled | 2 and 4 hr | 5.8 | 0.00125 | Repeat of previous MDI tests to ensure that coupons were made from milled 304 SS. Some of the previous MDI tests may have used brushed SS.
2024-01-03 | 22 | B atro | MDI | ILT | milled | 2 and 4 hr | 5.1 | 0.00126 | Repeat of previous MDI tests to ensure that coupons were made from milled 304 SS. Some of the previous MDI tests may have used brushed SS.
2024-01-10 | 23 | B atro | MDI | ILT | brushed | 2 and 4 hr | 5 | 0.00125 | Compared milled to brushed SS
2024-01-17 | 24 | B atro | MDI | ILT | brushed | 2 and 4 hr | 5.9 | 0.00125 | Compare milled to brushed SS
2024-01-24 | 25 | B atro | MDI | ILT | brushed | 2 and 4 hr | 7.25 | 0.00125 | Compare milled to brushed SS
2023-06-28 | 5 | pumilus 27142 | liquid | ILT | milled | 2 and 4 hr | 6.9 | 0.00141 | Redo of Test 4, but with a revised method for extracting spores (now includes sonication) to improve recovery
2024-02-07 | 27 | pumilus 27142 | liquid | ILT | milled | 1 and 2 hr | 6.8 | 1.26E-3 first hr | repeat of Test 5 but shorter exposure times
2023-06-13 | 4 | pumilus 27142 | liquid | ILT | milled | 2 and 4 hr | 5.3 | 0.00144 | Same as Test 2 but w pumilus. Will redo this test due to poor spore recovery from coupons. will not use data. Also the titer was a bit higher than desired.
2023-10-25 | 17 | Pumilus SAFR-032 | liquid | ILT | milled | 2 and 4 hr | 7.25 | 0.0013 | Compare to pumilis from Mesa (27142)
2023-11-08 | 18 | Pumilus SAFR-032 | liquid | ILT | milled | 2 and 4 hr | 6.4 | 1.29E-3 (4 hr) | Same as Test 17 but log lower
2023-11-15 | 19 | Pumilus SAFR-032 | liquid | ILT | milled | 1 and 2 hr | 5.2 | 1.25E-3 (2 hr test) | Same as test 18 but log lower and shorter time points
2024-03-21 | 28 | B atro | liquid | Aquisense | milled | 2 and 4 hr | 6.7 | 0.00183
2024-03-27 | 29 | B atro | liquid | Aquisense | milled | 2 AND 4 HR | 5.7 | 0.00185 | 1850
2024-04-03 | 30 | B atro | liquid | Aquisense | milled | 1.58 and 3.17 hr | 7.7 | 0.00186 | changed exposure times to match doses using ILT lamp
2024-04-11 | 31 | B atro | liquid | Aquisense | milled | 1.58 and 3.17 hr | 6.7 | 0.00186
2024-05-01 | 32 | B atro | liquid | Aquisense | milled | 1.58 and 3.17 hr | 5.7 | 0.00186
Data for lamp without collimator not included in paper | Data for lamp without collimator not included in paper | Data for lamp without collimator not included in paper | Data for lamp without collimator not included in paper
2024-05-29 | 33 | B atro | liquid | Aquisense w/o collimator | milled | 1.63 and 3.27 hr | 7.77 | 0.00181 | aquisense lamp w/out collimator
2024-07-02 | 34 | B atro | liquid | Aquisense w/o collimator | milled | 1.63 and 3.27 hr | 6.6 | 0.0018 | aquisense lamp w/out collimator
2024-07-24 | 35 | B atro | liquid | Aquisense w/o collimator | milled | 1.63 and 3.27 hr | 5.7 | 0.00179 | aquisense lamp w/out collimator
2024-07-31 | 36 | B atro & SAFR032H | liquid | ILT | milled | 1 and 2 hr | 5.7 for atro, 6.3 for SAFR-032H | 0.00122 | compare both bugs same day. SAFR032H - refers to SAFR-032 coming directly from Honeybee
2024-08-07 | 37 | B atro & SAFR032H | liquid | ILT | milled | 15 and 30 min | 5.7 Ba, 6.1 for SAFR032H | 0.00121 | compare both bugs same day. SAFR032H - refers to SAFR-032 coming directly from Honeybee
2024-08-14 | 38 | B atro & SAFR032H | liquid | ILT | milled | 3 hr | 5.7 Ba, 6.1 for SAFR032H | 0.0012 | compare both bugs same day. SAFR032H - refers to SAFR-032 coming directly from Honeybee
The following data are not included in paper, but may be inlcuded in future paper.
2024-09-25 | 39 | D. radiodurans | liquid | ILT | milled | 15 and 30 min | 6.7 | 0.00124 | compare D. radiodurans w/ previous test data for B atro
2024-10-02 | 40 | B. atro & D. radiodurans | liquid | ILT | milled | 15 and 30 min | 6.7? | 0.00116 | repeat of Test 39, but include B. atro in testing, and B atro is now in PBST to match media that Dr is in
2024-10-24 | 41 | B. atro & D. radiodurans | liquid | ILT | milled | 15 and 30 min | 6.7 | 0.00116 | this is repeat of Test 40, since test 40 had a lot of contamination in media
2024-11-13 | 42 | B. atro & D. radiodurans | liquid | ILT | milled | 15 and 30 min | ~ 6.4 for both bugs | 0.00116 | redo of Test 41, due to weird results and contamination
2024-12-04 | 43 | B. atro & D. radiodurans | liquid | ILT | milled | 1 and 2 hr | ~ 5.9-6.4 for both bugs | 0.00119 | repeat of Test 42, but at longer contact times.
2024-12-18 | 44 | B. atro | liquid | ILT | milled | 3 sets of 3 coupons exposed for 1 hr | ~5.7 | 0.00119 | 2 sets will then be exposed to 120 C heat for 2 and 4 hr, following day…
2025-01-07 | 45 | B. atro | liquid | ILT | milled | 3 sets of 3 coupons exposed for 1 hr | 6.8 | 0.00119 | same test as 44, but 1 log higher inoculation
2025-01-15 | 46 | B. atro | liquid | ILT | milled | 3 sets of 3 coupons exposed for 1 hr | 6.7 | 0.00118 | same test as 45, but did heat first (on 1/14/25), then next day did UVC exposures
2025-01-23 | 47 | B. atro | liquid | ILT | milled | 3 sets of 3 coupons exposed for 1 hr | 5.7 | 0.0012 | same test as 46, but log lower.
2025-02-05 | 48 | B. atro | liquid | ILT | milled | 3 sets of 3 coupons exposed for 0.5 hr | 6.5 | 0.0012 | exposures to UV, then next day exposed to 120 C for 1 and 3 hr
2025-02-13 | 49 | B. atro | liquid | ILT | milled | 3 sets of 3 coupons exposed for 0.5 hr | 6.8 | 0.00118 | same as Test 48, but do heat first
2025-02-26 | 50 | B. atro | liquid | ILT | milled | 3 sets of coupons exposed for 15 min | 6.8 | 0.00117 | reduced UV exposure time; then dry heat next day (120 C at 1, 3, anf 5 hr; 5 hr exposure has no UV
2025-03-05 | 51 | B. atro | liquid | ILT | milled | 3 sets coupons exposed to 2 hr | 6.8 | 0.00116 | UVC exposure followed by 120 C for 1 and 2 hr
2025-03-12 | 52 | B. atro | liquid | ILT | milled | 3 sets coupons exposed to 2 hr | 6.8 | 0.00242 | UVC followed by 120 C for 1 and 2 hr; same test as 51, but ILT lamp was moved closer to coupons to increase intensity
2025-03-19 | 53 | B atro | liquid | ILT | milled | 3 sets coupons exposed to 1 hr | 6.8 | 0.00122 | UVC followed by dry heat at 120C for 1 and 2 hr; moved lamp back to its original location,
2025-03-26 | 54 | B atro | liquid | ILT | milled | 3 sets coupons exposed to 0.5 hr | 6.7 | 0.00122 | UVC followed by dry heat at 120C for 1 and 2 hr; lamp back to its original location,
Note on J55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This test will need to be repeated due to contamination
Note on J56: Wood, Joe: more contamination present, and Dr had weird results (less inactivation at longer time point). May have to redo test.

## calcs for combining PC titers
|  | avg | SD
B atro tests 1 | 7.77 | 7.6967 | 0.12702
7.77
Test 11 | 7.55
test 2 | 6.75 | 6.6033 | 0.14503
6.6
test 8 | 6.46
test3 | 5.33 | 5.4375 | 0.17633
5.38
test 9 | 5.34
test 10 | 5.7
test 5 | 6.87 | 6.84 | 0.06
6.91
test 27 | 6.79
6.79