## Fe-10r Pb
|  | Fe-10r |  |  |  |  | Quality Control Sample Results
|  | MDL1 (ppb) | 0.084 |  |  |  | Blank | Sample | [Pb]
|  | LLOQ2 (ppb) | 1 |  |  |  | Index Number | ID | ppb
|  | Sample ID | [Pb] (ug/g) | Standard Deviation |  |  | 18 | 1 Fe-10 | 0.040135
| Vegetation Experiments | B1 | 1796.2658 | 60.2974 |  | 0 | 19 | 2 | -0.003155
|  | B6 | 2091.5428 | 652.8499 |  | 0 | 20 | 3 | -0.0028164
|  | B3 | 1955.5969 | 210.6023 |  | 0
|  | B11 | 774.051 | 15.1472 |  | 0 | Blank Spike | Sample | Dilution | Raw [Pb] | DF Corrected[Pb] | Recovery
|  | B16 | 740.3846 | 0.64361 |  | 0 | Index Number | ID | Factor | ppb | ppb | %
|  | B13 | 785.7675 | 38.6468 |  | 0 | 21 | 4 | 12500 | 1.6776 | 20970.108 | 104.9%
|  | B8 | 1500.2523 | 63.2249 |  | 0 | 22 | 5 | 12500 | 1.6394 | 20492.5554 | 102.5%
|  | B18 | 589.6286 | 15.5268 |  | 0 | 23 | 6 | 12500 | 1.6712 | 20890.2146 | 104.5%
1MDL calculated as the standard deviation of 8 low Pb dust replicates multiplied by 3.14. Refers to instrument raw values.
| 2LLOQ was successfully verified at 1.0 ppb Pb. Refers to instrument raw values. | [5 empty] | SRM | Sample | Dilution | Raw [Pb] | DF Corrected[Pb] | SRM Mass | Volume | Pb mass | [Pb] | Certified Recovery
[7 empty] | Index Number | ID | Factor | ppb | ppb | g | L | ug | ug/g | %
[7 empty] | 98 | 63 | 12500 | 19.9229 | 249036.082 | 0.2568 | 0.004 | 996.1443 | 3879.0667 | 76.06%
#REF! | [6 empty] | 99 | 64 | 12500 | 19.844 | 248050.4562 | 0.2531 | 0.004 | 992.2018 | 3920.1969 | 76.87%
#REF! | Spike and SRM Pb Concentrations | [5 empty] | 100 | 65 | 12500 | 19.6738 | 245922.3074 | 0.2536 | 0.004 | 983.6892 | 3878.9007 | 76.06%
#REF! | Blank Spike | Certified SRM 2583 | Round-robin SRM 2583 | SRM 2710a | Matrix Spike
#REF! | ppb | ppm (ug Pb/g SRM) | ppm (ug Pb/g SRM) | ppm (ug Pb/g SRM) | ppb |  | Analytical Replicates | Sample | Dilution | Raw [Pb] | DF Corrected[Pb] | Limits | Repeatability (%) | Target | Pass/Fail | RPD
#REF! | 20000 | 85.9 | 78 | 5100 | 2500 |  | Index Number | ID | Factor | ppb | ppb
#REF! | [6 empty] | 27 | 10 | 12500 | 3.2989 | 41236.6782 |  | 99.95% | 85 to 115% | PASS | 0.052494
#REF! | [6 empty] | 28 | 10 Rep | 12500 | 3.2972 | 41215.0369 |  |  |  |  | #REF!
#REF! | [6 empty] | 40 | 20 | 12500 | 3.2042 | 40053.0638 |  | 100.8% | 85 to 115% | PASS | 0.81836
[7 empty] | 41 | 20 Rep | 12500 | 3.2306 | 40382.1882 |  |  |  |  | #REF!
[7 empty] | 53 | 30 | 12500 | 2.6299 | 32874.225 |  | 98.94% | 85 to 115% | PASS | 1.0661
[7 empty] | 54 | 30 Rep | 12500 | 2.602 | 32525.6122 | MDL |  |  |  | #REF!
[7 empty] | 66 | 40 | 12500 | 0.59686 | 7460.7103 | LLOQ | 100.9% | 85 to 115% | PASS | 0.92641
[7 empty] | 67 | 40 Rep | 12500 | 0.60241 | 7530.1486 | MDL |  |  |  | #REF!
[7 empty] | 79 | 50 | 12500 | 2.4378 | 30472.7144 |  | 98.55% | 85 to 115% | PASS | 1.4588
[7 empty] | 80 | 50 Rep | 12500 | 2.4025 | 30031.3844 | MDL |  |  |  | #REF!
[7 empty] | 92 | 60 | 12500 | 8.0005 | 100006.2137 |  | 100.1% | 85 to 115% | PASS | 0.11615
[7 empty] | 93 | 60 Rep | 12500 | 8.0098 | 100122.4408 |  |  |  |  | #REF!
[7 empty] | 100 | 65 | 12500 | 19.6738 | 245922.3074 |  | 100.4% | 85 to 115% | PASS | 0.44351
[7 empty] | 101 | 65 Rep | 12500 | 19.7612 | 247015.415 |  |  |  |  | #REF!
[7 empty] | Occurrence | ICV (%) | Flags | ICB | Flags | CCV (%) | Flags | CCB | Flags
[7 empty] | 1 | 102.4% |  | 0.0049803 |  | 103% |  | 0.0022128
[7 empty] | 2 |  |  |  |  | 102.1% |  | 0.0020447
[7 empty] | 3 |  |  |  |  | 101.1% |  | 0.0017152
[7 empty] | 4 |  |  |  |  | 101.8% |  | 0.0017989
[7 empty] | 5 |  |  |  |  | 102.6% |  | 0.0016896
[7 empty] | 6 |  |  |  |  | 102.1% |  | 0.0024373
[7 empty] | 7 |  |  |  |  | 102.6% |  | 0.0026
[7 empty] | Occurrence | Calibration Verifications | [Pb] ppb |  |  | Calibration Stds. | Target [Pb] (Observed)
[7 empty] | 1 | ICV | 10.2447 |  |  | Cal 1 | 0.112 (0.100)
[8 empty] | ICB | 0.0049803 |  |  | Cal 2 | 1.015 (1.000)
[7 empty] | 1 | CCV | 10.2953 |  |  | Cal 3 | 10.135 (10.000)
[8 empty] | CCB | 0.0022128 |  |  | Cal 4 | 52.117 (50.000)
[7 empty] | 2 | CCV | 10.2129 |  |  | Cal 5 | 102.035 (100.000)
[8 empty] | CCB | 0.0020447 |  |  | Cal 6 | 999.689 (1,000.000)
[7 empty] | 3 | CCV | 10.113
[8 empty] | CCB | 0.0017152
[7 empty] | 4 | CCV | 10.1783
[8 empty] | CCB | 0.0017989
[7 empty] | 5 | CCV | 10.2567
[8 empty] | CCB | 0.0016896
[7 empty] | 6 | CCV | 10.2146
[8 empty] | CCB | 0.0024373
[7 empty] | 7 | CCV | 10.2551
[8 empty] | CCB | 0.0026

## Fe-10r As
|  | Fe-10r |  |  |  |  | Quality Control Sample Results
|  | MDL1 (ppb) | 0.084 |  |  |  | Blank | Sample | [As]
|  | LLOQ2 (ppb) | 1 |  |  |  | Index Number | ID | ppb
|  | Sample ID | [As] (ug/g) | Standard Deviation |  |  | 18 | 1 Fe-10 | 0.003142
LLOQ | Vegetation Experiments | B1 | 331.6976 | 13.8476 |  | 0 | 19 | 2 | 0.0034293
LLOQ |  | B6 | 340.4419 | 40.6866 |  | 0 | 20 | 3 | 0.0035595
LLOQ |  | B3 | 355.6036 | 7.813 |  | 0
LLOQ |  | B11 | 11.6986 | 0.56973 |  | 0 | Blank Spike | Sample | Dilution | Raw [As] | DF Corrected[As] | Recovery
LLOQ |  | B16 | 14.3076 | 1.7077 |  | 0 | Index Number | ID | Factor | ppb | ppb | %
LLOQ |  | B13 | 11.4764 | 0.74129 |  | 0 | 21 | 4 | 12500 | 1.6867 | 21083.3353 | 105.4%
LLOQ |  | B8 | 230.5064 | 21.3778 |  | 0 | 22 | 5 | 12500 | 1.6661 | 20825.6898 | 104.1%
LLOQ |  | B18 | 12.8347 | 1.1861 |  | 0 | 23 | 6 | 12500 | 1.7031 | 21288.3345 | 106.4%
[7 empty] | SRM | Sample | Dilution | Raw [As] | DF Corrected [As] | SRM Mass | Volume | As mass | [As] | Certified Recovery
|  | 1MDL calculated as the standard deviation of 7 As soil replicates multiplied by 3.14. Refers to instrument raw values. |  |  |  |  | Index Number | ID | Factor | ppb | ppb | g | L | ug | ug/g | %
|  | 2LLOQ was successfully verified at 1.0 ppb As. Refers to instrument raw values. |  |  |  |  | 98 | 63 | 12500 | 5.7197 | 71495.7136 | 0.2568 | 0.004 | 285.9829 | 1113.6404 | 85.66%
[7 empty] | 99 | 64 | 12500 | 5.6502 | 70627.6755 | 0.2531 | 0.004 | 282.5107 | 1116.2019 | 85.86%
|  | Spike and SRM As Concentrations |  |  |  |  | 100 | 65 | 12500 | 5.7367 | 71708.68 | 0.2536 | 0.004 | 286.8347 | 1131.0517 | 87%
|  | Blank Spike | SRM 2710a | SRM 2583 | SoFC-1 | Matrix Spike
|  | ppb | ppm (ug As/g SRM) | ppm (ug As/g SRM) | ppm (ug As/g SRM) | ppb | Analytical Replicates | Sample | Dilution | Raw [As] | DF Corrected[As] | Limits | Repeatability (%) | Target | Pass/Fail | RPD
| Totals | 20000 | 1300 | 7 | 640 | NA | Index Number | ID | Factor | ppb | ppb
| IVBA | --- | 1300 | 7 | 640 | NA | 27 | 10 | 12500 | 0.63082 | 7885.3036 |  | 101.6% | 85 to 115% | PASS | 1.5807
[7 empty] | 28 | 10 Rep | 12500 | 0.64088 | 8010.9383
|  | SRM 2710a |  |  |  |  | 40 | 20 | 12500 | 0.50942 | 6367.7718 |  | 97.17% | 85 to 115% | PASS | 2.8717
|  | Analyte | Mean IVBA | Acceptable IVBA Range |  | MARS 6 As (ppb) | 41 | 20 Rep | 12500 | 0.495 | 6187.4945
|  | Arsenic | 41% | 32.9-49.1% |  | **Will insert totals data here | 53 | 30 | 12500 | 0.054058 | 675.7312 |  | 100.8% | 85 to 115% | PASS | 0.75403
|  | Lead | 67.5% | 60.7-74.2% |  |  | 54 | 30 Rep | 12500 | 0.054468 | 680.8456 | MDL
[7 empty] | 66 | 40 | 12500 | 0.042928 | 536.6052 | LLOQ | 97.76% | 85 to 115% | PASS | 2.2685
[7 empty] | 67 | 40 Rep | 12500 | 0.041966 | 524.5689 | MDL
[7 empty] | 79 | 50 | 12500 | 0.034581 | 432.2567 |  | 98.17% | 85 to 115% | PASS | 1.8477
[7 empty] | 80 | 50 Rep | 12500 | 0.033947 | 424.3431 | MDL
[7 empty] | 92 | 60 | 12500 | 1.1622 | 14527.8827 |  | 103.1% | 85 to 115% | PASS | 3.0201
[7 empty] | 93 | 60 Rep | 12500 | 1.1979 | 14973.3714
[7 empty] | 100 | 65 | 12500 | 5.7367 | 71708.68 |  | 98.66% | 85 to 115% | PASS | 1.3484
[7 empty] | 101 | 65 Rep | 12500 | 5.6599 | 70748.2042
[7 empty] | Occurrence | ICV (%) | Flags | ICB | Flags | CCV (%) | Flags | CCB | Flags
[7 empty] | 1 | 102.4% |  | 0.0072895 |  | 103% |  | 0.0070327
[7 empty] | 2 |  |  |  |  | 102.5% |  | 0.0053728
[7 empty] | 3 |  |  |  |  | 102.9% |  | 0.0069303
[7 empty] | 4 |  |  |  |  | 102.1% |  | 0.0081384
[7 empty] | 5 |  |  |  |  | 103% |  | 0.0061749
[7 empty] | 6 |  |  |  |  | 102.8% |  | 0.010211
[7 empty] | 7 |  |  |  |  | 101.5% |  | 0.011708
[7 empty] | 8 |  |  |  |  | 0% |  | 0
[7 empty] | Occurrence | Calibration Verifications | [As] ppb |  |  | Calibration Stds. | Target [As] (Observed)
[7 empty] | 1 | ICV | 10.2399 |  |  | Cal 1 | 0.106 (0.100)
[8 empty] | ICB | 0.0072895 |  |  | Cal 2 | 1.052 (1.000)
[7 empty] | 1 | CCV | 10.3039 |  |  | Cal 3 | 10.217 (10.000)
[8 empty] | CCB | 0.0070327 |  |  | Cal 4 | 51.100 (50.000)
[7 empty] | 2 | CCV | 10.2535 |  |  | Cal 5 | 100.664 (100.000)
[8 empty] | CCB | 0.0053728 |  |  | Cal 6 | 999.876 (1,000.000)
[7 empty] | 3 | CCV | 10.2867
[8 empty] | CCB | 0.0069303
[7 empty] | 4 | CCV | 10.2051
[8 empty] | CCB | 0.0081384
[7 empty] | 5 | CCV | 10.3016
[8 empty] | CCB | 0.0061749
[7 empty] | 6 | CCV | 10.2793
[8 empty] | CCB | 0.010211
[7 empty] | 7 | CCV | 10.1463
[8 empty] | CCB | 0.011708

## Fe-15 Pb
|  | Fe-15 |  |  |  | Quality Control Sample Results
|  | MDL1 (ppb) | 0.003 |  |  | Blank | Sample | [Pb]
|  | LLOQ2 (ppb) | 0.05 |  |  | Index Number | ID | ppm
|  | Sample ID | [Pb] (ug/g) | Standard Deviation |  | 20 | B574-10 | 0.001
| Fe-15 | Tray B B1 | 3187.2658 | 61.5231 |  | 38 | B575-10 | 0.0028
|  | Tray C PR1 | 3423.8095 | 127.9527 |  | 52 | B578-8 | 0.0014
|  | Tray C PR2 | 769.0411 | 0.39491 |  | 59 | Fe15-1 | 0.0008
|  | Tray C PR3 | 2976.7891 | 25.8984 |  | 60 | Fe15-2 | 0
|  | Tray C PR4 | 791.8599 | 13.6668
|  | Tray C Sand cont PR | 825.9278 | 27.9822 |  | Blank Spike | Sample | Dilution | Raw [Pb] | DF Corrected[Pb] | Recovery
|  | CaO #1 | 4.68 | 0.62225 |  | Index Number | ID | Factor | ppm | ppm | %
| 1MDL calculated as the standard deviation of 8 low Pb dust replicates multiplied by 3.14. Refers to instrument raw values. |  |  |  |  | 24 | B574-11 | 5.0505 | 0.3779 | 1.9086 | 95.43%
| 2LLOQ was successfully verified at 1.0 ppb Pb. Refers to instrument raw values. |  |  |  |  | 40 | B575-11 | 5.0505 | 0.3831 | 1.9348 | 96.74%
[6 empty] | 53 | B578-9 | 10.101 | 0.1919 | 1.9384 | 96.92%
[6 empty] | 61 | Fe15-3 | 20 | 0.2595 | 5.19 | 103.8%
#REF! | [5 empty] | 62 | Fe15-4 | 20 | 0.2626 | 5.252 | 105%
#REF! | Spike and SRM As Concentrations
#REF! | Blank Spike | SRM 2710a | SRM 2583 | SoFC-1 | Matrix Spike | Unprocessed Blank | Sample | [Pb]
#REF! | ppm | ppm (ug Pb/g SRM) | ppm (ug Pb/g SRM) | ppm (ug Pb/g SRM) | ppm | Index Number | ID | ppm
#REF! | 5 | 5100 | 85.9 | 6262 | 0.25 | 25 | B574-12 | -0.0001
#REF! | 2 | 5100 | 85.9 | 6262 | 2 | 41 | B575-12 | 0.0005
#REF! | [5 empty] | 54 | B578-10 | 0.0005
#REF!
#REF! | [5 empty] | Matrix Spike | Sample | [Pb] original | [Pb] spike | Recovery | Mean
#REF! | [5 empty] | Index Number | ID | ppm | ppm | %
#REF! | [5 empty] | 26 | B574-13 | 0.5297 | 2.414 | 95.43% | 95.7%
#REF! | [5 empty] | 42 | B575-13 | 0.3768 | 2.265 | 95.3%
#REF! | [5 empty] | 56 | B578-11 | 0.2164 | 2.136 | 96.37%
#REF!
#REF! | [5 empty] | Matrix Spike | Sample | Volume (L) | [Pb] (ppm) | Expected Mass (mg) | Measured Pb Mass (mg) | Recovery | Mean
#REF! | [5 empty] | Index Number | ID | ppm | ppm | % |  | %
#REF! | [5 empty] | 26 | B574-13 | 0.004 | 87.34 | 0.34676 | 0.34936 | 100.7% | 99.94%
#REF! | [5 empty] | 27 | B575-1 | 0.004 | 24.78 | 0.09998 | 0.09912 | 99.14%
[6 empty] | SRM | Sample | Dilution | Raw [Pb] | DF Corrected[Pb] | SRM Mass | Volume | Pb mass | [Pb] | Certified Recovery
[6 empty] | Index Number | ID | Factor | ppm | ppm | g | L | mg | mg/kg | %
Totals | [5 empty] | 19 | B574-9 | 10.101 | 2.953 | 29.8283 | 0.5 | 0.05 | 1.4914 | 2982.8283 | 58.49%
IVBA | [5 empty] | 37 | B575-9 | 10.101 | 2.995 | 30.2525 | 0.501 | 0.05 | 1.5126 | 3019.2141 | 59.2%
[6 empty] | 51 | B578-7 | 10.101 | 2.946 | 29.7576 | 0.494 | 0.05 | 1.4879 | 3011.9004 | 59.06%
[6 empty] | 65 | Fe15-7 | 20 | 0.1095 | 2.19 | 0.102 | 0.004 | 0.00876 | 85.8824 | 99.98%
[6 empty] | 66 | Fe15-8 | 40 | 3.627 | 145.08 | 0.103 | 0.004 | 0.58032 | 5634.1748 | 110.5%
[6 empty] | Occurrence | ICV (%) | Flags | ICB | Flags | CCV (%) | Flags | CCB | Flags
[6 empty] | 1 | 99.31% |  | -0.0005 |  | 100.7% |  | 0.0003
[6 empty] | 2 |  |  |  |  | 100.8% |  | 0.0012
[6 empty] | 3 |  |  |  |  | 101.4% |  | 0.0008
[6 empty] | 4 |  |  |  |  | 102.6% |  | 0.0006
[6 empty] | 5 |  |  |  |  | 102.6% |  | 0
[6 empty] | Occurrence | Calibration Verifications | [Pb] ppm |  |  | Calibration Stds. | Target [Pb] (Observed) | Correlation: | 0.99998
[6 empty] | 1 | ICV | 0.9931 |  |  | Cal 1 | -2.6072e-07
[7 empty] | ICB | -0.0005 |  |  | Cal 2 | 0.10083
[6 empty] | 1 | CCV | 1.007 |  |  | Cal 3 | 0.49371
[7 empty] | CCB | 0.0003 |  |  | Cal 4 | 0.99906
[6 empty] | 2 | CCV | 1.008 |  |  | Cal 5 | 2.0218
[7 empty] | CCB | 0.0012 |  |  | Cal 6 | 4.9846
[6 empty] | 3 | CCV | 1.014
[7 empty] | CCB | 0.0008
[6 empty] | 4 | CCV | 1.026
[7 empty] | CCB | 0.0006
[6 empty] | 5 | CCV | 1.026
[7 empty] | CCB | 0
[6 empty] | 6 | CCV | 1.027
[7 empty] | CCB | 0.0001
[6 empty] | 7 | CCV | 1.018
[7 empty] | CCB | -0.0004
[6 empty] | 8 | CCV | 1.024
[7 empty] | CCB | 0.0002

## Fe-15 As
| Fe-15 |  |  |  |  | Quality Control Sample Results
| MDL1 (ppb) | 0.0043 |  |  |  | Blank | Sample | [As]
| LLOQ2 (ppb) | 0.05 |  |  |  | Index Number | ID | ppm
| Sample ID | [As] (ug/g) | Standard Deviation |  |  | 20 | B574-10 | 0.0097
Fe-15 | Tray C C1 | 288.6809 | 2.0831 |  |  | 38 | B575-10 | 0.0101
| Tray D PR1 | 299.3119 | 6.2836 |  |  | 52 | B578-8 | -0.0013
| Tray D PR2 | 6.0416 | 0.4629 |  |  | 59 | Fe15-1 | -0.0036
| Tray D PR3 | 289.1537 | 0.44639 |  |  | 60 | Fe15-2 | -0.003
| Tray D PR4 | 7.1787 | 0.94598
| Tray D Sand cont PR | 6.4877 | 4.8324 |  |  | Blank Spike | Sample | Dilution | Raw [As] | DF Corrected[As] | Recovery
| CaO #1 | -3.2 | 1.6971 |  |  | Index Number | ID | Factor | ppm | ppm | %
[6 empty] | 24 | B574-11 | 5.0505 | 1.823 | 9.2071 | 92.07%
| Spike and SRM As Concentrations |  |  |  |  | 40 | B575-11 | 5.0505 | 1.872 | 9.4545 | 94.55%
| Blank Spike | SRM 2710a | SRM 2583 | SoFC-1 | Matrix Spike | 53 | B578-9 | 10.101 | 0.8952 | 9.0424 | 90.42%
| ppb | ppm (ug As/g SRM) | ppm (ug As/g SRM) | ppm (ug As/g SRM) | ppm | 61 | Fe15-3 | 20 | 0.2381 | 4.762 | 95.24%
Totals | 5 | 1300 | 7 | 640 | NA | 62 | Fe15-4 | 20 | 0.2403 | 4.806 | 96.12%
IVBA | 10 | 1300 | 7 | 640 | NA
[6 empty] | Unprocessed Blank | Sample | [As]
[6 empty] | Index Number | ID | ppm
[6 empty] | 25 | B574-12 | 0.0102
[6 empty] | 41 | B575-12 | 0.0116
[6 empty] | 54 | B578-10 | -0.0017
[6 empty] | Matrix Spike | Sample | [As] original | [As] spike | Recovery | Mean
[6 empty] | Index Number | ID | ppm | ppm | %
[6 empty] | 26 | B574-13 | 0.5297 | 2.414 | 95.43% | 95.7%
[6 empty] | 42 | B575-13 | 0.3768 | 2.265 | 95.3%
[6 empty] | 56 | B578-11 | 0.2164 | 2.136 | 96.37%
[6 empty] | Matrix Spike | Sample | Volume (L) | [As] (ppm) | Expected Mass (mg) | Measured As Mass (mg) | Recovery | Mean
[6 empty] | Index Number | ID | ppm | ppm | % |  | %
[6 empty] | 26 | B574-13 | 0.004 | 87.34 | 0.34676 | 0.34936 | 100.7% | 99.94%
[6 empty] | 27 | B575-1 | 0.004 | 24.78 | 0.09998 | 0.09912 | 99.14%
[6 empty] | SRM | Sample | Dilution | Raw [As] | DF Corrected[As] | SRM Mass | Volume | As mass | [As] | Certified Recovery
[6 empty] | Index Number | ID | Factor | ppm | ppm | g | L | mg | mg/kg | %
[6 empty] | 19 | B574-9 | 10.101 | 0.5123 | 5.1747 | 0.5 | 0.05 | 0.25874 | 517.4747 | 39.81%
[6 empty] | 37 | B575-9 | 10.101 | 0.5249 | 5.302 | 0.501 | 0.05 | 0.2651 | 529.1437 | 40.7%
[6 empty] | 51 | B578-7 | 10.101 | 0.5095 | 5.1465 | 0.494 | 0.05 | 0.25732 | 520.8972 | 40.07%
[6 empty] | 65 | Fe15-7 | 20 | 0.0095 | 0.19 | 0.102 | 0.004 | 0.00076 | 7.451 | 106.4%
[6 empty] | 66 | Fe15-8 | 40 | 0.9723 | 38.892 | 0.103 | 0.004 | 0.15557 | 1510.3689 | 116.2%
[6 empty] | Occurrence | ICV (%) | Flags | ICB | Flags | CCV (%) | Flags | CCB | Flags
[6 empty] | 1 | 95.59% |  | -0.0029 |  | 96.89% |  | 0.0029
[6 empty] | 2 |  |  |  |  | 96.65% |  | 0.0022
[6 empty] | 3 |  |  |  |  | 98.21% |  | -0.0018
[6 empty] | 4 |  |  |  |  | 96.97% |  | -0.0023
[6 empty] | 5 |  |  |  |  | 95.27% |  | -0.0026
[6 empty] | 6 |  |  |  |  | 94.26% |  | -0.0028
[6 empty] | 7 |  |  |  |  | 95.91% |  | 0.0023
[6 empty] | 8 |  |  |  |  | 96.75% |  | 0.0026
[6 empty] | Occurrence | Calibration Verifications | [As] ppm |  |  | Calibration Stds. | Target [As] (Observed) | Correlation: | 0.99973
[6 empty] | 1 | ICV | 0.9559 |  |  | Cal 1 | 1.6525e-05
[7 empty] | ICB | -0.0029 |  |  | Cal 2 | 0.090891
[6 empty] | 1 | CCV | 0.9689 |  |  | Cal 3 | 0.47481
[7 empty] | CCB | 0.0029 |  |  | Cal 4 | 0.96539
[6 empty] | 2 | CCV | 0.9665 |  |  | Cal 5 | 1.9902
[7 empty] | CCB | 0.0022 |  |  | Cal 6 | 5.0787
[6 empty] | 3 | CCV | 0.9821
[7 empty] | CCB | -0.0018
[6 empty] | 4 | CCV | 0.9697
[7 empty] | CCB | -0.0023
[6 empty] | 5 | CCV | 0.9527
[7 empty] | CCB | -0.0026
[6 empty] | 6 | CCV | 0.9426
[7 empty] | CCB | -0.0028
[6 empty] | 7 | CCV | 0.9591
[7 empty] | CCB | 0.0023
[6 empty] | 8 | CCV | 0.9675
[7 empty] | CCB | 0.0026

## Pb IVBA
B544-545
|  | Sample ID | [Pb] (mg/kg) | SD
|  | MDL1 (ppm) | 0.003
|  | LLOQ2 (ppm) | 0.05
| B544 | B1 | 189.9189 | 6.7183
|  | B3 | 223.6245 | 3.4486
|  | B5 | 1830.8299 | 15.4731
|  | B11 | 67.7802 | 1.7821
| B545 | B13 | 45.7445 | 1.2436
|  | B15 | 538.3075 | 14.0451
LLOQ |  | B25 | 3.3557 | 0.6826
B551-555
|  | Sample ID | [Pb] (mg/kg) | SD
|  | MDL1 (ppm) | 0.003
|  | LLOQ2 (ppm) | 0.05
| 555 | B6 | 215.373 | 2.5005
|  | B8 | 118.42 | 8.0076
|  | B16 | 96.3242 | 12.8158
|  | B18 | 71.9998 | 1.1268
B556-558
|  | Sample ID | [Pb] (mg/kg) | SD
|  | MDL1 (ppm) | 0.003
|  | LLOQ2 (ppm) | 0.05
| B556 | C1 | 217.6202 | 0.97852
|  | C3 | 154.0404 | 1.5713
|  | C5 | 1788.3704 | 6.5907
|  | C11 | 173.1651 | 0.80929
| B557 | C12 | 204.0254 | 0.034115
|  | C21 | 116.2859 | 2.8584
|  | C23 | 63.6197 | 8.2439
|  | C25 | 538.6022 | 3.8315
| B558 | C31 | 91.6422 | 1.872
|  | C32 | 83.3742 | 3.942
|  | C40 | 0.71402 | 0.43608
B576
|  | Sample ID | [Pb] (mg/kg) | SD
|  | MDL1 (ppm) | 0.003
|  | LLOQ2 (ppm) | 0.05
| B576 | Veg + Stability C12 | 179.6651 | 2.9594
|  | Veg + Stability C32 | 52.7062 | 1.4767
B577
|  | Sample ID | [Pb] (mg/kg) | SD
|  | MDL1 (ppm) | 0.003
|  | LLOQ2 (ppm) | 0.05
| B577 | Stabilty C3 | 146.3665 | 0.67056
|  | Stabilty C5 | 2169.1713 | 14.5779
|  | Stabilty C11 | 184.6291 | 0.59716

## As IVBA
B544-545 rerun
|  | Sample ID | [As] (mg/kg) | SD
|  | MDL1 (ppm) | 0.0043239
|  | LLOQ2 (ppm) | 0.05
| B544 | B1 | 64.819 | 2.3867
|  | B3 | 56.3969 | 0.578
|  | B5 | 110.6439 | 0.41841
LLOQ |  | B11 | 3.7258 | 0.19787
LLOQ | B545 | B13 | 3.8219 | 0.41529
LLOQ |  | B15 | 5.8629 | 0.33136
LLOQ |  | B25 | 4.3898 | 0.29162
B551-555
LLOQ |  | Sample ID | [As] (mg/kg) | SD
|  | MDL1 (ppm) | 0.0043239
|  | LLOQ2 (ppm) | 0.05
| 555 | B6 | 69.3244 | 1.0338
|  | B8 | 37.6187 | 1.3717
|  | B16 | 7.8814 | 0.04423
|  | B18 | 6.217 | 3.1383
B556-558
|  | Sample ID | [As] (mg/kg) | SD
|  | MDL1 (ppm) | 0.0043239
|  | LLOQ2 (ppm) | 1
| B556 | C1 | 69.567 | 1.4849
|  | C3 | 63.5694 | 1.4924
|  | C5 | 95.1395 | 0.16734
|  | C11 | 62.2617 | 0.35362
| B557 | C12 | 75.9931 | 1.9968
|  | C21 | 4.0836 | 0.69876
|  | C23 | 4.573 | 1.066
|  | C25 | 7.5167 | 3.1569
| B558 | C31 | 3.7487 | 0.57313
|  | C32 | 3.6606 | 0.3443
|  | C40 | 2.9304 | 2.7056
B576
|  | Sample ID | [As] (mg/kg) | SD
|  | MDL1 (ppm) | 0.0043239
|  | LLOQ2 (ppm) | 0.05
| B576 | Veg + Stability C12 | 75.7587 | 1.5667
|  | Veg + Stability C32 | 4.6962 | 0.25913
B577
|  | Sample ID | [As] (mg/kg) | SD
|  | MDL1 (ppm) | 0.0043239
|  | LLOQ2 (ppm) | 0.05
| B577 | Stabilty C3 | 74.6002 | 0.99013
|  | Stabilty C5 | 120.5035 | 1.0877
|  | Stabilty C11 | 72.8672 | 6.1466