## AF
~TFM_INS
TimeSlice | LimType | Attribute | Year | R0 | R1 | R2 | R3 | R4 | R5 | R6 | Pset_Set | Pset_PN | Pset_PD | PSET_CI | PSET_CO | Cset_Set | Cset_CN | Cset_CD
SN |  | NCAP_AF | [9 empty] | ENGACC11
IN |  | NCAP_AF | [9 empty] | ENGACC11
WN |  | NCAP_AF | [9 empty] | ENGACC11
SDAM |  | NCAP_AF | [9 empty] | ENGACC11
IDAM |  | NCAP_AF | [9 empty] | ENGACC11
WDAM |  | NCAP_AF | [9 empty] | ENGACC11
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC11
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC11
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC11
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC11
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC11
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC11
SN |  | NCAP_AF | [9 empty] | ENGACC15
IN |  | NCAP_AF | [9 empty] | ENGACC15
WN |  | NCAP_AF | [9 empty] | ENGACC15
SDAM |  | NCAP_AF | [9 empty] | ENGACC15
IDAM |  | NCAP_AF | [9 empty] | ENGACC15
WDAM |  | NCAP_AF | [9 empty] | ENGACC15
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC15
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC15
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC15
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC15
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC15
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC15
SN |  | NCAP_AF | [9 empty] | ENGACC20
IN |  | NCAP_AF | [9 empty] | ENGACC20
WN |  | NCAP_AF | [9 empty] | ENGACC20
SDAM |  | NCAP_AF | [9 empty] | ENGACC20
IDAM |  | NCAP_AF | [9 empty] | ENGACC20
WDAM |  | NCAP_AF | [9 empty] | ENGACC20
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC20
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC20
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC20
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC20
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC20
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACC20
SN |  | NCAP_AF | [9 empty] | ENGAACC20
IN |  | NCAP_AF | [9 empty] | ENGAACC20
WN |  | NCAP_AF | [9 empty] | ENGAACC20
SDAM |  | NCAP_AF | [9 empty] | ENGAACC20
IDAM |  | NCAP_AF | [9 empty] | ENGAACC20
WDAM |  | NCAP_AF | [9 empty] | ENGAACC20
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACC20
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACC20
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACC20
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACC20
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACC20
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACC20
SN |  | NCAP_AF | [9 empty] | ENGACT11
IN |  | NCAP_AF | [9 empty] | ENGACT11
WN |  | NCAP_AF | [9 empty] | ENGACT11
SDAM |  | NCAP_AF | [9 empty] | ENGACT11
IDAM |  | NCAP_AF | [9 empty] | ENGACT11
WDAM |  | NCAP_AF | [9 empty] | ENGACT11
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT11
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT11
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT11
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT11
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT11
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT11
SN |  | NCAP_AF | [9 empty] | ENGACT15
IN |  | NCAP_AF | [9 empty] | ENGACT15
WN |  | NCAP_AF | [9 empty] | ENGACT15
SDAM |  | NCAP_AF | [9 empty] | ENGACT15
IDAM |  | NCAP_AF | [9 empty] | ENGACT15
WDAM |  | NCAP_AF | [9 empty] | ENGACT15
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT15
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT15
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT15
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT15
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT15
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT15
SN |  | NCAP_AF | [9 empty] | ENGACT20
IN |  | NCAP_AF | [9 empty] | ENGACT20
WN |  | NCAP_AF | [9 empty] | ENGACT20
SDAM |  | NCAP_AF | [9 empty] | ENGACT20
IDAM |  | NCAP_AF | [9 empty] | ENGACT20
WDAM |  | NCAP_AF | [9 empty] | ENGACT20
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT20
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT20
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT20
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT20
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT20
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGACT20
SN |  | NCAP_AF | [9 empty] | ENGAACT20
IN |  | NCAP_AF | [9 empty] | ENGAACT20
WN |  | NCAP_AF | [9 empty] | ENGAACT20
SDAM |  | NCAP_AF | [9 empty] | ENGAACT20
IDAM |  | NCAP_AF | [9 empty] | ENGAACT20
WDAM |  | NCAP_AF | [9 empty] | ENGAACT20
SP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACT20
IP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACT20
WP |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACT20
SDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACT20
IDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACT20
WDPM |  | NCAP_AF |  |  |  | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 |  | ENGAACT20

## TechSelection
~TFM_AVA
PSET_SET | PSET_PN | PSET_PD | PSET_CO | PSET_CI | R0 | R1 | R2 | R3 | R4 | R5 | R6
| ECSTMRBONR11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ECSTMRSONR11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ECSTMRLONR11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ECOALSTM15 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENGACC11 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ENGACC15 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ENGACC20 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ENGAACC20 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ENGACT11 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ENGACT15 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ENGACT20 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ENGAACT20 |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| SSTO* |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ESTO* |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ECOALIGCC20 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EBIOIGCC25 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EGEOBCFS11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EGEOEGS25 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EURNALWR15 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ECHP* |  |  |  | 0 | 1 | 1 | 1 | 1 | 1 | 1
| ECHPBIO11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ESOLPVC* |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ESOLPVCOM* |  |  |  | 0 | 0 | 1 | 1 | 1 | 1 | 1
| ESOLPVRES* |  |  |  | 0 | 0 | 1 | 1 | 1 | 1 | 1
| ESOLPVC2A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC2B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC2C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC2D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC2E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC3A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC3B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC3C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC3D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC3E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC4A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC4B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC4C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC4D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLPVC4E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ESOLSTCN* |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EWND* |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| EWNDON1A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDR211 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON1B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON1C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON1D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON1E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON2A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON2B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON2C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON2D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON2E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON3A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON3B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON3C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON3D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON3E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON4A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON4B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON4C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON4D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON4E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON5A11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON5B11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON5C11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON5D11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDON5E11 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS1A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS1B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS1C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS1D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS1E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS2A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS2B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS2C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS2D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS2E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS3A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS3B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS3C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS3D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS3E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS4A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS4B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS4C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS4D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS4E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS5A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS5B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS5C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS5D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFS5E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD1A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD1B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD1C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD1D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD1E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD2A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD2B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD2C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD2D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD2E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD3A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD3B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD3C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD3D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD3E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD4A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD4B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD4C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD4D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD4E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD5A15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD5B15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD5C15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD5D15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EWNDOFD5E15 |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| SHYD* |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| EHYD* |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ECSTMR* |  |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
| ECSTMRBO8O11 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0

## KeyAssumptions
Hurdle rate modifiers
For resids and new |  |  |  | New | Existing | CO2 capture | Start year | Application of hurdle rate increments?
| AF | Peak (con) | Discrate | Lifetime | Lifetime | Rate |  | High CO2? | New/unproven? | Combo new/unproven? | Infrastructure? | Public/private hesitency? |  | Base value |  |  | 0.1
Coal boilers | 0.85 | 0.95 | 0.2 | 40 | 50 |  |  | 1
Coal life extension |  |  | 0.05 | 50 |  |  | 50 yr lifetime selected via calibration | [9 empty] | Incremental
Gas boilers | 0.9 | 0.95 | 0.15 | 40 | 50 |  |  | 0.5 | [5 empty] | Factors impacting hurdle rate |  |  | Penalty
Gas & oil turbines | 0.9 | 0.95 | 0.1125 | 30 | 50 |  |  | 0.5 | [5 empty] | High CO2 emissions |  |  | 0.1
Wood boilers | 0.9 | 0.9 | 0.1 | 30 | 40 | [8 empty] | New or unproven technology |  |  | 0.1
Geothermal | 0.9 | 0.9 | 0.1 | 30 | 40 | [8 empty] | Combo of new/unproven techs |  |  | 0.1
Hydro |  | 0.95 | 0.1 | 50 | 120 | [8 empty] | Additional infrastructure needed |  |  | 0.025
Reversible hydro |  |  | 0.1 | 40 | 40 | [8 empty] | Public/private hesitency associated with risk |  |  | 0.15
Nuclear | 0.9 | 0.95 | 0.25 | 30 | 50 | [6 empty] | 1
40-yr Nuclear life extension |  |  | 0.1 | 30 | 40
Solar PV |  | 0.5 | 0.1 | 30 | 30
Solar Thermal | 0.5 | 0.75 | 0.1 | 30 | 30
Wind |  | 0.55 | 0.1 | 30 | 30
MSW & LFG | 0.9 | 0.25 | 0.1 | 30 | 30
CHP | 0.9 | 0.95 | 0.125 | 30 | 40 | [5 empty] | 1
Coal CCS retrofit |  |  | 0.2 | 30 |  | 0.9 | 2020 |  | 1
Gas CCS retrofit |  |  | 0.2 | 30 |  | 0.85 | 2025 |  | 1
IGCC-CCS | 0.9 | 0.9 | 0.3 | 30 |  | 0.9 | 2025 |  | 1 | 1
NGA-CCS | 0.9 | 0.9 | 0.2 | 30 |  | 0.85 | 2025 |  | 1
IGCC |  |  | 0.2 | 30 |  |  | 2020 |  | 1
BioIGCC |  |  | 0.2 | 30 |  |  | 2025 |  | 1
BioIGCC-CCS | 0.85 | 0.85 | 0.3 | 30 |  | 0.85 | 2030 |  | 1 | 1
Other coal egu retrofits |  |  | 0.1 | 30
|  | Fraction | Orig value
Cost multiplier for retrofit CCS |  | 1.25 | 1.1
High value to reflect uncertainties in both biomass gasification tech development and ccs,
as well as public concern regarding nuclear power
Efficiency improvement from 2005 |  | Fraction | Orig value
Coal lifetime extension |  | 1.04 | 1.05
Nuclear Capacity improvement (fraction/yr)
Annual cap increase: |  | Value | Orig value
| Period 1 | 0.005 | 0.005
| Period 2 | 0.007 | 0.007
Storage requirements |  | Fraction | Orig value
GW storage for GW variable renewable |  | 0.14 | 0.14
Maximum regional electricity production from |  | Fraction | Orig value
variable renewables |  | 0.5 | 0.5
|  | Fraction | Orig value
Minimum generation from NGA-CT |  | 0.005 | 0.005 | 2016 fraction CCT of total electricity production in IPM clean power plan run
Coal retirements based on:
Value (CAP or ACT) | Orig value
ACT | ACT | If based on capacity, this means total capacity can never increase, but utilization of capacity can. If based on activity, the overall output can never increase from one time period to another. Based on the construction of this workbook, "ACT" is highly recommended.
Nuclear retirements based on:
Value (CAP or ACT) | Orig value
CAP | CAP | If based on capacity, this means total capacity can never increase from one time step to another, but utilization of capacity can. If based on activity, the overall output can never increase. "CAP" is highly recommended based on the setup of this workbook.
Heat Efficiency Improvement on Residual Coal
2020 | 1 | 1 | multiplier
2025 | 1 | 1 | multiplier
Start year for NGAACC | 2020 | 2020
Start year for NGAACT | 2020 | 2020
Retirement delay for Resid gas | 0 | 0
Minimum resid coal AF
Coal | 0.65 | If used less than this fraction, model likely will elect to retire.
Reverse Hydro AF assumptions
Parameter | Value | Orig value
AF-Peak | 0.9 | 0.9
AF-DPM | 0.18775 | 0.18775
AF-Other | 0 | 0
Nuclear life extention cost
Value | Operating-based | Fractional | New
451.1609 | 451.1609 | 624.6396 | 4164.2637
| Fraction | 0.15
Relax regional generation constraints using this multiplier (to allow some flexibility due to data coming from various soures)
Note: 2015 national generation from coal and gas are fixed at levels from the IPM Clean Power Plan baseline run
Relaxation
| 2005 | 2005 | 2010 | 2010 | 2015 | 2015 | 2015 | 2020 | 2020-2055 | 2020-2055 |  |  | 2005 | 2005 | 2010 | 2010 | 2015 | 2015 | 2015 | 2020 | 2020-2055 | 2020-2055
| Low | High | Low | High | Low | High | FX | Low | FX | High |  |  | Low | High | Low | High | Low | High | FX | Low | FX | High
PET | 0.33 | 0.1 |  |  |  |  | 0.5 |  | 0.9 |  |  | PET | 0.33 | 0.1 |  |  |  |  | 0.5 |  | 0.9
Coal | 0.025 | 0.025 | 0.05 | 0.05 | 0.05 | 0.05 |  | 0.33 |  |  |  | Coal | 0.025 | 0.025 | 0.05 | 0.05 | 0.15 | 0.15 |  | 0.33
Nat Gas | 0.05 | 0.1 | 0.05 | 0.1 | 0.15 | 0.25 |  | 0.25 |  |  |  | Nat Gas | 0.05 | 0.1 | 0.05 | 0.1 | 0.15 | 0.25 |  | 0.25
Hydro | 0.05 | 0.05 | 0.1 | 0.1 | 0.15 | 0.15 | [5 empty] | Hydro | 0.05 | 0.05 | 0.1 | 0.1 | 0.15 | 0.15
Nuclear | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 |  | 0.25 |  | 0 |  | Nuclear | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 |  | 0.25 |  | 0
Wind |  |  | 0.02 | 0.02 | 0.05 | 0.25 | [5 empty] | Wind |  |  | 0.05 | 0.05 | 0.1 | 0.1
Solar |  |  |  |  | 0.05 | 0.25 | [5 empty] | Solar |  |  |  |  | 0.1 | 0.1
Yellow cells are relative to historic. For 2015, historic value is 2014
Green cells are relative to previous period
Note on F5: Dan Loughlin: 50-yr selected because it works best in prior calibration efforts. To do: test 30-yr
Note on G10: Dan Loughlin: High enough to keep existing hydro around for entire modeling horizon. Eventually may want to consider lifetime extension model.
Note on E29: Dan Loughlin: Assumed value intended to capture the additional costs associated with construction of CCS retrofits at later stage in project.
Note on E37: Dan Loughlin: I believe these are based upon EIA assumptions. Verify.
Note on E43: Dan Loughlin: Obtained from NREL's Renewable Futures Report by analyzing annual storage capacity vs. renewable capacity.
Note on E47: Dan Loughlin: From NREL's Renewable Futures report. Assumed applicable at MARKAL regional level.