## Samples Log
Analysis of Filtered NaCl
Sample ID | Location | QA ID | Sampling date | Requested analyses
NaCl Filtered Residue | Sample 1 | Mine Tailings Sample |  | Total metals

## Raw ICP-OES Data
Inductively Coupled Plasma-Optical Emission Spectrometer (ICP-AES) Samples Review
Sequence Name: Valmont Fly Ash
Digested By: Trevor Henry on 8/29/2024 electronic Lab book K-LRTD-NB-2993¦ Analyzed By: Mahendranath Arambewela. The final volume of the digestion was 50 mL.
Chain of Custody: Not Received
Sample Preparation: Total metal samples were acid digested per SOP K-LRTD-SOP-1193-0 (based on EPA Method 3051)
Instrument: Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
Electronic data found at: L:\Priv\CtrHill\CSSB Applied Research\Spring River Watershed\Data Reports with QA
Analytical Method: ICP analysis per SOP K-LRTD-SOP-1185-1 (based on EPA Method 6010B)
Raw Data Sheets: US-EPA CHL Facility Lab 131 Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
| MDL (mg/L) | 0.0033255 | 0.0058173 | 0.0039661 | 0.014698 | 0.00021689 | 0.00018146 | 0.0043578 | 0.00030673 | 0.00052682 | 0.00043378 | 0.0011291 | 0.0018146 | 0.06237 | 0.0018657 | 0.0041414 | 0.00054005 | 0.000586 | 0.0021117 | 0.0011879 | 0.0053703 | 0.0028544 | 0.0052039 | 0.005726 | 0.0044954 | 0.0034087 | 0.00015336 | 0.00021689 | 0.0014565 | 0.00030673
| MRL (mg/L) | 0.033255 | 0.058173 | 0.039661 | 0.14698 | 0.0021689 | 0.0018146 | 0.043578 | 0.0030673 | 0.0052682 | 0.0043378 | 0.011291 | 0.018146 | 0.6237 | 0.018657 | 0.041414 | 0.0054005 | 0.00586 | 0.021117 | 0.011879 | 0.053703 | 0.028544 | 0.052039 | 0.05726 | 0.044954 | 0.034087 | 0.0015336 | 0.0021689 | 0.014565 | 0.0030673
Sample | Analysis time | Ag | Al | As | B | Ba | Be | Ca | Cd | Co | Cr | Cu | Fe | K | Li | Mg | Mn | Mo | Na | Ni | P | Pb | S | Sb | Se | Si | Sr | Ti | V | Zn
|  | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L
Total Metals after Acid Digestion
LiBs-Res-NaCl-1 | 2024-08-27 17:14 | 0.0007 | 1146.7787 | 0.0499 | 0.0036 | 0.0312 | -0.0003 | 7.8542 | -0.0055 | -0.0147 | 0.575 | 0.233 | 1621.8718 | 0.2226 | 3.7789 | 5.1951 | 3.1824 | 0.0531 | 958.6958 | 29.4626 | 21.8877 | 0.0522 | 8.6008 | 0.1031 | -0.0711 | 2.8392 | 0.152 | 0.4699 | 0.157 | 0.1463
LiBs-Res-NaCl-2 | 2024-08-27 17:16 | 0.0007 | 1188.9331 | 0.0427 | 0.0076 | 0.032 | -0.0003 | 7.8044 | -0.0011 | -0.0176 | 0.6005 | 0.2576 | 1681.8427 | 0.2027 | 3.9394 | 5.326 | 3.282 | 0.0501 | 888.6126 | 29.3164 | 22.77 | 0.0153 | 8.883 | 0.0933 | -0.0594 | 3.3003 | 0.1555 | 0.4903 | 0.1639 | 0.1718
LiBs-Res-NaCl-3 | 2024-08-27 17:19 | -0.0011 | 1115.0035 | 0.0403 | 0.0052 | 0.0308 | -0.0003 | 7.9841 | -0.0061 | -0.0191 | 0.5555 | 0.1809 | 1597.4987 | 0.2143 | 3.6294 | 5.1106 | 3.1487 | 0.0458 | 1000.941 | 28.095 | 20.9528 | 0.0119 | 8.3545 | 0.0999 | -0.079 | 2.5437 | 0.1518 | 0.4578 | 0.1606 | 0.1098
09032024_ICP-OES-TO 178-462 Data Report
Data taken from 10x dilution and normalized by multiplying by 10 | bar: Ag to B
Solution Label |  | Ag | Al | As | B | Ba | Be | Ca | Cd | Co | Cr | Cu | Fe | K | Li | Mg | Mn | Mo | Na | Ni | P | Pb | S | Sb | Se | Si | Sr | Ti | V | Zn
Lowest Cal Std |  | 0.01 | 0.05 | 0.01 | 0.01 | 0.01 | 0.05 | 0.05 | 0.01 | 0.01 | 0.01 | 0.01 | 0.05 | 0.1 | 0.05 | 0.05 | 0.01 | 0.01 | 0.05 | 0.01 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01 | 0.05 | 0.01 | 0.01 | 0.01 | 0.05
Highest Cal Std |  | 20 | 200 | 20 | 20 | 20 | 20 | 2000 | 20 | 20 | 20 | 100 | 1000 | 100 | 100 | 2000 | 20 | 20 | 100 | 20 | 200 | 200 | 200 | 20 | 20 | 100 | 20 | 20 | 20 | 100
Correlation |  | 0.99999 | 0.99996 | 1 | 1 | 0.99999 | 0.9999 | 0.99889 | 0.99999 | 0.99997 | 0.99994 | 0.99994 | 0.99996 | 0.99999 | 0.99999 | 0.99953 | 1 | 0.99999 | 0.99999 | 0.99996 | 0.99977 | 0.99812 | 0.99972 | 0.99999 | 1 | 0.99939 | 0.99991 | 0.9998 | 1 | 0.99993
ICP-OES MDL |  | 0.0033255 | 0.0058173 | 0.0039661 | 0.014698 | 0.00021689 | 0.00018146 | 0.0043578 | 0.00030673 | 0.00052682 | 0.00043378 | 0.0011291 | 0.0018146 | 0.06237 | 0.0018657 | 0.0041414 | 0.00054005 | 0.000586 | 0.0021117 | 0.0011879 | 0.0053703 | 0.0028544 | 0.0052039 | 0.005726 | 0.0044954 | 0.0034087 | 0.00015336 | 0.00021689 | 0.0014565 | 0.00030673
ICP-OES MRL |  | 0.033255 | 0.058173 | 0.039661 | 0.14698 | 0.0021689 | 0.0018146 | 0.043578 | 0.0030673 | 0.0052682 | 0.0043378 | 0.011291 | 0.018146 | 0.6237 | 0.018657 | 0.041414 | 0.0054005 | 0.00586 | 0.021117 | 0.011879 | 0.053703 | 0.028544 | 0.052039 | 0.05726 | 0.044954 | 0.034087 | 0.0015336 | 0.0021689 | 0.014565 | 0.0030673

## ICP-OES Total Metals
Inductively Coupled Plasma-Optical Emission Spectrometer (ICP-AES) Samples Review
Sequence Name: Valmont Fly Ash
Digested By: Trevor Henry on 8/29/2024 electronic Lab book K-LRTD-NB-2993¦ Analyzed By: Mahendranath Arambewela. The final volume of the digestion was 50 mL.
Chain of Custody: Not Received
Sample Preparation: Total metal samples were acid digested per SOP K-LRTD-SOP-1193-0 (based on EPA Method 3051)
Instrument: Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
Electronic data found at: L:\Priv\CtrHill\CSSB Applied Research\Spring River Watershed\Data Reports with QA
Analytical Method: ICP analysis per SOP K-LRTD-SOP-1185-1 (based on EPA Method 6010B)
Raw Data Sheets: US-EPA CHL Facility Lab 131 Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
| MDL (mg/L) | 0.0033255 | 0.0058173 | 0.0039661 | 0.014698 | 0.00021689 | 0.00018146 | 0.0043578 | 0.00030673 | 0.00052682 | 0.00043378 | 0.0011291 | 0.0018146 | 0.06237 | 0.0018657 | 0.0041414 | 0.00054005 | 0.000586 | 0.0021117 | 0.0011879 | 0.0053703 | 0.0028544 | 0.0052039 | 0.005726 | 0.0044954 | 0.0034087 | 0.00015336 | 0.00021689 | 0.0014565 | 0.00030673
| MRL (mg/L) | 0.033255 | 0.058173 | 0.039661 | 0.14698 | 0.0021689 | 0.0018146 | 0.043578 | 0.0030673 | 0.0052682 | 0.0043378 | 0.011291 | 0.018146 | 0.6237 | 0.018657 | 0.041414 | 0.0054005 | 0.00586 | 0.021117 | 0.011879 | 0.053703 | 0.028544 | 0.052039 | 0.05726 | 0.044954 | 0.034087 | 0.0015336 | 0.0021689 | 0.014565 | 0.0030673
| MRL (mg/L) | <0.0333 | <0.0582 | <0.0397 | <0.147 | <0.0022 | <0.0018 | <0.0436 | <0.0031 | <0.0053 | <0.0043 | <0.0113 | <0.0181 | <0.6237 | <0.0187 | <0.0414 | <0.0054 | <0.0059 | <0.0211 | <0.0119 | <0.0537 | <0.0285 | <0.052 | <0.0573 | <0.045 | <0.0341 | <0.0015 | <0.0022 | <0.0146 | <0.0031
| MRL (mg/kg) | 3.3255 | 5.8173 | 3.9661 | 14.6982 | 0.21689 | 0.18146 | 4.3578 | 0.30673 | 0.52682 | 0.43378 | 1.1291 | 1.8146 | 62.3696 | 1.8657 | 4.1414 | 0.54005 | 0.586 | 2.1117 | 1.1879 | 5.3703 | 2.8544 | 5.2039 | 5.726 | 4.4954 | 3.4087 | 0.15336 | 0.21689 | 1.4565 | 0.30673
| MRL (mg/kg)1 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
*MRL (mg/L)1 is the new MRL after the addition of acid for Total Metal Samples*
Sample | Measured amount (g) | Ag | Al | As | B | Ba | Be | Ca | Cd | Co | Cr | Cu | Fe | K | Li | Mg | Mn | Mo | Na | Ni | P | Pb | S | Sb | Se | Si | Sr | Ti | V | Zn
|  | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
Total Metals after Acid Digestion
LiBs-Res-NaCl-1 | 0.5006 | <3.326 | 114540.4215 | 4.984 | <14.698 | 3.1163 | <0.2 | 784.4786 | <0.3 | <0.527 | 57.4311 | 23.2721 | 161992.7887 | 22.2333 | 377.4371 | 518.8873 | 317.8586 | 5.3036 | 95754.6744 | 2942.7287 | 2186.1466 | 5.2137 | 859.0491 | 10.2976 | <4.495 | 283.5797 | 15.1818 | 46.9337 | 15.6812 | 14.6125
LiBs-Res-NaCl-2 | 0.5003 | <3.326 | 118822.0168 | 4.2674 | <14.698 | 3.1981 | <0.2 | 779.972 | <0.3 | <0.527 | 60.014 | 25.7446 | 168083.4199 | 20.2578 | 393.7038 | 532.2806 | 328.0032 | 5.007 | 88807.9752 | 2929.8821 | 2275.6346 | 1.5291 | 887.7673 | 9.3244 | <4.495 | 329.8321 | 15.5407 | 49.0006 | 16.3802 | 17.1697
LiBs-Res-NaCl-3 | 0.5001 | <3.326 | 111478.0544 | 4.0292 | <14.698 | 3.0794 | <0.2 | 798.2503 | <0.3 | <0.527 | 55.5389 | 18.0864 | 159717.9264 | 21.4257 | 362.8674 | 510.9578 | 314.807 | 4.5791 | 100074.0852 | 2808.9382 | 2094.861 | 1.1898 | 835.2829 | 9.988 | <4.495 | 254.3191 | 15.177 | 45.7708 | 16.0568 | 10.9778
0 | 0.4993 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.499 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.4994 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.5 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.5004 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.5007 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.5004 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.5004 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.4992 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.4991 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.5013 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.4995 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.4999 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.4998 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.501 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
0 | 0.2046 | <3.326 | <5.82 | <3.97 | <14.698 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.866 | <4.1 | <0.54 | <0.586 | <2.1 | <1.188 | <5.37 | <2.85 | <5.2 | <5.73 | <4.495 | <3.4 | <0.153 | <0.217 | <1.457 | <0.307
[8 empty] | 784.4786 | [5 empty] | 22.2333

## ICP-OES TM Averages
Inductively Coupled Plasma-Optical Emission Spectrometer (ICP-AES) Samples Review
Sequence Name: Valmont Fly Ash
Digested By: Trevor Henry on 8/29/2024 electronic Lab book K-LRTD-NB-2993¦ Analyzed By: Mahendranath Arambewela. The final volume of the digestion was 50 mL.
Chain of Custody: Not Received
Sample Preparation: Total metal samples were acid digested per SOP K-LRTD-SOP-1193-0 (based on EPA Method 3051)
Instrument: Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
Electronic data found at: L:\Priv\CtrHill\CSSB Applied Research\Spring River Watershed\Data Reports with QA
Analytical Method: ICP analysis per SOP K-LRTD-SOP-1185-1 (based on EPA Method 6010B)
Raw Data Sheets: US-EPA CHL Facility Lab 131 Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
| MDL (mg/L) | 0.0033255 | 0.0058173 | 0.0039661 | 0.014698 | 0.00021689 | 0.00018146 | 0.0043578 | 0.00030673 | 0.00052682 | 0.00043378 | 0.0011291 | 0.0018146 | 0.06237 | 0.0018657 | 0.0041414 | 0.00054005 | 0.000586 | 0.0021117 | 0.0011879 | 0.0053703 | 0.0028544 | 0.0052039 | 0.005726 | 0.0044954 | 0.0034087 | 0.00015336 | 0.00021689 | 0.0014565 | 0.00030673
| MRL (mg/L) | 0.033255 | 0.058173 | 0.039661 | 0.14698 | 0.0021689 | 0.0018146 | 0.043578 | 0.0030673 | 0.0052682 | 0.0043378 | 0.011291 | 0.018146 | 0.6237 | 0.018657 | 0.041414 | 0.0054005 | 0.00586 | 0.021117 | 0.011879 | 0.053703 | 0.028544 | 0.052039 | 0.05726 | 0.044954 | 0.034087 | 0.0015336 | 0.0021689 | 0.014565 | 0.0030673
| MRL (mg/L) | <0.0333 | <0.0582 | <0.0397 | <0.147 | <0.0022 | <0.0018 | <0.0436 | <0.003 | <0.0053 | <0.0043 | <0.0113 | <0.0181 | <0.6237 | <0.0187 | <0.0414 | <0.0054 | <0.0059 | <0.0211 | <0.0119 | <0.0537 | <0.0285 | <0.052 | <0.0573 | <0.045 | <0.0341 | <0.0015 | <0.0022 | <0.0146 | <0.0031
| MRL (mg/kg) | 3.3255 | 5.8173 | 3.9661 | 14.6982 | 0.21689 | 0.18146 | 4.3578 | 0.30673 | 0.52682 | 0.43378 | 1.1291 | 1.8146 | 62.3696 | 1.8657 | 4.1414 | 0.54005 | 0.586 | 2.1117 | 1.1879 | 5.3703 | 2.8544 | 5.2039 | 5.726 | 4.4954 | 3.4087 | 0.15336 | 0.21689 | 1.4565 | 0.30673
| MRL (mg/kg)1 | <3.326 | <5.8 | <3.97 | <14.7 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.9 | <4.1 | <0.54 | <0.586 | <2.1 | <1.19 | <5.37 | <2.9 | <5.2 | <5.73 | <4.5 | <3.4 | <0.153 | <0.22 | <1.46 | <0.31
*MRL (mg/L)1 is the new MRL after the addition of acid for Total Metal Samples*
Sample | # of averaged measurements | Ag | Al | As | B | Ba | Be | Ca | Cd | Co | Cr | Cu | Fe | K | Li | Mg | Mn | Mo | Na | Ni | P | Pb | S | Sb | Se | Si | Sr | Ti | V | Zn
|  | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
Total Metals after Acid Digestion
LiBs-Res-NaCl-1 | 3 | <3.326 | 114946.8309 | 4.4269 | <14.7 | 3.1312 | <0.2 | 787.567 | <0.3 | <0.527 | 57.6613 | 22.3677 | 163264.7117 | 21.3056 | 378.0028 | 520.7086 | 320.2229 | 4.9632 | 94878.9116 | 2893.8497 | 2185.5474 | 2.6442 | 860.6998 | 9.87 | <4.5 | 289.2436 | 15.2998 | 47.235 | 16.0394 | 14.2533
| 3 | <3.326 | <5.8 | <3.97 | <14.7 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.9 | <4.1 | <0.54 | <0.586 | <2.1 | <1.19 | <5.37 | <2.9 | <5.2 | <5.73 | <4.5 | <3.4 | <0.153 | <0.22 | <1.46 | <0.31
| 3 | <3.326 | <5.8 | <3.97 | <14.7 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.9 | <4.1 | <0.54 | <0.586 | <2.1 | <1.19 | <5.37 | <2.9 | <5.2 | <5.73 | <4.5 | <3.4 | <0.153 | <0.22 | <1.46 | <0.31
05162024- SRM 2709a | 1 | <3.326 | 16779.6188 | 8.8954 | 30.0098 | 360.3617 | 2.3949 | 12876.9306 | 0.58651 | 4.5699 | 62.1457 | 29.0567 | 24580.7918 | 3135.4106 | 27.3705 | 10979.9853 | 424.9267 | 1.2219 | 483.1867 | 67.6442 | 581.8182 | 10.4106 | 531.6716 | 3.8856 | <4.495 | 432.087 | 92.4731 | 224.8534 | 53.9589 | 83.7977
NIST 2709a | Theoretical | N.A. | 73700 | 10.5 | 74 | 979 | 0.61 | 19100 | 0.371 | 12.8 | 130 | 33.9 | 33600 | 21100 | 14600 | 529 | N.A. | 12200 | 85 | 688 | 17.3 | N.A. | 1.55 | 1.5 | 303000 | 239 | 3360 | 110 | 103 | 103
| Reported range | 0.14-4.1 | 13000-17000 | 6.4-10 | N.A. | 350-400 | 0.50-0.72 | 12000-14000 | 0.33-0.66 | 8.2-13 | 46-67 | 24-28 | 22000-26000 | 2600-4000 | 9700-11000 | 380-450 | N.A. | 460-610 | 59-71 | N.A. | 8.1-11 | N.A. | 1.2-1.5 | 0.69-1.9 | N.A. | N.A. | N.A. | 43-71 | 69-87 | 69-89
| Avg recovery (%) | - | 22% | 74% | N.A. | 39% | - | 65% | 110% | 81% | 41% | 81% | 70% | 14% | 71% | 79% | N.A. | 4% | 77% | N.A. | 53% | N.A. | 88% | 63% | N.A. | N.A. | N.A. | 44% | 77% | 277%
| Recovery (%) |  | 22.77% | 84.72% | 40.55% | 36.81% | 392.6% | 67.42% | 158.1% | 35.7% | 47.8% | 85.71% | 73.16% | 14.86% | 0.1875% | 2076% | 42493% | 0.01002% | 568.5% | 9.832% | 3363% | 1041% | 34301% | 259% | 30300000% | 180.8% | 2.752% | 204.4% | 52.39% | 81.36%
Note: | Data taken from Table 3 and table 4 of the 2709a NIST certificate for acid extractable elements
|  |  |  | 4.4269 |  |  |  | 787.567

## RAW ICP-MS Data
Inductively Coupled Plasma-Optical Emission Spectrometer (ICP-AES) Samples Review
Sequence Name: Mine Tailings Sediment 1
Digested By: Trevor Henry on 5/16/2024 electronic Lab book K-LRTD-NB-2993¦ Analyzed By: Mahendranath Arambewela. The final volume of the digestion was 50 mL.
Chain of Custody: Chat COC 3/29/2024
Sample Preparation: Total metal samples were acid digested per SOP K-LRTD-SOP-1193-0 (based on EPA Method 3051)
Instrument: Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
Electronic data found at: L:\Priv\CtrHill\CSSB Applied Research\Spring River Watershed\Data Reports with QA
Analytical Method: ICP analysis per SOP K-LRTD-SOP-1185-1 (based on EPA Method 6010B)
Raw Data Sheets: US-EPA CHL Facility Lab 131 Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
| MDL (mg/L) | 0.0033255 | 0.0058173 | 0.0039661 | 0.014698 | 0.00021689 | 0.00018146 | 0.0043578 | 0.00030673 | 0.00052682 | 0.00043378 | 0.0011291 | 0.0018146 | 0.06237 | 0.0018657 | 0.0041414 | 0.00054005 | 0.000586 | 0.0021117 | 0.0011879 | 0.0053703 | 0.0028544 | 0.0052039 | 0.005726 | 0.0044954 | 0.0034087 | 0.00015336 | 0.00021689 | 0.0014565 | 0.00030673
| MRL (mg/L) | 0.033255 | 0.058173 | 0.039661 | 0.14698 | 0.0021689 | 0.0018146 | 0.043578 | 0.0030673 | 0.0052682 | 0.0043378 | 0.011291 | 0.018146 | 0.6237 | 0.018657 | 0.041414 | 0.0054005 | 0.00586 | 0.021117 | 0.011879 | 0.053703 | 0.028544 | 0.052039 | 0.05726 | 0.044954 | 0.034087 | 0.0015336 | 0.0021689 | 0.014565 | 0.0030673
Sample | 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
| 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
| ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg
Total Metals after Acid Digestion
BigRiverDoeRun-SED-S1-1 | 15.7267 | 7.3306 | 16.5191 | 19.6433 | 108.8389 | 22.0054 | 0.89952 | 13.5423 | 760.6564 | 1.5938 | 5.3255 | 60.825 | 214.8291 | 22.9072 | 95.4285 | 22.0768 | 4.6424 | 25.0896 | 3.1047 | 19.9743 | 4.1773 | 11.9872 | 1.5761 | 10.0204 | 1.3997 | 1.1973 | 0.21462 | 0.67098 | 8.971 | 15.3359 | 8.4916 | 0 | 0.33862 | 4.4491 | 1.117 | 88.8028 | 0.35973 | 0
BigRiverDoeRun-SED-S1-2 | 13.9355 | 5.1568 | 16.2292 | 15.3973 | 100.6977 | 19.2505 | 0.69054 | 8.0425 | 2956.5989 | 0.75577 | 4.2583 | 55.3317 | 193.0012 | 20.7843 | 85.091 | 19.4132 | 4.1823 | 22.5783 | 2.611 | 18.2969 | 3.7693 | 10.9147 | 1.4526 | 9.2586 | 1.3026 | 0.93323 | 0.12557 | 0.51893 | 9.8445 | 13.9615 | 7.7202 | 0 | 0.086498 | 2.9641 | 0 | 111.0705 | 0 | 0
BigRiverDoeRun-SED-S1-3 | 14.8494 | 7.9219 | 17.3619 | 19.8543 | 103.7164 | 21.972 | 0.71687 | 5.873 | 4599.5939 | 0.44036 | 4.0181 | 60.0601 | 207.9157 | 22.079 | 89.9541 | 20.6378 | 4.3353 | 23.7373 | 2.9998 | 19.0089 | 4.0046 | 11.212 | 1.5776 | 9.5025 | 1.3914 | 1.0724 | 0.10688 | 0.58975 | 4.1213 | 15.5576 | 7.745 | 0 | 0.40185 | 5.0494 | 0 | 221.3518 | 0 | 0
BigRiverDoeRun-SED-S2-1 | 17.6358 | 10.7511 | 20.498 | 32.5382 | 111.9588 | 27.7168 | 0.53744 | 6.6664 | 1337.1692 | 0.50637 | 5.0949 | 56.0635 | 200.3552 | 22.1845 | 92.7532 | 22.0668 | 4.9213 | 25.189 | 3.1793 | 21.1437 | 4.3564 | 13.0711 | 1.7533 | 10.5691 | 1.5929 | 1.2259 | 0.099118 | 0.43322 | 5.4648 | 17.1261 | 10.0591 | 0 | 0.95275 | 8.4816 | 0 | 24.8477 | 0 | 0
BigRiverDoeRun-SED-S2-2 | 16.4503 | 9.6259 | 20.9427 | 29.2316 | 109.5184 | 25.6903 | 0.56654 | 6.0909 | 4891.4631 | 0.39843 | 5.0472 | 56.1307 | 202.4362 | 22.707 | 95.1724 | 22.0966 | 4.9398 | 25.0049 | 3.1795 | 20.7289 | 4.2834 | 12.133 | 1.6489 | 10.1551 | 1.4365 | 1.2169 | 0.092349 | 0.46801 | 5.5378 | 17.4548 | 10.9338 | 0 | 1.1533 | 9.8902 | 0 | 24.0621 | 0 | 0
BigRiverDoeRun-SED-S2-3 | 15.667 | 7.3821 | 19.5125 | 22.1203 | 101.6312 | 24.5598 | 0.82899 | 5.7035 | 1159.355 | 0.39756 | 4.0967 | 52.0027 | 190.788 | 20.5568 | 86.1518 | 19.6191 | 4.4037 | 22.9027 | 2.8034 | 19.2013 | 3.9927 | 11.6374 | 1.5919 | 9.6934 | 1.4152 | 1.2441 | 0.081134 | 0.32362 | 5.524 | 15.8912 | 8.826 | 0 | 0.65517 | 6.7677 | 0 | 26.4188 | 0 | 0
BigRiverDoeRun-SED-S3-1 | 14.1807 | 5.9068 | 17.148 | 16.7574 | 104.6127 | 22.8891 | 0.57403 | 5.3059 | 13700.0992 | 0.40024 | 3.5532 | 54.0509 | 195.799 | 20.395 | 83.8597 | 19.7526 | 4.0971 | 22.8587 | 2.9384 | 19.8061 | 4.0797 | 11.8658 | 1.6475 | 10.0721 | 1.4572 | 1.0541 | 0.089945 | 0.47316 | 5.165 | 16.8445 | 8.7601 | 0 | 1.0026 | 8.759 | 0 | 80.5126 | 0 | 0
BigRiverDoeRun-SED-S3-2 | 15.6649 | 8.1941 | 17.4836 | 21.7537 | 111.6128 | 23.6352 | 0.68243 | 6.1262 | 10004.0307 | 0.43457 | 4.2954 | 58.523 | 204.0155 | 21.8785 | 90.1912 | 21.5021 | 4.2901 | 24.591 | 3.2086 | 21.132 | 4.3881 | 12.9008 | 1.7961 | 10.8785 | 1.5739 | 1.1658 | 0.14166 | 0.68569 | 2.9521 | 17.2868 | 8.8217 | 0 | 1.2065 | 10.1157 | 1.818 | 63.4619 | 0 | 0
BigRiverDoeRun-SED-S3-3 | 16.2551 | 9.2738 | 18.2935 | 24.6143 | 115.7363 | 28.3179 | 0.75987 | 6.0778 | 17063.0924 | 0.65 | 4.4763 | 59.2331 | 206.2846 | 22.0863 | 90.9552 | 21.2032 | 4.4647 | 24.94 | 3.2401 | 21.6215 | 4.5886 | 12.9209 | 1.8246 | 11.6467 | 1.6761 | 1.3178 | 0.11984 | 0.57297 | 5.1945 | 17.4533 | 9.7836 | 0 | 1.3462 | 11.0449 | 0.20639 | 94.3179 | 0 | 0
CherokeeCounty-SED-S1-1 | 5.1049 | 17.014 | 8.6293 | 11.641 | 40.1021 | 8.69 | 0.49607 | 0.027284 | 914.4952 | 0.41318 | 2.626 | 35.8421 | 51.2668 | 10.3643 | 44.9858 | 9.4072 | 2.008 | 9.8536 | 0.79802 | 5.8414 | 1.1609 | 2.9041 | 0.36809 | 1.917 | 0.26231 | 0.38205 | 0.052934 | 0.51436 | 3.1592 | 5.6331 | 7.5329 | 0 | 0 | 0 | 0 | 96.1504 | 0 | 0
CherokeeCounty-SED-S1-2 | 6.2457 | 23.9802 | 12.7867 | 20.8153 | 146.3085 | 13.5216 | 0.78334 | #VALUE! | 4283.1029 | 0.52017 | 3.7491 | 126.3319 | 142.817 | 35.9806 | 162.7284 | 34.7329 | 7.8626 | 39.2292 | 4.2733 | 23.1911 | 4.4281 | 10.3013 | 1.0689 | 4.9847 | 0.64466 | 0.60361 | 0.070621 | 1.0566 | 2.4781 | 8.8077 | 18.2638 | 0 | 0 | 0 | 0 | 131.9955 | 0 | 0
CherokeeCounty-SED-S1-3 | 7.6233 | 12.8867 | 5.2625 | 10.9047 | 38.7358 | 8.4995 | 0.38411 | 0.01728 | 605.9354 | 0.38254 | 2.4694 | 33.735 | 44.362 | 9.5993 | 42.7769 | 8.7202 | 1.8427 | 9.5912 | 0.72395 | 5.5425 | 1.1123 | 2.6591 | 0.28943 | 1.626 | 0.22199 | 0.39442 | 0.060082 | 0.34156 | 2.6953 | 5.8534 | 9.9113 | 0 | 0.76438 | 4.0679 | 0.87129 | 520.692 | 14.8798 | 0
CherokeeCounty-SED-S2-1 | 8.3988 | 44.5869 | 25.3204 | 12.5602 | 58.3675 | 11.1661 | 1.337 | 0.095935 | 6674.158 | 0.24511 | 3.3318 | 50.2699 | 74.0931 | 14.9325 | 64.5031 | 13.167 | 2.738 | 14.3739 | 1.302 | 8.5732 | 1.5987 | 4.2028 | 0.50071 | 2.6628 | 0.37016 | 0.42311 | 0.053698 | 2.1887 | 2.615 | 7.8333 | 10.0686 | 0 | 0 | 1.006 | 0 | 321.9993 | 0 | 0
CherokeeCounty-SED-S2-2 | 6.9081 | 57.7607 | 20.3623 | 17.939 | 47.1526 | 11.5303 | 1.0643 | 0.3584 | 5560.5445 | 0.38477 | 3.4635 | 43.1525 | 66.9394 | 12.6227 | 54.3882 | 10.7988 | 2.3131 | 12.1743 | 1.0136 | 6.718 | 1.2979 | 3.3902 | 0.38525 | 2.0974 | 0.31025 | 0.40039 | 0.050276 | 1.5254 | 2.4704 | 6.68 | 9.5639 | 0 | 0 | 0.81077 | 0 | 321.9013 | 0 | 0
CherokeeCounty-SED-S2-3 | 7.0761 | 37.5853 | 19.9676 | 14.7391 | 48.757 | 11.3386 | 1.0235 | #VALUE! | 12033.3748 | 0.27797 | 3.2725 | 44.9459 | 71.0126 | 13.1795 | 57.3298 | 11.3781 | 2.4387 | 12.2275 | 1.0877 | 7.2025 | 1.4261 | 3.6173 | 0.43018 | 2.4694 | 0.34591 | 0.37233 | 0.045433 | 1.7422 | 3.1628 | 7.6123 | 9.3892 | 0 | 0 | 0.61755 | 0 | 257.7058 | 0 | 0
CherokeeCounty-SED-S3-1 | 9.0056 | 38.2121 | 20.9378 | 17.5277 | 58.6189 | 12.9067 | 1.2785 | 0.025213 | 46359.7125 | 0.45697 | 3.798 | 53.1707 | 84.7129 | 15.5216 | 66.3653 | 13.5192 | 3.0438 | 14.2217 | 1.348 | 8.6613 | 1.7125 | 4.4771 | 0.51284 | 2.9334 | 0.40233 | 0.48316 | 0.052703 | 2.4482 | 1.6608 | 8.1442 | 10.6151 | 0 | 0 | 0.9527 | 0 | 258.3552 | 0 | 0
CherokeeCounty-SED-S3-2 | 7.2703 | 31.0277 | 13.8974 | 13.5352 | 52.9587 | 11.402 | 1.0391 | 0.77286 | 6505.5812 | 0.67351 | 3.4078 | 47.1674 | 73.7391 | 13.9227 | 60.0829 | 11.9877 | 2.6106 | 12.7586 | 1.1542 | 7.5435 | 1.5064 | 3.9041 | 0.45011 | 2.5413 | 0.39248 | 0.48476 | 0.10987 | 1.4514 | 1.1227 | 7.5782 | 9.6993 | 0 | 0 | 1.5197 | 0 | 199.5921 | 0.68543 | 0
CherokeeCounty-SED-S3-3 | 6.8798 | 26.2101 | 10.0243 | 11.2213 | 51.9332 | 9.7929 | 0.71169 | 0.35143 | 22874.9956 | 0.59751 | 2.9489 | 44.1522 | 68.3195 | 13.5116 | 58.7522 | 11.8758 | 2.4589 | 13.2569 | 1.1561 | 7.7012 | 1.4344 | 3.8568 | 0.41911 | 2.589 | 0.32656 | 0.45164 | 0.080149 | 1.0102 | 1.3405 | 7.2581 | 10.5634 | 0 | 0 | 0.11918 | 0 | 175.1051 | 0 | 0
06132024- SRM 2709a | 27.0225 | 26.2588 | 7.316 | 137.3192 | 43.2588 | 33.1646 | 2.9233 | 0.72918 | 147.9729 | 3.2652 | 18.9946 | 82.5697 | 170.249 | 19.3787 | 73.2327 | 14.7077 | 4.0636 | 15.0575 | 1.4567 | 9.1626 | 1.7756 | 4.7403 | 0.67846 | 3.9109 | 0.59032 | 1.5349 | 0.58143 | 1.4428 | 3.6899 | 35.5884 | 7.7177 | 0 | 0 | 0 | 0 | 1.0175 | 1.0176 | 0
TSMD Mine Tailings_05220224-ICP-OES-TO-178-383 data report
Data taken from 10x dilution and normalized by multiplying by 10
Solution Label |  | Ag | Al | As | B | Ba | Be | Ca | Cd | Co | Cr | Cu | Fe | K | Li | Mg | Mn | Mo | Na | Ni | P | Pb | S | Sb | Se | Si | Sr | Ti | V | Zn
Lowest Cal Std |  | 0.01 | 0.05 | 0.01 | 0.01 | 0.01 | 0.05 | 0.05 | 0.01 | 0.01 | 0.01 | 0.01 | 0.05 | 0.1 | 0.05 | 0.05 | 0.01 | 0.01 | 0.05 | 0.01 | 0.05 | 0.05 | 0.05 | 0.05 | 0.01 | 0.05 | 0.01 | 0.01 | 0.01 | 0.05
Highest Cal Std |  | 20 | 200 | 20 | 20 | 20 | 20 | 2000 | 20 | 20 | 20 | 100 | 1000 | 100 | 100 | 2000 | 20 | 20 | 100 | 20 | 200 | 200 | 200 | 20 | 20 | 100 | 20 | 20 | 20 | 100
Correlation |  | 0.99999 | 0.99996 | 1 | 1 | 0.99999 | 0.9999 | 0.99889 | 0.99999 | 0.99997 | 0.99994 | 0.99994 | 0.99996 | 0.99999 | 0.99999 | 0.99953 | 1 | 0.99999 | 0.99999 | 0.99996 | 0.99977 | 0.99812 | 0.99972 | 0.99999 | 1 | 0.99939 | 0.99991 | 0.9998 | 1 | 0.99993
| 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
| 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
| ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg
10x BigRiverDoeRun-SED-S1-1 | 1.5727 | 0.73306 | 1.6519 | 1.9643 | 10.8839 | 2.2005 | 0.089952 | 1.3542 | 76.0656 | 0.15938 | 0.53255 | 6.0825 | 21.4829 | 2.2907 | 9.5429 | 2.2077 | 0.46424 | 2.509 | 0.31047 | 1.9974 | 0.41773 | 1.1987 | 0.15761 | 1.002 | 0.13997 | 0.11973 | 0.021462 | 0.067098 | 0.8971 | 1.5336 | 0.84916 | 0 | 0.033862 | 0.44491 | 0.1117 | 8.8803 | 0.035973 | 0
10x BigRiverDoeRun-SED-S1-2 | 1.3936 | 0.51568 | 1.6229 | 1.5397 | 10.0698 | 1.925 | 0.069054 | 0.80425 | 295.6599 | 0.075577 | 0.42583 | 5.5332 | 19.3001 | 2.0784 | 8.5091 | 1.9413 | 0.41823 | 2.2578 | 0.2611 | 1.8297 | 0.37693 | 1.0915 | 0.14526 | 0.92586 | 0.13026 | 0.093323 | 0.012557 | 0.051893 | 0.98445 | 1.3962 | 0.77202 | 0 | 0.0086498 | 0.29641 | 0 | 11.107 | 0 | 0
10x BigRiverDoeRun-SED-S1-3 | 1.4849 | 0.79219 | 1.7362 | 1.9854 | 10.3716 | 2.1972 | 0.071687 | 0.5873 | 459.9594 | 0.044036 | 0.40181 | 6.006 | 20.7916 | 2.2079 | 8.9954 | 2.0638 | 0.43353 | 2.3737 | 0.29998 | 1.9009 | 0.40046 | 1.1212 | 0.15776 | 0.95025 | 0.13914 | 0.10724 | 0.010688 | 0.058975 | 0.41213 | 1.5558 | 0.7745 | 0 | 0.040185 | 0.50494 | 0 | 22.1352 | 0 | 0
10x BigRiverDoeRun-SED-S2-1 | 1.7636 | 1.0751 | 2.0498 | 3.2538 | 11.1959 | 2.7717 | 0.053744 | 0.66664 | 133.7169 | 0.050637 | 0.50949 | 5.6063 | 20.0355 | 2.2184 | 9.2753 | 2.2067 | 0.49213 | 2.5189 | 0.31793 | 2.1144 | 0.43564 | 1.3071 | 0.17533 | 1.0569 | 0.15929 | 0.12259 | 0.0099118 | 0.043322 | 0.54648 | 1.7126 | 1.0059 | 0 | 0.095275 | 0.84816 | 0 | 2.4848 | 0 | 0
10x BigRiverDoeRun-SED-S2-2 | 1.645 | 0.96259 | 2.0943 | 2.9232 | 10.9518 | 2.569 | 0.056654 | 0.60909 | 489.1463 | 0.039843 | 0.50472 | 5.6131 | 20.2436 | 2.2707 | 9.5172 | 2.2097 | 0.49398 | 2.5005 | 0.31795 | 2.0729 | 0.42834 | 1.2133 | 0.16489 | 1.0155 | 0.14365 | 0.12169 | 0.0092349 | 0.046801 | 0.55378 | 1.7455 | 1.0934 | 0 | 0.11533 | 0.98902 | 0 | 2.4062 | 0 | 0
10x BigRiverDoeRun-SED-S2-3 | 1.5667 | 0.73821 | 1.9512 | 2.212 | 10.1631 | 2.456 | 0.082899 | 0.57035 | 115.9355 | 0.039756 | 0.40967 | 5.2003 | 19.0788 | 2.0557 | 8.6152 | 1.9619 | 0.44037 | 2.2903 | 0.28034 | 1.9201 | 0.39927 | 1.1637 | 0.15919 | 0.96934 | 0.14152 | 0.12441 | 0.0081134 | 0.032362 | 0.5524 | 1.5891 | 0.8826 | 0 | 0.065517 | 0.67677 | 0 | 2.6419 | 0 | 0
10x BigRiverDoeRun-SED-S3-1 | 1.4181 | 0.59068 | 1.7148 | 1.6757 | 10.4613 | 2.2889 | 0.057403 | 0.53059 | 1370.0099 | 0.040024 | 0.35532 | 5.4051 | 19.5799 | 2.0395 | 8.386 | 1.9753 | 0.40971 | 2.2859 | 0.29384 | 1.9806 | 0.40797 | 1.1866 | 0.16475 | 1.0072 | 0.14572 | 0.10541 | 0.0089945 | 0.047316 | 0.5165 | 1.6844 | 0.87601 | 0 | 0.10026 | 0.8759 | 0 | 8.0513 | 0 | 0
10x BigRiverDoeRun-SED-S3-2 | 1.5665 | 0.81941 | 1.7484 | 2.1754 | 11.1613 | 2.3635 | 0.068243 | 0.61262 | 1000.4031 | 0.043457 | 0.42954 | 5.8523 | 20.4015 | 2.1878 | 9.0191 | 2.1502 | 0.42901 | 2.4591 | 0.32086 | 2.1132 | 0.43881 | 1.2901 | 0.17961 | 1.0879 | 0.15739 | 0.11658 | 0.014166 | 0.068569 | 0.29521 | 1.7287 | 0.88217 | 0 | 0.12065 | 1.0116 | 0.1818 | 6.3462 | 0 | 0
10x BigRiverDoeRun-SED-S3-3 | 1.6255 | 0.92738 | 1.8293 | 2.4614 | 11.5736 | 2.8318 | 0.075987 | 0.60778 | 1706.3092 | 0.065 | 0.44763 | 5.9233 | 20.6285 | 2.2086 | 9.0955 | 2.1203 | 0.44647 | 2.494 | 0.32401 | 2.1621 | 0.45886 | 1.2921 | 0.18246 | 1.1647 | 0.16761 | 0.13178 | 0.011984 | 0.057297 | 0.51945 | 1.7453 | 0.97836 | 0 | 0.13462 | 1.1045 | 0.020639 | 9.4318 | 0 | 0
10x CherokeeCounty-SED-S1-1 | 0.51049 | 1.7014 | 0.86293 | 1.1641 | 4.0102 | 0.869 | 0.049607 | 0.0027284 | 91.4495 | 0.041318 | 0.2626 | 3.5842 | 5.1267 | 1.0364 | 4.4986 | 0.94072 | 0.2008 | 0.98536 | 0.079802 | 0.58414 | 0.11609 | 0.29041 | 0.036809 | 0.1917 | 0.026231 | 0.038205 | 0.0052934 | 0.051436 | 0.31592 | 0.56331 | 0.75329 | 0 | 0 | 0 | 0 | 9.615 | 0 | 0
10x CherokeeCounty-SED-S1-2 | 0.62457 | 2.398 | 1.2787 | 2.0815 | 14.6309 | 1.3522 | 0.078334 | <0.000 | 428.3103 | 0.052017 | 0.37491 | 12.6332 | 14.2817 | 3.5981 | 16.2728 | 3.4733 | 0.78626 | 3.9229 | 0.42733 | 2.3191 | 0.44281 | 1.0301 | 0.10689 | 0.49847 | 0.064466 | 0.060361 | 0.0070621 | 0.10566 | 0.24781 | 0.88077 | 1.8264 | 0 | 0 | 0 | 0 | 13.1996 | 0 | 0
10x CherokeeCounty-SED-S1-3 | 0.76233 | 1.2887 | 0.52625 | 1.0905 | 3.8736 | 0.84995 | 0.038411 | 0.001728 | 60.5935 | 0.038254 | 0.24694 | 3.3735 | 4.4362 | 0.95993 | 4.2777 | 0.87202 | 0.18427 | 0.95912 | 0.072395 | 0.55425 | 0.11123 | 0.26591 | 0.028943 | 0.1626 | 0.022199 | 0.039442 | 0.0060082 | 0.034156 | 0.26953 | 0.58534 | 0.99113 | 0 | 0.076438 | 0.40679 | 0.087129 | 52.0692 | 1.488 | 0
10x CherokeeCounty-SED-S2-1 | 0.83988 | 4.4587 | 2.532 | 1.256 | 5.8368 | 1.1166 | 0.1337 | 0.0095935 | 667.4158 | 0.024511 | 0.33318 | 5.027 | 7.4093 | 1.4933 | 6.4503 | 1.3167 | 0.2738 | 1.4374 | 0.1302 | 0.85732 | 0.15987 | 0.42028 | 0.050071 | 0.26628 | 0.037016 | 0.042311 | 0.0053698 | 0.21887 | 0.2615 | 0.78333 | 1.0069 | 0 | 0 | 0.1006 | 0 | 32.1999 | 0 | 0
10x CherokeeCounty-SED-S2-2 | 0.69081 | 5.7761 | 2.0362 | 1.7939 | 4.7153 | 1.153 | 0.10643 | 0.03584 | 556.0545 | 0.038477 | 0.34635 | 4.3152 | 6.6939 | 1.2623 | 5.4388 | 1.0799 | 0.23131 | 1.2174 | 0.10136 | 0.6718 | 0.12979 | 0.33902 | 0.038525 | 0.20974 | 0.031025 | 0.040039 | 0.0050276 | 0.15254 | 0.24704 | 0.668 | 0.95639 | 0 | 0 | 0.081077 | 0 | 32.1901 | 0 | 0
10x CherokeeCounty-SED-S2-3 | 0.70761 | 3.7585 | 1.9968 | 1.4739 | 4.8757 | 1.1339 | 0.10235 | <0.000 | 1203.3375 | 0.027797 | 0.32725 | 4.4946 | 7.1013 | 1.3179 | 5.733 | 1.1378 | 0.24387 | 1.2228 | 0.10877 | 0.72025 | 0.14261 | 0.36173 | 0.043018 | 0.24694 | 0.034591 | 0.037233 | 0.0045433 | 0.17422 | 0.31628 | 0.76123 | 0.93892 | 0 | 0 | 0.061755 | 0 | 25.7706 | 0 | 0
10x CherokeeCounty-SED-S3-1 | 0.90056 | 3.8212 | 2.0938 | 1.7528 | 5.8619 | 1.2907 | 0.12785 | 0.0025213 | 4635.9712 | 0.045697 | 0.3798 | 5.3171 | 8.4713 | 1.5522 | 6.6365 | 1.3519 | 0.30438 | 1.4222 | 0.1348 | 0.86613 | 0.17125 | 0.44771 | 0.051284 | 0.29334 | 0.040233 | 0.048316 | 0.0052703 | 0.24482 | 0.16608 | 0.81442 | 1.0615 | 0 | 0 | 0.09527 | 0 | 25.8355 | 0 | 0
10x CherokeeCounty-SED-S3-2 | 0.72703 | 3.1028 | 1.3897 | 1.3535 | 5.2959 | 1.1402 | 0.10391 | 0.077286 | 650.5581 | 0.067351 | 0.34078 | 4.7167 | 7.3739 | 1.3923 | 6.0083 | 1.1988 | 0.26106 | 1.2759 | 0.11542 | 0.75435 | 0.15064 | 0.39041 | 0.045011 | 0.25413 | 0.039248 | 0.048476 | 0.010987 | 0.14514 | 0.11227 | 0.75782 | 0.96993 | 0 | 0 | 0.15197 | 0 | 19.9592 | 0.068543 | 0
10x CherokeeCounty-SED-S3-3 | 0.68798 | 2.621 | 1.0024 | 1.1221 | 5.1933 | 0.97929 | 0.071169 | 0.035143 | 2287.4996 | 0.059751 | 0.29489 | 4.4152 | 6.8319 | 1.3512 | 5.8752 | 1.1876 | 0.24589 | 1.3257 | 0.11561 | 0.77012 | 0.14344 | 0.38568 | 0.041911 | 0.2589 | 0.032656 | 0.045164 | 0.0080149 | 0.10102 | 0.13405 | 0.72581 | 1.0563 | 0 | 0 | 0.011918 | 0 | 17.5105 | 0 | 0
10x 06132024- SRM 2709a | 2.7023 | 2.6259 | 0.7316 | 13.7319 | 4.3259 | 3.3165 | 0.29233 | 0.072918 | 14.7973 | 0.32652 | 1.8995 | 8.257 | 17.0249 | 1.9379 | 7.3233 | 1.4708 | 0.40636 | 1.5058 | 0.14567 | 0.91626 | 0.17756 | 0.47403 | 0.067846 | 0.39109 | 0.059032 | 0.15349 | 0.058143 | 0.14428 | 0.36899 | 3.5588 | 0.77177 | 0 | 0 | 0 | 0 | 0.10175 | 0.10176 | 0

## ICP-MS Total Metals
Inductively Coupled Plasma-Optical Emission Spectrometer (ICP-AES) Samples Review
Sequence Name: Valmont Fly Ash
Digested By: Trevor Henry on 8/29/2024 electronic Lab book K-LRTD-NB-2993¦ Analyzed By: Mahendranath Arambewela. The final volume of the digestion was 50 mL.
Chain of Custody: Not Received
Sample Preparation: Total metal samples were acid digested per SOP K-LRTD-SOP-1193-0 (based on EPA Method 3051)
Instrument: Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
Electronic data found at: L:\Priv\CtrHill\CSSB Applied Research\Spring River Watershed\Data Reports with QA
Analytical Method: ICP analysis per SOP K-LRTD-SOP-1185-1 (based on EPA Method 6010B)
Raw Data Sheets: US-EPA CHL Facility Lab 131 Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
MDL (mg/L)
MRL (mg/L)
MRL (mg/L)
MRL (mg/kg)
MRL (mg/kg)1
*MRL (mg/L)1 is the new MRL after the addition of acid for Total Metal Samples*
Sample | Measured amount (g) | 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
|  | 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
|  | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg
Total Metals after Acid Digestion
LiBs-Res-NaCl-1 | 0.5006 | 1570.781 | 732.182 | 1649.9308 | 1961.9804 | 10870.8404 | 2197.9015 | 89.844 | 1352.6046 | 75974.4658 | 159.1902 | 531.9079 | 6075.2093 | 21457.1614 | 2287.9708 | 9531.4153 | 2205.033 | 463.688 | 2505.9573 | 310.0984 | 1995.0357 | 417.227 | 1197.2839 | 157.4213 | 1000.8427 | 139.8013 | 119.5866 | 21.4366 | 67.0179 | 896.0239 | 1531.7475 | 848.1435 | 0 | 33.8214 | 444.3749 | 111.5654 | 8869.6323 | 35.93 | 0
LiBs-Res-NaCl-2 | 0.4997 | 1394.3882 | 515.988 | 1623.8947 | 1540.6555 | 10075.8142 | 1926.2036 | 69.0957 | 804.7376 | 295837.3936 | 75.6225 | 426.0849 | 5536.4961 | 19311.7108 | 2079.6777 | 8514.2063 | 1942.4834 | 418.4832 | 2259.1839 | 261.254 | 1830.7897 | 377.1549 | 1092.1266 | 145.35 | 926.4129 | 130.3417 | 93.3794 | 12.565 | 51.9237 | 985.0371 | 1396.9904 | 772.4797 | 0 | 8.655 | 296.5872 | 0 | 11113.7161 | 0 | 0
LiBs-Res-NaCl-3 | 0.5007 | 1482.8659 | 791.0819 | 1733.7664 | 1982.6548 | 10357.1441 | 2194.1242 | 71.5867 | 586.4821 | 459316.3498 | 43.9743 | 401.2498 | 5997.6092 | 20762.4976 | 2204.8125 | 8982.8309 | 2060.8898 | 432.926 | 2370.4136 | 299.5622 | 1898.2298 | 399.8977 | 1119.6311 | 157.5383 | 948.9185 | 138.9473 | 107.0871 | 10.6734 | 58.8923 | 411.5579 | 1553.5884 | 773.4134 | 0 | 40.1291 | 504.2292 | 0 | 22104.2387 | 0 | 0
0 | 0.5014 | 1758.6522 | 1072.1093 | 2044.0725 | 3244.7342 | 11164.6234 | 2763.9381 | 53.5938 | 664.7777 | 133343.562 | 50.4953 | 508.064 | 5590.696 | 19979.5749 | 2212.2508 | 9249.4248 | 2200.5158 | 490.7597 | 2511.8644 | 317.0457 | 2108.4621 | 434.4277 | 1303.4607 | 174.8357 | 1053.9618 | 158.8475 | 122.245 | 9.8842 | 43.2011 | 544.9554 | 1707.8303 | 1003.1057 | 0 | 95.0094 | 845.7914 | 0 | 2477.8363 | 0 | 0
0 | 0.4996 | 1646.3511 | 963.3622 | 2095.947 | 2925.4996 | 10960.6052 | 2571.0856 | 56.6996 | 609.5741 | 489537.9376 | 39.875 | 505.1221 | 5617.566 | 20259.8283 | 2272.5221 | 9524.8595 | 2211.4323 | 494.3722 | 2502.4917 | 318.2087 | 2074.5512 | 428.6781 | 1214.2668 | 165.0178 | 1016.3198 | 143.7642 | 121.7867 | 9.2423 | 46.8382 | 554.2204 | 1746.8782 | 1094.2504 | 0 | 115.418 | 989.8119 | 0 | 2408.1321 | 0 | 0
0 | 0.4992 | 1569.2119 | 739.3888 | 1954.3759 | 2215.571 | 10179.4044 | 2459.913 | 83.0315 | 571.2644 | 116121.2905 | 39.8195 | 410.3252 | 5208.6017 | 19109.3784 | 2058.9704 | 8628.987 | 1965.0548 | 441.0715 | 2293.9383 | 280.7847 | 1923.2117 | 399.9112 | 1165.6005 | 159.4486 | 970.889 | 141.7469 | 124.6111 | 8.1264 | 32.4139 | 553.2884 | 1591.6662 | 884.0132 | 0 | 65.622 | 677.8519 | 0 | 2646.1169 | 0 | 0
0 | 0.5009 | 1415.5178 | 589.6195 | 1711.718 | 1672.7271 | 10442.4771 | 2284.796 | 57.2996 | 529.636 | 1367548.3379 | 39.9517 | 354.685 | 5395.3779 | 19544.7149 | 2035.8352 | 8370.9043 | 1971.7073 | 408.9709 | 2281.7631 | 293.3128 | 1977.0492 | 407.2333 | 1184.4459 | 164.4548 | 1005.4013 | 145.4571 | 105.2245 | 8.9784 | 47.2307 | 515.5676 | 1681.4205 | 874.4353 | 0 | 100.0789 | 874.3235 | 0 | 8036.7964 | 0 | 0
0 | 0.5001 | 1566.1779 | 819.2454 | 1748.0076 | 2174.9304 | 11159.0459 | 2363.0512 | 68.2296 | 612.4947 | 1000203.0337 | 43.4486 | 429.4577 | 5851.1329 | 20397.4693 | 2187.4113 | 9017.3187 | 2149.7828 | 428.9259 | 2458.6068 | 320.7982 | 2112.7765 | 438.7203 | 1289.8237 | 179.575 | 1087.6327 | 157.3595 | 116.5556 | 14.1635 | 68.5556 | 295.15 | 1728.3355 | 881.9929 | 0 | 120.626 | 1011.3644 | 181.76 | 6344.9225 | 0 | 0
0 | 0.4999 | 1625.837 | 927.5652 | 1829.7134 | 2461.9232 | 11575.9478 | 2832.3564 | 76.0023 | 607.8995 | 1706650.5719 | 65.0132 | 447.7162 | 5924.4948 | 20632.5833 | 2209.07 | 9097.3359 | 2120.7437 | 446.5637 | 2494.4949 | 324.0792 | 2162.5809 | 458.9556 | 1292.3491 | 182.4929 | 1164.9012 | 167.6442 | 131.8051 | 11.9865 | 57.3089 | 519.5572 | 1745.675 | 978.553 | 0 | 134.6492 | 1104.7079 | 20.6427 | 9433.6721 | 0 | 0
0 | 0.4997 | 510.7973 | 1702.4253 | 863.4514 | 1164.7969 | 4012.6214 | 869.5233 | 49.6372 | 2.7301 | 91504.4203 | 41.3426 | 262.7564 | 3586.3666 | 5129.7583 | 1037.0549 | 4501.2769 | 941.2896 | 200.9238 | 985.9467 | 79.8497 | 584.4866 | 116.1617 | 290.584 | 36.8311 | 191.8126 | 26.247 | 38.2277 | 5.2966 | 51.4665 | 316.1059 | 563.6528 | 753.7445 | 0 | 0 | 0 | 0 | 9620.8087 | 0 | 0
0 | 0.5004 | 624.0664 | 2396.0987 | 1277.6463 | 2079.8704 | 14619.1553 | 1351.0793 | 78.2715 | #VALUE! | 427967.9141 | 51.9757 | 374.6109 | 12623.0946 | 14270.2814 | 3595.1814 | 16259.8362 | 3470.5106 | 785.6358 | 3919.7825 | 426.9881 | 2317.2554 | 442.4543 | 1029.3035 | 106.8089 | 498.073 | 64.414 | 60.3127 | 7.0564 | 105.5718 | 247.6089 | 880.0624 | 1824.9246 | 0 | 0 | 0 | 0 | 13189 | 0 | 0
0 | 0.4992 | 763.5556 | 1290.7357 | 527.0904 | 1092.2157 | 3879.7831 | 851.3141 | 38.4726 | 1.7308 | 60690.6478 | 38.3154 | 247.3397 | 3378.9068 | 4443.3069 | 961.4681 | 4284.5471 | 873.4185 | 184.5625 | 960.6577 | 72.5113 | 555.142 | 111.4055 | 266.332 | 28.9889 | 162.8588 | 22.2345 | 39.5053 | 6.0178 | 34.2109 | 269.9594 | 586.2775 | 992.7154 | 0 | 76.5601 | 407.4374 | 87.2684 | 52152.6481 | 1490.3665 | 0
0 | 0.4991 | 841.3984 | 4466.7337 | 2536.606 | 1258.2878 | 5847.279 | 1118.6215 | 133.9457 | 9.6108 | 668619.3174 | 24.5548 | 333.7857 | 5036.0514 | 7422.6751 | 1495.9435 | 6461.9402 | 1319.077 | 274.2977 | 1439.9825 | 130.4334 | 858.8692 | 160.1572 | 421.0409 | 50.1614 | 266.7614 | 37.083 | 42.3877 | 5.3794 | 219.2613 | 261.9725 | 784.7405 | 1008.6761 | 0 | 0 | 100.7792 | 0 | 32257.9944 | 0 | 0
0 | 0.5013 | 689.0206 | 5761.0941 | 2030.9524 | 1789.2449 | 4703.0307 | 1150.0445 | 106.1549 | 35.7473 | 554612.4599 | 38.3775 | 345.4477 | 4304.057 | 6676.5826 | 1258.992 | 5424.7158 | 1077.0749 | 230.7149 | 1214.2749 | 101.0928 | 670.055 | 129.4496 | 338.1435 | 38.4251 | 209.1992 | 30.9445 | 39.9352 | 5.0146 | 152.1432 | 246.4036 | 666.265 | 953.9087 | 0 | 0 | 80.8671 | 0 | 32106.6546 | 0 | 0
0 | 0.4995 | 708.3196 | 3762.2874 | 1998.7567 | 1475.3817 | 4880.5846 | 1134.9987 | 102.4477 | #VALUE! | 1204542.0258 | 27.8252 | 327.578 | 4499.0884 | 7108.3652 | 1319.2649 | 5738.7184 | 1138.9514 | 244.1181 | 1223.9778 | 108.8763 | 720.9689 | 142.7575 | 362.0877 | 43.0606 | 247.189 | 34.626 | 37.2708 | 4.5479 | 174.3916 | 316.5928 | 761.9904 | 939.8549 | 0 | 0 | 61.817 | 0 | 25796.3733 | 0 | 0
0 | 0.4999 | 900.7392 | 3821.9752 | 2094.1965 | 1753.1235 | 5863.0586 | 1290.9246 | 127.8764 | 2.5218 | 4636898.6271 | 45.7057 | 379.8733 | 5318.1353 | 8472.9888 | 1552.473 | 6637.8557 | 1352.188 | 304.4384 | 1422.4501 | 134.8314 | 866.306 | 171.2863 | 447.7979 | 51.2938 | 293.4017 | 40.2408 | 48.3257 | 5.2713 | 244.8734 | 166.1153 | 814.5795 | 1061.7211 | 0 | 0 | 95.2892 | 0 | 25840.693 | 0 | 0
0 | 0.4998 | 727.3188 | 3104.0114 | 1390.2988 | 1354.057 | 5297.9907 | 1140.6594 | 103.9555 | 77.317 | 650818.4482 | 67.3775 | 340.9177 | 4718.6307 | 7376.8572 | 1392.8275 | 6010.6975 | 1199.2511 | 261.1642 | 1276.3711 | 115.4634 | 754.6508 | 150.7009 | 390.5646 | 45.029 | 254.2303 | 39.2639 | 48.4949 | 10.9913 | 145.1931 | 112.3173 | 758.1244 | 970.3184 | 0 | 0 | 152.0288 | 0 | 19967.1966 | 68.5701 | 0
0 | 0.501 | 686.6065 | 2615.7766 | 1000.4298 | 1119.8901 | 5182.9497 | 977.3346 | 71.0273 | 35.0731 | 2282933.6974 | 59.6317 | 294.3044 | 4406.4078 | 6818.3117 | 1348.4619 | 5863.496 | 1185.2096 | 245.4025 | 1323.0434 | 115.3767 | 768.5853 | 143.1509 | 384.9087 | 41.8269 | 258.3864 | 32.5912 | 45.0736 | 7.9989 | 100.8212 | 133.7781 | 724.3647 | 1054.2333 | 0 | 0 | 11.8947 | 0 | 17475.5598 | 0 | 0
0 | 0.2046 | 6603.748 | 6417.0969 | 1787.8861 | 33557.9625 | 10571.543 | 8104.7316 | 714.3944 | 178.197 | 36161.5036 | 797.9459 | 4641.8796 | 20178.3146 | 41605.3172 | 4735.7615 | 17896.543 | 3594.262 | 993.062 | 3679.7468 | 355.98 | 2239.1515 | 433.9229 | 1158.4329 | 165.8016 | 955.7504 | 144.2632 | 375.1069 | 142.0885 | 352.6015 | 901.7313 | 8697.0739 | 1886.0377 | 0 | 0 | 0 | 0 | 248.6469 | 248.6711 | 0
Sample |  | 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
|  | 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
|  | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
BigRiverDoeRun-SED-S1-1 |  | 1.5708 | 0.73218 | 1.6499 | 1.962 | 10.8708 | 2.1979 | 0.089844 | 1.3526 | 75.9745 | 0.15919 | 0.53191 | 6.0752 | 21.4572 | 2.288 | 9.5314 | 2.205 | 0.46369 | 2.506 | 0.3101 | 1.995 | 0.41723 | 1.1973 | 0.15742 | 1.0008 | 0.1398 | 0.11959 | 0.021437 | 0.067018 | 0.89602 | 1.5317 | 0.84814 | 0 | 0.033821 | 0.44437 | 0.11157 | 8.8696 | 0.03593 | 0
BigRiverDoeRun-SED-S1-2 |  | 1.3944 | 0.51599 | 1.6239 | 1.5407 | 10.0758 | 1.9262 | 0.069096 | 0.80474 | 295.8374 | 0.075623 | 0.42608 | 5.5365 | 19.3117 | 2.0797 | 8.5142 | 1.9425 | 0.41848 | 2.2592 | 0.26125 | 1.8308 | 0.37715 | 1.0921 | 0.14535 | 0.92641 | 0.13034 | 0.093379 | 0.012565 | 0.051924 | 0.98504 | 1.397 | 0.77248 | 0 | 0.008655 | 0.29659 | 0 | 11.1137 | 0 | 0
BigRiverDoeRun-SED-S1-3 |  | 1.4829 | 0.79108 | 1.7338 | 1.9827 | 10.3571 | 2.1941 | 0.071587 | 0.58648 | 459.3163 | 0.043974 | 0.40125 | 5.9976 | 20.7625 | 2.2048 | 8.9828 | 2.0609 | 0.43293 | 2.3704 | 0.29956 | 1.8982 | 0.3999 | 1.1196 | 0.15754 | 0.94892 | 0.13895 | 0.10709 | 0.010673 | 0.058892 | 0.41156 | 1.5536 | 0.77341 | 0 | 0.040129 | 0.50423 | 0 | 22.1042 | 0 | 0
BigRiverDoeRun-SED-S2-1 |  | 1.7587 | 1.0721 | 2.0441 | 3.2447 | 11.1646 | 2.7639 | 0.053594 | 0.66478 | 133.3436 | 0.050495 | 0.50806 | 5.5907 | 19.9796 | 2.2123 | 9.2494 | 2.2005 | 0.49076 | 2.5119 | 0.31705 | 2.1085 | 0.43443 | 1.3035 | 0.17484 | 1.054 | 0.15885 | 0.12225 | 0.0098842 | 0.043201 | 0.54496 | 1.7078 | 1.0031 | 0 | 0.095009 | 0.84579 | 0 | 2.4778 | 0 | 0
BigRiverDoeRun-SED-S2-2 |  | 1.6464 | 0.96336 | 2.0959 | 2.9255 | 10.9606 | 2.5711 | 0.0567 | 0.60957 | 489.5379 | 0.039875 | 0.50512 | 5.6176 | 20.2598 | 2.2725 | 9.5249 | 2.2114 | 0.49437 | 2.5025 | 0.31821 | 2.0746 | 0.42868 | 1.2143 | 0.16502 | 1.0163 | 0.14376 | 0.12179 | 0.0092423 | 0.046838 | 0.55422 | 1.7469 | 1.0943 | 0 | 0.11542 | 0.98981 | 0 | 2.4081 | 0 | 0
BigRiverDoeRun-SED-S2-3 |  | 1.5692 | 0.73939 | 1.9544 | 2.2156 | 10.1794 | 2.4599 | 0.083032 | 0.57126 | 116.1213 | 0.03982 | 0.41033 | 5.2086 | 19.1094 | 2.059 | 8.629 | 1.9651 | 0.44107 | 2.2939 | 0.28078 | 1.9232 | 0.39991 | 1.1656 | 0.15945 | 0.97089 | 0.14175 | 0.12461 | 0.0081264 | 0.032414 | 0.55329 | 1.5917 | 0.88401 | 0 | 0.065622 | 0.67785 | 0 | 2.6461 | 0 | 0
BigRiverDoeRun-SED-S3-1 |  | 1.4155 | 0.58962 | 1.7117 | 1.6727 | 10.4425 | 2.2848 | 0.0573 | 0.52964 | 1367.5483 | 0.039952 | 0.35468 | 5.3954 | 19.5447 | 2.0358 | 8.3709 | 1.9717 | 0.40897 | 2.2818 | 0.29331 | 1.977 | 0.40723 | 1.1844 | 0.16445 | 1.0054 | 0.14546 | 0.10522 | 0.0089784 | 0.047231 | 0.51557 | 1.6814 | 0.87444 | 0 | 0.10008 | 0.87432 | 0 | 8.0368 | 0 | 0
BigRiverDoeRun-SED-S3-2 |  | 1.5662 | 0.81925 | 1.748 | 2.1749 | 11.159 | 2.3631 | 0.06823 | 0.61249 | 1000.203 | 0.043449 | 0.42946 | 5.8511 | 20.3975 | 2.1874 | 9.0173 | 2.1498 | 0.42893 | 2.4586 | 0.3208 | 2.1128 | 0.43872 | 1.2898 | 0.17957 | 1.0876 | 0.15736 | 0.11656 | 0.014164 | 0.068556 | 0.29515 | 1.7283 | 0.88199 | 0 | 0.12063 | 1.0114 | 0.18176 | 6.3449 | 0 | 0
BigRiverDoeRun-SED-S3-3 |  | 1.6258 | 0.92757 | 1.8297 | 2.4619 | 11.5759 | 2.8324 | 0.076002 | 0.6079 | 1706.6506 | 0.065013 | 0.44772 | 5.9245 | 20.6326 | 2.2091 | 9.0973 | 2.1207 | 0.44656 | 2.4945 | 0.32408 | 2.1626 | 0.45896 | 1.2923 | 0.18249 | 1.1649 | 0.16764 | 0.13181 | 0.011986 | 0.057309 | 0.51956 | 1.7457 | 0.97855 | 0 | 0.13465 | 1.1047 | 0.020643 | 9.4337 | 0 | 0
CherokeeCounty-SED-S1-1 |  | 0.5108 | 1.7024 | 0.86345 | 1.1648 | 4.0126 | 0.86952 | 0.049637 | 0.0027301 | 91.5044 | 0.041343 | 0.26276 | 3.5864 | 5.1298 | 1.0371 | 4.5013 | 0.94129 | 0.20092 | 0.98595 | 0.07985 | 0.58449 | 0.11616 | 0.29058 | 0.036831 | 0.19181 | 0.026247 | 0.038228 | 0.0052966 | 0.051466 | 0.31611 | 0.56365 | 0.75374 | 0 | 0 | 0 | 0 | 9.6208 | 0 | 0
CherokeeCounty-SED-S1-2 |  | 0.62407 | 2.3961 | 1.2776 | 2.0799 | 14.6192 | 1.3511 | 0.078272 | #VALUE! | 427.9679 | 0.051976 | 0.37461 | 12.6231 | 14.2703 | 3.5952 | 16.2598 | 3.4705 | 0.78564 | 3.9198 | 0.42699 | 2.3173 | 0.44245 | 1.0293 | 0.10681 | 0.49807 | 0.064414 | 0.060313 | 0.0070564 | 0.10557 | 0.24761 | 0.88006 | 1.8249 | 0 | 0 | 0 | 0 | 13.189 | 0 | 0
CherokeeCounty-SED-S1-3 |  | 0.76356 | 1.2907 | 0.52709 | 1.0922 | 3.8798 | 0.85131 | 0.038473 | 0.0017308 | 60.6906 | 0.038315 | 0.24734 | 3.3789 | 4.4433 | 0.96147 | 4.2845 | 0.87342 | 0.18456 | 0.96066 | 0.072511 | 0.55514 | 0.11141 | 0.26633 | 0.028989 | 0.16286 | 0.022235 | 0.039505 | 0.0060178 | 0.034211 | 0.26996 | 0.58628 | 0.99272 | 0 | 0.07656 | 0.40744 | 0.087268 | 52.1526 | 1.4904 | 0
CherokeeCounty-SED-S2-1 |  | 0.8414 | 4.4667 | 2.5366 | 1.2583 | 5.8473 | 1.1186 | 0.13395 | 0.0096108 | 668.6193 | 0.024555 | 0.33379 | 5.0361 | 7.4227 | 1.4959 | 6.4619 | 1.3191 | 0.2743 | 1.44 | 0.13043 | 0.85887 | 0.16016 | 0.42104 | 0.050161 | 0.26676 | 0.037083 | 0.042388 | 0.0053794 | 0.21926 | 0.26197 | 0.78474 | 1.0087 | 0 | 0 | 0.10078 | 0 | 32.258 | 0 | 0
CherokeeCounty-SED-S2-2 |  | 0.68902 | 5.7611 | 2.031 | 1.7892 | 4.703 | 1.15 | 0.10615 | 0.035747 | 554.6125 | 0.038378 | 0.34545 | 4.3041 | 6.6766 | 1.259 | 5.4247 | 1.0771 | 0.23071 | 1.2143 | 0.10109 | 0.67005 | 0.12945 | 0.33814 | 0.038425 | 0.2092 | 0.030944 | 0.039935 | 0.0050146 | 0.15214 | 0.2464 | 0.66626 | 0.95391 | 0 | 0 | 0.080867 | 0 | 32.1067 | 0 | 0
CherokeeCounty-SED-S2-3 |  | 0.70832 | 3.7623 | 1.9988 | 1.4754 | 4.8806 | 1.135 | 0.10245 | #VALUE! | 1204.542 | 0.027825 | 0.32758 | 4.4991 | 7.1084 | 1.3193 | 5.7387 | 1.139 | 0.24412 | 1.224 | 0.10888 | 0.72097 | 0.14276 | 0.36209 | 0.043061 | 0.24719 | 0.034626 | 0.037271 | 0.0045479 | 0.17439 | 0.31659 | 0.76199 | 0.93985 | 0 | 0 | 0.061817 | 0 | 25.7964 | 0 | 0
CherokeeCounty-SED-S3-1 |  | 0.90074 | 3.822 | 2.0942 | 1.7531 | 5.8631 | 1.2909 | 0.12788 | 0.0025218 | 4636.8986 | 0.045706 | 0.37987 | 5.3181 | 8.473 | 1.5525 | 6.6379 | 1.3522 | 0.30444 | 1.4225 | 0.13483 | 0.86631 | 0.17129 | 0.4478 | 0.051294 | 0.2934 | 0.040241 | 0.048326 | 0.0052713 | 0.24487 | 0.16612 | 0.81458 | 1.0617 | 0 | 0 | 0.095289 | 0 | 25.8407 | 0 | 0
CherokeeCounty-SED-S3-2 |  | 0.72732 | 3.104 | 1.3903 | 1.3541 | 5.298 | 1.1407 | 0.10396 | 0.077317 | 650.8184 | 0.067378 | 0.34092 | 4.7186 | 7.3769 | 1.3928 | 6.0107 | 1.1993 | 0.26116 | 1.2764 | 0.11546 | 0.75465 | 0.1507 | 0.39056 | 0.045029 | 0.25423 | 0.039264 | 0.048495 | 0.010991 | 0.14519 | 0.11232 | 0.75812 | 0.97032 | 0 | 0 | 0.15203 | 0 | 19.9672 | 0.06857 | 0
CherokeeCounty-SED-S3-3 |  | 0.68661 | 2.6158 | 1.0004 | 1.1199 | 5.1829 | 0.97733 | 0.071027 | 0.035073 | 2282.9337 | 0.059632 | 0.2943 | 4.4064 | 6.8183 | 1.3485 | 5.8635 | 1.1852 | 0.2454 | 1.323 | 0.11538 | 0.76859 | 0.14315 | 0.38491 | 0.041827 | 0.25839 | 0.032591 | 0.045074 | 0.0079989 | 0.10082 | 0.13378 | 0.72436 | 1.0542 | 0 | 0 | 0.011895 | 0 | 17.4756 | 0 | 0

## ICP-MS Averages
Inductively Coupled Plasma-Optical Emission Spectrometer (ICP-AES) Samples Review
Sequence Name: Valmont Fly Ash
Digested By: Trevor Henry on 8/29/2024 electronic Lab book K-LRTD-NB-2993¦ Analyzed By: Mahendranath Arambewela. The final volume of the digestion was 50 mL.
Chain of Custody: Not Received
Sample Preparation: Total metal samples were acid digested per SOP K-LRTD-SOP-1193-0 (based on EPA Method 3051)
Instrument: Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
Electronic data found at: L:\Priv\CtrHill\CSSB Applied Research\Spring River Watershed\Data Reports with QA
Analytical Method: ICP analysis per SOP K-LRTD-SOP-1185-1 (based on EPA Method 6010B)
Raw Data Sheets: US-EPA CHL Facility Lab 131 Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
| MDL (mg/L) | 0.0033255 | 0.0058173 | 0.0039661 | 0.014698 | 0.00021689 | 0.00018146 | 0.0043578 | 0.00030673 | 0.00052682 | 0.00043378 | 0.0011291 | 0.0018146 | 0.06237 | 0.0018657 | 0.0041414 | 0.00054005 | 0.000586 | 0.0021117 | 0.0011879 | 0.0053703 | 0.0028544 | 0.0052039 | 0.005726 | 0.0044954 | 0.0034087 | 0.00015336 | 0.00021689 | 0.0014565 | 0.00030673
| MRL (mg/L) | 0.033255 | 0.058173 | 0.039661 | 0.14698 | 0.0021689 | 0.0018146 | 0.043578 | 0.0030673 | 0.0052682 | 0.0043378 | 0.011291 | 0.018146 | 0.6237 | 0.018657 | 0.041414 | 0.0054005 | 0.00586 | 0.021117 | 0.011879 | 0.053703 | 0.028544 | 0.052039 | 0.05726 | 0.044954 | 0.034087 | 0.0015336 | 0.0021689 | 0.014565 | 0.0030673
| MRL (mg/L) | <0.0333 | <0.0582 | <0.0397 | <0.147 | <0.0022 | <0.0018 | <0.0436 | <0.003 | <0.0053 | <0.0043 | <0.0113 | <0.0181 | <0.6237 | <0.0187 | <0.0414 | <0.0054 | <0.0059 | <0.0211 | <0.0119 | <0.0537 | <0.0285 | <0.052 | <0.0573 | <0.045 | <0.0341 | <0.0015 | <0.0022 | <0.0146 | <0.0031
| MRL (mg/kg) | 3.3255 | 5.8173 | 3.9661 | 14.6982 | 0.21689 | 0.18146 | 4.3578 | 0.30673 | 0.52682 | 0.43378 | 1.1291 | 1.8146 | 62.3696 | 1.8657 | 4.1414 | 0.54005 | 0.586 | 2.1117 | 1.1879 | 5.3703 | 2.8544 | 5.2039 | 5.726 | 4.4954 | 3.4087 | 0.15336 | 0.21689 | 1.4565 | 0.30673
| MRL (mg/kg)1 | <3.326 | <5.8 | <3.97 | <14.7 | <0.217 | <0.2 | <4.358 | <0.3 | <0.527 | <0.43 | <1.129 | <1.81 | <62.4 | <1.9 | <4.1 | <0.54 | <0.586 | <2.1 | <1.19 | <5.37 | <2.9 | <5.2 | <5.73 | <4.5 | <3.4 | <0.153 | <0.22 | <1.46 | <0.31
*MRL (mg/L)1 is the new MRL after the addition of acid for Total Metal Samples*
Sample | # of averaged measurements | 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
|  | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg | ug/kg
Total Metals after Acid Digestion | [9 empty] | Calibration failed
BigRiverDoeRun-SED-S1 | 3 | 1482.6784 | 679.7506 | 1669.1973 | 1828.4302 | 10434.5996 | 2106.0764 | 76.8421 | 914.6081 | 277042.7364 | 92.929 | 453.0809 | 5869.7715 | 20510.4566 | 2190.8204 | 9009.4842 | 2069.4687 | 438.3657 | 2378.5183 | 290.3049 | 1908.0184 | 398.0932 | 1136.3472 | 153.4366 | 958.7247 | 136.3634 | 106.6844 | 14.8917 | 59.278 | 764.2063 | 1494.1087 | 798.0122 | 0 | 27.5352 | 415.0638 | 37.1885 | 14029.1957 | 11.9767 | 0
BigRiverDoeRun-SED-S2 | 3 | 1545.3021 | 793.0597 | 1800.5779 | 2256.0148 | 10532.5273 | 2294.7553 | 64.7587 | 685.3325 | 296165.7685 | 56.6974 | 445.1329 | 5708.2671 | 20017.9278 | 2165.5804 | 8915.4873 | 2067.963 | 447.3896 | 2380.4873 | 292.6206 | 1945.8272 | 403.8268 | 1171.7395 | 159.2413 | 976.4311 | 142.7122 | 107.5705 | 11.0409 | 51.339 | 647.1835 | 1552.803 | 849.6663 | 0 | 47.9312 | 548.8692 | 0 | 11898.597 | 0 | 0
BigRiverDoeRun-SED-S3 | 3 | 1629.2897 | 942.1845 | 1957.9286 | 2717.6295 | 10827.4576 | 2509.716 | 60.6267 | 620.278 | 360732.6165 | 44.7815 | 471.4786 | 5735.2904 | 20333.967 | 2229.8618 | 9252.3717 | 2157.6127 | 472.686 | 2461.5899 | 311.6055 | 2027.081 | 421.0012 | 1212.4529 | 165.7973 | 1006.4 | 147.1863 | 117.0396 | 9.9333 | 49.6439 | 503.5779 | 1669.4323 | 956.9232 | 0 | 83.5188 | 779.9441 | 0 | 8996.7357 | 0 | 0
CherokeeCounty-SED-S1 | 3 | 1658.0717 | 924.9534 | 2031.4651 | 2795.2683 | 10768.211 | 2598.3122 | 64.4416 | 615.2054 | 246334.2634 | 43.3966 | 474.5038 | 5472.2879 | 19782.9272 | 2181.2478 | 9134.4237 | 2125.6676 | 475.4011 | 2436.0981 | 305.3464 | 2035.4084 | 421.0057 | 1227.776 | 166.434 | 1013.7235 | 148.1195 | 122.881 | 9.0843 | 40.8178 | 550.8214 | 1682.1249 | 993.7898 | 0 | 92.0165 | 837.8184 | 0 | 2510.6951 | 0 | 0
CherokeeCounty-SED-S2 | 3 | 1543.6936 | 764.1235 | 1920.6803 | 2271.2659 | 10527.4955 | 2438.5982 | 65.6769 | 570.1582 | 657735.8554 | 39.8821 | 423.3774 | 5407.1819 | 19637.9739 | 2122.4426 | 8841.5836 | 2049.3981 | 448.1382 | 2359.3977 | 297.4354 | 1991.604 | 411.9409 | 1188.1044 | 162.9737 | 997.5367 | 143.6561 | 117.2074 | 8.7824 | 42.161 | 541.0255 | 1673.3216 | 950.8996 | 0 | 93.7063 | 847.3291 | 0 | 4363.6818 | 0 | 0
CherokeeCounty-SED-S3 | 3 | 1516.9692 | 716.0846 | 1804.7005 | 2021.0762 | 10593.6424 | 2369.2534 | 69.5202 | 571.1317 | 827957.554 | 41.0733 | 398.156 | 5485.0375 | 19683.8542 | 2094.0723 | 8672.4033 | 2028.8483 | 426.3228 | 2344.7694 | 298.2986 | 2004.3458 | 415.2883 | 1213.29 | 167.8261 | 1021.3077 | 148.1879 | 115.4637 | 10.4227 | 49.4001 | 454.6687 | 1667.1407 | 880.1471 | 0 | 95.4423 | 854.5132 | 60.5867 | 5675.9453 | 0 | 0
|  | 45 Sc [ No Gas ] | 71 Ga [ No Gas ] | 72 Ge [ No Gas ] | 85 Rb [ No Gas ] | 89 Y [ No Gas ] | 90 Zr [ No Gas ] | 93 Nb [ No Gas ] | 115 In [ No Gas ] | 118 Sn [ No Gas ] | 125 Te [ No Gas ] | 133 Cs [ No Gas ] | 139 La [ No Gas ] | 140 Ce [ No Gas ] | 141 Pr [ No Gas ] | 146 Nd [ No Gas ] | 147 Sm [ No Gas ] | 153 Eu [ No Gas ] | 157 Gd [ No Gas ] | 159 Tb [ No Gas ] | 163 Dy [ No Gas ] | 165 Ho [ No Gas ] | 166 Er [ No Gas ] | 169 Tm [ No Gas ] | 172 Yb [ No Gas ] | 175 Lu [ No Gas ] | 178 Hf [ No Gas ] | 181 Ta [ No Gas ] | 182 W [ No Gas ] | 209 Bi [ No Gas ] | 232 Th [ No Gas ] | 238 U [ No Gas ] | 101 Ru [ No Gas ] | 103 Rh [ No Gas ] | 104 Pd [ No Gas ] | 105 Pd [ No Gas ] | 110 Pd [ No Gas ] | 193 Ir [ No Gas ] | 195 Pt [ No Gas ]
|  | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
BigRiverDoeRun-SED-S1 | 3 | 1.4827 | 0.67975 | 1.6692 | 1.8284 | 10.4346 | 2.1061 | 0.076842 | 0.91461 | 277.0427 | 0.092929 | 0.45308 | 5.8698 | 20.5105 | 2.1908 | 9.0095 | 2.0695 | 0.43837 | 2.3785 | 0.2903 | 1.908 | 0.39809 | 1.1363 | 0.15344 | 0.95872 | 0.13636 | 0.10668 | 0.014892 | 0.059278 | 0.76421 | 1.4941 | 0.79801 | 0 | 0.027535 | 0.41506 | 0.037188 | 14.0292 | 0.011977 | 0
BigRiverDoeRun-SED-S2 | 3 | 1.5453 | 0.79306 | 1.8006 | 2.256 | 10.5325 | 2.2948 | 0.064759 | 0.68533 | 296.1658 | 0.056697 | 0.44513 | 5.7083 | 20.0179 | 2.1656 | 8.9155 | 2.068 | 0.44739 | 2.3805 | 0.29262 | 1.9458 | 0.40383 | 1.1717 | 0.15924 | 0.97643 | 0.14271 | 0.10757 | 0.011041 | 0.051339 | 0.64718 | 1.5528 | 0.84967 | 0 | 0.047931 | 0.54887 | 0 | 11.8986 | 0 | 0
BigRiverDoeRun-SED-S3 | 3 | 1.6293 | 0.94218 | 1.9579 | 2.7176 | 10.8275 | 2.5097 | 0.060627 | 0.62028 | 360.7326 | 0.044782 | 0.47148 | 5.7353 | 20.334 | 2.2299 | 9.2524 | 2.1576 | 0.47269 | 2.4616 | 0.31161 | 2.0271 | 0.421 | 1.2125 | 0.1658 | 1.0064 | 0.14719 | 0.11704 | 0.0099333 | 0.049644 | 0.50358 | 1.6694 | 0.95692 | 0 | 0.083519 | 0.77994 | 0 | 8.9967 | 0 | 0
CherokeeCounty-SED-S1 | 3 | 1.6581 | 0.92495 | 2.0315 | 2.7953 | 10.7682 | 2.5983 | 0.064442 | 0.61521 | 246.3343 | 0.043397 | 0.4745 | 5.4723 | 19.7829 | 2.1812 | 9.1344 | 2.1257 | 0.4754 | 2.4361 | 0.30535 | 2.0354 | 0.42101 | 1.2278 | 0.16643 | 1.0137 | 0.14812 | 0.12288 | 0.0090843 | 0.040818 | 0.55082 | 1.6821 | 0.99379 | 0 | 0.092016 | 0.83782 | 0 | 2.5107 | 0 | 0
CherokeeCounty-SED-S2 | 3 | 1.5437 | 0.76412 | 1.9207 | 2.2713 | 10.5275 | 2.4386 | 0.065677 | 0.57016 | 657.7359 | 0.039882 | 0.42338 | 5.4072 | 19.638 | 2.1224 | 8.8416 | 2.0494 | 0.44814 | 2.3594 | 0.29744 | 1.9916 | 0.41194 | 1.1881 | 0.16297 | 0.99754 | 0.14366 | 0.11721 | 0.0087824 | 0.042161 | 0.54103 | 1.6733 | 0.9509 | 0 | 0.093706 | 0.84733 | 0 | 4.3637 | 0 | 0
CherokeeCounty-SED-S3 | 3 | 1.517 | 0.71608 | 1.8047 | 2.0211 | 10.5936 | 2.3693 | 0.06952 | 0.57113 | 827.9576 | 0.041073 | 0.39816 | 5.485 | 19.6839 | 2.0941 | 8.6724 | 2.0288 | 0.42632 | 2.3448 | 0.2983 | 2.0043 | 0.41529 | 1.2133 | 0.16783 | 1.0213 | 0.14819 | 0.11546 | 0.010423 | 0.0494 | 0.45467 | 1.6671 | 0.88015 | 0 | 0.095442 | 0.85451 | 0.060587 | 5.6759 | 0 | 0

## Case Narrative
Inductively Coupled Plasma-Optical Emission Spectrometer (ICP-AES) Samples Review
Sequence Name: Valmont Fly Ash
Digested By: Trevor Henry on 8/29/2024 electronic Lab book K-LRTD-NB-2993¦ Analyzed By: Mahendranath Arambewela. The final volume of the digestion was 50 mL.
Chain of Custody: Not Received
Sample Preparation: Total metal samples were acid digested per SOP K-LRTD-SOP-1193-0 (based on EPA Method 3051)
Instrument: Inductively coupled plasma-optical emission spectrometer (ICP-OES) Agilent 5900
Electronic data found at: L:\Priv\CtrHill\CSSB Applied Research\Spring River Watershed\Data Reports with QA
Analytical Method: ICP analysis per SOP K-LRTD-SOP-1185-1 (based on EPA Method 6010B)
Sample IDs
Equipment Full Calibration/Re-sloping Existing Calibration
Initial Calibration Verification (ICV)
Low-concentration calibration check
Initial and Continuous Calibration Blanks (ICB & CCB)
Continuing calibration verification (CCV)
Laboratory control sample (LCS)
Matrix Spike (MS)/ Matrix Spike Duplicate (MSD)
Method blank (MB)
Inter-element/interference check standards (ICS)
Dilution Test (DT)
Field Duplicates (FD)