## static_2019_burn_integrated_sci
burn | chamber_temp | chamber_RH | chamber_MCE | FRM_PM25_conc_vol | Reference_CO | Reference_CO2 | Reference_NO | Reference_NO2 | Reference_SO2 | Reference_BC | Reference_deltaC | PAM_2015_PM25 | PAM_2015_CO | PAM_2015_CO2 | PAM_2016_PM25 | PAM_2016_CO | PAM_2016_CO2 | accur_PAM_2015_PM25 | accur_PAM_2016_PM25 | cv_PM25_PAMS | accur_PAM_2015_CO | accur_PAM_2016_CO | cv_CO_PAMS | accur_PAM_2015_CO2 | accur_PAM_2016_CO2 | cv_CO2_PAMS | PAM_2015_PM25_cubftz | PAM_2016_PM25_cubftz | accur_PM25_PAM_2015_cubftz | accur_PM25_PAM_2016_cubftz | cv_PAM_cubftz | PAM_2015_CO_lin | PAM_2016_CO_lin | accur_CO_PAM_2015_lin | accur_CO_PAM_2016_lin | cv_PAM_CO_lin | PAM_2015_CO2_lin | PAM_2016_CO2_lin | accur_CO2_PAM_2015_lin | accur_CO2_PAM_2016_lin | cv_PAM_CO2_lin | neph_PM | accur_Neph_PM25 | neph_lin | accur_PM25_neph_lin | FEM_neph_PM25_Conc | accur_Neph_PM25_FEM | AQM_PM25 | AQM_NO2_scaled | accur_AQMesh_PM25 | accur_AQMesh_NO2_scaled | AQMesh_pm25_cubicftz | accur_PM25_AQMesh_cubicftz | AQMesh_NO2_linftz | accur_NO2_AQMesh_linftz | duke_14_TPM25 | duke_23_TPM25 | accur_TPM25_Duke_14 | accur_TPM25_Duke_23 | cv_Duke_TPM25 | Duke_14_PM25_cubicftz | Duke_23_PM25_cubicftz | accur_PM25_Duke14_cubftz | accur_PM25_Duke23_cubftz | cv_Duke_PM25_cubicftz | EBAM_1_PM25_RT | EBAM_2_PM25_RT | accur_EBAM_1_PM25_RT | accur_EBAM_2_PM25_RT | cv_PM25_RT_EBAM | EBAM_1_PM25_quadftz | EBAM_2_PM25_quadftz | accur_PM25_EBAM_1_quadftz | accur_PM25_EBAM_2_quadftz | cv_EBAM_quadftz | ESAM_1_PM25 | ESAM_2_PM25 | accur_PM25_Esamp_1 | accur_PM25_Esamp_2 | cv_PM25_Esamp | ESAM_1_PM25_quadftz | ESAM_2_PM25_quadftz | accur_PM25_Esamp_1_quadftz | accur_PM25_Esamp_2_quadftz | cv_PM25_Esamp_quadftz | FTS_PM25 | FTS_CO | FTS_NO2 | FTS_SO2 | accur_FTS_PM25 | accur_FTS_CO | accur_FTS_NO2 | FTS_PM25_lin | accur_PM25_FTS_lin | FTS_CO_quad | accur_CO_FTS_quad | FTS_NO2_cubic | accur_NO2_FTS_cubic | kunak_1_CO_ppm | kunak_1_NO2_ppb | kunak_1_PM25_ugm3_s | kunak_2_CO_ppm | kunak_2_NO2_ppb | kunak_2_PM25_ugm3_s | accur_PM25_Kunak_A14_1_s | accur_PM25_Kunak_A14_2_s | cv_Kunak_A14_PM25_s | accur_CO_Kunak_A14_1 | accur_CO_Kunak_A14_2 | cv_Kunak_A14_CO | accur_NO2_Kunak_A14_1 | accur_NO2_Kunak_A14_2 | cv_Kunak_A14_NO2 | kunak_1_NO2_linftz | kunak_2_NO2_linftz | accur_NO2_Kunak_1_linftz | accur_NO2_Kunak_2_linftz | cv_Kunak_NO2_linftz | kunak_1_CO_lin | kunak_2_CO_lin | accur_CO_Kunak_1_lin | accur_CO_Kunak_2_lin | cv_Kunak_CO_lin | CO2_Licor_850 | accur_licor_CO2 | Licor_CO2_linftz | accur_CO2_licor_linftz | PA_1_PM25_mean | PA_2_PM25_mean | PA_1_PM25_cubftz | PA_2_PM25_cubftz | PA_1_PM25_EPA | PA_2_PM25_EPA | PA_1_PM25_FSM | PA_2_PM25_FSM | accur_PA_1_RAW | accur_PA_2_RAW | cv_raw_PA | accur_PA_1_cubftz | accur_PA_2_cubftz | cv_PA_cubftz | accur_PA_1_FSM | accur_PA_2_FSM | cv_PA_FSM | accur_PA_1_EPA | accur_PA_2_EPA | cv_PA_EPA | PDR_1_PM25 | PDR_2_PM25 | accur_PDR_1_PM25 | accur_PDR_2_PM25 | cv_PDR_PM25 | PDR_1_PM25_quad | PDR_2_PM25_quad | accur_PM25_PDR_1_quad | accur_PM25_PDR_2_quad | cv_PDR_PM25_quad | APS_PM2_5_mass_ug | accur_APS_PM25 | TSI_APS_PM25_cubftz | accur_APS_PM25_cubftz | TSI_PM25 | DRX_1_PM25 | accur_DT_PM25 | accur_DRX_1_PM25 | cv_DT_PM25 | DT_PM25_EPA_linftz | DT_PM25_USFS_1_linftz | accur_PM25_EPA_DT_linftz | accur_PM25_USFS_DT1_linftz | cv_DT_PM25_linftz
1 | 21.7 | 30 | 0.854 | 516.1424 | 2.3149 | 473.6153 | 34.866 | 14.5631 | 3.0612 | 16.8187 | 29.9031 | [30 empty] | 2412.6471 | -267.4382 | 501.8075 | 97.2227 | 861.7321 | 33.0437 | [8 empty] | 467.4068 | 482.4068 | 90.5577 | 93.4639 | 2.2334 | 399.256 | 403.3053 | 77.3538 | 78.1384 | 0.71353 | 678.1667 | 668.8333 | 68.6086 | 70.4169 | 0.97991 | 564.0545 | 565.7514 | 90.7173 | 90.3885 | 0.2124 |  | 813.8475 |  | 42.3211 |  |  | 653.4419 |  | 73.3989 |  | 705.9 | 2.0005 | 10.5 | 10.1667 | 63.2354 | 86.4166 | 72.0999 | 727.401 | 59.0697 | 2.3936 | 96.6043 | 19.603 | 65.3925 | [25 empty] | 499.1222 | 94.6144 | 470.817 | 99.4092 | 605.1731 | 578.1039 | 421.3654 | 394.8987 | 384.9681 | 320.0108 | 424.9884 | 399.2304 | 82.7508 | 87.9953 | 3.2352 | 81.6374 | 76.5096 | 4.5855 | 82.3394 | 77.3489 | 4.4196 | 74.5856 | 62.0005 | 13.0307 | 784.6864 | 960.6027 | 47.9709 | 13.8881 | 14.2546 | 610.0912 | 618.4718 | 81.7979 | 80.1742 | 0.9647 | 292.8744 | 56.7429 | 615.6757 | 80.7159 | 1113.5028 | 1169.8136 | -15.7356 | -26.6455 | 3.4877 | 472.0361 | 481.0741 | 91.4546 | 93.2057 | 1.3411
2 | 22.3 | 28 | 0.943 | 197.6153 | 2.418 | 490.4291 | 57.9699 | 26.6515 | 6.0267 | 45.4215 | 24.9194 | [30 empty] | 922.4655 | -266.7986 | 195.1133 | 98.7339 | 305.3867 | 45.4641 | [8 empty] | 236.2881 | 254 | 80.4303 | 71.4675 | 5.1089 | 230.0636 | 204.7571 | 83.5801 | 96.386 | 8.2307 | 277.3333 | 226.6667 | 59.66 | 85.299 | 14.217 | 225.8574 | 190.4958 | 85.7085 | 96.3973 | 12.0112 | 225.4576 | 224.7458 | 85.9109 | 86.2711 | 0.22362 | 213.0912 | 190.6109 | 92.1687 | 96.4555 | 7.8751 | 241.7667 | 2.176 | 31.1667 | 1 | 77.6579 | 89.9915 | 83.0584 | 272.2858 | 62.2142 | 2.6063 | 92.2133 | 25.5652 | 95.9241 | [25 empty] | 516.4472 | 94.6948 | 487.1595 | 99.3333 | [20 empty] | 235.4793 | 276.022 | 80.8395 | 60.3236 | 11.2094 | 209.6736 | 207.5128 | 93.8981 | 94.9915 | 0.73249 | 70.6867 | 35.7699 | 184.2751 | 93.2494 | 408.0778 | 436.5424 | -6.5011 | -20.9051 | 4.766 | 172.9923 | 179.5237 | 87.5399 | 90.845 | 2.6202
3 | 21.8 | 23 | 0.934 | 331.7892 | 2.3278 | 483.2368 | 48.9728 | 30.3957 | 5.898 | 128.0484 | 20.8437 | [30 empty] | 1372.0066 | -213.5175 | 287.6333 | 86.6916 | 385.9878 | 83.6648 | [8 empty] | 386.6552 | 407.6667 | 83.4636 | 77.1308 | 3.7409 | 338.0933 | 331.019 | 98.1 | 99.7678 | 1.4952 | 484.6667 | 370.5 | 53.9233 | 88.3327 | 18.8801 | 399.0558 | 312.034 | 79.7261 | 94.0459 | 17.3069 | 274 | 277.1186 | 82.5825 | 83.5225 | 0.80027 | 257.5237 | 233.9154 | 77.6166 | 70.5012 | 6.7937 | 125.8 | 1.9593 | 36.8333 | 0 | 37.9156 | 84.1723 | 78.8205 | 158.5724 | 47.7931 | 2.3441 | 99.2983 | 29.5211 | 97.1226 | [25 empty] | 509.0528 | 94.6577 | 480.1844 | 99.3684 | 499.3962 | 518.6673 | 336.1658 | 348.7381 | 265.9261 | 276.1506 | 330.2542 | 346.3615 | 49.4839 | 43.6757 | 2.677 | 98.6809 | 94.8917 | 2.596 | 99.5373 | 95.608 | 3.3666 | 80.1491 | 83.2307 | 2.6674 | 321.2224 | 373.1831 | 96.8152 | 87.5241 | 10.5822 | 273.8501 | 268.043 | 82.5374 | 80.7871 | 1.5155 | 99.5199 | 29.9949 | 250.9983 | 75.6499 | 722.6639 | 766.9661 | -17.8081 | -31.1606 | 4.2059 | 306.3517 | 315.4071 | 92.3332 | 95.0625 | 2.0597
4 | 22.5 | 29 | 0.907 | 320.4388 | 1.4012 | 480.5956 | 31.9944 | 13.339 | 2.6454 | 19.4985 | 34.3541 | [30 empty] | 1594.3833 | -297.5626 | 333.4007 | 95.9549 | 546.215 | 29.5415 | [8 empty] | 347.7931 | 364.3833 | 91.4635 | 86.2861 | 3.2944 | 310.3614 | 293.1112 | 96.8551 | 91.4718 | 4.0425 | 434.6667 | 425.3333 | 64.3527 | 67.2653 | 1.5348 | 356.9473 | 358.5023 | 88.6067 | 88.1214 | 0.30736 | 461.4915 | 507.2203 | 55.9814 | 41.7107 | 6.6759 | 424.325 | 419.1862 | 67.58 | 69.1837 | 0.86155 | 400.1333 | 1.2398 | 6 | 2.3333 | 75.1295 | 88.4838 | 44.9809 | 427.5754 | 66.5656 | 1.5069 | 92.4571 | 23.1276 | 26.6165 | [25 empty] | 507.0833 | 94.4886 | 478.3266 | 99.5279 | 452.2589 | 454.9327 | 302.011 | 302.7027 | 240.8372 | 242.3245 | 290.8851 | 292.6683 | 58.8626 | 58.0282 | 0.41682 | 94.2492 | 94.4651 | 0.16176 | 90.7771 | 91.3336 | 0.43213 | 75.1586 | 75.6227 | 0.43532 | 500.4273 |  | 43.8306 |  |  | 405.9938 |  | 73.3006 | [6 empty] | 727.0389 | 774.3729 | -26.8886 | -41.6602 | 4.4585 | 308.2063 | 318.4531 | 96.1826 | 99.3803 | 2.3124
5 | 21.7 | 29 | 0.913 | 847.2334 | 3.484 | 484.4193 | 45.348 | 29.5913 | 5.7554 | 135.0211 | 57.1073 | [30 empty] | 4054.0189 | -278.5008 | 839.6183 | 99.1012 | 1200.8399 | 58.2634 | [8 empty] | 773.5254 | 766.4915 | 91.3002 | 90.4699 | 0.64593 | 763.8939 | 807.8653 | 90.1633 | 95.3533 | 3.9564 | 1021.3333 | 1021.1667 | 79.4508 | 79.4704 | 0.01154 | 864.6441 | 868.2214 | 97.945 | 97.5228 | 0.29195 | 1014.4746 | 1112.1017 | 80.2603 | 68.7373 | 6.4924 | 871.7257 | 867.4545 | 97.1091 | 97.6133 | 0.34731 | 962.8545 | 3.0265 | 17.8333 | 3.9167 | 86.3531 | 86.868 | 60.2655 | 979.3629 | 84.4046 | 3.6806 | 94.3586 | 18.5691 | 62.7519 |  |  |  | 3.5993 | 13.9817 | 733.8617 |  | 86.6186 |  |  | 96.6908 |  |  | 47.2493 |  |  | 21.45 |  | 72.4875 |  |  | 3.3748 |  | 96.8637 |  | 510.7944 | 94.5553 | 481.8273 | 99.4649 | 927.3249 | 951.8482 | 798.7001 | 802.7085 | 728.9825 | 757.9968 | 767.7181 | 795.4257 | 90.5467 | 87.6522 | 1.8456 | 94.2716 | 94.7447 | 0.35398 | 90.6147 | 93.8851 | 2.5068 | 86.0427 | 89.4673 | 2.7594 | 1148.3727 |  | 64.4562 |  |  | 861.3575 |  | 98.3329 |  |  | 334.0617 | 39.4297 | 683.5697 | 80.6826 | 1973.9167 | 2077.7966 | -32.9838 | -45.2449 | 3.6258 | 836.7828 | 854.4731 | 98.7665 | 99.1455 | 1.4792
6 | 21.9 | 28 | 0.964 | 122.5287 | 1.3439 | 460.7422 | 40.4281 | 25.4621 | 4.9567 | 35.9753 | 17.5642 | [30 empty] | 516.279 | -221.3536 | 111.516 | 91.0122 | 153.7777 | 74.4965 | [8 empty] | 162.069 | 175.6441 | 67.7298 | 56.6506 | 5.6847 | 170.5289 | 145.0324 | 60.8253 | 81.6339 | 11.4265 | 158.3333 | 143.6667 | 70.7785 | 82.7485 | 6.8681 | 128.1297 | 120.5936 | 95.4288 | 98.4207 | 4.285 | 96.9153 | 104.3898 | 79.096 | 85.1963 | 5.2511 | 92.9551 | 89.4992 | 75.864 | 73.0435 | 2.6787 | 46.0545 | 1.0897 | 31.75 | 0.083333 | 37.5868 | 81.0896 | 75.305 | 80.3764 | 65.598 | 1.3387 | 99.6169 | 25.9815 | 97.96 | [25 empty] | 486.3528 | 94.4415 | 458.7717 | 99.5723 | 212.7101 | 211.1608 | 146.2716 | 143.9279 | 115.4344 | 116.3982 | 114.8511 | 115.8006 | 26.3997 | 27.6642 | 0.51692 | 80.6226 | 82.5354 | 1.1421 | 93.7341 | 94.509 | 0.58215 | 94.2101 | 94.9967 | 0.58797 | 118.0286 |  | 96.3274 |  |  | 120.7663 |  | 98.5617 |  |  | 25.0482 | 20.4427 | 68.9575 | 56.2787 | 254.1917 | 270.4068 | -7.4549 | -20.6886 | 4.3713 | 107.7569 | 111.2021 | 87.9443 | 90.756 | 2.2252
7 | 21.8 | 35 | 0.945 | 178.8981 | 1.1527 | 468.0744 | 39.8369 | 12.6863 | 2.5763 | 21.5831 | 19.7235 | [30 empty] | 922.7267 | -315.7833 | 195.167 | 90.9061 | 271.0757 | 48.4748 | [8 empty] | 241.9655 | 258.4068 | 64.7468 | 55.5565 | 4.6468 | 234.3322 | 208.1419 | 69.0136 | 83.6534 | 8.3708 | 244.5 | 237.5 | 63.33 | 67.2429 | 2.0538 | 198.7709 | 199.6321 | 88.8916 | 88.4102 | 0.30569 | 234.7119 | 256.5593 | 68.8014 | 56.5892 | 6.2892 | 221.6015 | 216.9661 | 76.1298 | 78.7208 | 1.4947 | 236.7167 | 0.9935 | 15.6667 | 3.5 | 67.6807 | 86.1859 | 76.5077 | 267.3339 | 50.5664 | 1.2321 | 93.1178 | 18.3619 | 55.2628 |  |  |  | 1.2783 |  | 199.5809 |  | 88.4388 |  |  | 89.1066 | [10 empty] | 1.1773 |  | 97.8658 |  | 503.0806 | 92.5212 | 474.5509 | 98.6164 | 316.3139 | 312.6539 | 211.74 | 208.4056 | 169.3435 | 167.5119 | 168.823 | 166.9385 | 23.1877 | 25.2335 | 0.82293 | 81.6421 | 83.506 | 1.1223 | 94.3682 | 93.3149 | 0.79375 | 94.6592 | 93.6353 | 0.76896 | 257.2275 | 305.3969 | 56.2157 | 29.29 | 12.1079 | 226.0098 | 225.8899 | 73.6656 | 73.7326 | 0.037513 | 60.7039 | 33.9321 | 160.1151 | 89.5007 | 420.4194 | 448.9322 | -35.0049 | -50.9429 | 4.6383 | 178.2242 | 184.6189 | 99.6233 | 96.8022 | 2.4924
8 | 19.8 | 38 | 0.949 | 459.2647 | 2.8181 | 503.3032 | 82.2226 | 35.9571 | 7.8684 | 44.7002 | 59.8972 | [30 empty] | 2180.0269 | -274.6777 | 453.932 | 98.8389 | 611.6504 | 66.8196 | [8 empty] | 485.2069 | 498.3559 | 94.3514 | 91.4883 | 1.8906 | 413.8082 | 420.091 | 90.1023 | 91.4704 | 1.0655 | 558.5 | 557.5 | 78.3926 | 78.6103 | 0.12672 | 461.6317 | 470.8112 | 99.4846 | 97.4859 | 1.3922 | 473.9492 | 518.1356 | 96.8026 | 87.1815 | 6.2988 | 435.1368 | 427.7729 | 94.7464 | 93.143 | 1.2069 | 471.4909 | 2.3756 | -1.3333 | 7.0833 | 97.3379 | 84.2969 | -3.7081 | 497.5465 | 91.6645 | 2.8519 | 98.8 | 35.0394 | 97.4479 |  |  |  | 3.0593 | 23.03 | 397.9735 |  | 86.6545 |  |  | 91.4406 |  |  | 64.0486 |  |  | 35.3315 |  | 98.2602 |  |  | 2.8635 |  | 98.3889 |  | 540.6361 | 92.5824 | 509.9766 | 98.6741 | 612.6294 | 620.9509 | 427.9107 | 430.5258 | 401.5983 | 409.1819 | 432.0633 | 439.1887 | 66.6064 | 64.7945 | 0.954 | 93.173 | 93.7424 | 0.43081 | 94.0772 | 95.6287 | 1.1566 | 87.4438 | 89.095 | 1.3228 | 555.3397 | 669.3467 | 79.0807 | 54.2569 | 13.165 | 445.9477 | 448.0517 | 97.1004 | 97.5585 | 0.33283 | 186.0969 | 40.5206 | 428.3974 | 93.279 | 1024 | 1060.0339 | -22.9651 | -30.8111 | 2.4452 | 434.0941 | 435.9283 | 94.5194 | 94.9188 | 0.29816
9 | 19.7 | 39 | 0.899 | 1539.4994 | 5.9195 | 491.8491 | 65.4137 | 36.9833 | 7.6793 | 63.7819 | 131.7013 | [30 empty] | 7383.7944 | -279.6231 | 1524.9194 | 99.0529 | 2323.6221 | 49.0664 | [8 empty] | 1102.6379 | 1060.8793 | 71.6231 | 68.9107 | 2.7296 | 1655.7078 | 1582.0598 | 92.4515 | 97.2354 | 3.2168 | 1836.8333 | 1912.8333 | 80.6863 | 75.7497 | 2.8664 | 1619.851 | 1647.3824 | 94.7807 | 92.9923 | 1.1917 | 2021.339 | 2227.1864 | 68.7015 | 55.3305 | 6.8521 | 1515.4369 | 1546.6278 | 98.437 | 99.537 | 1.4406 | 1285.25 | 4.5638 | -0.66667 | 9 | 83.4849 | 77.0989 | -1.8026 | 1295.4942 | 84.1504 | 5.8047 | 98.0623 | 33.5971 | 90.8439 | 5.449 | 18.5957 | 1270.2475 | 6.4016 | 16.5833 | 1234.1775 | 82.5104 | 80.1675 | 2.0368 | 92.0524 | 91.8542 | 11.3685 | 50.2814 | 44.84 | 8.09 | 24.2743 | 25.4413 | 65.6358 | 68.7913 | 5.2166 | 6.1836 | 6.0279 | 95.5376 | 98.1688 | 1.8037 | 528.4556 | 92.5574 | 498.4868 | 98.6505 | 1294.7327 | 1339.2848 | 1583.8758 | 1578.32 | 1216.7113 | 1283.5805 | 1258.8847 | 1322.1714 | 84.1009 | 86.9948 | 2.392 | 97.1175 | 97.4784 | 0.24847 | 81.7723 | 85.8832 | 3.4676 | 79.0329 | 83.3765 | 3.7823 | 2207.2973 | 2717.0072 | 56.6224 | 23.5136 | 14.6384 | 1529.9259 | 1507.3199 | 99.3781 | 97.9097 | 1.0526 | 681.7695 | 44.2851 | 1392.7805 | 90.4697 | 3768.4167 | 3796.1017 | -44.782 | -46.5803 | 0.51758 | 1597.5072 | 1561.1089 | 96.232 | 98.5963 | 1.6297
10 | 19.1 | 34 | 0.957 | 78.2301 | 1.0873 | 490.9146 | 53.0604 | 14.8711 | 3.6516 | 13.0694 | 12.6717 | [30 empty] | 317.9716 | -206.4569 | 70.7024 | 90.3775 | 91.7192 | 82.7572 | [8 empty] | 101.3276 | 109.1667 | 70.4749 | 60.4544 | 5.2667 | 114.6029 | 93.26 | 53.5053 | 80.7875 | 14.5208 | 102.3333 | 103 | 69.1893 | 68.3371 | 0.45916 | 82.5643 | 86.4064 | 94.4597 | 89.5484 | 3.2156 | 68.1864 | 74.7797 | 87.1614 | 95.5894 | 6.522 | 65.6134 | 64.2827 | 83.8723 | 82.1713 | 1.4488 | 64.025 | 0.78173 | 22.0909 | 1 | 81.8419 | 71.8932 | 51.4508 | 97.9976 | 74.7315 | 1.0006 | 92.0255 | 19.951 | 65.8402 | 0.89526 | 15.5096 | 69.7017 | 1.1289 | 11.7041 | 68.5298 | 89.0984 | 87.6003 | 1.199 | 82.3344 | 96.1754 | 16.3257 | 95.7063 | 78.7035 | 19.7763 | 20.2458 | 17.9558 | 63.8581 | 79.2571 | 0.72954 | 1.0398 | 1.0359 | 95.6309 | 95.2703 | 0.26716 | 527.0333 | 92.6426 | 497.1453 | 98.7308 | 130.357 | 125.5302 | 92.9025 | 88.3072 | 71.9021 | 69.459 | 71.3172 | 68.8649 | 33.3672 | 39.5372 | 2.6676 | 81.2446 | 87.1187 | 3.5863 | 91.1634 | 88.0286 | 2.474 | 91.911 | 88.7881 | 2.4441 | 81.3729 | 97.388 | 95.9826 | 75.5109 | 12.6699 | 92.7824 | 94.3238 | 81.398 | 79.4277 | 1.165 | 61.0309 | 78.0146 | 160.9156 | -5.6953 | 148.5944 | 159.569 | 10.0546 | -3.9739 | 5.0364 | 62.9922 | 65.6211 | 80.5216 | 83.8822 | 2.8908
11 | 19.1 | 33 | 0.94 | 631.1254 | 3.8954 | 529.8098 | 91.7016 | 48.0706 | 10.1093 | 62.0014 | 65.6638 | [30 empty] | 2803.4979 | -244.2062 | 582.2485 | 92.2556 | 797.9582 | 73.5658 | [8 empty] | 668.1552 | 664.65 | 94.1327 | 94.6881 | 0.37193 | 604.1071 | 633.2792 | 95.719 | 99.6587 | 3.3341 | 743.6667 | 738.3333 | 82.1682 | 83.0132 | 0.50894 | 620.6409 | 625.173 | 98.3388 | 99.0569 | 0.51447 | 521.678 | 550.5254 | 82.6584 | 87.2292 | 3.8049 | 476.2475 | 453.1454 | 75.46 | 71.7996 | 3.5153 | 450.375 | 3.0326 | 47.3333 | 1.5 | 71.3606 | 77.8506 | 98.4662 | 476.8409 | 75.5541 | 3.6885 | 94.6892 | 34.01 | 70.7501 | 3.2981 | 36.4396 | 401.2738 | 3.9933 | 33.4283 | 386.4198 | 63.5807 | 61.2271 | 2.6669 | 84.6669 | 97.4865 | 13.4837 | 75.8044 | 69.54 | 6.0952 | 47.5672 | 51.2841 | 98.9527 | 93.3152 | 0.31466 | 3.754 | 3.7478 | 96.3709 | 96.21 | 0.11809 | 568.5889 | 92.6806 | 536.3442 | 98.7666 | 779.1356 | 791.2319 | 598.1405 | 597.2495 | 564.4301 | 577.1691 | 599.8883 | 611.6759 | 76.5482 | 74.6316 | 1.0894 | 94.7736 | 94.6325 | 0.10541 | 95.0506 | 96.9183 | 1.3759 | 89.4323 | 91.4508 | 1.5781 | 623.0253 | 741.009 | 98.7166 | 82.5893 | 12.2324 | 494.8481 | 490.5904 | 78.4073 | 77.7326 | 0.61102 | 492.0423 | 77.9627 | 954.941 | 48.6923 | 1393.7667 | 1433.2759 | -20.8383 | -27.0984 | 1.9764 | 590.8456 | 589.4204 | 93.6178 | 93.392 | 0.17077
12 | 19.6 | 32 | 0.943 | 601.5567 | 2.5528 | 479.0936 | 77.7909 | 33.7759 | 7.8552 | 31.2366 | 71.255 |  |  |  | 591.037 | 2.2749 | 1719.4815 |  | 98.2513 |  |  | 89.1133 |  |  | -158.903 |  |  | 554.8119 |  | 92.2294 |  |  | 2.3265 |  | 91.1344 |  |  | 472.5376 |  | 98.6316 |  | 3400.4845 | -365.2807 | 705.1144 | 82.7851 | 1044.9531 | 26.2918 | [8 empty] | 683.9483 | 689.0667 | 86.3036 | 85.4528 | 0.5272 | 625.2209 | 671.641 | 96.0662 | 88.3495 | 5.0621 | 659.3333 | 708.6667 | 90.3955 | 82.1945 | 5.1 | 547.8529 | 599.7938 | 91.0725 | 99.7069 | 6.4005 | 859.8136 | 915.4746 | 57.0686 | 47.8158 | 4.434 | 753.2984 | 727.8982 | 74.7752 | 78.9976 | 2.4252 | 796.8818 | 2.1009 | 32.6364 | 8 | 67.5301 | 82.2981 | 96.6262 | 816.6151 | 64.2497 | 2.5149 | 98.5149 | 26.6149 | 78.7987 | 2.1845 | 25.6022 | 734.6083 | 2.7145 | 22.4876 | 709.7523 | 77.8821 | 82.0141 | 2.4337 | 85.5722 | 93.6646 | 15.3009 | 75.8003 | 66.5789 | 9.1594 | 33.4204 | 34.4993 | 98.9475 | 97.8581 | 0.76906 | 2.4961 | 2.5371 | 97.7793 | 99.3842 | 1.1512 | 515.1972 | 92.4642 | 485.9804 | 98.5625 | 810.774 | 831.5724 | 636.5797 | 643.8667 | 598.0096 | 620.5432 | 634.2633 | 655.9138 | 65.2207 | 61.7633 | 1.7909 | 94.1779 | 92.9666 | 0.80482 | 94.563 | 90.9639 | 2.3732 | 99.4103 | 96.8438 | 2.6152 | 934.1342 | 1122.0117 | 44.7139 | 13.482 | 12.9222 | 714.6824 | 710.0946 | 81.1945 | 81.9572 | 0.45538 | 332.5865 | 55.2876 | 681.1501 | 86.7688 | 1639.25 | 1591.3793 | -72.5013 | -64.5435 | 2.0955 | 694.9109 | 654.4388 | 84.4812 | 91.2091 | 4.2418
13 | 19.2 | 40 | 0.95 | 85.2376 | 0.78285 | 480.0925 | 58.4469 | 11.0593 | 2.153 | 5.0482 | 11.3021 |  |  |  | 94.5128 | 0.64164 | 1713.1026 |  | 89.1184 |  |  | 81.9623 |  |  | -156.8276 |  |  | 92.4804 |  | 91.5028 |  |  | 0.74615 |  | 95.3124 |  |  | 469.9698 |  | 97.8915 |  | 388.8294 | -256.171 | 85.2856 | 99.9437 | 106.9715 | 74.502 | [8 empty] | 122.7241 | 132.2 | 56.0212 | 44.9042 | 5.2568 | 135.2124 | 111.4642 | 41.3701 | 69.2313 | 13.615 | 98 | 91 | 85.0273 | 93.2397 | 5.2378 | 79.0497 | 76.3261 | 92.7404 | 89.5451 | 2.479 | 78.7458 | 83.4068 | 92.3838 | 97.8521 | 4.0651 | 75.6838 | 71.6436 | 88.7915 | 84.0516 | 3.8782 | 46.4917 | 0.54133 | 24.5833 | 8 | 54.5436 | 69.1491 | -22.2856 | 80.805 | 94.7997 | 0.74332 | 94.9501 | 21.2281 | 8.0527 | 0.67196 | 13.1393 | 76.8317 | 0.83205 | 9.4633 | 74.1112 | 90.1383 | 86.9465 | 2.549 | 85.8346 | 93.7149 | 15.0538 | 81.1932 | 85.5686 | 22.9998 | 17.1516 | 14.5182 | 44.9132 | 68.7249 | 0.022584 | 0.7876 | 0.75485 | 99.393 | 96.4228 | 3.0033 | 514.65 | 92.8019 | 485.4642 | 98.8811 | 150.5039 | 147.5392 | 106.2101 | 102.8421 | 82.1296 | 80.6661 | 81.5367 | 80.0768 | 23.4302 | 26.9084 | 1.4067 | 75.3954 | 79.3466 | 2.2784 | 95.6581 | 93.9454 | 1.2775 | 96.3536 | 94.6367 | 1.2713 | 90.0898 | 107.4942 | 94.3075 | 73.8888 | 12.4573 | 99.4473 | 100.7933 | 83.3293 | 81.7503 | 0.95056 | 41.9156 | 49.175 | 113.0602 | 67.3589 | 178.8 | 184.7069 | -9.7665 | -16.6964 | 2.2981 | 75.7969 | 75.9589 | 88.9242 | 89.1142 | 0.15094
14 | 18.9 | 46 | 0.937 | 913.0589 | 3.0809 | 488.4615 | 135.129 | 29.2309 | 7.7946 | 40.2192 | 80.6886 |  |  |  | 677.6842 | 2.8911 | 1689.9474 |  | 74.2213 |  |  | 93.8374 |  |  | -145.9735 |  |  | 654.8315 |  | 71.7184 |  |  | 2.9227 |  | 94.864 |  |  | 478.9804 |  | 98.059 |  | 4302.7903 | -271.25 | 890.8179 | 97.5641 | 1300.7149 | 57.5432 | [8 empty] | 781.7931 | 769.5593 | 85.6235 | 84.2836 | 1.1152 | 778.4772 | 813.7517 | 85.2604 | 89.1237 | 3.1331 | 1096.5 | 1074.6667 | 79.9092 | 82.3004 | 1.4221 | 931.8455 | 914.4178 | 97.9425 | 99.8512 | 1.3349 | 1107.7966 | 1211.7627 | 78.6719 | 67.2854 | 6.3387 | 940.666 | 935.9228 | 96.9764 | 97.4959 | 0.35745 | 1097.05 | 2.5815 | 25.0909 | 17.3636 | 79.8489 | 83.7877 | 85.8368 | 1110.951 | 78.3265 | 3.1095 | 99.0745 | 21.5209 | 73.6236 | 2.7676 | 22.2132 | 923.6012 | 3.3617 | 19.7504 | 875.9667 | 98.8454 | 95.9376 | 3.7434 | 89.8309 | 90.8886 | 13.7058 | 75.9921 | 67.5667 | 8.3 | 28.9965 | 30.3 | 99.1978 | 96.3426 | 2.9597 | 3.1548 | 3.1498 | 97.6021 | 97.7667 | 0.11374 | 524.6389 | 92.5936 | 494.8866 | 98.6846 | 887.8863 | 906.5538 | 740.0023 | 739.176 | 683.3835 | 704.8036 | 721.2235 | 741.5221 | 97.2431 | 99.2875 | 1.4712 | 81.0465 | 80.956 | 0.078992 | 78.9898 | 81.213 | 1.9625 | 74.8455 | 77.1915 | 2.1822 | 1190.8124 | 1501.149 | 69.5799 | 35.5912 | 16.3034 | 889.9574 | 917.3968 | 97.4699 | 99.5249 | 2.1471 | 530.1706 | 58.0653 | 1029.1921 | 87.2809 | 2087.0278 | 2055.5172 | -28.5754 | -25.1243 | 1.0757 | 884.7328 | 845.3109 | 96.8977 | 92.5801 | 3.2225
15 | 19 | 52 | 0.96 | 78.3871 | 0.95199 | 456.4207 | 49.4086 | 11.8989 | 2.0838 | 16.114 | 11.1875 |  |  |  | 81.25 | 0.86555 | 1672.7727 |  | 96.3478 |  |  | 90.9198 |  |  | -166.498 |  |  | 79.9643 |  | 97.9879 |  |  | 0.9628 |  | 98.864 |  |  | 453.735 |  | 99.4116 |  | 326.7884 | -216.8904 | 72.517 | 92.5113 | 88.9466 | 86.5291 | 54.1932 | 17.575 | 69.1353 | 52.2976 | 102.8194 | 68.8313 | 24.8521 | -8.86 | 109.2586 | 117.2333 | 60.6166 | 50.4431 | 4.9794 | 122.3675 | 99.6763 | 43.8933 | 72.841 | 14.4523 | 105.5 | 104.1667 | 65.4116 | 67.1125 | 0.89934 | 85.1337 | 87.3866 | 91.3933 | 88.5192 | 1.8468 | 62.0847 | 65.7966 | 79.2027 | 83.938 | 4.1049 | 59.7832 | 56.606 | 76.2666 | 72.2133 | 3.8605 | 17.1417 | 0.7828 | 23.7 | 6.1 | 21.868 | 82.228 | 0.8224 | 52.0253 | 66.3696 | 1.0018 | 94.768 | 20.7433 | 25.671 | 0.88873 | 14.0334 | 57.3941 | 1.0817 | 10.4191 | 53.4009 | 73.2187 | 68.1246 | 5.0969 | 93.3549 | 86.3722 | 13.8515 | 82.0617 | 87.5634 | 20.9033 | 18.3188 | 15.9845 | 46.0469 | 65.6646 | 0.21381 | 1.0325 | 0.99122 | 91.547 | 95.8788 | 2.8819 | 486.8361 | 93.3361 | 459.2276 | 99.385 | 139.8733 | 136.2453 | 99.2136 | 95.4094 | 75.8542 | 77.1426 | 75.2812 | 76.5567 | 21.5608 | 26.1891 | 1.8582 | 73.4312 | 78.2844 | 2.7643 | 96.0377 | 97.6649 | 1.188 | 96.7687 | 98.4123 | 1.1909 | 68.3773 | 85.0381 | 87.2303 | 91.5152 | 15.3583 | 82.8343 | 86.4074 | 94.3267 | 89.7683 | 2.9858 | 36.7273 | 46.8537 | 99.6866 | 72.8278 | 155.5806 | 164.5763 | 1.5228 | -9.9532 | 3.9736 | 65.9537 | 67.6803 | 84.1384 | 86.3411 | 1.8273
16 | 18.7 | 53 | 0.926 | 797.2869 | 3.5931 | 472.0029 | 113.6429 | 36.0423 | 4.4945 | 38.0959 | 85.8514 |  |  |  | 682.9091 | 3.4963 | 1690.9091 |  | 85.6541 |  |  | 97.3048 |  |  | -158.2413 |  |  | 661.2394 |  | 82.9362 |  |  | 3.5083 |  | 97.6393 |  |  | 461.0358 |  | 97.6765 |  | 3870.3087 | -285.4349 | 801.8089 | 99.4328 | 1045.4344 | 68.876 | 402.4675 | 26.7425 | 50.4796 | 74.1974 | 671.9097 | 84.2745 | 37.8155 | 95.0804 | 812.1379 | 784.7 | 98.1373 | 98.4213 | 2.43 | 834.8531 | 843.3814 | 95.2882 | 94.2186 | 0.71866 | 946.6667 | 944.8333 | 81.264 | 81.4939 | 0.13707 | 798.3739 | 802.4311 | 99.8637 | 99.3548 | 0.35842 | 751.8644 | 793.7627 | 94.3029 | 99.558 | 3.8336 | 667.5544 | 638.5393 | 83.7283 | 80.089 | 3.1417 | 564.7833 | 3.1055 | 36.6364 | 16.6364 | 70.8382 | 86.4299 | 98.3519 | 589.0262 | 73.8788 | 3.7841 | 94.6864 | 29.3915 | 81.5471 | 3.2737 | 28.2048 | 597.9354 | 3.9752 | 25.082 | 564.7315 | 74.9963 | 70.8316 | 4.0388 | 91.1093 | 89.3661 | 13.6867 | 78.2547 | 69.5903 | 8.288 | 36.8177 | 38.4795 | 97.8487 | 93.2381 | 0.55268 | 3.7264 | 3.7306 | 96.2903 | 96.173 | 0.079919 | 499.875 | 94.0949 | 471.5271 | 99.8992 | 911.6442 | 936.1641 | 774.8659 | 780.1734 | 710.6956 | 739.3821 | 749.0528 | 776.4873 | 85.6567 | 82.5813 | 1.8766 | 97.1878 | 97.8535 | 0.48268 | 93.9502 | 97.3912 | 2.5432 | 89.1393 | 92.7373 | 2.7977 | 810.5435 | 1013.7056 | 98.3373 | 72.8556 | 15.7497 | 628.321 | 648.8374 | 78.8074 | 81.3807 | 2.2718 | 538.8932 | 67.5909 | 1046.9472 | 68.6863 | 1904.5556 | 1901.8644 | -38.8796 | -38.542 | 0.099985 | 807.3792 | 782.1227 | 98.7342 | 98.098 | 2.2471
17 | 18.8 | 53 | 0.931 | 905.4588 | 3.1762 | 455.4836 | 123.9439 | 38.3067 | 3.0382 | 68.6069 | 79.6616 |  |  |  | 768.7045 | 3.0169 | 1635.2727 |  | 84.8967 |  |  | 94.9863 |  |  | -159.019 |  |  | 773.5349 |  | 85.4302 |  |  | 3.0445 |  | 95.8538 |  |  | 453.9014 |  | 99.6526 |  | 4670.6736 | -315.835 | 966.532 | 93.255 | 1251.2446 | 61.811 | 474.6797 | 26.5375 | 52.4242 | 69.2764 | 871.818 | 96.2847 | 37.5256 | 97.9609 | 891 | 868.2373 | 98.4031 | 95.8892 | 1.8298 | 1004.1134 | 1025.1963 | 89.1045 | 86.776 | 1.4693 | 1057.6667 | 1104.3333 | 83.19 | 78.0361 | 3.0526 | 897.0662 | 940.065 | 99.0731 | 96.1781 | 3.31 | 1020.6271 | 1115.0678 | 87.2807 | 76.8505 | 6.2537 | 876.3291 | 869.5143 | 96.7829 | 96.0302 | 0.55204 | 805.875 | 2.7643 | 31.7273 | 15.6364 | 89.0018 | 87.0321 | 82.8243 | 825.4335 | 91.1619 | 3.3417 | 94.7884 | 25.9653 | 67.7826 | 2.7246 | 26.4809 | 797.2787 | 3.3501 | 23.353 | 769.3706 | 88.0525 | 84.9702 | 2.5193 | 85.7838 | 94.5242 | 14.5607 | 69.1286 | 60.9633 | 8.8764 | 34.5674 | 35.8271 | 90.2384 | 93.5268 | 0.66569 | 3.1062 | 3.1388 | 97.7986 | 98.8234 | 0.73707 | 483.6528 | 93.8155 | 456.2248 | 99.8373 | 1004.5981 | 1039.6098 | 926.2941 | 939.9724 | 822.123 | 865.979 | 862.155 | 904.438 | 89.0509 | 85.1842 | 2.4222 | 97.6989 | 96.1883 | 1.0365 | 95.2175 | 99.8873 | 3.3849 | 90.7963 | 95.6398 | 3.6741 | 1116.6017 | 1410.08 | 76.6811 | 44.269 | 16.4263 | 839.8485 | 868.6156 | 92.7539 | 95.931 | 2.3813 | 556.8467 | 61.4988 | 1084.501 | 80.2264 | 2338.5278 | 2290.8475 | -58.2699 | -53.004 | 1.4566 | 991.3487 | 942.0881 | 90.5142 | 95.9546 | 3.6032
18 | 18.6 | 39 | 0.953 | 414.3595 | 2.5945 | 515.1008 | 126.0719 | 25.8688 | 9.3462 | 47.7492 | 53.7807 |  |  |  | 543.8056 | 2.7244 | 1785.5278 |  | 68.76 |  |  | 94.9902 |  |  | -146.6366 |  |  | 504.6516 |  | 78.2092 |  |  | 2.7615 |  | 93.563 |  |  | 519.6032 |  | 99.1259 |  | 2080.9779 | -302.2156 | 433.5467 | 95.3694 | 579.0071 | 60.2646 | 284.497 | 16.37 | 68.6595 | 63.2808 | 442.3351 | 93.2485 | 23.1482 | 89.4828 | 518.4483 | 527.6167 | 74.8796 | 72.6669 | 1.2395 | 442.4155 | 452.3278 | 93.2291 | 90.8369 | 1.5667 | 415.5 | 403 | 99.7248 | 97.2585 | 2.1598 | 340.8631 | 339.567 | 82.2626 | 81.9499 | 0.26937 | 440.4576 | 474.7458 | 93.7016 | 85.4266 | 5.2984 | 405.9932 | 393.5313 | 97.9809 | 94.9734 | 2.2043 | 351.0167 | 2.1394 | 27.1818 | 16.6364 | 84.7131 | 82.4587 | 94.9244 | 379.4131 | 91.5662 | 2.5616 | 98.7342 | 22.8192 | 88.211 | 2.3256 | 20.9507 | 380.7781 | 2.8443 | 17.1684 | 381.168 | 91.8956 | 91.9897 | 0.072352 | 89.6383 | 90.3691 | 14.1888 | 80.9883 | 66.3671 | 14.0324 | 27.3484 | 26.3389 | 94.2804 | 98.1829 | 0.84295 | 2.6555 | 2.66 | 97.6457 | 97.4751 | 0.11781 | 544.5083 | 94.2909 | 513.6293 | 99.7143 | 643.8544 | 653.6596 | 456.2121 | 459.2397 | 430.3559 | 439.5556 | 461.8405 | 470.5879 | 44.6145 | 42.2482 | 1.0687 | 89.8995 | 89.1688 | 0.46771 | 88.5411 | 86.43 | 1.3267 | 96.1395 | 93.9193 | 1.4956 | 513.2636 | 605.321 | 76.1308 | 53.914 | 11.6387 | 415.356 | 409.7107 | 99.7595 | 98.8781 | 0.96765 | 369.2932 | 89.1239 | 741.4373 | 21.0643 | 1074.6528 | 1047.4237 | -59.3528 | -52.7814 | 1.8146 | 455.5668 | 430.7425 | 90.0552 | 96.0462 | 3.961
19 | 20.3 | 35 | 0.91 | 641.3512 | 2.0006 | 481.7909 | 57.9095 | 18.3695 | 2.0094 | 18.3751 | 55.1007 |  |  |  | 791.0833 | 2.0512 | 1747.0833 |  | 76.6536 |  |  | 97.4678 |  |  | -162.6227 |  |  | 805.2065 |  | 74.4515 |  |  | 2.1101 |  | 94.5266 |  |  | 483.6487 |  | 99.6144 |  | 3752.5095 | -385.0944 | 777.5646 | 78.7615 | 1131.5504 | 23.5677 | 424.7747 | 13.285 | 66.2312 | 72.3208 | 727.7475 | 86.529 | 18.7858 | 97.734 | 734.6271 | 727.55 | 85.4563 | 86.5598 | 0.6845 | 699.4928 | 736.4621 | 90.9345 | 85.1702 | 3.641 | 751.4 | 730.2 | 82.8411 | 86.1466 | 2.0236 | 627.3463 | 618.2129 | 97.8164 | 96.3923 | 1.037 | 837.5593 | 943.8475 | 69.4071 | 52.8345 | 8.4379 | 735.8294 | 748.4022 | 85.2689 | 83.3085 | 1.198 | 806.8083 | 1.6528 | 11.3333 | 26.6667 | 74.2018 | 82.6156 | 61.6964 | 826.3487 | 71.155 | 1.9811 | 99.0273 | 19.2169 | 95.3872 | 1.7797 | 11.9375 | 721.9711 | 2.1974 | 7.8579 | 717.2548 | 87.4297 | 88.165 | 0.46343 | 88.9619 | 90.1625 | 14.8504 | 64.9853 | 42.7766 | 29.1457 | 15.5829 | 12.0551 | 84.8299 | 65.6257 | 1.9895 | 2.0389 | 2.0475 | 98.0827 | 97.6559 | 0.29548 | 501.3528 | 95.9398 | 472.9211 | 98.159 | 884.1213 | 908.4638 | 734.6122 | 741.7608 | 679.0989 | 707.0118 | 716.9602 | 743.7846 | 62.1471 | 58.3516 | 1.9204 | 85.4587 | 84.344 | 0.68476 | 88.211 | 84.0285 | 2.597 | 94.1144 | 89.7621 | 2.8479 | 1021.2057 | 1227.8062 | 40.7728 | 8.5595 | 12.9914 | 774.7578 | 769.0568 | 79.1991 | 80.088 | 0.52224 | 225.0552 | 35.0908 | 499.6093 | 77.8995 | 1799.7222 | 1782.3729 | -80.6142 | -77.909 | 0.68495 | 762.9382 | 732.983 | 81.042 | 85.7127 | 2.8319
20 | 19.7 | 39 | 0.873 | 1694.1375 | 4.8271 | 474.6201 | 109.7242 | 26.4032 | 4.2109 | 30.5868 | 120.5418 | 1053.9231 | 4.6143 | 613.3333 | 1223.2778 | 4.9111 | 1750.25 | 62.21 | 72.2065 | 10.5175 | 95.5904 | 98.2616 | 4.4062 | 70.7738 | -168.7686 | 68.0257 | 1624.9739 | 1682.5834 | 95.9175 | 99.318 | 2.4632 | 4.7807 | 4.8772 | 99.0374 | 98.9622 | 1.414 | 482.6904 | 484.9235 | 98.2996 | 97.8291 | 0.32638 | 7736.8424 | -256.6833 | 1597.5802 | 94.3005 | 2681.7085 | 41.7066 | 654.4348 | 13.8275 | 38.6294 | 52.3705 | 1683.5881 | 99.3773 | 19.5529 | 74.055 | 1130.4483 | 1082.3051 | 66.7271 | 63.8853 | 3.0769 | 1766.4654 | 1657.5503 | 95.7307 | 97.8404 | 4.4985 | 1825.8333 | 1806 | 92.2264 | 93.3971 | 0.7723 | 1609.2813 | 1552.9942 | 94.9912 | 91.6687 | 2.5172 |  | 2463.661 |  | 54.5773 |  |  | 1666.1293 |  | 98.3468 |  | 1500.5333 | 3.7543 | 1.2222 | 37 | 88.5721 | 77.7755 | 4.6291 | 1506.5946 | 88.9299 | 4.657 | 96.4747 | 29.9212 | 86.6761 | 4.0806 | 9.4193 | 1355.3322 | 4.9802 | 5.7664 | 1310.9683 | 80.0013 | 77.3826 | 2.3531 | 84.5351 | 96.8285 | 14.041 | 35.6748 | 21.8399 | 34.0183 | 12.2957 | 8.8466 | 46.5688 | 33.5056 | 0.69313 | 4.6379 | 4.6821 | 96.0803 | 96.9961 | 0.67076 | 491.4861 | 96.4464 | 463.6139 | 97.6811 | 1334.4246 | 1378.8844 | 1699.4159 | 1685.5918 | 1276.2045 | 1344.4194 | 1318.239 | 1382.665 | 78.7672 | 81.3915 | 2.3173 | 99.6884 | 99.4956 | 0.57756 | 77.8118 | 81.6147 | 3.3734 | 75.3306 | 79.3572 | 3.6812 | 2495.6321 | 3193.0795 | 52.6901 | 11.5218 | 17.3385 | 1695.7172 | 1707.2061 | 99.9068 | 99.2286 | 0.47746 | 679.1356 | 40.0874 | 1385.2764 | 81.7688 | 4031.1944 | 4070.339 | -37.9497 | -40.2602 | 0.68331 | 1708.9039 | 1673.8862 | 99.1284 | 98.8046 | 1.464
21 | 22.1 | 34 | 0.959 | 24.6857 | 0.68667 | 452.8306 | 30.6867 | 7.4773 | 1.5178 | 9.4483 | 3.7233 | 23.5 | 0.54189 | 547.4167 | 20.7222 | 0.52031 | 1694.8333 | 95.1969 | 83.9443 | 8.8833 | 78.9151 | 75.7719 | 2.8736 | 79.1123 | -174.2753 | 72.3689 | 20.4845 | 20.9948 | 82.9813 | 85.0484 | 1.7398 | 0.62565 | 0.62875 | 91.1137 | 91.5643 | 0.3488 | 453.6823 | 462.6155 | 99.8119 | 97.8392 | 1.3788 | 60.8227 | -46.3889 | 17.7786 | 72.0198 | 19.2131 | 77.8309 | 10.1543 | 14.13 | 41.1345 | 11.0286 | 20.7968 | 84.2465 | 19.9807 | -67.217 | 21.5172 | 23.65 | 87.1649 | 95.8046 | 6.6778 | 26.9925 | 21.4549 | 90.6551 | 86.9124 | 16.1646 | 31 | 21 | 74.4211 | 85.0696 | 27.1964 | 24.9156 | 17.5956 | 99.0684 | 71.2785 | 24.3515 | 7.1356 | 7.5593 | 28.9058 | 30.6223 | 4.0779 | 6.9137 | 6.5372 | 28.0071 | 26.4818 | 3.9588 | 2.9917 | 0.51255 | 26.7273 | 5.7273 | 12.119 | 74.6418 | -157.4445 | 38.1502 | 45.4561 | 0.71289 | 96.1827 | 22.5257 | -101.2534 | 0.64687 | 11.9327 | 2.5996 | 0.80535 | 8.138 | 2.5779 | 10.531 | 10.4427 | 0.59507 | 94.2029 | 82.7168 | 15.4338 | 40.415 | 91.1637 | 26.7376 | 15.5766 | 12.485 | -8.3174 | 33.0288 | 0.46545 | 0.75926 | 0.72957 | 89.4291 | 93.7534 | 2.8205 | 480.8361 | 93.8155 | 453.5679 | 99.8372 | 33.0166 | 31.5677 | 24.9028 | 23.27 | 21.0662 | 20.3663 | 20.7965 | 19.9537 | 66.2521 | 72.1215 | 3.1727 | 99.1204 | 94.2651 | 4.7935 | 84.2454 | 80.831 | 2.9252 | 85.3376 | 82.5026 | 2.3887 | 11.1569 | 13.1253 | 45.1961 | 53.1695 | 11.4636 | 38.864 | 40.0766 | 42.5647 | 37.6524 | 2.1724 |  |  |  |  | 33.6417 | 36.6441 | 63.7198 | 51.5573 | 6.0411 | 14.2614 | 15.0695 | 57.7719 | 61.0456 | 3.8965
22 | 22.2 | 38 | 0.956 | 88.5896 | 1.607 | 469.8673 | 61.1449 | 23.6209 | 4.139 | 32.9305 | 13.759 | 116.8333 | 1.4759 | 556.8611 | 110.4722 | 1.5097 | 1728 | 68.1184 | 75.2988 | 3.9577 | 91.8401 | 93.9437 | 1.6013 | 81.4854 | -167.7634 | 72.4876 | 98.3183 | 107.3767 | 89.0182 | 78.7931 | 6.2279 | 1.5786 | 1.5861 | 98.2317 | 98.6969 | 0.33407 | 470.4815 | 475.9667 | 99.8693 | 98.7019 | 0.81963 | 308.988 | -148.786 | 68.8535 | 77.7219 | 88.7383 | 99.8321 | 50.8977 | 21.56 | 57.4534 | 91.2751 | 97.093 | 90.4013 | 30.4871 | 70.9315 | 114.7069 | 127.25 | 70.5187 | 56.36 | 7.3313 | 127.6149 | 107.5811 | 55.9481 | 78.5623 | 12.0461 | 99.1667 | 81.5 | 88.0605 | 91.9973 | 13.829 | 79.9958 | 68.3485 | 90.2994 | 77.1518 | 11.1038 | 42.322 | 44.8983 | 47.7732 | 50.6813 | 4.1772 | 40.8441 | 38.6988 | 46.1049 | 43.6833 | 3.8142 | 14.3 | 1.2611 | 47.4545 | 1.6364 | 16.1419 | 78.4738 | -0.90067 | 49.2388 | 55.5808 | 1.5309 | 95.2624 | 34.0219 | 55.967 | 1.4249 | 23.767 | 18.4191 | 1.7608 | 20.537 | 19.0478 | 20.7915 | 21.5012 | 2.3731 | 88.6645 | 90.4279 | 14.9154 | 99.3816 | 86.944 | 10.3104 | 31.0247 | 31.5068 | 68.6558 | 66.6148 | 0.61643 | 1.6381 | 1.6342 | 98.0688 | 98.3099 | 0.16742 | 488.7583 | 95.9795 | 461.0408 | 98.1215 | 165.865 | 161.8152 | 116.2296 | 112.167 | 90.4221 | 88.3843 | 89.8463 | 87.7872 | 12.7714 | 17.3428 | 1.7478 | 68.7999 | 73.3857 | 2.5155 | 98.5814 | 99.0943 | 1.6393 | 97.9315 | 99.7683 | 1.6117 | 60.4527 | 71.6664 | 68.2391 | 80.8972 | 12.0033 | 76.7611 | 77.8228 | 86.648 | 87.8464 | 0.97128 | 18.608 | 21.0047 | 51.6329 | 58.2833 | 171.4972 | 181.5254 | 6.4137 | -4.9061 | 4.0173 | 72.7011 | 74.6505 | 82.0651 | 84.2656 | 1.871
23 | 20.9 | 43 | 0.931 | 592.6306 | 2.6457 | 454.706 | 51.2788 | 32.0602 | 3.873 | 40.998 | 56.9812 | 583.9268 | 2.4883 | 754.7561 | 643.5278 | 2.6028 | 1660.2778 | 98.5313 | 91.4117 | 6.8669 | 94.0497 | 98.3778 | 3.1809 | 34.0123 | -165.1321 | 53.0262 | 562.0558 | 614.0452 | 94.8408 | 96.3865 | 6.2515 | 2.6115 | 2.6437 | 98.7084 | 99.9264 | 0.86712 | 466.33 | 467.7432 | 97.4436 | 97.1328 | 0.21397 | 2802.9817 | -272.9728 | 582.1423 | 98.2302 | 775.0502 | 69.2187 | 348.3628 | 26.26 | 58.7825 | 81.9085 | 554.7615 | 93.61 | 37.1332 | 84.1764 | 602.6102 | 615.8305 | 98.3161 | 96.0853 | 1.5345 | 525.5493 | 562.5194 | 88.6807 | 94.9191 | 4.8052 | 663.8333 | 689.3333 | 87.9853 | 83.6825 | 2.665 | 551.7213 | 583.2662 | 93.097 | 98.4199 | 3.9306 | 658.1864 | 684.5763 | 88.9382 | 84.4852 | 2.7794 | 591.0907 | 556.4415 | 99.7401 | 93.8935 | 4.2702 | 586.25 | 1.9835 | 58.6 | 8.4 | 98.9233 | 74.9708 | 17.2186 | 610.0758 | 97.0563 | 2.3731 | 89.6971 | 28.8243 | 89.9068 | 2.2514 | 26.3466 | 522.3809 | 2.7525 | 23.7677 | 528.3711 | 88.1461 | 89.1569 | 0.80622 | 85.0954 | 95.9642 | 14.1626 | 82.1787 | 74.1346 | 7.2777 | 34.3921 | 36.4632 | 92.7264 | 86.2664 | 2.0275 | 2.5717 | 2.573 | 97.2014 | 97.2524 | 0.037056 | 485.3111 | 93.2693 | 457.7891 | 99.322 | 756.967 | 770.8559 | 572.4843 | 574.8461 | 541.4037 | 555.7816 | 576.2377 | 589.8397 | 72.27 | 69.9264 | 1.2856 | 96.6005 | 96.9991 | 0.29113 | 97.2339 | 99.5291 | 1.6496 | 91.356 | 93.7821 | 1.8532 | 729.3827 | 882.1707 | 76.9246 | 51.1433 | 13.4079 | 570.913 | 573.224 | 96.3354 | 96.7253 | 0.28565 | 197.2186 | 33.2785 | 449.1674 | 75.7921 | 1377.8611 | 1409.661 | -32.4991 | -37.865 | 1.6133 | 584.1029 | 579.709 | 98.561 | 97.8196 | 0.53393
24 | 23 | 35 | 0.948 | 203.4499 | 2.2715 | 485.2317 | 80.0167 | 18.4879 | 2.1597 | 32.3637 | 25.9758 | 266.0526 | 2.2211 | 783.1316 | 277.3333 | 2.2653 | 1752.0833 | 69.2294 | 63.6847 | 2.9359 | 97.779 | 99.7272 | 1.395 | 38.6067 | -161.0818 | 54.0508 | 221.0668 | 256.4433 | 91.3409 | 73.9526 | 10.4773 | 2.3389 | 2.3172 | 97.0335 | 97.9878 | 0.65843 | 481.5123 | 485.6615 | 99.2335 | 99.9114 | 0.6067 | 950.6192 | -267.2499 | 200.9076 | 98.7504 | 265.5391 | 69.4818 | 156.191 | 17.615 | 76.7712 | 95.2787 | 258.2135 | 73.0825 | 24.9087 | 65.2702 | 260.1034 | 282.3167 | 72.1535 | 61.2353 | 5.7915 | 247.7729 | 226.6444 | 78.2143 | 88.5994 | 6.2983 | 219 | 208.5 | 92.3568 | 97.5178 | 3.4735 | 177.7986 | 175.1814 | 87.3918 | 86.1054 | 1.0486 | 203.1356 | 215.0847 | 99.8455 | 94.2812 | 4.0406 | 192.487 | 182.5767 | 94.6115 | 89.7404 | 3.7368 | 150.9833 | 1.7426 | 33.5 | 5.6667 | 74.2116 | 76.7141 | 18.8001 | 183.2664 | 90.0794 | 2.0865 | 91.8534 | 27.2299 | 52.7146 | 1.998 | 18.7616 | 165.9963 | 2.4464 | 15.0046 | 171.2696 | 81.5908 | 84.1827 | 2.2112 | 87.9579 | 92.3012 | 14.2688 | 98.5194 | 81.1594 | 15.7351 | 24.4908 | 23.0194 | 67.5302 | 75.4893 | 0.68332 | 2.2854 | 2.2832 | 99.3872 | 99.4845 | 0.068416 | 495.0278 | 97.9812 | 466.9548 | 96.2334 | 356.5626 | 358.5589 | 237.5697 | 237.9574 | 190.5621 | 191.6772 | 204.0918 | 206.1348 | 24.7418 | 23.7606 | 0.39479 | 83.2294 | 83.0388 | 0.1153 | 99.6845 | 98.6803 | 0.7043 | 93.6654 | 94.2135 | 0.41254 | 241.6336 |  | 81.2319 |  |  | 214.3004 |  | 94.6667 |  |  | 70.7564 | 34.7783 | 184.4418 | 90.6571 | 478.3889 | 498.0678 | -35.1385 | -44.8111 | 2.8501 | 202.7986 | 204.8254 | 99.6799 | 99.3239 | 0.70317
25 | 21.6 | 29 | 0.936 | 220.4937 | 1.5104 | 465.2441 | 15.9018 | 26.1822 | 1.4203 | 22.2564 | 20.0431 | 274.0526 | 1.4389 | 748.8684 | 284.2778 | 1.4813 | 1697.75 | 75.7095 | 71.0722 | 2.59 | 95.2672 | 98.0769 | 2.0552 | 39.0375 | -164.916 | 54.848 | 227.9162 | 262.5394 | 96.6337 | 80.9311 | 9.9835 | 1.5408 | 1.5586 | 97.9818 | 96.8047 | 0.81118 | 464.9855 | 463.7896 | 99.9444 | 99.6874 | 0.18209 | 1028.877 | -266.6242 | 217.0138 | 98.4218 | 291.342 | 67.8683 | 158.8215 | 16.045 | 72.0299 | 61.2822 | 261.8711 | 81.2342 | 22.6886 | 86.6567 | 274.7797 | 294.3167 | 75.3798 | 66.5192 | 4.855 | 258.4619 | 236.0397 | 82.7804 | 92.9495 | 6.4125 | 266.1667 | 268.8333 | 79.286 | 78.0766 | 0.7049 | 216.6348 | 226.0735 | 98.2499 | 97.4694 | 3.0151 | 211.6441 | 228 | 95.9864 | 96.5957 | 5.2613 | 200.3535 | 193.3139 | 90.8659 | 87.6732 | 2.5289 | 225.475 | 1.2004 | 50.1667 | 4.6667 | 97.7408 | 79.4793 | 8.3938 | 256.3107 | 83.756 | 1.4625 | 96.8325 | 33.9598 | 70.2942 | 1.2939 | 21.5598 | 187.1009 | 1.6022 | 18.1341 | 192.748 | 84.8555 | 87.4165 | 2.1024 | 85.6692 | 93.9193 | 15.054 | 82.3454 | 69.2613 | 12.2051 | 28.1435 | 27.8204 | 92.5087 | 93.7428 | 0.22752 | 1.4901 | 1.484 | 98.6617 | 98.2536 | 0.2931 | 496.3944 | 93.3045 | 468.2439 | 99.3552 | 362.2819 | 362.9326 | 241.285 | 240.8047 | 193.8617 | 194.2314 | 209.9194 | 210.616 | 35.6951 | 35.4 | 0.12688 | 90.5706 | 90.7884 | 0.1409 | 95.2043 | 95.5202 | 0.23425 | 87.9217 | 88.0893 | 0.13471 | 250.3371 |  | 86.4652 |  |  | 220.8384 |  | 99.8437 |  |  | 85.0107 | 38.5547 | 217.9728 | 98.8567 | 491.3306 | 500.2712 | -22.832 | -26.8868 | 1.2751 | 208.2848 | 205.7315 | 94.4629 | 93.3049 | 0.87218
26 | 23.4 | 23 | 0.954 | 277.511 | 2.1015 | 485.2185 | 55.2286 | 33.8666 | 15.8756 | 55.9217 | 26.7857 | 344.2059 | 2.0616 | 742.2353 | 361.4444 | 2.1821 | 1748.0278 | 75.9668 | 69.7549 | 3.4548 | 98.0986 | 96.1663 | 4.0165 | 47.0307 | -160.2558 | 57.1187 | 290.446 | 330.8115 | 95.3389 | 80.7934 | 9.1887 | 2.1762 | 2.2367 | 96.4483 | 93.5681 | 1.9397 | 468.8326 | 484.0289 | 96.623 | 99.7548 | 2.2554 | 1220.324 | -239.739 | 256.4155 | 92.3983 | 342.8811 | 76.4441 | 171.8597 | 17.565 | 61.929 | 51.8653 | 279.9101 | 99.1355 | 24.838 | 73.3406 | 329.569 | 348.5593 | 81.2411 | 74.398 | 3.9604 | 297.4836 | 279.821 | 92.803 | 99.1676 | 4.3268 | 337.1667 | 312.3333 | 78.5033 | 87.4519 | 5.4072 | 275.458 | 262.8221 | 99.2602 | 94.7069 | 3.3198 | 182.2712 | 200.1356 | 65.6807 | 72.1181 | 6.6066 | 173.1302 | 170.1166 | 62.3868 | 61.3008 | 1.2416 | 91.9333 | 1.6755 | 46.75 | 4.9167 | 33.1278 | 79.7281 | 61.9583 | 125.3637 | 45.1743 | 2.0077 | 95.5352 | 33.9365 | 99.7936 | 1.8831 | 27.0245 | 133.9492 | 2.3213 | 23.2884 | 133.7252 | 48.2681 | 48.1873 | 0.11837 | 89.605 | 89.5422 | 14.7405 | 79.7971 | 68.7651 | 10.5017 | 35.277 | 35.7279 | 95.8353 | 94.504 | 0.86787 | 2.1556 | 2.1648 | 97.4249 | 96.9897 | 0.29939 | 515.1833 | 93.8245 | 485.9673 | 99.8457 | 458.6701 | 461.327 | 306.5446 | 307.1842 | 244.6526 | 246.1238 | 296.1231 | 297.9058 | 34.72 | 33.7626 | 0.40842 | 89.5379 | 89.3074 | 0.14737 | 93.2932 | 92.6508 | 0.42442 | 88.1596 | 88.6897 | 0.42393 | 258.8261 |  | 93.267 |  |  | 227.2091 |  | 81.8739 |  |  | 57.0615 | 20.5619 | 151.1572 | 54.4689 | 629.2417 | 620.4576 | -26.7448 | -23.5795 | 0.99404 | 266.7481 | 255.157 | 96.1216 | 91.9448 | 3.1409
27 | 22.8 | 30 | 0.958 | 114.3017 | 1.4282 | 476.181 | 67.7907 | 19.1672 | 9.4994 | 18.6311 | 15.8006 | 134.1143 | 1.3408 | 770.4857 | 133.3333 | 1.3423 | 1738.0833 | 82.6664 | 83.3496 | 0.41295 | 93.8806 | 93.99 | 0.082325 | 38.1948 | -165.0047 | 54.5486 | 112.3782 | 128.4333 | 98.3171 | 87.6366 | 9.4287 | 1.4407 | 1.4241 | 99.1192 | 99.7182 | 0.81963 | 478.1505 | 480.0258 | 99.5864 | 99.1926 | 0.27678 | 402.3287 | -151.9884 | 88.0639 | 77.0452 | 112.4674 | 98.3953 | 67.2522 | 16.755 | 58.8374 | 87.4149 | 124.9427 | 90.6905 | 23.6926 | 76.3901 | 131.5172 | 142.5085 | 84.9385 | 75.3225 | 5.6724 | 143.381 | 119.5059 | 74.5592 | 95.4469 | 12.8437 | [20 empty] | 28.425 | 1.1787 | 35.1667 | 14.5833 | 24.8684 | 82.5359 | 16.527 | 63.0894 | 55.1955 | 1.4382 | 99.2988 | 28.398 | 51.8406 | 1.208 | 17.5604 | 58.9457 | 1.4907 | 14.7048 | 59.2543 | 51.5702 | 51.8402 | 0.36923 | 84.5812 | 95.6227 | 14.8159 | 91.6166 | 76.7186 | 12.5161 | 22.9228 | 22.5594 | 80.4064 | 82.3021 | 2.6407 | 1.3931 | 1.3784 | 97.5416 | 96.5155 | 0.74776 | 505.625 | 93.8166 | 476.951 | 99.8383 | 195.6994 | 192.6082 | 135.4362 | 132.0576 | 106.5265 | 104.9872 | 105.9511 | 104.4205 | 28.7869 | 31.4914 | 1.1258 | 81.5099 | 84.4657 | 1.7862 | 92.6943 | 91.3551 | 1.029 | 93.1977 | 91.851 | 1.0292 | [10 empty] | 24.9625 | 21.8391 | 68.7288 | 60.1293 | 218.625 |  | 8.7299 |  |  | 92.6795 |  | 81.0832
28 | 22 | 25 | 0.897 | 1585.9016 | 4.5235 | 486.8288 | 72.0779 | 37.7602 | 10.2949 | 55.1526 | 124.3639 | 1073.1053 | 4.5163 | 746.5789 | 1239.1944 | 4.6954 | 1756.6111 | 67.6653 | 78.1382 | 10.1581 | 99.8409 | 96.2016 | 2.7484 | 46.6445 | -160.8273 | 57.0632 | 1690.381 | 1726.8335 | 93.412 | 91.1135 | 1.5086 | 4.6807 | 4.6685 | 96.5246 | 96.7947 | 0.1848 | 476.015 | 487.4842 | 97.7787 | 99.8654 | 1.6834 | 7740.7284 | -288.0964 | 1598.38 | 99.2132 | 2901.1321 | 17.0673 | 660.7655 | 15.2425 | 41.665 | 40.3666 | 1722.4967 | 91.3869 | 21.5538 | 57.0808 | 1088.4407 | 1046.1864 | 68.6323 | 65.9679 | 2.7994 | 1601.6256 | 1531.9773 | 99.0085 | 96.5998 | 3.1433 | [20 empty] | 1503.45 | 3.4842 | 27.4167 | 36.75 | 94.801 | 77.023 | 72.6074 | 1509.4546 | 95.1796 | 4.2884 | 94.8018 | 22.9729 | 60.839 | 3.9605 | 18.5802 | 1398.542 | 4.8788 | 15.3218 | 1365.8983 | 88.1859 | 86.1276 | 1.67 | 87.5522 | 92.1466 | 14.6926 | 49.2058 | 40.5766 | 13.5923 | 24.254 | 23.5059 | 64.2317 | 62.2506 | 1.061 | 4.5022 | 4.5861 | 99.5282 | 98.6171 | 1.3055 | 516.1444 | 93.9782 | 486.8739 | 99.9907 | 1335.2488 | 1372.2021 | 1701.888 | 1667.0727 | 1277.4539 | 1334.0603 | 1319.5532 | 1372.3256 | 84.1949 | 86.525 | 1.9302 | 92.6864 | 94.8817 | 1.4615 | 83.2052 | 86.5328 | 2.7725 | 80.5506 | 84.12 | 3.0654 | [10 empty] | 631.6535 | 39.8293 | 1258.0334 | 79.3261 | 3998.9444 |  | -52.1559 |  |  | 1695.2325 |  | 93.1061
29 | 23.6 | 21 | 0.936 | 395.8386 | 2.2087 | 471.1355 | 35.6346 | 27.6521 | 6.2321 | 21.7264 | 39.6687 | 461.3889 | 2.0006 | 767.9444 | 511.4722 | 2.1094 | 839.6389 | 83.4402 | 70.7877 | 7.2804 | 90.5772 | 95.5008 | 3.742 | 37.0014 | 21.784 | 6.3071 | 409.223 | 471.7953 | 96.6187 | 80.8112 | 10.0441 | 2.114 | 2.1663 | 95.7096 | 98.0795 | 1.7295 | 478.1992 | 478.6392 | 98.5007 | 98.4073 | 0.06504 | 2061.6872 | -320.8403 | 429.5765 | 91.4769 | 602.0184 | 47.9132 | 271.2287 | 13.965 | 68.52 | 50.5024 | 421.5421 | 93.5066 | 19.7473 | 71.4135 | 451.6897 | 460.8833 | 85.8905 | 83.5679 | 1.4247 | 386.7888 | 381.4646 | 97.7138 | 96.3687 | 0.9801 | [20 empty] | 524.8667 | 2.0687 | 22.5455 | 25 | 67.4039 | 93.6611 | 81.5324 | 549.8852 | 61.0835 | 2.4759 | 87.9045 | 20.162 | 72.913 | 1.8131 | 18.0877 | 370.715 | 2.2536 | 15.0668 | 378.3846 | 93.6531 | 95.5906 | 1.4479 | 82.0877 | 97.9706 | 15.3173 | 65.4115 | 54.4869 | 12.8857 | 23.6111 | 23.1147 | 85.3862 | 83.591 | 1.9573 | 2.0766 | 2.1007 | 94.0178 | 95.1068 | 0.81431 | 499.6028 | 93.9577 | 471.2703 | 99.9714 | 598.5871 | 607.4267 | 415.6495 | 419.0476 | 368.0682 | 391.0482 | 418.8644 | 426.435 | 48.78 | 46.5469 | 1.0366 | 94.9952 | 94.1368 | 0.57573 | 94.183 | 92.2705 | 1.2666 | 92.9844 | 98.7898 | 4.2811 | [10 empty] | 116.4721 | 29.4241 | 288.2576 | 72.822 | 1002.0472 |  | -53.1454 |  |  | 424.7879 |  | 92.6866
30 | 23.1 | 32 | 0.945 | 692.682 | 2.6222 | 498.9665 | 81.2435 | 27.476 | 27.4385 | 128.0803 | 49.5425 | 650.2059 | 2.5141 | 825.1765 | 734.9444 | 2.6338 | 876.2778 | 93.8679 | 93.8987 | 8.6517 | 95.8766 | 99.5579 | 3.2888 | 34.6229 | 24.3814 | 4.2474 | 660.8954 | 727.6869 | 95.4111 | 94.9465 | 6.8024 | 2.6379 | 2.6738 | 99.4029 | 98.0338 | 0.95586 | 504.0084 | 493.3882 | 98.9895 | 98.882 | 1.5058 | 3197.7828 | -261.6523 | 663.3963 | 95.7721 | 899.1871 | 70.1876 | 371.4442 | 20.0325 | 53.6241 | 72.9092 | 601.8405 | 86.8855 | 28.3272 | 96.902 | 666.322 | 655.3729 | 96.1945 | 94.6138 | 1.1716 | 601.715 | 619.2384 | 86.8674 | 89.3972 | 2.0297 | [20 empty] | 674.725 | 2.2317 | 41.5 | 21.9167 | 97.4076 | 85.1094 | 48.9588 | 696.8317 | 99.4009 | 2.6745 | 98.0057 | 32.2184 | 82.7398 | 2.3444 | 19.4237 | 519.8096 | 2.8943 | 17.593 | 530.6478 | 75.043 | 76.6077 | 1.4591 | 89.4037 | 89.6255 | 14.8451 | 70.6935 | 64.0307 | 6.994 | 25.3551 | 26.9904 | 92.2811 | 98.2327 | 5.5245 | 2.6767 | 2.7072 | 97.9223 | 96.7576 | 0.80225 | 530.2167 | 93.737 | 500.1481 | 99.7632 | 839.4924 | 862.9848 | 673.4258 | 682.3681 | 629.2198 | 655.2667 | 666.1295 | 691.306 | 78.8055 | 75.414 | 1.9515 | 97.2201 | 98.511 | 0.93275 | 96.1667 | 99.8013 | 2.623 | 90.8382 | 94.5985 | 2.8678 | [10 empty] | 205.4474 | 29.6597 | 464.2972 | 67.0289 | 1629.4444 |  | -35.237 |  |  | 690.7541 |  | 99.7217
31 | 21.7 | 30 | 0.878 | 3051.6786 | 6.8061 | 524.4121 | 92.0433 | 34.667 | 77.6375 | 244.5212 | 235.9296 | 1377.0294 | 6.4905 | 855.7353 | 1593.7222 | 6.7678 | 932.4722 | 45.1237 | 52.2244 | 10.3156 | 95.3631 | 99.4379 | 2.9582 | 36.8201 | 22.1871 | 6.0688 | 3038.1039 | 3004.283 | 99.5552 | 98.4469 | 0.79157 | 6.695 | 6.6739 | 98.3672 | 98.0571 | 0.22328 | 520.3589 | 516.0093 | 99.2271 | 98.3977 | 0.59355 | 8977.7363 | -94.1901 | 1852.9686 | 60.7197 | 3476.8616 | 86.0672 | 820.7597 | 12.43 | 26.8954 | 35.8554 | 3003.9635 | 98.4364 | 17.5768 | 50.7017 | 1360.6271 |  | 44.5862 |  |  | 2956.764 |  | 96.8898 | [22 empty] | 1754.6833 | 5.3234 | 6.1667 | 78.25 | 57.499 | 78.2155 | 17.7883 | 1755.8065 | 57.5358 | 6.941 | 98.0185 | 22.9505 | 66.2027 | 5.9165 |  | 1659.1431 | 7.1843 |  | 1562.1589 | 54.3682 | 51.1902 | 4.2578 | 86.9289 | 94.4427 | 13.6864 | [8 empty] | 6.7116 | 6.7689 | 98.6122 | 99.4529 | 0.60029 | 553.5278 | 94.4479 | 522.1372 | 99.5662 | 1672.9764 | 1750.2256 | 2993.8483 | 3014.0083 | 1837.5627 | 1979.1733 | 1875.6721 | 2009.5706 | 54.8215 | 57.3529 | 3.1914 | 98.105 | 98.7656 | 0.47455 | 61.4636 | 65.8513 | 4.8739 | 60.2148 | 64.8552 | 5.2471 | [10 empty] | 1053.8648 | 34.5339 | 3128.0405 | 97.4977 | 6823.1389 |  | -23.5864 |  |  | 2892.465 |  | 94.7828

## MetaData
Variable | Instrument | Data Source | Metric | Units/Format | Comments
burn | N/A | Assigned in SAS | Sample Period Identification | Integer | Sequential
chamber_temp | Chamber Thermocouple | USFS | Temperature | Degrees Celsius
chamber_RH | Chamber RH Probe | USFS | Relative Humidity | Percent (%)
chamber_MCE | Calculated by USFS | Reference_CO; Reference_CO2 | Modified Combustion Efficiency (MCE) | Dimensionless
FRM_PM25_conc_vol | Tisch Environmental (Cleves, OH, USA) Model TE-WILBUR2.5 | Calculated in SAS | PM2.5 | mg m-3 - volumetric | Filters were weighed by EPA at the U.S. EPA National Reference Weighing Facility in Research Triangle Park, NC, USA
Reference_CO | Picarro Inc. (Santa Clara, CA, USA) Model G2401-m cavity ring-down spectroscopy (CRDS) CO/CO2 gas analyzer | Envidas Ultimate Data Logger | Carbon Monoxide | ppm | Reference Instrument
Reference_CO2 | Picarro Inc. (Santa Clara, CA, USA) Model G2401-m cavity ring-down spectroscopy (CRDS) CO/CO2 gas analyzer | Envidas Ultimate Data Logger | Carbon Dioxide | ppm | Reference Instrument
Reference_NO | Teledyne API (San Diego, CA, USA) Model T200 Chemiluminescence FRM NO2 instrument | Envidas Ultimate Data Logger | Nitrogen Oxide | ppb | Reference Instrument
Reference_NO2 | Teledyne API (San Diego, CA, USA) Model T500U cavity attenuated phase shift (CAPS) FEM NO2 instrument | Envidas Ultimate Data Logger | Nitrogen Dioxide | ppb | Reference Instrument
Reference_SO2 | ThermoScientific (Franklin, MA, USA) Model 43C pulsed fluorescence SO2 analyzer | Envidas Ultimate Data Logger | Sulfur Dioxide | ppb | Reference Instrument
Reference_BC | Magee Scientific (Berkley, CA, USA) Model AE33 seven wavelength spectrum Aethalometer | Internally Logged | Optical Black Carbon | mg m-3 | BC6 (880 nm) channel
Reference_deltaC | Magee Scientific (Berkley, CA, USA) Model AE33 seven wavelength spectrum Aethalometer | Calculated in SAS | Optical Brown Carbon | mg m-3 | DC = BC1(370nm)-BC6(880 nm)
PAM_2015_PM25 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | 2B Tech Data Servers | PM2.5 | mg m-3 | Raw Reported Concentration
PAM_2015_CO | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | 2B Tech Data Servers | Carbon Monoxide | ppm | Raw Reported Concentration
PAM_2015_CO2 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | 2B Tech Data Servers | Carbon Dioxide | ppm | Raw Reported Concentration
PAM_2016_PM25 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | 2B Tech Data Servers | PM2.5 | mg m-3 | Raw Reported Concentration
PAM_2016_CO | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | 2B Tech Data Servers | Carbon Monoxide | ppm | Raw Reported Concentration
PAM_2016_CO2 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | 2B Tech Data Servers | Carbon Dioxide | ppm | Raw Reported Concentration
accur_PAM_2015_PM25 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | mg m-3 | Raw Accuracy
accur_PAM_2016_PM25 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | mg m-3 | Raw Accuracy
cv_PM25_PAMS | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | % | Raw Precision
accur_PAM_2015_CO | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | % | Raw Accuracy
accur_PAM_2016_CO | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | % | Raw Accuracy
cv_CO_PAMS | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | % | Raw Precision
accur_PAM_2015_CO2 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | % | Raw Accuracy
accur_PAM_2016_CO2 | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | % | Raw Accuracy
cv_CO2_PAMS | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | % | Raw Precision
PAM_2015_PM25_cubftz | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
PAM_2016_PM25_cubftz | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_PM25_PAM_2015_cubftz | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PM25_PAM_2016_cubftz | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_PAM_cubftz | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | PM2.5 | % | Calibrated Precision
PAM_2015_CO_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | ppm | Study Specific Calibrated
PAM_2016_CO_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | ppm | Study Specific Calibrated
accur_CO_PAM_2015_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | % | Calibrated Accuracy
accur_CO_PAM_2016_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | % | Calibrated Accuracy
cv_PAM_CO_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Monoxide | % | Calibrated Precision
PAM_2015_CO2_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | ppm | Study Specific Calibrated
PAM_2016_CO2_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | ppm | Study Specific Calibrated
accur_CO2_PAM_2015_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | % | Calibrated Accuracy
accur_CO2_PAM_2016_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | % | Calibrated Accuracy
cv_PAM_CO2_lin | 2B Technologies (Broomfield, CO, USA) Personal Air Monitor (PAM) Sensor | Calculated in SAS | Carbon Dioxide | % | Calibrated Precision
neph_PM | Ambilabs (Warren, RI, USA) Model 2WIN Nephelometer | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
accur_Neph_PM25 | Ambilabs (Warren, RI, USA) Model 2WIN Nephelometer | Calculated in SAS | PM2.5 | % | Raw Accuracy
neph_lin | Ambilabs (Warren, RI, USA) Model 2WIN Nephelometer | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_PM25_neph_lin | Ambilabs (Warren, RI, USA) Model 2WIN Nephelometer | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
FEM_neph_PM25_Conc | Ambilabs (Warren, RI, USA) Model 2WIN Nephelometer | Calculated by Ambilabs | PM2.5 | mg m-3 | FEM Algorithm Corrected
accur_Neph_PM25_FEM | Ambilabs (Warren, RI, USA) Model 2WIN Nephelometer | Calculated in SAS | PM2.5 | % | FEM Algorithm Corrected Accuracy
AQM_PM25 | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | AQMesh Data Servers | PM2.5 | mg m-3 | Raw Reported Concentration
AQM_NO2_scaled | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | AQMesh Data Servers | Nitrogen Dioxide | ppb | Raw Reported Concentration
accur_AQMesh_PM25 | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | Calculated in SAS | PM2.5 | % | Raw Accuracy
accur_AQMesh_NO2_scaled | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Raw Accuracy
AQMesh_pm25_cubicftz | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_PM25_AQMesh_cubicftz | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
AQMesh_NO2_linftz | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | Calculated in SAS | Nitrogen Dioxide | ppb | Study Specific Calibrated
accur_NO2_AQMesh_linftz | AQMesh (Stratford, UK) Model AQM-PM6 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Calibrated Accuracy
duke_14_TPM25 | Duke University (Durham, NC, USA) Sensor System | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
duke_23_TPM25 | Duke University (Durham, NC, USA) Sensor System | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
accur_TPM25_Duke_14 | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | % | Raw Accuracy
accur_TPM25_Duke_23 | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | % | Raw Accuracy
cv_Duke_TPM25 | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | % | Raw Precision
Duke_14_PM25_cubicftz | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
Duke_23_PM25_cubicftz | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_PM25_Duke14_cubftz | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PM25_Duke23_cubftz | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_Duke_PM25_cubicftz | Duke University (Durham, NC, USA) Sensor System | Calculated in SAS | PM2.5 | % | Calibrated Precision
EBAM_1_PM25_RT | MetOne (Grants Pass, OR, USA) Model E-BAM | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
EBAM_2_PM25_RT | MetOne (Grants Pass, OR, USA) Model E-BAM | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
accur_EBAM_1_PM25_RT | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_EBAM_2_PM25_RT | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_PM25_RT_EBAM | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | % | Calibrated Precision
EBAM_1_PM25_quadftz | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
EBAM_2_PM25_quadftz | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_PM25_EBAM_1_quadftz | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PM25_EBAM_2_quadftz | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_EBAM_quadftz | MetOne (Grants Pass, OR, USA) Model E-BAM | Calculated in SAS | PM2.5 | % | Calibrated Precision
ESAM_1_PM25 | MetOne (Grants Pass, OR, USA) Model E-BAM | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
ESAM_2_PM25 | MetOne (Grants Pass, OR, USA) Model E-BAM | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
accur_PM25_Esamp_1 | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | % | Raw Accuracy
accur_PM25_Esamp_2 | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | % | Raw Accuracy
cv_PM25_Esamp | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | % | Raw Precision
ESAM_1_PM25_quadftz | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
ESAM_2_PM25_quadftz | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_PM25_Esamp_1_quadftz | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PM25_Esamp_2_quadftz | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_PM25_Esamp_quadftz | MetOne (Grants Pass, OR, USA) Model E-Sampler | Calculated in SAS | PM2.5 | % | Calibrated Precision
FTS_PM25 | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
FTS_CO | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Internally Logged | Carbon Monoxide | ppm | Raw Reported Concentration
FTS_NO2 | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Internally Logged | Nitrogen Dioxide | ppb | Raw Reported Concentration
FTS_SO2 | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Internally Logged | Sulfur Dioxide | ppb | Raw Reported Concentration
accur_FTS_PM25 | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | PM2.5 | % | Raw Accuracy
accur_FTS_CO | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | Carbon Monoxide | % | Raw Accuracy
accur_FTS_NO2 | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | Nitrogen Dioxide | % | Raw Accuracy
FTS_PM25_lin | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_PM25_FTS_lin | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
FTS_CO_quad | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | Carbon Monoxide | ppm | Study Specific Calibrated
accur_CO_FTS_quad | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | Carbon Monoxide | % | Calibrated Accuracy
FTS_NO2_cubic | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | Nitrogen Dioxide | ppb | Study Specific Calibrated
accur_NO2_FTS_cubic | FTS Inc. (Victoria, BC, Canada) Model AQT400-GOES-PTBL System | Calculated in SAS | Nitrogen Dioxide | % | Calibrated Accuracy
kunak_1_CO_ppm | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Kunak Data Servers | Carbon Monoxide | ppm | Raw Reported Concentration
kunak_1_NO2_ppb | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Kunak Data Servers | Nitrogen Dioxide | ppb | Raw Reported Concentration
kunak_1_PM25_ugm3_s | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Kunak Data Servers | PM2.5 | mg m-3 | Raw Reported Concentration (Screened For Drop-offs)
kunak_2_CO_ppm | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Kunak Data Servers | Carbon Monoxide | ppm | Raw Reported Concentration
kunak_2_NO2_ppb | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Kunak Data Servers | Nitrogen Dioxide | ppb | Raw Reported Concentration
kunak_2_PM25_ugm3_s | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Kunak Data Servers | PM2.5 | mg m-3 | Raw Reported Concentration (Screened For Drop-offs)
accur_PM25_Kunak_A14_1_s | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | PM2.5 | % | Raw Accuracy
accur_PM25_Kunak_A14_2_s | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | PM2.5 | % | Raw Accuracy
cv_Kunak_A14_PM25_s | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | PM2.5 | % | Raw Precision
accur_CO_Kunak_A14_1 | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | % | Raw Accuracy
accur_CO_Kunak_A14_2 | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | % | Raw Accuracy
cv_Kunak_A14_CO | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | % | Raw Precision
accur_NO2_Kunak_A14_1 | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Raw Accuracy
accur_NO2_Kunak_A14_2 | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Raw Accuracy
cv_Kunak_A14_NO2 | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Raw Precision
kunak_1_NO2_linftz | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | ppb | Study Specific Calibrated
kunak_2_NO2_linftz | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | ppb | Study Specific Calibrated
accur_NO2_Kunak_1_linftz | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Calibrated Accuracy
accur_NO2_Kunak_2_linftz | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Calibrated Accuracy
cv_Kunak_NO2_linftz | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Nitrogen Dioxide | % | Calibrated Precision
kunak_1_CO_lin | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | ppm | Study Specific Calibrated
kunak_2_CO_lin | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | ppm | Study Specific Calibrated
accur_CO_Kunak_1_lin | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | % | Calibrated Accuracy
accur_CO_Kunak_2_lin | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | % | Calibrated Accuracy
cv_Kunak_CO_lin | Kunak Technologies (Navarra, Spain) Model A10 Sensor System | Calculated in SAS | Carbon Monoxide | % | Calibrated Precision
CO2_Licor_850 | Licor (Lincoln, NE, USA) Model LI-850 NDIR CO2 Instrument | Envidas Ultimate Data Logger | Carbon Dioxide | ppm | Raw Reported Concentration
accur_licor_CO2 | Licor (Lincoln, NE, USA) Model LI-850 NDIR CO2 Instrument | Calculated in SAS | Carbon Dioxide | % | Calibrated Accuracy
Licor_CO2_linftz | Licor (Lincoln, NE, USA) Model LI-850 NDIR CO2 Instrument | Calculated in SAS | Carbon Dioxide | ppm | Study Specific Calibrated
accur_CO2_licor_linftz | Licor (Lincoln, NE, USA) Model LI-850 NDIR CO2 Instrument | Calculated in SAS | Carbon Dioxide | % | Calibrated Accuracy
PA_1_PM25_mean | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | PurpleAir Data Servers | PM2.5 | mg m-3 | Raw Reported Concentration
PA_2_PM25_mean | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | PurpleAir Data Servers | PM2.5 | mg m-3 | Raw Reported Concentration
PA_1_PM25_cubftz | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
PA_2_PM25_cubftz | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
PA_1_PM25_EPA | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Literature Calibration Regime
PA_2_PM25_EPA | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Literature Calibration Regime
PA_1_PM25_FSM | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Literature Calibration Regime
PA_2_PM25_FSM | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | mg m-3 | Literature Calibration Regime
accur_PA_1_RAW | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Raw Accuracy
accur_PA_2_RAW | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Raw Accuracy
cv_raw_PA | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Raw Precision
accur_PA_1_cubftz | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PA_2_cubftz | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_PA_cubftz | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Calibrated Precision
accur_PA_1_FSM | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Literature Calibration Regime Accuracy
accur_PA_2_FSM | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Literature Calibration Regime Accuracy
cv_PA_FSM | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Literature Calibration Regime Precision
accur_PA_1_EPA | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Literature Calibration Regime Accuracy
accur_PA_2_EPA | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Literature Calibration Regime Accuracy
cv_PA_EPA | PurpleAir (Draper, Utah, USA) Model PA-II-SD Sensor System | Calculated in SAS | PM2.5 | % | Literature Calibration Regime Precision
PDR_1_PM25 | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
PDR_2_PM25 | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
accur_PDR_1_PM25 | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PDR_2_PM25 | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_PDR_PM25 | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Precision
PDR_1_PM25_quad | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | mg m-3 | Raw Reported Concentration
PDR_2_PM25_quad | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | mg m-3 | Raw Reported Concentration
accur_PM25_PDR_1_quad | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PM25_PDR_2_quad | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_PDR_PM25_quad | Thermo Scientific (Franklin, MA, USA) Model Personal DataRAM pDR-1500 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Precision
APS_PM2_5_mass_ug | TSI Inc. (Shoreview, MN, USA) Model 3321 Aerosol Particle Sizer (APS) | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration
accur_APS_PM25 | TSI Inc. (Shoreview, MN, USA) Model 3321 Aerosol Particle Sizer (APS) | Calculated in SAS | PM2.5 | % | Raw Accuracy
TSI_APS_PM25_cubftz | TSI Inc. (Shoreview, MN, USA) Model 3321 Aerosol Particle Sizer (APS) | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated
accur_APS_PM25_cubftz | TSI Inc. (Shoreview, MN, USA) Model 3321 Aerosol Particle Sizer (APS) | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
TSI_PM25 | TSI Inc. (Shoreview, MN, USA) Model 3321 Aerosol Particle Sizer (APS) | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration (EPA Unit)
DRX_1_PM25 | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Internally Logged | PM2.5 | mg m-3 | Raw Reported Concentration (USFS Unit)
accur_DT_PM25 | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Raw Accuracy
accur_DRX_1_PM25 | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Raw Accuracy
cv_DT_PM25 | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Raw Precision
DT_PM25_EPA_linftz | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated (EPA Unit)
DT_PM25_USFS_1_linftz | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | mg m-3 | Study Specific Calibrated (USFS Unit)
accur_PM25_EPA_DT_linftz | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
accur_PM25_USFS_DT1_linftz | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Accuracy
cv_DT_PM25_linftz | TSI Inc. (Shoreview, MN, USA) DustTrak Model DRX 8533 Aerosol Monitor | Calculated in SAS | PM2.5 | % | Calibrated Precision