## Summary SF1A
Data for volume determination (panel SF1A) come from 5 experimental days color coded as below. See individual experimental day tabs for details.
This data is used in Figure SF1A
| 1 mg/mL | [7 empty] | 2mg/mL
10 uL | 1.7085 | 1.856 | 1.3555 | 24.852 | 6.6325 | 2.0265 |  |  | 0.5095 | 0.8255 | 12.3445 | 1.0815 | 0.887 | 3.4665 | 10.3105 | 12.631
20 uL | 6.1655 | 16.764 | 10.592 | 6.9685 | 7.234 | 2.945 |  |  | 8.8335 | 13.5365 | 7.4455
30 uL | 15.479 | 9.8595 | 7.3475 | 26.6305 | 17.783 | 27.173 | 18.522 | 14.453 | 37.8705 | 29.0945 | 29.3755 | 39.505 | 22.6935
| 240909 file | first 2 are 3 min sedimentation time (not used in figure), last 3 are 90 sec
| 240910 file | 90 sec
| 240912 file | 90 sec
| 240916 file | 90 sec
| 240918 file | 90 sec

## Summary SF1B
Data for assessing day-to-day variability (panel SF1B) come from 2 experimental days color coded as below. See individual experimental day tabs for details.
This data is used in Figure SF1B
| Day 1 |  |  |  | Day 2
0.5 | 7.047 | 7.919 | 7.7415 | 9.7325 | 8.834 | 5.7495 | 6.8355 | 6.291
1 | 15.1135 | 15.406 | 14.0905 | 13.9685 | 18.309 | 10.494 | 11.97 | 20.288
2 | 32.0495 | 29.677 | 19.563 | 26.0875 | 29.896 | 22.909 | 21.7715 | 35.101
| 240909 file | data are in SF1B 240924 file
| 240910 file | data are in SF1B 240925 file

## SF1A 240909
Software Version | 3.10.06
Experiment File Path: | C:\Users\Public\Documents\Experiments\240909_fluorescein + tensiometer_3 min vs 90 sec sedimentation.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\fluorescein detection.prt
Plate Number | Plate 1
Date | 2024-09-09
Time | 13:41
Reader Type: | Cytation7
Reader Serial Number: | 20110536
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485/12, Emission: 515/15
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: STD3; 2: STD3; 3: SPL1; 4: SPL1 | Well ID
|  | 1: 500; 2: 500 | Conc/Dil
| B | 1: STD4; 2: STD4; 4: SPL2 | Well ID
|  | 1: 250; 2: 250 | Conc/Dil
| C | 1: STD5; 2: STD5; 3: SPL3; 4: SPL3 | Well ID
|  | 1: 125; 2: 125 | Conc/Dil
| D | 1: STD6; 2: STD6; 3: SPL4; 4: SPL4 | Well ID
|  | 1: 62.5; 2: 62.5 | Conc/Dil
| E | 1: STD7; 2: STD7; 3: SPL5; 4: SPL5 | Well ID
|  | 1: 31.25; 2: 31.25 | Conc/Dil
| F | 1: STD8; 2: STD8; 3: SPL6; 4: SPL6 | Well ID
|  | 1: 15.625; 2: 15.625 | Conc/Dil
| G | 1: STD9; 2: STD9 | Well ID
|  | 1: 7.8125; 2: 7.8125 | Conc/Dil
| H | 1: BLK; 2: BLK | Well ID
Conc/Dil | bar: 1 to 2
Results
Actual Temperature: | 25
| Well ID | Well | Conc/Dil | 485515 | Blank 485,515 | [Concentration] | Count | Mean | Std Dev | CV (%)
| BLK | H1 |  | 60 | -5 | <0.000 | 0 | ????? | ????? | ?????
|  | H2 |  | 70 | 5 | <0.000
| SPL1 | A3 |  | 776 | 711 | <0.000 | 0 | ????? | ????? | ?????
|  | A4 |  | 786 | 721 | <0.000
| SPL2 | B4 |  | 2158 | 2093 | 1.019 | 1 | 1.019 | ????? | ?????
| SPL3 | C3 |  | 2386 | 2321 | 1.743 | 2 | 1.651 | 0.13 | 7.887
|  | C4 |  | 2328 | 2263 | 1.559
| SPL4 | D3 |  | 9520 | 9455 | 24.283 | 2 | 24.689 | 0.574 | 2.324
|  | D4 |  | 9778 | 9713 | 25.095
| SPL5 | E3 |  | 2517 | 2452 | 2.158 | 2 | 2.163 | 0.007 | 0.311
|  | E4 |  | 2520 | 2455 | 2.168
| SPL6 | F3 |  | 2366 | 2301 | 1.679 | 2 | 1.774 | 0.135 | 7.589
|  | F4 |  | 2426 | 2361 | 1.87
| STD3 | A1 | 500 | 175144 | 175079 | 499.282 | 2 | 500.19 | 1.284 | 0.257
|  | A2 | 500 | 175833 | 175768 | 501.098
| STD4 | B1 | 250 | 84888 | 84823 | 250.878 | 2 | 250.133 | 1.053 | 0.421
|  | B2 | 250 | 84371 | 84306 | 249.389
| STD5 | C1 | 125 | 40589 | 40524 | 120.13 | 2 | 117.714 | 3.417 | 2.903
|  | C2 | 125 | 38994 | 38929 | 115.297
| STD6 | D1 | 62.5 | 25883 | 25818 | 75.219 | 2 | 75.569 | 0.495 | 0.654
|  | D2 | 62.5 | 26110 | 26045 | 75.919
| STD7 | E1 | 31.25 | 12177 | 12112 | 32.626 | 2 | 32.74 | 0.162 | 0.494
|  | E2 | 31.25 | 12250 | 12185 | 32.855
| STD8 | F1 | 15.625 | 5861 | 5796 | 12.748 | 2 | 12.753 | 0.007 | 0.053
|  | F2 | 15.625 | 5864 | 5799 | 12.758
| STD9 | G1 | 7.8125 | 2789 | 2724 | 3.022 | 2 | 3.034 | 0.018 | 0.591
|  | G2 | 7.8125 | 2797 | 2732 | 3.047
StdCurve
StdCurve Fitting Results
| Curve Name | 1: Curve Formula; 2: A; 3: B; 4: C; 5: R2; 6: Fit F Prob
| StdCurve | 1: Y=C*X^2+B*X+A; 2: 1770; 3: 315; 4: 0.0647; 5: 0.999; 6: ?????
- samples diluted 10uL in 500uL
|  | dil ng/mL | ng/mL | ng/droplet | dep eff |  |  |  |  | total mass inputs into the system:
3 min sedimentation | Sample 1 | ????? | 0 | 0 | 0 |  |  |  |  | mg/mL | vol (mL) | mg | ng
3 min sedimentation | Sample 2 | 1.019 | 50.95 | 0.5095 | 0.002547% |  |  |  |  | 2 | 0.01 | 0.02 | 20000
3 min sedimentation | Sample 3 | 1: 1.651; 2: 82.55; 3: 0.8255; 4: 0.004128%
90 sec sedimentation | Sample 4* | 1: 24.689; 2: 1234.45; 3: 12.3445; 4: 0.06172%; 6: Used all 3 90 s values; 9: If two solid replicates from each condition were analyzed:
90 sec sedimentation | Sample 5 | 1: 2.163; 2: 108.15; 3: 1.0815; 4: 0.005407%; 10: avg (ng); 11: sd; 12: sd%
90 sec sedimentation | Sample 6 | 1.774 | 88.7 | 0.887 | 0.004435% |  |  |  |  | 3 min | 0.6675 | 0.22345 | 33.48%
[10 empty] | 90 sec | 0.98425 | 0.13753 | 13.97%
- two samples had unusual values, highlighted in yellow
| *possibly contaminated? Sample is too high compared to replicates and historical deposition | 9: All reps:
[11 empty] | avg (ng) | sd | sd%
[10 empty] | 3 min | 0.445 | 0.41651 | 93.6%
[10 empty] | 90 sec | 4.771 | 6.5596 | 137.5%

## SF1A 240910
Software Version | 3.10.06
Experiment File Path: | C:\Users\Public\Documents\Experiments\240910_fluorescein + tensiometer_10ul_20ul_1mg-ml_2mg-ml.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\fluorescein detection.prt
Plate Number | Plate 1
Date | 2024-09-10
Time | 15:37
Reader Type: | Cytation7
Reader Serial Number: | 20110536
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485/12, Emission: 515/15
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 5: STD4; 6: STD4; 7: STD12; 8: STD12; 9: SPL6; 10: SPL6 | Well ID
|  | 5: 250; 6: 250; 7: 0.97656; 8: 0.97656 | Conc/Dil
| B | 5: STD5; 6: STD5; 7: STD13; 8: STD13; 9: SPL7; 10: SPL7 | Well ID
|  | 5: 125; 6: 125; 7: 0.48828; 8: 0.48828 | Conc/Dil
| C | 5: STD6; 6: STD6; 7: BLK; 8: BLK; 9: SPL8; 10: SPL8 | Well ID
|  | 5: 62.5; 6: 62.5 | Conc/Dil
| D | 5: STD7; 6: STD7; 7: SPL1; 8: SPL1; 9: SPL9; 10: SPL9 | Well ID
|  | 5: 31.25; 6: 31.25 | Conc/Dil
| E | 5: STD8; 6: STD8; 7: SPL2; 8: SPL2; 9: SPL10; 10: SPL10 | Well ID
|  | 5: 15.625; 6: 15.625 | Conc/Dil
| F | 5: STD9; 6: STD9; 7: SPL3; 8: SPL3; 9: SPL11; 10: SPL11 | Well ID
|  | 5: 7.8125; 6: 7.8125 | Conc/Dil
| G | 5: STD10; 6: STD10; 7: SPL4; 8: SPL4; 9: SPL12; 10: SPL12 | Well ID
|  | 5: 3.9063; 6: 3.9063 | Conc/Dil
| H | 5: STD11; 6: STD11; 7: SPL5; 8: SPL5 | Well ID
|  | 5: 1.9531; 6: 1.9531 | Conc/Dil
Results
Actual Temperature: | 24.7
| Well ID | Well | Conc/Dil | 485515 | Blank 485,515 | [Concentration] | Count | Mean | Std Dev | CV (%)
| BLK | C7 |  | 53 | -2 | 0.328 | 2 | 0.332 | 0.006 | 1.672
|  | C8 |  | 57 | 2 | 0.336
1 10ul, 1mg/ml | SPL1 | D7 |  | 1767 | 1712 | 3.694 | 2 | 3.749 | 0.078 | 2.072
|  | D8 |  | 1823 | 1768 | 3.803
2 10ul, 1mg/ml | SPL2 | E7 |  | 2335 | 2280 | 4.808 | 2 | 4.044 | 1.08 | 26.72
|  | E8 |  | 1556 | 1501 | 3.28
3 10ul, 1mg/ml | SPL3 | F7 |  | 1442 | 1387 | 3.056 | 2 | 3.043 | 0.018 | 0.593
|  | F8 |  | 1429 | 1374 | 3.03
4 20ul, 1mg/ml | SPL4 | G7 |  | 6368 | 6313 | 12.701 | 2 | 12.663 | 0.054 | 0.425
|  | G8 |  | 6329 | 6274 | 12.625
5 20ul, 1mg/ml | SPL5 | H7 |  | 18238 | 18183 | 35.771 | 2 | 33.86 | 2.702 | 7.981
|  | H8 |  | 16263 | 16208 | 31.949
6 20ul, 1mg/ml | SPL6 | A9 |  | 10534 | 10479 | 20.826 | 2 | 21.516 | 0.977 | 4.54
|  | A10 |  | 11244 | 11189 | 22.207
7 10ul, 2mg/ml | SPL7 | B9 |  | 5646 | 5591 | 11.29 | 2 | 7.265 | 5.692 | 78.347
|  | B10 |  | 1536 | 1481 | 3.24
8 10ul, 2mg/ml | SPL8 | C9 |  | 17078 | 17023 | 33.527 | 2 | 20.953 | 17.782 | 84.866
|  | C10 |  | 4158 | 4103 | 8.379
9 10ul, 2mg/ml | SPL9 | D9 |  | 12700 | 12645 | 25.038 | 2 | 25.594 | 0.787 | 3.075
|  | D10 |  | 13273 | 13218 | 26.151
10 20ul, 2mg/ml | SPL10 | E9 |  | 53104 | 53049 | 102.186 | 2 | 60.092 | 59.529 | 99.062
|  | E10 |  | 9083 | 9028 | 17.999
11 20ul, 2mg/ml | SPL11 | F9 |  | 13990 | 13935 | 27.543 | 2 | 27.405 | 0.195 | 0.711
|  | F10 |  | 13848 | 13793 | 27.267
12 20ul, 2mg/ml | SPL12 | G9 |  | 10180 | 10125 | 20.136 | 2 | 15.223 | 6.949 | 45.651
|  | G10 |  | 5144 | 5089 | 10.309
| STD4 | A5 | 250 | 132902 | 132847 | 247.357 | 2 | 249.912 | 3.614 | 1.446
|  | A6 | 250 | 135801 | 135746 | 252.468
| STD5 | B5 | 125 | 65737 | 65682 | 125.777 | 2 | 125.47 | 0.435 | 0.347
|  | B6 | 125 | 65406 | 65351 | 125.162
| STD6 | C5 | 62.5 | 31619 | 31564 | 61.493 | 2 | 62.196 | 0.994 | 1.599
|  | C6 | 62.5 | 32355 | 32300 | 62.899
| STD7 | D5 | 31.25 | 15613 | 15558 | 30.69 | 2 | 30.768 | 0.11 | 0.356
|  | D6 | 31.25 | 15693 | 15638 | 30.845
| STD8 | E5 | 15.625 | 7723 | 7668 | 15.347 | 2 | 15.421 | 0.105 | 0.68
|  | E6 | 15.625 | 7799 | 7744 | 15.495
| STD9 | F5 | 7.8125 | 3767 | 3712 | 7.614 | 2 | 7.706 | 0.13 | 1.689
|  | F6 | 7.8125 | 3861 | 3806 | 7.798
| STD10 | G5 | 3.9063 | 1918 | 1863 | 3.99 | 2 | 3.951 | 0.055 | 1.404
|  | G6 | 3.9063 | 1878 | 1823 | 3.911
| STD11 | H5 | 1.9531 | 946 | 891 | 2.082 | 2 | 2.094 | 0.017 | 0.795
|  | H6 | 1.9531 | 958 | 903 | 2.106
| STD12 | A7 | 0.97656 | 499 | 444 | 1.205 | 2 | 1.202 | 0.004 | 0.347
|  | A8 | 0.97656 | 496 | 441 | 1.199
| STD13 | B7 | 0.48828 | 290 | 235 | 0.794 | 2 | 0.791 | 0.004 | 0.527
|  | B8 | 0.48828 | 287 | 232 | 0.788
StdCurve
StdCurve Fitting Results
| Curve Name | 1: Curve Formula; 2: A; 3: B; 4: C; 5: R2; 6: Fit F Prob
| StdCurve | 1: Y=C*X^2+B*X+A; 2: -169; 3: 509; 4: 0.117; 5: 1; 6: ?????
|  | 1: dil ng/mL; 2: blanked; 3: ng/mL; 4: ng/droplet; 5: dep eff; 6: average dep eff; 8: total mass inputs into the system: | total mass inputs into the system:
| blank | 1: 0.332; 2: 0; 8: mg/mL; 9: vol (mL); 10: mg; 11: ng | mg/mL | vol (mL) | mg | ng
1 10ul, 1mg/ml | Sample 1 | 3.749 | 3.417 | 170.85 | 1.7085 | 0.01708% |  |  | 1 | 0.01 | 0.01 | 10000 |  | 1 | 0.02 | 0.02 | 20000
2 10ul, 1mg/ml | Sample 2 | 1: 4.044; 2: 3.712; 3: 185.6; 4: 1.856; 5: 0.01856%
3 10ul, 1mg/ml | Sample 3 | 1: 3.043; 2: 2.711; 3: 135.55; 4: 1.3555; 5: 0.01355%; 6: 0.0164%; 8: total mass inputs into the system: | total mass inputs into the system:
|  | 8: mg/mL; 9: vol (mL); 10: mg; 11: ng | mg/mL | vol (mL) | mg | ng
4 20ul, 1mg/ml | Sample 4 | 12.663 | 12.331 | 616.55 | 6.1655 | 0.03083% |  |  | 2 | 0.01 | 0.02 | 20000 |  | 2 | 0.02 | 0.04 | 40000
5 20ul, 1mg/ml | Sample 5 | 1: 33.86; 2: 33.528; 3: 1676.4; 4: 16.764; 5: 0.08382%
6 20ul, 1mg/ml | Sample 6 | 1: 21.516; 2: 21.184; 3: 1059.2; 4: 10.592; 5: 0.05296%; 6: 0.05587%
All reps:
7 10ul, 2mg/ml | Sample 7 | 7.265 | 6.933 | 346.65 | 3.4665 | 0.01733% |  |  |  | avg (ng) | sd | sd%
8 10ul, 2mg/ml | Sample 8 | 20.953 | 20.621 | 1031.05 | 10.3105 | 0.05155% |  |  | 10ul, 1mg/ml | 1.64 | 0.25719 | 15.68%
9 10ul, 2mg/ml | Sample 9 | 25.594 | 25.262 | 1263.1 | 12.631 | 0.06316% | 0.04401% |  | 20ul, 1mg/ml | 11.1738 | 5.3232 | 47.64%
[9 empty] | 10ul, 2mg/ml | 8.8027 | 4.7647 | 54.13%
10 20ul, 2mg/ml | Sample 10 | 17.999 | 17.667 | 883.35 | 8.8335 | 0.02208% |  |  | 20ul, 2mg/ml | 9.9385 | 3.1923 | 32.12%
11 20ul, 2mg/ml | Sample 11 | 1: 27.405; 2: 27.073; 3: 1353.65; 4: 13.5365; 5: 0.03384%
12 20ul, 2mg/ml | Sample 12 | 1: 15.223; 2: 14.891; 3: 744.55; 4: 7.4455; 5: 0.01861%; 6: 0.02485%
Values used

## SF1A 240912
Software Version | 3.10.06
Experiment File Path: | C:\Users\Public\Documents\Experiments\240912_fluorescein+tensiometer_10-20-30ul_dose.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\fluorescein detection.prt
Plate Number | Plate 1
Date | 2024-09-12
Time | 14:26
Reader Type: | Cytation7
Reader Serial Number: | 20110536
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485/12, Emission: 515/15
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 3: STD12; 4: STD12; 5: SPL1; 6: SPL1; 7: SPL9; 8: SPL9 | Well ID
|  | 3: 0.97656; 4: 0.97656 | Conc/Dil
| B | 1: STD5; 2: STD5; 3: STD13; 4: STD13; 5: SPL2; 6: SPL2 | Well ID
|  | 1: 125; 2: 125; 3: 0.48828; 4: 0.48828 | Conc/Dil
| C | 1: STD6; 2: STD6; 3: BLK; 4: BLK; 5: SPL3; 6: SPL3 | Well ID
|  | 1: 62.5; 2: 62.5 | Conc/Dil
| D | 1: STD7; 2: STD7; 5: SPL4; 6: SPL4 | Well ID
|  | 1: 31.25; 2: 31.25 | Conc/Dil
| E | 1: STD8; 2: STD8; 5: SPL5; 6: SPL5 | Well ID
|  | 1: 15.625; 2: 15.625 | Conc/Dil
| F | 1: STD9; 2: STD9; 5: SPL6; 6: SPL6 | Well ID
|  | 1: 7.8125; 2: 7.8125 | Conc/Dil
| G | 1: STD10; 2: STD10; 5: SPL7; 6: SPL7 | Well ID
|  | 1: 3.9063; 2: 3.9063 | Conc/Dil
| H | 1: STD11; 2: STD11; 5: SPL8; 6: SPL8 | Well ID
|  | 1: 1.9531; 2: 1.9531 | Conc/Dil
Results
Actual Temperature: | 25.7
| Well ID | Well | Conc/Dil | 485515 | Blank 485,515 | [Concentration] | Count | Mean | Std Dev | CV (%)
| BLK | C3 |  | 514 | 16 | 0.079 | 2 | 0.056 | 0.033 | 59.132
|  | C4 |  | 482 | -16 | 0.033
Sample 1 | SPL1 | A5 |  | 59456 | 58958 | 85.184 | 2 | 49.704 | 50.177 | 100.951
|  | A6 |  | 10214 | 9716 | 14.224
Sample 2 | SPL2 | B5 |  | 9919 | 9421 | 13.794 | 2 | 13.265 | 0.748 | 5.641
|  | B6 |  | 9192 | 8694 | 12.736
Sample 9 | SPL3 | C5 |  | 3201 | 2703 | 4.003 | 2 | 4.053 | 0.071 | 1.757
|  | C6 |  | 3270 | 2772 | 4.104
Sample 3 | SPL4 | D5 |  | 3056 | 2558 | 3.791 | 2 | 13.937 | 14.348 | 102.95
|  | D6 |  | 16998 | 16500 | 24.083
Sample 4 | SPL5 | E5 |  | 10527 | 10029 | 14.679 | 2 | 14.468 | 0.298 | 2.063
|  | E6 |  | 10237 | 9739 | 14.257
Sample 8 | SPL6 | F5 |  | 3499 | 3001 | 4.438 | 2 | 5.89 | 2.054 | 34.866
|  | F6 |  | 5490 | 4992 | 7.342
Sample 5 | SPL7 | G5 |  | 20506 | 20008 | 29.171 | 2 | 30.958 | 2.527 | 8.162
|  | G6 |  | 22973 | 22475 | 32.744
Sample 6 | SPL8 | H5 |  | 11813 | 11315 | 16.55 | 2 | 19.719 | 4.482 | 22.729
|  | H6 |  | 16175 | 15677 | 22.889
Sample 7 | SPL9 | A7 |  | 10578 | 10080 | 14.754 | 2 | 14.695 | 0.082 | 0.56
|  | A8 |  | 10498 | 10000 | 14.637
| STD5 | B1 | 125 | 90666 | 90168 | 129.455 | 2 | 124.98 | 6.329 | 5.064
|  | B2 | 125 | 84326 | 83828 | 120.505
| STD6 | C1 | 62.5 | 47020 | 46522 | 67.394 | 2 | 62.582 | 6.805 | 10.874
|  | C2 | 62.5 | 40318 | 39820 | 57.77
| STD7 | D1 | 31.25 | 24228 | 23730 | 34.561 | 2 | 31.263 | 4.664 | 14.919
|  | D2 | 31.25 | 19674 | 19176 | 27.965
| STD8 | E1 | 15.625 | 11375 | 10877 | 15.913 | 2 | 15.279 | 0.897 | 5.871
|  | E2 | 15.625 | 10503 | 10005 | 14.644
| STD9 | F1 | 7.8125 | 5945 | 5447 | 8.006 | 2 | 8.011 | 0.007 | 0.09
|  | F2 | 7.8125 | 5952 | 5454 | 8.016
| STD10 | G1 | 3.9063 | 3419 | 2921 | 4.321 | 2 | 3.92 | 0.568 | 14.481
|  | G2 | 3.9063 | 2869 | 2371 | 3.518
| STD11 | H1 | 1.9531 | 2086 | 1588 | 2.375 | 2 | 2.067 | 0.436 | 21.078
|  | H2 | 1.9531 | 1664 | 1166 | 1.759
| STD12 | A3 | 0.97656 | 1130 | 632 | 0.979 | 2 | 0.98 | 0.001 | 0.105
|  | A4 | 0.97656 | 1131 | 633 | 0.981
| STD13 | B3 | 0.48828 | 736 | 238 | 0.404 | 2 | 0.423 | 0.027 | 6.355
|  | B4 | 0.48828 | 762 | 264 | 0.442
StdCurve
StdCurve Fitting Results
| Curve Name | 1: Curve Formula; 2: A; 3: B; 4: C; 5: R2; 6: Fit F Prob
| StdCurve | 1: Y=C*X^2+B*X+A; 2: -38.3; 3: 684; 4: 0.0959; 5: 1; 6: ?????
| 10ul neb | 1: dil ng/mL; 2: ng/mL; 3: ng/droplet; 4: dep eff; 5: avg dep eff; 7: total mass inputs into the system:
| Sample 1 | 49.704 | 2485.2 | 24.852 | 0.2485% |  |  | mg/mL | vol (mL) | mg | ng
| Sample 2 | 13.265 | 663.25 | 6.6325 | 0.06632% |  |  | 1 | 0.01 | 0.01 | 10000
| Sample 3 | 4.053 | 202.65 | 2.0265 | 0.02026% | 0.1117% |  | 1 | 0.02 | 0.02 | 20000
| 20ul neb | 7: 1; 8: 0.03; 9: 0.03; 10: 30000
| Sample 4 | 1: 13.937; 2: 696.85; 3: 6.9685; 4: 0.03484%
| Sample 5 | 1: 14.468; 2: 723.4; 3: 7.234; 4: 0.03617%
| Sample 6 | 1: 5.89; 2: 294.5; 3: 2.945; 4: 0.01473%; 5: 0.02858%
30ul neb
| Sample 7 | 1: 30.958; 2: 1547.9; 3: 15.479; 4: 0.0516%; 7: All reps:
| Sample 8 | 1: 19.719; 2: 985.95; 3: 9.8595; 4: 0.03287%; 8: avg (ng); 9: sd; 10: sd%
| Sample 9 | 14.695 | 734.75 | 7.3475 | 0.02449% | 0.03632% |  | 10ul neb | 4.3295 | 3.2569 | 75.23% | *ignored first rep
[8 empty] | 20ul neb | 5.7158 | 2.4033 | 42.05%
|  |  |  | Values used |  |  |  | 30ul neb | 10.8953 | 4.1635 | 38.21%
s
[8 empty] | mass input | deposition
[8 empty] | 0.01 | 4.3295
[8 empty] | 0.02 | 5.7158
[8 empty] | 0.03 | 10.8953

## SF1A 240916
Software Version | 3.10.06
Experiment File Path: | C:\Users\Public\Documents\Experiments\240916_fluorescein+tensiometer.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\Rhodamine6G-1.prt
Plate Number | Plate 1
Date | 2024-09-16
Time | 13:00
Reader Type: | Cytation7
Reader Serial Number: | 20110536
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 480/20, Emission: 550/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: STD4; 2: STD4; 3: STD12; 4: STD12; 5: SPL6; 6: SPL6 | Well ID
|  | 1: 250; 2: 250; 3: 0.97656; 4: 0.97656 | Conc/Dil
| B | 1: STD5; 2: STD5 | Well ID
|  | 1: 125; 2: 125 | Conc/Dil
| C | 1: STD6; 2: STD6; 3: BLK; 4: BLK | Well ID
|  | 1: 62.5; 2: 62.5 | Conc/Dil
| D | 1: STD7; 2: STD7; 3: SPL1; 4: SPL1 | Well ID
|  | 1: 31.25; 2: 31.25 | Conc/Dil
| E | 1: STD8; 2: STD8; 3: SPL2; 4: SPL2 | Well ID
|  | 1: 15.625; 2: 15.625 | Conc/Dil
| F | 1: STD9; 2: STD9; 3: SPL3; 4: SPL3 | Well ID
|  | 1: 7.8125; 2: 7.8125 | Conc/Dil
| G | 1: STD10; 2: STD10; 3: SPL4; 4: SPL4 | Well ID
|  | 1: 3.9063; 2: 3.9063 | Conc/Dil
| H | 1: STD11; 2: STD11; 3: SPL5; 4: SPL5 | Well ID
|  | 1: 1.9531; 2: 1.9531 | Conc/Dil
Results
Actual Temperature: | 24.6
| Well ID | Well | Conc/Dil | 480550 | Blank 480,550 | [Concentration] | Count | Mean | Std Dev | CV (%)
| BLK | C3 |  | 278 | -1 | 0.312 | 2 | 0.313 | 0.002 | 0.688
|  | C4 |  | 280 | 1 | 0.315
Sample 1 | SPL1 | D3 |  | 14557 | 14278 | 22.198 | 2 | 22.283 | 0.121 | 0.543
|  | D4 |  | 14668 | 14389 | 22.369
Sample 2 | SPL2 | E3 |  | 18019 | 17740 | 27.536 | 2 | 27.483 | 0.075 | 0.274
|  | E4 |  | 17950 | 17671 | 27.43
Sample 3 | SPL3 | F3 |  | 34451 | 34172 | 52.982 | 2 | 53.261 | 0.395 | 0.742
|  | F4 |  | 34811 | 34532 | 53.541
Sample 4 | SPL4 | G3 |  | 23234 | 22955 | 35.596 | 2 | 35.566 | 0.042 | 0.117
|  | G4 |  | 23196 | 22917 | 35.537
Sample 5 | SPL5 | H3 |  | 48945 | 48666 | 75.482 | 2 | 75.741 | 0.366 | 0.484
|  | H4 |  | 49279 | 49000 | 76
Sample 6 | SPL6 | A5 |  | 37665 | 37386 | 57.971 | 2 | 58.189 | 0.308 | 0.53
|  | A6 |  | 37946 | 37667 | 58.407
| STD4 | A1 | 250 | 167857 | 167578 | 249.404 | 2 | 250.005 | 0.851 | 0.34
|  | A2 | 250 | 168766 | 168487 | 250.607
| STD5 | B1 | 125 | 81641 | 81362 | 125.833 | 2 | 124.916 | 1.297 | 1.038
|  | B2 | 125 | 80437 | 80158 | 123.999
| STD6 | C1 | 62.5 | 40868 | 40589 | 62.944 | 2 | 62.788 | 0.221 | 0.351
|  | C2 | 62.5 | 40667 | 40388 | 62.632
| STD7 | D1 | 31.25 | 20165 | 19886 | 30.85 | 2 | 31.137 | 0.405 | 1.302
|  | D2 | 31.25 | 20536 | 20257 | 31.424
| STD8 | E1 | 15.625 | 10097 | 9818 | 15.337 | 2 | 15.325 | 0.017 | 0.113
|  | E2 | 15.625 | 10081 | 9802 | 15.312
| STD9 | F1 | 7.8125 | 5098 | 4819 | 7.672 | 2 | 7.653 | 0.027 | 0.353
|  | F2 | 7.8125 | 5073 | 4794 | 7.634
| STD10 | G1 | 3.9063 | 2663 | 2384 | 3.95 | 2 | 3.952 | 0.003 | 0.082
|  | G2 | 3.9063 | 2666 | 2387 | 3.955
| STD11 | H1 | 1.9531 | 1432 | 1153 | 2.071 | 2 | 2.082 | 0.015 | 0.725
|  | H2 | 1.9531 | 1446 | 1167 | 2.093
| STD12 | A3 | 0.97656 | 852 | 573 | 1.187 | 2 | 1.165 | 0.031 | 2.685
|  | A4 | 0.97656 | 823 | 544 | 1.143
StdCurve
StdCurve Fitting Results
| Curve Name | 1: Curve Formula; 2: A; 3: B; 4: C; 5: D; 6: R2; 7: Fit F Prob
| StdCurve | 1: Y=D*X^3+C*X^2+B*X+A; 2: -206; 3: 656; 4: -0.197; 5: 0.00105; 6: 1; 7: ?????
| StdCurve | 1: Y=C*X^2+B*X+A; 2: -38.3; 3: 684; 4: 0.0959; 5: 1; 6: ?????
| 0.5mg/ml | 1: dil ng/mL; 2: ng/mL; 3: ng/droplet; 4: dep eff; 7: total mass inputs into the system:; 12: total mass inputs into the system:
| Sample 1 | 22.283 | 1114.15 | 11.1415 | 0.07428% |  |  | mg/mL | vol (mL) | mg | ng |  | mg/mL | vol (mL) | mg | ng
| Sample 2 | 27.483 | 1374.15 | 13.7415 | 0.09161% | 0.08294% |  | 0.5 | 0.03 | 0.015 | 15000 |  | 1 | 0.03 | 0.03 | 30000
| 1mg/ml | 7: total mass inputs into the system:
| Sample 4 | 53.261 | 2663.05 | 26.6305 | 0.08877% |  |  | mg/mL | vol (mL) | mg | ng
| Sample 5 | 35.566 | 1778.3 | 17.783 | 0.05928% | 0.07402% |  | 2 | 0.03 | 0.06 | 60000
2mg/ml
| Sample 7 | 1: 75.741; 2: 3787.05; 3: 37.8705; 4: 0.06312%; 7: All reps:
| Sample 8 | 58.189 | 2909.45 | 29.0945 | 0.04849% | 0.0558% |  |  | avg (ng) | sd | sd%
[8 empty] | 0.5mg/ml | 12.4415 | 1.8385 | 14.78%
|  |  |  | Values used |  |  |  | 1mg/ml | 22.2067 | 6.2561 | 28.17%
[8 empty] | 2mg/ml | 33.4825 | 6.2056 | 18.53%

## SF1A 240918
Software Version | 3.10.06
Experiment File Path: | C:\Users\Public\Documents\Experiments\240918_fluorescein+tensiometer.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\fluorescein detection.prt
Plate Number | Plate 1
Date | 2024-09-18
Time | 14:37
Reader Type: | Cytation7
Reader Serial Number: | 20110536
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485/12, Emission: 515/15
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 3: STD12; 4: STD12; 5: SPL7; 6: SPL7 | Well ID
|  | 3: 0.97656; 4: 0.97656 | Conc/Dil
| B | 1: STD5; 2: STD5; 3: BLK; 4: BLK; 5: SPL8; 6: SPL8 | Well ID
|  | 1: 125; 2: 125 | Conc/Dil
| C | 1: STD6; 2: STD6; 3: SPL1; 4: SPL1; 5: SPL9; 6: SPL9 | Well ID
|  | 1: 62.5; 2: 62.5 | Conc/Dil
| D | 1: STD7; 2: STD7; 3: SPL2; 4: SPL2 | Well ID
|  | 1: 31.25; 2: 31.25 | Conc/Dil
| E | 1: STD8; 2: STD8; 3: SPL3; 4: SPL3 | Well ID
|  | 1: 15.625; 2: 15.625 | Conc/Dil
| F | 1: STD9; 2: STD9; 3: SPL4; 4: SPL4 | Well ID
|  | 1: 7.8125; 2: 7.8125 | Conc/Dil
| G | 1: STD10; 2: STD10; 3: SPL5; 4: SPL5 | Well ID
|  | 1: 3.9063; 2: 3.9063 | Conc/Dil
| H | 1: STD11; 2: STD11; 3: SPL6; 4: SPL6 | Well ID
|  | 1: 1.9531; 2: 1.9531 | Conc/Dil
Results
Actual Temperature: | 24.9
| Well ID | Well | Conc/Dil | 485515 | Blank 485,515 | [Concentration] | Count | Mean | Std Dev | CV (%)
| BLK | B3 |  | 231 | -15 | 0.017 | 2 | 0.041 | 0.033 | 80.919
|  | B4 |  | 260 | 15 | 0.064
| SPL1 | C3 |  | 11830 | 11585 | 18.396 | 2 | 18.833 | 0.618 | 3.281
|  | C4 |  | 12389 | 12144 | 19.27
| SPL2 | D3 |  | 19719 | 19474 | 30.635 | 2 | 30.518 | 0.164 | 0.538
|  | D4 |  | 19568 | 19323 | 30.402
| SPL3 | E3 |  | 10269 | 10024 | 15.95 | 2 | 15.863 | 0.123 | 0.777
|  | E4 |  | 10158 | 9913 | 15.776
| SPL4 | F3 |  | 35912 | 35667 | 55.139 | 2 | 54.346 | 1.122 | 2.065
|  | F4 |  | 34847 | 34602 | 53.552
| SPL5 | G3 |  | 24126 | 23881 | 37.384 | 2 | 37.044 | 0.481 | 1.298
|  | G4 |  | 23680 | 23435 | 36.703
| SPL6 | H3 |  | 18485 | 18240 | 28.734 | 2 | 28.906 | 0.244 | 0.845
|  | H4 |  | 18709 | 18464 | 29.079
| SPL7 | A5 |  | 39653 | 39408 | 60.689 | 2 | 58.751 | 2.741 | 4.666
|  | A6 |  | 37037 | 36792 | 56.812
| SPL8 | B5 |  | 52346 | 52101 | 79.227 | 2 | 79.01 | 0.307 | 0.389
|  | B6 |  | 52045 | 51800 | 78.793
| SPL9 | C5 |  | 29041 | 28796 | 44.839 | 2 | 45.387 | 0.775 | 1.708
|  | C6 |  | 29768 | 29523 | 45.936
| STD5 | B1 | 125 | 84744 | 84499 | 124.672 | 2 | 124.994 | 0.456 | 0.365
|  | B2 | 125 | 85217 | 84972 | 125.317
| STD6 | C1 | 62.5 | 41128 | 40883 | 62.866 | 2 | 62.564 | 0.427 | 0.683
|  | C2 | 62.5 | 40718 | 40473 | 62.262
| STD7 | D1 | 31.25 | 19847 | 19602 | 30.832 | 2 | 31.035 | 0.288 | 0.928
|  | D2 | 31.25 | 20112 | 19867 | 31.239
| STD8 | E1 | 15.625 | 10197 | 9952 | 15.837 | 2 | 15.796 | 0.058 | 0.365
|  | E2 | 15.625 | 10145 | 9900 | 15.755
| STD9 | F1 | 7.8125 | 5210 | 4965 | 7.965 | 2 | 7.977 | 0.017 | 0.211
|  | F2 | 7.8125 | 5225 | 4980 | 7.988
| STD10 | G1 | 3.9063 | 2688 | 2443 | 3.95 | 2 | 3.791 | 0.226 | 5.957
|  | G2 | 3.9063 | 2488 | 2243 | 3.631
| STD11 | H1 | 1.9531 | 1402 | 1157 | 1.895 | 2 | 1.921 | 0.037 | 1.945
|  | H2 | 1.9531 | 1435 | 1190 | 1.947
| STD12 | A3 | 0.97656 | 829 | 584 | 0.977 | 2 | 0.945 | 0.044 | 4.676
|  | A4 | 0.97656 | 790 | 545 | 0.914
StdCurve
StdCurve Fitting Results
| Curve Name | 1: Curve Formula; 2: A; 3: B; 4: C; 5: R2; 6: Fit F Prob
| StdCurve | 1: Y=C*X^2+B*X+A; 2: -25.3; 3: 623; 4: 0.441; 5: 1; 6: ?????
| 0.5mg/ml | 1: dil ng/mL; 2: ng/mL; 3: ng/droplet; 4: dep eff; 7: total mass inputs into the system:; 12: total mass inputs into the system:
| Sample 1 | 18.833 | 941.65 | 9.4165 | 0.06278% |  |  | mg/mL | vol (mL) | mg | ng |  | mg/mL | vol (mL) | mg | ng
| Sample 2 | 30.518 | 1525.9 | 15.259 | 0.1017% |  |  | 0.5 | 0.03 | 0.015 | 15000 |  | 1 | 0.03 | 0.03 | 30000
| Sample 3 | 1: 15.863; 2: 793.15; 3: 7.9315; 4: 0.05288%; 5: 0.07246%
total mass inputs into the system:
| 1mg/ml | 7: mg/mL; 8: vol (mL); 9: mg; 10: ng
| Sample 4 | 54.346 | 2717.3 | 27.173 | 0.09058% |  |  | 2 | 0.03 | 0.06 | 60000
| Sample 5 | 1: 37.044; 2: 1852.2; 3: 18.522; 4: 0.06174%
| Sample 6 | 1: 28.906; 2: 1445.3; 3: 14.453; 4: 0.04818%; 5: 0.06683%
All reps:
| 2mg/ml | 8: avg (ng); 9: sd; 10: sd%
| Sample 7 | 58.751 | 2937.55 | 29.3755 | 0.04896% |  |  | 0.5mg/ml | 10.869 | 3.8737 | 35.64%
| Sample 8 | 79.01 | 3950.5 | 39.505 | 0.06584% |  |  | 1mg/ml | 20.0493 | 6.4961 | 32.4%
| Sample 9 | 45.387 | 2269.35 | 22.6935 | 0.03782% | 0.05087% |  | 2mg/ml | 30.5247 | 8.4645 | 27.73%
Values used

## SF1B 240924
Software Version | 3.10.06
Experiment File Path: | C:\Users\Public\Documents\Experiments\240924_fluorescein+tensiometer.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\fluorescein detection.prt
Plate Number | Plate 1
Date | 2024-09-24
Time | 14:47
Reader Type: | Cytation7
Reader Serial Number: | 20110536
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485/12, Emission: 515/15
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 1: STD4; 2: STD4; 3: STD12; 4: STD12; 5: SPL7; 6: SPL7 | Well ID
|  | 1: 250; 2: 250; 3: 0.97656; 4: 0.97656 | Conc/Dil
| B | 1: STD5; 2: STD5; 3: BLK; 4: BLK; 5: SPL8; 6: SPL8 | Well ID
|  | 1: 125; 2: 125 | Conc/Dil
| C | 1: STD6; 2: STD6; 3: SPL1; 4: SPL1; 5: SPL9; 6: SPL9 | Well ID
|  | 1: 62.5; 2: 62.5 | Conc/Dil
| D | 1: STD7; 2: STD7; 3: SPL2; 4: SPL2; 5: SPL10; 6: SPL10 | Well ID
|  | 1: 31.25; 2: 31.25 | Conc/Dil
| E | 1: STD8; 2: STD8; 3: SPL3; 4: SPL3; 5: SPL11; 6: SPL11 | Well ID
|  | 1: 15.625; 2: 15.625 | Conc/Dil
| F | 1: STD9; 2: STD9; 3: SPL4; 4: SPL4; 5: SPL12; 6: SPL12 | Well ID
|  | 1: 7.8125; 2: 7.8125 | Conc/Dil
| G | 1: STD10; 2: STD10; 3: SPL5; 4: SPL5 | Well ID
|  | 1: 3.9063; 2: 3.9063 | Conc/Dil
| H | 1: STD11; 2: STD11; 3: SPL6; 4: SPL6 | Well ID
|  | 1: 1.9531; 2: 1.9531 | Conc/Dil
Results
Actual Temperature: | 23.7
| Well ID | Well | Conc/Dil | 485515 | Blank 485,515 | [Concentration] | Count | Mean | Std Dev | CV (%)
| BLK | B3 |  | 122 | 6 | 0.36 | 2 | 0.35 | 0.013 | 3.712
|  | B4 |  | 110 | -6 | 0.341
| SPL1 | C3 |  | 9090 | 8974 | 14.044 | 2 | 14.094 | 0.071 | 0.503
|  | C4 |  | 9156 | 9040 | 14.144
| SPL2 | D3 |  | 10289 | 10173 | 15.863 | 2 | 15.838 | 0.036 | 0.23
|  | D4 |  | 10255 | 10139 | 15.812
| SPL3 | E3 |  | 10182 | 10066 | 15.701 | 2 | 15.483 | 0.308 | 1.989
|  | E4 |  | 9895 | 9779 | 15.266
| SPL4 | F3 |  | 12713 | 12597 | 19.536 | 2 | 19.465 | 0.101 | 0.517
|  | F4 |  | 12619 | 12503 | 19.393
| SPL5 | G3 |  | 19915 | 19799 | 30.392 | 2 | 30.227 | 0.234 | 0.773
|  | G4 |  | 19695 | 19579 | 30.062
| SPL6 | H3 |  | 20474 | 20358 | 31.232 | 2 | 30.812 | 0.594 | 1.926
|  | H4 |  | 19915 | 19799 | 30.392
| SPL7 | A5 |  | 18650 | 18534 | 28.491 | 2 | 28.181 | 0.438 | 1.555
|  | A6 |  | 18238 | 18122 | 27.872
| SPL8 | B5 |  | 18663 | 18547 | 28.511 | 2 | 27.937 | 0.812 | 2.905
|  | B6 |  | 17900 | 17784 | 27.363
| SPL9 | C5 |  | 42742 | 42626 | 64.288 | 2 | 64.099 | 0.267 | 0.416
|  | C6 |  | 42485 | 42369 | 63.911
| SPL10 | D5 |  | 40078 | 39962 | 60.372 | 2 | 59.354 | 1.438 | 2.424
|  | D6 |  | 38697 | 38581 | 58.337
| SPL11 | E5 |  | 26187 | 26071 | 39.783 | 2 | 39.126 | 0.929 | 2.375
|  | E6 |  | 25307 | 25191 | 38.469
| SPL12 | F5 |  | 34644 | 34528 | 52.351 | 2 | 52.175 | 0.249 | 0.477
|  | F6 |  | 34406 | 34290 | 51.999
| STD4 | A1 | 250 | 179921 | 179805 | 253.816 | 2 | 249.947 | 5.472 | 2.189
|  | A2 | 250 | 174003 | 173887 | 246.077
| STD5 | B1 | 125 | 85727 | 85611 | 126.135 | 2 | 125.204 | 1.316 | 1.051
|  | B2 | 125 | 84408 | 84292 | 124.273
| STD6 | C1 | 62.5 | 42485 | 42369 | 63.911 | 2 | 62.78 | 1.599 | 2.548
|  | C2 | 62.5 | 40946 | 40830 | 61.649
| STD7 | D1 | 31.25 | 20526 | 20410 | 31.31 | 2 | 30.219 | 1.543 | 5.107
|  | D2 | 31.25 | 19073 | 18957 | 29.127
| STD8 | E1 | 15.625 | 10191 | 10075 | 15.715 | 2 | 15.587 | 0.18 | 1.156
|  | E2 | 15.625 | 10023 | 9907 | 15.46
| STD9 | F1 | 7.8125 | 5128 | 5012 | 8.014 | 2 | 7.925 | 0.126 | 1.592
|  | F2 | 7.8125 | 5011 | 4895 | 7.836
| STD10 | G1 | 3.9063 | 2444 | 2328 | 3.915 | 2 | 3.984 | 0.097 | 2.443
|  | G2 | 3.9063 | 2534 | 2418 | 4.053
| STD11 | H1 | 1.9531 | 1288 | 1172 | 2.146 | 2 | 2.138 | 0.012 | 0.557
|  | H2 | 1.9531 | 1277 | 1161 | 2.129
| STD12 | A3 | 0.97656 | 703 | 587 | 1.25 | 2 | 1.235 | 0.022 | 1.755
|  | A4 | 0.97656 | 683 | 567 | 1.219
StdCurve
StdCurve Fitting Results
| Curve Name | 1: Curve Formula; 2: A; 3: B; 4: C; 5: R2; 6: Fit F Prob
| StdCurve | 1: Y=C*X^2+B*X+A; 2: -229; 3: 652; 4: 0.225; 5: 1; 6: ?????
| 0.5 mg/ml | 1: dil ng/mL; 2: ng/mL; 3: ng/droplet; 4: dep eff; 7: total mass inputs into the system:; 12: total mass inputs into the system:
| Sample 1 | 14.094 | 704.7 | 7.047 | 0.04698% |  |  | mg/mL | vol (mL) | mg | ng |  | mg/mL | vol (mL) | mg | ng
| Sample 2 | 15.838 | 791.9 | 7.919 | 0.05279% |  |  | 0.5 | 0.03 | 0.015 | 15000 |  | 1 | 0.03 | 0.03 | 30000
| Sample 3 | 1: 15.483; 2: 774.15; 3: 7.7415; 4: 0.05161%
| Sample 10 | 1: 19.465; 2: 973.25; 3: 9.7325; 4: 0.06488%; 5: 0.05407%; 7: total mass inputs into the system:
[8 empty] | mg/mL | vol (mL) | mg | ng
| 1.0 mg/ml | 7: 2; 8: 0.03; 9: 0.06; 10: 60000
| Sample 4 | 1: 30.227; 2: 1511.35; 3: 15.1135; 4: 0.05038%
| Sample 5 | 1: 30.812; 2: 1540.6; 3: 15.406; 4: 0.05135%
| Sample 6 | 1: 28.181; 2: 1409.05; 3: 14.0905; 4: 0.04697%; 7: All reps:
| Sample 11 | 27.937 | 1396.85 | 13.9685 | 0.04656% | 0.04882% |  |  | avg (ng) | sd | sd%
[8 empty] | 0.5 mg/ml | 8.11 | 1.1452 | 14.12%
| 2.0 mg/ml | 7: 1.0 mg/ml; 8: 14.6446; 9: 0.72197; 10: 4.93%
| Sample 4 | 64.099 | 3204.95 | 32.0495 | 0.05342% |  |  | 2.0 mg/ml | 26.8443 | 5.4378 | 20.26%
| Sample 5 | 1: 59.354; 2: 2967.7; 3: 29.677; 4: 0.04946%
| Sample 6 | 1: 39.126; 2: 1956.3; 3: 19.563; 4: 0.0326%
| Sample 12 | 1: 52.175; 2: 2608.75; 3: 26.0875; 4: 0.04348%; 5: 0.04474%
Values used

## SF1B 240925
Software Version | 3.10.06
Experiment File Path: | C:\Users\Public\Documents\Experiments\240925_fluorescein+tensiometer.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\fluorescein detection.prt
Plate Number | Plate 1
Date | 2024-09-25
Time | 15:06
Reader Type: | Cytation7
Reader Serial Number: | 20110536
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE (Use plate lid)
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 485/12, Emission: 515/15
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Layout
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 3: STD12; 4: STD12; 5: SPL7; 6: SPL7 | Well ID
|  | 3: 0.97656; 4: 0.97656 | Conc/Dil
| B | 1: STD5; 2: STD5; 3: BLK; 4: BLK; 5: SPL8; 6: SPL8 | Well ID
|  | 1: 125; 2: 125 | Conc/Dil
| C | 1: STD6; 2: STD6; 3: SPL1; 4: SPL1; 5: SPL9; 6: SPL9 | Well ID
|  | 1: 62.5; 2: 62.5 | Conc/Dil
| D | 1: STD7; 2: STD7; 3: SPL2; 4: SPL2; 5: SPL10; 6: SPL10 | Well ID
|  | 1: 31.25; 2: 31.25 | Conc/Dil
| E | 1: STD8; 2: STD8; 3: SPL3; 4: SPL3; 5: SPL11; 6: SPL11 | Well ID
|  | 1: 15.625; 2: 15.625 | Conc/Dil
| F | 1: STD9; 2: STD9; 3: SPL4; 4: SPL4; 5: SPL12; 6: SPL12 | Well ID
|  | 1: 7.8125; 2: 7.8125 | Conc/Dil
| G | 1: STD10; 2: STD10; 3: SPL5; 4: SPL5 | Well ID
|  | 1: 3.9063; 2: 3.9063 | Conc/Dil
| H | 1: STD11; 2: STD11; 3: SPL6; 4: SPL6 | Well ID
|  | 1: 1.9531; 2: 1.9531 | Conc/Dil
Results
Actual Temperature: | 24.6
| Well ID | Well | Conc/Dil | 485515 | Blank 485,515 | [Concentration] | Count | Mean | Std Dev | CV (%)
| BLK | B3 |  | 117 | 2 | 0.132 | 2 | 0.13 | 0.003 | 2.401
|  | B4 |  | 114 | -2 | 0.128
| SPL1 | C3 |  | 12033 | 11918 | 17.658 | 2 | 17.668 | 0.015 | 0.082
|  | C4 |  | 12047 | 11932 | 17.678
| SPL2 | D3 |  | 7818 | 7703 | 11.457 | 2 | 11.499 | 0.059 | 0.516
|  | D4 |  | 7875 | 7760 | 11.541
| SPL3 | E3 |  | 9349 | 9234 | 13.709 | 2 | 13.671 | 0.054 | 0.396
|  | E4 |  | 9297 | 9182 | 13.633
| SPL4 | F3 |  | 8581 | 8466 | 12.58 | 2 | 12.582 | 0.003 | 0.025
|  | F4 |  | 8584 | 8469 | 12.584
| SPL5 | G3 |  | 25192 | 25077 | 37.024 | 2 | 36.618 | 0.574 | 1.566
|  | G4 |  | 24641 | 24526 | 36.213
| SPL6 | H3 |  | 14856 | 14741 | 21.811 | 2 | 20.988 | 1.164 | 5.547
|  | H4 |  | 13737 | 13622 | 20.165
| SPL7 | A5 |  | 16339 | 16224 | 23.993 | 2 | 23.94 | 0.075 | 0.313
|  | A6 |  | 16267 | 16152 | 23.887
| SPL8 | B5 |  | 27796 | 27681 | 40.857 | 2 | 40.576 | 0.399 | 0.983
|  | B6 |  | 27413 | 27298 | 40.294
| SPL9 | C5 |  | 40568 | 40453 | 59.669 | 2 | 59.792 | 0.174 | 0.291
|  | C6 |  | 40735 | 40620 | 59.915
| SPL10 | D5 |  | 30992 | 30877 | 45.564 | 2 | 45.818 | 0.359 | 0.784
|  | D6 |  | 31337 | 31222 | 46.072
| SPL11 | E5 |  | 29665 | 29550 | 43.609 | 2 | 43.543 | 0.094 | 0.215
|  | E6 |  | 29575 | 29460 | 43.477
| SPL12 | F5 |  | 47750 | 47635 | 70.252 | 2 | 70.202 | 0.07 | 0.099
|  | F6 |  | 47683 | 47568 | 70.153
| STD5 | B1 | 125 | 88405 | 88290 | 130.232 | 2 | 124.908 | 7.53 | 6.029
|  | B2 | 125 | 81193 | 81078 | 119.583
| STD6 | C1 | 62.5 | 43275 | 43160 | 63.657 | 2 | 63.035 | 0.88 | 1.397
|  | C2 | 62.5 | 42430 | 42315 | 62.412
| STD7 | D1 | 31.25 | 21050 | 20935 | 30.927 | 2 | 30.668 | 0.366 | 1.195
|  | D2 | 31.25 | 20698 | 20583 | 30.408
| STD8 | E1 | 15.625 | 10491 | 10376 | 15.389 | 2 | 15.312 | 0.109 | 0.713
|  | E2 | 15.625 | 10386 | 10271 | 15.235
| STD9 | F1 | 7.8125 | 5419 | 5304 | 7.929 | 2 | 7.882 | 0.067 | 0.844
|  | F2 | 7.8125 | 5355 | 5240 | 7.835
| STD10 | G1 | 3.9063 | 2714 | 2599 | 3.951 | 2 | 3.964 | 0.019 | 0.472
|  | G2 | 3.9063 | 2732 | 2617 | 3.977
| STD11 | H1 | 1.9531 | 1517 | 1402 | 2.191 | 2 | 2.166 | 0.034 | 1.584
|  | H2 | 1.9531 | 1484 | 1369 | 2.142
| STD12 | A3 | 0.97656 | 783 | 668 | 1.111 | 2 | 1.09 | 0.03 | 2.766
|  | A4 | 0.97656 | 754 | 639 | 1.069
StdCurve
StdCurve Fitting Results
| Curve Name | 1: Curve Formula; 2: A; 3: B; 4: C; 5: R2; 6: Fit F Prob
| StdCurve | 1: Y=C*X^2+B*X+A; 2: -88.4; 3: 680; 4: -0.0116; 5: 1; 6: ?????
| 0.5 mg/ml | 1: dil ng/mL; 2: ng/mL; 3: ng/droplet; 4: dep eff; 7: total mass inputs into the system:; 12: total mass inputs into the system:
| Sample 1 | 17.668 | 883.4 | 8.834 | 0.05889% |  |  | mg/mL | vol (mL) | mg | ng |  | mg/mL | vol (mL) | mg | ng
| Sample 2 | 11.499 | 574.95 | 5.7495 | 0.03833% |  |  | 0.5 | 0.03 | 0.015 | 15000 |  | 1 | 0.03 | 0.03 | 30000
| Sample 3 | 1: 13.671; 2: 683.55; 3: 6.8355; 4: 0.04557%
| Sample 10 | 1: 12.582; 2: 629.1; 3: 6.291; 4: 0.04194%; 5: 0.04618%; 7: total mass inputs into the system:
[8 empty] | mg/mL | vol (mL) | mg | ng
| 1.0 mg/ml | 7: 2; 8: 0.03; 9: 0.06; 10: 60000
| Sample 4 | 1: 36.618; 2: 1830.9; 3: 18.309; 4: 0.06103%
| Sample 5 | 1: 20.988; 2: 1049.4; 3: 10.494; 4: 0.03498%
| Sample 6 | 1: 23.94; 2: 1197; 3: 11.97; 4: 0.0399%; 7: All reps:
| Sample 11 | 40.576 | 2028.8 | 20.288 | 0.06763% | 0.05088% |  |  | avg (ng) | sd | sd%
[8 empty] | 0.5 mg/ml | 6.9275 | 1.3461 | 19.43%
| 2.0 mg/ml | 7: 1.0 mg/ml; 8: 15.2653; 9: 4.765; 10: 31.21%
| Sample 4 | 59.792 | 2989.6 | 29.896 | 0.04983% |  |  | 2.0 mg/ml | 27.4194 | 6.2552 | 22.81%
| Sample 5 | 1: 45.818; 2: 2290.9; 3: 22.909; 4: 0.03818%
| Sample 6 | 1: 43.543; 2: 2177.15; 3: 21.7715; 4: 0.03629%
| Sample 12 | 1: 70.202; 2: 3510.1; 3: 35.101; 4: 0.0585%; 5: 0.0457%
Values used