- Culturing Adherent Cells

Equipment and Supplies

- 96-well cell culture plate with cover

- Beakers (1L)

- Biological safety cabinet with UV light

- Chemical Fume Hood

- Cell culture flasks (non-vented, T25, T75, T225, cell culture treated)

- Cell culture flasks (vented, T75, T225, cell culture treated)

- Cell dishes (6 cm or 10 cm, cell culture treated)

- Centrifuges (rpm 1000-5,000)

- Centrifuge Tubes (conical,15mL)

- Centrifuge Tubes (conical, 50mL)

- Microfuge tubes (2 mL, conical bottom)

- Freezers (–20°C, –80°C)

- Hemacytometer (disposable)

- HPLC vial (2mL)

- Incubator (CO2)

- Multi-channel pipette (300 µL)

- Cell counter

- Pipettes

- Pipette tips

- Refrigerator (2 – 8°C)

- Serological pipettes

- Serological pipet controller

- Squeeze bottle (500mL)

- Water bath (temperature range: 25°C - 60°C)

Reagents and Standards

- 70% isopropanol (prepared from 100% isopropanol and DI water)

- 10x DMEM medium

- 10x MEM medium

- Bleach (concentrated)

- DMEM Medium (low glucose)

- DMEM (high glucose)

- DMSO (molecular biology grade)

- EGF

- L-Glutamine (100x, 200 mM)

- Glutaraldehyde (25%)

- Human Cell Culture

- Ice

- Insulin

- MEM with Hanks Balanced salts

- MeOH: Methyl Alcohol (80% methanol, prepared from HPLC Grade 100% methanol and MQ water)

- MQ water (0.1 µm filtered, 18.2 MΩ ultrapure water)

- Normocin

- PBS Buffer

- Sodium bicarbonate (molecular biology grade)

- Sodium dodecyl sulfate

- Trypan Blue

- 0.25% Trypsin-EDTA with phenol red

- ZFL cell culture

- HepG2 cell culture

- PB

- HEPES (1M)

- HI FBS

- PS

- Glucose (cell culture grade)

- Water (molecular biology grade)

- Pyruvate (cell culture grade)

- D2O

- Isopropanol (Laboratory grade)

- Ethanol (Anhydrous (Histological))

Procedures

  - Changing the Medium

    - Turn on the UV light in the biological safety cabinet (BSC) for 15 minutes to sterilize the working area.

    - After the 15 minutes, spray the BSC, the items to be used, and gloved hands with 70% isopropanol. Wipe down BSC and items with 70% isopropanol wipes.

    - Place the following items in the BSC:

    - Cell culture flasks (vent flasks for 5% CO2, no-vent flasks for 0% CO2).

    - Corresponding medium from the refrigerator (DMEM for 5% CO2, MEM Hanks’ Balanced Salts, 11575032 for 0% CO2, refer to Section 9.8).

    - Waste beaker (add ~10 -15 mL concentrated bleach to the beaker after cleaning with 70% isopropanol)

    - 25mL serological pipettes for T225 flasks, or 10mL pipette for T75 flasks

    - Open the flask and discard the old medium into the waste beaker.  The opening of the flask should be above the waste beaker.  Turn the flask on its back side when disposing, and then straighten the flask to ensure all the old medium is discarded into the waste beaker.

    - Open the medium and pipette the desired volume of medium into each flask.

    - T25 flask: 6 mL

    - T75 flask: 13 mL

    - T225 flask: 35 mL

    - Do not allow the serological pipette to touch anything except the medium. If this occurs, discard the pipette, and get a new one.

    - Screw the cap of the flask tightly to originally marked position and return to the incubator (37°C for human cells, 0% or 5% CO2; 28°C for ZFL cells, 0% or 5% CO2).

    - For cleanup and waste disposal, add concentrated bleach to waste beaker (ratio: 1 mL bleach in 9 mL waste solution) and let sit for approximately 30 minutes. Rinse with water and dispose into the drain. Wash the waste beaker with an appropriate detergent and DI water and leave to dry on a rack.

    - Spray and wipe down the BSC with 70% isopropanol.

    - Turn on BSC’s UV light for 15 minutes. (The UV light is set to auto-off after 15 minutes.)

  - Harvesting the Cells

    - Turn on the UV light in the BSC for 15 minutes to sterilize the working area.

    - Spray and wipe down the BSC, items, and gloved hands with 70% isopropanol.

    - Place the following items in the BSC:

    - Waste beaker (add ~10 -15 mL bleach after spraying with 70% isopropanol)

    - PBS buffer

    - Trypsin-EDTA (0.25%) with phenol red

    - Medium specific to the cell line

    - Flask containing cells for harvesting

    - One 15mL or 50mL centrifuge tube

    - Six 10mL serological pipettes

    - Open the flask and dispose the old medium into the waste beaker. Turn the flask on its back side when disposing, and then straighten the flask to ensure all the old medium is discarded into the waste beaker.

    - Pipette 4 mL of PBS buffer using a 10mL serological pipette for a T75 flask (12 mL for T225 flask) and re-cap the flask. Do not allow the serological pipette to touch anything except the PBS. If this occurs, discard the pipette, and get a new one.

    - Hold the flask in two hands horizontally and move the liquid back and forth until the entire side of the flask has been rinsed with PBS. Dispose of the PBS to the waste beaker by turning the flask on its back side., Then straighten the flask to ensure all the PBS is discarded into the waste beaker. Repeat steps 9.2.5 and 9.2.6 once.

    - Pipette up 2 mL for T75 (or 6 mL for T225) of Trypsin-EDTA using the same serological pipette.

    - Pipette the contents into the flask and re-cap it.

    - Discard the pipette into the waste beaker.

    - Lay the flask down in the BSC for approximately 2~5 minutes.  The goal is to loosen the attached cells from the flask surface using the enzyme, Trypsin.

    - After 2 minutes for human cells (or 5 mins for ZFL), pick the flask up vertically to see if the cells begin streaming down the flask surface.  If not, let the flask lay horizontally for additional minutes. (2 minutes for human cells or 5 minutes for ZFL cells).

    - If the cells still don’t seem to be streaming down the flask wall, remove the flask from the BSC and look at it under the microscope.  If the cells in the flask are ready to be harvested, the cells will float or have “beaded up,” resembling small spheres as opposed to their normal oblong shapes.

    - If the cells still attach to the flask and do not appear as small spheres, place the flask in the incubator for one minute.  The temperature of the incubator will speed up the enzymatic process. Note: Putting the flask in the incubator should only be done as a last solution as to avoid contamination of the cells.

    - Using a new serological pipette, pipette the same amount of medium as for Trypsin (2 mL for T75 or 6 mL for T225) into the flask to deactivate the enzyme.

    - Within the flask, gently pipette the mixture up and down using a new 10mL serological pipette at least 5 times, spraying the wall of the flask down each time to ensure all cells are removed from the flask wall.

    - If the cells are needed to seed dishes or flasks, refer to Section 9.3 for reseeding. If the cells are not needed, they can be disposed of by pipetting the cell mixture directly into the waste beaker.

  - Re-seeding the cells

    - Pipette the cell mixture into a 15 mL or 50 mL centrifuge tube. (For the portion that you do not need for reseeding, pipette the cell mixture into the waste beaker.) Discard the pipette into the waste beaker.

    - Remove the tube from the BSC and place it in a centrifuge for 3 minutes at 1000 rpm

    - Spray the tube with 70% isopropanol and return the tube back into the BSC. Dispose the supernatant into the waste beaker.

    - Using a new 10mL serological pipette, pipette 3 mL of medium into the tube containing the cell pellet.

    - Reconstitute the cell pellet by gently pipetting the medium up and down within the pipette 5 -10 times.

    - Pipette the cell mixture back into the original flask OR ½ into a new flask and ½ into the original flask (depending on the goal of the experiment). Discard the pipette into the waste beaker.

    - Using a new pipette, pipette 13 mL of medium into each T75 flask (35 mL for each T225 flask).

    - Screw the cap of the flask tightly and return to the incubator (37 °C, 0% or 5% CO2 for human cells; 28 °C, 0% or 5% CO2 for ZFL cells).

    - For cleanup and waste disposal, add concentrated bleach to waste beaker (ratio: 1 mL concentrated bleach in 9 mL waste solution). Take the cotton plug from the serological pipettes and pipette bleached medium to the 14mL marker of the serological pipettes. Let sit for approximately 30 minutes. Dispose the pipettes into a trash can that is labeled with “All pipettes are plastic”. Rinse waste beaker with water and dispose into the drain. Wash the waste beaker with an appropriate detergent and DI water and leave to dry on a rack.

    - Spray and wipe down the BSC with 70% isopropanol.

    - Turn on BSC’s UV light for 15 minutes.

  - Cell Viability Using Trypan Blue

    - Trypan Blue

- Trypan blue ((3Z,3'Z)-3,3'-[(3,3'-dimethylbiphenyl-4,4'-diyl)di(1Z)hydrazin-2-yl-1-ylidene]bis(5-amino-4-oxo-3,4-dihydronaphthalene-2,7-disulfonic acid)) is a diazo dye that is used to stain the dead cells. Trypan blue is negatively charged, which interacts with the cells in which the cell membrane is damaged (dead cells). In this procedure, however, the cells stained by trypan blue are live cells after exposure, which are subsequently quenched prior to the cell staining. Therefore, the stained cells are considered as live cells (after the completion of the exposure) in this cell viability assay.

    - Seeding Cells

      - Harvest cells according to section 9.2 Harvesting cells.

- For ZFL and HepG2 cells, use 1/3 T75 flask (with 90% confluence) or 1/9 T225 flask of cells (with 90% confluence), which yields ~ 1.5x106 cells.

- For LN229, use ½ of HepG2 cell number (1/6 T75 flask).

      - Add 5 mL medium into a sterile reagent reservoir. Add 10 mL of medium to bring the cell mixture to 10 mL volume, mix the cell mixture by pipetting 5 – 10 times and transfer all 10mL of cell mixture into the reagent reservoir (total 15 mL). Note: Steps 9.9.2.3 – 9.9.2.5 for cell counting are optional.

      - Pipette 20 µL of the cell mixture on a disposable hemacytometer  (Nexcelom cellometer-see below or Countess Cell Counter – see 9.10 ). Note: there are two holes on either side of the counting grid; introduce sample from the right side of the counting grid (next to notched edge). The hole on the left side of the sample grid is the air evacuation port.

- Nexcelom Cellometer

      - For this type of disposable hemacytometer, cell concentration (cell/mL) is calculated by multiplying the dilution factor (FD) with ½ total counted number of cells (Tc), divide by the number of corner squares (NS), and multiplying by 104:

### Cell Concentration (cell/mL) = (FD × ½Tc / NS) × 104

      - Count all cells from the 4 corner squares and divide the average by 8, then multiply by 104 to get concentration of the cells from the flask. Note: each corner square has 16 small squares. For example, 4 squares have a total 48 cells without dilution: ½ 48 x104 / 4 = 6 x104 cell/mL. The concentration of the cell mixture should be 5x104 - 1x105 cell/mL for ZFL and HepG2 or 2x104 - 5x104 cell/mL for LN229 and MCF7.  If the concentration is higher than the limits, adjust the concentration of the cell mixture accordingly using V1=M2V2/M1.

      - Using the mechanical multi-channel pipette, pipette 200 µL cell mixture into each of the central 60 wells (~ 2x104 cells/well for ZFL and HepG2, ~ 1x104 cells/well for LN229) on a 96-well cell culture plate.

      - Pipette carefully to avoid introducing air bubbles. Pipette 200 µL of MQ water into the 36 outer wells.

      - Place the plate into the incubator (5% CO2, 37 °C for human cells and 5% or 0% CO2, 28 °C for ZFL) for 6-48 hours.

      - Be sure to record everything in the notebook, including the time you started incubating the seeded plate.

    - Expose the cells

      - Turn on the UV light in the BSC for 15 minutes to sterilize the working area.

      - After the 15 minutes, spray and wipe down the BSC with 70% isopropanol.

      - Place the following items in the BSC (Do not spray the seeded 96-well plate):

        - The seeded 96-well plate.

        - Corresponding medium from the refrigerator (refer to Section 9.8).

        - Waste bowl (add ~10 mL concentrated bleach to the beaker after cleaning with 70% isopropanol).

        - Serological pipettes.

      - Using the mechanical multi-channel pipette with gel-loading tips, carefully aspirate medium from the seeded 96-well plate (set pipette to 200 µL and pipette twice).

      - In one plate: Add 200 µL for each field water medium or control medium into 6 wells using the mechanical multi-channel pipette. Carefully pipette to avoid introducing air bubbles. Pipette 200 µL of MQ water into the 36 outer wells. Or add 200 µL into 3 wells for two exposure sets in one plate. Place the cover on the plate.

      - Place the plate into the incubator for 48 hours or 72 hours (37 °C, 5% CO2 for human cells and 28 °C, 5% or 0% CO2 for ZFL). Record the time you started incubating the exposure plate.

    - Staining Cells

Note: Staining cells is done outside a BSC. SDS solution (1% w/v) is prepared by dissolving 1 g SDS in 100 mL 40°C MQ ultrapure water in a 500 mL bottle and leaving the solution at room temperature for approximately 2 hours.

      - Remove the cover of the seeded 96-well plate, shake off medium into the waste bowl and gently tap-dry on two paper towels. Spray the paper towels with 70% isopropanol and dispose them into trash. Note: for fixing the cells, do either step 9.9.4.2 (Option 1) or 9.9.4.3 (Option 2), but not both.

      - Option 1: Add 50 µL of 1% glutaraldehyde/PBS solution to each well. Place the cover on the plate and shake the plate on a mixer at 100 rpm for 10 min at room temperature to fix the cells, continue step 9.9.4.4.

      - Option 2: Add 200 µL 80% methanol solution (room temperature) to each well in a fume hood. Place the cover on the plate and shake the plate on a mixer at 100 rpm for 15 minutes to fix the cells (or leave the plate in the fridge overnight).

      - Gently shake off the solution and tap-dry on paper towels.

      - To stain the cells, add 50 µL 0.1% trypan blue/PBS solution to each well, including the first 6 wells. Blank wells that are needed to correct the background. Place the cover on the plate.

      - Leave the plate on a mixer at 100 rpm for 10 min at the room temperature (or leave the plate in the fridge overnight).

      - Gently shake off the solution in the sink and rinse gently 3 times by submersing into large volume of flowing DI water in a container (glass bowl) and gently shaking out the water out of the wells. Empty out the container and refill with DI water for one last rinse. Ensure there is no free dye left by checking if the water in the container remains clear after the final rinse.

      - Gently shake off the water and tap-dry gently on paper towels. Air-dry without the lid for 15 minutes.

      - Carefully add 100 µL 1% w/v SDS (sodium dodecyl sulfate) to each well that was stained with trypan blue to lysis trypan blue molecules from the stained cells. Examine the wells. If any well has air bubbles, centrifuge the plate at 1000 rpm for 1 minute. Note: the balance plate must have the same weight.

      - Leave the plate in fridge overnight.

      - Transfer 75 µL of the DSS solution from each well into a new plate and examine the wells for air bubbles.

    - Reading the plate

      - Turn on computer by pressing the small silver button located in the back right of the plate reader by the USB ports.

      - Wait until the computer boots up, then turn on the EnSpire plate reader (the I/O power switch in the back left).

      - Start up the EnSpire Manager program (on desktop) and wait until everything is fully loaded. (The plate loader window should come up.)

      - Select ‘Abs 590’ program from the list of protocols.

      - Ensure the program contains the following settings and sample well labels (blanks, etc.). Change these in the ‘edit protocol’ tab above (change wavelength to 590 nm, optimize baseline, and set measurement height to 7.8mm).

      - Click ‘Plate’ tab to select blank, control and sample wells: BL for blanks, CTL for controls, and Undefined measured for samples (click and drag).

      - Click ‘measurement’ tab -> ‘optimize’ -> ‘baseline/measurement height’ -> ‘next’ to optimize baseline if you use a different type of plate (i.e. clear or black wall plates, or base line has not been optimized for over 6 months).

      - Insert the correctly oriented plate into the sample holders (1A in the front left, 12H in the back right).

      - Before start run protocol, take the plate lid off. Press the ‘run protocol’ button, ‘save protocol’. Click ‘run that protocol’, select ‘no’ for backup data base.

      - When the reader is measuring the plate, do not touch anything. Once the scan is complete, adjust the color scale as desired.

      - If you do not see the results window, click ‘show results’ tab, then click ‘show results’ at low right corner of the screen.

      - Click the ‘save plate’ button in the bottom right to save a .jpg picture of the plate.

      - Click the export tab to save the data as an .xlsx Excel file, or select ‘save photo’ to save data with plate photo.

      - To look at the saved photo, minimize EnSpire (Setting -> minimize EnSpire window).

      - To end the software, first take your sample plate, cover the plate, and click “load plate” to close the sample door.

      - Click the settings tab at the top right corner of the program and click ‘exit to windows’ -> ‘whole software’.

      - Use the start button to shut down the computer, then turn off the plate reader with the I/O switch.

  - Counting Cells Using Countess 3 Cell Counter

    - Turn cell counter on using the switch on the right backside of the instrument.

    - Mix 10 μL of your cell suspension with 10 μL of 0.4% trypan blue in a centrifuge tube by pipetting the sample up and down 5 times.

    - Pipet 10 μL of the sample into the sample loading area of a chamber slide.

    - Let the sample mixture settle in the chamber slide for 30 seconds.

    - Load the desired gating parameter settings or use “Rapid Capture” at the top of the home screen to automatically set the parameters and perform count.

    - Attach the adapter in the cell counter. You should hear a click if slid into the adapter correctly.

    - Now the screen will say “insert slide”. Insert the chamber slide into the slide adapter and push into the cell counter, you will hear a soft click if pushed in correctly.

    - The screen will then say “focusing”, after this the screen will show the results.

    - To remove the slide, push the slide gently into the instrument until it clicks, and the slide will spring out. Pull it out the rest of the way.

    - When finished: Spray slide with 70% Isopropyl Alcohol, then leave in the sink for 2 minutes. After 2 minutes, the slide can be thrown away.

    - To remove the slide adapter, gently squeeze the tabs and pull the adapter completely out of the instrument.

    - To identify the cells counted as Live, press the green circular button. Note: when the green or red dot has a circle around it is on, when it does NOT- it is off.

    - To identify the objects counted as Dead, press the red circular button.

    - To see the distribution of live and dead cells in a graphical format, press “Histogram” (right upper corner).

    - To gate the results by object, size, brightness, or circularity, press “Gating” to go to the Gating screen”.

    - To calculate the volume of cell sample and buffer needed for a desired concentration, press “Calculators”. Choose “Pre-Dilution Calculator”, then choose a “buffer volume” and check “1:1 Trypan Blue dilution” accordingly. Hit “apply”.

    - The total concentration number is the sum of the live + dead cells.

    - Save your data and images using a USB flash drive by inserting it into an available USB Port.

    - On the “Results” screen, press “Save” to view the “Save” Screen.

    - Assign a name to your sample by clicking on the “Sample name” text field and entering a name.

    - Press Enter to save the name and then return to the “Save” screen.

    - All 5 file types should be selected (default), then press Save.

    - Press “Done” and then remove the USB drive.

    - To count the second sample present on the reusable slide: remove the slide from the holder, rotate, and then reinsert the slide into the holder so that the second sample is aligned with the sample viewing hole.

    - After using the reusable slide, rinse the glass slide and cover slip with MQ water, then clean with 70 % ethanol. Dry the slides with kimwipes.

    - Instrument Care

      - Caution: Make sure that the Cell Counter is turned off before cleaning. Never pour or spray any liquids directly on the instrument.

      - Wipe the screen gently using a soft cloth moistened with an LCD cleaning solution, wipe the instrument dry immediately after cleaning.

      - To decontaminate: use a soft cloth moistened with 7-% alcohol, wipe the instrument dry immediately after cleaning.

    - Reusable Slide Instructions

      - Before you load your sample onto the reusable slide, place a cover slip on the counting chamber.

      - Pipet 10 μL of the sample into the sample inlet- there should be a thin, even film of fluid under the cover slip.

      - Load the desired gating parameter settings or use “Rapid Capture” at the top of the home screen to automatically set the parameters and perform count.

      - Load the reusable glass slide into the reusable slide holder.

      - Insert the reusable slide holder containing the slide into the slide port and gently push the slide in until you hear it click into place.

    - Set exposure using the light source slider (Optional)

      - Run the count using the touchpad.

      - To remove the reusable slide holder, push the slide gently into the instrument until it clicks, and the slide will spring out. Pull it out the rest of the way.