## ReadMe
Figure 2. I-CIMS time series data showing the normalized signal for FTOHs during the “sniff” tests of the Fire EX, AFC-3A and Freeze-Protected AFFFs. The shaded gray areas correspond to the ~10 sec timeframes during which the uncapped AFFF samples were held in front of the I-CIMS inlet. The unshaded areas represent times during which the instrument was sampling room air with no AFFF sample present.
The I-CIMS collected data in real-time as the three AFFF samples were "sniffed" by the instrument inlet.
Data were normalized and background subtracted, then plotted as a function of elapsed time.
Abbreviations |  | Data Dictionary
AFFF | aqueous film-forming foam | t_start_Buf | Experiment time (sec)
FTOH | fluorotelomer alcohol | norm_42FTOH_bgSubd | Relative I-CIMS signal for 4:2 FTOH, normalized and background subtracted
I-CIMS | iodide chemical ionization mass spectrometer | norm_62FTOH_bgSubd | Relative I-CIMS signal for 6:2 FTOH, normalized and background subtracted
sec | second(s) | norm_82FTOH_bgSubd | Relative I-CIMS signal for 8:2 FTOH, normalized and background subtracted
|  | norm_102FTOH_bgSubd | Relative I-CIMS signal for 10:2 FTOH, normalized and background subtracted
|  | norm_122FTOH_bgSubd | Relative I-CIMS signal for 12:2 FTOH, normalized and background subtracted

## Raw Data
t_start_Buf | norm_42FTOH_bgSubd | norm_62FTOH_bgSubd | norm_82FTOH_bgSubd | norm_102FTOH_bgSubd | norm_122FTOH_bgSubd
420.5452 | 0 | 0 | 0 | 0 | 0
421.5452 | 0 | 0 | 0 | 0 | 0
422.5453 | 0 | 0 | 0 | 0 | 0
423.5453 | 0 | 0 | 0 | 0 | 0
424.5454 | 0 | 0 | 0 | 0 | 0
425.5454 | 0 | 0 | 0 | 0 | 0
426.5455 | 0 | 0 | 0 | 0 | 0
427.5455 | 0 | 0 | 0 | 0 | 0
428.5456 | 0 | 0 | 0 | 0 | 0
429.5457 | 0 | 0 | 0 | 0 | 0
430.5457 | 0 | 0 | 0 | 0 | 0
431.5458 | 0 | 0 | 0 | 0 | 0
432.5458 | 0 | 0 | 0 | 0 | 0
433.5459 | 0 | 0 | 0 | 0 | 0
434.5459 | 0 | 0 | 0 | 0 | 0
435.546 | 0 | 0 | 0 | 0 | 0
436.546 | 0 | 0 | 0 | 0 | 0
437.5461 | 0 | 0 | 0 | 0 | 0
438.5461 | 0 | 0 | 0 | 0 | 0
439.5462 | 0 | 0 | 0 | 0 | 0
440.5463 | 0 | 0 | 0 | 0 | 0
441.5463 | 0 | 0 | 0 | 0 | 0
442.5464 | 0 | 0 | 0 | 0 | 0
443.5464 | 0 | 0 | 0 | 0 | 0
444.5465 | 0 | 0 | 0 | 0 | 0
445.5465 | 0 | 0 | 0 | 0 | 0
446.5466 | 0 | 0 | 0 | 0 | 0
447.5466 | 0 | 0 | 0 | 0 | 0
448.5467 | 0 | 0 | 0 | 0 | 0
449.5467 | 0 | 0 | 0 | 0 | 0
450.5468 | 0 | 0 | 0 | 0 | 0
451.5469 | 0 | 0 | 0 | 0 | 0
452.5469 | 0 | 0 | 0 | 0 | 0
453.547 | 0 | 0 | 0 | 0 | 0
454.547 | 0 | 0 | 0 | 0 | 0
455.5471 | 0 | 0 | 0 | 0 | 0
456.5471 | 0 | 0 | 0 | 0 | 0
457.5472 | 0 | 0 | 0 | 0 | 0
458.5472 | 0 | 0 | 0 | 0 | 0
459.5473 | 0 | 0 | 0 | 0 | 0
460.5473 | 0 | 0 | 0 | 0 | 0
461.5474 | 0 | 0 | 0 | 0 | 0
462.5474 | 0 | 0 | 0 | 0 | 0
463.5475 | 0 | 0 | 0 | 0 | 0
464.5476 | 0 | 0 | 0 | 0 | 0
465.5476 | 0 | 0 | 0 | 0 | 0
466.5477 | 0 | 0 | 0 | 0 | 0
467.5477 | 0 | 0 | 0 | 0 | 0
468.5478 | 0 | 0 | 0 | 0 | 0
469.5478 | 0 | 0 | 0 | 0 | 0
470.5479 | 0 | 0 | 0 | 0 | 0
471.5479 | 0 | 0 | 0 | 0 | 0
472.548 | 0 | 0 | 0 | 0 | 0
473.548 | 0 | 0 | 0 | 0 | 0
474.5481 | 0 | 0 | 0 | 0 | 0
475.5482 | 0 | 0 | 0 | 0 | 0
476.5482 | 0 | 0 | 0 | 0 | 0
477.5483 | 0 | 0 | 0 | 0 | 0
478.5483 | 0 | 0 | 0 | 0 | 0
479.5484 | 0 | 0 | 0 | 0 | 0
480.5484 | 0 | 0 | 0 | 0 | 0
481.5485 | 0 | 0 | 0 | 0 | 0
482.5485 | 0 | 0 | 0 | 0 | 0
483.5486 | 0 | 0 | 0 | 0 | 0
484.5486 | 0 | 0 | 0 | 0 | 0
485.5487 | 0 | 0 | 0 | 0 | 0
486.5487 | 0 | 0 | 0 | 0 | 0
487.5488 | 0 | 0 | 0 | 0 | 0
488.5489 | 0 | 0 | 0 | 0 | 0
489.5489 | 0 | 0 | 0 | 0 | 0
490.549 | 0 | 0 | 0 | 0 | 0
491.549 | 0 | 0 | 0 | 0 | 0
492.5491 | 0 | 0 | 0 | 0 | 0
493.5491 | 0 | 0 | 0 | 0 | 0
494.5492 | 0 | 0 | 0 | 0 | 0
495.5492 | 0 | 0 | 0 | 0 | 0
496.5493 | 0 | 0 | 0 | 0 | 0
497.5493 | 0 | 0 | 0 | 0 | 0
498.5494 | 0 | 0 | 0 | 0 | 0
499.5495 | 0 | 0 | 0 | 0 | 0
500.5495 | 0 | 0 | 0 | 0 | 0
501.5496 | 0 | 0 | 0 | 0 | 0
502.5496 | 0 | 0 | 0 | 0 | 0
503.5497 | 0 | 0 | 0 | 0 | 0
504.5497 | 0 | 0 | 0 | 0 | 0
505.5498 | 0 | 0 | 0 | 0 | 0
506.5498 | 0 | 0 | 0 | 0 | 0
507.5499 | 0 | 0 | 0 | 0 | 0
508.5499 | 0 | 0 | 0 | 0 | 0
509.55 | 0 | 9.9449 | 0 | 0 | 0
510.55 | 0 | 312.696 | 41.7186 | 3.252 | 2.2749
511.5501 | 298.8932 | 5988.308 | 792.1073 | 84.8691 | 40.0855
512.5502 | 2786.8015 | 59109.3827 | 8108.4317 | 614.2109 | 519.1224
513.5502 | 3458.4984 | 82116.8725 | 12165.9125 | 968.3989 | 682.6723
514.5503 | 3338.6128 | 84084.1748 | 13850.3962 | 1149.1416 | 613.0424
515.5503 | 3051.0973 | 76777.5787 | 13067.6895 | 1091.7629 | 515.6304
516.5504 | 3231.1965 | 81065.3732 | 14555.9525 | 1299.2093 | 537.2992
517.5504 | 2462.8079 | 66785.738 | 13068.3171 | 1300.0353 | 360.8276
518.5505 | 1740.6299 | 50141.6301 | 11061.9073 | 1133.5981 | 307.7249
519.5505 | 1592.3029 | 45292.7918 | 9307.0385 | 999.6996 | 237.3808
520.5506 | 158.3398 | 10658.1146 | 5062.8635 | 853.2319 | 127.3417
521.5506 | 47.4878 | 2578.7897 | 2764.6471 | 609.6728 | 64.9095
522.5507 | 36.983 | 1192.486 | 1576.8381 | 567.3465 | 71.8412
523.5508 | 18.1788 | 756.7959 | 1030.8267 | 438.86 | 46.8503
524.5508 | 0 | 665.0074 | 750.9867 | 388.2946 | 27.8948
525.5509 | 6.8839 | 497.0354 | 561.2423 | 291.8884 | 34.5449
526.5509 | 33.7537 | 641.8806 | 441.2736 | 261.6113 | 30.1938
527.551 | 1.3138 | 455.0734 | 363.0388 | 213.7241 | 29.1781
528.551 | 4.2279 | 320.3665 | 312.8904 | 221.8136 | 32.2009
529.5511 | 0 | 287.4336 | 189.6496 | 181.6424 | 21.771
530.5511 | 3.1802 | 145.6218 | 120.0187 | 179.9386 | 15.2634
531.5512 | 12.5207 | 229.1302 | 133.4186 | 113.9143 | 21.2973
532.5512 | 35.7038 | 142.1784 | 84.7945 | 96.0564 | 17.057
533.5513 | 23.9408 | 138.21 | 70.8937 | 86.0447 | 18.7683
534.5513 | 45.9105 | 106.9552 | 60.2227 | 87.4149 | 7.3137
535.5514 | 19.6601 | 117.7111 | 67.4198 | 86.1626 | 9.5693
536.5515 | 19.776 | 91.7581 | 47.3556 | 37.9193 | 14.6698
537.5515 | 0 | 108.2876 | 42.2004 | 38.8353 | 13.5228
538.5516 | 18.5763 | 184.9557 | 49.8275 | 28.4191 | 3.9754
539.5516 | 25.3886 | 127.7051 | 64.4335 | 40.7929 | 3.1601
540.5517 | 0 | 112.2128 | 28.3323 | 14.4818 | 14.7793
541.5517 | 0 | 132.3933 | 46.7592 | 28.6899 | 3.7852
542.5518 | 2.2989 | 80.6625 | 8.5193 | 12.9007 | 8.727
543.5518 | 10.2477 | 53.4398 | 5.9061 | 8.3557 | 9.7463
544.5519 | 3.9041 | 8.1834 | 0 | 2.6686 | 8.1781
545.5519 | 0 | 0 | 0 | 0 | 0
546.552 | 0 | 0 | 0 | 0 | 0
547.5521 | 0 | 0 | 0 | 0 | 0
548.5521 | 0 | 0 | 0 | 0 | 0
549.5522 | 0 | 0 | 0 | 0 | 0
550.5522 | 0 | 0 | 0 | 0 | 0
551.5523 | 0 | 0 | 0 | 0 | 0
552.5523 | 0 | 0 | 0 | 0 | 0
553.5524 | 0 | 0 | 0 | 0 | 0
554.5524 | 0 | 0 | 0 | 0 | 0
555.5525 | 0 | 0 | 0 | 0 | 0
556.5525 | 0 | 0 | 0 | 0 | 0
557.5526 | 0 | 0 | 0 | 0 | 0
558.5527 | 0 | 0 | 0 | 0 | 0
559.5527 | 0 | 0 | 0 | 0 | 0
560.5528 | 0 | 0 | 0 | 0 | 0
561.5528 | 0 | 0 | 0 | 0 | 0
562.5529 | 0 | 0 | 0 | 0 | 0
563.5529 | 0 | 0 | 0 | 0 | 0
564.553 | 0 | 0 | 0 | 0 | 0
565.553 | 0 | 0 | 0 | 0 | 0
566.5531 | 0 | 0 | 0 | 0 | 0
567.5531 | 0 | 0 | 0 | 0 | 0
568.5532 | 0 | 0 | 0 | 0 | 0
569.5532 | 0 | 0 | 0 | 0 | 0
570.5533 | 0 | 0 | 0 | 0 | 0
571.5534 | 0 | 0 | 0 | 0 | 0
572.5534 | 0 | 0 | 0 | 0 | 0
573.5535 | 0 | 0 | 0 | 0 | 0
574.5535 | 0 | 0 | 0 | 0 | 0
575.5536 | 0 | 0 | 0 | 0 | 0
576.5536 | 0 | 0 | 0 | 0 | 0
577.5537 | 0 | 0 | 0 | 0 | 0
578.5537 | 0 | 0 | 0 | 0 | 0
579.5538 | 0 | 0 | 0 | 0 | 0
580.5538 | 0 | 0 | 0 | 0 | 0
581.5539 | 0 | 0 | 0 | 0 | 0
582.554 | 0 | 0 | 0 | 0 | 0
583.554 | 0 | 0 | 0 | 0 | 0
584.5541 | 0 | 0 | 0 | 0 | 0
585.5541 | 0 | 0 | 0 | 0 | 0
586.5542 | 0 | 0 | 0 | 0 | 0
587.5542 | 0 | 0 | 0 | 0 | 0
588.5543 | 0 | 0 | 0 | 0 | 0
589.5543 | 0 | 0 | 0 | 0 | 0
590.5544 | 0 | 0 | 0 | 0 | 0
591.5544 | 0 | 0 | 0 | 0 | 0
592.5545 | 0 | 0 | 0 | 0 | 0
593.5545 | 0 | 0 | 0 | 0 | 0
594.5546 | 0 | 0 | 0 | 0 | 0
595.5547 | 0 | 0 | 0 | 0 | 0
596.5547 | 0 | 0 | 0 | 0 | 0
597.5548 | 0 | 0 | 0 | 0 | 0
598.5548 | 0 | 0 | 0 | 0 | 0
599.5549 | 0 | 0 | 0 | 0 | 0
600.5549 | 0 | 0 | 0 | 0 | 0
601.555 | 0 | 0 | 0 | 0 | 0
602.555 | 0 | 0 | 0 | 0 | 0
603.5551 | 0 | 0 | 0 | 0 | 0
604.5551 | 0 | 0 | 0 | 0 | 0
605.5552 | 0 | 0 | 0 | 0 | 0
606.5553 | 0 | 0 | 0 | 0 | 0
607.5553 | 0 | 0 | 0 | 0 | 0
608.5554 | 0 | 0 | 0 | 0 | 0
609.5554 | 0 | 0 | 0 | 0 | 0
610.5555 | 0 | 0 | 0 | 0 | 0
611.5555 | 0 | 0 | 0 | 0 | 0
612.5556 | 0 | 0 | 0 | 0 | 0
613.5556 | 0 | 0 | 0 | 0 | 0
614.5557 | 0 | 0 | 0 | 0 | 0
615.5557 | 0 | 0 | 0 | 0 | 0
616.5558 | 0 | 0 | 0 | 0 | 0
617.5558 | 0 | 0 | 0 | 0 | 0
618.5559 | 0 | 0 | 0 | 0 | 0
619.556 | 0 | 0 | 0 | 0 | 0
620.556 | 0 | 0 | 0 | 0 | 0
621.5561 | 0 | 0 | 0 | 0 | 0
622.5561 | 0 | 0 | 0 | 0 | 0
623.5562 | 0 | 0 | 0 | 0 | 0
624.5562 | 0 | 0 | 0 | 0 | 0
625.5563 | 0 | 0 | 0 | 0 | 0
626.5563 | 0 | 0 | 0 | 0 | 0
627.5564 | 0 | 0 | 0 | 0 | 0
628.5564 | 0 | 0 | 0 | 0 | 0
629.5565 | 0 | 0 | 0 | 0 | 0
630.5566 | 0 | 0 | 0 | 0 | 0
631.5566 | 0 | 0 | 0 | 0 | 0
632.5567 | 0 | 0 | 0 | 0 | 0
633.5567 | 0 | 0 | 0 | 0 | 0
634.5568 | 0 | 0 | 0 | 0 | 0
635.5568 | 0 | 0 | 0 | 0 | 0
636.5569 | 0 | 0 | 0 | 0 | 0
637.5569 | 0 | 0 | 0 | 0 | 0
638.557 | 0 | 0 | 0 | 0 | 0
639.557 | 0 | 0 | 0 | 0 | 0
640.5571 | 0 | 0 | 0 | 0 | 0
641.5571 | 0 | 0 | 0 | 0 | 0
642.5572 | 0 | 0 | 0 | 0 | 0
643.5573 | 0 | 0 | 0 | 0 | 0
644.5573 | 0 | 0 | 0 | 0 | 0
645.5574 | 0 | 0 | 0 | 0 | 0
646.5574 | 0 | 0 | 0 | 0 | 0
647.5575 | 0 | 0 | 0 | 0 | 0
648.5575 | 0 | 0 | 0 | 0 | 0
649.5576 | 0 | 0 | 0 | 0 | 0
650.5576 | 0 | 0 | 0 | 0 | 0
651.5577 | 0 | 0 | 0 | 0 | 0
652.5577 | 0 | 0 | 0 | 0 | 0
653.5578 | 0 | 0 | 0 | 0 | 0
654.5579 | 0 | 0 | 0 | 0 | 0
655.5579 | 0 | 0 | 0 | 0 | 0
656.558 | 0 | 0 | 0 | 0 | 0
657.558 | 0 | 0 | 0 | 0 | 0
658.5581 | 0 | 0 | 0 | 0 | 0
659.5581 | 0 | 0 | 0 | 0 | 0
660.5582 | 0 | 0 | 0 | 0 | 0
661.5582 | 0 | 0 | 0 | 0 | 0
662.5583 | 0 | 0 | 0 | 0 | 0
663.5583 | 0 | 0 | 0 | 0 | 0
664.5584 | 0 | 0 | 0 | 0 | 0
665.5585 | 0 | 0 | 0 | 0 | 0
666.5585 | 0 | 0 | 0 | 0 | 0
667.5586 | 0 | 0 | 0 | 0 | 0
668.5586 | 0 | 0 | 0 | 0 | 0
669.5587 | 0 | 0 | 0 | 0 | 0
670.5587 | 0 | 0 | 0 | 0 | 0
671.5588 | 0 | 0 | 0 | 0 | 0
672.5588 | 0 | 0 | 0 | 0 | 0
673.5589 | 0 | 0 | 0 | 0 | 0
674.5589 | 0 | 0 | 0 | 0 | 0
675.559 | 0 | 0 | 0 | 0 | 0
676.559 | 0 | 0 | 0 | 0 | 0
677.5591 | 0 | 0 | 0 | 0 | 0
678.5592 | 0 | 0 | 0 | 0 | 0
679.5592 | 0 | 0 | 0 | 0 | 0
680.5593 | 0 | 0 | 0 | 0 | 0
681.5593 | 0 | 0 | 0 | 0 | 0
682.5594 | 0 | 0 | 0 | 0 | 0
683.5594 | 0 | 0 | 0 | 0 | 0
684.5595 | 0 | 0 | 0 | 0 | 0
685.5595 | 0 | 0 | 0 | 0 | 0
686.5596 | 0 | 0 | 0 | 0 | 0
687.5596 | 0 | 0 | 0 | 0 | 0
688.5597 | 0 | 0 | 0 | 0 | 0
689.5598 | 0 | 0 | 0 | 0 | 0
690.5598 | 0 | 0 | 0 | 0 | 0
691.5599 | 0 | 0 | 0 | 0 | 0
692.5599 | 0 | 0 | 0 | 0 | 0
693.56 | 0 | 0 | 0 | 0 | 0
694.56 | 0 | 0 | 0 | 0 | 0
695.5601 | 0 | 0 | 0 | 0 | 0
696.5601 | 0 | 0 | 0 | 0 | 0
697.5602 | 0 | 0 | 0 | 0 | 0
698.5602 | 0 | 0 | 0 | 0 | 0
699.5603 | 0 | 0 | 0 | 0 | 0
700.5603 | 0 | 0 | 0 | 0 | 0
701.5604 | 0 | 0 | 0 | 0 | 0
702.5605 | 0 | 0 | 0 | 0 | 0
703.5605 | 0 | 0 | 0 | 0 | 0
704.5606 | 0 | 0 | 0 | 0 | 0
705.5606 | 0 | 0 | 0 | 0 | 0
706.5607 | 0 | 0 | 0 | 0 | 0
707.5607 | 0 | 0 | 0 | 0 | 0
708.5608 | 0 | 0 | 0 | 0 | 0
709.5608 | 0 | 0 | 0 | 0 | 0
710.5609 | 0 | 0 | 0 | 0 | 0
711.5609 | 0 | 0 | 0 | 0 | 0
712.561 | 0 | 0 | 0 | 0 | 0
713.5611 | 0 | 0 | 0 | 0 | 0
714.5611 | 0 | 0 | 0 | 0 | 0
715.5612 | 0 | 0 | 0 | 0 | 0
716.5612 | 0 | 0 | 0 | 0 | 0
717.5613 | 0 | 0 | 0 | 0 | 0
718.5613 | 0 | 0 | 0 | 0 | 0
719.5614 | 0 | 0 | 0 | 0 | 0
720.5614 | 0 | 0 | 0 | 0 | 0
721.5615 | 0 | 0 | 0 | 0 | 0
722.5615 | 0 | 0 | 0 | 0 | 0
723.5616 | 0 | 0 | 0 | 0 | 0
724.5616 | 0 | 0 | 0 | 0 | 0
725.5617 | 0 | 0 | 0 | 0 | 0
726.5618 | 0 | 0 | 0 | 0 | 0
727.5618 | 0 | 0 | 0 | 0 | 0
728.5619 | 0 | 0 | 0 | 0 | 0
729.5619 | 0 | 0 | 0 | 0 | 0
730.562 | 0 | 0 | 0 | 0 | 0
731.562 | 0 | 0 | 0 | 0 | 0
732.5621 | 0 | 0 | 0 | 0 | 0
733.5621 | 0 | 0 | 0 | 0 | 0
734.5622 | 0 | 0 | 0 | 0 | 0
735.5622 | 0 | 0 | 0 | 0 | 0
736.5623 | 0 | 0 | 0 | 0 | 0
737.5624 | 0 | 0 | 0 | 0 | 0
738.5624 | 0 | 0 | 0 | 0 | 0
739.5625 | 0 | 0 | 0 | 0 | 0
740.5625 | 0 | 0 | 0 | 0 | 0
741.5626 | 0 | 0 | 0 | 0 | 0
742.5626 | 0 | 0 | 0 | 0 | 0
743.5627 | 0 | 0 | 0 | 0 | 0
744.5627 | 0 | 0 | 0 | 0 | 0
745.5628 | 0 | 0 | 0 | 0 | 0
746.5628 | 0 | 0 | 0 | 0 | 0
747.5629 | 0 | 0 | 0 | 0 | 0
748.563 | 0 | 0 | 0 | 0 | 0
749.563 | 0 | 0 | 0 | 0 | 0
750.5631 | 0 | 0 | 0 | 0 | 0
751.5631 | 0 | 0 | 0 | 0 | 0
752.5632 | 0 | 0 | 0 | 0 | 0
753.5632 | 0 | 0 | 0 | 0 | 0
754.5633 | 0 | 0 | 0 | 0 | 0
755.5633 | 0 | 0 | 0 | 0 | 0
756.5634 | 0 | 0 | 0 | 0 | 0
757.5634 | 0 | 0 | 0 | 0 | 0
758.5635 | 0 | 0 | 0 | 0 | 0
759.5635 | 0 | 0 | 0 | 0 | 0
760.5636 | 0 | 0 | 0 | 0 | 0
761.5637 | 0 | 0 | 0 | 0 | 0
762.5637 | 0 | 0 | 0 | 0 | 0
763.5638 | 0 | 0 | 0 | 0 | 0
764.5638 | 0 | 0 | 0 | 0 | 0
765.5639 | 0 | 0 | 0 | 0 | 0
766.5639 | 0 | 0 | 0 | 0 | 0
767.564 | 0 | 0 | 0 | 0 | 0
768.564 | 0 | 0 | 0 | 0 | 0
769.5641 | 0 | 0 | 0 | 0 | 0
770.5641 | 0 | 0 | 0 | 0 | 0
771.5642 | 0 | 0 | 0 | 0 | 0
772.5643 | 0 | 0 | 0 | 0 | 0
773.5643 | 0 | 0 | 0 | 0 | 0
774.5644 | 0 | 0 | 0 | 0 | 0
775.5644 | 0 | 0 | 0 | 0 | 0
776.5645 | 0 | 0 | 0 | 0 | 0
777.5645 | 0 | 0 | 0 | 0 | 0
778.5646 | 0 | 0 | 0 | 0 | 0
779.5646 | 0 | 0 | 0 | 0 | 0
780.5647 | 0 | 0 | 0 | 0 | 0
781.5647 | 0 | 0 | 0 | 0 | 0
782.5648 | 0 | 0 | 0 | 0 | 0
783.5648 | 0 | 0 | 0 | 0 | 0
784.5649 | 0 | 0 | 0 | 0 | 0
785.565 | 0 | 0 | 0 | 0 | 0
786.565 | 0 | 0 | 0 | 0 | 0
787.5651 | 0 | 0 | 0 | 0 | 0
788.5651 | 0 | 0 | 0 | 0 | 0
789.5652 | 0 | 0 | 0 | 0 | 0
790.5652 | 0 | 0 | 0 | 0 | 0
791.5653 | 0 | 0 | 0 | 0 | 0
792.5653 | 0 | 0 | 0 | 0 | 0
793.5654 | 0 | 0 | 0 | 0 | 0
794.5654 | 0 | 0 | 0 | 0 | 0
795.5655 | 0 | 0 | 0 | 0 | 0
796.5656 | 0 | 0 | 0 | 0 | 0
797.5656 | 0 | 0 | 0 | 0 | 0
798.5657 | 0 | 0 | 0 | 0 | 0
799.5657 | 0 | 0 | 0 | 0 | 0
800.5658 | 0 | 0 | 0 | 0 | 0
801.5658 | 0 | 0 | 0 | 0 | 0
802.5659 | 0 | 0 | 0 | 0 | 0
803.5659 | 0 | 0 | 0 | 0 | 0
804.566 | 0 | 0 | 0 | 0 | 0
805.566 | 0 | 0 | 0 | 0 | 0
806.5661 | 0 | 0 | 0 | 0 | 0
807.5661 | 0 | 0 | 0 | 0 | 0
808.5662 | 0 | 0 | 0 | 0 | 0
809.5663 | 0 | 0 | 0 | 0 | 0
810.5663 | 0 | 0 | 0 | 0 | 0
811.5664 | 0 | 0 | 0 | 0 | 0
812.5664 | 0 | 0 | 0 | 0 | 0
813.5665 | 0 | 0 | 0 | 0 | 0
814.5665 | 0 | 0 | 0 | 0 | 0
815.5666 | 0 | 0 | 0 | 0 | 0
816.5666 | 0 | 0 | 0 | 0 | 0
817.5667 | 0 | 0 | 0 | 0 | 0
818.5667 | 0 | 0 | 0 | 0 | 0
819.5668 | 0 | 0 | 0 | 0 | 0
820.5669 | 0 | 0 | 0 | 0 | 0
821.5669 | 0 | 0 | 0 | 0 | 0
822.567 | 0 | 0 | 0 | 0 | 0
823.567 | 0 | 0 | 0 | 0 | 0
824.5671 | 0 | 0 | 0 | 0 | 0
825.5671 | 0 | 0 | 0 | 0 | 0
826.5672 | 0 | 0 | 0 | 0 | 0
827.5672 | 0 | 0 | 0 | 0 | 0
828.5673 | 0 | 0 | 0 | 0 | 0
829.5673 | 0 | 0 | 0 | 0 | 0
830.5674 | 0 | 0 | 0 | 0 | 0
831.5674 | 0 | 0 | 0 | 0 | 0
832.5675 | 0 | 0 | 0 | 0 | 0
833.5676 | 0 | 0 | 0 | 0 | 0
834.5676 | 0 | 0 | 0 | 0 | 0
835.5677 | 0 | 0 | 0 | 0 | 0
836.5677 | 0 | 0 | 0 | 0 | 0
837.5678 | 0 | 0 | 0 | 0 | 0
838.5678 | 0 | 0 | 0 | 0 | 0
839.5679 | 0 | 0 | 0 | 0 | 0
840.5679 | 0 | 0 | 0 | 0 | 0
841.568 | 0 | 0 | 0 | 0 | 0
842.568 | 0 | 0 | 0 | 0 | 0
843.5681 | 0 | 0 | 0 | 0 | 0
844.5682 | 0 | 0 | 0 | 0 | 0
845.5682 | 0 | 0 | 0 | 0 | 0
846.5683 | 0 | 0 | 0 | 0 | 0
847.5683 | 0 | 0 | 0 | 0 | 0
848.5684 | 0 | 0 | 0 | 0 | 0
849.5684 | 0 | 0 | 0 | 0 | 0
850.5685 | 0 | 0 | 0 | 0 | 0
851.5685 | 0 | 0 | 0 | 0 | 0
852.5686 | 0 | 0 | 0 | 0 | 0
853.5686 | 0 | 0 | 0 | 0 | 0
854.5687 | 0 | 0 | 0 | 0 | 0
855.5688 | 0 | 0 | 0 | 0 | 0
856.5688 | 0 | 0 | 0 | 0 | 0
857.5689 | 0 | 0 | 0 | 0 | 0
858.5689 | 0 | 0 | 0 | 0 | 0
859.569 | 0 | 0 | 0 | 0 | 0
860.569 | 0 | 0 | 0 | 0 | 0
861.5691 | 0 | 0 | 0 | 0 | 0
862.5691 | 0 | 0 | 0 | 0 | 0
863.5692 | 0 | 0 | 0 | 0 | 0
864.5692 | 0 | 0 | 0 | 0 | 0
865.5693 | 0 | 0 | 0 | 0 | 0
866.5693 | 0 | 0 | 0 | 0 | 0
867.5694 | 0 | 0 | 0 | 0 | 0
868.5695 | 0 | 0 | 0 | 0 | 0
869.5695 | 0 | 0 | 0 | 0 | 0
870.5696 | 0 | 0 | 0 | 0 | 0
871.5696 | 0 | 0 | 0 | 0 | 0
872.5697 | 0 | 0 | 0 | 0 | 0
873.5697 | 0 | 0 | 0 | 0 | 0
874.5698 | 0 | 0 | 0 | 0 | 0
875.5698 | 0 | 0 | 0 | 0 | 0
876.5699 | 0 | 0 | 0 | 0 | 0
877.5699 | 0 | 0 | 0 | 0 | 0
878.57 | 0 | 0 | 0 | 0 | 0
879.5701 | 0 | 0 | 0 | 0 | 0
880.5701 | 0 | 0 | 0 | 0 | 0
881.5702 | 0 | 0 | 0 | 0 | 0
882.5702 | 0 | 0 | 0 | 0 | 0
883.5703 | 0 | 0 | 0 | 0 | 0
884.5703 | 0 | 0 | 0 | 0 | 0
885.5704 | 0 | 0 | 0 | 0 | 0
886.5704 | 0 | 0 | 0 | 0 | 0
887.5705 | 0 | 0 | 0 | 0 | 0
888.5705 | 0 | 0 | 0 | 0 | 0
889.5706 | 0 | 0 | 0 | 0 | 0
890.5706 | 0 | 0 | 0 | 0 | 0
891.5707 | 0 | 0 | 0 | 0 | 0
892.5708 | 0 | 0 | 0 | 0 | 0
893.5708 | 0 | 0 | 0 | 0 | 0
894.5709 | 0 | 0 | 0 | 0 | 0
895.5709 | 0 | 0 | 0 | 0 | 0
896.571 | 0 | 0 | 0 | 0 | 0
897.571 | 0 | 0 | 0 | 0 | 0
898.5711 | 0 | 0 | 0 | 0 | 0
899.5711 | 0 | 0 | 0 | 0 | 0
900.5712 | 0 | 0 | 0 | 0 | 0
901.5712 | 0 | 0 | 0 | 0 | 0
902.5713 | 0 | 0 | 0 | 0 | 0
903.5714 | 0 | 0 | 0 | 0 | 0
904.5714 | 0 | 0 | 0 | 0 | 0
905.5715 | 0 | 0 | 0 | 0 | 0
906.5715 | 0 | 0 | 0 | 0 | 0
907.5716 | 0 | 0 | 0 | 0 | 0
908.5716 | 0 | 0 | 0 | 0 | 0
909.5717 | 0 | 0 | 0 | 0 | 0
910.5717 | 0 | 0 | 0 | 0 | 0
911.5718 | 0 | 0 | 0 | 0 | 0
912.5718 | 0 | 0 | 0 | 0 | 0
913.5719 | 0 | 0 | 0 | 0 | 0
914.5719 | 0 | 0 | 0 | 0 | 0
915.572 | 0 | 0 | 0 | 0 | 0
916.5721 | 0 | 0 | 0 | 0 | 0
917.5721 | 0 | 0 | 0 | 0 | 0
918.5722 | 0 | 0 | 0 | 0 | 0
919.5722 | 0 | 0 | 0 | 0 | 0
920.5723 | 0 | 0 | 0 | 0 | 0
921.5723 | 0 | 0 | 0 | 0 | 0
922.5724 | 0 | 0 | 0 | 0 | 0
923.5724 | 0 | 0 | 0 | 0 | 0
924.5725 | 0 | 0 | 0 | 0 | 0
925.5725 | 0 | 0 | 0 | 0 | 0
926.5726 | 0 | 0 | 0 | 0 | 0
927.5727 | 0 | 0 | 0 | 0 | 0
928.5727 | 0 | 0 | 0 | 0 | 0
929.5728 | 0 | 0 | 0 | 0 | 0
930.5728 | 0 | 0 | 0 | 0 | 0
931.5729 | 0 | 0 | 0 | 0 | 0
932.5729 | 0 | 0 | 0 | 0 | 0
933.573 | 0 | 0 | 0 | 0 | 0
934.573 | 0 | 0 | 0 | 0 | 0
935.5731 | 0 | 0 | 0 | 0 | 0
936.5731 | 0 | 0 | 0 | 0 | 0
937.5732 | 0 | 0 | 0 | 0 | 0
938.5732 | 0 | 0 | 0 | 0 | 0
939.5733 | 0 | 0 | 0 | 0 | 0
940.5734 | 0 | 0 | 0 | 0 | 0
941.5734 | 0 | 0 | 0 | 0 | 0
942.5735 | 0 | 0 | 0 | 0 | 0
943.5735 | 0 | 0 | 0 | 0 | 0
944.5736 | 0 | 0 | 0 | 0 | 0
945.5736 | 0 | 0 | 0 | 0 | 0
946.5737 | 0 | 0 | 0 | 0 | 0
947.5737 | 0 | 0 | 0 | 0 | 0
948.5738 | 0 | 0 | 0 | 0 | 0
949.5738 | 0 | 0 | 0 | 0 | 0
950.5739 | 0 | 0 | 0 | 0 | 0
951.574 | 0 | 0 | 0 | 0 | 0
952.574 | 0 | 0 | 0 | 0 | 0
953.5741 | 0 | 0 | 0 | 0 | 0
954.5741 | 0 | 0 | 0 | 0 | 0
955.5742 | 0 | 0 | 0 | 0 | 0
956.5742 | 0 | 0 | 0 | 0 | 0
957.5743 | 0 | 0 | 0 | 0 | 0
958.5743 | 0 | 0 | 0 | 0 | 0
959.5744 | 0 | 0 | 0 | 0 | 0
960.5744 | 0 | 0 | 0 | 0 | 0
961.5745 | 0 | 0 | 0 | 0 | 0
962.5746 | 0 | 0 | 0 | 0 | 0
963.5746 | 0 | 0 | 0 | 0 | 0
964.5747 | 0 | 0 | 0 | 0 | 0
965.5747 | 0 | 0 | 0 | 0 | 0
966.5748 | 0 | 0 | 0 | 0 | 0
967.5748 | 0 | 0 | 0 | 0 | 0
968.5749 | 0 | 0 | 0 | 0 | 0
969.5749 | 0 | 0 | 0 | 0 | 0
970.575 | 0 | 0 | 0 | 0 | 0
971.575 | 0 | 0 | 0 | 0 | 0
972.5751 | 0 | 0 | 0 | 0 | 0
973.5751 | 0 | 0 | 0 | 0 | 0
974.5752 | 0 | 0 | 0 | 0 | 0
975.5753 | 0 | 0 | 0 | 0 | 0
976.5753 | 0 | 0 | 0 | 0 | 0
977.5754 | 0 | 0 | 0 | 0 | 0
978.5754 | 0 | 0 | 0 | 0 | 0
979.5755 | 0 | 0 | 0 | 0 | 0
980.5755 | 0 | 0 | 0 | 0 | 0
981.5756 | 0 | 0 | 0 | 0 | 0
982.5756 | 0 | 0 | 0 | 0 | 0
983.5757 | 0 | 0 | 0 | 0 | 0
984.5757 | 0 | 0 | 0 | 0 | 0
985.5758 | 0 | 0 | 0 | 0 | 0
986.5759 | 0 | 0 | 0 | 0 | 0
987.5759 | 0 | 0 | 0 | 0 | 0
988.576 | 0 | 0 | 0 | 0 | 0
989.576 | 0 | 0 | 0 | 0 | 0
990.5761 | 0 | 0 | 0 | 0 | 0
991.5761 | 0 | 0 | 0 | 0 | 0
992.5762 | 0 | 0 | 0 | 0 | 0
993.5762 | 0 | 0 | 0 | 0 | 0
994.5763 | 0 | 0 | 0 | 0 | 0
995.5763 | 0 | 0 | 0 | 0 | 0
996.5764 | 0 | 0 | 0 | 0 | 0
997.5764 | 0 | 0 | 0 | 0 | 0
998.5765 | 0 | 0 | 0 | 0 | 0
999.5766 | 0 | 0 | 0 | 0 | 0
1000.5766 | 0 | 0 | 0 | 0 | 0
1001.5767 | 0 | 0 | 0 | 0 | 0
1002.5767 | 0 | 0 | 0 | 0 | 0
1003.5768 | 0 | 0 | 0 | 0 | 0
1004.5768 | 0 | 0 | 0 | 0 | 0
1005.5769 | 0 | 0 | 0 | 0 | 0
1006.5769 | 0 | 4.6148 | 5.1721 | 4.037 | 0
1007.577 | 12.5455 | 308.279 | 67.3706 | 1.3768 | 0
1008.577 | 4.8476 | 1420.7042 | 266.5957 | 0 | 0.073644
1009.5771 | 19.6602 | 4245.7602 | 890.4333 | 0 | 2.268
1010.5772 | 55.6057 | 9765.1256 | 2086.0257 | 0.60519 | 0.52972
1011.5772 | 12.0746 | 6558.5701 | 1624.7243 | 4.7389 | 0
1012.5773 | 13.7752 | 4518.1791 | 1407.0119 | 0 | 0
1013.5773 | 21.5565 | 8123.4869 | 1932.7718 | 1.2411 | 0.13652
1014.5774 | 0 | 4981.3381 | 1418.9053 | 3.2023 | 2.799
1015.5774 | 17.9979 | 3774.4569 | 1255.9665 | 4.3808 | 1.7689
1016.5775 | 0 | 4150.9766 | 1212.7288 | 7.5051 | 0
1017.5775 | 0 | 1171.9864 | 642.9346 | 5.3045 | 1.3042
1018.5776 | 0 | 261.351 | 310.7081 | 1.5523 | 0
1019.5776 | 0 | 81.3336 | 256.8989 | 0.13635 | 0
1020.5777 | 0 | 64.2974 | 142.4346 | 1.4394 | 0.3987
1021.5777 | 0 | 54.3274 | 105.3927 | 0 | 0
1022.5778 | 0 | 51.17 | 64.6496 | 0.7241 | 4.3355
1023.5779 | 0 | 17.6386 | 46.4854 | 0.67144 | 0.1481
1024.5779 | 0 | 41.2125 | 43.9829 | 0 | 0
1025.578 | 0 | 18.2477 | 26.6119 | 0.93766 | 0
1026.578 | 0 | 18.891 | 15.0638 | 2.8666 | 0.14265
1027.5781 | 0 | 21.2748 | 21.4849 | 0.24414 | 1.0156
1028.5781 | 0 | 28.1979 | 17.9476 | 0 | 3.5436
1029.5782 | 0 | 37.0711 | 26.3909 | 3.4609 | 0
1030.5782 | 0 | 15.2223 | 21.3739 | 0 | 0.19714
1031.5783 | 0 | 14.6667 | 19.2854 | 2.5532 | 0
1032.5783 | 0 | 19.0591 | 21.296 | 1.5903 | 0
1033.5784 | 5.6861 | 7.2136 | 14.7028 | 3.9627 | 0.81949
1034.5785 | 0 | 20.9766 | 23.3159 | 4.273 | 1.0849
1035.5785 | 0 | 7.0917 | 12.8077 | 0 | 0
1036.5786 | 0 | 8.9221 | 19.8008 | 5.1539 | 0.75915
1037.5786 | 0 | 15.3531 | 4.6989 | 5.5354 | 0.4229
1038.5787 | 0 | 16.8113 | 13.5299 | 0.60081 | 1.5422
1039.5787 | 0 | 7.747 | 7.5688 | 2.1735 | 0
1040.5788 | 0 | 12.9518 | 8.7604 | 0.12782 | 0
1041.5788 | 5.9803 | 20.1252 | 7.1371 | 2.5522 | 0.29942
1042.5789 | 0 | 10.4168 | 11.9461 | 0 | 0.031882
1043.5789 | 1.1166 | 13.1203 | 7.6984 | 4.2048 | 0.95952
1044.579 | 13.431 | 9.6328 | 0 | 0.56726 | 0.50984
1045.5791 | 0 | 14.915 | 0 | 0 | 0.86519
1046.5791 | 0 | 16.2254 | 12.7743 | 0 | 0
1047.5792 | 0 | 10.6453 | 3.1516 | 0 | 0.4145
1048.5792 | 11.276 | 5.4788 | 2.5532 | 0 | 0.67183
1049.5793 | 0.72527 | 6.2941 | 4.6131 | 0.97959 | 1.585
1050.5793 | 0 | 6.7152 | 0.44074 | 5.5003 | 0.83099
1051.5794 | 0 | 7.4721 | 0.62059 | 0.15047 | 0.9495
1052.5794 | 0 | 18.7506 | 0.80516 | 0.4843 | 0.19621
1053.5795 | 0 | 0.39839 | 0 | 2.296 | 0
1054.5795 | 12.5848 | 7.5505 | 5.9925 | 0 | 0
1055.5796 | 0 | 5.9306 | 0 | 0 | 0.53238
1056.5796 | 0 | 10.4377 | 0 | 1.0676 | 0.65206
1057.5797 | 0 | 7.4681 | 4.2732 | 0 | 0
1058.5798 | 0 | 11.0208 | 1.2222 | 5.5608 | 0.43465
1059.5798 | 0 | 10.5789 | 1.1691 | 2.1373 | 1.9692
1060.5799 | 0 | 8.8818e-16 | 0 | 0 | 0
1061.5799 | 0 | 0 | 0 | 0 | 0
1062.58 | 0 | 0 | 0 | 0 | 0
1063.58 | 0 | 0 | 0 | 0 | 0
1064.5801 | 0 | 0 | 0 | 0 | 0
1065.5801 | 0 | 0 | 0 | 0 | 0
1066.5802 | 0 | 0 | 0 | 0 | 0
1067.5802 | 0 | 0 | 0 | 0 | 0
1068.5803 | 0 | 0 | 0 | 0 | 0
1069.5804 | 0 | 0 | 0 | 0 | 0
1070.5804 | 0 | 0 | 0 | 0 | 0
1071.5805 | 0 | 0 | 0 | 0 | 0
1072.5805 | 0 | 0 | 0 | 0 | 0
1073.5806 | 0 | 0 | 0 | 0 | 0
1074.5806 | 0 | 0 | 0 | 0 | 0
1075.5807 | 0 | 0 | 0 | 0 | 0
1076.5807 | 0 | 0 | 0 | 0 | 0
1077.5808 | 0 | 0 | 0 | 0 | 0
1078.5808 | 0 | 0 | 0 | 0 | 0
1079.5809 | 0 | 0 | 0 | 0 | 0
1080.5809 | 0 | 0 | 0 | 0 | 0
1081.581 | 0 | 0 | 0 | 0 | 0
1082.5811 | 0 | 0 | 0 | 0 | 0
1083.5811 | 0 | 0 | 0 | 0 | 0
1084.5812 | 0 | 0 | 0 | 0 | 0
1085.5812 | 0 | 0 | 0 | 0 | 0
1086.5813 | 0 | 0 | 0 | 0 | 0
1087.5813 | 0 | 0 | 0 | 0 | 0
1088.5814 | 0 | 0 | 0 | 0 | 0
1089.5814 | 0 | 0 | 0 | 0 | 0
1090.5815 | 0 | 0 | 0 | 0 | 0
1091.5815 | 0 | 0 | 0 | 0 | 0
1092.5816 | 0 | 0 | 0 | 0 | 0
1093.5817 | 0 | 0 | 0 | 0 | 0
1094.5817 | 0 | 0 | 0 | 0 | 0
1095.5818 | 0 | 0 | 0 | 0 | 0
1096.5818 | 0 | 0 | 0 | 0 | 0
1097.5819 | 0 | 0 | 0 | 0 | 0
1098.5819 | 0 | 0 | 0 | 0 | 0
1099.582 | 0 | 0 | 0 | 0 | 0
1100.582 | 0 | 0 | 0 | 0 | 0
1101.5821 | 0 | 0 | 0 | 0 | 0
1102.5821 | 0 | 0 | 0 | 0 | 0
1103.5822 | 0 | 0 | 0 | 0 | 0
1104.5822 | 0 | 0 | 0 | 0 | 0
1105.5823 | 0 | 0 | 0 | 0 | 0
1106.5824 | 0 | 0 | 0 | 0 | 0
1107.5824 | 0 | 0 | 0 | 0 | 0
1108.5825 | 0 | 0 | 0 | 0 | 0
1109.5825 | 0 | 0 | 0 | 0 | 0
1110.5826 | 0 | 0 | 0 | 0 | 0
1111.5826 | 0 | 0 | 0 | 0 | 0
1112.5827 | 0 | 0 | 0 | 0 | 0
1113.5827 | 0 | 0 | 0 | 0 | 0
1114.5828 | 0 | 0 | 0 | 0 | 0
1115.5828 | 0 | 0 | 0 | 0 | 0
1116.5829 | 0 | 0 | 0 | 0 | 0
1117.583 | 0 | 0 | 0 | 0 | 0
1118.583 | 0 | 0 | 0 | 0 | 0
1119.5831 | 0 | 0 | 0 | 0 | 0
1120.5831 | 0 | 0 | 0 | 0 | 0
1121.5832 | 0 | 0 | 0 | 0 | 0
1122.5832 | 0 | 0 | 0 | 0 | 0
1123.5833 | 0 | 0 | 0 | 0 | 0
1124.5833 | 0 | 0 | 0 | 0 | 0
1125.5834 | 0 | 0 | 0 | 0 | 0
1126.5834 | 0 | 0 | 0 | 0 | 0
1127.5835 | 0 | 0 | 0 | 0 | 0
1128.5835 | 0 | 0 | 0 | 0 | 0
1129.5836 | 0 | 0 | 0 | 0 | 0
1130.5837 | 0 | 0 | 0 | 0 | 0
1131.5837 | 0 | 0 | 0 | 0 | 0
1132.5838 | 0 | 0 | 0 | 0 | 0
1133.5838 | 11.1617 | 9.2549 | 0 | 1.7402 | 0
1134.5839 | 0 | 10.4728 | 0 | 3.8548 | 1.158
1135.5839 | 15.0269 | 2289.1831 | 122.0162 | 13.4827 | 0
1136.584 | 31.2322 | 52194.4079 | 3423.0144 | 217.8256 | 15.1641
1137.584 | 0 | 97218.647 | 7259.4204 | 522.3256 | 13.4884
1138.5841 | 52.2538 | 105488.1401 | 8514.3182 | 577.7261 | 25.6499
1139.5841 | 16.3006 | 101769.9145 | 8596.1075 | 660.1951 | 25.4809
1140.5842 | 35.8836 | 52456.2201 | 5943.2894 | 530.9232 | 8.826
1141.5843 | 0 | 13795.6174 | 3533.8551 | 479.5111 | 12.1203
1142.5843 | 1.1798 | 3999.1283 | 1952.4576 | 387.3568 | 1.7772
1143.5844 | 0 | 1475.5313 | 1093.2054 | 287.7889 | 2.8825
1144.5844 | 5.3503 | 880.4264 | 730.4284 | 227.2349 | 11.0623
1145.5845 | 5.093 | 618.7786 | 464.3549 | 218.5032 | 3.5818
1146.5845 | 8.6132 | 499.7486 | 349.896 | 164.3217 | 7.6517
1147.5846 | 0 | 371.4694 | 227.9007 | 198.2075 | 3.5213
1148.5846 | 8.7901 | 319.6274 | 169.3293 | 133.3751 | 8.4958
1149.5847 | 2.1212 | 272.7558 | 124.857 | 99.3179 | 2.1167
1150.5847 | 0 | 350.7426 | 85.5959 | 106.5606 | 3.5387
1151.5848 | 0 | 226.8514 | 59.4584 | 91.1811 | 2.2207
1152.5849 | 0 | 210.0225 | 62.2819 | 78.9428 | 2.0497
1153.5849 | 0 | 185.2529 | 43.1734 | 73.1394 | 2.522
1154.585 | 4.5775 | 227.4488 | 43.0898 | 47.2098 | 7.2112
1155.585 | 0 | 196.744 | 67.6196 | 49.4193 | 0
1156.5851 | 0 | 229.7879 | 64.084 | 52.9102 | 0.70333
1157.5851 | 0 | 112.634 | 65.5812 | 45.5395 | 0.3689
1158.5852 | 0 | 71.7593 | 18.1966 | 34.4027 | 5.1544
1159.5852 | 9.9828 | 106.1829 | 20.3688 | 30.7994 | 2.6799
1160.5853 | 0 | 86.3872 | 8.3944 | 27.7697 | 2.1609
1161.5853 | 8.8694 | 135.6607 | 21.4817 | 17.8103 | 1.2913
1162.5854 | 0 | 83.2135 | 12.8399 | 24.581 | 0
1163.5854 | 0 | 51.5808 | 14.9877 | 22.1625 | 2.6319
1164.5855 | 0 | 75.347 | 19.445 | 8.7521 | 2.6931
1165.5856 | 0 | 63.3399 | 25.3894 | 17.6685 | 4.3977
1166.5856 | 0 | 45.0135 | 11.8377 | 7.2959 | 0.85642
1167.5857 | 0 | 40.7679 | 7.7911 | 5.6126 | 0.66209
1168.5857 | 0 | 46.3247 | 0 | 7.7182 | 0
1169.5858 | 0 | 60.1952 | 10.7352 | 19.4677 | 3.9592
1170.5858 | 0 | 45.5213 | 18.1492 | 17.2718 | 0
1171.5859 | 0 | 67.8392 | 19.9212 | 5.7914 | 0
1172.5859 | 11.4157 | 115.3035 | 22.4256 | 4.9379 | 0
1173.586 | 18.9281 | 88.9989 | 31.5173 | 16.9274 | 1.6311
1174.586 | 5.1701 | 44.196 | 21.6101 | 15.0056 | 0
1175.5861 | 0 | 47.2724 | 16.0868 | 15.9452 | 1.4375
1176.5862 | 0 | 33.0071 | 8.6844 | 6.3672 | 0
1177.5862 | 0.28718 | 19.1143 | 6.3395 | 2.6863 | 3.3212
1178.5863 | 0 | 12.9984 | 9.2793 | 10.5939 | 4.1756
1179.5863 | 0 | 2.7877 | 1.1292 | 3.8842 | 0.54189
1180.5864 | 0 | 2.3117 | 6.566 | 3.0125 | 0
1181.5864 | 0 | 3.8151 | 15.3374 | 6.5483 | 0
1182.5865 | 15.5957 | 21.784 | 4.4238 | 3.7903 | 4.3668
1183.5865 | 0 | 10.9559 | 3.8401 | 0 | 4
1184.5866 | 0 | 0 | 2.4877 | 4.9798 | 0
1185.5866 | 0 | 2.6758 | 0 | 0 | 2.766
1186.5867 | 0 | 0 | 0 | 0 | 0.84305
1187.5867 | 0 | 21.362 | 3.6475 | 0 | 1.4803
1188.5868 | 22.2369 | 0 | 3.066 | 1.1501 | 0
1189.5869 | 0 | 12.4322 | 2.1648 | 0.2751 | 2.2823
1190.5869 | 7.9896 | 9.9863 | 3.791 | 0 | 0.87902
1191.587 | 0 | 5.3218 | 1.7517 | 0 | 1.7788
1192.587 | 0 | 6.7526 | 1.1036 | 0 | 0
1193.5871 | 0 | 0 | 9.7524 | 0 | 0
1194.5871 | 0 | 0 | 0 | 0 | 0
1195.5872 | 0 | 16.783 | 0.80186 | 1.3981 | 0
1196.5872 | 0 | 7.3566 | 10.0996 | 0 | 3.6518
1197.5873 | 0 | 12.7455 | 3.5163 | 0.41357 | 1.2877
1198.5873 | 1.9025 | 0 | 0 | 0 | 0
1199.5874 | 0 | 0 | 0 | 0 | 0
1200.5875 | 0 | 2.7584 | 0 | 0 | 0
1201.5875 | 0 | 0 | 0 | 0 | 0
1202.5876 | 0 | 0 | 0 | 0 | 0.073722
1203.5876 | 0 | 0 | 2.9783 | 0 | 0
1204.5877 | 0 | 0 | 0 | 0 | 0
1205.5877 | 9.0162 | 0 | 1.3182 | 0 | 0.29637
1206.5878 | 0 | 0 | 0 | 0 | 0
1207.5878 | 0 | 0 | 0 | 0 | 0
1208.5879 | 0 | 0 | 0 | 0 | 0
1209.5879 | 0 | 0 | 0 | 0 | 0
1210.588 | 0 | 0 | 0 | 0 | 0
1211.588 | 0 | 0 | 0 | 0 | 0
1212.5881 | 0 | 0 | 0 | 0 | 0
1213.5882 | 0 | 0 | 0 | 0 | 0
1214.5882 | 0 | 0 | 0 | 0 | 0
1215.5883 | 0 | 0 | 0 | 0 | 0
1216.5883 | 0 | 0 | 0 | 0 | 0
1217.5884 | 0 | 0 | 0 | 0 | 0
1218.5884 | 0 | 0 | 0 | 0 | 0
1219.5885 | 0 | 0 | 0 | 0 | 0
1220.5885 | 0 | 0 | 0 | 0 | 0
1221.5886 | 0 | 0 | 0 | 0 | 0
1222.5886 | 0 | 0 | 0 | 0 | 0
1223.5887 | 0 | 0 | 0 | 0 | 0
1224.5888 | 0 | 0 | 0 | 0 | 0
1225.5888 | 0 | 0 | 0 | 0 | 0
1226.5889 | 0 | 0 | 0 | 0 | 0
1227.5889 | 0 | 0 | 0 | 0 | 0
1228.589 | 0 | 0 | 0 | 0 | 0
1229.589 | 0 | 0 | 0 | 0 | 0
1230.5891 | 0 | 0 | 0 | 0 | 0
1231.5891 | 0 | 0 | 0 | 0 | 0
1232.5892 | 0 | 0 | 0 | 0 | 0
1233.5892 | 0 | 0 | 0 | 0 | 0
1234.5893 | 0 | 0 | 0 | 0 | 0
1235.5893 | 0 | 0 | 0 | 0 | 0
1236.5894 | 0 | 0 | 0 | 0 | 0
1237.5895 | 0 | 0 | 0 | 0 | 0
1238.5895 | 0 | 0 | 0 | 0 | 0
1239.5896 | 0 | 0 | 0 | 0 | 0
1240.5896 | 0 | 0 | 0 | 0 | 0
1241.5897 | 0 | 0 | 0 | 0 | 0
1242.5897 | 0 | 0 | 0 | 0 | 0
1243.5898 | 0 | 0 | 0 | 0 | 0
1244.5898 | 0 | 0 | 0 | 0 | 0
1245.5899 | 0 | 0 | 0 | 0 | 0
1246.5899 | 0 | 0 | 0 | 0 | 0
1247.59 | 0 | 0 | 0 | 0 | 0
1248.5901 | 0 | 0 | 0 | 0 | 0
1249.5901 | 0 | 0 | 0 | 0 | 0