## ReadMe
Figure S5. Representative chromatograms for static headspace screening of 10:2 FTOH in the three AFFF samples.
1 mL of each neat AFFF sample was transferred to a 10 mL amber glass headspace vial and crimp-sealed.
Samples were analyzed using an Agilent 7697A headspace sampler coupled to an Agilent 8890B GC/7010B QqQ MS.
A standard solution of 10:2 FTOH at 1 µg/5 mL DI water was prepared and run along with the samples to confirm RTs and ion ratios.
Figure S5 shows the overlaid EICs for m/z 95, 69, 127, and 65 (the quantifying and qualifying ions for 10:2 FTOH in the method) resulting from each AFFF sample.
The raw chromatographic results for the three AFFF samples and the 10:2 FTOH standard are summarized in tabular form in the sheet titled "10-2 FTOH Headspace Results."
Abbreviations
Acq. | acquisition
AFFF | aqueous film-forming foam
DI | deionized
EIC | extracted ion chromatogram
FTOH | fluorotelomer alcohol
GC | gas chromatograph
min | minute(s)
mL | milliliter
MS | mass spectrometer
m/z | mass to charge ratio
µg | microgram
PTFE | polytetrafluoroethylene
QqQ | triple quadrupole
Resp. | response
RT | retention time

## 10-2 FTOH Headspace Results
Sample | [5 empty] | 10:2 Fluorotelomer Alcohol Results |  | Qualifier (69.0) Results |  | Qualifier (127.0) Results |  | Qualifier (65.0) Results
Name | Data File | Type | Acq. Date-Time | Vial | Comment | RT | Resp. | Ratio | Area | Ratio | Area | Ratio | Area
Fire_EX_1mL | Fire_EX_1mL.D | Sample | 2025-05-14 14:19 | 1 | AFFF concentrate, 3% mix , 1 mL | 14.0646 | 23822733.4585 | 175.5199 | 41813640.3679 | 25.1741 | 5997167.6225 | 46.3741 | 11047584.6117
AFC-3A_1 | 7010_3_051425000.D | Sample | 2025-05-14 15:22 | 2 | AFFF concentrate, 3% mix , 1 mL | 13.9195 | 0 |  |  | 0 | 0 | 56.4633 | 3419034.0047
Freeze_Protected_1 | 7010_3_051425001.D | Sample | 2025-05-14 16:07 | 3 | AFFF concentrate, 3% mix , 1 mL | 14.0647 | 37990722.0383 |  |  | 17.1806 | 6527045.3002 | 12.8494 | 4881595.6974
Fire_EX_2 | 7010_3_051425002.D | Sample | 2025-05-14 16:52 | 1 | AFFF concentrate, 3% mix , 1 mL | 14.0665 | 17759549.5793 | 129.7128 | 23036407.0351 | 19.2603 | 3420550.1958 | 30.8624 | 5481026.4273
AFC-3A_2 | 7010_3_051425003.D | Sample | 2025-05-14 17:37 | 2 | AFFF concentrate, 3% mix , 1 mL | 13.9235 | 0 |  |  | 0 | 0 | 44.8977 | 1734245.6621
Freeze_Protected_2 | 7010_3_051425004.D | Sample | 2025-05-14 18:22 | 3 | AFFF concentrate, 3% mix , 1 mL | 14.0723 | 34350893.5379 |  |  | 15.2924 | 5253067.8312 | 13.0672 | 4488696.8201
Fire_EX_3 | 7010_3_051425005.D | Sample | 2025-05-14 19:07 | 1 | AFFF concentrate, 3% mix , 1 mL | 14.0724 | 15670177.5445 | 131.8731 | 20664743.4867 | 16.9766 | 2660269.3614 | 26.2742 | 4117216.7514
AFC-3A_3 | 7010_3_051425006.D | Sample | 2025-05-14 19:52 | 2 | AFFF concentrate, 3% mix , 1 mL | 13.9178 | 0 |  |  | 0 | 0 | 129.395 | 3631794.4007
Freeze_Protected_3 | 7010_3_051425007.D | Sample | 2025-05-14 20:37 | 3 | AFFF concentrate, 3% mix , 1 mL | 14.0726 | 29375482.5214 |  |  | 19.8581 | 5833398.8866 | 14.935 | 4387234.6028
10_2_FTOH | 10_2_FTOH.D | Sample | 2025-05-15 08:51 |  | 10:2 FTOH 1µg/5mL DI Water | 14.0639 | 191810020.4294 | 66.8659 | 128255408.4602 | 17.7514 | 34048986.8541 | 12.3653 | 23717971.6417