## ReadMe
Figure S6. Representative GC/QToF chromatograms for 10:2 FTOH in the three AFFF samples.
100 µL of each neat AFFF sample was transferred to a 15 mL glass centrifuge tube containing 5 mL of 50:50 (V/V) ethyl acetate:hexane, then vortex mixed for ~1 min and allowed to separate for ~5 min.
After the layers separated, 1 mL of the top layer was transferred to an autosampler vial for analysis.
Samples were analyzed using an Agilent 8890B GC/7250 QToF MS.
Figure S6 shows the overlaid EICs for m/z 95, 504, 563, 65, 69, 127, and 131 (the quantifying and qualifying ions for 10:2 FTOH in the method) resulting from each AFFF sample.
The raw chromatographic results for the three AFFF samples are summarized in tabular form in the sheet titled "10-2 FTOH GC-QToF Results."
Abbreviations
Acq. | acquisition
AFFF | aqueous film-forming foam
EIC | extracted ion chromatogram
FTOH | fluorotelomer alcohol
GC | gas chromatograph
min | minute(s)
mL | milliliter
MS | mass spectrometer
m/z | mass to charge ratio
µL | microliter
QToF | quadrupole/time-of-flight
Resp. | response
RT | retention time
V/V | volume per volume

## 10-2 FTOH GC-QToF Results
Sample |  |  | 10:2 Fluorotelomer Alcohol Results |  |  | Qualifier (504.9891) Results | Qualifier (562.9921) Results | Qualifier (0.0000 -> 65.0197) Results | Qualifier (0.0000 -> 68.9947) Results | Qualifier (0.0000 -> 127.0165) Results | Qualifier (0.0000 -> 130.9915) Results
Name | Data File | Acq. Date-Time | RT | Resp. | Mass Accuracy | Ratio | Ratio | Ratio | Ratio | Ratio | Ratio
Fire_EX_3percent_extract | Fire_EX_3percent_extract.D | 2025-05-14 14:16 | 13.8444 | 102117.3015 | 2.4227 | 6.3528 | 3.1984 | 32.0536 | 61.0868 | 32.2816 | 39.4908
AFC_3A_3percent_extract | AFC_3A_3percent_extract.D | 2025-05-14 15:04 | 13.8532 | 0 | 46.8322
Freeze_Protected_3percent_extract.D | Freeze_Protected_3percent_extract.D | 2025-05-14 16:03 | 13.8433 | 49417.3631 | 6.3876 | 6.0287 | 3.298 | 32.0743 | 61.9638 | 29.6868 | 37.2542
Fire_EX_2 | 051525001.D | 2025-05-15 07:25 | 13.8409 | 103565.8079 | 1.0814 | 6.0384 | 2.9613 | 32.2312 | 62.5239 | 31.3533 | 38.4453
Fire_EX_3 | 051525002.D | 2025-05-15 08:07 | 13.8511 | 98707.2503 | 1.5419 | 6.149 | 3.1454 | 33.0487 | 62.3655 | 30.659 | 39.144
AFC_3A_2 | 051525004.D | 2025-05-15 08:51 | 14.2915 | 0 | -1.9719
AFC_3A_3 | 051525005.D | 2025-05-15 09:33 | 13.6186 | 0 | -4.4513
Freeze_Protect_2 | 051525007.D | 2025-05-15 10:17 | 13.8679 | 57757.686 | -2.0808 | 6.1216 | 3.9446 | 29.5993 | 50.5409 | 24.8185 | 33.873
Freeze_Protect_3 | 051525008.D | 2025-05-15 10:59 | 13.8771 | 58508.4761 | -0.53776 | 7.6448 | 3.2768 | 31.2068 | 50.9761 | 26.786 | 37.9413