## ReadMe
Table S6. Moisture content of calibration carrier gas blends of UZA (dry) and UZA run through a bubbler (wet) as measured by FTIR.
An MKS Model 2030 FTIR was used to determine the moisture content of air flow at various ratios of dry to "wet" (passed through a water bubbler)
The moisture content was quantified according to ASTM D6348
Abbreviations
ASTM | American Society for Testing and Materials
C | Celsius
FTIR | Fourier-transform infrared spectroscopy
H2O | water
PFAS | per- and polyfluoroalkyl substances
ppm | parts per million
UZA | ultra-zero air

## FTIR Data
Spectrum | Date | Time | H2O ppm 191c
FTIR 2 072224 PFAS METHOD_000420.LAB | 2024-10-31 | 15:29 | 1424.7522
FTIR 2 072224 PFAS METHOD_000421.LAB | 2024-10-31 | 15:30 | 925.5448
FTIR 2 072224 PFAS METHOD_000422.LAB | 2024-10-31 | 15:31 | 917.2497
FTIR 2 072224 PFAS METHOD_000423.LAB | 2024-10-31 | 15:32 | 911.7825
FTIR 2 072224 PFAS METHOD_000424.LAB | 2024-10-31 | 15:33 | 910.4502
FTIR 2 072224 PFAS METHOD_000425.LAB | 2024-10-31 | 15:34 | 1234.311
FTIR 2 072224 PFAS METHOD_000426.LAB | 2024-10-31 | 15:35 | 9011.7433
FTIR 2 072224 PFAS METHOD_000427.LAB | 2024-10-31 | 15:36 | 9081.3324
FTIR 2 072224 PFAS METHOD_000428.LAB | 2024-10-31 | 15:37 | 11593.7895
FTIR 2 072224 PFAS METHOD_000429.LAB | 2024-10-31 | 15:38 | 18118.8232
FTIR 2 072224 PFAS METHOD_000430.LAB | 2024-10-31 | 15:39 | 18048.0768
FTIR 2 072224 PFAS METHOD_000431.LAB | 2024-10-31 | 15:40 | 18208.3085
FTIR 2 072224 PFAS METHOD_000432.LAB | 2024-10-31 | 15:41 | 28195.4113
FTIR 2 072224 PFAS METHOD_000433.LAB | 2024-10-31 | 15:42 | 29471.394
FTIR 2 072224 PFAS METHOD_000434.LAB | 2024-10-31 | 15:43 | 29250.7191
FTIR 2 072224 PFAS METHOD_000435.LAB | 2024-10-31 | 15:44 | 18374.2287
FTIR 2 072224 PFAS METHOD_000436.LAB | 2024-10-31 | 15:45 | 12491.4706
FTIR 2 072224 PFAS METHOD_000437.LAB | 2024-10-31 | 15:46 | 12492.6797
FTIR 2 072224 PFAS METHOD_000438.LAB | 2024-10-31 | 15:47 | 12458.1281
FTIR 2 072224 PFAS METHOD_000439.LAB | 2024-10-31 | 15:48 | 12435.5779
FTIR 2 072224 PFAS METHOD_000440.LAB | 2024-10-31 | 15:49 | 717.5407
FTIR 2 072224 PFAS METHOD_000441.LAB | 2024-10-31 | 15:50 | 3.6012
FTIR 2 072224 PFAS METHOD_000442.LAB | 2024-10-31 | 15:51 | 1.503
FTIR 2 072224 PFAS METHOD_000443.LAB | 2024-10-31 | 15:52 | 0.76293